423

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:                DOCKET NO. 090001-EI

4       FUEL AND PURCHASED POWER

COST RECOVERY CLAUSE WITH

5       GENERATING PERFORMANCE

INCENTIVE FACTOR.

6       ___________________________/

7

8                               VOLUME 3

9                        Pages 423 through 607

10

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

11                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

12            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

14       PROCEEDINGS:             HEARING

15       COMMISSIONERS

PARTICIPATING:           CHAIRMAN MATTHEW M. CARTER, II

16                                COMMISSIONER LISA POLAK EDGAR

COMMISSIONER NANCY ARGENZIANO

17                                COMMISSIONER NATHAN A. SKOP

COMMISSIONER DAVID E. KLEMENT

18

PLACE:                   Betty Easley Conference Center

19                                  Room 148

4075 Esplanade Way

20                                Tallahassee, Florida

21       TIME:                    Commenced at 9:30 a.m.

Concluded at 5:08 p.m.

22

DATE:                    Monday, November 2, 2009

23

REPORTED BY:             JANE FAUROT, RPR

24                                Official FPSC Reporter

(850) 413-6732

25

APPEARANCES:             (As heretofore noted.)

FLORIDA PUBLIC SERVICE COMMISSION

424

1                              I N D E X

2                              WITNESSES

3       NAME:                                        PAGE NO.

4       CURTIS D. YOUNG and MARK CUTSHAW

5            Continued Cross Examination R

by Ms. Bennett                            426

6            Redirect Examination by Mr. Horton        435

7       RUSSELL H. BALL

8            Direct Examination by Mr. Badders         439

Prefiled Direct Testimony Inserted

9              March 3, 2009 Testimony                 442

August 4, 2009 Testimony                458

10              September 1, 2009 Testimony             470

Revised October 30, 2009 Testimony      485

11            Cross Examination by Mr. McWhirter        501

Cross Examination by Mr. Bennett          552

12

RICHARD DODD

13

Direct Examination by Mr. Badders         558

14            Prefiled Direct Testimony Inserted

March 9, 2009 Testimony                 561

15              August 4, 2009 Testimony                567

September 1, 2009 Testimony             571

16              Revised October 30, 2009 Testimony      579

Cross Examination by Mr. McWhirter        587

17            Cross Examination by Ms. Bennett          597

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

425

1                              EXHIBITS

2       NUMBER:                                 ID.    ADMTD.

3       78-87                                           438

4       97-103                                          554

5       88-99                                           598

6       134       Fuel Cost Data, FIPUG         598     598

Composite Cross-Examination

7                 Exhibit

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

426

1                         P R O C E E D I N G S

2                 (Transcript follows in sequence from

3       Volume 2.)

4                 CHAIRMAN CARTER:  We are back on the record.

5       And when we last left, Staff, you were in

6       cross-examination.  We'll take a second, and then we

7       will recognize Ms. Bennett for cross-examination.

8                 Ms. Bennett, you're recognized.

9                 MS. BENNETT:  Thank you.

10                     CONTINUED CROSS EXAMINATION

11       BY MS. BENNETT:

12            Q.   Mr. Cutshaw and Mr. Young, when we were last

13       talking we were talking about Issue 3B and your rate

14       mitigation proposal.  In your testimony, Mr. Cutshaw,

15       you said that you considered other options, but

16       recommended the storm hardening use of funds.

17                 What other options did you consider?

18            A.   (By Witness Cutshaw)  The storm hardening

19       option was really our only legitimate option that we

20       found that could provide some revenues to offset the

21       underrecovery.  So there were really no other

22       significant options that we looked at other than not

23       collecting.  So the -- and I'd have to look at my

24       testimony, maybe I did say that we looked at other

25       options.  We looked at options, and that was -- the

FLORIDA PUBLIC SERVICE COMMISSION

427

1       storm hardening option was the only one that we

2       identified as a realistic possibility to offset some of

3       the underrecovery.

4            Q.   Have you explored deferring collection of the

5       revenues, all or a portion of the 2009 underrecovery

6       into 2011?

7            A.   I think to some degree that's what this will

8       mean is that we will be deferring the underrecovery.  We

9       will be using the storm hardening to offset this year's

10       amortization payment, I guess you might say, for 2010.

11       In 2011, you know, at that point in time we will have to

12       look at the underrecovery and see if we want to possibly

13       defer it again or include it in our projections at that

14       time.

15            Q.   I guess I am a little confused then, because I

16       thought you were using the storm recovery to eliminate

17       the 2009 underrecovery.  Is that not the case?

18            A.   I'll let Mr. Young clarify that issue.

19            A.   (By Witness Young)  Yes, that is the case.

20       The storm hardening, the 295,000 that we were going to

21       apply is strictly from the storm hardening course

22       derived in -- that we projected for 2010 for northwest.

23       The rates in our alternative, in MC-5, those rates are

24       calculated without the underrecovery from 2009.  They

25       are based only on costs through 2010.  And that's

FLORIDA PUBLIC SERVICE COMMISSION

428

1       because we wanted to set aside that underrecovery and

2       resolve it in another way by applying the storm

3       hardening costs, the revenue from the storm hardening

4       costs.

5            Q.   So the 1.7 million underrecovery for 2009

6       would be reduced completely by the storm hardening for

7       the Marianna division?

8            A.   Well, for now we only propose it for one year,

9       which would be just the 295,000.  That would be the

10       reduction for the 2010 year.  And, in essence, if it is

11       approved of and we go forward with it, then we would

12       apply it accordingly in the following years.  But what

13       we proposed just for now was just a one-year reduction

14       of it, based by the 295,000.

15            Q.   So you would be deferring all of the

16       1.7 million, but it would be reduced by 295,000 in 2010,

17       and then there would be 1.4 million left over in 2010

18       that the Commission would have to address somehow or

19       another?

20            A.   Exactly.  Exactly.

21            Q.   If FPU were not to reduce the storm hardening,

22       but were to just defer the underrecovery to 2011, or

23       half of the underrecovery to 2011 and not apply the

24       revenue, would you agree with me, subject to check, that

25       the level fuel factor for 2009 would be 7.925 cents per

FLORIDA PUBLIC SERVICE COMMISSION

429

1       kilowatt hour?

2            A.   I would estimate it there.  It would be

3       somewhere between the 8.197 and the 6. -- the

4       difference.  I don't know the exact amount, but I would

5       estimate you are pretty close to where it would be.

6            Q.   And would you agree with me that that would be

7       approximately $2.72 less for a residential bill?

8            A.   Approximately, yes.

9            Q.   And I think you have told us that FPUC did not

10       consider deferring half of the underrecovery or some

11       part of the underrecovery and not offsetting it by storm

12       costs, is that correct?

13            A.   I'm sorry, repeat that, please.

14            Q.   I confused myself.

15                 I think you testified earlier that you did not

16       consider any option other than the storm hardening being

17       used to offset some of the 2009 underrecovery, is that

18       correct?

19            A.   When you said not -- well, I'm not sure what

20       point -- are you talking about the alternative as far as

21       how we apply it, or what use, what options we are going

22       to use to otherwise reduce underrecovery.

23            Q.   I think what I'm asking is what effect would

24       it have on FPU to not use the storm hardening to offset

25       the 2009 underrecovery, but just to defer half of that

FLORIDA PUBLIC SERVICE COMMISSION

430

1       underrecovery until 2011.  What financial effect would

2       it have, has the company considered that?

3            A.   Not to my knowledge, we haven't considered

4       that.  That hasn't been calculated.

5            Q.   Would FPU be financially capable of making

6       such a deferral?

7            A.   I think so, yes.  It's just a matter of we

8       would also have to throw in the effect on the customers

9       whatever the result would be after-the-fact.

10            Q.   And one of those effects on the customers,

11       wouldn't it be true, would be that there would be an

12       increase in 2011 for the deferred amount?

13            A.   Yes, it wouldn't be quite the reduction that

14       we would have now if we only applied half.

15            Q.   A vote to approve your rate mitigation

16       proposal today would be actually a vote to approve

17       amending your storm hardening plan, wouldn't that be

18       correct?

19            A.   (By Witness Cutshaw)  That would be correct.

20            Q.   And have you actually filed an amendment to

21       your plan yet with the Commission?

22            A.   No, we have not.

23            Q.   Do you propose to do so if this is approved?

24            A.   Yes, we will provide an amended plan based on

25       the results from today.

FLORIDA PUBLIC SERVICE COMMISSION

431

1                 MS. BENNETT:  I have no further questions of

2       these witnesses.

3                 CHAIRMAN CARTER:  Thank you.

4                 From the bench, Commissioner Skop, you're

5       recognized.

6                 COMMISSIONER SKOP:  Thank you, Mr. Chairman.

7                 Go back to Mr. Cutshaw.  I guess the prior

8       question I had and actually found it, it was Number 17

9       in the FPUC response to Staff's Third Set of

10       Interrogatories, and I think that addressed my prior

11       line of questioning in terms of what the company did to

12       address some of my concerns I previously raised.  What I

13       want to go back to briefly is the FPU Response to

14       Staff's First Set of Interrogatories 1C, and I'll give

15       you a second to get to that.  Do you see that?

16                 WITNESS CUTSHAW:  Yes.

17                 COMMISSIONER SKOP:  In that response, they

18       discuss a fuel rate decrease scheduled for October 1,

19       2009, and also discussed that that number is just an

20       estimate by JEA, but has not yet been approved by the

21       JEA board.  I just have two questions on that.  With

22       respect to the fuel rate decrease, is that just the fuel

23       component, i.e., coal, or are we talking about the

24       demand and energy charges and fuel built in all in one?

25                 WITNESS CUTSHAW:  That was just the fuel

FLORIDA PUBLIC SERVICE COMMISSION

432

1       component.

2                 COMMISSIONER SKOP:  On this particular

3       response?

4                 WITNESS CUTSHAW:  Correct.

5                 COMMISSIONER SKOP:  And then, I guess,

6       secondly, you know, I could see, given the contractual

7       arrangement that FPUC has with JEA, doesn't lend itself

8       well to aligning with annual proceedings that the

9       Commission has, and whenever JEA decides to implement

10       some sort of rate increase or change, it forces FPUC to

11       react and also to seek recovery of costs or pass-through

12       costs to its customer base.

13                 What efforts, if any, has FPUC made to try and

14       have a better open communication dialogue with JEA to

15       better understand and quantify what, you know, any

16       proposed pass-through costs and the related impact on

17       your customers such that, you know, we don't find

18       ourselves in, you know, a midcourse surprise?  Because,

19       again, I could see this happening.  It has happened once

20       or twice.  So, again, is FPUC taking steps to try and

21       have a more open dialogue with JEA to address some of

22       these on-going issues?

23                 WITNESS CUTSHAW:  When the contract was

24       started in January of 2007, only the first year of cost

25       was identified within the contract, everything else was

FLORIDA PUBLIC SERVICE COMMISSION

433

1       identified as based on the tariff or based on fuel costs

2       at that time.  So there was nothing in the contract to

3       give us any guidance as to what the costs would be as we

4       move through the contract.

5                 One of the, I guess, good things that came out

6       of this was that, you know, we looked at the cost of

7       service study and at this point we know going forward

8       what the capacity costs will be, we know what the energy

9       costs will be, and we know what the environmental

10       charges will be.  Those are outlined within the contract

11       for the term of the contract at this point.  So we know

12       now on a yearly basis what those numbers are and we can

13       include those in our one-docket filing.

14                 The only possible issue is that the fuel

15       component of the contract is based on the retail fuel

16       cost for the JEA customers.  Within JEA, all customers

17       pay the same fuel costs.  Typically, what they have

18       mentioned to us that they are going to attempt to do is

19       set that cost each June for implementation in October,

20       which that fits in relatively well to our filing.  We

21       will know prior to September what those numbers will be.

22       The only downside would be if they decided midcourse to

23       change some numbers or the October, November, and

24       December time period for the projection period, they may

25       not know those for certain.  But overall the components

FLORIDA PUBLIC SERVICE COMMISSION

434

1       are known.  So I think we will be doing a much better

2       job in making the projections going forward because we

3       know what those costs are going to be.

4                 COMMISSIONER SKOP:  Okay.  So those costs have

5       been, as you have progressed in the contract, further

6       definitized such that your customers won't see wild

7       swings in variations in their rates hopefully on a

8       going-forward basis?

9                 WITNESS CUTSHAW:  That is correct.

10                 COMMISSIONER SKOP:  Great.  And then just one

11       final question I think that you answered in response to

12       a question posed by Ms. Bennett, but I'm trying to

13       understand if the storm deferral option or suggestion is

14       not granted, or if that was not used to mitigate the

15       proposed rate increase, what would be the total

16       magnitude of the increase itself as it would affect the

17       average customer?

18                 WITNESS CUTSHAW:  I think the question was

19       what is the difference between the two?

20                 COMMISSIONER SKOP:  Yes.

21                 WITNESS YOUNG:  Like I said, the cost for a

22       typical residential customer would be approximately

23       $155.52 without this appliance of the storm hardening

24       whereas opposed, if we do, we are granted permission to

25       apply it, we are looking at a typical bill of $149.95.

FLORIDA PUBLIC SERVICE COMMISSION

435

1                 COMMISSIONER SKOP:  Okay.  And that's with

2       doing the proposed --

3                 WITNESS YOUNG:  Right, at least for the year

4       for 2010.

5                 COMMISSIONER SKOP:  Thank you.

6                 CHAIRMAN CARTER:  Thank you, Commissioner.

7                 Commissioners, anything further from the

8       bench?

9                 Mr. Horton, redirect.

10                 MR. HORTON:  I think just one.

11                         REDIRECT EXAMINATION

12       BY MR. HORTON:

13            Q.   Mr. Cutshaw, is the mitigation proposal that

14       we have been talking about here, is that the primary

15       recommendation or position for FPUC in this?

16            A.   No, that is strictly an alternative position.

17       I think our original position is the -- it did not

18       include removing the storm hardening.

19                 MR. HORTON:  Okay.  Thank you.  That's all.

20                 CHAIRMAN CARTER:  You have done outstanding,

21       Mr. Horton, in the words of Master Po, you have mastered

22       the rice paper.  Nice let's try the pebble in my hand.

23                 Commissioner Edgar, you're recognized.

24                 COMMISSIONER EDGAR:  I'm sorry, I just want to

25       make sure I --

FLORIDA PUBLIC SERVICE COMMISSION

436

1                 CHAIRMAN CARTER:  Do you want to go for the

2       pebble?  Nevermind.

3                 COMMISSIONER EDGAR:  I never claimed to be

4       that fast, Mr. Chairman.

5                 Just to clarify, a follow-up to Mr. Horton's

6       question.  So for Marianna the primary position, I think

7       to use your words, for the company request would have

8       for the Marianna portion of the company the bill be

9       $155.54?

10                 WITNESS YOUNG:  Yes, .52, that's our primary

11       position.

12                 COMMISSIONER EDGAR:  Okay.  I know you just

13       did this, but could you tell me the number again; if the

14       storm hardening proposal were to be adopted, what that

15       number would come down to?

16                 WITNESS YOUNG:  It would be 149.95.

17                 COMMISSIONER EDGAR:  Thank you.

18                 CHAIRMAN CARTER:  Thank you, Commissioner.

19       Commissioners, anything further from the bench?

20                 Commissioner Skop, you're recognized.

21                 COMMISSIONER SKOP:  Thank you, Mr. Chairman.

22                 I guess just a question to staff.  Typically,

23       you know, during the fuel docket we do do some bench

24       votes when the issues are pretty clear cut.  Does staff

25       envision making on this particular issue an oral

FLORIDA PUBLIC SERVICE COMMISSION

437

1       modification, or would a written recommendation that the

2       Commission would act upon be more appropriate in light

3       of the technical nature of the options?

4                 MS. BENNETT:  We will be prepared to offer an

5       oral recommendation, but if the Commission would prefer

6       us to develop some more detailed studies, we can do

7       that.

8                 COMMISSIONER SKOP:  Thank you.

9                 COMMISSIONER EDGAR:  Mr. Chairman.

10                 CHAIRMAN CARTER:  Commissioner Edgar.

11                 COMMISSIONER EDGAR:  I'd like to reserve that

12       option as a possibility, depending, you know, kind of

13       where we are when the questioning and testimony and all

14       of that wraps up.  I'm not prepared yet to say I

15       absolutely need it.  On the other hand, I'm not prepared

16       to say I absolutely don't, so I would like to just keep

17       that as a possibility.

18                 CHAIRMAN CARTER:  Better to need it and not

19       have it than to have it and not need it, or something

20       like that.  Or to not need it -- or to have it and not

21       need it.  Anyway, let's go.  (Laughter.)

22                 Let's do this.  Staff, where are we?  Just

23       kind of bring us back around on this matter.

24                 MR. HORTON:  Mr. Chair.

25                 CHAIRMAN CARTER:  Mr. Horton, I'm sorry.

FLORIDA PUBLIC SERVICE COMMISSION

438

1                 MR. HORTON:  I would like to move Exhibits 78

2       through 87, if we're --

3                 CHAIRMAN CARTER:  Are there any objections?

4       Without objection, show it done.

5                 (Exhibit Numbers 78 through 87 admitted into

6       the record.)

7                 CHAIRMAN CARTER:  Do we need anything further

8       from these two witnesses, staff?

9                 MS. BENNETT:  Not unless Mr. Horton needs

10       anything further.

11                 MR. HORTON:  No, I'm finished.

12                 CHAIRMAN CARTER:  Commissioners, anything

13       further for these two witnesses?  You may be excused.

14                 Ms. Bennett.

15                 MS. BENNETT:  I believe that brings us to

16       Gulf's witnesses.

17                 CHAIRMAN CARTER:  Okay.  Mr. Badders.

18                 MR. BADDERS:  We're ready to proceed.  We call

19       Mr. Ball to the stand.

20                 CHAIRMAN CARTER:  Okay.  Mr. Ball.

21                 MR. BADDERS:  And Mr. Ball was present this

22       morning when the witnesses were sworn.

23                 CHAIRMAN CARTER:  Okay.  Hang on a second.  I

24       need to check with staff on something.

25                 (Pause.)

FLORIDA PUBLIC SERVICE COMMISSION

439

1                 CHAIRMAN CARTER:  Mr. Badders, you're ready?

2                 MR. BADDERS:  We are ready.

3                 CHAIRMAN CARTER:  You may proceed.

4                 MR. BADDERS:  Thank you.

5                         RUSSELL HERBERT BALL

6       was called as a witness on behalf of Gulf Power Company,

7       and having been duly sworn, testified as follows:

8                         DIRECT EXAMINATION

9       BY MR. BADDERS:

10            Q.   Please state your name and job title for the

11       record?

12            A.   My name is Herbert Russell Ball.  I'm employed

13       by Gulf Power Company as Fuel Manager.

14            Q.   Are you the same H. R. Ball who prefiled Final

15       True-up Testimony on March 9, 2009, and Estimated/Actual

16       True-up Testimony on August 4, 2009?

17            A.   Yes.

18            Q.   Did you also file projection testimony on

19       September 1st, 2009, which was subsequently revised this

20       past Friday, October 30, 2009?

21            A.   Yes.

22            Q.   Do you have any changes or corrections to any

23       of that testimony?

24            A.   No.

25            Q.   If I were to ask you the same questions today,

FLORIDA PUBLIC SERVICE COMMISSION

440

1       would your answers be the same?

2            A.   Yes.

3                 MR. BADDERS:  We would ask that the prefiled

4       testimony with the revised projection testimony dated

5       October 30th be inserted into the record as though read.

6                 CHAIRMAN CARTER:  The prefiled testimony of

7       the witness will be inserted into the record as though

8       read.

9                 MR. BADDERS:  Thank you.  And I'll note that

10       we passed out the revised testimony this morning, so

11       each of the Commissioners and all of the parties should

12       have that.

13                 CHAIRMAN CARTER:  Got it.

14       BY MR. BADDERS:

15            Q.   Mr. Ball, do you also have four exhibits

16       attached to your testimony?

17            A.   I'm sorry, repeat that.

18            Q.   Do you also have four exhibits attached to

19       your testimony?

20            A.   Yes.

21            Q.   Do you have any changes or corrections to

22       those exhibits?

23            A.   No.

24                 MR. BADDERS:  We'd ask that these -- actually,

25       these exhibits have already been identified.  They are

FLORIDA PUBLIC SERVICE COMMISSION

441

1       Exhibits 97 through 103.

2                 CHAIRMAN CARTER:  Okay.

3                 MR. BADDERS:  And you'll note that 104 was

4       reserved for an exhibit that has been withdrawn as a

5       result of 4C, so 104 will not be used.

6                 CHAIRMAN CARTER:  Okay.  So when we finish

7       with this witness, as we introduce the exhibits into

8       evidence, just bring that back to our attention and we

9       will take care of that at that point in time.

10                 MR. BADDERS:  I will do so, thank you.

11                 At this time the witness is tendered for

12       cross-examination.

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

500

1       BY MR. BADDERS:

2            Q.   Actually, please summarize your testimony.

3            A.   Thank you.  My responsibility at Gulf Power is

4       to manage the fuel program in a manner that accomplishes

5       the primary objectives of providing a reliable supply of

6       fuel to Gulf's generating plants at the lowest practical

7       cost, in the right quantity to minimize supply risk, and

8       with the right quality to meet Gulf's operational and

9       environmental obligations.

10                 With regard to Gulf's power sales, purchases,

11       and capacity transactions, I have noted Gulf's

12       participation in the integrated Southern Electric System

13       and Power Pool.  I have described how Gulf's retail

14       customers benefit from participation in the pool and

15       state that power sales, purchases, and capacity sharing

16       are governed by the Intercompany Interchange Contract

17       which is approved by FERC.

18                 It is my understanding that the remaining

19       unresolved issue in Gulf's request for recovery of its

20       fuel costs for the period and the establishment of

21       projection period cost-recovery rates relates to sales

22       of energy to the associated companies of the Southern

23       Company.  I have testified that Gulf's fuel and net

24       power transactions are reasonable and prudent and still

25       believe that today.

FLORIDA PUBLIC SERVICE COMMISSION

501

1                 I have reviewed FIPUG's position statement

2       regarding Gulf's sales of power to associated companies

3       and have concluded that this statement has no basis in

4       fact due to the inappropriate use of Gulf's annual

5       average fuel cost to generation and the average power

6       sale revenue rates.  Gulf sells power to associated

7       companies on an hourly basis, and sales were made from

8       specific generating units with unique marginal fuel

9       replacement costs in compliance with the Intercompany

10       Interchange Contract.

11                 MR. BADDERS:  We tender the witness for

12       cross-examination.

13                 COMMISSIONER EDGAR:  Thank you.

14                 Mr. McWhirter, questions on cross for this

15       witness.

16                 MR. McWHIRTER:  Madam Chair, I'm going to

17       request that my beautiful assistant, Captain Jungels,

18       pass out a composite exhibit that is an extract from

19       Mr. Dodd's exhibits that I will use for

20       cross-examination for simplicity purposes.

21                 COMMISSIONER EDGAR:  Okay.

22                          CROSS EXAMINATION

23       BY MR. McWHIRTER:

24            Q.   And I sent this to your counsel earlier, so

25       I'm sure you're aware of what you have before you now.

FLORIDA PUBLIC SERVICE COMMISSION

502

1            A.   Yes, I am.

2                 COMMISSIONER EDGAR:  And, again, this is all

3       material that has already been marked.

4                 MR. McWHIRTER:  Yes.  Well, it hasn't been

5       marked because it's part of Mr. Dodd's testimony.  He's

6       the numbers guy.  It is Exhibit 88, 91, and 93, I think.

7       Something like that.

8                 COMMISSIONER EDGAR:  It has been numbered for

9       identification purposes, but not yet entered.

10                 MR. McWHIRTER:  That's correct, 88, 91, and

11       92.

12                 COMMISSIONER EDGAR:  All right.  Thank you.

13       BY MR. McWHIRTER:

14            Q.   Now, Mr. Ball, you are formerly an employee of

15       Alabama Power before you came to Gulf, or were you with

16       the Southern System Company?

17            A.   I was employed by Southern Company Services,

18       Incorporated.  Still am.

19            Q.   And Southern Company is a public utility

20       holding company?

21            A.   The Southern Company is a holding company.

22            Q.   And it's regulated by the Federal Energy

23       Regulatory Commission and also the Securities and

24       Exchange Commission, is that correct?

25            A.   That's my understanding.

FLORIDA PUBLIC SERVICE COMMISSION

503

1            Q.   And Gulf Power is a subsidiary of the parent

2       corporation.  Where is the headquarters of the parent

3       corporation?

4            A.   The headquarters of the Southern Company is in

5       Atlanta, Georgia.

6            Q.   And you work for Southern Services, which is

7       located in Birmingham?

8            A.   There are offices of Southern Company Services

9       located in Birmingham, that's correct.

10            Q.   Gulf Power owns power plants in Macon,

11       Georgia, it has 219 megawatts in the Scherer 3 Power

12       Plant, it has a one-quarter interest in the Scherer 3

13       operation, is that correct?

14            A.   Gulf Power does own 25 percent of Plant

15       Scherer Unit 3 that it sells 100 percent in unit power

16       sales to other utilities.

17            Q.   And you also own 50 percent of a power plant

18       that's located in Mississippi at Plant Daniels?

19            A.   That's correct.  Gulf Power owns 50 percent of

20       the two coal-fired units at Plant Daniel.

21            Q.   And Scherer is a coal-fired unit, is that

22       correct?

23            A.   Yes, that's correct.

24            Q.   And the rest of your power plants are located

25       in the state of Florida?

FLORIDA PUBLIC SERVICE COMMISSION

504

1            A.   The remaining power plants that are owned by

2       Gulf Power are in the state of Florida.  However, there

3       are some purchased power agreements with generating

4       facilities that are located outside of Florida.

5            Q.   I see.  If you would take the composite

6       exhibit that I have laid before you and look at the page

7       that has been given Bates-stamp Number 1, that is the

8       December 2008 actual numbers for the Gulf operations in

9       2008.  Do you agree with that?

10            A.   Yes, I agree with that.

11            Q.   And that's an exhibit that your company filed,

12       is that correct?

13            A.   That's correct.

14            Q.   Now, at the beginning of 2008 you estimated

15       that you would sell 17 million megawatt hours of

16       electricity, or that you would generate

17       17.5 million megawatt hours of electricity from

18       generators that were owned by Gulf Power Company, is

19       that correct?

20            A.   Yes.  I assume that you are referring to Line

21       1 on this schedule?

22            Q.   Yes, sir.

23            A.   Yes, that's correct.

24            Q.   Now, if you look at Line 19 of that schedule,

25       you'll see that you sold power to other power companies.

FLORIDA PUBLIC SERVICE COMMISSION

505

1       You sold 3.9 million megawatt hours, is that correct?

2            A.   Yes, that's correct.

3            Q.   And did that 3.9 million megawatt hours come

4       from Gulf Power's net generation on Line 1?

5            A.   It's my understanding that some of the

6       opportunity sales may have come from other sources of

7       power.

8            Q.   Well, you bought some power, and I'll get to

9       that in a minute, is that the power you are talking

10       about that may have come from other sources?

11            A.   Yes.  Not all opportunity sales are made out

12       of Gulf's own units.

13            Q.   I see.  Now, are you familiar with the status

14       of the Scherer 3 plant as it relates to the Gulf Power

15       rate base?

16            A.   My only understanding of the Scherer Plant is

17       that it is not included in rate base.

18            Q.   Okay.  Are you familiar with the rate order

19       that was entered in 1991 in which this Commission

20       determined that Scherer would not be part of your rate

21       base?

22            A.   I am not intimately familiar with that order.

23            Q.   Are you familiar with the concept that it was

24       not in rate base?  You just said it's not in rate base.

25            A.   I understand that it's not in rate base,

FLORIDA PUBLIC SERVICE COMMISSION

506

1       that's correct.

2            Q.   And explain to us what a unit power sale is?

3       If that 219 megawatts was sold by unit power sales, it's

4       sold to Florida Progress and FPL primarily?

5            A.   And Jacksonville Electric Authority, I

6       believe, is the third.

7            Q.   I see.  And all the profits from those sales

8       go to Gulf and they don't flow into the revenue of Gulf

9       for regulatory purposes, is that correct?

10            A.   I'm really not familiar with how the cash

11       flows between those unit power sales and Gulf.

12            Q.   Do you know whether Scherer Unit 3 is included

13       in the estimated electricity produced on Line 1 on the

14       exhibit you have before you, Page 1?

15            A.   I believe it is, that's correct.

16            Q.   And then when we get down to Line 17, that's

17       called cost of other power sales.  The cost of fuel from

18       the Scherer Plant is taken out of your total sales?

19            A.   I'm confused by the lines that you have

20       referred to here.  You mentioned Line 17, which is fuel

21       cost of other power sales.

22            Q.   Yes, I'm sorry about that.  Let's look at Line

23       19, and those are the economy sales, the unit power

24       sales, and other power sales all added up.  And that is

25       3.9 million megawatt hours, is that correct?

FLORIDA PUBLIC SERVICE COMMISSION

507

1            A.   That's correct.  It's the sum of Lines 14, 15,

2       16, and 17.

3            Q.   And then the unit power sales on Line 16, that

4       is the Scherer Plant?

5            A.   Those are sales to the unit power customers,

6       that's correct.

7            Q.   And can you explain to me why -- if the

8       Scherer Plant is not in rate base and its profits are

9       not in rate base, and you say you don't know about

10       that -- why you would include Scherer's fuel cost in

11       your report to the Commission in your fuel exhibit?

12            A.   Well, I'm not the witness to discuss these

13       schedules.  This is not something that I prepared.  Mr.

14       Dodd prepares these.  But I just will say that these

15       schedules are completed and the schedules were -- I

16       guess the format of the schedules were established by

17       staff.  So we're essentially responding to staff's

18       request to prepare these schedules in a specific way.

19            Q.   I see.  So the Scherer Plant, for all intents

20       and purposes, is outside of the Gulf system, but your

21       fuel costs for the Scherer plant are include in your

22       fuel costs, is that a fair statement?

23            A.   That's correct.  In Line 1 the Scherer plant

24       costs are included, in Line 1, fuel cost of system net

25       generation.

FLORIDA PUBLIC SERVICE COMMISSION

508

1            Q.   Now, look, if you will, down at Line 27, and

2       that is your wholesale kilowatt hour sales, and explain

3       to me who those sales go to.

4            A.   I'm not familiar with that.

5            Q.   Okay.  Is that 366,000 megawatt hours, is that

6       also part of the system net generation from Line 1?

7            A.   Is the question that you're asking were those

8       sales -- were the kilowatt hours generated from Line 1

9       to supply the energy in those wholesale sales on --

10            Q.   You asked the question a lot better than I

11       did.  Thank you.  That's exactly it.

12            A.   Well, hopefully this answer is not too

13       undramatic.  No, I don't know.

14            Q.   That's okay.  That's okay.  But then the next

15       line down is Line 28, and after you deduct line losses,

16       you only need -- in 2008 you only needed 11-1/2 million

17       megawatt hours to supply the requirements of your retail

18       customers, is that correct?

19            A.   Of the jurisdictional customers, that's

20       correct.

21            Q.   Can you explain to me how jurisdictional

22       customers are different than retail customers?

23            A.   No, I can't.

24            Q.   Now, check my math, if you will.  It looks to

25       me like if your system is able to produce 17.5 million

FLORIDA PUBLIC SERVICE COMMISSION

509

1       megawatt hours of electricity, and you buy some more,

2       the electricity you can produce is 46 percent more than

3       the electrical requirements of your jurisdictional, or I

4       call retail customers, is that correct?

5            A.   Yes.  Gulf produces more electricity from its

6       generating units that is used by the jurisdictional

7       customers, that's correct.

8            Q.   It can produce -- is 17.5 million megawatt

9       hours the maximum you can produce, or is that just what

10       you estimated you could produce for the year 2008 from

11       your own generation?

12            A.   That's the amount of electricity that we

13       projected that we would produce in 2008.  It does not

14       represent the maximum that could be produced.

15            Q.   So you could actually produce even more than

16       the amount, the 17.5, is that correct?

17            A.   That's entirely possible.

18            Q.   Are any of your power plants expected to be

19       taken out of the system or retired in the year 2010?

20            A.   I know of no power plants that we plan on

21       retiring in 2010.

22            Q.   I see.  Now, because Scherer 3 is a coal

23       plant, is it fair to say that the cost of producing

24       electricity from that coal plant is somewhat less than

25       the cost of producing electricity from your combined

FLORIDA PUBLIC SERVICE COMMISSION

510

1       cycle plant?

2            A.   No, I would not -- I would not say that, no.

3            Q.   You would not say that?

4            A.   Let me just elaborate on that a little bit.

5            Q.   Go ahead.

6            A.   Fuel costs, of course, are volatile right now.

7       There could be a certain circumstance where natural gas

8       prices got low enough where it would be cheaper to run a

9       combined cycle gas-fired plant than a coal plant, even

10       Plant Scherer.  Now, I will admit that Plant Scherer is

11       an inexpensive plant to operate because it burns Powder

12       River Basin coal as its primary fuel source, which is a

13       relatively low-cost fuel.

14                 So while there is all likelihood that the

15       cold-fired generation out of Plant Scherer would be the

16       lowest cost generation available, that's not certainly

17       guaranteed, depending on what natural gas prices may do.

18            Q.   Now, Mr. Ball, you indicated that you were not

19       familiar with Public Service Commission Order 23573 that

20       was rendered by this Commission on October 3rd, 1990, in

21       Docket Number 891345-EI, but I'm reading from that

22       order, and I hope you will agree with me, subject to

23       check, that I'm not reading something that is false.

24       But that order says that the Scherer Plant cannot be put

25       in the retail rate base for the purpose of charging

FLORIDA PUBLIC SERVICE COMMISSION

511

1       retail customers a return on that investment.  And, in

2       fact, in that case it knocked a bunch of money out of

3       your requested rate base.  It then went on to say that

4       all the profits from Scherer 3 would go to Gulf, and all

5       the capacity payments would go to Gulf, and all the

6       costs presumably would go to Gulf and not to customers

7       of Gulf.

8                 But then it says, "When will Scherer be

9       available," and this order says that Scherer will become

10       available for Gulf Power Company's retail customers in

11       May of 2010.  Can you tell me what the current plans are

12       with respect to returning Plant Scherer to the retail

13       rate base for the benefit of the customers to use that

14       low-cost fuel?

15                 MR. BADDERS:  I'm going to object.  I mean,

16       I'm not really sure what issue has been identified that

17       this goes to.  We've moved far, far afield from whether

18       or not our sales are made below cost to generate.  We

19       are now talking about whether or not Scherer should be

20       in rate base, or not, or when.

21                 CHAIRMAN CARTER:  Mr. McWhirter, to the

22       objection.

23                 MR. McWHIRTER:  Well, Mr. Chairman, Mr. Ball

24       said that they use Powder River Basin coal at the

25       Scherer plant, and that's inexpensive coal, and he said

FLORIDA PUBLIC SERVICE COMMISSION

512

1       that it costs substantially less than the average cost

2       of fuel for Gulf's customers from their own coal plants

3       and combined cycle plant.  And in this Commission's

4       order it said Scherer can come back into the rate base

5       for the benefit of customers in 2010.

6                 And so my question was does he in charge of

7       intercompany sales, is he aware of any plans to bring

8       Scherer back so that Florida's customers can get the

9       benefit of the lower cost coal plant, Scherer plant, and

10       that's where the objection stands.

11                 CHAIRMAN CARTER:  Ms. Cibula.

12                 MS. CIBULA:  I think the question should be

13       allowed.

14                 CHAIRMAN CARTER:  You may proceed.

15       BY MR. McWHIRTER:

16            Q.   Do you remember the question?

17            A.   I think I do.

18                 CHAIRMAN CARTER:  He's about the only one here

19       that does.

20                 MR. McWHIRTER:  I don't know that I did.  Go

21       ahead.

22                 THE WITNESS:  And the answer is I do not know.

23                 MR. McWHIRTER:  Okay.

24       BY MR. McWHIRTER:

25            Q.   But you are the guy that is responsible for

FLORIDA PUBLIC SERVICE COMMISSION

513

1       intercompany transactions, and I would presume if

2       anybody knew you would be the one to know, wouldn't you

3       assume that?

4            A.   Well, the decision about whether to put Plant

5       Scherer into rate base as far as I know has nothing to

6       do with Intercompany Interchange transactions.

7            Q.   I see.  Okay, let's go to Intercompany

8       Interchange transactions.  And if you look at Page 2 of

9       the composite exhibit I gave you and look over at the

10       last columns, you will see that you estimated that you

11       would purchase power, this is Schedule A-9, you would

12       purchase power from the Southern Company interchange and

13       you would pay $6.99 -- well, $69.90 a megawatt hour for

14       that power.  But then down here on Line 6, the actual,

15       at the end of the year you purchased substantially more

16       kilowatt hours from Southern Company, and you paid --

17       instead of $12 million, you paid Southern Company

18       $49 million for that power, and you charged -- and they

19       charged you $65.70 for the power you purchased.  That's

20       what the exhibit says.

21                 Can you explain why it is that you purchased

22       much more power from the Southern Company in 2008 than

23       you originally estimated that you would purchase?

24            A.   Well, the reason that Gulf participates in the

25       Intercompany Interchange Contract, one of the benefits

FLORIDA PUBLIC SERVICE COMMISSION

514

1       of that is that we get to purchase power, and we get to

2       purchase power when it's to the benefit of Gulf's

3       ratepayers.  For instance, Gulf has a specific

4       generating unit, and while that unit could operate to

5       serve the needs of the ratepayer in a certain hour,

6       there may be another unit within the Southern Company

7       power pool that could generate that power at a lower

8       cost.  So Gulf has the option, when the economics are

9       right, to purchase power from the pool as opposed to

10       running its own generating resource.  And, of course,

11       that's a huge benefit whenever you are able to do that

12       and lower your cost to the customer.

13                 So in this case in 2008, what Gulf elected to

14       do was even though it projected it was going to purchase

15       182 million kilowatt hours, it was to the benefit of the

16       customer that we purchased more power than what was

17       projected and run our own generating assets less because

18       it was cheaper to do so.

19            Q.   Well, that's what I would call a conclusionary

20       statement.  And I presume there are facts to back that

21       statement up.  Have you produced any of those facts in

22       the docket in the record in this case to justify paying

23       substantially more for opportunity purchases from the

24       Southern Company, some $20 more than your average cost

25       to produce from your own generation?

FLORIDA PUBLIC SERVICE COMMISSION

515

1            A.   Well, let me just start by saying this:  The

2       conclusion that you have reached, that Mr. McWhirter has

3       reached that Gulf paid more to purchase power from the

4       Southern Company interchange than the cost to generate

5       that is just simply not true.  And what Mr. McWhirter is

6       doing is he is comparing actual purchase prices to an

7       average generation over a year.  And as I explained

8       earlier, these purchase decisions are made every hour,

9       and purchases are not made to replace an average

10       generating unit in Gulf's system, and it's not made to

11       purchase an average across an entire year of the cost.

12                 We purchase power when it's cheaper to

13       purchase power from the pool to replace energy from a

14       specific unit during a specific hour.  So this idea that

15       we can compare average cost over the year and make

16       conclusions about what happens during a specific hour

17       just really does not make any sense to us.

18            Q.   Well, you must not have heard my question.

19            A.   Maybe I didn't.

20            Q.   I was asking if you had supplied any facts

21       that would substantiate the allegation you just made

22       that it was cheaper for you at any hour of the year to

23       purchase electricity at the price of $65.70 and that was

24       cheaper than your average price of $42 to supply

25       electricity from your own generation.  It seems like

FLORIDA PUBLIC SERVICE COMMISSION

516

1       that's a lot more, and so there is something going on at

2       some point in time that made your own generation very

3       expensive.  What is the most expensive -- other than

4       combustion turbines, what is the most expensive power

5       that you have on your system?

6            A.   Well, it varies.  I'm sorry.  I think there's

7       two questions there, so let me just try and answer the

8       last one, which is the one I remember.

9            Q.   Okay.

10            A.   The price of running a generating unit changes

11       depending on marginal fuel prices.  So if the price of

12       natural gas, as it did in 2008, goes up to, say, $12 a

13       million Btu, certainly the cost to run a gas-fired

14       combined cycle unit would be relatively expensive.  I'm

15       estimating on the order of eight cents a kilowatt hour.

16                 So there could very well be times when

17       combined cycle gas-fired generation would exceed the

18       cost of the average purchase we've got -- we show here.

19                 Certainly combustion turbines, peaking plants

20       could be very expensive to operate.  In addition, there

21       could be some circumstances where even coal units, if

22       the marginal price of coal is extremely expensive, the

23       price of coal units can go up quite significantly.  So,

24       you know, there are all kinds of circumstances where the

25       prices of a specific generating unit can change

FLORIDA PUBLIC SERVICE COMMISSION

517

1       substantially.  And certainly there are certain

2       circumstances where the actual cost to generate

3       electricity based on marginal costs can exceed our

4       ability to purchase power from the pool.

5            Q.   My question to you is, I guess if you look at

6       the exhibit you just filed, the testimony you just

7       filed, and go to Page 13 of Schedule E-4.

8            A.   Well, I don't file E Schedules with my

9       testimony, I'm sorry.

10            Q.   Well, the thing that was just handed out by

11       your counsel, and you had some -- the schedule is

12       Mr. Dodd's schedule, but it relates to fuel costs, and I

13       presume you are familiar with the evidence that he

14       submitted; is that correct?

15            A.   I'm sorry, I'm completely lost on this.  Are

16       we talking about the schedules that you just provided

17       me?

18            Q.   No, sir.  I'm talking about a letter from Gulf

19       Power dated November 2nd, 2009, that was just

20       distributed by your lawyer.  Do you have a copy of that?

21            A.   No, I do not.  Sorry.

22            Q.   Would you give Mr. Ball a copy of the document

23       that you just handed out?

24                 MR. BADDERS:  May we approach?

25                 CHAIRMAN CARTER:  You may approach.

FLORIDA PUBLIC SERVICE COMMISSION

518

1       BY MR. McWHIRTER:

2            Q.   Now, if you will go to Schedule E-4, sir?

3            A.   This is in Mr. Dodd's testimony?

4            Q.   Yes, sir.  It's Exhibit RWD-3, Page 13.

5            A.   Okay.

6            Q.   Now, you haven't filed -- well, I take that

7       back, you may have.  Look at the fuel cost per kilowatt

8       hour for your various plants as set out on this schedule

9       for the year 2010, and I notice that there is not a

10       single power plant that you have in your system that has

11       an average cost of -- I guess the maximum was $5.67, and

12       at that point in time you were -- on your A-9 purchases

13       on average for the year you paid $6.57 to the Southern

14       Company, isn't that correct?

15            A.   Okay.  If I understand what you're doing,

16       you're comparing what Gulf paid for power purchases in

17       2008 to a projection for 2010.

18            Q.   That's correct.

19            A.   I am at a loss to understand how you can

20       compare actual results from 2008 to projections for

21       2010.

22            Q.   Is Crist a coal plant or a gas and coal plant?

23       Those are relatively small units, is that correct?

24            A.   Plant Crist is a coal-fired generating plant.

25            Q.   Scholz is a relatively small plant.  Smith 1

FLORIDA PUBLIC SERVICE COMMISSION

519

1       and Smith 2, they are your basic plants in West Florida?

2            A.   Smith 1 and Smith 2 are coal-fired plants, but

3       they are not the largest coal-fired plants that Southern

4       has in western Florida.

5            Q.   All right.  What is the largest one?

6            A.   Plant Crist Unit 7.

7            Q.   All right.  Now, those show $52 and $53

8       projected, and you enter into long-term coal purchase

9       agreements, do you not?

10            A.   Yes, that's correct, we enter into long-term

11       purchase agreements for coal.

12            Q.   And in this case you have testified, and last

13       year you testified that the price of coal was going up,

14       is that correct?

15            A.   Yes.  Last year when we purchased coal to

16       supply coal for these plants, the price was

17       substantially higher than what we had -- than it had

18       been in previous years.

19            Q.   Okay.  So the price last year would have been

20       substantially higher than 2008.  How about 2010, is it

21       going to be substantially lower than it was last year

22       for your coal plants?

23            A.   Are you talking about market prices for coal?

24            Q.   No, I'm talking about your contract price for

25       coal that is delivered to you.

FLORIDA PUBLIC SERVICE COMMISSION

520

1            A.   The coal contracts that we signed in 2008

2       were, for the most part, for a two-year period.  Most of

3       those contracts were fixed price agreements.  So the

4       price of coal that we had under those contracts that

5       were delivered in 2009 will be essentially the same on a

6       contract-by-contract basis as they will be in 2010,

7       since those are two-year agreements.

8            Q.   All right.  And you said that the price went

9       up substantially in 2009 over 2008, is that correct?

10            A.   That's correct.

11            Q.   Well, based on that, would it be fair to

12       assume that the price per megawatt hour for your largest

13       coal plants would be less than $53 and -- $56 that you

14       show on this current Schedule E-4, Page 13?

15            A.   I'm sorry, I do not understand the question.

16            Q.   Okay.  Is the price that's shown on E-4, Page

17       13 for the -- is that price substantially higher than

18       the price you paid in 2008, or is it lower?

19            A.   Well, I would have to look at Schedule E-4 for

20       2008, which I don't have in front of me.

21            Q.   But you just testified that it was higher

22       in -- it was higher in 2009 than it was in 2008.  Was

23       that incorrect?

24            A.   What I testified was that on a

25       contract-by-contract basis, we signed new agreements

FLORIDA PUBLIC SERVICE COMMISSION

521

1       that would start primarily in 2009, and that the price

2       of coal under those new coal contracts was higher in

3       2009 than it was in 2008.

4            Q.   And it's higher in 2010 than it was in 2008,

5       is that correct?

6            A.   That is correct.

7            Q.   So when you were buying power from the

8       Southern Company for an average price of $65, it's fair

9       to assume that the plants in your -- the price of coal

10       for your Florida plants was something like $12 less per

11       megawatt hour than you paid to the Southern Company, is

12       that correct?

13            A.   Well, I'm confused, but I will try to answer

14       it this way.

15            Q.   Well, I appreciate that.

16            A.   Gulf purchases power on an hourly basis to

17       replace energy from a specific generating unit that

18       would otherwise have been run to serve Gulf's

19       ratepayers.  That does not necessarily mean that the

20       unit that would have otherwise been operated was a

21       coal-fired plant.  It could very well have been a

22       natural gas-fired plant that was operated.  So trying to

23       tie the purchase price -- average purchase price for

24       power in 2008 to a projection of coal price generation

25       in 2010, I'm just struggling to try to make the

FLORIDA PUBLIC SERVICE COMMISSION

522

1       connection between that comparison.

2            Q.   When we started on this I asked you if you

3       could give me an example of a specific plant and a

4       specific fuel price to compare with the marginal price

5       that you paid Southern Company on average for the entire

6       year 2008 that had a fuel price of more than $65.70 a

7       megawatt hour, and do you know of any?  Can you give us

8       any evidence whatsoever of that happening?

9            A.   In 2008 -- we're talking about 2008 now, there

10       were certainly a number of hours where the price of the

11       combined cycle plant, Smith Unit 3, a gas-fired plant,

12       exceeded the $6.50 per kilowatt hour purchase price.

13            Q.   Have you supplied any evidence to support that

14       proposition other than these exhibits?

15            A.   Well, certainly I testified -- I testified

16       under oath in my testimony that all our costs are

17       reasonable and prudent.  These exhibits were filed, all

18       the information that was filed for each one of these

19       generating units in 2008 were filed by Mr. Dodd in these

20       exhibits.  So I think that -- you know, I believe that

21       all the information that we needed -- that Gulf needed

22       to file in these cases was filed.

23            Q.   Now, Issue 8 in this case says that you want

24       the customers to pay an additional $48 million because

25       of the fact that your fuel cost projections were too

FLORIDA PUBLIC SERVICE COMMISSION

523

1       low.  You don't give us any testimony to support that

2       proposition.  You don't explain why in 2008 that

3       occurred.  Can you tell us today precisely why it

4       occurred and why $48 million more is needed?

5            A.   Well, I not understanding the question, so let

6       me try to restate it that will help me understand what

7       you are asking.

8            Q.   Okay.

9            A.   Are you talking about the underrecovery of

10       fuel costs for 2008?

11            Q.   Yes, sir.  And you had a $48 million

12       underrecovery.

13            A.   That's correct.

14            Q.   And you gave us some numbers, but you didn't

15       give any explanation of why that underrecovery occurred.

16       Can you give us that explanation today?

17            A.   Well, in my testimony I certainly did talk

18       about the cost of generation for each type of fuel that

19       we burned.  I talked about what the actual results were.

20       I talked about what the projected results were in

21       testimony, and I explained why there was a variance and

22       why those variances occurred.  And in my testimony that

23       was -- the purpose of that was to explain why what

24       actually happened was different than what was projected

25       to happen.

FLORIDA PUBLIC SERVICE COMMISSION

524

1            Q.   I see.  I have your testimony here.  Can you

2       guide me to a page in your testimony where you explained

3       that?

4            A.   Okay.  We're talking about the testimony from

5       March 9th, 2009?

6            Q.   Yes, sir.

7            A.   I will just start at Page 5 on that testimony,

8       and I will talk about the comparison between the

9       projected cost of coal with the actual cost, and I'll

10       just read this testimony to you, Commissioners.  The

11       total actual coal purchased excluding Plant Scherer was

12       429 million.

13                 CHAIRMAN CARTER:  Hang on a second.

14                 MR. McWHIRTER:  What page are you on, sir?

15                 THE WITNESS:  I'm on Page 5 of my testimony.

16                 CHAIRMAN CARTER:  What line?

17                 THE WITNESS:  I'm sorry, starting at Line 23.

18                 CHAIRMAN CARTER:  Okay.  Are you there, Mr.

19       McWhirter?

20                 MR. McWHIRTER:  Yes, sir.  But this deals with

21       the first six months of 2009, and my question relates to

22       2008.

23                 THE WITNESS:  This is the true-up testimony, I

24       believe, from March 9th where I'm talking about the

25       period January 2008 through December 2008.

FLORIDA PUBLIC SERVICE COMMISSION

525

1                 MR. McWHIRTER:  Okay.

2                 THE WITNESS:  Commissioners, I don't know if

3       you want me to read all of this testimony to you or not,

4       but --

5                 CHAIRMAN CARTER:  Mr. McWhirter, have you got

6       a specific question?

7                 MR. McWHIRTER:  Yes.  I'd like him to read

8       that.

9                 CHAIRMAN CARTER:  Okay.

10                 MR. McWHIRTER:  It's only a couple of

11       paragraphs, isn't it?

12                 CHAIRMAN CARTER:  Okay.  You may proceed.

13                 THE WITNESS:  Okay.  The question that was

14       asked is during the period January 2008 through

15       December 2008, how did Gulf Power Company's recoverable

16       fuel cost of net generation compare with the -- I'm

17       sorry, wrong page.  I apologize.  Page 5 starting with

18       Line 21.  "How did the total projected cost of coal

19       purchased compared with the actual cost?"

20                 And the answer: "The total actual cost of coal

21       purchased excluding Plant Scherer was $429,284,280,

22       which comes from Line 17 of Schedule A5, period-to-date

23       for December 2008.  Compared to the projected cost of

24       $399,438,634, or 7.47 percent above the projected

25       amount.  The higher coal cost was due to a higher

FLORIDA PUBLIC SERVICE COMMISSION

526

1       weighted average coal price for the period, and the

2       actual weighted average price of coal purchased was

3       $80.06 per ton, which is 17.74 percent above the

4       projected amount of $68 per ton.  The higher weighted

5       average price of coal for the period was due to higher

6       than expected prices for spot coal purchases during the

7       period.  The total cost of coal purchased at Plant

8       Scherer was 28,642,289 from Line 30 of Schedule A5,

9       period-to-date for December 2008.  This is 5.13 percent

10       lower than the projection of $30,190,299.  The lower

11       coal cost was due to lower quantity of coal purchased

12       and a lower weighted average coal price for the period.

13       The weighted average price of coal purchased was $2.12

14       per million Btu, which is 2.3 percent below the

15       projected amount of $2.17 per million Btus.  The lower

16       weighted average coal price, purchase price at Plant

17       Scherer was due to lower prices for spot Powder River

18       Basin coal purchased during the period."

19                 CHAIRMAN CARTER:  Hang on a second, Mr.

20       McWhirter.  Before you go any further we are going to

21       need to take a quick break.  We have got some feedback

22       in our sound system here.  You probably can't hear it,

23       but --

24                 MR. McWHIRTER:  There's a lot of things I

25       don't hear, Mr. Chairman.  (Laughter.)

FLORIDA PUBLIC SERVICE COMMISSION

527

1                 CHAIRMAN CARTER:  We have got some -- I was

2       saying we've got some feedback in our system here, and

3       I'm going to give Chris a moment to let our tech guys

4       kind of go scrambling around up in the roof and check

5       and see if we are getting feedback.

6                 (Brief recess.)

7                 CHAIRMAN CARTER:  We are back on the record,

8       and we're going to try to see if we can get going before

9       that sounds comes back.

10                 Commissioners, just for the record, I did not

11       ask DMS for overtime, so we are going to end at 5:00

12       today, and so we won't have that -- I didn't think it

13       was necessary, so we will go from there.

14                 Mr. McWhirter, you're recognized.

15                 MR. McWHIRTER:  I'm going to try to hurry up,

16       Mr. Chairman.

17                 CHAIRMAN CARTER:  That would be great.

18                 MR. McWHIRTER:  I knew that would please you.

19                 (Laughter.)

20       BY MR. McWHIRTER:

21            Q.   You were giving us the testimony that

22       justified the underrecovery in 2008.  Would you continue

23       from where we left off.

24            A.   Okay.  Are you asking me to read my entire

25       testimony?

FLORIDA PUBLIC SERVICE COMMISSION

528

1            Q.   No, sir, just the section that relates to the

2       2008 underrecovery and the justification for that.

3            A.   Well, actually my entire testimony is designed

4       to discuss that.  I read just the section that talked

5       about coal only.  So the purpose of the testimony is to

6       talk about what the projections were for each class of

7       expense, not only coal, but natural gas.  I also talk

8       about purchased power sales, and this testimony compares

9       what we have projected to spend for fuel in each one of

10       those categories with what the actual result was and why

11       there were variances.  So there is not one section that

12       addresses why an underrecovery occurred.  Really the

13       entire testimony has to be taken as a whole to talk

14       about why there was a difference between what we

15       projected as far as fuel costs and what actually were

16       expended for fuel costs.

17            Q.   All right.  Let's go on to another topic.  I

18       know that'll please you.  Look at Page 4 of the

19       composite exhibit that I handed out, Bates number Page

20       4, and it has to do with the purchased power capacity

21       cost-recovery clause.  Do you see that schedule?

22                 MR. BADDERS:  Chairman Carter.

23                 CHAIRMAN CARTER:  Yes, sir.

24                 MR. BADDERS:  I have an objection related to

25       this exhibit.  I note that the capacity issues have

FLORIDA PUBLIC SERVICE COMMISSION

529

1       already been voted on by this Commission.  This very

2       party took no position on the capacity issues.  We are

3       now talking about capacity schedules.

4                 CHAIRMAN CARTER:  What about it, Mr.

5       McWhirter?

6                 MR. McWHIRTER:  Well, we're talking about 2008

7       fuel costs from Southern Company, and I'm not

8       complaining about what they paid, I just want to ask

9       this witness how capacity costs work with respect to the

10       purchases from Southern and how they work with respect

11       to the sales to Southern.

12                 CHAIRMAN CARTER:  Mr. McWhirter?

13                 MR. McWHIRTER:  Yes, sir.

14                 CHAIRMAN CARTER:  Tread very lightly.

15                 MR. McWHIRTER:  Certainly.

16       BY MR. McWHIRTER:

17            Q.   Have you got the schedules, sir?

18            A.   I am looking at the schedule, Mr. McWhirter.

19            Q.   And that looks -- it says that during the year

20       2008, the ICC payments were $29.5 million.  Is that

21       money that you paid to Southern Company for the fuel you

22       purchased from Southern Company?

23            A.   No, that's not correct.

24            Q.   What does that capacity payment represent,

25       sir?

FLORIDA PUBLIC SERVICE COMMISSION

530

1            A.   Those payments on Line 1 are payments that

2       Gulf made to Southern Company's pool for capacity that

3       it needed from -- its generating capacity, it has

4       nothing to do with fuel costs in this concept.

5            Q.   Well, I don't understand that.  Why would you

6       buy capacity unless you were buying electricity?  Is

7       that for the electricity you bought?

8            A.   No, this does not have anything to do with

9       energy, it's all capacity.

10            Q.   Well, what is the purpose of making a capacity

11       payment?  Isn't it so that you will be able to buy

12       energy from the Southern Company?

13            A.   No, that's not true.  The purpose for buying

14       capacity is so that you have enough capacity to meet

15       your reserve margin requirements.

16            Q.   I see.  So you had the ability to produce more

17       than 17 million megawatt hours, and you only needed

18       12 million for your retail customers, and that's where

19       your reserve requirements are set, aren't they?

20            A.   You have certain reserve requirements to

21       provide for reliability of service to your customers.

22            Q.   Yes, sir.

23            A.   So you certainly would not -- and I think for

24       the Southern Company -- well, I'm just speculating, so I

25       won't do that.  But, anyway, there is a reserve

FLORIDA PUBLIC SERVICE COMMISSION

531

1       requirement to have capacity over the maximum load that

2       you would expect your customer demand to reach in a

3       certain period of time.  So let's say at the peak period

4       of the year, which for Gulf is usually during the summer

5       months, you would be required to have enough capacity to

6       meet your customers anticipated load during that period

7       plus a reserve margin.

8                 Now, if Gulf does not have capacity in actual

9       generating units that it owns, then it would be required

10       to go out and secure additional capacity.  These

11       capacity payments are for that additional capacity that

12       Gulf would need to meet its reserve requirements; that

13       is, the amount of capacity over and above the maximum

14       load during the periods.

15            Q.   Is that determination made in advance as to

16       what your capacity payments are going to be for the

17       year?

18            A.   There are projections that are made based on

19       what we project our loads to be for the forecast year,

20       so we have a projection of what the maximum load will

21       be.  We know what capacity we have currently on the

22       ground at Gulf, and we would know what additional

23       capacity would be needed to meet our reserve margin

24       requirements over and above the capacity or the load

25       that the customer would command.  So we would then make

FLORIDA PUBLIC SERVICE COMMISSION

532

1       an estimate, if indeed we had to purchase capacity from

2       the pool to meet that reserve requirement, there would

3       be a projection amount that would be determined that

4       would go into the projection filing.

5            Q.   All right, sir.  And then this schedule is

6       what you actually paid during the year, is that correct?

7            A.   That is correct.

8            Q.   And so that is the months in which you

9       purchased power from Southern Company, is that correct?

10            A.   No, this is not power, this is capacity.

11            Q.   I understand.  But you have to have capacity

12       in order to buy power, right?

13            A.   No.

14            Q.   You don't?

15            A.   No.  We are not required to purchase capacity

16       from the pool in order to participate in purchases and

17       sales in the pool.

18            Q.   So you only make that payment if you make --

19                 CHAIRMAN CARTER:  Are you going to move on,

20       Mr. McWhirter?

21                 MR. McWHIRTER:  Well, sir, he's about to tell

22       me --

23       BY MR. McWHIRTER:

24            Q.   You only make a payment if you make a

25       purchase?

FLORIDA PUBLIC SERVICE COMMISSION

533

1            A.   No.

2            Q.   What are the conditions that you make a

3       payment?

4            A.   As I just explained to the Commission, you

5       purchase capacity only when you cannot meet your reserve

6       margin requirements with the capacity that you have on

7       the ground.

8            Q.   So in 2008 your sales were 16 percent less

9       than you anticipated for your retail load.  I presume

10       you're talking about the capacity you need to meet your

11       retail reserve margin, is that correct?

12            A.   As I understand the question, we are still

13       confusing capacity with energy.  I think the question

14       that you asked was about energy and not capacity.

15            Q.   I'm asking about capacity now.  You talked

16       about reserve margin, and the reliability rule of this

17       Commission is that you have to have a 15 percent reserve

18       margin.  Is that the margin you're talking about?

19            A.   I'm talking about capacity, yes, if we are

20       talking about capacity reserves.

21            Q.   So I am to presume that in the summer months

22       you concluded that your generation that you own was

23       insufficient to provide a 15 percent reserve margin and

24       you had to go out and buy capacity from the Southern

25       Company to meet that reserve margin.  Is that what you

FLORIDA PUBLIC SERVICE COMMISSION

534

1       are telling us?

2            A.   That's correct.

3            Q.   Okay.  So you paid Southern Company

4       $29 million for capacity, and in addition to that you

5       paid Southern Company $64 million for the energy you

6       purchased, and you purchased --

7            A.   Hold on.  Can you tell me --

8            Q.   Go to Line 8 on Page 1.  Better yet, go to

9       A-9, which is Page 2.  You paid Southern Company

10       $49 million.  The difference was the amount of money

11       paid to other utilities.

12            A.   That's correct.

13            Q.   Okay.

14            A.   Line 6 of Schedule A-9.

15            Q.   So those were payments that you made for

16       capacity and you made for energy in order to receive

17       754 -- I guess that's 754 million kilowatt hours, or

18       754.5 megawatt hours.  Is that 754 megawatt hours?  And

19       you had to buy additional capacity in order to meet your

20       reserve margin, yes or no?

21            A.   And, again, I want to separate capacity from

22       energy.  Schedule A-9 is talking about energy.  It is

23       true that Gulf did purchase 754 million kilowatt hours

24       of energy from the pool, and it also did purchase

25       capacity from the pool in 2008.

FLORIDA PUBLIC SERVICE COMMISSION

535

1            Q.   But in round numbers you paid to Southern

2       Company the total of 49 million plus 29 million?

3            A.   For energy and capacity, that's correct.

4            Q.   That's correct.  And what did Southern pay to

5       Gulf Power, once again, looking at Schedule 4, for the

6       capacity it purchased from Gulf?

7            A.   I'm sorry, which schedule are you looking at?

8            Q.   I'm looking at Bates number 4, your Schedule

9       CCA-2.  On there --

10                 MR. BADDERS:  I'd like to renew my objection.

11       We are talking purely about capacity; what was paid for

12       it, by whom, what time periods.  This has nothing to do

13       with the position taken by FIPUG on Issue 8 or the other

14       issues which is solely related to sales.

15                 CHAIRMAN CARTER:  To the objection, Mr.

16       McWhirter.

17                 MR. McWHIRTER:  Issue 8 has to do with

18       underrecovery of fuel and capacity -- well, I guess it's

19       just fuel costs, Mr. Chairman, and it is $49 million --

20       $48.7 million that they are collecting from customers

21       because the amount of money that was not collected from

22       Southern ran them into the hole.  I think these are

23       legitimate questions about payments to Southern compared

24       to receipts from Southern.

25                 CHAIRMAN CARTER:  It sounds redundant, Mr.

FLORIDA PUBLIC SERVICE COMMISSION

536

1       McWhirter.

2                 Ms. Cibula, you're recognized.

3                 MS. CIBULA:  I think we're going outside the

4       scope of the issue.

5                 CHAIRMAN CARTER:  Sustained.  Move on, Mr.

6       McWhirter.

7       BY MR. McWHIRTER:

8            Q.   Let's look at Schedule A-6, and that is page

9       Bates stamp Number 3 showing power sold to the different

10       people you sold it to.  And are you at that schedule,

11       Mr. Ball?

12            A.   Yes, I am.

13            Q.   All right.  Look at Line 6, if you will.  And

14       that says that Southern Company paid you $54.80 for fuel

15       costs and it paid you $57.20 total cost.  Can you tell

16       me what the difference is there between fuel cost and

17       total cost?

18            A.   The total cost includes some emission

19       allowance credits.

20            Q.   And do those emission allowance credits flow

21       into the fuel clause in any way?

22            A.   I'm not familiar with exactly how the costs

23       flow.

24            Q.   All right.  But, in any event, they paid you

25       that money.  Let's go over here to -- once again, to

FLORIDA PUBLIC SERVICE COMMISSION

537

1       Page 1, and look at Line 17.  And it says at the

2       beginning of the year you anticipated you would collect

3       $175 million from Southern Company.  Other power sales

4       are Southern Company, is that right?

5            A.   No.  Other power sales includes other items

6       other than Southern Company interchange.

7            Q.   Well, if you scope that out, under other power

8       sales on Line 17 is 2.5 million, and then if you go back

9       over to Schedule 6 we have got 1.8 million.  So I

10       guess -- I guess there is another 700,000 megawatt hours

11       of sales to Southern that is not included in other power

12       sales.  Where are those sales included?

13            A.   Those are not sales to Southern.  Those are

14       shown at the bottom of Schedule A-6 in Line 64.  It's

15       titled flow-through energy.  That's energy -- that is an

16       accounting adjustment that's made to this schedule to

17       account for energy that the Southern Company pool sells

18       as opportunity sales, and Gulf has an obligation to

19       provide a portion of the energy for those opportunity

20       sales back to the pool.  So this is an accounting

21       adjustment.

22                 The other lines, Line 65, there are no costs

23       there.  Line 66 is titled SEPA, S-E-P-A, that is energy

24       that is --

25            Q.   Mr. Ball, you're answering a question I'm not

FLORIDA PUBLIC SERVICE COMMISSION

538

1       asking you.

2            A.   You asked me what the difference was between

3       other power sales --

4            Q.   No, what I asked you was on Line 6 it shows

5       that you sold to Southern Company 1.8 million megawatt

6       hours, is that not correct?

7            A.   That's correct.

8            Q.   Okay.  And on other power sales you have three

9       separate places where you bring in numbers from Schedule

10       A-6 and they all total on Line 19 what you have at the

11       bottom of A-6.  And I was wondering if you could

12       identify for me on Schedule A-1 the income you received

13       from the Southern Company?

14            A.   I do not understand the question.

15            Q.   What line is the income from Southern Company

16       shown on Schedule A-1?

17            A.   It's included as a -- it is included on Line

18       17 with some other transactions from Schedule A-6, and

19       those were the transactions that I was in the process of

20       describing for the Commission that were in addition to

21       the Southern Company interchange that's included in that

22       line item.

23            Q.   Okay.  Look over in the columns under kilowatt

24       hours, and under other power sales under estimated you

25       estimated that you were going to sell 3.4 million

FLORIDA PUBLIC SERVICE COMMISSION

539

1       kilowatt hours to other sales.  And under actual you

2       showed that you were going to collect or sell -- you

3       actually sold 2.5 million megawatt hours.  Well, you

4       sold -- yes, you sold 2.5 million.  And then if we go

5       over to A-6 and look at Southern Company interchange, it

6       shows that you were going to sell to Southern Company

7       3.44, and that's the same number that we have over here

8       on Schedule A-1.  And it would look like other power

9       sales estimated is what you estimated you were going to

10       sell to the Southern Company.  Do you see what I'm

11       talking about?

12            A.   Yes.

13            Q.   Look at Line 1.  You expected to sell

14       3.4 million to the Southern Company interchange, and

15       look at Line 17 under expected sales to others, it's the

16       same number.  Now, is that a mistake?

17            A.   No, it's not a mistake.

18            Q.   Okay.  Well, you originally expected for

19       others you were doing to sell 5.1 million, and Southern

20       was supposed to be 3.4 million of that, and so it would

21       look like Line 17 is Southern only.

22            A.   For the actuals that is not true.

23            Q.   Well, can you explain why the numbers -- the

24       actuals are not -- don't translate to the estimates that

25       are shown on A-6?

FLORIDA PUBLIC SERVICE COMMISSION

540

1            A.   The actuals are the sum of Line 6 on Schedule

2       A-6, Line 64, Line 65, Line 66, and Line 69 on A-6.

3            Q.   The actuals on Line 19 or the actuals on Line

4       17?

5            A.   The actuals on Line 17 of Schedule A-1.

6            Q.   Can you tell me why for your estimated you

7       used Southern only on Line 17?

8            A.   No, I cannot.

9            Q.   You can't because I have confused you, or you

10       can't because you can't explain what appears to be a

11       mistake in your exhibit?

12            A.   Well, Commissioners, I am not the person that

13       prepares this schedule.  The person that prepares this

14       schedule is Mr. Dodd.  I'm sure that the estimates that

15       were for Southern Company interchange are correct.  That

16       was our true estimate.  Now, why there were not

17       estimates for these other wheeled energy that were

18       included in the total estimate for other power sales,

19       I'm not able to answer that question.

20            Q.   All right.  Let's go over to the actual cents

21       collected, and you collected $36 a megawatt hour for

22       these other sales.  Do you know whether those were what

23       you collected from Southern or is that from some other

24       source?

25            A.   Again, on an actual basis if you will look at

FLORIDA PUBLIC SERVICE COMMISSION

541

1       Schedule A-6, Line 6, that is the actual Southern

2       Company interchange.  And on that schedule, Gulf

3       collected $54.80 a megawatt hour for sales to Southern.

4       But I'll just reiterate, I guess, what we started out on

5       this discussion about power sales, and the effort to

6       make a comparison between average sales over the course

7       of the year to average cost of generation from all

8       generating units over all hours of the year.  This

9       effort to compare these two and make some kind of

10       conclusion, it just doesn't work because purchases and

11       sales from the pool according to the interchange

12       contract that we have are made on an hour-by-hour basis.

13       They are made from specific generating units, not some

14       average unit, and they are made at marginal fuel costs.

15                 The purpose of this is that there is --

16       essentially everything is done at cost within the pool

17       so that Gulf sells energy to the pool at cost and it

18       purchases energy from the pool at cost.  There are no

19       losses or gains associated with these transactions.  All

20       interchange within the pool is done at cost according to

21       the terms of the Intercompany Interchange agreement.

22                 Now, one thing that may be helpful is that

23       this very issue has come up.  The Commission staff

24       brought this issue up, and they asked for an audit to be

25       performed of this whole process.  And the question of

FLORIDA PUBLIC SERVICE COMMISSION

542

1       the audit was are ratepayers negatively affected by

2       transactions under the IIC.  This audit incurred this

3       year, early this year, and I'll just summarize two of

4       the findings of this audit.  Number one, that the

5       procedures and policies followed by Gulf --

6            Q.   Let me stop you just a minute.

7            A.   -- are in compliance with the IIC.

8            Q.   Let me stop you just a minute, sir.  Is that

9       in the record in this case?  Are you putting it in the

10       record now?  You're testifying from something that's

11       outside of the record and not part of the transcript.

12                 CHAIRMAN CARTER:  Mr. Badders.

13                 MR. BADDERS:  Chairman Carter, he asked the

14       question and this is part of his answer.  So it becomes

15       part of the record as he testifies to it.  He is not

16       limited to testifying to only documents that are already

17       in the record.

18                 CHAIRMAN CARTER:  To the objection, Mr.

19       McWhirter.

20                 MR. McWHIRTER:  He has responded to my --

21       well, he has responded to my question and now he is

22       adding ancillary information from an audit that's not

23       part of the record.

24                 CHAIRMAN CARTER:  Let me do this.  Although I

25       never thought it would be possible, I am beginning to

FLORIDA PUBLIC SERVICE COMMISSION

543

1       regret rescheduling having my wisdom tooth extracted.

2       Somehow or another it might have been more fun going to

3       my dental appointment.

4                 Ms. Cibula, can you help us out here?

5                 MS. CIBULA:  I think he should be able to

6       finish answering the question.

7                 CHAIRMAN CARTER:  Mr. McWhirter, you opened

8       the door, so there it is.

9                 You may proceed with your answer.

10                 THE WITNESS:  Thank you, Mr. Chairman.

11                 Just to reiterate, the findings of the audit

12       that the Commission staff prepared were essentially that

13       the procedures and policies followed by Gulf are in

14       compliance with the Intercompany Interchange Contract.

15       And, secondly, that the ratepayers were not negatively

16       affected by transactions under the Intercompany

17       Interchange Contract.

18       BY MR. McWHIRTER:

19            Q.   Is this for the year 2008?

20            A.   That's correct.

21            Q.   And when was that audit performed?

22            A.   Where, the location?

23            Q.   When.

24            A.   It was performed in the first quarter of 2009.

25            Q.   And it was made part of the public record in

FLORIDA PUBLIC SERVICE COMMISSION

544

1       some fashion or is that information in the clouds?

2            A.   I mean, I am assuming that the Commission

3       staff makes its audit results part of the public record.

4            Q.   All right, Mr. Ball.  There's no way that I

5       want to postpone the Chairman getting his tooth

6       extracted, and so I'm not going to ask you questions

7       about the 2009 overrecovery, but I do want to ask you

8       about your 2010 projections.  Now, this was a schedule

9       that was prepared by someone else, I guess, but was it

10       under your supervision and direction?  It's not one of

11       your exhibits.  It's Mr. Dodd's exhibit.

12            A.   That would have been prepared by Mr. Dodd,

13       that's correct.

14            Q.   And do you have any knowledge of the

15       information that goes into this exhibit?

16            A.   I do have some knowledge of the information

17       that is the basis for preparing those schedules.

18            Q.   And you project your capacity needs from the

19       Southern Company on Page 16 here of the composite

20       exhibit.  You expect you're going to pay the interchange

21       company $9.4 million for capacity so that you can meet

22       your requirements under the Commission rule, is that

23       correct?

24                 MR. BADDERS:  Chairman Carter.

25                 CHAIRMAN CARTER:  Mr. Badders.

FLORIDA PUBLIC SERVICE COMMISSION

545

1                 MR. BADDERS:  If I may renew my objection.  We

2       are now talking about capacity, again.  We have moved

3       far afield from sales.

4                 CHAIRMAN CARTER:  Mr. McWhirter.

5                 MR. McWHIRTER:  We are dealing with the

6       cost -- the payments made to the Southern Company under

7       the interchange contract, Mr. Chairman, and those

8       payments relate to the total cost that retail customers

9       must pick up for the operation under this interchange

10       contract that Mr. Ball administers.  And I think it's

11       fair for people in the public hearing dealing with this

12       have the opportunity to understand why it pays the

13       amount of money it pays to Southern and why it receives

14       the amount of money it receives.

15                 CHAIRMAN CARTER:  Ms. Cibula.

16                 MS. CIBULA:  I think we are moving outside the

17       scope of the fuel clause issue.

18                 CHAIRMAN CARTER:  Okay.  Mr. McWhirter, move

19       on to another issue.

20                 MR. McWHIRTER:  All right.

21                 CHAIRMAN CARTER:  Sustained.

22       BY MR. McWHIRTER:

23            Q.   Go to Page 13, if you will, please, sir.  And

24       you project what you are going to need to purchase from

25       the Southern Company during the forthcoming year, is

FLORIDA PUBLIC SERVICE COMMISSION

546

1       that correct?

2            A.   That's correct.

3            Q.   And you anticipate that you will need to

4       purchase 4 million megawatt hours from the Southern

5       Company, is that correct?  This is on Page 14, Line --

6            A.   Okay, 14.  I'm sorry, I thought you said 13.

7            Q.   I'm sorry.  Well, I was on 13, that's where it

8       starts.  Go to Page 15, if you don't mind, and you

9       anticipate you will -- no, those are power sales.  I'm

10       looking at purchase purchases.  You are going to

11       purchase -- yes.  I guess I've got my pages backwards.

12       We are on Page 13.  And for the year you anticipate,

13       once again, you will purchase 742 -- 629 -- well, 742 --

14       yes, 742 megawatt hours, and you are going to pay

15       Southern Company $38.98 for a total of 28 million, is

16       that correct?

17            A.   Yes.  That is the estimate on total for the

18       period Line 1 from Schedule E-9, Page 2 of 2.

19            Q.   And that's what you're going to purchase, and

20       then E-6, which is the next two pages, you anticipate

21       that for the year you're going to sell Southern Company

22       interchange 1.3 million for $40.80, so you anticipate

23       for the forthcoming year you're going to make more money

24       per megawatt hour on your sales than you have to pay on

25       your purchases from Southern, is that correct?

FLORIDA PUBLIC SERVICE COMMISSION

547

1            A.   The total dollars received from sales is in

2       excess of the total payments to the Southern Company

3       interchange for purchases, that's correct, for the year.

4            Q.   Now, for the past three years your estimates

5       have been mistaken and you have collected less than you

6       anticipated.  Can you tell us what the change is in the

7       forthcoming years over the preceding year?

8            A.   Well, the change is the projection of fuel

9       cost and loads, so there is quite a bit that goes into

10       projecting what our sales and purchases may be, but the

11       bottom line is it has to do with fuel cost projections.

12       So when Gulf has units that are projected to be less

13       expensive to run than other pool assets, Gulf will make

14       sales to the pool.

15                 When Gulf has the opportunity to purchase

16       because we anticipate that the pool assets will be able

17       to run cheaper than Gulf would incur costs from running

18       its own generating units, again, on an hour-by-hour

19       basis, then Gulf would make purchases.  So all of this

20       is, of course, generated by very large computer models

21       with a lot of inputs into that and these are the

22       projections that we have developed as part of that

23       process.

24            Q.   Mr. Ball, once again, if you will look at the

25       bottom of Page 15 under the total heading, Line 1,

FLORIDA PUBLIC SERVICE COMMISSION

548

1       anticipates that you will purchase -- or rather that you

2       will sell 1.3 million megawatt hours to Southern, and

3       then if we go over to Schedule E-1, once again, on Line

4       19 that line relates only to the Southern Company, is

5       that correct?

6            A.   Can you direct me to the schedule that you are

7       talking about?  I see Schedule A-6.

8            Q.   I am looking at Schedule A-6 -- E-6, Page 15,

9       Bates stamp Number 15.

10            A.   Correct.

11            Q.   Down near the bottom it says total, and on

12       Line 1 it shows 1.3 million megawatt hours to Southern,

13       and that's what you anticipate?

14            A.   I see that.

15            Q.   Okay.  Now, come over on Page 11, Line E-1,

16       and look at Line 19.  And that same number appears

17       there, so would it be fair to say that for the

18       forthcoming year Line 19 headed other power sales

19       represents only the sales to the Southern Company?

20            A.   Yes.  Those two lines do equal each other, so

21       we are not projecting costs or not projecting how much

22       energy will be wheeled through Gulf Power's transmission

23       system for 2010.  Now, we recognize that there is

24       probably going to be some energy that gets wheeled

25       through the system, but we are not projecting that at

FLORIDA PUBLIC SERVICE COMMISSION

549

1       this point.  This is just the Southern Company

2       interchange piece.

3            Q.   And I know this is something that you may

4       object to, so I'll alert you.

5                 This is the money that you pay for energy, you

6       are going to pay Southern Company 9 million for capacity

7       payments?

8            A.   I'm sorry, what schedule are you looking at?

9            Q.   I am looking now on Page 16, Schedule CCE-1.

10            A.   Yes, the total of Line 9 -- I'm sorry, the

11       total of Line 1 on Schedule CCE-1 is $9,426,000.

12            Q.   Now, who is it you are going to pay that

13       33 million to on the next line.  39 million.

14            A.   Those other capacity payments will be made

15       primarily for purchased power agreements.

16            Q.   That are included in A-6?

17            A.   A-6 is energy, not capacity.

18            Q.   You break up capacity -- and I'm not going to

19       ask you that question.

20                 MR. McWHIRTER:  That's all the questions I

21       have of the witness, Mr. Chairman.

22                 CHAIRMAN CARTER:  Thank you, Mr. McWhirter.  I

23       was hoping and praying that we didn't go back down that

24       line again.  But I do appreciate it.

25                 MR. McWHIRTER:  I felt you breathing down my

FLORIDA PUBLIC SERVICE COMMISSION

550

1       neck.  (Laughter.)

2                 CHAIRMAN CARTER:  Okay.  Mr. LaVia.

3                 MR. LaVIA:  No questions.

4                 CHAIRMAN CARTER:  Thank you.

5                 Commissioners, I'm going to go to staff unless

6       there is anything from the bench at this time.

7                 Commissioner Skop, you're recognized.

8                 COMMISSIONER SKOP:  Thank you, Mr. Chair.  I

9       will make this real quick.  I have been trying to follow

10       Mr. McWhirter's questions, and I guess I'm somewhat

11       lost, but I'm going to try and distill it into what I

12       thought I heard.

13                 Mr. Ball, is it correct to understand that in

14       terms of the economic dispatch to meet your customer

15       load, whether you generate or purchase power, that you

16       look at that on an hourly basis, is that correct?

17                 THE WITNESS:  That's correct.

18                 COMMISSIONER SKOP:  Okay.  And is that

19       decision based upon the marginal fuel cost or is it

20       based on the spot price of electricity?

21                 THE WITNESS:  It's based on marginal fuel

22       cost.

23                 COMMISSIONER SKOP:  Okay.  So with respect to

24       the decision to generate using one of your existing Gulf

25       Power units or to purchase power from the Southern

FLORIDA PUBLIC SERVICE COMMISSION

551

1       Company interchange, you just look at what unit can

2       operate from a fuel basis most effectively, is that

3       correct generally?

4                 THE WITNESS:  That's correct.  I think is a

5       good characterization of that.

6                 COMMISSIONER SKOP:  So in a given month where

7       you had high natural gas volatility, for instance, and

8       gas prices had peeked where coal had remained stable,

9       then at certain times, hypothetically, coal may be a

10       more cost-effective generation option and, therefore,

11       purchasing power would be more economic than dispatching

12       one of your own combined cycle units, is that a good way

13       to look at it?

14                 THE WITNESS:  That's correct.  Yes, that's

15       exactly it.

16                 COMMISSIONER SKOP:  Okay.  All right.  Thank

17       you.

18                 CHAIRMAN CARTER:  Thank you.

19                 Commissioners, I'm going to go to the staff

20       unless there is anything further from the bench at this

21       time.

22                 Staff, you're recognized.

23                 MS. BENNETT:  I have three quick questions.

24                          CROSS EXAMINATION

25

FLORIDA PUBLIC SERVICE COMMISSION

552

1       BY MS. BENNETT:

2            Q.   Mr. Ball, if you can answer this, this may be

3       something Mr. Dodd is more -- is in his testimony

4       instead, but when you file your March true-up testimony,

5       are you testifying about the components of the true-up

6       by fuel and purchased power type, or are you really

7       testifying about the differences between actual and

8       estimated expenses?

9            A.   In my testimony --

10            Q.   Yes.

11            A.   -- for the true-up provision.

12            Q.   Right.

13            A.   It's my understanding we're testifying about

14       the variation between the -- well, I take that back.

15       That might be a better question for Mr. Dodd to answer.

16            Q.   Okay.  I think the next one, then, means it's

17       Mr. Dodd's question, too.  Isn't it true that the 2008

18       true-up amount is the difference between actual fuel

19       revenues for 2008 and actual 2008 fuel expenses?

20            A.   That's correct.

21                 MS. BENNETT:  That's all the questions I have.

22                 CHAIRMAN CARTER:  Okay.  Commissioner Skop,

23       you're recognized.

24                 COMMISSIONER SKOP:  Just one final one for

25       Mr. Ball.  I was trying to listen to some of the

FLORIDA PUBLIC SERVICE COMMISSION

553

1       questions that Mr. McWhirter was asking.

2                 If there were an instance where for whatever

3       reasons on a fuel basis it was more cost-effective for

4       the ratepayers for Gulf to purchase power from the

5       interchange versus generating on its own, and Gulf made

6       that decision to do so, are there any resultant savings

7       on the Gulf generation side as it pertains to variable

8       O&M costs since the units would not be running as much

9       and you would be buying purchased power?  Or what's the

10       proper way to look at that, or where is that picked up?

11                 THE WITNESS:  Variable O&M is a component of

12       this decision-making process, so it's not -- and I hope

13       I didn't mischaracterize it.  It's not just a fuel

14       decision.  While fuel is by far the largest component of

15       making these decisions about whether to purchase or

16       generate your own, variable O&M also does play a piece

17       in that, although a small piece.  But, yes, that is

18       true.

19                 You would assume that if you are not running

20       your generating unit that you would not have as large a

21       variable O&M expense as you would otherwise.  But by the

22       same token, when you are purchasing power in addition to

23       paying for the fuel, you also do reimburse the generator

24       of that power for their variable O&M piece.  And it's

25       the same way with sales.  When Gulf makes a sale out of

FLORIDA PUBLIC SERVICE COMMISSION

554

1       one of its generating units, it not only gets back its

2       fuel costs, but it also gets back variable O&M for that

3       sale, as well.  So everyone is made whole.  The expense

4       of running that generating unit to meet a sales

5       obligation, the variable O&M expense is returned to

6       offset those costs.

7                 COMMISSIONER SKOP:  Okay.  So at the end of

8       the day it boils down to it being a make/buy decision

9       whereas you purchase power when it's economically most

10       cost-effective to do so on a system-wide basis, is that

11       correct?

12                 THE WITNESS:  That's correct.

13                 COMMISSIONER SKOP:  All right.  Thank you.

14                 CHAIRMAN CARTER:  Thank you, Commissioner.

15       Commissioners, anything further from the bench?

16                 Redirect.

17                 MR. BADDERS:  No redirect, and I would like to

18       move --

19                 CHAIRMAN CARTER:  Outstanding.

20                 MR. BADDERS:  I thought you would like that.

21       I would like to move Exhibits 97 through 103.

22                 CHAIRMAN CARTER:  Are there any objections?

23       Without objection, show it done.

24                 MR. BADDERS:  Thank you.

25                 (Exhibit Numbers 97 through 103 admitted into

FLORIDA PUBLIC SERVICE COMMISSION

555

1       the record.)

2                 CHAIRMAN CARTER:  Thank you.

3                 Ms. Bennett, do we have anything further for

4       this witness?

5                 MS. BENNETT:  Not for this witness.

6                 CHAIRMAN CARTER:  Commissioners, anything

7       further for this witness?  Okay.  You may be excused.

8                 THE WITNESS:  Thank you.

9                 CHAIRMAN CARTER:  Have a nice day.  Call your

10       next witness.

11                 MR. BADDERS:  We will call Mr. Dodd to the

12       stand.

13                 CHAIRMAN CARTER:  As we do, just everybody

14       remember what I said about the time.  So we are not

15       going to go overtime today.  We are going to stop at

16       that time and pick it up again.

17                 MS. BENNETT:  Mr. Chairman.

18                 CHAIRMAN CARTER:  Yes, ma'am, Ms. Bennett.

19                 MS. BENNETT:  There is a matter that needs to

20       be clarified on the FPL --

21                 CHAIRMAN CARTER:  Hang on a sec, then.  Let's

22       do that before we go with -- Mr. Badders, could you hold

23       for a second.

24                 Ms. Bennett.

25                 Mr. Butler, would you come and join us?

FLORIDA PUBLIC SERVICE COMMISSION

556

1                 Ms. Bennett, you're recognized.

2                 MS. BENNETT:  After we came back from lunch,

3       staff reminded me that Issues 13 and 15, the fuel

4       factors, change with the change in the vote for Issue

5       10.  So we would need to have a motion for

6       reconsideration on Issue 13 and 15, and then have the

7       Commission direct FPL to file new fuel factors

8       consistent with your vote on Issue 10.  And I believe

9       that you could also direct that staff administratively

10       review and approve those as long as they are consistent

11       with your vote on Issue 10.

12                 CHAIRMAN CARTER:  Mr. Butler.

13                 MR. BUTLER:  That seems like a reasonable

14       procedure to us.

15                 CHAIRMAN CARTER:  Okay.  Commissioners, I'm

16       open for a motion.

17                 Commissioner Edgar, you're recognized.

18                 COMMISSIONER EDGAR:  Mr. Chairman, I believe

19       it was my motion, so with that in mind and the

20       discussion that staff has just presented to us, I would

21       move that we take up our previous vote to approve the

22       stipulations for Issue 13 and 15 for reconsideration.

23                 COMMISSIONER SKOP:  Second.

24                 CHAIRMAN CARTER:  It has been moved and

25       properly seconded.  All in favor, let it be known by the

FLORIDA PUBLIC SERVICE COMMISSION

557

1       sign of aye.

2                 (Simultaneous aye.)

3                 CHAIRMAN CARTER:  All those opposed, like

4       sign.  Show it done.

5                 Ms. Bennett.

6                 COMMISSIONER EDGAR:  Mr. Chairman, I think I

7       can do it.

8                 CHAIRMAN CARTER:  You want to make the motion?

9                 COMMISSIONER EDGAR:  I will give it a try.

10                 CHAIRMAN CARTER:  Commissioner Edgar.  Great.

11                 COMMISSIONER EDGAR:  In lieu of the

12       stipulations for Issues 13 and 15, I would ask that we

13       direct FPL to file new fuel factors consistent with the

14       vote that we had on Issue 10 earlier today, and that we

15       direct our staff to review them, and if they are

16       consistent that they be administratively approved such

17       that the factors can go into effect.

18                 COMMISSIONER SKOP:  Second.

19                 CHAIRMAN CARTER:  It have been moved and

20       property seconded.

21                 Ms. Bennett, does that cover everything we

22       need to do on that?

23                 MS. BENNETT:  Yes, it does.

24                 CHAIRMAN CARTER:  Okay.  All right.

25       Commissioners, any discussion?  Any debate?

FLORIDA PUBLIC SERVICE COMMISSION

558

1                 Hearing none, all in favor, let it be known by

2       the sign of aye.

3                 (Simultaneous aye.)

4                 CHAIRMAN CARTER:  All those opposed, like

5       sign.  Show it done.

6                 MR. BUTLER:  Thank you, Mr. Chairman.

7                 CHAIRMAN CARTER:  Thank you, Mr. Butler.

8                 Okay.  Ms. Bennett, is there anything else

9       outstanding on that?  Are we done with --

10                 MS. BENNETT:  We're finished with those.

11                 CHAIRMAN CARTER:  Okay.  So before I go to Mr.

12       Badders, are there any other preliminary matters or

13       things that kind of shook out during lunch that we need

14       to deal with?

15                 MS. BENNETT:  No, I think we're good.

16                 CHAIRMAN CARTER:  Okay.  Mr. Badders, you're

17       recognized.

18                 MR. BADDERS:  Thank you.  Mr. Dodd has taken

19       the stand and he was present and was sworn in this

20       morning.

21                             RICHARD DODD

22       was called as a witness on behalf of Gulf Power Company,

23       and having been duly sworn, testified as follows:

24                         DIRECT EXAMINATION

25       BY MR. BADDERS:

FLORIDA PUBLIC SERVICE COMMISSION

559

1            Q.   Would you please your name and your business

2       address for the record?

3            A.   Richard Dodd, One Energy Place, Pensacola,

4       Florida.

5            Q.   And by whom are you employed and in what

6       capacity?

7            A.   Gulf Power; and I'm Supervisor of Rates and

8       Regulatory Matters.

9            Q.   Are you the same R. W. Dodd who prefiled final

10       true-up testimony on March 9, 2009; estimated/actual

11       true-up testimony on August 4, 2009?

12            A.   Yes, sir.

13            Q.   Did you also prefile projection testimony on

14       September 1st, 2009, that was subsequently revised on

15       October 30, 2009?

16            A.   Yes, sir.

17            Q.   Do you have any changes or corrections to any

18       of that testimony?

19            A.   No, I do not.

20            Q.   If I were to ask you the same questions today,

21       would your answers be the same?

22            A.   Yes they would.

23                 MR. BADDERS:  We ask that the Prefiled Direct

24       Testimony with the revised projection testimony which

25       was filed on October 30th, 2009, be entered into the

FLORIDA PUBLIC SERVICE COMMISSION

560

1       record as though read.

2                 CHAIRMAN CARTER:  The prefiled testimony of

3       the witness will be inserted into the record as though

4       read.

5                 MR. BADDERS:  Thank you.

6       BY MR. BADDERS:

7            Q.   Mr. Dodd, did you also have three exhibits

8       attached to your testimony?

9            A.   Yes, I did.

10            Q.   Do you have any changes or corrections to your

11       exhibits?

12            A.   No, I do not.

13                 MR. BADDERS:  We note that these have already

14       been identified.  They are Exhibits 88 through 94.  At

15       this time Mr. Dodd will not give a summary.  We will

16       waive that so we can proceed.

17                 CHAIRMAN CARTER:  Excellent.  Mr. McWhirter,

18       you're recognized.

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

587

1                          CROSS EXAMINATION

2       BY MR. McWHIRTER:

3            Q.   Mr. Dodd, do you have the composite

4       cross-examination exhibit that I gave to Mr. Ball?

5            A.   Yes, sir.

6            Q.   Do you have it before you there?

7            A.   Yes, sir.

8            Q.   Can you explain the little glitch that he

9       referred to you about on Line 17, on Page 1, the

10       estimated numbers used for other power sales are the

11       same as the estimated sales on A-6 to the Southern

12       Company, but then he says that that line really relates

13       to companies other than the Southern Company?

14            A.   I believe I can.  Let me clarify that I

15       understand your question, and it's basically that on

16       Page 1 of your exhibit that you passed out, which is

17       Schedule A-1 for 2008.

18            Q.   Yes, sir.

19            A.   On Line 17, the projected kilowatt hour sales

20       there are shown as 3,444,695,000.

21            Q.   Right.

22            A.   On Schedule A-6, period-to-date 2008, Line 1,

23       titled Southern Company interchange, the kilowatt hour

24       there also are shown as 3,444,695,000.  And those two

25       numbers are the same because the other items that are

FLORIDA PUBLIC SERVICE COMMISSION

588

1       actually incurred on an actual basis that roll into Line

2       17, we do not project for those.  And I think late in

3       your questioning Mr. Ball did explain that that accounts

4       for wheeled energy and things that we are not able to

5       project on a projected basis when the volume of those

6       things will occur.

7            Q.   But Schedule A-1, isn't that actual for the

8       year?

9            A.   Yes, sir, Schedule A-1 is actual information

10       for the year, and it also includes the projected

11       information on the year which, again, does tie to A-6,

12       there just are items included in the actual amounts of

13       A-1 because activities occurred during the year that are

14       not present on the projected section of A-6 because we

15       are not able to project those.  But the actual

16       information for those activities on A-6 are, again,

17       included, as Mr. Ball mentioned, on Row 64 through 69,

18       those kilowatt hours, and the dollars do flow forward

19       into Line 17 on Schedule A-1.

20            Q.   The dollars collected on Line 17 were

21       $84 million less than anticipated, is that correct?

22            A.   I assume you're looking again at A-1, Line 17.

23            Q.   That's correct.

24            A.   The $90 million actual versus 175 million

25       estimated.

FLORIDA PUBLIC SERVICE COMMISSION

589

1            Q.   That's correct.

2            A.   Yes, sir.

3            Q.   And if we look at the estimated dollars from

4       the Southern Company on Schedule A-6, you anticipated

5       you would collect 175 million from Southern Company, is

6       that correct?

7            A.   Yes, sir.  And, again, that's the same number

8       that carries forward into Line 17 on A-1.

9            Q.   From Mr. Ball's responses somehow I came to

10       believe that Line 17 included companies other than the

11       Southern interchange.  Are you telling me now that the

12       $90 million on Line 17 was collected from Southern

13       Company and not other companies?

14            A.   The $90 million on Line 17, Schedule 1, is

15       actually made up of a few components that you can take

16       from Schedule A-6.  On Line Item 6 on an actual basis

17       you have the Southern Company interchange, which was

18       $102,531,824.  That number rolls into the $90 million

19       number, but also includes in Column 7 the dollars for

20       fuel adjustment for items -- on Line Item 64 through 69.

21            Q.   So you collected $102 million from Southern

22       Company and that $102 million is reduced by the

23       12 million on Line 64 of the flow-through energy?

24            A.   That's correct.

25            Q.   And that's how you got the 90 million?

FLORIDA PUBLIC SERVICE COMMISSION

590

1            A.   Subject to doing the math, yes, sir.

2            Q.   All right.  So Line 17 then is clearly nobody

3       but Southern Company?

4            A.   No, sir, that's not correct.

5            Q.   All right.  So the money received from

6       Southern Company is reduced by flow through energy that

7       relates to all the companies?

8            A.   Perhaps -- would you re-ask your question.  I

9       think when you asked your question regarding dollars

10       that may be correct; regarding energy, it's not correct,

11       it's not all related to Southern Company for the energy

12       that is included on that line item, which is necessarily

13       to balance the system.  But the dollars, the

14       flow-through are transactions through Southern Company.

15            Q.   Your testimony here today then is that in the

16       year 2008, Southern Company paid Gulf Power for energy

17       $102 million?

18            A.   No, sir, that's not my testimony.

19            Q.   All right.  Look at Schedule A-6.

20            A.   Yes, sir.  A-6, which represents the Gulf

21       Power sales.

22            Q.   And it reflects that you sold 1.8 million

23       megawatt hours and you collected $102 million from

24       Southern Company?

25            A.   That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

591

1            Q.   And that's your testimony today?

2            A.   Yes, sir.

3            Q.   And so the money you collected from Southern

4       Company was reduced by something called energy

5       flow-through.  Can you explain what energy flow-through

6       is?

7            A.   At a very high level.  Energy flow-through

8       represents the transactions, the sales that are made by

9       the Southern system to unaffiliates, and in a given hour

10       when those sales are made the generation required to

11       meet those sales.  If a Gulf unit is operating, then

12       Gulf generation is used to make that sale.  If it is in

13       an hour that Gulf's generation is not operating, then

14       whatever unit is operating in the Southern system, those

15       costs are assigned on a peak period load ratio back to

16       Gulf Power Company, so we get the costs assigned to us

17       and the revenues.  And I have really told you about all

18       I can about that.  You quickly go beyond my level of

19       expertise.

20            Q.   So what you're saying is that the amount of

21       money -- the $102 million is reduced by some kind of

22       energy flow charge that Southern imposes on you, is that

23       it?

24            A.   Yes, sir, but you will also see on the

25       purchases schedule a similar credit.  I mean, it's an

FLORIDA PUBLIC SERVICE COMMISSION

592

1       accounting adjustment that is reflected on both the

2       purchases and the sales.

3            Q.   And do you pay it on purchases or does

4       somebody else pay it?

5            A.   Let me look at the purchases schedule before I

6       -- it's shown as a reduction on the purchases side.

7            Q.   Your price is reduced or your price is

8       increased by --

9            A.   Our purchased costs are decreased.  It is a

10       flow through in and out so that it's a net basically

11       zero impact to the customers.

12            Q.   So Southern pays you that energy flow through,

13       is that correct?

14            A.   In the fashion that Gulf would be reimbursed

15       by the pool is that if a sale is made, our peak period

16       load ratio of the costs are assigned to us as well as

17       the revenues from the sale, and I will add that the net

18       margin, the gain on that sale flows directly through to

19       the customers.

20            Q.   The gain on the sale.  What is the gain?

21            A.   The gain is the difference between the cost of

22       the generation or the amount of energy assigned to Gulf

23       and the amount of revenues that are received from the

24       sale.  So the net impact on the customer is they just

25       get a benefit of the gain or the markup for those

FLORIDA PUBLIC SERVICE COMMISSION

593

1       opportunity type sales.

2            Q.   All right, sir.  Let's go back to hedging

3       settlement costs on Line 2 of Bates stamp Number 1.  You

4       charged your retail customers $10 million in 2008 for

5       hedging costs, is that correct?

6            A.   What schedule are you on, sir?

7            Q.   Schedule A-1 for period-to-date December 2008,

8       Line 2 is hedging settlement costs.

9                 MR. BADDERS:  Chairman Carter, I have an

10       objection.  Now we have moved to hedging, also an issue

11       that has already been voted on by this Commission, an

12       issue that this very party took no position.

13                 CHAIRMAN CARTER:  What about it, Mr.

14       McWhirter?

15                 MR. McWHIRTER:  Well, it's part of the fuel

16       cost.  I didn't object to the amount of money they paid.

17       What I want to understand is retail customers paid

18       hedging costs and will pay hedging costs again, is that

19       correct?

20                 CHAIRMAN CARTER:  Whoa, whoa, whoa, whoa.  You

21       are speaking to the objection now.  You are speaking to

22       the objection.

23                 MR. McWHIRTER:  All right, sir.

24                 CHAIRMAN CARTER:  Okay.  So don't talk to the

25       witness, talk to me.

FLORIDA PUBLIC SERVICE COMMISSION

594

1                 MR. McWHIRTER:  I didn't complain about the

2       hedging cost, and that is what he says.  What I'm trying

3       to understand is how hedging costs come into play

4       between retail customers and the people that get these

5       marginal purchases of fuel, and that relates to the fuel

6       cost.

7                 CHAIRMAN CARTER:  Ms. Cibula.

8                 MS. CIBULA:  I think the question should be

9       allowed.

10                 CHAIRMAN CARTER:  You may proceed, Mr.

11       McWhirter.

12       BY MR. McWHIRTER:

13            Q.   Do you remember the question?

14            A.   If you would not mind repeating it, sir.  And

15       the amount I couldn't find on the schedule you were --

16            Q.   All right.  Look at Schedule A-1, period

17       ending December 2008, Line 2.

18            A.   Yes, sir.

19            Q.   It shows that you thought you were going to

20       receive $9 million in hedging benefit, but you actually

21       paid $1.7 million in hedging costs, and the total cost

22       for 2008 was 10 million that retail customers were asked

23       to pay.  Am I correct in that assumption?

24            A.   I don't exactly agree with that.  I would

25       agree that for 2008, the costs of hedging, financial

FLORIDA PUBLIC SERVICE COMMISSION

595

1       hedging transactions incurred was the 1.7 million.  That

2       compares to, as you said, an estimate of 9 million, but

3       the costs that were actually incurred in 2008 were

4       1.7 million.

5            Q.   All right, sir.  If you will go over to Line

6       11, that is for 2010.  There's no hedging settlement.

7                 CHAIRMAN CARTER:  Is your microphone on, Mr.

8       McWhirter?

9                 MR. McWHIRTER:  I am probably mumbling, Mr.

10       Chairman.  Is that better?

11                 CHAIRMAN CARTER:  That's much better.

12       BY MR. McWHIRTER:

13            Q.   Okay.  Let's go to Bates Number 5.

14            A.   Number 5?

15            Q.   Yes.  And in 5 you -- and the Commission has

16       approved $44.8 million for hedging costs in order to

17       stabilize your cost of fuel, is that correct?

18            A.   Yes.  The hedging cost included on Schedule

19       E-1B-1 for the year 2009, which includes six months

20       actual data, six months projected, is the 44,857,414.

21            Q.   And that's charged to retail customers, is

22       that correct?

23            A.   That's appropriate.  Yes, sir, that's correct

24       and appropriate because the hedging activity that the

25       company performs is only for our retail customers.  We

FLORIDA PUBLIC SERVICE COMMISSION

596

1       do not perform -- enter hedging transactions for

2       wholesale activity.

3            Q.   And when you buy spot fuel for your power

4       plants and sell it in the wholesale market, do those

5       customers that benefit from the lesser cost contribute

6       in any fashion to the hedging?

7            A.   No, sir, they do not, because they receive no

8       benefit of that.

9            Q.   Well, they got the lowest possible cost,

10       didn't they, on the whole Southern system?

11            A.   But the cost they got for those transactions

12       had nothing to do with the financial hedging activity

13       that was entered into for the retail ratepayers.

14            Q.   And what is the benefit that retail ratepayers

15       receive for having paid $44.8 million?

16                 MR. BADDERS:  Chairman Carter, again, I'd

17       like to -- maybe not renew an objection, make a new

18       objection.  And, again, we have had no discussion how

19       this relates to sales.  This is pure and simple

20       discussion about our hedging program, and our hedging

21       costs have gone through to the customers, issues that

22       have already been voted on by this Commission.

23                 CHAIRMAN CARTER:  Mr. McWhirter.

24                 MR. McWHIRTER:  I'll drop the question, Mr.

25       Chairman, because it's approaching the witching hour.  I

FLORIDA PUBLIC SERVICE COMMISSION

597

1       tender the witness.

2                 CHAIRMAN CARTER:  Thank you, Mr. McWhirter.

3       Mr. Wright.

4                 MR. WRIGHT:  No questions, Mr. Chairman.

5       Thank you.

6                 CHAIRMAN CARTER:  Commissioners, I'm going to

7       go to staff and then come back to the bench.

8                 Staff, you're recognized.

9                          CROSS EXAMINATION

10       BY MS. BENNETT:

11            Q.   Mr. Dodd, I just have two questions.  When you

12       file your March true-up testimony, do you testify about

13       the components of the true-up by fuel and purchased

14       power type, or do you testify about the differences

15       between actual and estimated expense dollars?

16            A.   My testimony addresses the actual versus -- as

17       compared to estimated dollars for the prior period.

18            Q.   And are the estimated dollars in the March

19       true-up filing original estimates or are they

20       reprojected estimates?

21            A.   Those estimates are included in the

22       estimated/actual filing.  Without the data in front of

23       me, early August of '08 would have been when we filed

24       our estimated/actuals for 2008.

25            Q.   But in the March true-up, are they the

FLORIDA PUBLIC SERVICE COMMISSION

598

1       original estimates, or are they reprojected estimates,

2       or are they actuals?

3            A.   In the March true-up filing the actuals are

4       what the actuals are.  The actual expenses are what we

5       incurred.  They are compared to the estimated expenses.

6       I think I may be confusing expenses versus the

7       calculation of the final true-up component which is the

8       final over/underrecovery versus the estimated

9       over/underrecovery which for the period which is filed

10       in the estimated/actual filing.

11                 MS. BENNETT:  That's all the questions I have.

12       Thank you.

13                 CHAIRMAN CARTER:  Thank you.

14                 Commissioners, anything from the bench?  We

15       are snug up on the time frame.

16                 Redirect?

17                 MR. BADDERS:  No redirect, and I would like to

18       move his exhibits.

19                 CHAIRMAN CARTER:  Exhibits.

20                 MR. BADDERS:  I believe that would be

21       Exhibit 88 through 94.

22                 CHAIRMAN CARTER:  Are there any objections?

23       Without objection show it done.

24                 (Exhibit 88 through 94 admitted into the

25       record.)

FLORIDA PUBLIC SERVICE COMMISSION

599

1                 CHAIRMAN CARTER:  Anything further for this

2       witness from staff?

3                 MS. BENNETT:  No, sir.

4                 CHAIRMAN CARTER:  Parties?  Commissioners?

5       You may be excused.

6                 MR. McWHIRTER:  Mr. Chairman, I'd like to move

7       that composite exhibit.

8                 CHAIRMAN CARTER:  Hang on a second and let me

9       get my hands on it.

10                 Staff, our next number in the sequence?  I

11       know we did 133.

12                 MS. BENNETT:  It would be 134.

13                 CHAIRMAN CARTER:  Okay.  Commissioners, this

14       will be 134.

15                 MR. BADDERS:  Chairman Carter, I would like to

16       point out, all that is is a recompilation of exhibits

17       and information that is already in the record.

18                 CHAIRMAN CARTER:  Okay.

19                 MR. McWHIRTER:  That's correct.

20                 CHAIRMAN CARTER:  That's fine.  Are there any

21       objections?

22                 MR. BADDERS:  No objection.

23                 CHAIRMAN CARTER:  Without objection, show it

24       done, 134 entered into evidence.

25                 (Exhibit 134 marked for identification and

FLORIDA PUBLIC SERVICE COMMISSION

600

1       admitted into the record.)

2                 CHAIRMAN CARTER:  You may be excused.

3                 Ms. Bennett.

4                 MS. BENNETT:  I believe that concludes the

5       record.  We would now be in the decision phase of our

6       docket.

7                 CHAIRMAN CARTER:  Commissioners, I think --

8       well, I don't want to think aloud, but I think at this

9       point in time we probably don't want to make a bench

10       decision unless you guys think otherwise.  I think we

11       need to see something.

12                 Commissioners, I am sensing agreement on that,

13       so, Ms. Bennett.

14                 MS. BENNETT:  Would you like for staff to

15       break over the evening and then come back and give you a

16       recommendation, or are you telling us you want to have

17       it briefed and come back December 1st?

18                 CHAIRMAN CARTER:  Briefed.

19                 MS. BENNETT:  Okay.

20                 CHAIRMAN CARTER:  Commissioner Skop, a brief,

21       brief question.

22                 COMMISSIONER SKOP:  Thank you, Mr. Chair.

23                 Just in relation to FPUC and possibly on the

24       Gulf, are there any time limitations?  If we want to get

25       a written brief, when would be the next opportunity to

FLORIDA PUBLIC SERVICE COMMISSION

601

1       approve that such that whatever the Commission approves

2       could go into effect by the appropriate time?

3                 MS. BENNETT:  Well, I believe if we bring this

4       to you for your December 1st agenda that would be in

5       plenty of time for all the decisions because you would

6       then give the utilities 30 days.  So my understanding is

7       that the court reporter could have this ready for us by

8       Friday, the transcript ready for us by Friday.  We would

9       ask that briefs be provided -- I was going to say

10       November 9th, which is Monday, by the parties, and staff

11       would file its recommendation on November 19th for a

12       December 1st Agenda Conference.

13                 CHAIRMAN CARTER:  Show it done.

14                 MS. BENNETT:  And we would be asking --

15                 CHAIRMAN CARTER:  One second.  Commissioner

16       Edgar.

17                 COMMISSIONER EDGAR:  I'm just a little

18       confused about the timing, so if I could have you

19       explain that to me.  If we vote December 1st as an item

20       on an already scheduled agenda conference, and then how

21       many days for the order to go out, and then for the

22       companies to be able to put in the notice to customers,

23       which is 30 days, where does that take us, and how does

24       that fit in with the votes that we took earlier today

25       for the other utilities?

FLORIDA PUBLIC SERVICE COMMISSION

602

1                 MS. BENNETT:  I believe that the utilities --

2       and they can correct me if I'm wrong, but the utilities

3       could use the information from the recommendation to

4       give notice to the customers and to put their fuel

5       factors into effect for the first of next year, but you

6       might want to confirm with them that that schedule

7       works.

8                 CHAIRMAN CARTER:  Mr. Horton.

9                 MR. HORTON:  I was just going to ask for some

10       clarification.

11                 CHAIRMAN CARTER:  You're recognized.  You're

12       recognized to ask questions.

13                 MR. HORTON:  You said the 9th, which is next

14       Monday.

15                 MS. BENNETT:  For briefs?

16                 MR. HORTON:  For briefs.

17                 MS. BENNETT:  For briefs.

18                 CHAIRMAN CARTER:  Mr. Badders.

19                 MR. BADDERS:  It is my understanding that the

20       transcript would not be available until Friday?

21                 CHAIRMAN CARTER:  Friday.

22                 MR. BADDERS:  So --

23                 CHAIRMAN CARTER:  So you've got the weekend.

24       Hang on a second.  Jane.

25                 We can get them to you on Thursday, the

FLORIDA PUBLIC SERVICE COMMISSION

603

1       transcripts on Thursday.

2                 MR. BADDERS:  I just wanted to point out -- I

3       mean, that is a very short period of time.

4                 CHAIRMAN CARTER:  That's true.

5                 MR. BADDERS:  But we can accommodate if we

6       have to.

7                 CHAIRMAN CARTER:  Everybody is running on

8       light speed, so, you know, it's going to be a push for

9       the court reporters to get it done by then, so --

10                 MS. BENNETT:  We could make the briefs due on

11       the 12th of November.  It would shorten the staff's time

12       to write the recommendation, but --

13                 COMMISSIONER EDGAR:  Recognize you have got a

14       holiday in there, too.

15                 MS. BENNETT:  That is the day after the

16       holiday.  That will give them time to work over the

17       holiday.

18                 CHAIRMAN CARTER:  Mr. Horton.

19                 MR. HORTON:  That would be better.

20                 CHAIRMAN CARTER:  Mr. Badders.

21                 MR. BADDERS:  We could accommodate that.  And

22       it's my understanding it is the Commission's pleasure to

23       have briefs in the Gulf Power issue, also.  That's my

24       understanding.

25                 COMMISSIONER EDGAR:  That is what I think I've

FLORIDA PUBLIC SERVICE COMMISSION

604

1       heard.

2                 CHAIRMAN CARTER:  Absolutely.

3                 MR. BADDERS:  Okay.

4                 COMMISSIONER EDGAR:  And so then can you help

5       me just think through the back end of that.  If we vote

6       on December 1st and then can the company speak to the

7       suggestion that the 30-day notice would kick in then

8       prior to the order coming out?  It's a little unusual.

9                 MR. STONE:  Commissioners, it's my

10       understanding that it is not actually a 30-day notice in

11       the sense that we mail out a notice, but rather that the

12       Commission's decision when it becomes official is if

13       it's 30 days out then our customers are deemed to have

14       notice of your decision if it's 30 days out.  So if you

15       vote on December 1st, we would be in a position to

16       implement factors on January 1st.  There's not a

17       separate mail notice requirement.

18                 COMMISSIONER EDGAR:  So this other or related

19       legal issue, which is is the vote the action or is the

20       order the action.

21                 MR. STONE:  I believe that it has been the

22       practice that it's vote that's the decision and that the

23       order follows as quickly thereafter as possible.  And

24       I'm stretching my memory, but my recollection is that

25       when -- and my memory is really more from a base rate

FLORIDA PUBLIC SERVICE COMMISSION

605

1       perspective, but I think it applies to fuel, as well.

2       It is the vote not the order date that is determinative

3       of the 30 days.

4                 MS. BENNETT:  I agree.

5                 COMMISSIONER EDGAR:  Okay.  While we're all

6       gathered together, to try to make sure we are all on the

7       same page.

8                 CHAIRMAN CARTER:  Okay.  Any further questions

9       from the bench or from the parties?

10                 Jane.

11                 (Questions by Court Reporter.)

12                 MS. BENNETT:  It is only for the 01 docket,

13       and just for complete clarity, the issues that would be

14       briefed would be 3A and 3B for FPU; Issues 8, 9, 10, 12,

15       13, and 15 for FPU; and 8, 9, 10, 12, 13, and 15 for

16       Gulf.

17                 CHAIRMAN CARTER:  Mr. Horton.

18                 MR. HORTON:  I'm sorry, could you --

19                 CHAIRMAN CARTER:  Give them again.  Let's

20       start with FPUC first.

21                 MS. BENNETT:  For FPUC it would be Issues 3A,

22       3B, 8, 9, 10, 12, 13, and 15.

23                 CHAIRMAN CARTER:  For Gulf.

24                 MS. BENNETT:  8, 9, 10, 12, 13, and 15.

25                 CHAIRMAN CARTER:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

606

1                 Are there any further questions?  Any further

2       questions from the parties?

3                 Commissioners, any further questions?  Staff,

4       anything further?

5                 MS. BENNETT:  No, sir.

6                 CHAIRMAN CARTER:  We are adjourned.

7                 (The hearing concluded at 5:08 p.m.)

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

607

1       STATE OF FLORIDA    )

2                           :    CERTIFICATE OF REPORTER

3       COUNTY OF LEON      )

4

I, JANE FAUROT, RPR, Chief, Hearing Reporter

5       Services Section, FPSC Division of Commission Clerk, do

hereby certify that the foregoing proceeding was heard

6       at the time and place herein stated.

7                 IT IS FURTHER CERTIFIED that I

stenographically reported the said proceedings; that the

8       same has been transcribed under my direct supervision;

and that this transcript constitutes a true

9       transcription of my notes of said proceedings.

10                 I FURTHER CERTIFY that I am not a relative,

employee, attorney or counsel of any of the parties, nor

11       am I a relative or employee of any of the parties'

attorney or counsel connected with the action, nor am I

12       financially interested in the action.

13                 DATED THIS November 5, 2009, 2009.

14

15             ___________________________________________

JANE FAUROT, RPR

16                   Official FPSC Hearings Reporter

(850) 413-6732

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION