1

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3

In the Matter of:

4                                          DOCKET NO. 090451-EM

5       JOINT PETITION TO DETERMINE

NEED FOR GAINESVILLE RENEWABLE

6       ENERGY CENTER IN ALACHUA COUNTY,

BY GAINESVILLE REGIONAL UTILITIES

7       AND GAINESVILLE RENEWABLE ENERGY

CENTER, LLC.

8       __________________________________/

9

10

11

12       PROCEEDINGS:     SPECIAL AGENDA

13       COMMISSIONERS

PARTICIPATING:   CHAIRMAN NANCY ARGENZIANO

14                        COMMISSIONER LISA POLAK EDGAR

COMMISSIONER NATHAN A. SKOP

15                        COMMISSIONER DAVID E. KLEMENT

COMMISSIONER BEN A. "STEVE" STEVENS III

16

DATE:            Thursday, May 27, 2010

17

TIME:            Commenced at 11:00 a.m.

18                        Concluded at 1:48 p.m.

19       PLACE:           Betty Easley Conference Center

Room 148

20                        4075 Esplanade Way

Tallahassee, Florida

21

REPORTED BY:     JANE FAUROT, RPR

22                        LINDA BOLES, RPR, CRR

Official FPSC Reporters

23                        (850) 413-6732/6734

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1                        P R O C E E D I N G S

2                 CHAIRMAN ARGENZIANO:  We'll call our special

3       agenda to order.  Good morning.  And, Commissioners and

4       participants, today it is limited to staff and

5       Commissioners only, of course.  And we'll start with our

6       preliminary matters and move forward.

7                 MR. SAYLER:  Good morning, Madam Chairman.  My

8       name is --

9                 CHAIRMAN ARGENZIANO:  I was going to look over

10       there.  I forgot you were over here.

11                 MR. SAYLER:  Good morning, Madam Chairman.  My

12       name is Erik Sayler with Commission legal staff.

13                 For the preliminary matter this morning, we

14       have an emergency motion to reopen the record and take

15       official recognition of the new EPA rule as it relates

16       to the prevention of significant deterioration in Title

17       V, Greenhouse Gas Tailoring Rule.

18                 Staff -- both of the intervenors filed a

19       motion on Monday, they filed an amended motion on

20       Tuesday, the utility responded Wednesday morning, and

21       nobody has requested oral arguments and staff is not

22       recommending that oral arguments be granted at this

23       time.

24                 Staff's recommendation on the motion is to

25       deny for the following reasons:  One, the notice or the

FLORIDA PUBLIC SERVICE COMMISSION

3

1       motion for taking official recognition is untimely and

2       improper at this juncture of this proceeding,

3       potentially prejudicial to the utility if notice was

4       taken at this time, and, quite frankly, it's not

5       relevant to this proceeding, if we were to get to the

6       merits of the rule.

7                 As far as the motion for reopening the record,

8       it doesn't satisfy the requirements for reopening the

9       record, which are, essentially, a change in

10       circumstances or some new evidence.  And, therefore,

11       staff recommends that we deny their motion.

12                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

13                 COMMISSIONER SKOP:  Thank you, Madam Chairman.

14       I just want to speak on the pending motion in two

15       regards.  First, I'll address the request for the

16       Commission to take official recognition.  Again, I think

17       the request wasn't timely; however, I do disagree with

18       staff that the document in question is highly relevant,

19       although it is speculative at this point, to the extent

20       that the proposed rule is not yet final.

21                 You know, I'd like to look specifically at the

22       statutory requirements that enable the Commission to

23       consider matters which may be judicially noticed, but in

24       this case it would be official recognition, an

25       administrative law function.  The recommendation speaks

FLORIDA PUBLIC SERVICE COMMISSION

4

1       to Florida Statute Section 90.202.  If you look at (3),

2       contents of the Federal Register, it's my understanding

3       in talking with staff yesterday that the proposed rule

4       is pending publication in the Federal Register.  But

5       moreover, looking at Subsection 5, Official Actions of

6       the Legislative, Executive, and Judicial Departments of

7       the United States and/or any state, territory, or

8       jurisdiction of the United States, it would seem to me

9       that promulgating a rule under delegated authority

10       through the executive branch that the EPA has taken some

11       form of official action.  It's not yet final, but I

12       think that that could be used as a basis for discussion

13       as to why the Commission may want to take the step of

14       granting official recognition to the documents

15       requested.

16                 As to the issue of reopening the record, I am

17       not in favor of reopening the record.  To the extent

18       that it would be prejudicial to the parties, the motion

19       was untimely, and, again, it is still speculative.  I

20       believe that the staff recommendation addresses

21       environmental regulation sufficiently as to warrant not

22       reopening the record.  And I would think that that would

23       be my position in terms of granting official recognition

24       for the documents, subject to further discussion at

25       bench, denying the motion to reopen the record for a

FLORIDA PUBLIC SERVICE COMMISSION

5

1       limited purpose, and move forward to making a decision

2       on the merits today here at bench.

3                 Thank you.

4                 COMMISSIONER EDGAR:  Madam Chair.

5                 CHAIRMAN ARGENZIANO:  Commissioner Edgar.

6                 COMMISSIONER EDGAR:  I'm sorry, I had a very

7       difficult time hearing.  Did you say that there was a

8       condition, that under a certain condition you would be

9       interested in taking official notice?  Again, I was

10       really having difficulty hearing you.

11                 COMMISSIONER SKOP:  Thank you, Madam Chair.

12                 I'll just restate what I previously stated.

13       To the extent that staff, on the issue of official

14       recognition, has denied or recommended the denial of

15       taking official recognition of the proposed EPA rule,

16       again, I recognize that the request was untimely.  I do

17       disagree, however, with the staff characterization that

18       the document in question is not relevant.  In fact, it

19       is highly relevant, although it's not in the evidentiary

20       record.

21                 The proposed rule is directly on point.

22       However, it is speculative at this point because it's

23       not a final rule.  It's still subject to being

24       protested.  So in terms of granting official

25       recognition, I believe staff relied on Florida Statute

FLORIDA PUBLIC SERVICE COMMISSION

6

1       Section 90.202, Subparagraph 3, which provides matters

2       which may be judicially noted, which is permissive

3       recognition by the Commission.  And in this case, since

4       it is an administrative law matter the proper term

5       instead of judicial notice it would be official

6       recognition.

7                 It is my understanding in talking to staff,

8       and, again, I'm not so sure that they have all of this

9       fully definitized, but the proposed rule, I think, is

10       pending publication in the Federal Register which means

11       the next issue, I think, of the Federal Register it may

12       come out.  Again, I would like to get some more clarity

13       on that.  But that, you know, is one of the criteria,

14       but if you look at Criteria 5 it says official actions

15       of the Legislative, Executive, and Judicial departments

16       of the United States and of any state, territory, or

17       jurisdiction in the United States.  I believe that the

18       EPA exercising its rulemaking authority as properly

19       delegated is, you know, taking official action when it

20       promulgates a rule.  And I think that that would

21       provide, in light of 5, a basis should the Commission

22       choose to do so of taking official recognition of that

23       document.

24                 Again, the motion is untimely, but the

25       document is highly relevant, but the rule is speculative

FLORIDA PUBLIC SERVICE COMMISSION

7

1       at this point to the extent that ultimately it may be

2       amended years from now or it may be protested.  I can't

3       say one way or another.  But, again, I think it's worthy

4       of discussion as to whether the Commission should take

5       official recognition on the merits of the request.

6                 With respect to the motion to reopen the

7       record, I am not in favor of granting that motion.  We

8       have prepared an evidentiary record as the basis for a

9       decision, and, you know, reopening the record to discuss

10       the proposed rule is tantamount to speculative at best.

11       And, again, looking at the staff recommendation, it

12       clearly identifies the changes in the environmental

13       regulations which may or may not occur, and that's the

14       substance of the staff recommendation that we will get

15       to later.

16                 So, in summary, I would potentially be in

17       favor of granting official recognition of the document

18       noting that it is untimely, but relevant and still

19       speculative.  I would not be in favor of granting the

20       motion to reopen the record, and I look forward to

21       moving forward and deciding the case on the merits

22       before us today.

23                 Thank you.

24                 CHAIRMAN ARGENZIANO:  Go back to Commissioner

25       Edgar and then Commissioner Klement.

FLORIDA PUBLIC SERVICE COMMISSION

8

1                 COMMISSIONER EDGAR:  Thank you.

2                 And thank you for that further elaboration for

3       my benefit.  So when I thought I heard you say earlier

4       that you, perhaps, had an interest in this Commission

5       taking official recognition conditioned upon something,

6       that was a mishearing on my part, because I did not hear

7       conditioned upon, is that correct?

8                 COMMISSIONER SKOP:  Yes.  It's not conditioned

9       upon anything.  I think it's at the sole discretion of

10       the Commission as to the taking of permissive official

11       recognition pursuant to the statutory requirements.  And

12       arguably this comes within the scope of those statutory

13       requirements, assuming how stringently or liberally the

14       requirements would be construed.

15                 Previously, as the hearing officer, I denied

16       official recognition on the basis that it did not meet

17       statutory requirements, but this one is not as clear

18       cut, which is why I think it is appropriate for the

19       Commission as a whole to consider the request,

20       notwithstanding the fact that the request is untimely in

21       light of the relevance and the statutory requirements

22       which would allow the Commission to take official

23       recognition of the document.  I don't feel that it's

24       necessarily prejudicial to the parties by taking

25       official recognition, but, again, I will leave that to

FLORIDA PUBLIC SERVICE COMMISSION

9

1       the bench.  Thank you.

2                 COMMISSIONER EDGAR:  Okay.  So when you said

3       that you believe that the proposed or the noticed EPA

4       regulation is, in your words, highly relevant at this

5       time, are you telling us that it is your opinion that

6       the proposed regulation is highly relevant to our

7       requirements and deliberations vis-a-vis issuing or

8       denying a need determination, or highly relevant should

9       this proposed project move forward to the next steps in

10       the additional permitting and citing process?

11                 COMMISSIONER SKOP:  Without getting into the

12       merits of the discussion, again, the relevance stems to

13       the proposed EPA rule as it pertains to accounting for

14       the greenhouse gas emissions from a biomass plant, and

15       under the proposed rule that the EPA, I think, has

16       promulgated, and correct me if I'm wrong, staff, because

17       I have had limited time to review this, but it is my

18       understanding that biomass combustion will not be

19       exempted from greenhouse gas requirements under the

20       proposed rule.

21                 MR. ELLIS:  That would be correct.

22                 COMMISSIONER SKOP:  Thank you.

23                 COMMISSIONER EDGAR:  I'm going to try again,

24       just because I didn't hear an answer to my question.

25                 COMMISSIONER SKOP:  Well, I'm getting --

FLORIDA PUBLIC SERVICE COMMISSION

10

1                 COMMISSIONER EDGAR:  When you say it is highly

2       little relevant and, therefore, you are proposing that

3       in this proceeding today that we take official

4       recognition because you believe the document or the

5       regulation as proposed is highly relevant, what I'm

6       trying to understand is do you believe that that highly

7       relevant, in your opinion, is part of our deliberations

8       and decision today?

9                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

10                 COMMISSIONER SKOP:  Thank you, Madam Chair.

11                 Commissioner Edgar, I don't know how to answer

12       your question other than, you know, I have reviewed the

13       pleading, I've reviewed the relevant pages of the

14       proposed rule.  It does seem to be directly on point to

15       some substance of the staff -- directly on point to the

16       substance embodied within the staff recommendation.

17       However, at this point the rule is still not final

18       subject to being amended years from now, so it's

19       speculative.  So, again, taking official recognition is

20       within the purview of the Commission, should it choose

21       to do so pursuant to statutory requirements.  And, you

22       know, I think that, you know, hopefully that explains my

23       position.  I think each of us as individual

24       Commissioners have to look at the pleadings and make our

25       own decisions.

FLORIDA PUBLIC SERVICE COMMISSION

11

1                 COMMISSIONER EDGAR:  I still am unclear as to

2       the meaning of the term highly relevant that you have

3       used a couple of different times.  Madam Chair, thank

4       you, and I would like to hear from the others, and then

5       I may have some questions for staff.

6                 CHAIRMAN ARGENZIANO:  Certainly.  Commissioner

7       Klement.

8                 COMMISSIONER KLEMENT:  Thank you, Madam Chair.

9       I, also, Commissioner Skop, are not clear on what your

10       intent is in making this -- to grant the motion, to

11       propose granting the motion to take official action but

12       not be part of the official record.  I don't understand

13       what -- how that would affect today's discussion of the

14       merits of the case.  If it can't be part of the official

15       record, what's the point of discussing it, or

16       recognizing it?

17                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

18                 COMMISSIONER SKOP:  Thank you, Madam Chair.

19                 Commissioner Klement, I guess to your question

20       as far as reopening the record, that would be the third

21       time that this record has been reopened.  Obviously the

22       uncertainty regarding future or pending environmental

23       regulation is well documented and well known within the

24       existing staff recommendation.  I think that my thought

25       behind the Commission perhaps taking official

FLORIDA PUBLIC SERVICE COMMISSION

12

1       recognition of the document in question is that the

2       petition specifically referenced and cited to two pages

3       within the EPA rule that specifically address how the

4       emissions from biomass plants may be regulated to the

5       extent that they may or may not be exempt, but in the

6       proposed rule they are not exempt from some of the

7       requirements.  And so it would seem to me, and, you

8       know, taking official recognition is not in itself a bad

9       thing, it is just the Commission saying we have been

10       asked to do something.  We are aware of facts known to

11       us that the EPA has promulgated a rule which at some

12       point will be published in the Federal Register, so I

13       don't think it's harmful to take official recognition of

14       the document.

15                 I think the document does have relevance to

16       the need determination as a whole, but the untimeliness

17       of the petition is what leads me not to reopen the

18       record, whereas taking official recognition is at the

19       complete discretion of the bench, and I don't feel to be

20       prejudicial or harmful to the proceedings as a whole

21       here.  And I do have, I think, a way of addressing the

22       concerns not related to this, but within the scope of

23       discussing the staff recommendation as to whether the

24       Commission approves the need determination.  You know, I

25       will have some comments in relation to matters that I

FLORIDA PUBLIC SERVICE COMMISSION

13

1       have previously stated on the record during our last

2       bench discussion.  Hopefully that clarifies.

3                 COMMISSIONER KLEMENT:  Thank you.

4                 What I hear you saying is that you want it

5       officially acknowledged that we recognize this request

6       by the intervenor, but still go ahead with consideration

7       of the merits of the case.

8                 COMMISSIONER SKOP:  Absolutely.  I think

9       recognizing this document, you know, allows the

10       Commission to at least take notice that we are aware of

11       it, although it was untimely filed.  The concern as I

12       understood the petition is that this rule, I think, was

13       issued after the last evidentiary hearing.  I don't have

14       the date, but I think from memory it was May 13th or

15       14th.  I was right.  Paragraph 3 of the petition on Page

16       2 states that on or about May 13th or May 14th, the EPA

17       announced its newly enacted rule.  So, again, whether we

18       take official recognition or not, either way it doesn't

19       hurt the corpus of the proceeding before us here today.

20                 COMMISSIONER KLEMENT:  Okay.  Madam Chair, one

21       more.  I would just like to point out in regard to the

22       request that much of the GREC's case for the fiscal

23       feasibility of this project is based on the possibility

24       of legislation coming forward for greenhouse gas

25       emission, cap and trade, or some other thing.  So it's

FLORIDA PUBLIC SERVICE COMMISSION

14

1       almost predicated upon future actions by some governing

2       body, the Congress perhaps.

3                 CHAIRMAN ARGENZIANO:  Thank you, Commissioner

4       Klement.

5                 Commissioner Stevens.

6                 COMMISSIONER STEVENS:  Thank you, Madam Chair.

7                 I'm not exactly clear where Commissioner Skop

8       was going, but after reading staff's recommendation and

9       them spending a little time with me this morning, I'm in

10       favor of staff's recommendation that we deny the request

11       in their first recommendation, and in the second

12       recommendation deny the request to reopen the record.

13       That's where I am, and then we can move on with the

14       other issues.

15                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

16                 COMMISSIONER SKOP:  Thank you, Madam Chairman.

17                 And to Commissioner Stevens' point, you know,

18       I certainly respect that.  I think that what was a

19       concern to me and plead in the pleading for official

20       recognition was Page 420 of the EPA document.  And

21       basically it really did not take a position to

22       exemptions for biomass combustion or emission, so I

23       think that without getting into the merits, you know,

24       assumptions were made in the case that will come before

25       us later.  And, again, this does have some bearing,

FLORIDA PUBLIC SERVICE COMMISSION

15

1       although it's not final, on some of the assumptions,

2       underlying assumptions.

3                 COMMISSIONER EDGAR:  I'm sorry, there is a

4       case that is going to come -- a different case that you

5       are saying this impacts?  I'm not understanding.

6                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

7                 COMMISSIONER SKOP:  And, again, Madam Chair, I

8       don't know how to respond.  I mean, I'm just trying to

9       articulate the pleadings.  Obviously I have read them

10       thoroughly, and I'm trying to adjudicate based on the

11       legal merits of the pleadings before us.  And so it,

12       again, seems to me that, yes, the request for official

13       recognition was untimely, the subject matter that is

14       being requested to be recognized is relevant, but at

15       this point it is speculative.  So, again, my position is

16       certainly we're five individual Commissioners, but I

17       would be in favor of granting the request for official

18       recognition, but denying the request to reopen the

19       record.  Thank you.

20                 COMMISSIONER EDGAR:  A question for staff.

21                 CHAIRMAN ARGENZIANO:  Commissioner Edgar.

22                 COMMISSIONER EDGAR:  Thank you.

23                 It has been a number of years since I've

24       worked on these types of projects and need

25       determinations in the later stages, in fact prior to my

FLORIDA PUBLIC SERVICE COMMISSION

16

1       being here.  So, to staff, realizing that if this

2       Commission were to by majority vote approve the granting

3       of the need request today, there would be other steps in

4       the process, and that's what I want to make sure I'm

5       saying right, and then ask you to elaborate on.  There

6       would be a requirement whether or not for DEP to still

7       look at other permitting requirements, including air

8       emissions and the relative necessary requirements under

9       both federal law, and state law, and local law, and then

10       that action and/or recommendation would go forward to

11       the Governor and Cabinet by virtue of the Power Plant

12       Siting Act sitting as the Power Plant Siting Board, and

13       then they in that capacity would have the opportunity

14       and the responsibility to look at all before making

15       their decision.  Is that accurate, and if it would be

16       helpful to elaborate on any of that or clarify, please

17       do.

18                 MR. SAYLER:  Yes, Commissioner Edgar, you're

19       correct.  If the Commission approves it today, it will

20       go before the DEP for application for their air permit,

21       and if they receive their air permit prior to

22       January 2nd, 2011, under the grandfathering provisions

23       within the EPA rule, which the intervenors are asking us

24       to take official recognition of, they would be

25       grandfathered in under the rule.  I gained this

FLORIDA PUBLIC SERVICE COMMISSION

17

1       information through looking at the rule, but also having

2       several conversations with Howard Hoffman, who is the

3       attorney with the General Counsel's Office of the EPA

4       who worked on this rule, and he explained to me

5       explicitly that there are grandfathering provisions that

6       if they hit all of their targets and get their air

7       permits on time, they will be grandfathered in under the

8       rule and this rule would not apply to them.

9                 I also had another conversation with Juan

10       Santiago who worked on the rule on the staff side, and

11       he also explained to me that, yes, they would come in

12       under the grandfathering provisions.  However, he also

13       provided a further nuance, which is if later on during a

14       number of years down the road they do some sort of

15       change to their permit, they maybe have an upgrade or

16       something along that line, they would be required to --

17       they would then come under the jurisdiction of the rule.

18                 The rule just requires them to do some sort of

19       reporting requirement under the rule.  However, the

20       effect of delay at this juncture would, in effect, make

21       them subject to the rule, whereas they have the

22       possibility of being grandfathered in under the rule if

23       they can get the air permit on time.

24                 With regard to the effect of taking official

25       recognition, my understanding, and I would turn to my,

FLORIDA PUBLIC SERVICE COMMISSION

18

1       Assistant General Counsel, or Deputy General Counsel if

2       I make a misstatement, but the effect of taking official

3       recognition is to, in a sense, put it into evidence,

4       because then the parties can then rely upon it for

5       appellate purposes or things of that nature.  And I

6       would also say that, yes, this rule is highly relevant

7       to the next proceeding before the EPA, but then the EPA

8       or the DEP would then have to make that determination

9       and go from there.

10                 COMMISSIONER EDGAR:  Thank you.  Maybe another

11       question, depending.  If, and I do say if, we were to

12       take the action today to grant the request for official

13       recognition in lieu of judicial notice as Commissioner

14       Skop has suggested, how does that impact the evidence in

15       this record, realizing that the parties would have not

16       had the opportunity to question witnesses, nor would the

17       staff have had time during the normal and supplemental

18       hearing process that brought us to today?

19                 MR. SAYLER:  Commissioner Edgar, it is my

20       understanding that if the Commission were to take

21       official recognition of it, it would have a minimal

22       impact on staff's recommendation, but I would have to

23       turn to Phillip Ellis to speak to that.  But, here

24       again, we are getting more to the merits.

25                 COMMISSIONER EDGAR:  And that's getting more

FLORIDA PUBLIC SERVICE COMMISSION

19

1       and more speculative, I think, probably, so I'll leave

2       it at that unless, Ms. Helton, there is something that

3       you need to --

4                 MS. HELTON:  I think it would confuse the

5       record a little bit if we were to take official

6       recognition today, because I'm not sure what we would

7       be -- what your role would be in using that information.

8       And it also recognizes due process concerns for me.  I

9       mean, I think Chapter 120, when you look at what it says

10       about taking official recognition, I think it's pretty

11       clear that when official recognition is requested, the

12       parties shall be notified and given an opportunity to

13       examine and contest the material.

14                 Well, here the record has been closed.  GRU or

15       GREC has not been given an opportunity to contest the

16       material before you in the course of the evidentiary

17       proceeding.

18                 COMMISSIONER EDGAR:  Thank you.

19                 I do, Commissioners, have some concerns under

20       due process.  Due process under an orderly process

21       recognizing, of course, as we all know, that a second

22       bite at the apple was granted for a variety of reasons.

23       And I also do believe that realizing the steps that this

24       project is in the process, and that there are sister

25       state and federal agencies who, I believe, this noticed

FLORIDA PUBLIC SERVICE COMMISSION

20

1       rule falls more within their purview and authority to

2       review and analyze and reach decisions.  I am

3       comfortable with the staff recommendation with all of

4       that said, but I am glad to have had the opportunity to

5       think it through and talk about it.

6                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

7                 COMMISSIONER SKOP:  Thank you, Madam Chair.

8                 Two questions to staff, to the extent that I

9       think some comments were made.  Is staff suggesting that

10       the petitioners intentionally misrepresented the

11       pleading to the extent that this is not relevant at this

12       stage of the proceeding?

13                 MR. SAYLER:  No, Commissioner Skop, I do not

14       believe that the petitioners intentionally

15       misrepresented.  It is over a 500-page document that was

16       recently published, and it is quite voluminous and has

17       many interplays and ins and outs.  And for that reason

18       is the reason why I called the EPA directly to find out

19       how this -- potentially if it would affect this

20       proceeding, and I was assured by two different persons

21       that so long as the facility received its air permit

22       timely, then the rule would not effect.

23                 However, the intervenors are quite correct

24       that biomass is not excluded from this rule, and the EPA

25       spent about 20 pages elaborating the pros and cons and

FLORIDA PUBLIC SERVICE COMMISSION

21

1       essentially stated that they will reevaluate whether

2       they would regulate biomass under the carbon emissions

3       at a future date.  And in my conversation with one of

4       the scientists with the EPA he said that they have

5       another practice group currently working on it, and they

6       decided not to include it in the rule at this juncture

7       because it would just continue to make this rule even

8       more unwieldy and cumbersome.

9                 COMMISSIONER SKOP:  Okay.

10                 In taking the step of speaking with the EPA,

11       did you memorialize their comments either via affidavit

12       or through a deposition?

13                 MR. SAYLER:  No, I didn't, other than I made

14       some written comments in a notepad, and I have a

15       voicemail from Howard Hoffman stating that GRU/GREC, if

16       they received their permit timely, would then be exempt

17       from the rule.  However, that is something that is just

18       saved in my in-box, and I will leave it at that.

19                 COMMISSIONER SKOP:  And I think when you

20       previously were addressing Commissioner Edgar's comments

21       you stated that they possibly may be exempt from the

22       rule.  You don't know that for certainty, do you?

23                 MR. SAYLER:  That is correct.  Well, as it was

24       put to me, if they get their required air permit from

25       DEP timely, before January 2nd, 2011, they will be

FLORIDA PUBLIC SERVICE COMMISSION

22

1       exempt.  If they don't get their air permit by that

2       time, then they would be subject to the reporting

3       requirements of the rule, and also any further future

4       regulation, however the EPA decides to regulate biomass,

5       if they decide to regulate biomass, and that in itself

6       is speculative, yes, sir.

7                 COMMISSIONER SKOP:  Okay.  And then just one

8       final question, and then, Commissioners, I'm ready to

9       move on, however the Commission decides, because I think

10       that the issue before us today can be adjudicated and my

11       concerns could be addressed via another mechanism.  But

12       with respect to a question from the bench, I think staff

13       indicated that this document or this proposed rule would

14       be highly relevant to the next proceeding.  To the

15       extent that the relevance is in play as it appears to

16       the Commission's discretion to take official recognition

17       of a document that obviously exists out there that is

18       known to this Commission, it has been provided in a

19       pleading and responded to by the petitioners.  Does not

20       the financial viability of this project turn in large

21       part on whether biomass emissions are exempted under

22       greenhouse gas rules?

23                 MR. SAYLER:  For all biomass projects in

24       general, yes, sir.  For this particular one, it's

25       whether or not they get their grandfathering.

FLORIDA PUBLIC SERVICE COMMISSION

23

1                 COMMISSIONER SKOP:  All right.  Thank you.

2                 CHAIRMAN ARGENZIANO:  Commissioner.

3                 COMMISSIONER KLEMENT:  Thank you.

4                 To Commissioner Edgar's last point about the

5       issue of air quality emissions, however we characterize

6       it, is really in the jurisdiction of other state and

7       federal agencies rather than ours.  That is what I was

8       given to understand during the gathering of the record

9       in hearings.  Am I correct here, Mr. Sayler?

10                 MR. SAYLER:  Yes, Commissioner Klement.

11                 CHAIRMAN ARGENZIANO:  Are you finished,

12       Commissioner Klement?

13                 Commissioner Skop.

14                 COMMISSIONER SKOP:  And I think the corollary

15       point, Commissioner Klement, is the extent that, yes,

16       greenhouse gases are, in fact, regulated outside of the

17       state by federal agencies.  But in terms of the

18       financial viability of the project, as we will get into

19       in the staff recommendation, there are key assumptions

20       made regarding how environmental regulations will affect

21       the financial success of this project.  And the document

22       here where they are not exempting greenhouse emissions

23       then becomes relevant, which is why I'm thinking, you

24       know, official recognition may be warranted.

25                 CHAIRMAN ARGENZIANO:  Commissioner Stevens.

FLORIDA PUBLIC SERVICE COMMISSION

24

1                 COMMISSIONER STEVENS:  If the Commission is

2       ready, I'll be glad to make a motion to accept.

3                 CHAIRMAN ARGENZIANO:  Right before you do

4       that, I just want to -- my comment is my concern.  I

5       have several concerns, but what my main concern is is

6       due process.  And I heard Ms. Helton talk about that a

7       little bit, but to me that's what -- whether I agree

8       with the relevancy, and I do have a real problem with

9       the economic uncertainties, and I think it is relevant

10       to a certain degree, but my main concern is the due

11       process issue.  And everything else could be perfect or

12       it could be that it should be taken into consideration,

13       but if there is a due process issue, could you just --

14       once again, talk to me about that issue as far as due

15       process.

16                 MS. HELTON:  The way I think about due process

17       is, you know, notice and an opportunity to be heard.

18       Here GREC/GRU did not have notice that the intervenors

19       wanted to have you take official recognition of this

20       document until after the record had closed.  I think

21       they filed it on Monday, so Monday of the week that you

22       were going to be making your deliberations and deciding

23       the matter.  So the notice is late, the record is

24       closed, they haven't had -- GRU hasn't had any

25       opportunity to cross-examine anybody about it, to test,

FLORIDA PUBLIC SERVICE COMMISSION

25

1       you know, where the speculativeness, if any, of it, to

2       brief you on whether they think you should take it into

3       account in making your decision.  I think it raises true

4       concerns, in my mind, about how you are supposed to use

5       this information if you do put it into the record.  So

6       that is why I am concerned about GRU's due process if

7       you were to take official recognition of this

8       information.

9                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

10                 COMMISSIONER SKOP:  Thank you.

11                 To Ms. Helton, is there a difference between

12       reopening the record and taking official recognition

13       just as a ministerial act?

14                 MS. HELTON:  Well, I think that in the normal

15       course of matters, you don't have to worry about whether

16       you reopen the record or not when you take official

17       recognition, because the record is not yet closed.  You

18       typically don't -- or I have never seen us take official

19       recognition of anything when the record is closed, so I

20       think that it kind of goes hand-in-hand here.  If you

21       were to take official recognition, I don't know why you

22       would do that without opening up the record and putting

23       it in there.

24                 And that is another issue, also.  I think

25       opening up the record is a big deal, and to do it at

FLORIDA PUBLIC SERVICE COMMISSION

26

1       this late date when I'm not sure -- I hear a lot of

2       discussion about the speculativeness of the information

3       that's at issue, notwithstanding whether it's relevant

4       or not, and so I just -- I haven't -- my gut tells me

5       that it's not the appropriate thing to do today.

6                 CHAIRMAN ARGENZIANO:  May I just enter this

7       one second, because I don't want to lose train of

8       thought, because I'm trying to really follow this

9       through.  If it is late to open the record, is it

10       because of the rule that was promulgated -- was that on

11       the 15th?

12                 COMMISSIONER SKOP:  The 13th after the

13       hearing.

14                 CHAIRMAN ARGENZIANO:  Does that somehow play

15       into, you know, that it was a fairly recent decision, or

16       rulemaking I should say.

17                 MS. HELTON:  But it's my understanding, Madam

18       Chairman, and let me give this disclaimer, I'm probably

19       the person in the room that knows the least about what

20       is in the rule.  The rule was originally noticed, and

21       what they call a NOPRA was issued in October, so the

22       concept of the rule has been around since the fall.

23                 I guess it is the language, the 500 pages of

24       language that wasn't actually codified until just

25       recently and was identified that it would be published

FLORIDA PUBLIC SERVICE COMMISSION

27

1       in the Federal Register.  But even the act of publishing

2       it in the Federal Register, even if you consider that to

3       be an official act of the EPA, that rule is still

4       subject to change.  There's 60 days for affected persons

5       to take issue with the language of the rule, the

6       requirements of the rule.  So even by publishing that in

7       the Federal Register, we don't know what the language

8       will be and the requirements will be at the end of the

9       day.

10                 CHAIRMAN ARGENZIANO:  And I understand that,

11       but doesn't that work the other way, also?  It may not

12       change at all.

13                 MS. HELTON:  It may not change at all, and I

14       think that's the point, we don't know.  But even if it

15       doesn't change at all, as I understand it, assuming all

16       works well, which I'm sure GRU is hoping that it does

17       and they get their air permit in time, then by the

18       language of the rule, or the language of the -- I'm not

19       sure if you call it a rule -- the draft rule at this

20       time, it doesn't apply to them.  They are grandfathered

21       in.  It does not apply to them is my understanding.

22                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

23                 COMMISSIONER SKOP:  Thank you.  Again, the

24       ever changing realm of environmental regulations is

25       something that, you know, is a question at any given

FLORIDA PUBLIC SERVICE COMMISSION

28

1       point in time.  However, you know, the assumptions in

2       the underlying need determination are predicated in

3       large part on what happens with those regulations.  In

4       fact, if some of those regulations do not come forward,

5       then certain things don't materialize without getting

6       deeply into the case.

7                 To Ms. Helton, you mentioned reopening the

8       record is typically not done, but we did it in this

9       case, did we not?

10                 MS. HELTON:  Yes.

11                 COMMISSIONER SKOP:  Okay.  And by merely

12       taking official recognition of a rule that was

13       promulgated and issued subsequent to the last

14       evidentiary hearing, is that not making the Commission

15       aware of all the facts that are out there as they

16       develop?  I mean, the staff recommendation is what it

17       is.  We are not changing that.  We are reopening the

18       record, but what harm can possibly come from recognizing

19       a promulgated rule?

20                 MS. HELTON:  The harm to me is what it says

21       about the process.  The harm to me is the due process

22       rights of GRU have been potentially damaged because they

23       did not have an opportunity to brief you on the

24       relevance to the rule that you want to take official

25       recognition of.

FLORIDA PUBLIC SERVICE COMMISSION

29

1                 COMMISSIONER SKOP:  I'm not going to debate it

2       extensively, I mean, I just think it's at the will, the

3       discretion of the Commission whether they want to

4       recognize a document for potentially what the

5       promulgated rule may mean, you know, as it does not

6       relate to the substance of the decision here before us,

7       but I see no harm.  Again, the record has been reopened

8       and that's unusual in itself.  The petitioner has got a

9       second bite at the apple.  We are here today.  I'm

10       prepared to make a decision on the merits; but, again, I

11       do think there is some consideration that can be given

12       to recognizing a promulgated rule.

13                 I do recognize that there was a notice of

14       proposed rule, but one could argue consistent with the

15       statutory requirements under Florida Statute 90.202(5)

16       that that was not yet an official action.  When you

17       issue a rule, that's an official action, at least to me.

18       It can be construed that way, but, anyway, I'll just

19       leave it at that and we can vote this out.

20                 MR. KISER:  Madam Chairman.

21                 CHAIRMAN ARGENZIANO:  Yes, Mr. Kiser.

22                 MR. KISER:  Let me comment on just a couple of

23       thing when it regards the rules of evidence.  As I was

24       taught in law school by one of the country's foremost

25       authorities on evidence, Mason Ladd, when we came to

FLORIDA PUBLIC SERVICE COMMISSION

30

1       this whole idea about what role do the rules of evidence

2       play in the overall scheme of our legal system, the

3       reason that the rules of evidence are what they are is

4       based upon the time honored practice of recognizing

5       things that you can rely on.  Things that you can -- you

6       know, like the sun coming up every day and the moon

7       coming out at night and those sort of things.  And that

8       the rules of evidence are set to grab those things that

9       people can usually rely on and base trust on.  And that

10       is why when you have the hearsay rule there is, like, 26

11       exceptions.  For example, that when a person is dying

12       and they make comments, it's an exemption to the hearsay

13       rule because people believe that when someone is dying

14       they're probably going to be pretty honest with what

15       they say.

16                 Well, if you take a look at this particular

17       rule, and this is kind of what we are arguing about

18       right now over a pretty fine line, but what's a telling

19       thing to me and why the staff is putting so much

20       emphasis on due process is because as you examine

21       Florida Statute 90.201, for example, which we really

22       haven't talked about, the title of that is "Matters

23       which must be Judicially Noticed".  And they list there

24       three things, and what they are telling you is that when

25       it comes to these three things these are pretty solid

FLORIDA PUBLIC SERVICE COMMISSION

31

1       things, and as a matter of providing due process a court

2       or a judicial body has to take recognition of these

3       items.

4                 Then when you move to the next section, 2002,

5       it's titled "Matters to which may be Judicially

6       Noticed," and it goes on to say and it has a list of a

7       number of items that it is in your discretion.  They are

8       not as solid of items that you can rely on as that first

9       group.  It's a different category, and it's your

10       discretion whether or not you want to rely on.

11                 And then when you go to Section 90.203,

12       "Compulsory Judicial Notice Upon Request," it says a

13       court shall take judicial notice of any matter in 90.202

14       when a party requests it, and -- and then goes on to

15       state when both sides have had plenty of time to review

16       it, and the whole proof of it can be tested, and you

17       have a chance to look at it.  And Item 2 furnishes the

18       court with sufficient information to enable it to take

19       judicial notice.  That right there says then you can --

20       you can also, if a party requests it, you can do it

21       provided those issues have been met.  And the very point

22       that Ms. Helton has been making is those haven't been

23       met, and it's so significant that the statute

24       specifically cites those examples as to when you must do

25       it.

FLORIDA PUBLIC SERVICE COMMISSION

32

1                 So what I would suggest to you, and why staff

2       is leaning so heavily on the proper handling of due

3       process is because this information doesn't rise to the

4       level that other items do.  And that's why you have

5       discretion.  And the fact that the parties haven't been

6       given time, the fact that it is speculative in nature is

7       what gives this body total discretion to say we're going

8       to include it and we're not.  And I would suggest to you

9       that that is why we are emphasizing the due process

10       angle so firmly.

11                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

12                 COMMISSIONER SKOP:  Thank you, Madam Chairman.

13                 And to our General Counsel, to that point, the

14       petitioners responded to the intervenors' request in

15       this case, did they not?

16                 MR. KISER:  Yes.

17                 COMMISSIONER SKOP:  Okay.  So is that not

18       having the opportunity to respond?

19                 MR. KISER:  I would say it was in name only,

20       but in terms of having real time to respond, et cetera,

21       no, in my opinion that doesn't meet the test.

22                 COMMISSIONER SKOP:  Thank you.

23                 CHAIRMAN ARGENZIANO:  Commissioners, do we

24       have a motion, or do you want to move forward?  Any

25       other discussion?

FLORIDA PUBLIC SERVICE COMMISSION

33

1                 Commissioner Klement?  Commissioner Stevens?

2                 COMMISSIONER KLEMENT:  I don't have any.

3                 COMMISSIONER STEVENS:  Are you ready for a

4       motion?

5                 CHAIRMAN ARGENZIANO:  Yes.

6                 COMMISSIONER STEVENS:  I move that we accept

7       staff's recommendation to deny the request to take

8       official notice and to deny the request to reopen the

9       record.

10                 COMMISSIONER EDGAR:  Second.

11                 CHAIRMAN ARGENZIANO:  We have a second.  Any

12       discussion on that?  We are done with discussion.

13                 All those in favor say aye.

14                 (Vote taken.)

15                 CHAIRMAN ARGENZIANO:  Opposed?

16                 Okay.  That's adopted.  Now we will move on.

17                 MR. ELLIS:  Good morning, Commissioners.  My

18       name is Phillip Ellis with Commission staff.  With me

19       today is Erik Sayler with the Commission's General

20       Counsel, as well as other legal and technical staff.

21                 The item before you today is a determination

22       of need for the Gainesville Renewable Energy Center, or

23       GREC project, a 100-megawatt biomass plant in Alachua

24       County.  The Commission previously heard this item at

25       the February 9th Agenda Conference, but GRU requested

FLORIDA PUBLIC SERVICE COMMISSION

34

1       the opportunity to file additional testimony to address

2       several concerns raised by the Commissioners.  A

3       supplemental hearing was held on May 3rd.  The main

4       topics addressed in the supplemental hearing were the

5       Commission's role regarding a need determination for a

6       municipal utility, risk mitigation measures, and fuel

7       availability and sustainability.

8                 As discussed in Issue 7, the Commission's role

9       is to weigh the statutory criteria established in

10       Section 403.519, Florida Statutes, and render a

11       determination on the project as a whole.  In this

12       instance, the utility involved is a municipality which

13       the Commission does not have rate-setting authority

14       over.  Therefore, the Gainesville City Commission is

15       ultimately responsible for all rate impacts associated

16       with this project.  Staff would note if this were an IOU

17       a recommendation might be different.

18                 As discussed in Issues 2 and 4, the need for

19       the GREC project is based on a strategic consideration,

20       fuel diversity, not a conventional reserve margin

21       reliability analysis.  As such, the GREC project is a

22       hedge and is more geared towards lessening the future

23       volatility of rates than overall cost savings.

24                 Based on updated assumptions, the estimated

25       rate impact in 2014 for the GREC project ranges from $3

FLORIDA PUBLIC SERVICE COMMISSION

35

1       to $13 per month for an average residential customer.

2       This represents an improvement over the original

3       hearing.  GRU during the hearing discussed possible

4       actions to mitigate risk including resale of existing

5       assets, long-term fuel contracting, and other measures.

6       If the projections presented at the hearing do not

7       materialize, then staff would expect GRU and the City of

8       Gainesville to respond accordingly in order to minimize

9       any adverse rate impacts.

10                 Another item discussed at the supplemental

11       hearing was fuel availability and fuel sustainability.

12       The record in this proceeding contains multiple studies

13       which show there is an adequate supply of woody biomass

14       available to support the GREC project.  While no

15       contracts have been signed, there are letters of intent

16       and GREC LLC continues to negotiate with suppliers.  The

17       contracts also affords GRU with multiple protections

18       relating to potential higher fuel costs or lack of

19       availability of fuel.

20                 In summary, after considering all of the

21       evidence contained in the record, staff continues to

22       recommend approval of the need for the GREC biomass

23       facility because the project should enhance the overall

24       reliability of the GRU system and can replace older less

25       efficient generation, satisfy a need for GRU to improve

FLORIDA PUBLIC SERVICE COMMISSION

36

1       its fuel diversity and supply reliability, promote the

2       development of renewable generation in Florida, and

3       become the most cost-effective alternative if pending

4       legislation regarding CO2 emissions is enacted.

5                 Staff is available for any questions you may

6       have.

7                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

8                 COMMISSIONER SKOP:  Thank you, Madam Chair.

9                 I just wanted to come out and say that I do

10       have a few questions, but I am in favor of the staff

11       recommendation.  I would like some language placed in

12       the final order which I will get to later, but at the

13       appropriate time I would like to be recognized for a

14       motion regarding the staff recommendation.  But two

15       questions to staff:  With respect to the financial

16       viability of the project, this financial analysis that

17       was done, my first question is if there is no greenhouse

18       gas emissions legislation, the revised analysis shows a

19       negative $56 million net present value over the life of

20       the project, is that correct, and can you explain that a

21       little bit?

22                 MR. ELLIS:  That would be correct.  There are

23       two scenarios that staff looked at the

24       cost-effectiveness, the base case under current

25       environmental regulations and a regulated CO2 case.

FLORIDA PUBLIC SERVICE COMMISSION

37

1       Under the base case there are two scenarios; first,

2       assuming a full resale for the first ten years at

3       contract value, which assumes a $41 million savings over

4       the 30-year life of the project.  That is a net present

5       value.  However, staff quotes the $56 million market

6       price, which is based on the assumption that they would

7       be able to only receive market rates for the capacity

8       and energy.

9                 COMMISSIONER SKOP:  Okay.  And to that

10       specific point, if biomass emissions, you know, do not

11       fall within greenhouse gas rules in terms of being

12       favorably treated, then the benefits that staff has

13       identified as a result of favorable carbon legislation

14       would not accrue to this project, is that correct?

15                 MR. ELLIS:  That would be correct.  We used

16       the Waxman-Markey Bill, specifically, or rather GRU used

17       the Waxman-Markey bill in their analysis of the

18       cumulative present worth savings, and that results in

19       the $448 million number.

20                 COMMISSIONER SKOP:  Okay.  And then just one

21       final question in that regard.  With respect to the

22       56 million in light of no greenhouse gas regulation and

23       the $448 million, assuming conservative assumptions if

24       greenhouse gas legislation were enacted that favored

25       biomass, which is still uncertain at this point.  Did

FLORIDA PUBLIC SERVICE COMMISSION

38

1       those numbers reflect the value of what happens if the

2       plant does not begin construction in time to capture the

3       benefit of the convertible investment tax credit?  I

4       mean, do these numbers recognize that the rates will go

5       up if that convertible investment tax credit is not

6       captured?

7                 MR. ELLIS:  Not in this instance.  There is

8       also a third case, but beyond full contract value and

9       market value there is also a delay case, which I believe

10       assumes market value.  The total cumulative present

11       worth cost of that scenario over 30 years would be

12       approximately 92 million at market rate.

13                 COMMISSIONER SKOP:  Okay.  And so with respect

14       to potential ratepayer impact under the two scenarios,

15       can you just briefly discuss what that might be?

16                 MR. ELLIS:  Under a delay scenario, in 2015

17       they assumed a one-year delay.  At market price for the

18       contract, the rate impact would be $13.29, and the full

19       contract if they would just be able to resell at full

20       contract value, the impact would be $7.59.

21                 COMMISSIONER SKOP:  Okay.  Thank you.

22                 Madam Chair, with respect to my request to

23       make a motion at the appropriate time, I would like to

24       pass out a handout of some language I would like to be

25       expressly included in the final -- Commission's final

FLORIDA PUBLIC SERVICE COMMISSION

39

1       order that addresses risk management, and I'll explain

2       that at the appropriate time and yield to my colleagues.

3       Thank you.

4                 CHAIRMAN ARGENZIANO:  Thank you.

5                 COMMISSIONER EDGAR:  Madam Chairman, are we

6       going to -- I haven't even read this yet, but I will, of

7       course, here in a moment.  Are we going to discuss this

8       now or are we --

9                 CHAIRMAN ARGENZIANO:  I think we should move

10       on to other questions, and then we can come back.  As a

11       matter of fact, what we should do is take a few minutes

12       so that we can digest what this is, and then we will

13       take a few minute break and then come back to do this.

14                 COMMISSIONER EDGAR:  Thank you.

15                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

16                 COMMISSIONER SKOP:  Thank you, Madam Chair.

17       And to that point, again, I'm in favor of approving the

18       staff recommendation; however, I would like this

19       language to be considered to be expressly included in

20       our final order because I think it pertains to risk

21       management issues that need to be expressly addressed

22       that are not fully developed within the staff

23       recommendation.

24                 CHAIRMAN ARGENZIANO:  Okay.  Commissioner

25       Stevens.

FLORIDA PUBLIC SERVICE COMMISSION

40

1                 COMMISSIONER STEVENS:  I'm not -- I'm not

2       ready to go on all of staff's recommendations, so can we

3       take each issue one by one, please.

4                 CHAIRMAN ARGENZIANO:  I was just going to say

5       that.  I think we would probably want to go

6       issue-by-issue, and if staff would start.  Of course, we

7       have already taken up Issue 1.  That is not on the

8       table.  It's 2 to 7.  So, staff.  Thank you.

9                 COMMISSIONER EDGAR:  While we are doing it,

10       could we get additional copies of this to the staff over

11       to our left?  I would appreciate that.

12                 CHAIRMAN ARGENZIANO:  To all of our staff,

13       please.  Thank you.

14                 COMMISSIONER EDGAR:  And to the right.

15                 MS. HELTON:  Ms. Brubaker went to make some

16       copies.

17                 CHAIRMAN ARGENZIANO:  Okay.  Thank you.  And

18       on Issue 2?

19                 MR. ELLIS:  Issue 2 is the need for the power

20       plant based on electrical system reliability and

21       integrity, and in this instance, GRU does not have a

22       strict reserve margin need for capacity until

23       approximately 2023 when the Deerhaven 1 unit is retired;

24       however, the facility can improve their system by adding

25       additional baseload generation.  The GRU system does

FLORIDA PUBLIC SERVICE COMMISSION

41

1       have a large amount of peaking -- combustion turbine

2       peaking units that they are retiring over the term of

3       the contract as well as slightly before, so it can

4       provide additional baseload capacity during outages,

5       especially the Deerhaven 2 unit which represents about

6       30 percent of GRU's capacity and about 50 percent of the

7       city's load.

8                 CHAIRMAN ARGENZIANO:  Commissioners, questions

9       on Issue 2?  Okay.  We'll move on to Issue 3.

10                 MR. ELLIS:  Issue 3, which begins on Page 12

11       of staff's recommendation, is the need for adequate

12       electricity at a reasonable cost, and this is highly

13       related to Issue 6, which discusses both the rate impact

14       as well as the cumulative present worth value of the

15       project over time.

16                 In this instance, the cumulative -- the

17       economics of the project are somewhat uncertain based

18       upon carbon legislation.  If the current environmental

19       laws and regulations continue, it does represent a

20       negative $56 million loss net present value to GRU.

21       However, if specifically the Waxman-Markey legislation

22       which includes both carbon regulation and a RPS is

23       passed, they could benefit up to $448 million net

24       present value.

25                 CHAIRMAN ARGENZIANO:  Commissioners?  No

FLORIDA PUBLIC SERVICE COMMISSION

42

1       questions?  Okay.  We'll move on.

2                 Issue 4.

3                 MR. ELLIS:  Issue 4 of staff's recommendation

4       is on Page 17, and it's the need for fuel diversity and

5       supply reliability.  This is really the primary driver

6       of the GREC project.  The GRU system is heavily

7       dependent upon coal and will continue to be so into the

8       future.  They are currently projecting that by 2014 when

9       the facility would come on-line they would rely

10       73 percent upon coal which is burned only at a single

11       unit on the GRU system, Deerhaven 2.  With the addition

12       of the GREC project they could reduce that to

13       approximately 51 percent and have a very large amount of

14       renewable energy on their system.

15                 In addition to reducing coal and natural gas

16       usage, it reduces their CO2 emissions with the

17       assumption that biomass is considered carbon neutral.  I

18       believe during the testimony it was stated that the

19       biomass emissions, assuming land vegetation, but

20       including diesel used for gathering fuel, et cetera, was

21       approximately 4 to 5 percent.  I could be mistaken with

22       that number, but a very low percentage of a conventional

23       coal unit by comparison.

24                 Also, they suggested in terms of supply

25       reliability that it would provide for them additional

FLORIDA PUBLIC SERVICE COMMISSION

43

1       modes of transport for fuel.  Currently they are

2       dependent upon rail for coal for the Deerhaven Unit and

3       for a single pipeline for natural gas.  So any

4       disruption either in the single rail line or the single

5       pipeline could result in them having insufficient fuel.

6       So this would provide an additional surface mode of

7       transportation using tractor-trailer trucks to provide

8       fuel for the GRU.

9                 CHAIRMAN ARGENZIANO:  Commissioner Stevens.

10                 COMMISSIONER STEVENS:  Have they had any

11       issues providing reliable service?

12                 MR. ELLIS:  Not at this time in terms of

13       meeting their capacity needs, but it's a question

14       somewhat of economics.  The Deerhaven 2 unit has had a

15       few instances where it was off-line for some periods of

16       time.  In 2008, I believe, they were completing an

17       emissions upgrade -- or 2006.  But there was an

18       emissions upgrade of the coal unit, and during that

19       period of time they rely upon purchased power and

20       relatively inefficient natural gas units.  So it's a

21       question of cost.

22                 Replacement power for the project tends to

23       cost more than the coal itself, so they would like an

24       additional source of native generation that they would

25       be able to rely upon.  In fact, they have several units

FLORIDA PUBLIC SERVICE COMMISSION

44

1       in 2008 that they ran at less than 1/8th of one percent.

2       I believe about 50 megawatts of combustion turbine

3       peaking, because they are using a contract they

4       currently have with Progress Energy for lower cost

5       baseload generation.  So they are seeking additional

6       native supplies instead of having to rely upon purchased

7       power contracts for more economic fuel.

8                 COMMISSIONER STEVENS:  Thank you, Madam Chair.

9                 CHAIRMAN ARGENZIANO:  Any other questions,

10       Commissioners?  Okay.  We'll move on to Issue 5.

11                 MR. ELLIS:  Issue 5 on Page 21 of staff's

12       recommendation is whether there are any renewable energy

13       sources or technologies or conservation measures

14       reasonably available to GRU which might mitigate the

15       need for the project.  This project is itself considered

16       a renewable under Florida Statutes and is one of many

17       projects that GRU is engaged in.  They also, I believe,

18       have purchased power agreements with landfill gas as

19       well as a notable solar feed-in tariff.

20                 As for conservation measures, they, as of I

21       believe 2006, have adopted the total resource cost test

22       for their energy conservation and been heavily engaged

23       in that area.  As for whether these would be able to

24       mitigate the facility since their concern is fuel

25       diversity and relying so heavily upon coal, I don't

FLORIDA PUBLIC SERVICE COMMISSION

45

1       believe conservation in this instance would be able to

2       significantly change the fuel types available for power

3       generation.  And, as for the renewable aspect, it is a

4       renewable.

5                 CHAIRMAN ARGENZIANO:  Commissioners.  Okay.

6       Issue 6.

7                 MR. ELLIS:  Issue 6 is whether the GREC

8       project is the most cost-effective alternative, and it's

9       also related to the previous Issue 3.  In the

10       supplemental hearing they discussed a variety of updates

11       that we had to the initial numbers that resulted in the

12       negative 56 million and the positive 448 million

13       depending upon which scenario occurs in terms of carbon

14       regulation and in terms of RPS.  There is some

15       uncertainty as to which those may be.

16                 Overall, I believe, Witness Regan stated that

17       one of the advantages of this project is not necessarily

18       that they are going for the least cost, but the most

19       price certainty.  That they view price stability as

20       being an advantage.  Overall the project acts as a

21       carbon hedge.

22                 In most legislation that has recently come

23       before Congress, biomass is considered carbon neutral

24       and this project also would be considered renewable and

25       possibly be able to sell renewable energy credits based

FLORIDA PUBLIC SERVICE COMMISSION

46

1       on any federal or state RPS that could develop over the

2       30-year life.  So overall they are hoping for the

3       environmental attributes of the project to be able to

4       contribute economically and make up for the system.

5                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

6                 COMMISSIONER SKOP:  Thank you, Madam Chair.

7                 And to that point, staff had characterized the

8       pending state of regulation.  If regulation were to

9       change, that would have differing financial impact on

10       the project, is that correct?

11                 MR. ELLIS:  Most definitely.

12                 COMMISSIONER SKOP:  Okay.  And then with

13       respect to the staff analysis, they indicated that if

14       this project were brought forward as a petition by an

15       investor-owned utility that staff may have a different

16       view, or I forgot what the words are.  Can you clarify

17       those for me?

18                 MR. ELLIS:  That would be correct.  The

19       recommendation may be different in that we do not have

20       rate-setting authority over a municipality, such as GRU,

21       and with an IOU we have a greater set of authority.

22       This specifically is a purchased power agreement, and

23       traditionally what has been recommended has been up to

24       avoided cost for the utility, and above that the

25       shareholders would take on that portion, and that would

FLORIDA PUBLIC SERVICE COMMISSION

47

1       be considered the purchase of the environmental

2       attributes of the facility.  And it would be up to the

3       shareholders to either profit from that or potentially

4       have a loss depending upon whether or not the power was

5       economical at the time.

6                 COMMISSIONER SKOP:  Okay.  So under the

7       existing state of environmental regulation and

8       Commission precedent, that if an IOU, investor-owned

9       utility were to bring this petition before the

10       Commission most likely it would be denied, is that

11       correct?

12                 MR. ELLIS:  I don't necessarily know if it

13       would be denied, it would merely have a different price

14       controls.  We have different authority over them, so the

15       price above avoided cost would be directed toward the

16       shareholders.  In this instance, the citizens of

17       Gainesville are the shareholders of the utility

18       effectively, so I'm not entirely certain of that.

19                 COMMISSIONER SKOP:  Has the Commission ever,

20       to your knowledge, approved a power purchase agreement

21       above avoided cost for an investor-owned utility?  I'd

22       prefer Mr. Ballinger to respond, please.

23                 MR. BALLINGER:  Not that I'm aware of.

24                 COMMISSIONER SKOP:  Thank you.

25                 CHAIRMAN ARGENZIANO:  Commissioner Edgar.

FLORIDA PUBLIC SERVICE COMMISSION

48

1                 COMMISSIONER EDGAR:  I think Commissioner Skop

2       and I are kind of looking at the same language.  I was

3       going to ask and am still going to ask a few comments

4       and questions about the last few sentences at the end of

5       the conclusion on Page 39.

6                 The first is the statement, the last sentence

7       at the end of the next to the last paragraph, again, on

8       Page 39 that states, "If projections presented at the

9       hearing do not materialize, then staff would expect GRU

10       and the City of Gainesville to respond accordingly in

11       order to minimize any adverse impacts."  I think, I

12       hope, and believe that it almost goes without saying

13       that we would expect any public entity to do whatever

14       they could to minimize adverse impacts in general, so

15       I'm wondering what is the more specific meaning, intent,

16       or message in that statement?

17                 MR. BALLINGER:  If I may, Commissioner.  That

18       was more to clarify since it's a municipality, the

19       Commission will not have a second review of this as we

20       would with an investor-owned utility.  Let's say an

21       investor-owned utility was going to build a renewable

22       facility like this that was above avoided cost.  They

23       would have to come back in later for cost-recovery to

24       put in base rates and the Commission would have an

25       opportunity to review those costs to see did they act

FLORIDA PUBLIC SERVICE COMMISSION

49

1       prudently as circumstances changed.  We do not have that

2       authority with GRU, and that is why we are just

3       suggesting that they continue to monitor that as their

4       IOU counterparts do.

5                 CHAIRMAN ARGENZIANO:  I have a question first.

6       Commissioner Skop.

7                 COMMISSIONER EDGAR:  Go ahead.

8                 CHAIRMAN ARGENZIANO:  No, no.  If you're not

9       finished, we'll wait.  I'm next, and then you go after

10       me.

11                 COMMISSIONER EDGAR:  All right.  I still --

12       and I do understand what you are saying, and I think we

13       even have talked about this once or twice, or probably

14       more in staff briefings, you and I and others.  I,

15       again, am just not sure what the actual meaning, weight,

16       value, authority, et cetera, of that particular

17       statement is in the context of this order for this case.

18       But I'm going to go on from that because we may have

19       further discussion that might help clarify.

20                 In the next paragraph right below that there

21       is this discussion which was just touched on about some

22       of the referencing, I believe, some of the differences

23       in our authority over an investor-owned utility versus

24       our authority under statute for a municipal, and that is

25       a point that I think is very germane.  It certainly is

FLORIDA PUBLIC SERVICE COMMISSION

50

1       in my thinking, and we have discussed and I think the

2       staff did an excellent job of helping to analyze and

3       think through those issues after the first hearing, and

4       then additionally after the supplemental.

5                 But with that, the statement that staff notes

6       that if the petitioner were an IOU our recommendation

7       may have been different, again, it seems somewhat

8       gratuitous to me to put in what may be a final order,

9       and so that is why I'm asking and want to understand.  I

10       would think that any order or action of this Commission,

11       I believe, is very specific to the record that is before

12       us which is, therefore, always going to be unique and

13       specific.  And certainly it is helpful to look at past

14       actions and other relevant things, but yet every

15       decision is unique to the unique record.  And so what is

16       the purpose of this last statement that our

17       recommendation may be different on a project that may

18       come at some point in time that we have no information

19       about?

20                 MR. BALLINGER:  Okay.  We were trying to

21       distinguish this to make it very clear that this is a

22       municipality and that's what makes it different, as

23       opposed to an IOU.  The statute, the need statutes don't

24       make that distinction.  The 403.519, the criteria you

25       must evaluate do not make that distinction.  It's other

FLORIDA PUBLIC SERVICE COMMISSION

51

1       statutes that make that distinction, and that is why we

2       thought it was important to make that clarity in this

3       order.  In can be in the order or not in the order, that

4       doesn't matter.  We wanted to make it clear to you all

5       that that is the distinction.

6                 COMMISSIONER EDGAR:  It seems a tad gratuitous

7       to me, but I will try to not beat it to death.  And I

8       may have an additional comment, but I would like to hear

9       what you all have to say.  Thank you.

10                 CHAIRMAN ARGENZIANO:  Thank you.

11                 Because that is an area -- because the rates

12       and the costs are not something that we regulate or can

13       regulate in the future, and because it's clear -- I

14       mean, you have made it clear and it's clear in the

15       statute that we do not regulate them, but because of

16       that, when I look at the need determination language and

17       the criteria, I, as a Commissioner, need to look at, I

18       mean, in just two of those, and I'm going to go through

19       some of them later when we get to the end of the

20       hearing, but two of them that really stick out in my

21       mind concerning this issue is the need for adequate

22       electricity at a reasonable cost, and then whether the

23       proposed plant is the most cost-efficient alternative

24       available.

25                 I can't get that answer, and because of the

FLORIDA PUBLIC SERVICE COMMISSION

52

1       fact that we wouldn't be looking at this later on, and,

2       of course, it is up to the City Commission then at that

3       point, and to ultimately be responsible to its citizens,

4       but I think it's incumbent upon me, I think, now to

5       really -- not now, but in this order speaking at this

6       issue at this time, looking at the statute that says

7       these are the criteria we will look at.  And I'm kind of

8       like going like this, because there are criteria that

9       are in the statute that this project clearly falls

10       under.

11                 But the one that sticks out the most is this

12       issue for me, because it says whether the proposed plant

13       is the most cost-effective alternative available, and it

14       could go either way.  So I am sitting here with a great

15       big unknown.  And, as I say, there is other criteria in

16       there that fit very nicely in this project, but with

17       that one I'm having the hardest time.  And I think that

18       you are pointing it out at that point on Page 39 just

19       says, hey, be aware that you don't have this down the

20       road, it belongs to the City Commission, and rightfully

21       so.  But because of that, I think it strengthens that

22       language -- part of that language in that need

23       determination that I have to look at.

24                 It makes me have to say, well, I can't get the

25       answer to that, so perhaps I need to be -- it needs to

FLORIDA PUBLIC SERVICE COMMISSION

53

1       be clearer, the answer, and I don't see a clear answer

2       as to if it is the most cost-effective.  And the reason

3       to needs to be clearer to me is because down the road we

4       have no say to that, and I just don't know how that

5       fits.

6                 You know, when you look at the other criteria

7       that's there it says, you know, that the conservation

8       measures, the renewable energy sources, I mean, that's

9       nice, and that goes along with the plant, but I feel

10       like because we don't regulate rates down the road that

11       it's more important to make sure I have some idea of

12       whether this plant is the most cost-effective

13       alternative.  And I guess even your recommendation is

14       saying is we just don't know that, is that correct?

15                 MR. BALLINGER:  Yes, ma'am.  I think staff

16       said there is a great deal of uncertainty in the

17       economics of this at this time.

18                 CHAIRMAN ARGENZIANO:  And it could be that it

19       is the most cost-effective, depending on what happens in

20       the future, and then, again, it could be just the

21       opposite.

22                 MR. BALLINGER:  Yes.

23                 CHAIRMAN ARGENZIANO:  But for me today to look

24       at each criteria, I'm looking and I'm checking off the

25       ones that apply, but I can't check this one off and that

FLORIDA PUBLIC SERVICE COMMISSION

54

1       is concerning to me.

2                 All right.  Thank you.

3                 Commissioner Skop.

4                 COMMISSIONER SKOP:  Thank you, Madam Chair.

5                 And to your point, and then I will go to

6       Commissioner Edgar's point that she raised.  Again, I

7       think Mr. Ballinger is certainly right that there is a

8       lot of uncertainty associated with the

9       cost-effectiveness of this project and that the success

10       or failure of the proposed generating unit will not be

11       determined for many year hereafter.  So, again, there is

12       some risk that is being taken here on behalf of the

13       ratepayers by GRU.

14                 That being said, you know, GRU is not an

15       investor-owned utility.  We have no jurisdiction over

16       the rates as has been mentioned.  So, you know, in

17       balancing the interest of the need determination under

18       the statute versus acquiescing to local rule, what's

19       best for the community, you know, I don't know if that

20       tips the scales one way or not.

21                 But I think Commissioner Edgar raised an

22       excellent point on Page 39 to the extent that

23       projections presented at the hearing do not materialize,

24       then staff would expect GRU and the City of Gainesville

25       to respond accordingly or minimize any adverse rate

FLORIDA PUBLIC SERVICE COMMISSION

55

1       impacts.

2                 I think the issue with that is once this need

3       determination is granted, it is out of our hands and the

4       cost is already incurred.  There's no going back,

5       because this is a power purchase agreement, and the City

6       has committed, or GRU has committed on behalf of its

7       ratepayers to purchase 100 percent of that power at the

8       contractual rate under a long-term contract.  So that is

9       a sunk cost.  How do you mitigate that cost?  You sell

10       excess power, you sell excess generation, you do other

11       things that get to the gist of why I think it's so

12       important to put this express language in the order

13       should the Commission approve the petition before us.

14                 But I do want to distinguish one point which

15       actually, I think, Mr. Ballinger, you caused me to think

16       there, which is a good thing.  Typically, the Commission

17       does not approve a need determination for a power

18       purchase agreement, is that correct?  Because I remember

19       we had a Gulf case awhile back, and I think that was

20       pretty much a PAA item.  We just approve it, and once

21       it's approved it's deemed to be a prudently incurred

22       cost.  Is that generally correct?

23                 MR. BALLINGER:  We have had a handful of joint

24       petitions where it's a power plant and a purchased power

25       agreement, some with IOUs.  One I can think of is one

FLORIDA PUBLIC SERVICE COMMISSION

56

1       with FPL and Cypress Energy.  It was a purchase power

2       agreement and a new power plant at the same time.  There

3       was actually two dockets, one for the need determination

4       and one for approval of the contract for cost-recovery.

5       So it's not uncommon that we can have this, but in GRU's

6       case we are not approving cost-recovery of the contract

7       because they are a municipal.

8                 COMMISSIONER SKOP:  Right.  But typically in a

9       need determination that is brought before us by an

10       investor-owned utility, it's typically the utility

11       itself building the project subject to prudency review

12       and cost recovery based upon, you know, whether it was

13       feasible to proceed.  And here because of the nature,

14       once this Commission grants approval, then basically

15       it's out of our hands and it's in the lap of GRU and the

16       City of Gainesville in terms of the success or failure

17       of the project.

18                 MR. BALLINGER:  Yes, sir.

19                 COMMISSIONER SKOP:  All right.  Thank you.

20                 CHAIRMAN ARGENZIANO:  Commissioners?

21       Commissioner Klement?  No?  Okay.

22                 Should we take -- how about we take a

23       ten-minute break.  I haven't even read this yet, and

24       then we will move on to Issue 7.  Take a ten-minute

25       break.  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

57

1                 (Recess.)

2                 CHAIRMAN ARGENZIANO:  Maybe we should just go

3       ahead and start and go on to Issue 7 and wait for the

4       copies to come down.  So if -- staff, if you're ready,

5       we can jump right into Issue 7.  Thank you.

6                 MR. ELLIS:  Issue 7 is based on the resolution

7       of the foregoing issues.  Should the Commission grant

8       the petition to determine the need for the proposed

9       Gainesville Renewable Energy Center?  And staff

10       recommends approval of the project based upon the

11       strategic need of fuel diversity specifically.

12                 In addition to that, however, it does have

13       other characteristics that improve GRU's system with the

14       addition of baseload generation.  It also shows

15       potential for savings and functions as a carbon hedge

16       against potential future carbon or renewable energy

17       regulation.

18                 CHAIRMAN ARGENZIANO:  Commissioners?

19                 Okay.  It looks like Commissioner Stevens.

20                 COMMISSIONER STEVENS:  Since we've gone

21       through these issues and the testimony from the

22       witnesses, and looking at Florida Statute 403, and like

23       you, Madam Chair, working through the requirements that

24       we need to look at for the determination of need, I

25       think that this is a very high risk project that we're

FLORIDA PUBLIC SERVICE COMMISSION

58

1       getting into.  And with that risk, even though there's

2       some hedging here and there, I'm not sure this is

3       cost-effective, we're not told that it's cost-effective,

4       I don't know if it's providing electricity at a

5       reasonable cost.  It does have fuel diversity, but I

6       don't think the capacity is required.  And so I'll

7       listen to discussions from other Commissioners, but I'm

8       kind of having a hard time with the project.

9                 CHAIRMAN ARGENZIANO:  Thank you, Commissioner

10       Stevens.

11                 COMMISSIONER STEVENS:  Thank you.

12                 CHAIRMAN ARGENZIANO:  Commissioner Klement.

13                 COMMISSIONER KLEMENT:  Thank you, Madam Chair.

14                 I have studied this long and carefully myself.

15       I think I'm satisfied that it meets enough of the

16       requirements for need to feel favorably toward the

17       project.  I think that it has the, satisfied the need

18       for reliability and integrity which are spelled out, the

19       need for generating at a reasonable cost, for fuel

20       diversity and supply reliability.  And though the need,

21       the margin, 15 percent margin need is not identified

22       until 2023, true, we should consider the long lead time

23       for plant approval.  And when you do consider that, as

24       we heard in the hearing earlier this month, that window

25       isn't as broad as it looks from '10 to '23.  It closes

FLORIDA PUBLIC SERVICE COMMISSION

59

1       quite a bit.

2                 And I think it's prudent to consider the

3       longer range needs of this utility and of Florida's

4       commitment to, to renewables.  We, we want to promote

5       renewables, we say, and every time they come up, we have

6       to consider the cost to the ratepayer, of course.  But

7       in this case it is not our job to consider the cost to

8       the ratepayer beyond what the statute says.  It's the

9       Commission of Gainesville, City Commission, which serves

10       as the board of directors of that utility.

11                 So as someone mentioned on the staff, I think,

12       that the citizens, the ratepayers are the shareholders

13       of that utility, and it's up to that board of

14       commissioners/directors to set the rates that their,

15       their ratepayers can accept.  And if they are very

16       unhappy with them, then they'll take action at the next

17       election.  It is not our responsibility to make that

18       decision.

19                 I think this is an ideal time -- opportunity

20       for us to approve a renewable project.  Certainly there

21       are questions about it, and Commissioner Skop's points

22       in his addendum that he's passed out are well-taken.  I

23       don't have a problem adding them to the record.  I think

24       the actual record itself, the staff recommendations take

25       into account those points in one form or another

FLORIDA PUBLIC SERVICE COMMISSION

60

1       throughout the recommendation.  So -- but I don't have a

2       problem adding those points.  I just think that this is

3       a real opportunity for us to make a statement about a

4       commitment to renewables that we have the authority to

5       do.

6                 CHAIRMAN ARGENZIANO:  Thank you.

7       Commissioners?  Okay.  Thank you.

8                 My comments are basically what I said before.

9       While I love renewables, I think it's my personal

10       opinion -- that I'm not looking at my personal opinion

11       here.  What I'm sticking to -- because there are so many

12       good things about this, this plant and then there are

13       things in the statute that I can't get fine answers to.

14       So I'm not making a determination on the merits of the

15       plant as far as renewables or what the rates will be in

16       the future because we don't regulate the rates.

17                 What I'm looking at strictly is what I'm being

18       asked at the statute, at the statutory, by the statutory

19       language, and under the exclusive forum for

20       determination of need.

21                 Well, number one, staff says there is no

22       current need.  It will enhance the reliability, which is

23       something to take into consideration when you look

24       overall.  But the statute doesn't say that to me.  It

25       doesn't say does this enhance?  It says the need and it

FLORIDA PUBLIC SERVICE COMMISSION

61

1       talks about the reliability of the system.  So even that

2       I could say, okay, we can, we can get that in the mix

3       here.

4                 But -- so to your points, which are

5       well-taken, I commend the, the moving forward of

6       renewables.  We need to be doing that because there seem

7       to be so many roadblocks.  My problem is, as I've said

8       before, as I read the statutes -- and if the Legislature

9       wants to change them, that's up to them.  But they've

10       charged me as a Commissioner and the rest of us, take it

11       the way you read it, with making sure that I shall,

12       shall take into account these criteria.  It doesn't say

13       some, it says these.  And if it said you can pick and

14       choose, well, then I could do that easily because there

15       are a lot of things that I said before I could check off

16       and say they apply, but not all of them.

17                 I can't find an answer to is this plant the

18       most cost-effective alternative available?  And then I

19       can't answer -- will it meet -- or the need for adequate

20       electricity at a reasonable cost.  Well, I can't

21       determine that because I don't know whether it's the

22       most cost-effective alternative available to me.

23                 So given that, I have no -- I can't express

24       any, any unsatisfaction about trying to move forward

25       with alternatives and biomass.  You know, I'm a

FLORIDA PUBLIC SERVICE COMMISSION

62

1       supporter, I believe in -- going to move forward with

2       these plants.  I just look at the statute and I'm taking

3       it as a strict reading of the statute that I cannot --

4       as it says, shall take into account and it gives me a

5       list.  I can't answer a couple of those, and that's the

6       problem I have.

7                 COMMISSIONER KLEMENT:  Madam Chair.

8                 CHAIRMAN ARGENZIANO:  Commissioner Klement,

9       yes.

10                 COMMISSIONER KLEMENT:  What, what section are

11       you referring to in making that judgment?

12                 CHAIRMAN ARGENZIANO:  403.519.

13                 COMMISSIONER KLEMENT:  Okay.  But what about

14       Section 366.92(1), "Aim of the Legislature to promote

15       the development of renewable energy, diversify the types

16       of fuel and generating plants, lessen the dependence on

17       natural gas and fuel oil, minimize the volatility of

18       fuel costs and minimize costs to utilities on their

19       customers?"  Aren't we required to consider that

20       statute?

21                 CHAIRMAN ARGENZIANO:  Of course you are in its

22       proper forum, I guess, before us.  I can't neglect to

23       look at 403.519 because, after all, what's in front of

24       me right now is a determination for need.  So I'm

25       definitely going to look at that statute as being what

FLORIDA PUBLIC SERVICE COMMISSION

63

1       is the criteria I use for this that's in front of me

2       today?  And in other cases that we've had, I agree, you

3       know, and I agree with the policy of the Legislature,

4       and that could change at any time, you know.  But I

5       can't neglect 403.519 either.

6                 COMMISSIONER KLEMENT:  Madam Chair.

7                 CHAIRMAN ARGENZIANO:  Yes, please.

8                 COMMISSIONER KLEMENT:  May I ask the legal

9       staff, didn't we hear in the hearings, I don't have the

10       record in front of me, I think an assertion by

11       Gainesville that if the, if the case met one of the

12       requirements of the statute that the Chairman refers to,

13       that it can be approved, the need is there?  Is that

14       true?  Is my memory serving me?

15                 MR. SAYLER:  Commissioner Klement, case law

16       requires that the Commission consider each and every one

17       of the statutory criteria and make a finding on it.  How

18       the Commission weighs each and every one of the

19       statutory requirements is up to the Commission itself.

20                 There have been times in the past, and it's

21       cited in our recommendation, where a determination of

22       need was granted when there wasn't a strict need for

23       reliability such as during the old days of the oil

24       embargo where the Commission approved authorization of

25       coal plants and then later on natural gas-fired plants

FLORIDA PUBLIC SERVICE COMMISSION

64

1       for reasons other than a strict reliability need.

2       However, that was in that time and place.  And so, yes,

3       there have been times when -- I will turn it over to

4       Mr. Ballinger if he has further comment there.

5                 MR. BALLINGER:  Just one more thing, and it

6       goes really to earlier Commissioner Edgar asked about

7       the process of certification, that the need is one step

8       in a three-step process.  We are the sole forum for

9       determination of need; that is correct.  And our order,

10       along with the DEP's order, recommended order on air

11       permits, will go before the Governor and Cabinet to

12       weigh the environmental impact versus the perceived need

13       for the project and make the final certification.

14                 So your need can be couched in terms of needed

15       for either fuel diversity or needed for a variety of

16       reasons, not -- and your order, your full order will go

17       before the Governor and Cabinet.  So does -- do you, do

18       you have to have a yes on each one of those criteria?  I

19       don't believe so.  But the Commission is required to

20       consider each one and make, as Mr. Sayler said, make a

21       finding on that.

22                 CHAIRMAN ARGENZIANO:  That's -- I want to be

23       very careful because what you just said was a little,

24       little bit -- I'm not sure I agree with that.  The

25       statute says to me that I shall take into account and

FLORIDA PUBLIC SERVICE COMMISSION

65

1       then it lists criteria, and I have to take those into

2       account.

3                 MR. BALLINGER:  Correct.

4                 CHAIRMAN ARGENZIANO:  I could love the

5       project, but if I'm strictly doing what I think is my

6       job and adhering to the statute, then I take the

7       criteria one by one, and I can't say that I can answer

8       two of those.  So it's, it's my opinion, someone else

9       may be able to answer that for themselves, but even

10       staff's recommendations do not answer all the criteria.

11                 MR. BALLINGER:  You're exactly right.  And if

12       it gives you pause because those two you can't get

13       answers to, you're fully within your right to deny the

14       need.  That's fine.

15                 CHAIRMAN ARGENZIANO:  Truthfully if it was

16       that I could look at individual ones and say, well,

17       there is this section here or this, or three of these

18       really have a checkmark, then it would be real easy for

19       me to do.

20                 COMMISSIONER KLEMENT:  May I ask Mr. Sayler --

21                 CHAIRMAN ARGENZIANO:  Please.

22                 COMMISSIONER KLEMENT:  -- does it say they

23       must, that the Commission must, must, that it must meet

24       all of those?

25                 MR. SAYLER:  No, Commissioner Klement.  The

FLORIDA PUBLIC SERVICE COMMISSION

66

1       statute doesn't require an affirmative yes on each of

2       the criteria.  It can be a balancing and a weighing

3       test.  There have been times when the Commission, like

4       when the coal plants were approved in the '80s --

5                 CHAIRMAN ARGENZIANO:  I'm sorry.

6                 COMMISSIONER KLEMENT:  So, Madam --

7                 CHAIRMAN ARGENZIANO:  But, again, that's

8       confusing because what I'm saying is the statute says --

9       it doesn't say an affirmative.  It says you shall take

10       into account.  That's a very different thing we're

11       saying.  I'm not saying that it says you have to say yes

12       or no.  You shall take into account.  And by my personal

13       accounting and reading what the statute's criteria are,

14       I can't get an answer to two of those things, so I can't

15       account for those.

16                 COMMISSIONER KLEMENT:  Okay.  Well, I can --

17       that's, that's -- I can take those things into account

18       and come out with a positive view toward it.

19                 CHAIRMAN ARGENZIANO:  And I appreciate that.

20       If you could tell me what they are or how you found that

21       it is cost-effective, that may help me in making a

22       different decision for most of it.

23                 COMMISSIONER KLEMENT:  Well, if I may, if I

24       may use the math that came from the -- I forget what

25       point it is -- oh, it's in Issue, both Issues 3 and 6,

FLORIDA PUBLIC SERVICE COMMISSION

67

1       they pointed, the staff recommendations pointed out a

2       cost risk of $56 million under the worst-case scenario

3       regarding environmental regulations, fuel costs and so

4       forth.  But they pointed out a $448 million savings over

5       the life of the project under the best-case scenario

6       where they do have wholesale sales of their excess

7       capacity where they are required to meet certain

8       emission standards and penalties for not doing so.

9                 And I would just ask the Commissioners, if you

10       have -- if you face this fork in the road and you have

11       to take one of them, you have a 50, roughly, let's just

12       round it up and say a $50 loss or the potential for a

13       $500 gain, which fork seems most reasonable?  To me, the

14       right fork where you have the potential to save $500 or

15       in this case 500, almost $500 million for the

16       ratepayers.

17                 CHAIRMAN ARGENZIANO:  And I understand that

18       and I read that and even have it highlighted.  But if

19       you read in there, the first line that says there is

20       considerable uncertainty, and then it goes on to say the

21       project could.  There's no certainty there.  Could --

22       there's many, many scenarios that can play out, so I

23       can't count on those numbers.  I don't know what the

24       numbers will ultimately be because I don't know what the

25       language is ultimately going to turn out to be.  That's

FLORIDA PUBLIC SERVICE COMMISSION

68

1       where I have uncertainty, and that's why said staff said

2       is considerable uncertainty.  I do understand what

3       you're saying.  If it was clear to me, trust me, it

4       would be real easy for me.

5                 COMMISSIONER KLEMENT:  Madam Chair, what in

6       life is certain?  I was certain I was going to be

7       confirmed.

8                 CHAIRMAN ARGENZIANO:  There are certain

9       things, and I know that some day I'll be dead and I know

10       that I'm going to pay taxes, so.  But I understand.

11                 Commissioner Skop.

12                 COMMISSIONER SKOP:  Thank you.  Thank you,

13       Madam Chairman.

14                 And a couple of questions for staff.  But to

15       Commissioner Klement's point that he just raised on the

16       financial sensitivity analysis, whether it be positive

17       or negative, if there is no environmental regulation or

18       if the environmental regulation that may or may not be

19       enacted is unfavorable to biomass, it should be readily

20       apparent that if these environmental regulations change

21       substantially affecting the underlying assumptions, that

22       this project is not going to be positive for ratepayers.

23       You know, there's analysis that does not consider the

24       effect of not meeting the deadline for convertible

25       investment tax credits, which I think takes it down to

FLORIDA PUBLIC SERVICE COMMISSION

69

1       $92 million negative net present value for the

2       ratepayers.

3                 So, yes, there are, you know, tradeoffs and

4       risks associated with everything, and I do agree with

5       your position because I will be supporting the project.

6       But my reasons align more with what I'm hearing from

7       Commissioner -- I mean, Chairman Argenziano and

8       Commissioner Stevens to the extent that why would you

9       assume the risk if you have no need for additional

10       generation?  And I think that your point is well-taken

11       about the time frame for siting a power plant.  But, you

12       know, I think that that was within the record evidence a

13       little bit misstated because typically, you know, you

14       have a large IOU like Florida Power & Light can put up a

15       large four-on-one combined cycle plant within three

16       years, four years of the granting of a need

17       determination.

18                 So even if this project were to be denied, I

19       have no doubt that GRU could be well positioned to put

20       in a combined cycle plant way before 2023 ever got here.

21       But I think that the points you raise are relevant.  I

22       think that, you know, the success or failure of the

23       proposed project is not going to be determined for many

24       years, and there's a lot of key assumptions that are not

25       known, not yet definitized and, you know, essentially it

FLORIDA PUBLIC SERVICE COMMISSION

70

1       involves substantial risk that GRU is taking on behalf

2       of its ratepayers.  Whether that risk pays off or not is

3       still speculative at best, and I think that's the

4       consternation that my colleagues are probably facing in

5       terms of looking at, you know, what are the statutory

6       criteria, noting that we don't regulate rates, but

7       noting that we had a hand in this approval process?

8                 And I think that's the notion of why I feel

9       that having this express language in a separate risk

10       management section is so important because to some

11       regard it identifies these risks.  And, yes, they are

12       explained within the staff recommendation, but the staff

13       recommendation doesn't really homogenize them into one

14       concise statement of here's the risk, plain and simple.

15       It's kind of dispersed and a little, you know, it's

16       stated but it's not stated with here's some major things

17       that you need to be accountable for subject to the

18       granting of approval, and in a way it shifts the burden

19       back to GRU and the City to be accountable to executing

20       this project so that it's executed successfully to the

21       benefit instead of the detriment of its ratepayers.  So

22       I think that your points that you made were, were very

23       well taken.

24                 To the point that you also made about the

25       statutory provisions and the discussion that you engaged

FLORIDA PUBLIC SERVICE COMMISSION

71

1       in with the Chairman, under 403.519, Florida Statutes,

2       it lists the specific statutory provisions that the

3       Commission shall consider when granting a determination

4       of need, and that's a specific statute directly on

5       point.  And so the question I had for our legal staff, I

6       know that Commissioner Klement mentioned the general

7       provision that was broad about supporting renewables,

8       but in terms of what's controlling upon the Commission,

9       I would think that this specific statute would control

10       in this instance over a more general statute.  Would

11       that be correct, Mr. Sayler or Ms. Brown?

12                 MR. SAYLER:  Excuse me.  I was conferring with

13       my staff.  Ms. Brown?

14                 COMMISSIONER SKOP:  Ms. Brown, per the

15       question.

16                 MS. BROWN:  Commissioner, 403.519 also says

17       the Commission shall take into account any other matters

18       within their jurisdiction they deem relevant under the

19       circumstances.

20                 COMMISSIONER SKOP:  Okay.  So that does

21       provide --

22                 MS. BROWN:  That goes back to 366, and thus

23       incorporates that section into the more specific

24       statute.

25                 COMMISSIONER SKOP:  By, by generic reference

FLORIDA PUBLIC SERVICE COMMISSION

72

1       then within the provisions of the language.

2                 MS. BROWN:  Yes.

3                 COMMISSIONER SKOP:  Okay.  All right.  Great.

4                 And then just finally too, there's been a lot

5       of discussion about the siting board and how the

6       Commission has sole determination of need.  I have not

7       been able to locate it, but I think that perhaps there

8       may be a change and it may be in relation to

9       transmission siting.  But usually it's a three-step

10       process where it's the PSC, the DEP, and then the

11       Governor and the Cabinet sitting as a siting board.

12                 I seem to remember somewhere, although it's

13       not ready reference, that there is a provision now that

14       allows the process to be a two-step process if it's not

15       contested where the DEP has final authority after the

16       Commission approval, and I wonder if staff is aware of

17       that and what --

18                 MR. BALLINGER:  Yes.  That was enacted a year

19       or two ago.  And basically if there is a stipulation at

20       the land use hearing through the DEP side, the ALJ can

21       remand it back to the Secretary of DEP to issue the

22       final determination of need.  That actually was done

23       with the Seminole coal plant.  It got to that state,

24       went back to the DEP, and things of that nature.

25                 COMMISSIONER SKOP:  Okay.  And, Madam Chair, I

FLORIDA PUBLIC SERVICE COMMISSION

73

1       have no additional questions.  At the appropriate time

2       I'm willing to discuss the proposed language.

3                 COMMISSIONER KLEMENT:  Madam Chair?  Madam

4       Chair?

5                 CHAIRMAN ARGENZIANO:  Commissioner Klement,

6       yes.

7                 COMMISSIONER KLEMENT:  To Commissioner Skop's

8       remarks early in his last exchange, there is a

9       1,000-page bill in Congress now that I believe has

10       bipartisan sponsorship, Republicans and Democrats, to,

11       to begin -- I don't know what's in it because I haven't

12       had the time to read those 1,000 pages, but it is a

13       beginning for emission regulation.  I think we would be

14       imprudent if we didn't consider the almost certainty

15       that that's going to happen sooner or later.

16                 Look out in the Gulf of Mexico.  How many --

17       how much more damage do we need to see before people in

18       this country start getting the message about oil?  And

19       that's not even considering the, the ill will that is

20       generated in the Mideast toward us where we get a good

21       chunk of our oil.

22                 So I think we, in prudence, we should be

23       looking ahead for some of these eventualities, and

24       Gainesville has sought to do that.  We should support

25       them.

FLORIDA PUBLIC SERVICE COMMISSION

74

1                 CHAIRMAN ARGENZIANO:  I'm going to just say,

2       Commissioner Skop, before we go there, that I'd love --

3       you could look at all the environmental, all the Middle

4       East, they don't really like us, all that stuff, but

5       that's not what's before me today.  So I'm trying very

6       hard to keep that separate so that I don't have those

7       things muddy my decision or change -- or move me away

8       from what I'm statutorily supposed to do.

9                 COMMISSIONER KLEMENT:  But did, excuse me, did

10       you hear Ms. Brown say that we could include Section

11       366.92?

12                 CHAIRMAN ARGENZIANO:  But what I didn't hear

13       her say is that we can, can change what it says, "Shall

14       take into account."  While you're going to look at those

15       other things, I mean, it's very clear by what's right in

16       403.519 that renewables and that that is to be included.

17       But it doesn't -- and, Ms. Brown, you didn't say that I

18       shall, can only take into account certain things, not

19       all of them, did you?

20                 MS. BROWN:  No, I didn't say that.  But I'm

21       not sure I have the same interpretation of take into

22       account that you do.

23                 CHAIRMAN ARGENZIANO:  Well, see, that's where,

24       that's where it's up to me.  You didn't make your case

25       to me.  That's what this is all about.  You didn't make

FLORIDA PUBLIC SERVICE COMMISSION

75

1       a basis for me to come to your conclusion.  I'm coming

2       to mine in reading the statutes and reading them for

3       years, I look at take into account means exactly what it

4       says to me, as I have to take all of these into account.

5       And what it really comes down to is not who's correct,

6       it's my opinion on what was brought before me, and you

7       didn't make your case.  You didn't win that case for me.

8       So -- and that's not with disrespect; that's just

9       telling you how it is.

10                 Commissioner Skop.

11                 COMMISSIONER SKOP:  Thank you, Madam Chair.

12                 And just to Commissioner Klement's comments,

13       which, you know, I do respect the views of my

14       colleagues.  In this instance, I think that you're

15       right, Commissioner, that GRU should be commended for

16       being forward-looking.  I think in this case though the,

17       you know, ultimate success or failure of the project and

18       the economic impact on the ratepayers is something that

19       cannot be ignored, and which I think is causing the

20       consternation under the statutory provisions that I'm

21       hearing Commissioner Stevens and Chairman Argenziano

22       state about being the most cost-effective option.  I

23       really can't get there.

24                 I think what distinguishes this from an IOU is

25       the fact that GRU is a municipal, a municipality,

FLORIDA PUBLIC SERVICE COMMISSION

76

1       municipal electric provider and we don't regulate its

2       rates.  But certainly if the project does not meet all

3       of its project assumptions, rates can go up

4       substantially.  I think staff mentioned $13.00 a month.

5       That's huge.  But, again, that's outside of my

6       jurisdiction.

7                 The other more important point of how I would

8       distinguish this from an investor-owned utility is that,

9       you know, local rule.  You have a municipal government

10       wanting to do something, and, you know, the risk/reward

11       lies in the lap of GRU and the City of Gainesville as to

12       whether their assumptions pan out in the long-term.  And

13       there's opportunity cost, there's a lot of benefit that

14       might be accrued, there's a lot of opportunity cost.

15                 But if I were similarly faced with the

16       situation at the local level, I would consider the

17       course of action to be imprudent based on the project

18       risk.  I think the, looking at what the City and GRU

19       wants to do, again, I think that my concerns are

20       addressed within the risk management section.

21                 From a personal perspective, I think that

22       bringing this project forward at this stage was very

23       premature to the extent that not all of the power

24       purchase agreements were fully definitized.  I mean,

25       that would have made a huge difference to me.  I'm still

FLORIDA PUBLIC SERVICE COMMISSION

77

1       supporting this, but, again, I'm looking at that as a

2       tremendous red flag that should have been locked up

3       before petitioning the Commission for approval.

4       Likewise, a plan for selling excess capacity; likewise,

5       having fuel contracts in place; likewise, looking at,

6       you know, making a judgment call or maybe having

7       stopgaps if, if environmental regulations change

8       suddenly not to favor biomass, as has been assumed and

9       is a major assumption in the underlying economics of

10       this project.

11                 So, again, I think, Commissioner Klement, you

12       raised some excellent points.  I think we should move

13       forward.  The difference on this one is it is a power

14       purchase agreement, it is with a municipality, but to

15       otherwise approve this for an investor-owned utility

16       would violate Commission precedent in terms of avoided

17       cost and basically be a prudency determination that all

18       future costs were approved.

19                 So I think that that's -- to Commissioner

20       Edgar's point, she raises a good one, is how do you

21       discern the differences in viewing an investor-owned

22       utility under the statutory need determination

23       requirements versus how a municipal government might be

24       treated, and how do you balance the respectfulness of

25       deference to local rule versus regulation of rates?  And

FLORIDA PUBLIC SERVICE COMMISSION

78

1       I don't regulate GRU's rates.  If they want to take that

2       decision, that's theirs to take subject to our approval.

3       But at the end of the day the success or failure lies

4       squarely in the hands of GRU, the City of Gainesville

5       and GRU ratepayers.  Thank you.

6                 COMMISSIONER KLEMENT:  Madam Chair?

7                 Good point, Commissioner Skop.  And I think

8       that Commissioner Edgar's reference on Page, at the

9       bottom of Page 39 earlier is a basically cover your rear

10       for precedent that might be cited by an IOU, and that,

11       to me that's prudent also.  This is a different case.

12       It's a municipal.  It's not the investor-owned.  And

13       they are put on notice by that paragraph that this is a

14       separate consideration.  It has, it has its own separate

15       conditions and it, it's pretty clear.  I won't ask, I

16       won't put staff on the spot by asking them if that's

17       what they meant, but that's what I read.

18                 COMMISSIONER SKOP:  Thank you, Madam Chair,

19       and thank you, Commissioner Klement.  I think that point

20       is well-taken.

21                 With respect to an investor-owned utility

22       though, I think in all likelihood an investor-owned

23       utility would not take the regulatory risk of

24       petitioning the Commission for this type of project,

25       given the existing underlying reserve margins, the lack

FLORIDA PUBLIC SERVICE COMMISSION

79

1       of definitization of contracts and such.  I think that

2       it would have been more appropriately packaged and more

3       commensurate with need for additional baseload capacity

4       within a Ten-Year Site Plan.  I don't think it would be

5       that far out.  And, Mr. Ballinger, if you want to maybe

6       briefly expound upon that.

7                 MR. BALLINGER:  I can't speculate what IOUs

8       would bring before us.  They may have a similar project

9       out there in the wings.  What we've seen before have

10       been ones that have been more in line timing with

11       reliability needs.

12                 COMMISSIONER SKOP:  Thank you.

13                 Any other questions from the bench?

14                 COMMISSIONER KLEMENT:  Yes.  While I wanted to

15       say that, to your last point, Commissioner, that the

16       IOUs operate under a different set of expectations and

17       rules than the municipals, so probably they wouldn't,

18       but it's because different statutes apply, different

19       rules.

20                 COMMISSIONER SKOP:  And I think, Commissioner

21       Klement, that, again, your points I can't dispute

22       because they're very insightful ones, very good ones.  I

23       just think that in this case, in the, in the, in the

24       desire to be forward-looking, which, again, I can't

25       commend GRU enough.  I think that perhaps some of the

FLORIDA PUBLIC SERVICE COMMISSION

80

1       more important financial risks are not fully appreciated

2       in terms of the possible scenarios.  I mean, if we were

3       to do a sensitivity analysis and look at the various

4       scenarios as we've done or the Commission has done in

5       various need determination projects, I'm not so sure

6       that the picture would be, you know, as rosy.

7                 I mean, I think that with respect to the

8       pending federal legislation regarding the regulation of

9       greenhouse gases, I don't, I don't think there's a high

10       degree of certainty that that legislation will be

11       enacted.  It's still to be seen, but, again, that's the

12       speculative part.  If it is, then this project looks a

13       lot better a lot quicker.  But if it doesn't, there's

14       still some risk on the table in different regards.  And

15       I think that the, the clause on Page 39 of the staff

16       recommendation does set some expectations for

17       investor-owned utilities.  But I'm pretty confident

18       noting, you know, how the mind-set works that I'm not

19       sure that, that this would be the right project at the

20       right time and, given the lack of definitization, that

21       an IOU would vigorously pursue.

22                 But, again, with the City being

23       forward-looking, trying to capture the convertible

24       investment tax credits before they expire, I recognize

25       that it's not always possible to lock things up as

FLORIDA PUBLIC SERVICE COMMISSION

81

1       quickly as they'd like to be.  And I think that's where

2       the management and mitigation of the underlying risk

3       associated with the proposed generating unit is

4       something that lies squarely in the hands of GRU's

5       management and the City of Gainesville sitting as the

6       board of directors -- or the City Commission sitting as

7       the board of directors of GRU.  Because there is some,

8       some risk there.  But, again, I am in full support of

9       granting approval of the project.  Thank you.

10                 Commissioner Edgar.

11                 COMMISSIONER EDGAR:  Thank you.  Thank you.

12                 A couple of comments, and I appreciate all the

13       discussion, as always, very much.  I have a couple of

14       different thoughts and I will try to be somewhat

15       concise.

16                 First of all, when there is a project that is

17       by its nature multiyear for construction, to get to

18       operation with a multiyear, multistep siting and

19       permitting process at different levels of government,

20       capital intensive, it is I think by nature of that

21       perhaps difficult to have a real-life scenario where

22       every single criteria is met by a slam dunk.

23                 And the reason I say that is because by nature

24       of that multistep, long-term time frame, there are going

25       to be projections.  Those projections over time will

FLORIDA PUBLIC SERVICE COMMISSION

82

1       need to be adjusted, cost of capital will change, local,

2       you know, local -- many, many, many things can change

3       over the nature of the planning and decision-making

4       process.  And I think that the statute recognizes that

5       by virtue of the language that says that here are

6       criteria that should be taken into account, balanced,

7       but the statute, by my reading, does not say that any

8       one of those, any one of those enumerated criteria are

9       the, should be, is the penultimate criteria to be the

10       one thing that makes the decision.  And if indeed

11       cost-effectiveness or need or reliability were to be the

12       one penultimate under the statute criteria, then I think

13       the statute would say that.  In my reading it does not.

14                 I also recall quite clearly back in, and I

15       think it was 2005, but right around there when the

16       Legislature added language to the statute specifically

17       referring to fuel diversity as a factor that should be

18       considered.  And my memory of those discussions in a

19       variety of forums, but certainly at legislative

20       committee and also internal with the Governor's Office

21       staff when that bill was being reviewed for signature or

22       potential signature as it ultimately was, was to be able

23       to give this Commission some greater discretion to

24       elaborate and expand on that factor of

25       cost-effectiveness.  Now I -- so those are some general

FLORIDA PUBLIC SERVICE COMMISSION

83

1       comments.

2                 For me specifically, I do believe, and I've

3       said this many, many times and am, of course, only

4       speaking for myself as one Commissioner, but that fuel

5       diversity and a diverse fuel portfolio is something that

6       is very important for this state and it is something

7       that we need all of our individual utilities to look at

8       for their own footprint, their own customer base and

9       those that they work with, but also that we need to look

10       at more regionally and at a statewide level as well.

11       And for that reason, that factor of fuel diversity in

12       the entirety of the information that we have in the

13       record on this project is quite persuasive to me.

14                 Just as I have had a concern that for some of

15       our other utilities in this state a strong reliance on

16       natural gas puts us somewhat at risk, I also believe

17       that a strong reliance on any one fuel source, in this

18       instance coal, is not the most optimum situation for a

19       utility to be in for its customers and for future growth

20       and all other certain and uncertainties that are ahead

21       of us.

22                 I also said at our last discussion point, not

23       the supplemental hearing, but the Agenda Conference when

24       we were discussing this item previously, that I did have

25       a lot of questions in my mind then and I still do,

FLORIDA PUBLIC SERVICE COMMISSION

84

1       although I have, I believe that the discussion has been

2       helpful to me about what our role is under the statute,

3       realizing that this is a municipal proposed project and

4       the different statutes that, and authorities that we

5       have moving forward versus an IOU where our authorities

6       are perhaps more clear.

7                 The discussion on that point has been very,

8       very, very helpful to me over these past weeks, and I

9       thank staff for that in particular for talking about

10       that issue with me numerous times and helping to lay

11       some of it out.

12                 I think that the role of this Commission under

13       the need determination statute is clear.  It is a

14       responsibility that I take very, very, very seriously.

15       But part and parcel with that, I do believe that it is

16       appropriate to give deference to a local government that

17       is obviously closer to the people that they serve and

18       that they are elected by and stand for reelection

19       before.

20                 And from the record that we have, both the

21       sworn testimony and the public testimony that we had at

22       at least three different occasions, it is clear to me

23       that in this instance this local government did

24       certainly what was needed and what should be done and

25       probably went even above and beyond perhaps to try to

FLORIDA PUBLIC SERVICE COMMISSION

85

1       communicate clearly with their residents and citizens

2       and ratepayers, current customers, future potential

3       customers, and to try to do the best that they could to

4       weigh all factors, the desires of the community, the

5       financial situation of the community, the need for the

6       future.  And I think that from my standpoint that does

7       need to be considered and to be given some deference,

8       along with all of the other factors in the statute that

9       we are asked to take into account.

10                 Commissioner Skop, I thank you for the

11       additional language that you have given some thought to.

12       I fully admit when, occasionally when you're going to

13       pass something out that I haven't seen before, I catch

14       my breath.  But in this instance I do think it is

15       helpful, and I am sincere when I say thank you for that.

16                 When we get to the point of discussing this

17       more specific proposed language, I do have one or two

18       suggested maybe edits that I, I assert to you I mean

19       completely as friendly in keeping with what I think it

20       is that you're, you're trying to accomplish.  Thank you.

21                 CHAIRMAN ARGENZIANO:  Okay.  Commissioner

22       Stevens?

23                 So we have completed Issue 7.  Commissioner

24       Skop, did you want to -- before we make a motion, I want

25       to collect my thoughts and give my final, my final

FLORIDA PUBLIC SERVICE COMMISSION

86

1       comments that I have now sat and looked at a few

2       different things, and have not change my mind, but I

3       just wanted to add a few comments to that.  So before we

4       go into a motion mode, is there any other discussion?

5                 Commissioner Skop.

6                 COMMISSIONER SKOP:  Thank you, Madam Chairman.

7                 And I just wanted to take the opportunity to

8       read and discuss the proposed language that I would

9       request in my forthcoming motion be embodied

10       specifically within the Commission's final order and

11       open to, to friendly amendments.  I think staff has had

12       an opportunity to propose some changes to the language,

13       and I'll read the language and seek staff input and that

14       from the bench as to if the language is acceptable.  I'm

15       hopeful that the Commission will adopt the language as a

16       whole to expressly state it in the order because I think

17       it does again clearly articulate some, but not all, of

18       the existing risks, the major risks, the red flags that

19       need to be addressed here by GRU.  But if the Commission

20       does not adopt it, I'll be putting it into a concurring

21       opinion because I feel it's that important.

22                 But just generally stated, it would be a

23       separate section in the Commission's final order

24       entitled Risk Management, and it would basically state,

25       "There is considerable uncertainty about the economics

FLORIDA PUBLIC SERVICE COMMISSION

87

1       of the proposed biomass project.  Additionally, the

2       Florida Public Service Commission does not regulate GRU

3       electric rates.  Furthermore, many of the financial,

4       contractual, and environmental regulation aspects

5       associated with the proposed biomass generating unit

6       were not yet fully known or definitized at the time this

7       case was decided.

8                 "Based on the above, it is incumbent upon GRU

9       and the City of Gainesville to mitigate the substantial

10       risk associated with the proposed biomass generating

11       unit by considering, but not limited to, the following:"

12                 The first bullet.  "The need to sell excess

13       generation capacity from the proposed biomass unit at

14       the contractual rate to mitigate ratepayer impact."

15                 Second bullet.  "The need to continue to sell

16       excess generating capacity associated with GRU's

17       existing generating units on the wholesale market or

18       through power purchase agreements to further mitigate

19       ratepayer impact."

20                 Third bullet.  "The need to contractually

21       source a long-term fuel supply for the proposed biomass

22       generating unit at favorable pricing to mitigate

23       ratepayer impact."

24                 And final bullet.  "The need to continue to

25       evaluate the financial viability of the proposed biomass

FLORIDA PUBLIC SERVICE COMMISSION

88

1       generating unit in relation to pending environmental

2       regulations to mitigate ratepayer impact."

3                 Mr. Ballinger, do you have any comments?

4                 CHAIRMAN ARGENZIANO:  Before we go there, can

5       I ask you a question, and maybe I'm not fully

6       understanding.  I understand what you're trying to do,

7       but maybe -- as we went, as Commissioner Edgar had

8       mentioned before about the deference to local

9       government, which I totally agree on, that's why I'm not

10       basing my decision on what rates could possibly be

11       because that's not up to us and that's not what I'm

12       looking at.  But aren't you -- I understand what you're

13       trying to do as far as liability, but aren't you now

14       micromanaging what they are going to do in the future

15       beyond what we have regulatory authority to do?  And

16       forgive me if I'm wrong.  I'm just trying to really

17       understand what you're telling them they need to do.

18                 COMMISSIONER SKOP:  No, not at all, Madam

19       Chairman.  I think that these risks are identified

20       throughout the staff recommendation, but the

21       recommendation does not homogenize them to consolidate

22       them into a very articulate statement as to what happens

23       if, if some unknowns or some contractual things are not

24       definitized.  Specifically, again, there is excess

25       generation from the biomass unit that will be sold

FLORIDA PUBLIC SERVICE COMMISSION

89

1       during the first ten years of its in-service life.

2                 CHAIRMAN ARGENZIANO:  But are you telling

3       them -- I mean, they don't -- we don't regulate them.

4                 COMMISSIONER SKOP:  I don't, I don't regulate

5       them.

6                 CHAIRMAN ARGENZIANO:  So are you telling them

7       -- is this just, is this just a statement?

8                 COMMISSIONER SKOP:  This is a statement and

9       the Commission's final order to identify these are

10       significant areas of risk that need to be mitigated, and

11       it's incumbent upon GRU and the City of Gainesville to

12       do that.  Because, again, we're being asked to sign off

13       on pretty much a blank check with a lot of things that

14       aren't yet fully known or definitized, and that's a

15       little bit of a leap and I think it provides, you know,

16       some -- I think it's prudent for the Commission to

17       articulate these risks in light of giving deference to

18       local rule and the desires of local government, as

19       Commissioner Edgar and myself have, have referenced.

20       They want to go do something, and so long as we clearly

21       and transparently state the risks and clearly the City

22       acknowledges that it has a duty and GRU has a duty, then

23       that's fine.

24                 CHAIRMAN ARGENZIANO:  Sorry.  But what does it

25       really mean?  I mean, you can't mandate them to do --

FLORIDA PUBLIC SERVICE COMMISSION

90

1       you just said that there are many things, and I'm really

2       trying to get to the meat of what you're trying to do.

3       I don't know what it really does in the long run.

4       You're telling them, look, you should recognize these

5       things, and on the other hand you're saying there's a

6       lot of things missing and it's a big leap, as you say.

7       So I'm not sure what this really does.  Does it just say

8       we're aware that things are missing and -- I'm not sure.

9                 COMMISSIONER SKOP:  I think it clearly

10       articulates the inherent --

11                 CHAIRMAN ARGENZIANO:  Well, obviously it's not

12       clearly enough because I didn't get it.  I don't know

13       what it really does in the long run.  Are you -- it's

14       not a mandate.  You're basically saying these are things

15       we see.

16                 COMMISSIONER SKOP:  It's in, it's in the final

17       order.  It clearly articulates some of the inherent

18       underlying risk that is not yet definitized associated

19       with this project, which is, as you stated previously in

20       bench discussions and Commissioner Stevens also, there

21       are a lot of red flags with this project.  Some of those

22       concerns have been mitigated, some have not.  So it

23       provides, you know, just transparency in the final

24       order:  Hey, here's the areas of concern that you still

25       need to address, it's back in your lap, you've got

FLORIDA PUBLIC SERVICE COMMISSION

91

1       approval, but don't say we didn't tell you so, here's

2       the things.  Because, again, if this were an IOU, I

3       wouldn't be having the discussion at this point.

4                 MR. KISER:  Madam Chairman?

5                 CHAIRMAN ARGENZIANO:  Yes.

6                 MR. KISER:  Commissioner Skop, would it be

7       fair to characterize your suggestions here as, number

8       one, comfort language and, number two, a possible guide

9       for the ratepayers in Gainesville that should some of

10       these economic things happen that are not good for them,

11       that they will at least have some guide and can likewise

12       remind the Commission at that appropriate time that

13       these are things that were recognized at the time this

14       decision was made, and they certainly hope the City

15       would take them under consideration in trying to deal

16       with whatever economic circumstances have presented some

17       problems?

18                 COMMISSIONER SKOP:  I think that's one way to

19       look at it, Mr. Kiser.  I think that, again, it's

20       incumbent upon the Commission to clearly articulate in

21       its final order areas of concern, and these remain my

22       areas of concern.  I am willing to approve the staff

23       recommendation.  But my intent would be to do so subject

24       to the requirement that this express language be

25       included in the Commission's final order, subject to

FLORIDA PUBLIC SERVICE COMMISSION

92

1       having consensus, which I hope the Commission will do

2       because I think this language is very important.

3                 CHAIRMAN ARGENZIANO:  And thank you, thank

4       you, Mr. Kiser, for that.  I understand that, and I

5       think what it does is actually makes my point of not

6       having the information I need that shall account, or

7       shall take into account, and that's what I was getting

8       at I guess.  It's a comfort language for those who feel

9       uncomfortable with not getting all the information they

10       need -- me, speaking for me.

11                 And I'll just make my final comments now.  And

12       while I understand the want and the desire to do that, I

13       think it just bolsters what I'm saying about not having

14       the information on everything that it says I shall take

15       into account on -- in the statute.  And while I

16       respectfully disagree with Commissioner Edgar, I think

17       the statute reads very clearly, and I'm going to read it

18       and then read a few things that come out of staff's

19       recommendation as to why.  And, again, I'm sticking

20       straight, straight with what I see is what my statutory,

21       statutory mandate is to me.

22                 I'm going to read part of the statute,

23       403.519, exclusive forum for determination of need, (3).

24       "The Commission shall be the sole forum for the

25       determination of this matter, which accordingly shall

FLORIDA PUBLIC SERVICE COMMISSION

93

1       not be raised in any other forum or in the review of

2       proceedings in such other forum.  In making its

3       determination, the Commission shall take into account

4       the need for electric system reliability and integrity,

5       the need for adequate electricity at a reasonable cost,

6       the need for fuel diversity and supply reliability,

7       whether the proposed plant is the most cost-efficient

8       alternative available, and whether renewable energy

9       sources and technologies, as well as conservation

10       measures, are utilized to the extent reasonably

11       available.  The Commission shall also expressly consider

12       the conservation measures taken by or reasonably

13       available to the applicant or its members which might

14       mitigate the need for the proposed plant and other

15       matters within its jurisdiction which it deems

16       relevant."

17                 To complete the, that section, "The

18       Commission's determination of need for an electrical

19       power plant shall create a presumption of public need

20       and necessity and shall serve as the Commission's report

21       required by 403.507."

22                 And the reason I read that is because I cannot

23       see an exception.  It says, "Take into account, shall

24       take into account all the criteria," and that is up to

25       each individual looking at it as to what the criteria

FLORIDA PUBLIC SERVICE COMMISSION

94

1       has or has been presented and if it, if it -- it doesn't

2       say that I don't have to take into account certain

3       provisions.  It says, I shall take into account.

4                 And then from your own personal perspective

5       from whatever basis that you come to or whatever

6       conclusion you come to, you look, you look into each one

7       of those, and I have.  And the problem I have with them,

8       as I said before, and I'll go back to staff's words and

9       we'll go to -- let me get to the right place.  On Issue

10       2, Page 8, Issue 2, the question, "Is there a need for

11       the Gainesville Renewable Energy Center, taking into

12       account the need for electric system reliability and

13       integrity as this criterion is used in Section 403.519,"

14       the statute for determination of need?

15                 And the recommendation says, "GRU's load

16       forecast indicates that GRU does not have a reliability

17       need for additional capacity until 2023."

18                 Then you go to Page 12, Issue 3, "Is there a

19       need for the Gainesville Renewable Energy Center, taking

20       into account the need for adequate electricity at a

21       reasonable cost, as this criterion is used in Section

22       403.519," the need determination section?

23                 The recommendation, first line, "There is

24       considerable uncertainty about the economics of this

25       project."  And I didn't read that in total.  I'm just

FLORIDA PUBLIC SERVICE COMMISSION

95

1       making the point there.  I've read the rest of it.

2                 Issue -- I'm sorry.  Let me go to the right

3       one.  Page -- going again to Page 24, Issue 6, "Is the

4       Gainesville Renewable Energy Center the most

5       cost-effective alternative available, as this criterion

6       is used in Section 403.519?"  Again, the need

7       determination section that I have to rely upon.  The

8       recommendation says once again there is considerable

9       uncertainty about the economics of this project.

10                 So with that said -- and as I said before, in

11       no way am I saying that there aren't many things of

12       great value and merit to this case, but what I'm looking

13       at is what the statute tells me.  And it says I shall

14       take into account all of these criteria.  I have.  I

15       didn't exclude one and say it's better than -- at least

16       we're reducing coal or -- I didn't do that.  I looked at

17       all the pluses and minuses and asked have I taken

18       everything into account.

19                 And according to what I read and shall take

20       into account and then what staff has said, especially

21       what I just read, it doesn't take, it doesn't answer

22       those questions for me.  And without the answers to

23       those questions, I feel -- I do not feel that I can

24       support the project because I don't have answers to

25       those very important questions.  Not to say that the,

FLORIDA PUBLIC SERVICE COMMISSION

96

1       that the plant or the proposal is not a good one, that

2       it doesn't have many things that are very -- right in

3       there with policy goals and the statutes if I wasn't

4       looking at a need determination and looking into taking

5       into account all those things, it would be very easy for

6       me.  But strictly sticking to what the need

7       determination, or the determination of need statute,

8       403.519, asks me to take into account, I just can't come

9       up with the answers to a few of those very important

10       questions.  That's all I'm saying.  Thank you.

11                 And, Commissioner Klement, did you have a

12       comment or did you --

13                 COMMISSIONER KLEMENT:  Well, yes, Madam Chair.

14       It seems to me we've -- I've heard the, where everybody,

15       where every Commissioner is on this, and perhaps we

16       could get to the point of a motion and a vote.

17                 CHAIRMAN ARGENZIANO:  I think we, I think

18       we're about there.  I think when every Commissioner is

19       done with what they have to say.

20                 Commissioner Edgar.

21                 COMMISSIONER EDGAR:  Thank you.  And I think

22       we're about there too and I don't mean to slow us down.

23                 CHAIRMAN ARGENZIANO:  No.  No.  Go right

24       ahead.

25                 COMMISSIONER EDGAR:  But I did -- thank you --

FLORIDA PUBLIC SERVICE COMMISSION

97

1       mention a few minutes or so earlier that with the

2       handout that Commissioner Skop had provided to us, I did

3       want to, if I could -- and, again, I mean this as

4       friendly, a friendly amendment suggestion in keeping, I

5       believe, with the intent.

6                 A suggestion, Commissioner Skop and others,

7       would be in the first sentence, the beginning of the

8       first sentence under risk management to change the

9       wording slightly but not the intent so that the first

10       sentence would read, "As with most power generation

11       projects, there are uncertainties about the economics of

12       the proposed biomass project."  Nothing more on that

13       paragraph.

14                 Then the second paragraph, that first

15       sentence, I would slightly change words in the middle,

16       and so it would read this way:  "Based on the above, it

17       is incumbent upon GRU and the City of Gainesville to

18       mitigate ratepayer impact associated with the proposed

19       biomass," and then carry on as is.  In other words, I

20       would delete the words "the substantial risk" and input,

21       input instead "ratepayer impact."  And then that would

22       allow for the four bullet points, no substantive change

23       at all, but the words "to mitigate ratepayer impact" at

24       the end of each of the four bullets could be removed

25       because it's put in the beginning and therefore does

FLORIDA PUBLIC SERVICE COMMISSION

98

1       apply to each of those four bullets.  I think that's a

2       little more concise.  And I, again, mean it as friendly

3       suggestions and I think carry through the intent, as I

4       understand it.

5                 COMMISSIONER SKOP:  Madam Chair.

6                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

7                 COMMISSIONER SKOP:  Thank you, Madam Chair.

8                 And thank you, Commissioner Edgar, I do

9       appreciate the friendly amendments.  They are friendly,

10       they're well-taken.  I have no problem with either of

11       those.

12                 The first sentence again was an attempt, I

13       think, from staff to incorporate their idea.  But I

14       think that there's a way to say it a little bit more

15       concisely.  And I think, you know, some of the

16       suggestions that you offered are appropriate, changing

17       "the substantial risk" to "mitigate ratepayer impact"

18       I'm fine with.  I thought that was a, perhaps a better

19       way of saying that.  And then deleting the "to mitigate"

20       on each of the respective bullets at the end, I think

21       I'm fine with that.

22                 So in making a motion, I would adopt the

23       written copy as amended by your suggestions.  And,

24       staff, do y'all have all that?  Or we could probably --

25                 MS. BROWN:  If Commissioner Edgar could read

FLORIDA PUBLIC SERVICE COMMISSION

99

1       the first sentence once more.

2                 COMMISSIONER EDGAR:  Sure.  I'd be glad to.

3       And what I'm doing is changing just the beginning of the

4       sentence so that the new sentence to be, as I'm

5       proposing would read, "As with most power generation

6       projects, there are uncertainties about the economics of

7       the proposed biomass project."  And, again, I think, I

8       think that pretty much says the same, same thing in

9       words that I think work for me a little better.

10                 MS. BROWN:  We got it.  Thanks.

11                 CHAIRMAN ARGENZIANO:  I'm going to take a

12       five-minute break.

13                 (Recess taken.)

14                 Okay.  We're back.  Commissioner Skop, did you

15       just hand out -- this is now the revision, the third

16       revision?

17                 COMMISSIONER SKOP:  Yes.  This is the as

18       amended per Commissioner Edgar's motion, I mean,

19       suggestions.  I'm sorry.  So I think it should reflect

20       Commissioner Edgar's comments that were adopted.

21                 COMMISSIONER EDGAR:  Commissioner Skop, thank

22       you for doing that so quickly, and, yes, it does.

23                 COMMISSIONER SKOP:  Okay.  All right.  Thank

24       you.

25                 CHAIRMAN ARGENZIANO:  Okay.  So we are --

FLORIDA PUBLIC SERVICE COMMISSION

100

1       let's see, we finished on Issue 7, didn't we?  So we are

2       now ready to move on.  Commissioners, let me move to --

3       hang on one second.  Okay.  And, Commissioners, how do

4       you want to take -- did you want to vote issue by issue

5       or the whole block?

6                 COMMISSIONER STEVENS:  (Inaudible.  Microphone

7       off.)

8                 CHAIRMAN ARGENZIANO:  Okay.  Well, then we are

9       on Issue 8.

10                 MR. SAYLER:  Issue 8 is the close the docket

11       issue.

12                 CHAIRMAN ARGENZIANO:  Uh-huh.  Okay.

13                 MR. SAYLER:  And --

14                 CHAIRMAN ARGENZIANO:  Well, then do we --

15       Commissioners?

16                 MR. SAYLER:  Fairly straightforward.

17                 CHAIRMAN ARGENZIANO:  Commissioner Skop.

18                 COMMISSIONER SKOP:  Thank you, Madam Chair.

19       If that's the remaining issues --

20                 CHAIRMAN ARGENZIANO:  That's it.

21                 COMMISSIONER SKOP:  -- I'm prepared to make a

22       motion.  Okay.

23                 CHAIRMAN ARGENZIANO:  Okay.  Do we, do we have

24       to adopt this as amended?

25                 COMMISSIONER SKOP:  It will be embodied within

FLORIDA PUBLIC SERVICE COMMISSION

101

1       my motion.

2                 CHAIRMAN ARGENZIANO:  Okay.  In your motion?

3       Okay.

4                 COMMISSIONER SKOP:  Yes, ma'am.  Okay.  If

5       there are no further questions, Madam Chair, may I be

6       recognized for a motion?

7                 CHAIRMAN ARGENZIANO:  Any other questions?

8       Okay.  Commissioner Skop?

9                 COMMISSIONER SKOP:  Thank you, Madam Chair.

10       With respect to the disposition of the need

11       determination before the Commission, I would move to

12       approve the staff recommendation for the remaining

13       issues, Issues 2 through 8, with the specific

14       requirement that the express language provided in the

15       as-amended handout be incorporated within the final

16       order.

17                 CHAIRMAN ARGENZIANO:  Any discussion?

18                 COMMISSIONER EDGAR:  Second.

19                 CHAIRMAN ARGENZIANO:  Commissioner, excuse me,

20       is there any discussion?  Commissioner Stevens, I

21       noticed your hand up.

22                 COMMISSIONER STEVENS:  Are we adopting -- are

23       you saying we're adopting all of staff's

24       recommendations?

25                 CHAIRMAN ARGENZIANO:  Would you repeat your --

FLORIDA PUBLIC SERVICE COMMISSION

102

1                 COMMISSIONER SKOP:  Yes.  Let me repeat the

2       motion.  With respect to the disposition of the need

3       determination before the Commission, I would move to

4       approve the remaining staff -- I'd move to approve the

5       staff recommendation for the remaining issues, Issues

6       2 through 8, with the specific requirement that the

7       express language provided in the as-amended handout be

8       incorporated within the Commission's final order.

9                 CHAIRMAN ARGENZIANO:  Commissioner Stevens?

10                 COMMISSIONER STEVENS:  So, so then we're

11       allowing the construction of the facility?

12                 COMMISSIONER SKOP:  Yes.

13                 CHAIRMAN ARGENZIANO:  He's approved -- he's

14       made a motion to approve all of staff's recommendations

15       from 2 to 8 and including the amended version that we've

16       been talking about, which I have discussion on.

17                 COMMISSIONER EDGAR:  And I did offer a second.

18       I don't know if that was heard.  And my understanding of

19       the motion that -- and therefore my second -- is that

20       the result of that, if it were to carry by a majority,

21       would be that this Commission would approve or grant the

22       need determination request and that then this project

23       would move forward through the next remaining permitting

24       and certification steps that it would need to go through

25       before it was ultimately approved by the State of

FLORIDA PUBLIC SERVICE COMMISSION

103

1       Florida.

2                 COMMISSIONER STEVENS:  Okay.  Well, I --

3                 CHAIRMAN ARGENZIANO:  Discussion on the

4       motion.

5                 COMMISSIONER STEVENS:  Thank you.

6                 CHAIRMAN ARGENZIANO:  And discussion on the

7       amended version that Commissioner Skop has handed out.

8       My, my only concern with this is that it identifies

9       deficiencies that have given me angst about this to

10       begin with that I didn't get the answers to the things I

11       need to account for, and I don't, I'm not sure that it's

12       comfort language.  And I'm a little worried that it

13       could be allowing in the future deficiencies and that's

14       my concern with it.  So I, I won't be in approval of

15       that.  But with that said, any other comments?  Any

16       other discussion?  We have a second on the table.

17                 All those in favor, say aye.

18                 COMMISSIONER SKOP:  Aye.

19                 COMMISSIONER KLEMENT:  Aye.

20                 COMMISSIONER EDGAR:  Aye.

21                 CHAIRMAN ARGENZIANO:  Opposed?  Aye.

22                 COMMISSIONER STEVENS:  Aye.

23                 CHAIRMAN ARGENZIANO:  The motion is passed and

24       we are -- let's see.  Any other final remaining events,

25       critical dates and things that we need to do?

FLORIDA PUBLIC SERVICE COMMISSION

104

1                 MR. SAYLER:  Yes, Madam Chairman.  Erik Sayler

2       for Commission staff.  Just some housekeeping measures.

3       Staff understands that one of GRU's, GREC's pending

4       confidentiality requests regarding the Haddad memos

5       which were discussed extensively at the hearing but yet

6       not, are not part of the record, that confidentiality

7       request has become moot because GRU has subsequently

8       turned that over in a public records request in

9       Gainesville.

10                 CHAIRMAN ARGENZIANO:  Okay.

11                 MR. SAYLER:  As for the remaining pending

12       confidentiality requests, staff requests, staff will

13       review and determine whether there's a need to retain

14       the confidential documents.  If not, staff will return

15       those documents to GRU, GREC.

16                 Remaining critical dates.  The Commission

17       order -- the vote is effective today.  The Commission

18       order will go out before June 21st.  I will work very

19       hard to get it all incorporated and out in a timely

20       manner, incorporating the language as amended.  And then

21       after that it'll go on to DEP and the Governor and

22       Cabinet, dates unknown.

23                 CHAIRMAN ARGENZIANO:  Okay.  Any other

24       questions?

25                 Commissioner Skop.

FLORIDA PUBLIC SERVICE COMMISSION

105

1                 COMMISSIONER SKOP:  Yes, Madam Chairman.  And

2       this is perfunctory, but just to be clear and so there's

3       no misunderstanding, that the motion that I made that

4       was approved by the majority of the Commission would

5       incorporate this language verbatim in the final order.

6                 MR. SAYLER:  Verbatim.  Absolutely.  And if I

7       can get the electronic file from your aide later, I will

8       make sure that is verbatim in a separate section.

9                 CHAIRMAN ARGENZIANO:  We'll get that to you.

10                 COMMISSIONER SKOP:  Thank you.

11                 CHAIRMAN ARGENZIANO:  Okay.  Any other

12       questions?  Okay.  With that, we're adjourned.  Thank

13       you very much.

14                 (Special Agenda concluded at 1:48 p.m.)

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

107

1       STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2       COUNTY OF LEON      )

3

4            I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing

5       proceeding was heard at the time and place herein

stated.

6

IT IS FURTHER CERTIFIED that I stenographically

7       reported the said proceedings; that the same has been

transcribed under my direct supervision; and that this

8       transcript constitutes a true transcription of my notes

of said proceedings.

9

I FURTHER CERTIFY that I am not a relative,

10       employee, attorney or counsel of any of the parties, nor

am I a relative or employee of any of the parties'

11       attorneys or counsel connected with the action, nor am I

financially interested in the action.

12

DATED THIS _____ day of _____________________,

13       2010.

14

15                      ________________________________

LINDA BOLES, RPR, CRR

16                      FPSC Official Commission Reporter

(850) 413-6734

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION