1

1                          BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3   In the Matter of:

4

DOCKET NO. 090505-EI

5

REVIEW OF REPLACEMENT FUEL COSTS

6   ASSOCIATED WITH THE FEBRUARY 26,

2008 OUTAGE ON FLORIDA POWER &

7   LIGHT'S ELECTRICAL SYSTEM.

________________________________/

8

9   PROCEEDINGS:               AGENDA CONFERENCE

ITEM NO. 4

10

11   COMMISSIONERS

PARTICIPATING:             CHAIRMAN NANCY ARGENZIANO

12                              COMMISSIONER LISA POLAK EDGAR

COMMISSIONER NATHAN A. SKOP

13

14   DATE:                      Tuesday, June 1, 2010

15

TIME:                      Commenced at 1:37 p.m.

16                              Concluded at 2:20 p.m.

17

PLACE:                     Betty Easley Conference

18                               Center

Room 148

19                              4075 Esplanade Way

Tallahassee, Florida

20

21   REPORTED BY:               LORI DEZELL, RPR

22

23

24

25

2

1                    P R O C E E D I N G S

2             CHAIRMAN ARGENZIANO:  Okay.  Now we're going

3        to move to Item 4.

4             MR. GRAVES:  Good afternoon, Commissioners.

5        Robert Graves from Commission staff.

6             At the January 26, 2010 agenda conference, the

7        Commission approved a stipulation which stated that

8        FPL would bear the replacement power costs

9        attributable to an outage which occurred on

10        February 26, 2008.

11             Item 4 of today's agenda conference addresses

12        the amount of the replacement cost and the manner

13        in which FPL should refund those costs.

14             For Issue 1, staff recommends that FPL refund

15        $13.8 million of replacement power cost to its

16        customers.  Staff's recommended refund is based on

17        the incremental cost of replacing the generation

18        loss over the full duration of the outage less

19        mitigating actions taken with regard to central

20        repairs required by the Nuclear Regulatory

21        Commission.

22             For Issue 2, staff recommends that the refund

23        of these costs be issued through the 2010 net

24        true-up in Docket No. 100001-EI.  Staff believes

25        that this is the most efficient method for the

3

1        refund.

2             And Commissioners, staff has requested an oral

3        modification.  The modification is on page 16 in

4        the first sentence of the first full paragraph.

5        And I can read that if you'd like.

6             CHAIRMAN ARGENZIANO:  Please do.

7             MR. GRAVES:  Currently the sentence reads,

8        "Based on staff's recommended refund amount of

9        $13,853,392," and that value should be replaced

10        with $13,854,054.

11             CHAIRMAN ARGENZIANO:  All right.

12             MR. GRAVES:  Yes, ma'am.  Staff is prepared

13        for any questions at this time.

14             CHAIRPERSON ARGENZIANO:  Any questions?

15        Discussion?  Hang on one minute.  That's okay.

16        Take your time.

17             COMMISSIONER EDGAR:  I knew I had one.  I just

18        couldn't remember what it was for a moment.  Thank

19        you for giving me a moment to collect my thoughts.

20             This is nonsubstantive.  But I noticed that in

21        the case background, it does not at all mention

22        that we had a hearing on this.  And if indeed the

23        case background will be incorporated in the order,

24        I would ask that that be added.

25             CHAIRMAN ARGENZIANO:  Good point,

4

1        commissioner.  Commissioner Skop?

2             COMMISSIONER SKOP:  Thank you, Madam Chair.  I

3        think in this instance I do have a few questions

4        for staff that I'd like to try and get addressed

5        with respect to some of the staff recommendation.

6             And I guess just some -- some background to

7        better refresh my memory from hearing, and some of

8        this I think is incorporated in the staff

9        recommendation.

10             But Public Counsel's witness Dr. Dismukes in

11        his analysis for the refund amount did not include

12        the -- having to take down the unit for -- or take

13        down the Turkey Point 3 unit to address the rod

14        indicator position problem that was pursuant to the

15        NRC settlement agreement and the operating license

16        requirements; is that correct?

17             MR. GRAVES:  No, sir.  Witness Dismukes did

18        include that time that the unit was offline for

19        those repairs.  That was included in his

20        replacement power cost.

21             COMMISSIONER SKOP:  It was or was not?

22             MR. GRAVES:  It was.

23             COMMISSIONER SKOP:  The entire time it was

24        off.  But he did not consider the repair to be an

25        intervening event, he just said bill them for

5

1        everything until the intervening --

2             MR. GRAVES:  Yes.

3             COMMISSIONER SKOP:  That's what I was trying

4        to flush out there.

5             I've looked at the various arguments.  I guess

6        FPL's argument, staff discusses Public Counsel's,

7        FIPUG's as one of causation as staff has

8        recognized.  Is it also correct to understand that

9        staff had made an adjustment to address or at least

10        that Public Counsel's calculations had overstated

11        the net replacement cost based on the capacity, the

12        actual capacity of the Turkey Point 3 and 4 units

13        as opposed to the calculations that Dr. Dismukes

14        performed?

15             MR. GRAVES:  Yes, sir.  We made an adjustment

16        for that.

17             COMMISSIONER SKOP:  Okay. and approximately

18        how much was that adjustment?

19             MR. GRAVES:  I believe it was in the

20        neighborhood of $500,000.

21             COMMISSIONER SKOP:  Okay.  And the

22        calculations -- I guess subsequent to that FPL

23        performed a simulation at the respect -- at the

24        request of staff and recommended a refund amount as

25        a result of that simulation; is that correct?

6

1             MR. GRAVES:  Yes, sir.  And that's on page 8

2        of the recommendation.

3             COMMISSIONER SKOP:  Okay.  And those

4        calculations from FPL and the ones from Public

5        Counsel did not consider the power section of the

6        two nuclear units to restore them to 100 percent

7        rated power; is that correct?

8             MR. GRAVES:  FPL's production cost in

9        simulation did consider the ascension.  OPC's

10        calculation did not.  Staff went back and included

11        an adjustment for that power ascension.

12             COMMISSIONER SKOP:  Okay.  And on page 9 of

13        the staff recommendation, staff notes that FPL

14        contends that the company's operation of its

15        generating resources in response to the Flagami

16        substation was prudent and proper.  Staff does not

17        believe there's any evidence in the record to

18        suggest otherwise.

19             Can staff briefly explain that to the extent

20        that the staff believes that all operations to

21        restore FPL's generating units to service were not

22        imprudent.

23             MR. GRAVES:  Yes, sir.  And this was not a

24        prudence review.  FPL accepted responsibility for

25        the outage, and from that, staff considered the

7

1        full duration of the outage.  And the basic

2        philosophy behind that was if not for the actions

3        taken at the substation, the plants would have

4        never been off to begin with.  So staff considered

5        the full duration as the starting point.

6             COMMISSIONER SKOP:  Okay.  At the top of

7        page 9, it discusses witness Stall's testimony

8        about the time that would be necessary to restore a

9        single nuclear unit online after unexpected plant

10        shut down.  I believe he indicated or testified it

11        would be approximately 48 hours to recover the

12        unit; is that correct?

13             MR. GRAVES:  Yes, sir.

14             COMMISSIONER SKOP:  And then for a dual unit

15        trip which was the one experienced on Turkey Point

16        3 and 4, that for that type of outage it would

17        typically take three to five days, 72 to 120 hours

18        to restore it but when you consider additional time

19        for power accession -- or ascension, the time to

20        restore the units would be approximately 84 to 134

21        hours; is that correct?

22             MR. GRAVES:  Yes, sir.

23             COMMISSIONER SKOP:  Okay.  I did have some

24        additional questions with respect to staff's

25        analysis on Turkey Point 3 and 4.  Again, just

8

1        looking at it from the testimony and the record

2        evidence.

3             The calculation of the cost I think that staff

4        used a -- hold on real quick.  Let me find it.

5        Okay.  Staff rejected the average system cost basis

6        that FPL suggested and used a methodology that was

7        consistent with the approach that the Commission

8        previously used in the whole drilling docket; is

9        that correct?

10             MR. GRAVES:  Yes, sir.

11             COMMISSIONER SKOP:  Okay.  All right.  In

12        terms of the amount for the replacement of power, I

13        really don't have concerns.  I think the staff

14        methodology was reasonable.

15             With respect to Turkey Point 3, I just want to

16        ask staff some questions regarding that.  In

17        staff's analysis, it took the total hours that the

18        unit was offline, which was approximately 158 hours

19        for Turkey Point 3, and essentially subtracted 27

20        hours attributable to the repair of the rod

21        position indicators; is that correct.

22             MR. GRAVES:  Yes, sir, that's correct.

23             COMMISSIONER SKOP:  Okay.  And on page 10 of

24        the staff recommendation it speaks to that a little

25        bit.  The top of page 10 states seven hours after

9

1        the initiating event FPL began repair of the rod

2        position indicator system.

3             I guess I'm trying to gain a better

4        understanding of -- of how staff arrived at the 27

5        hours.  It seems as if after the event there was a

6        delay, and obviously staff looked at a document

7        provided by FPL that showed that the actual time

8        for the repair itself was 27 hours.  But can staff

9        elaborate a little bit more on that?

10             MR. GRAVES:  Yes, sir.  When calculating the

11        cost, there's basically three different, I guess,

12        zones.  One was the first eight hours in which the

13        replacement of power cost were around $170 per

14        megawatt hour.  Then you have the rest of February

15        which I believe was $77 per megawatt hour, and then

16        March which was $79 per megawatt hour.

17             We went back and just included the hours that

18        we took out for the repairs.  We took them out

19        subject to the month or the time that they were in.

20        So one hour was taken out from that first

21        eight-hour time frame.  And I forget exactly how

22        the rest of it broke down, but we went back and

23        subtracted it from the time specific that it came

24        out.

25             COMMISSIONER SKOP:  Okay.  Again with the --

10

1        just to facilitate I guess my question.  If -- if

2        the unit were coming out of service for a scheduled

3        outage, and obviously for Turkey Point 3 the

4        control rod indicator would have to be repaired

5        consistent with the operating license revision that

6        FPL and NRC entered into, who would pay for

7        replacement power in a scheduled outage?

8             MR. GRAVES:  I believe the customers would.

9             COMMISSIONER SKOP:  And if during the

10        scheduled outage there were additional delays

11        either with the repair or during the power

12        ascension process and a scheduled shutdown,

13        assuming that the actions of the utility were not

14        imprudent, who would pay for those additional

15        delayed hours?

16             MR. GRAVES:  I believe the customers would.

17             COMMISSIONER SKOP:  Okay.  In this instance,

18        staff noted the testimony of witness Stall that

19        looked at an individual unit and then a dual unit

20        trip and then the power ascension and factored in

21        the expected time frame that it would reasonably

22        take the utility to restore units to service.  But

23        then in the analysis staff discussed those units

24        individually.  Obviously the initiating event

25        tripped the units with the dual unit trip, but then

11

1        staff analyzed the outage time separately and

2        distinctly within the recommendation.  Can staff

3        elaborate a little bit on that?

4             MR. GRAVES:  I believe we did that because

5        there were two unique situations going on at each,

6        at each unit.  At Turkey Point Unit 3 they had the

7        repairs which they knew they had to do as soon as

8        the unit came down.  At Turkey Point 4 they didn't

9        have those repairs so they can focus on bringing

10        the unit back online immediately.

11             COMMISSIONER SKOP:  Okay.  With respect to

12        Turkey Point 3, the revision to the NRC operating

13        agreement however mandated that FPL effect repairs

14        to the rod position indicators on unit 3 at the

15        next outage, irrespective of whether it was

16        scheduled or unscheduled; is that correct?

17             MR. GRAVES:  Yes, sir.

18             COMMISSIONER SKOP:  Okay.  And in doing those

19        repairs, does State -- I guess from the document

20        that FPL provided with the record evidence, do you

21        just walk in to containment, do the repairs, walk

22        out and does the reactor come back up automatically

23        or is there additional time within that 27 hours

24        that would be required that's not included?

25             MR. GRAVES:  I'm not sure I understand your

12

1        question.

2             COMMISSIONER SKOP:  All right.  I guess

3        there's many different ways to view the outage and

4        the effect, and I think what's important is to be

5        fair and stay within the bounds consistent with the

6        record evidence.

7             In the instant case, staff has made some

8        assumptions, and at least on Turkey Point 3 they've

9        assigned a reduction of 27 hours to fully cover the

10        repair of the rod position indicator that was

11        governed by the revision to the operating license

12        for the units.

13             And I'm wondering on that 27 hours whether

14        that's an appropriate assumption to the extent that

15        you had to deal with a unit trip which I don't

16        think anyone denies, and Mr. Stall has commented on

17        the time frame that it would be necessary to

18        restore those units.  But because of the problem

19        with the rod position indicator, there was a

20        proceeding agreement with the NRC and it's but for

21        that agreement, you know, FPL would obviously have

22        to address the matter as it's accepted

23        responsibility for.  I'm not so sure whether the

24        agreement for the NRC to repair the rod position

25        indicator is not like an interceding event there.

13

1             And again with respect to the 27 hours, you

2        know, the time that was utilized for staff as a

3        simplifying assumption to come up with the refund

4        amount which again I don't agree or disagree with

5        I'm just trying to talk this through, this looks at

6        the total lapsed time to do that repair.  I'm not

7        so sure that the 27 hours embodies the startup of

8        the unit or the testing and maybe the rod position

9        indicator.  But on Turkey Point 4, obviously there

10        was some additional delays at startup that staff

11        speaks to.

12             But is that 27 hours indicative of power

13        ascension?  I mean, the way staff is viewing it is

14        it's carving out 27 hours of the total outage time

15        and saying this is an appropriate adjustment to

16        make.  And I'm trying to gain a better appreciation

17        and understanding because effectively if the NRC

18        says you can't operate this unit until repairs are

19        made, then, you know, yes, the event in question

20        was FPL's fault and I think they've admitted

21        liability to that.  But is that not an intervening

22        or interceding event or a -- I'm trying to think of

23        the word I was trying to use.

24             MR. GRAVES:  Mitigating.

25             COMMISSIONER SKOP:  Mitigating event, if you

14

1        will, to look at unit 3 separately as staff has

2        done.  Because staff broke them out.  I mean, you

3        know, you can look at a dual trip and say, okay,

4        they're both out and, you know, the customer is not

5        going to pay until they both come in service.  But

6        with respect to Turkey Point 3 in particular, there

7        was a proceeding agreement between the NRC

8        regarding the operating license that said you have

9        to fix this at the next shutdown.

10             And so at the point of the fault, was it then,

11        you know, out of FPL's control to some degree to

12        the extent that this repair needed to be made to be

13        in accordance with operating license until such

14        time as the unit could be brought back online.  I

15        mean, there may be other things in there that

16        warrant, you know, consideration, but I just wanted

17        to look to staff.

18             MR. GRAVES:  Yes, sir.  And the basis of our

19        recommendation was on the prior order, Commission

20        order No. 23232 which we reference on page 10.  In

21        that one, the unit was down due to imprudence of

22        the company because the operators weren't licensed

23        or they needed to re-qualify.

24             However, I believe it was five days into the

25        outage they began essential repairs that they had

15

1        planned.  And from that point, the Commission said

2        you -- you can be credited back this time.  You

3        won't be required to refund that amount of money.

4             COMMISSIONER SKOP:  Okay.  So let's assume for

5        the sake of discussion that the units tripped and

6        it was a single unit trip on Turkey Point 3 for

7        whatever reason.  It could be the substation

8        outage.

9             So these rod position indicators I guess based

10        on my reading of the record obviously located on

11        the reactor head.  So is it as simple as just

12        walking into containment, fixing the rod position

13        indicators, walking out, flipping the switch and

14        the reactor is back on line or do you have to go

15        through additional steps, wait before entering

16        containment?

17             MR. GRAVES:  I believe they did have to wait

18        for it to cool down.

19             COMMISSIONER SKOP:  Okay.  So is any of that

20        identified within the 27 hours?

21             MR. GRAVES:  No, sir.

22             COMMISSIONER SKOP:  Okay.  And Commissioners,

23        just -- I'm going about this in a roundabout way.

24        I guess what I'm trying to discern is, you know,

25        certainly when you make assumptions to calculate

16

1        the refund, you know, obviously you have to put

2        some thought into that.  But in this case I'm a

3        little concerned that there may be

4        oversimplification to the extent that just by

5        looking at a document and saying from point A to

6        point B we had to fix the rod indicator whereas the

7        operating license revision basically said you have

8        to -- at the next shutdown you have to fix this.

9        I'm not trying to excuse FPL's performance, but I

10        do see this as a -- as a -- somewhat of a

11        mitigating event on Turkey Point 3 because they had

12        agreement with the NRC that says you have to do

13        this, it's a safety issue, and as soon as the unit

14        tripped, and it was a dual unit trip, but then in

15        some instances one could argue it became a singular

16        event to the extent that there was a specific

17        requirement to do repairs on Turkey Point 3 at the

18        next shutdown.  It didn't say at the next scheduled

19        or unscheduled.  It was -- you know, they couldn't

20        go operate this unit until it was fixed.

21             So I'm trying to discern what additionally

22        took -- you know, I could see witness Stall said 84

23        hours for a dual unit trip.  You know, I'm trying

24        to do some math to back in.  I'm looking at, you

25        know, 158, I believe, for Turkey Point 3 minus 27

17

1        but I'm not so sure that 27 embodies the entire

2        corpus of what would be required in a different

3        sense to go in and make the repairs if the unit

4        were shut down.  If you were coming for a scheduled

5        shutdown just to repair the rod position

6        indicators, you know, coming out with 100 percent

7        full power, I'm not so sure that you can go in and

8        do that and at the end of 27 hours be back at full

9        power.  That's -- that's my concern.

10             MR. GRAVES:  That's correct.  But there is

11        another variable in this particular case that we

12        had to take into account, and that was the events

13        that were happening at Turkey Point Unit 4 had some

14        impact on Turkey Point Unit 3, and that's why I

15        think it was appropriate that we took these

16        specific hours as opposed to a start time and an

17        end time.  Because we don't know how the events at

18        Turkey Point Unit 3 -- or Turkey Point Unit 4

19        affected those repairs on Turkey Point Unit 3.

20             COMMISSIONER SKOP:  But I think witness Stall

21        provided a general view of what would be required

22        to restore both units to full power in a dual unit

23        trip.  And I think he indicated there would be

24        approximately 84 to 134 hours; is that correct?

25             MR. GRAVES:  Yes, sir.  And our recommendation

18

1        falls within that time frame.

2             COMMISSIONER SKOP:  Okay.

3             MR. BALLINGER:  Commissioner Skop, if I may,

4        the hard thing, I understand what you're saying, is

5        did this really encompass everything.  The fact is

6        we asked -- we tried to identify the hours with the

7        specific events that were brought up through the

8        case:  The rod position indicator, the steam water

9        level on unit 4 and the broken relay in unit 4.  We

10        tried to isolate those hours in case there was

11        going to be an adjustment.

12             So we asked FPL to identify the hours

13        associated with the control rod positioning

14        indicators.  That's where we came up with the 27

15        hours.

16             Did that capture everything?  I can't say for

17        sure.  We were responding to the interrogatory

18        responses to try to isolate that.  As Robert said,

19        this does fall within the three to five-day window

20        that we had as far as for a dual unit trip so we

21        thought it was reasonable.

22             COMMISSIONER SKOP:  Again I was going to try

23        and address this separately.  On 4 I know there

24        were two events.  There was the relay for the

25        protective circuit which caused the automatic

19

1        shutdown and they ahd to repair that and that seems

2        to be equipment failure so probably not anyone's

3        fault, assuming they're operating the unit

4        prudently.

5             And then they had the manual reactor trip due

6        to the water level of one of the steam generators.

7        And again we discussed that extensively at hearing

8        as to, you know, some coordination concerns.  But

9        and staff in the recommendation has indicated that

10        there was nothing -- although I may be -- may

11        disagree, there was nothing in staff's view to

12        indicate that the units were operated imprudent not

13        only in the recovery but in the startup of the

14        units.  Is that generally correct?

15             MR. BALLINGER:  I think that's correct.  And

16        the hours for unit 4 was 107 hours which is well

17        within the three to five days.  Again as Robert

18        stated earlier, the initiating event was the

19        transmission event.  So basically the units then

20        went through a normal start-up procedure when you

21        trip a nuclear unit, three to five days.

22             And so I think what we're finding here is

23        nothing punitive.  It's reflecting what a normal

24        trip would be for a transmission event.  We didn't

25        see anything nor was the purpose of the hearing to

20

1        look at the prudence of the generating operation.

2        Came out either to the negative.

3             COMMISSIONER SKOP:  Certainly on unit 4 it was

4        delayed longer than probably it should have been,

5        probably by about 30 hours because of -- my

6        contacts are sticking -- the reactor trip for the

7        water levels obviously.  I think they testified

8        that it -- FPL testified it would be 30 additional

9        hours to resolve that and get the unit back online.

10             But I guess what -- what concerns me -- you

11        know, and that's debatable one way or another

12        whether that was excused performance because it's

13        in the normal startup mode.  But I think what gives

14        me pause, Commissioners, and again I'm in favor of

15        a substantial refund to the customers as they

16        should be entitled to in this case.

17             I do have a little consternation over the 27

18        hours on Turkey Point 3 because again I think FPL

19        was required by the NRC, it was a mitigating event,

20        that they really had to go make these repairs.  And

21        I'm not so sure that 27 hours effectively

22        encompasses the scope of the repair from the time

23        you can enter containment to effect the repair to

24        the time you can close containment and restart the

25        unit through power ascension.  I don't know what

21

1        the right number would be, but again if it's the

2        will of the Commission to approve the refund per

3        the staff recommendation, I'm fine with that.  But

4        I just thought --

5             CHAIRMAN ARGENZIANO:  Well let me ask you

6        this, Commissioner Skop.  Did the company have a

7        different number or have a different take on that?

8        Because I didn't see that.

9             COMMISSIONER SKOP:  I think the company's

10        take, which I did not agree with, is that the scope

11        of the event should be limited to eight hours until

12        transmission was stable.  And that to me is an

13        idealistic assumption.

14             I think witness Stall's testimony was far more

15        credible to the extent in a dual unit trip he

16        testified and was very candid that the time to

17        restore a dual unit would be 84 to 134 hours.  And

18        I think that, you know, if you have a dual unit

19        trip, obviously that was resulting from the fault

20        at the substation.  But once that trip occurred and

21        once you're past the eight hours, then I think you

22        need to start looking at are there mitigating

23        events.

24             And in this instance there was a mitigating

25        event as it pertained to Turkey Point 3 which I

22

1        feel the 27 hours is somewhat idealistic to the

2        extent that it ignores I think some reality of the

3        fact that you just -- you know, I don't think

4        that -- I don't think it's as simple as the unit

5        trips, 27 hours later after you've made the repair

6        you just walk out and flip the switch.  That's

7        what's giving me some pause here.

8             MR. BALLINGER:  And maybe this will help.  The

9        repair of the control rod indicators were done in

10        parallel with other activities going on with normal

11        startup.  So you're right.  You can't just go in,

12        do it in 27 hours, flip the switch back on.  Once

13        the unit tripped because of the transmission event,

14        it was going to take three to five days to get it

15        back up per the testimony at the hearing.

16             COMMISSIONER SKOP:  Right.

17             MR. BALLINGER:  That 27 hours was within that

18        window.  We felt it was appropriate to make that

19        adjustment.

20             COMMISSIONER SKOP:  Okay.  But in terms of the

21        27 hours, is staff aware in the record evidence

22        were there any additional reasons -- I know that

23        staff explains on Turkey Point 4 there are some

24        very specific reasons that cause the delay.  But on

25        Turkey Point 3, it seems that the -- pursuant to

23

1        the NRC, operating license amendment, they had to

2        go fix this.  And I don't know whether it was

3        trying to bring both up together or separately.

4        But there's nothing there at least to me to explain

5        the remainder of the 158 hours other than the unit

6        didn't come in service.

7             I know there may be some things that have to

8        be done.  But if the unit were going to schedule

9        outage solely for the rod position indicator, I

10        don't think you're back on line in 27 hours at full

11        power.

12             CHAIRMAN ARGENZIANO:  Okay.  Let's --

13             MR. BALLINGER:  No, you're not.  And I agree

14        with that.  I don't think there was any other

15        mitigating circumstances but I'll double-check with

16        Robert.

17             MR. GRAVES:  No, sir, there wasn't.

18             COMMISSIONER EDGAR:  Okay.  Where are we at?

19        Do you want to make a motion?

20             COMMISSIONER SKOP:  Well, I guess I'd look to

21        the bench to see if -- I mean, if there's any merit

22        in the 27 hours in terms of making additional

23        adjustment on Turkey Point 3.  I do think there is

24        a mitigating event there.  I'm trying to be fair to

25        FPL but recognizing that there will be a

24

1        substantial refund to the customers.

2             If the will of the bench is to vote the staff

3        recommendation, I'm prepared to make a motion for

4        that.  But if we want to discuss this further and

5        get a revised number from staff, you know, I can

6        ask staff to run a revised calculation based on a

7        slightly smaller number.

8             CHAIRMAN ARGENZIANO:  Any other questions?

9        Commissioner Edgar, do you have any?  I have no

10        other questions at this point.

11             COMMISSIONER SKOP:  Okay.

12             CHAIRPERSON ARGENZIANO:  Do you want to --

13        Commissioner Edgar, are you --

14             COMMISSIONER EDGAR:  I guess,

15        Commissioner Skop, if you could, you're saying

16        you're potentially considering asking staff to do a

17        revised calculation based on a somewhat different

18        time period.  I'm not clear on what time period it

19        is that you're putting out there as an alternative.

20             COMMISSIONER SKOP:  I think with respect to

21        Turkey Point 3, what staff did was take the total

22        outage time, the 158 hours, and subtracted 27,

23        which I think if my math is correct, I think it

24        leaves you with 131.

25             I guess looking at witness Stall's testimony

25

1        with respect to a dual trip, he said 84 to 134

2        hours.  You know, I think perhaps somewhere in the

3        midpoint between that number may be a more

4        appropriate number, 100 hours versus 131.  I think

5        that would probably be consistent with looking at

6        the time to bring a single unit back on line by

7        witness Stall was 48 hours, and that's with, you

8        know, trouble shooting or what have you.  But I

9        think that there's something to be said for looking

10        at the intervening event on Turkey Point 3 in the

11        interest of fairness.

12             COMMISSIONER EDGAR:  And again I'm just trying

13        to be clear.  Looking at a slightly different time

14        period as far as the intervening event, I think you

15        gave me a range but all I heard was 100.  Is that

16        the number?  I'm just not clear what number you're

17        proposing.

18             COMMISSIONER SKOP:  I thought 100, somewhere

19        between the midpoint, whatever the midpoint is

20        between 84 and 134 I feel would probably be a more

21        appropriate number.  And I think that in terms of

22        total impact of the refund, it would not be very

23        great.  I think the refund would be the majority of

24        what staff is recommending, although it would

25        reduce it slightly.

26

1             CHAIRMAN ARGENZIANO:  I'm just not comfortable

2        with doing that so quickly at this time because I

3        don't know all of the ramifications of that or the

4        justifications of that.  So if somebody could --

5             MR. BALLINGER:  We can quickly calculate the

6        number.  That's not the hard part.  The hard part

7        to me is picking that number from the record.

8             CHAIRMAN ARGENZIANO:  That's what I'm

9        having -- that's why I say justification.  And

10        that -- I don't think you could do that in five

11        minutes here.

12             COMMISSIONER EDGAR:  Or rationale.  And -- I

13        mean, that's what I want to be -- and I know we've

14        discussed this for a while and I'm sure everybody

15        is hungry, but you want to say a range, midpoint

16        between 134 and 84, is that what you said, which

17        would bring us to about 114, I think?

18             COMMISSIONER SKOP:  I believe so.

19             COMMISSIONER EDGAR:  Okay.  And so let me try

20        it this way.  If 114 is the number that you are --

21        are putting out there for discussion at this point,

22        how would you explain the rationale for 114 versus

23        the other number, the larger number?

24             COMMISSIONER SKOP:  I think if my math is

25        right, it would be 109, 109 hours is the midpoint

27

1        or the average between those two numbers.  But

2        again, I'm pretty tired so I'll trust your math

3        over mine.

4             COMMISSIONER EDGAR:  Don't necessarily trust

5        my math.  That -- we'll look to staff for the math.

6        It's the rationale that I'm trying to --

7             COMMISSIONER SKOP:  Right.  The rationale I

8        think, Commissioner Edgar, is very simple.  In

9        terms of Turkey Point 3, there was a mitigating

10        event that I think somewhat excuses FPL to the

11        extent that the NRC specifically required FPL to

12        effect repairs on the Turkey Point 3 unit at the

13        next shutdown, and those repairs had to be made.

14             I don't know if there were other events that

15        caused Turkey Point 3 not to enter service at

16        100 percent power quicker than it did.  But the 27

17        hours to me is somewhat of an over-simplified

18        assumption that does -- I don't feel embodies the

19        entire scope of the time that it would take to, you

20        know, trip the unit, make the repairs, have the

21        unit come back into service.  It's got to be more

22        than 27 hours.  I think Mr. Ballinger --

23             CHAIRPERSON ARGENZIANO:  Okay.  Let's do this.

24        Ask staff.  You came to the conclusion of 27 hours.

25        And if there were this mitigating circumstance, how

28

1        would you suddenly, or now how do you come to

2        the -- I can't even think of the word I'm trying to

3        say -- come to the -- the number that

4        Commissioner Skop is indicating that there could

5        have been or should have been more time because of

6        this mitigating circumstance.  And could you again

7        tell me, did you take into consideration the

8        mitigating circumstance of them having to do this

9        rod --

10             MR. BALLINGER:  The 27 hours in staff's mind

11        was the mitigating circumstance.  It was a

12        pre-required outage by the NRC to do these repairs.

13        We specifically asked the company to identify the

14        hours associated with the repairs.  That's where we

15        came up with the 27 hours.

16             I understand Commissioner Skop's concern about

17        that number.  And maybe it didn't encompass

18        everything.

19             Another way to look at it is unit 4 was down

20        for 107 hours.  One could logically perhaps think

21        that unit 3 should have been down for that long as

22        well.  Absent these mitigating things, you can have

23        the same number of hours there.

24             What's a little troubling I'd like to discuss

25        with legal staff is record evidence to that effect.

29

1        Can the Commission make that adjustment just based

2        on the numbers in the record or are our hands tied?

3        I don't -- I don't know that answer yet.

4             CHAIRMAN ARGENZIANO:  Commissioner Skop?

5             COMMISSIONER SKOP:  Thank you, Madam Chair.

6        And I'll make this brief.  To Mr. Ballinger, I

7        think my concern is if there were a trip on Turkey

8        Point 3 under the circumstances where pursuant to

9        the NRC amendment to the operating license FPL had

10        to make repairs, how soon could FPL enter

11        containment after the trip?

12             MR. BALLINGER:  I think they started in hour

13        seven.

14             MR. GRAVES:  It was 7 hours that they entered.

15             COMMISSIONER SKOP:  Okay.  And the -- is it

16        your understanding that the rod position indicator

17        is located on the reactor head?

18             MR. BALLINGER:  Yes.

19             COMMISSIONER SKOP:  So after they enter seven

20        hours plus seven hours into the event and make the

21        repairs 27 hours later, do they just walk out of

22        the reactor and flip the switch?

23             MR. BALLINGER:  No.  At hour 34 they had other

24        things they had to do as a result of the trip to

25        get the unit to full power.  That's why I said

30

1        these were done in parallel with other events going

2        on.

3             COMMISSIONER SKOP:  But again, let's look at

4        this as an unscheduled -- as a scheduled shutdown

5        solely for the purpose of the rod position

6        indicator repair.

7             So the unit trips, you wait seven hours, you

8        go into containment, you're working on the reactor

9        head, you finish your repairs, you close

10        containment.  Does the reactor start right back up?

11             MR. BALLINGER:  Not to my knowledge, no.

12             COMMISSIONER SKOP:  So would not -- that 27

13        hours does not include the startup time for a

14        scheduled outage?

15             MR. BALLINGER:  That's correct.  And this

16        event we're trying to -- I think of it this way.

17        Had there been no NRC requirement to do these

18        repairs, these specific repairs, it's staff's

19        belief that it would have taken 131 hours from the

20        tip to get Unit 3 back on line just as a normal

21        course of restarting a nuclear unit after a trip.

22        That's -- that's our recommendation to you from

23        where we identify the 27 hours.  We tried to

24        isolate the hours associated with that repair

25        knowing that there's other things going on as a

31

1        result of a trip to get a unit started.

2             COMMISSIONER SKOP:  Okay.  Fair enough.  But

3        again I think what -- what -- what's missing here,

4        Commissioners, is that, you know, that analogy

5        works and it's a simplifying assumption.  But if

6        the unit were coming down in a scheduled outage

7        solely for the rod position indicator, unit trips,

8        boom, you have to wait to enter containment, you

9        effect repairs, you know, seven hours plus 27 hours

10        you close containment, you don't just start right

11        back up.  There's this incremental start up time

12        and power ascension to get back to 100 percent full

13        power that I don't think is being recognized within

14        the 27 hours because you had to wait seven hours to

15        get in there to begin with.

16             And again you don't just walk into

17        containment.  You know, you have to do procedures

18        and set things up.  But again I'm thinking the 27

19        hours with all due respect doesn't give full credit

20        to the time that it would take absent this event to

21        trip, repair, exit containment and restart.  I

22        don't think 27 hours --

23             CHAIRPERSON ARGENZIANO:  Okay.  Let's do this

24        because we've gone over this ten times.  Give me

25        your final answer on this and I'm ready to approve

32

1        staff's recommendation, I believe, unless you say

2        something that just doesn't jive with me.

3             MR. BALLINGER:  I -- I understand, and there

4        are some gray areas in this so I can understand

5        where Commissioner Skop is coming from.  But

6        unfortunately we dealt with the record.  I've got

7        to deal with what's in there.

8             And we tried to, knowing as the case was

9        progressing, seeing these three areas that the

10        company was saying were mitigating circumstances,

11        if you will.  The control rod indicators for unit

12        3, the high water level and the broken relay in

13        unit 4.  So staff tried to identify those hours if

14        there was going to be an adjustment through

15        discovery.  That's where we came up with the 27

16        hours and I think that would be our final one right

17        now.

18             COMMISSIONER EDGAR:  Let me ask one more

19        question and then --

20             CHAIRPERSON ARGENZIANO:  Commissioner Edgar.

21             COMMISSIONER EDGAR:  -- I'm ready to see where

22        it takes us.

23             Trying to hearken back to the hearing, can you

24        advise me as to this.  The -- obviously and from

25        the information in front of us and of course from

33

1        our recollection from hearing and the record, the

2        company proposed a much smaller amount as what they

3        should be required to refund based on a shorter

4        time period.  The point that Commissioner Skop has

5        raised as to perhaps giving a greater amount of

6        time or allowance than the 27 hours, was that point

7        raised or proposed by the company or discussed by

8        one of their witnesses?

9             MR. GRAVES:  No, ma'am, it wasn't.

10             CHAIRPERSON ARGENZIANO:  Okay.  That

11        particular -- I'm sorry, that particular concern

12        that he raised, is that the --

13             COMMISSIONER EDGAR:  That's what I was trying

14        to ask.

15             CHAIRPERSON ARGENZIANO:  Okay.  Okay.  Go

16        ahead.  Continue.

17             MR. GRAVES:  I didn't hear.  Did you ask a

18        question?

19             CHAIRMAN ARGENZIANO:  No.  I was trying to

20        make sure I got the question was to the specific

21        point that Commissioner Skop had raised about if

22        the company had brought up that point.

23             MR. GRAVES:  Oh, no, ma'am.

24             CHAIRMAN ARGENZIANO:  Okay, Commissioners.

25        Commissioner Skop.

34

1             COMMISSIONER SKOP:  Thank you, Madam Chair.  I

2        have just one quick question on Issue 2.

3             To staff, Public Counsel and FIPUG supported a

4        one-time refund and I believe that on the bottom of

5        page 14 of the staff recommendation staff noted the

6        company indicated it would be $70,000 in 60 days to

7        implement but staff further agrees on page 16 that

8        the refund amount should not be borne by the

9        ratepayers.

10             I guess why, why did staff look towards the

11        2010 fuel cost recovery net true-up which, you

12        know, pushes the refund out because it lowers the

13        fuel rates.  It's an offset to fuel cost in the

14        future as opposed to, you know, what the position

15        that the attorney general and FIPUG took.

16             MS. ROBERTS:  Good afternoon, Commissioners.

17        Arlisha Roberts with staff.  The reason why staff

18        decided -- the reason why staff concluded to put it

19        within the 2010 fuel factors, I've been looking at

20        everything in the record, looking at the amount

21        that it was going to cost the company to implement

22        a one-time refund, looking at where we were within

23        the year.  We decided -- I decided that it was --

24        it was the most efficient means of getting this

25        money back to the customers, trying to be as

35

1        neutral as possible with the information there,

2        looking out for the customers, looking out for the

3        company, and just making the best decision with the

4        information that was there, that this was the best

5        method to refund this money back to the customers.

6             COMMISSIONER SKOP:  Madam Chair, as a

7        follow-up to that, doing under staff's option is to

8        recognize the refund amount including interest

9        during the 2010 fuel proceeding.  I guess my

10        question is staff's articulated an interest amount,

11        and that interest amount for today would be

12        consistent with the one-time refund made in the

13        near future.  If we wait, does interest continue to

14        accrue?

15             MS. ROBERTS:  Yes, it continues to accrue.

16             COMMISSIONER SKOP:  So that brings me to my

17        point on the one-time credit consistent with Public

18        Counsel and FIPUG they indicated a cost which

19        really isn't material to my consideration in

20        deciding the $70,000.  My question is if we wait,

21        the interest that accrues on the principle is

22        probably going to be higher than the $70,000 to do

23        it now.  Is that reasonable based on a couple -- a

24        $14 million refund?

25             MS. ROBERTS:  Well, Daniel Lee could speak

36

1        regarding the interest.

2             COMMISSIONER SKOP:  Which would probably cost

3        the company more to wait than it would to refund it

4        now to the ratepayers.

5             MR. LEE:  Commissioners, Daniel Lee with

6        staff.  The interest for 2010 this year is about

7        $2 -- the whole year is about $2 per thousand

8        dollar refund.  It's very small.

9             And with our recommendation, our current

10        practice, this will -- we will just ask -- the

11        practice is that the company will, as we address in

12        the page 12, we said these -- at the bottom of the

13        table we said consistent with Commission practice,

14        the company should make an adjustment to its

15        year-end 2009 true-up to reflect the Commission

16        decision.  The practice ensured that the amount

17        will continue to have interest effect based on

18        actual interest rate until the full recovery under

19        the true-up process.  So to answer your question,

20        really the interest amount is much smaller than

21        the --

22             COMMISSIONER SKOP:  Well, I understand the

23        interest amount is much smaller, and I don't want

24        to belabor the point, Commissioners, because I know

25        it's getting late.  The interest amount shown on

37

1        page 12 is 360 -- almost $361,000.

2             The one-time refund obviously cost FPL some

3        money but that's, you know, not OPC's concern, it's

4        not FIPUG's concern.  It should be the Commission's

5        concern.

6             My concern is is it more cost-effective for

7        the company's perspective to refund now than it

8        would be to let this interest continue to accrue

9        for 12 months.  And if -- if it's a cost benefit to

10        the company, it seems that the company would credit

11        the customers now rather than accruing additional

12        interest, because the additional interest cost

13        might exceed the interest of -- of the cost of

14        doing it now with the interest that's accrued

15        today, if that makes sense.  It makes sense to me.

16             MR. LEE:  Well, everybody's situation is

17        probably differently.

18             COMMISSIONER SKOP:  Okay.  All right.  I've

19        had enough.  Madam Chair, at the appropriate time

20        I'd like to make a motion to approve staff

21        recommendation for Issues 1 and 2.

22             CHAIRPERSON ARGENZIANO:  Commissioner Edgar?

23             COMMISSIONER EDGAR:  I'll be glad to second

24        that motion.

25             CHAIRPERSON ARGENZIANO:  All right.  Did you

38

1        make a motion?

2             COMMISSIONER SKOP:  I did.  Let me recite it

3        for the record.

4             Madam Chair, with respect to the disposition

5        of Item 4 before the Commission, I move to approve

6        staff recommendation on Issues 1 and 2.

7             COMMISSIONER EDGAR:  And 3.

8             COMMISSIONER SKOP:  And 3.

9             CHAIRPERSON ARGENZIANO:  And we have a second?

10             COMMISSIONER EDGAR:  Second.

11             CHAIRMAN ARGENZIANO:  All those in favor say

12        aye.

13             (Unanimous.)

14             CHAIRMAN ARGENZIANO:  Opposed same sign.

15             Thank you very much.

16             (Discussion concluded.)

17                         *    *    *

18

19

20

21

22

23

24

25

39

1                 CERTIFICATE OF REPORTER

2

3

4

5   STATE OF FLORIDA         )

6   COUNTY OF LEON           )

7

8             I, LORI DEZELL, RPR, CCR, certify that I was

9   authorized to and did stenographically report the

10   proceedings herein, and that the transcript is a true

11   and complete record of my stenographic notes.

12             I further certify that I am not a relative,

13   employee, attorney or counsel of any of the parties, nor

14   am I a relative or employee of any of the parties'

15   attorney or counsel connected with the action, nor am I

16   financially interested in the action.

17             WITNESS my hand and official seal this 3rd day

18   of June, 2010.

19

20

21                       ______________________________

22                       LORI DEZELL, RPR, CCR

2894-A Remington Green Lane

23                       Tallahassee, Florida  32308

850-878-2221

24

25