1

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:

4                                          DOCKET NO. 120038-EI

5       PETITION TO MODIFY VEGETATION

MANAGEMENT PLAN BY TAMPA ELECTRIC

6       COMPANY.

__________________________________/

7

8

9

10

11

12

13

PROCEEDINGS:    COMMISSION CONFERENCE AGENDA

14                       ITEM NO. 6

15       COMMISSIONERS

PARTICIPATING:  CHAIRMAN RONALD A. BRISÉ

16                       COMMISSIONER LISA POLAK EDGAR

COMMISSIONER ART GRAHAM

17                       COMMISSIONER EDUARDO E. BALBIS

COMMISSIONER JULIE I. BROWN

18

19       DATE:           Tuesday, May 22, 2012

20

PLACE:          Betty Easley Conference Center

21                       Room 148

4075 Esplanade Way

22                       Tallahassee, Florida

23       REPORTED BY:    JANE FAUROT, RPR

Official FPSC Reporter

24                       (850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1                        P R O C E E D I N G S

2                 CHAIRMAN BRISÉ:  Moving on to Item Number 6.

3                 MR. DOWDS:  Good morning, Commissioners.

4       Dave Dowds with ECR staff.

5                 Item 6 pertains to TECO's request to make a

6       modification to its vegetation management plan.

7       Specifically, what they propose to do is to modify their

8       trim cycle for distribution circuits from a three-year

9       cycle to a four-year cycle.  Staff recommends approval.

10                 I note that various representatives of TECO

11       are here, and I believe they are primarily to answer any

12       questions the Commissioners might have.

13                 MR. BEASLEY:  Mr. Chairman, Jim Beasley for

14       Tampa Electric Company.  With me, to my left, is Mr.

15       David Sweat, Director of Engineering and Operations

16       Services of Tampa Electric Company.  To his left, Mr.

17       Mike Derrick, Mickey Derrick with Davies Consulting,

18       Incorporated, and to his left, Howard Bryant, Manager

19       of Rates for Tampa Electric.

20                 We are in support of the staff's

21       recommendation and urge that you approve it, and we

22       would be happy to address any questions you may have.

23                 CHAIRMAN BRISÉ:  Thank you very much.

24                 Commissioner Balbis.

25                 COMMISSIONER BALBIS:  Thank you, Mr.

FLORIDA PUBLIC SERVICE COMMISSION

3

1       Chairman.

2                 I have a few questions for TECO.  And, first

3       of all, I want to commend you for looking at what the

4       most efficient way to maintain your system to provide

5       reliable service to your customers, and I think that a

6       continuous effort to do that should be recognized.

7                 I have some questions primarily focusing on

8       the 2010 service reliability report that summarizes the

9       different benchmarks and measures that each utility

10       takes to address reliability.  And I don't know if you

11       have that in front of you, but more of a general

12       question.  It does appear that some of the metrics, that

13       even with these measures, vegetation removal, et cetera,

14       some of the metrics are getting longer or are getting

15       worse.

16                 For example, the CAIDI metrics appears to have

17       gotten worse over the past four years along with the

18       average duration of outages seems to have increased a

19       little bit, and the number of events per customer

20       dealing with vegetation issues has increased a little

21       bit.  And I know this is an attempt -- these benchmarks

22       are an attempt to kind of track your efforts, but is

23       there a way you can explain that, and how will this

24       change affect those numbers?

25                 MR. SWEAT:  Thank you, Mr. Commissioner.

FLORIDA PUBLIC SERVICE COMMISSION

4

1       This is David Sweat.  I'll answer that question.

2                 In particular, are you talking about something

3       that -- from an older report, is that what you said?

4                 COMMISSIONER BALBIS:  Yes, the 2010 report.

5       I do not have the latest data, and I don't know if the

6       staff does, or at least they didn't provide it to me.

7                 MR. SWEAT:  I do have some of the information

8       from the older SAIDI numbers.  And one of the things

9       that we had shown on that particular graph would be

10       that the highest SAIDI values tended to be where we

11       have the most rural locations.  In particular, Plant

12       City and Dade City tended to be some of our more rural

13       areas, longer circuits, a little bit longer time to

14       maybe restore.

15                 But as you mentioned, we have had some

16       reduction over time, and we do believe that some of our

17       efforts to do the tree-trimming has had an impact on

18       that.  Once again, SAIDI is not just for tree-trimming.

19       It could be due to weather, some of the other -- animals

20       and, you know, a car hit pole, those type of things, as

21       well.

22                 COMMISSIONER BALBIS:  And I agree, I think

23       that the data shows that the SAIDI numbers have

24       improved.  But as far as the CAIDI numbers, which is

25       most the customer average index that seems to have

FLORIDA PUBLIC SERVICE COMMISSION

5

1       gotten longer.  And I know there's a lot of things

2       involved with it, but I'm just curious as to why those

3       numbers have changed.

4                 MR. SWEAT:  Well, with the CAIDI number

5       itself, as we were looking earlier, over time -- let me

6       just for a moment, if I can get my notes here.

7                 COMMISSIONER BALBIS:  Sure.

8                 MR. SWEAT:  It appears that the numbers have

9       come down -- if I'm looking at the correct numbers from

10       2007, we did have some, a 2008 year that had gone down,

11       but the 2010 and '11 numbers do appear to be reducing

12       somewhat.

13                 The trend itself is going to be, I guess,

14       mostly due to the fact that some of the circuits may

15       have a better or worse reliability on that particular

16       circuit.  So it depends on which circuits we're trimming

17       as to what the numbers would be.  Over time it appears

18       that this number here was actually decreasing, unless

19       I'm looking at the wrong information.

20                 COMMISSIONER BALBIS:  Well, again, all I have

21       is 2006 and 2010, and it appears it has gotten -- the

22       numbers have gotten larger, indicating a longer outage

23       or average interruption duration.  But then I guess --

24       I think we're working off different data.

25                 MR. SWEAT:  I'm sorry, I was looking at

FLORIDA PUBLIC SERVICE COMMISSION

6

1       another line there.  You're correct, in 2010 the number

2       was higher.  In 2011 it had started to decrease a

3       little bit there.

4                 COMMISSIONER BALBIS:  Okay.  And, again, I

5       guess the real question is with this change in the

6       maintenance schedule, what effect, if any, and I know

7       in the recommendation it does have the modeling

8       results, but do you feel that customers will not be

9       negatively impacted?

10                 MR. SWEAT:  Right.  As far as the SAIDI

11       number is concerned, when we talked about SAIDI, we

12       said 2.67 minutes would be the impact over time on the

13       average annual, which is a very small percentage of the

14       actual minutes over the course of a year,

15       .0005 percent.  We have no reason to believe that the

16       CAIDI would have much more of a change than that.  It

17       probably would fall very much in line with SAIDI, a

18       very small impact.

19                 COMMISSIONER BALBIS:  Okay.  And then I guess

20       the final question I have for staff, on Page 6 of your

21       recommendation you state that the previous Commission

22       order that mentions that any proposed changes should

23       have no impact on reliability, and I just want to

24       confirm that the 2.67 minutes you feel is not

25       significant enough to warrant that additional

FLORIDA PUBLIC SERVICE COMMISSION

7

1       expenditure, is that correct?

2                 MR. DOWDS:  That's correct, sir.  We think

3       it's de minimis.

4                 COMMISSIONER BALBIS:  Okay.  Thank you.

5       That's all I had.

6                 And with that, I move staff's recommendation

7       on this item.

8                 CHAIRMAN BRISÉ:  All right.  It has been

9       moved and seconded.  All in favor say aye.

10                 (Vote taken.)

11                 CHAIRMAN BRISÉ:  All right.  It has been

12       approved.  Thank you very much.

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

8

1       STATE OF FLORIDA   )

2                          :     CERTIFICATE OF REPORTER

3       COUNTY OF LEON     )

4

I, JANE FAUROT, RPR, Chief, Hearing Reporter

5       Services Section, FPSC Division of Commission Clerk, do

hereby certify that the foregoing proceeding was heard

6       at the time and place herein stated.

7             IT IS FURTHER CERTIFIED that I

stenographically reported the said proceedings; that

8       the same has been transcribed under my direct

supervision; and that this transcript constitutes a

9       true transcription of my notes of said proceedings.

10             I FURTHER CERTIFY that I am not a relative,

employee, attorney or counsel of any of the parties,

11       nor am I a relative or employee of any of the parties'

attorney or counsel connected with the action, nor am I

12       financially interested in the action.

13             DATED THIS 24th day of May, 2012.

14

15

___________________________________________

16                           JANE FAUROT, RPR

Official FPSC Hearings Reporter

17                            (850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION