## Unit & Fin Data-input
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 3
Tab 1 of 9
Table Staff-18c
Unit Operating and Cost Data
Wind Unit
Operating and Cost Data
| Technology | Wind
Fuel
| Fuel Type Number (see fuel price pages) | 1
| Geographic location (for Gas) | (1)
| Gas MMBTU/day (e.g 200,000 per 3x1 CC) | 0
| Gas Transportation Cost $/MMBTU | 0
| Transportation Cost $/KW | 0
| Base Operation (MW) annual average rating | 100
| Base Op 'Heat Rate, 75 deg. F (BTU/KWH) | 0
| Capacity payment ($/kw month) | N
| Fixed O&M ($/KW-yr) see note | 27.34
| Capital Replace ($/kW-Yr) | 0
| VOM ($/MWh) | 0
| Nox emission rate (lb/mmbtu) | 0
| SO2 emission rate (lb/mmbtu) | 0
| CO2 emission rate (lb/mmbtu) | 0
| Hg emission rate (lb/ trillion btu) | 0
Financial Data
| Discount rate | 7.54%
| I/S Year of Units for comparison | 2022
| Book Life (from EDM) or length of proposal | 31
| Costs entered in year $ (FOM and Cap. Repl.) | 2014
Note: | The costs in this page for units can be input in different years and the costs will be automatically adjusted to
the i/s year of the analysis.

## O&M escalators-input
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 3
Tab 2of 9
Table Staff-18c
Screening Curve Analysis : O&M Escalators
Cost escalation
[5 empty] | Interim step Unit 1 |  |  | interim step Unit 1 |  |  | Cumulative esc Unit 1 |  |  | Interim step Unit 2 |  |  | interim step Unit 2
| Year | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI)
| 2014 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2015 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2016 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.0506 | 1.0506 | 1.0506 | 1.0506 | 1.0506 | 1.0506 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2017 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.0769 | 1.0769 | 1.0769 | 1.0769 | 1.0769 | 1.0769 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2018 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1038 | 1.1038 | 1.1038 | 1.1038 | 1.1038 | 1.1038 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2019 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2020 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1597 | 1.1597 | 1.1597 | 1.1597 | 1.1597 | 1.1597 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2021 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1887 | 1.1887 | 1.1887 | 1.1887 | 1.1887 | 1.1887 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2022 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.2184 | 1.2184 | 1.2184 | 1.2184 | 1.2184 | 1.2184 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2023 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.2489 | 1.2489 | 1.2489 | 1.2489 | 1.2489 | 1.2489 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2024 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.2801 | 1.2801 | 1.2801 | 1.2801 | 1.2801 | 1.2801 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.3121 | 1.3121 | 1.3121 | 1.3121 | 1.3121 | 1.3121 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2026 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.3449 | 1.3449 | 1.3449 | 1.3449 | 1.3449 | 1.3449 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2027 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.3785 | 1.3785 | 1.3785 | 1.3785 | 1.3785 | 1.3785 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2028 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.413 | 1.413 | 1.413 | 1.413 | 1.413 | 1.413 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2029 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.4483 | 1.4483 | 1.4483 | 1.4483 | 1.4483 | 1.4483 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2030 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.4845 | 1.4845 | 1.4845 | 1.4845 | 1.4845 | 1.4845 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2031 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.5216 | 1.5216 | 1.5216 | 1.5216 | 1.5216 | 1.5216 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2032 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.5597 | 1.5597 | 1.5597 | 1.5597 | 1.5597 | 1.5597 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2033 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.5987 | 1.5987 | 1.5987 | 1.5987 | 1.5987 | 1.5987 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2034 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.6386 | 1.6386 | 1.6386 | 1.6386 | 1.6386 | 1.6386 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2035 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.6796 | 1.6796 | 1.6796 | 1.6796 | 1.6796 | 1.6796 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2036 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.7216 | 1.7216 | 1.7216 | 1.7216 | 1.7216 | 1.7216 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2037 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.7646 | 1.7646 | 1.7646 | 1.7646 | 1.7646 | 1.7646 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2038 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.8087 | 1.8087 | 1.8087 | 1.8087 | 1.8087 | 1.8087 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2039 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.8539 | 1.8539 | 1.8539 | 1.8539 | 1.8539 | 1.8539 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2040 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.9003 | 1.9003 | 1.9003 | 1.9003 | 1.9003 | 1.9003 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2041 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.9478 | 1.9478 | 1.9478 | 1.9478 | 1.9478 | 1.9478 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2042 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.9965 | 1.9965 | 1.9965 | 1.9965 | 1.9965 | 1.9965 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2043 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.0464 | 2.0464 | 2.0464 | 2.0464 | 2.0464 | 2.0464 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2044 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.0976 | 2.0976 | 2.0976 | 2.0976 | 2.0976 | 2.0976 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2045 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.15 | 2.15 | 2.15 | 2.15 | 2.15 | 2.15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2046 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.2038 | 2.2038 | 2.2038 | 2.2038 | 2.2038 | 2.2038 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2047 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.2589 | 2.2589 | 2.2589 | 2.2589 | 2.2589 | 2.2589 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2048 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.3153 | 2.3153 | 2.3153 | 2.3153 | 2.3153 | 2.3153 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2049 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.3732 | 2.3732 | 2.3732 | 2.3732 | 2.3732 | 2.3732 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2050 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.4325 | 2.4325 | 2.4325 | 2.4325 | 2.4325 | 2.4325 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2051 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.4933 | 2.4933 | 2.4933 | 2.4933 | 2.4933 | 2.4933 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2052 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.5557 | 2.5557 | 2.5557 | 2.5557 | 2.5557 | 2.5557 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2053 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.6196 | 2.6196 | 2.6196 | 2.6196 | 2.6196 | 2.6196 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2054 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.6851 | 2.6851 | 2.6851 | 2.6851 | 2.6851 | 2.6851 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2055 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.7522 | 2.7522 | 2.7522 | 2.7522 | 2.7522 | 2.7522 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2056 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.821 | 2.821 | 2.821 | 2.821 | 2.821 | 2.821 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2057 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.8915 | 2.8915 | 2.8915 | 2.8915 | 2.8915 | 2.8915 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2058 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.9638 | 2.9638 | 2.9638 | 2.9638 | 2.9638 | 2.9638 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2059 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.0379 | 3.0379 | 3.0379 | 3.0379 | 3.0379 | 3.0379 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2060 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.1139 | 3.1139 | 3.1139 | 3.1139 | 3.1139 | 3.1139 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2061 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.1917 | 3.1917 | 3.1917 | 3.1917 | 3.1917 | 3.1917 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2062 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.2715 | 3.2715 | 3.2715 | 3.2715 | 3.2715 | 3.2715 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 2063 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.3533 | 3.3533 | 3.3533 | 3.3533 | 3.3533 | 3.3533 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Fuel prices-input
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 3
Tab 3 of 9
Table Staff-18c
Fuel prices $/MMBTU nominal
Fuel Source:
do not remove |  | 0
1 |  | 1
2 | 2014 | 0
3 | 2015 | 0
4 | 2016 | 0
5 | 2017 | 0
6 | 2018 | 0
7 | 2019 | 0
8 | 2020 | 0
9 | 2021 | 0
10 | 2022 | 0
11 | 2023 | 0
12 | 2024 | 0
13 | 2025 | 0
14 | 2026 | 0
15 | 2027 | 0
16 | 2028 | 0
17 | 2029 | 0
18 | 2030 | 0
19 | 2031 | 0
20 | 2032 | 0
21 | 2033 | 0
22 | 2034 | 0
23 | 2035 | 0
24 | 2036 | 0
25 | 2037 | 0
26 | 2038 | 0
27 | 2039 | 0
28 | 2040 | 0
29 | 2041 | 0
30 | 2042 | 0
31 | 2043 | 0
32 | 2044 | 0
33 | 2045 | 0
34 | 2046 | 0
35 | 2047 | 0
36 | 2048 | 0
37 | 2049 | 0
38 | 2050 | 0
39 | 2051 | 0
40 | 2052 | 0
41 | 2053 | 0
42 | 2054 | 0
43 | 2055 | 0
44 | 2056 | 0
45 | 2057 | 0
46 | 2058 | 0
47 | 2059 | 0
48 | 2060 | 0
49 | 2061 | 0
50 | 2062 | 0
51 | 2063 | 0

## Emission costs-input
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 3
Tab 4 of 9
Table Staff-18c
Emission prices $/ton nominal
source: | 2014 ICF ENV II
Year | Nox Emission Cost in $ per ton | SO2 Emission Cost in $ per ton | CO2 Emission Cost in $ per ton | Hg Emission Cost in $ per pound
2014 | 496.7158 | 369.9981 | 0 | 0
2015 | 509.1337 | 246.1944 | 0 | 0
2016 | 521.862 | 57.9847 | 0 | 0
2017 | 534.9086 | 59.4343 | 0 | 0
2018 | 548.2813 | 60.9201 | 0 | 0
2019 | 561.9883 | 62.4431 | 0 | 0
2020 | 576.038 | 64.0042 | 0 | 0
2021 | 590.439 | 65.6043 | 0 | 0
2022 | 605.2 | 67.2444 | 0 | 0
2023 | 620.33 | 68.9256 | 8.5054 | 0
2024 | 635.8382 | 70.6487 | 9.7778 | 0
2025 | 651.7342 | 72.4149 | 11.1953 | 0
2026 | 668.0275 | 74.2253 | 12.7667 | 0
2027 | 684.7282 | 76.0809 | 14.501 | 0
2028 | 701.8464 | 77.9829 | 16.4232 | 0
2029 | 719.3926 | 79.9325 | 18.7522 | 0
2030 | 737.3774 | 81.9308 | 21.3676 | 0
2031 | 755.8118 | 83.9791 | 24.1729 | 0
2032 | 774.7071 | 86.0786 | 27.2628 | 0
2033 | 794.0748 | 88.2305 | 30.6538 | 0
2034 | 813.9267 | 90.4363 | 34.3629 | 0
2035 | 834.2748 | 92.6972 | 38.4082 | 0
2036 | 855.1317 | 95.0146 | 42.8083 | 0
2037 | 876.51 | 97.39 | 47.5828 | 0
2038 | 898.4228 | 99.8248 | 52.7522 | 0
2039 | 920.8833 | 102.3204 | 58.3378 | 0
2040 | 943.9054 | 104.8784 | 64.3618 | 0
2041 | 967.503 | 107.5003 | 70.8475 | 0
2042 | 991.6906 | 110.1878 | 77.8191 | 0
2043 | 1016.4829 | 112.9425 | 85.3019 | 0
2044 | 1041.895 | 115.7661 | 93.3223 | 0
2045 | 1067.9423 | 118.6603 | 101.9078 | 0
2046 | 1094.6409 | 121.6268 | 111.0871 | 0
2047 | 1122.0069 | 124.6674 | 120.89 | 0
2048 | 1150.0571 | 127.7841 | 131.3478 | 0
2049 | 1178.8085 | 130.9787 | 142.4928 | 0
2050 | 1208.2787 | 134.2532 | 154.3589 | 0
2051 | 1238.4857 | 137.6095 | 166.9814 | 0
2052 | 1269.4478 | 141.0498 | 180.397 | 0
2053 | 1301.184 | 144.576 | 194.6438 | 0
2054 | 1333.7136 | 148.1904 | 209.7617 | 0
2055 | 1367.0565 | 151.8952 | 225.7922 | 0
2056 | 1401.2329 | 155.6925 | 242.7782 | 0
2057 | 1436.2637 | 159.5849 | 260.7648 | 0
2058 | 1472.1703 | 163.5745 | 279.7987 | 0
2059 | 1508.9746 | 167.6638 | 299.9285 | 0
2060 | 1546.6989 | 171.8554 | 321.2047 | 0
2061 | 1585.3664 | 176.1518 | 343.68 | 0
2062 | 1625.0006 | 180.5556 | 367.409 | 0
2063 | 1665.6256 | 185.0695 | 376.5942 | 0

## Capital costs-input
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 3
Tab 5 of 9
Table Staff-18c
Capital Revenue Requirements (nominal $000)
Wind Unit
| 0 |  |  | Capital Cost $/kW ac = | 2350 | used EDM to calculate rev. req.
| in-service date |  | 2022 | Rating summer kW = | 100000
| Year | Book Life | rev req or cap pay
| 2014 | 0 | 0
| 2015 | 0 | 0
| 2016 | 0 | 0
| 2017 | 0 | 0
| 2018 | 0 | 0
| 2019 | 0 | 0
| 2020 | 0 | 0
| 2021 | 0 | 0
| 2022 | 1 | 27150.1878
| 2023 | 2 | 42698.6622
| 2024 | 3 | 38655.369
| 2025 | 4 | 35830.4464
| 2026 | 5 | 33462.5264
| 2027 | 6 | 31437.3682
| 2028 | 7 | 30097.6819
| 2029 | 8 | 29100.8032
| 2030 | 9 | 28104.2072
| 2031 | 10 | 27107.7181
| 2032 | 11 | 26111.2552
| 2033 | 12 | 25114.9548
| 2034 | 13 | 24118.7077
| 2035 | 14 | 23122.5592
| 2036 | 15 | 22126.6898
| 2037 | 16 | 21131.0822
| 2038 | 17 | 20135.6545
| 2039 | 18 | 19140.2683
| 2040 | 19 | 18144.99
| 2041 | 20 | 17149.8802
| 2042 | 21 | 16154.9373
| 2043 | 22 | 15160.1658
| 2044 | 23 | 14165.57
| 2045 | 24 | 13171.1545
| 2046 | 25 | 12176.9239
| 2047 | 26 | 11288.3817
| 2048 | 27 | 10475.3902
| 2049 | 28 | 9662.5984
| 2050 | 29 | 8850.0115
| 2051 | 30 | 8037.6347
| 2052 | 31 | 3110.3527
| 2053 | 0 | 0
| 2054 | 0 | 0
| 2055 | 0 | 0
| 2056 | 0 | 0
| 2057 | 0 | 0
| 2058 | 0 | 0
| 2059 | 0 | 0
| 2060 | 0 | 0
| 2061 | 0 | 0
| 2062 | 0 | 0
| 2063 | 0 | 0

## O&M costs
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 3
Tab 6 of 9
Table Staff-18c
O&M Costs
Wind Unit
|  | 0 |  | in year $s: | 2014
| Year |  | FOM $/kW | CAP REP $/KW | VOM $/KW at 100% CF
| 2014 |  | 27.34 | 0 | 0
| 2015 |  | 28.0235 | 0 | 0
| 2016 |  | 28.7241 | 0 | 0
| 2017 |  | 29.4422 | 0 | 0
| 2018 |  | 30.1782 | 0 | 0
| 2019 |  | 30.9327 | 0 | 0
| 2020 |  | 31.706 | 0 | 0
| 2021 |  | 32.4987 | 0 | 0
| 2022 |  | 33.3111 | 0 | 0
| 2023 |  | 34.1439 | 0 | 0
| 2024 |  | 34.9975 | 0 | 0
| 2025 |  | 35.8724 | 0 | 0
| 2026 |  | 36.7693 | 0 | 0
| 2027 |  | 37.6885 | 0 | 0
| 2028 |  | 38.6307 | 0 | 0
| 2029 |  | 39.5965 | 0 | 0
| 2030 |  | 40.5864 | 0 | 0
| 2031 |  | 41.601 | 0 | 0
| 2032 |  | 42.6411 | 0 | 0
| 2033 |  | 43.7071 | 0 | 0
| 2034 |  | 44.7998 | 0 | 0
| 2035 |  | 45.9198 | 0 | 0
| 2036 |  | 47.0678 | 0 | 0
| 2037 |  | 48.2445 | 0 | 0
| 2038 |  | 49.4506 | 0 | 0
| 2039 |  | 50.6868 | 0 | 0
| 2040 |  | 51.954 | 0 | 0
| 2041 |  | 53.2529 | 0 | 0
| 2042 |  | 54.5842 | 0 | 0
| 2043 |  | 55.9488 | 0 | 0
| 2044 |  | 57.3475 | 0 | 0
| 2045 |  | 58.7812 | 0 | 0
| 2046 |  | 60.2507 | 0 | 0
| 2047 |  | 61.757 | 0 | 0
| 2048 |  | 63.3009 | 0 | 0
| 2049 |  | 64.8834 | 0 | 0
| 2050 |  | 66.5055 | 0 | 0
| 2051 |  | 68.1682 | 0 | 0
| 2052 |  | 69.8724 | 0 | 0
| 2053 |  | 71.6192 | 0 | 0
| 2054 |  | 73.4096 | 0 | 0
| 2055 |  | 75.2449 | 0 | 0
| 2056 |  | 77.126 | 0 | 0
| 2057 |  | 79.0542 | 0 | 0
| 2058 |  | 81.0305 | 0 | 0
| 2059 |  | 83.0563 | 0 | 0
| 2060 |  | 85.1327 | 0 | 0
| 2061 |  | 87.261 | 0 | 0
| 2062 |  | 89.4425 | 0 | 0
| 2063 |  | 91.6786 | 0 | 0

## Levelized Cost
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 3
Tab 7 of 9
Table Staff-18c
Wind Unit
| Wind Unit | [14 empty] | 1
[7 empty] | Fixed Costs |  |  |  |  | Variable Costs
|  | Discount Factor: | 7.54% | [5 empty] | Fixed | Capital | Gas | NOx | SO2 | CO2 | Hg | Fuel | Variable
|  | Base (MW) (blended summer/winter) | 100 |  |  | counter | Operating | Capital | O&M | Repl | Transportation | Emission | Emission | Emission | Emission | Costs | O&M | Total
|  | Heat Rate | 0 | Year |  | (hide col) | Year | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000
|  | Fixed O&M ($/KW-yr) | 27.34 | 2014 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital Replace ($/kW-Yr) | 0 | 2015 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | VOM ($/MWh) | 0 | 2016 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Gas Transportation | 0 | 2017 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | in-service year | 2022 | 2018 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | book life | 31 | 2019 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | costs in entered in year $s | 2014 | 2020 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2021 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capacity |  |  | 2022 | 9 | 1 | 1 | 27150.1878 | 3331.1135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30481.3014
| Factor | Levelized | Levelized | 2023 | 10 | 1 | 2 | 42698.6622 | 3414.3914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46113.0536
| (%) | $/kW | $/MWh | 2024 | 11 | 1 | 3 | 38655.369 | 1749.8756 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40405.2446
| 0 | 311.1539 | 0 | 2025 | 12 | 1 | 4 | 35830.4464 | 3587.2449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39417.6913
| 5 | 311.1539 | 710.397 | 2026 | 13 | 1 | 5 | 33462.5264 | 3676.926 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37139.4525
| 10 | 311.1539 | 355.1985 | 2027 | 14 | 1 | 6 | 31437.3682 | 3768.8492 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35206.2174
| 15 | 311.1539 | 236.799 | 2028 | 15 | 1 | 7 | 30097.6819 | 3863.0704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33960.7523
| 20 | 311.1539 | 177.5993 | 2029 | 16 | 1 | 8 | 29100.8032 | 3959.6472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33060.4504
| 25 | 311.1539 | 142.0794 | 2030 | 17 | 1 | 9 | 28104.2072 | 4058.6384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32162.8456
| 30 | 311.1539 | 118.3995 | 2031 | 18 | 1 | 10 | 27107.7181 | 4160.1043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31267.8225
| 35 | 311.1539 | 101.4853 | 2032 | 19 | 1 | 11 | 26111.2552 | 4264.1069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30375.3622
| 40 | 311.1539 | 88.7996 | 2033 | 20 | 1 | 12 | 25114.9548 | 4370.7096 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29485.6644
| 45 | 311.1539 | 78.933 | 2034 | 21 | 1 | 13 | 24118.7077 | 4479.9773 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28598.685
| 50 | 311.1539 | 71.0397 | 2035 | 22 | 1 | 14 | 23122.5592 | 4591.9768 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27714.536
| 55 | 311.1539 | 64.5815 | 2036 | 23 | 1 | 15 | 22126.6898 | 4706.7762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26833.466
| 60 | 311.1539 | 59.1998 | 2037 | 24 | 1 | 16 | 21131.0822 | 4824.4456 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25955.5278
| 65 | 311.1539 | 54.6459 | 2038 | 25 | 1 | 17 | 20135.6545 | 4945.0567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25080.7113
| 70 | 311.1539 | 50.7426 | 2039 | 26 | 1 | 18 | 19140.2683 | 5068.6832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24208.9515
| 75 | 311.1539 | 47.3598 | 2040 | 27 | 1 | 19 | 18144.99 | 5195.4002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23340.3902
| 80 | 311.1539 | 44.3998 | 2041 | 28 | 1 | 20 | 17149.8802 | 5325.2853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22475.1654
| 85 | 311.1539 | 41.7881 | 2042 | 29 | 1 | 21 | 16154.9373 | 5458.4174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21613.3547
| 90 | 311.1539 | 39.4665 | 2043 | 30 | 1 | 22 | 15160.1658 | 5594.8778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20755.0436
| 95 | 311.1539 | 37.3893 | 2044 | 31 | 1 | 23 | 14165.57 | 5734.7498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19900.3197
| 100 | 311.1539 | 35.5199 | 2045 | 32 | 1 | 24 | 13171.1545 | 5878.1185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19049.273
|  |  |  | 2046 | 33 | 1 | 25 | 12176.9239 | 6025.0715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18201.9954
|  |  |  | 2047 | 34 | 1 | 26 | 11288.3817 | 6175.6983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17464.0799
|  |  |  | 2048 | 35 | 1 | 27 | 10475.3902 | 6330.0907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16805.4809
|  |  |  | 2049 | 36 | 1 | 28 | 9662.5984 | 6488.343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16150.9414
|  |  |  | 2050 | 37 | 1 | 29 | 8850.0115 | 6650.5516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15500.563
|  |  |  | 2051 | 38 | 1 | 30 | 8037.6347 | 6816.8153 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14854.45
|  |  |  | 2052 | 39 | 1 | 31 | 3110.3527 | 6987.2357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10097.5884
|  |  |  | 2053 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2054 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2055 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2056 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2057 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2058 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2059 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2060 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2061 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2062 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2063 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | NPV 2014 | 192118.7169 | 29915.7113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 222034.4282
[7 empty] | NPV i/s year | 343660.7509 | 53513.0359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 397173.7867
|  | . |  |  |  |  | Levelized $/KW i/s year | 269.2307 | 41.9232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 311.1539
|  |  |  | Notes: |  |  | 1) A typical levelized cost calculation, such as this one, does not account for numerous system cost impacts that must be accounted for in order to obtain a complete picture of the true cost
impact of resource options.
2) Wind is a non-firm resource and cannot be directly compared to firm resources (such as Turkey Point 6&7).
3) Wind's average capacity factor in FPL's service territory is projected to be 18% or lower.

## Chart Data
Florida Power & Light Company
Docket No. 140009-EI
Staff's Second Set of Interrogatories
Interrogatory No. 18
Attachment No. 3
Tab 8 of 9
Table Staff-18c
Data Tables Used in Chart
Wind Unit
Capacity
Factor | Levelized | Levelized
(%) | $/kW | $/MWh
0 | 311.1539 | 0
5 | 311.1539 | 710.397
10 | 311.1539 | 355.1985
15 | 311.1539 | 236.799
20 | 311.1539 | 177.5993
25
30
35
40
45
50
55
60
65
70
75
80
85
90
95
100