BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

|  |  |
| --- | --- |
| In re: Petition for approval of 2015 depreciation study by Florida Public Utilities Company. | DOCKET NO. 150162-EI  ORDER NO. PSC-15-0575-PAA-EI  ISSUED: December 21, 2015 |

The following Commissioners participated in the disposition of this matter:

ART GRAHAM, Chairman

LISA POLAK EDGAR

RONALD A. BRISÉ

JULIE I. BROWN

JIMMY PATRONIS

NOTICE OF PROPOSED AGENCY ACTION

ORDER APPROVING DEPRECIATION RATES AND AMORTIZATION SCHEDULES FOR FLORIDA PUBLIC UTILITIES COMPANY

BY THE COMMISSION:

NOTICE is hereby given by the Florida Public Service Commission that the action discussed herein is preliminary in nature and will become final unless a person whose interests are substantially affected files a petition for a formal proceeding, pursuant to Rule 25-22.029, Florida Administrative Code (F.A.C.).

Background

Rule 25-6.0436(8)(a), Florida Administrative Code (F.A.C.), requires investor-owned electric utilities to file a comprehensive depreciation study at least once every four years. On July 1, 2015, Florida Public Utilities Company (FPUC or Company) filed its 2015 Depreciation Study in accordance with this rule.[[1]](#footnote-1) The Company’s last depreciation review was filed June 20, 2011, with an effective date of January 1, 2012.[[2]](#footnote-2) This Commission has completed its review of FPUC’s 2015 Depreciation Study and our findings are presented herein.

This Commission has jurisdiction pursuant to Sections 350.115 and 366.05, Florida Statutes (F.S.).

Decision

**Depreciation Rates and Amortization Schedules**

*Need for Revision*

FPUC’s last comprehensive depreciation study was filed on June 20, 2011. By Order No. PSC-12-0065-PAA-EI,[[3]](#footnote-3) this Commission approved revised depreciation components and rates, effective January 1, 2012. The Company has filed its current study in accordance with Rule 25-6.0436(8)(a), F.A.C., which requires electric companies to file a comprehensive depreciation study at least once every four years from the submission date of the previously filed study. We find that a review of the Company’s plant activity and related data indicated the need to be further analyzed, and where warranted, we have revised FPUC's current depreciation rates and amortization schedules.

*Appropriate Rates and Schedules*

This sectionaddresses the derivation of depreciation rates, and amortization schedules by plant account and by function, i.e. transmission, distribution, and general plant. Once formulated, depreciation rates are applied to account investment balances to derive annual expense amounts. Attachment A shows a comparison of FPUC’s currently-approved depreciation rates along with the rates for future use for which this Commission provides its approval in the body of this Order.[[4]](#footnote-4) Attachment B is a comparison of the resulting expenses (prior approved and Commission approved by this Order) based on investment levels as of January 1, 2015. We note that the values listed on both Attachments A and B include the approved reserve transfers (revisions) and associated effects in accordance with our findings as set forth in the “Reserve Allocations” section of this Order.

In its original 2015 Depreciation Study filing, FPUC provided the necessary elements for conducting a review of the Company’s plant and reserve activity. The filing included annual investment and reserve data, life and retirement data, average age data, salvage data, as well as current and proposed depreciation components and rates. As a result of the study review, discovery and analytical processes, Commission staff and FPUC agreed on lives, net salvage amounts, and resulting depreciation rates for all accounts presented in this Order.[[5]](#footnote-5)

The average remaining lives, net salvages, reserve percentages, and resultant depreciation rates for FPUC shown in Attachment A are hereby approved. The reserve percentages and depreciation rates are calculated using the reserve transfers as set forth in the “Reserve Allocations” section of this Order. The result of our findings is a decrease in annual depreciation expense of approximately $229,415 in total, which is shown in Attachment B. Depreciation expenses are based on plant investment levels as of January 1, 2015.

Below is an account-by-account discussion on the development of the approved components for Transmission Plant, Distribution Plant, and General Plant.

Transmission Plant

Account 350.1 – Land Rights

For this account, FPUC proposed to change the Average Service Life (ASL) from 65 years to 70 years. The Company proposed no change in curve shape or Net Salvage (NS). We note that more than 69 percent of the plant in this account is over 40 years old, with the remaining plant being over 50 years old. The Company has no plans to retire any of this plant. We also note that the proposed increase in ASL is moderate, and the resulting ASL is still in line with other investor-owned electric utilities (IOUs) in the state. Thus, we find that an ASL of 70 years shall be approved. This results in an Average Remaining Life (ARL) of 26 years and a remaining life depreciation rate of 1.4 percent for Account 350.1.

Account 352 – Structures and Improvements

After reviewing the information provided by the Company in this docket, we find that a remaining life depreciation rate of 1.8 percent for Account 352 shall be approved.

Account 353 – Station Equipment

FPUC proposed no change in the ASL of 40 years or the curve shape (S3). The average age of assets in this account is 13.4 years. Based on this combination of depreciation parameters, the ARL is 27 years (26.6 years before rounding) rather than 30 years as the Company proposed. This account has experienced an average retirement rate of 1.72 percent and a growth rate of 44.8 percent over the study period. Commission staff proposed the S2 curve with a 40-year ASL as better matching the account’s activity. This results in an ARL of 27 years. FPUC concurred with staff’s proposal and we, hereby, find that it shall be approved.

The Company proposed to retain a 10 percent NS level. We note that FPUC is the only IOU in Florida that has a positive NS level for this account, and this account has experienced less than 2 percent retirement and an average of negative 21 percent NS during the current study period. Given the low frequency of retirement activity, we find that reliance on the industry average is necessary.[[6]](#footnote-6) Commission staff proposed reducing the NS level from 10 percent to 5 percent. This moderate change reflects the account’s current activity and will bring FPUC closer to the industry average at the same time. FPUC concurred with staff’s proposal and we, hereby, find that it shall be approved. The resulting remaining life depreciation rate is 2.6 percent for Account 353.

Account 354 – Towers & Fixtures

The Company proposed no change in ASL, curve shape, or NS level for this account. There was no retirement or addition activity during the study period, which makes reliance on industry averages for guidance on life and salvage characteristics necessary. FPUC’s proposed 55-year ASL and negative 15 percent NS level are in the range of reasonableness compared to other IOUs in the state. We find that a 55-year ASL and negative 15 percent NS shall be approved.

FPUC proposed to retain the currently prescribed curve shape of S5. Given the current average age of the assets in this account, staff proposed that an S6 curve shape as better fitting and reflective of plant activity since the last study. This results in a 14.5-year ARL. FPUC concurred with staff’s proposal and we, hereby, find that it shall be approved. The resulting remaining life depreciation rate is 2.1 percent for Account 354.

Account 355 – Poles and Fixtures

FPUC proposed to retain an ASL of 40 years and the R4 curve shape. This account has experienced an average retirement rate of 0.16 percent, and an average growth rate of 2.2 percent over the study period. Commission staff recommended that a 40-year ASL be approved because it is in line with other IOUs in the state. Staff also recommended an R5 curve shape as being more indicative of expected retirement dispersion given the asset’s average age of 23.2 years. By using an R5 curve and an average asset age of 23.2 years, the resulting ARL is 16.9 years. FPUC concurred with staff’s recommendation and we, hereby, find that it shall be approved.

FPUC proposed a change in NS from negative 30 percent to negative 40 percent. This account has experienced an average NS of negative 261 percent over the study period. However, the Company believes that this low level/percentage of retirement activity should not be taken as indicative of future retirement expectations for this account. We note that the proposed change represents a modest increase in expected removal costs upon asset retirement and will bring FPUC more in line with the average NS of other IOUs in the state. We find that a NS level of negative 40 percent shall be approved. The resulting remaining life depreciation rate is 4.1 percent for Account 355.

Account 355.1 – Poles and Fixtures - Concrete

FPUC proposed to retain a 45-year ASL and the R4 curve, but to decrease the NS from negative 30 percent to negative 40 percent. After reviewing the account’s average age and plant activity, we find that FPUC’s proposed 45-year ASL and R4 curve shall be approved. This results in a 41-year ARL.

With respect to NS, given there was no retirement activity recorded in this account during the study period, Commission staff recommended the negative 30 percent NS be retained. The negative 30 percent NS is still reasonable compared to other IOUs in the state. FPUC concurred with staff’s recommendation and we, hereby, find that it shall be approved. The resulting remaining life depreciation rate is 2.9 percent for Account 355.1.

Account 356 – Overhead Conductors and Devices

This account experienced an approximate 21 percent growth rate during the current study period, with a retirement rate of 0.5 percent. The average age of assets in this account is 13.9 years. FPUC proposed a change in ASL from 45 years to 50 years, and to retain the current S2 curve shape. We note that the Company’s proposed change in ASL is moderate, reflective of account activity, and is still within industry average for the state. We find that a 50-year ASL shall be approved for this account. The resulting ARL is 36 years.

Account 356 has experienced a NS of negative 123 percent. FPUC proposed to reduce this account’s NS from negative 10 percent to negative 20 percent (resulting in a greater capitalized amount to be recovered). Other IOUs in the state are estimating a NS ranging from negative 50 percent, to negative 20 percent, with FPUC’s estimate being the highest. We find that a NS of negative 20 percent shall be approved. The negative 20 percent NS level reflects the account’s recent activity and will bring FPUC more in line with other IOUs in the state. The resulting remaining life depreciation rate is 2.5 percent for Account 356.

Account 359 – Roads and Trails

After reviewing the information provided by the Company in this docket, we find that a remaining life depreciation rate of 1.5 percent for Account 359 shall be approved.

Distribution Plant

Account 360.1 – Land Rights

FPUC proposed a moderate increase in ASL from 56 years to 60 years. The average age of this account’s assets is 29.5 years. The account experienced no asset additions or retirements activity over the study period. The Company indicated there have been no additions to this account since 2006, and there are no near-term plans for any retirements of existing investment. We find that a 60-year ASL shall be approved because it reflects this account’s activity and is in line with other IOUs in the state. The resulting ARL is 31 years, and the remaining life depreciation rate is 1.6 percent for Account 360.1.

Account 361 – Structures and Improvements

FPUC proposed to increase the ASL from 55 years to 60 years, retain the SQ curve, and a NS level of negative 5 percent. This account experienced approximately 81 percent growth during the study period with no retirement activity. Currently, the Company has no firm plans for any near-term retirements. As with other accounts having limited near-term retirement activity, reliance on industry expectations is necessary for life and salvage projections. We find that a 60-year ASL and NS level of negative 5 percent shall be approved. The approved ASL will bring FPUC more in line with other IOUs in the state while the approved NS level is closer to the industry average. The resulting ARL is 47 years, and the remaining life depreciation rate is 1.7 percent for Account 361.

Account 362 – Station Equipment

FPUC proposed to increase the ASL from 40 years to 45 years, retain the S3 curve, and a NS level of negative 10 percent. This account has experienced an approximate 21 percent growth rate during the study period, with the retirement rate being less than 0.3 percent. Other IOUs in the state are estimating ASLs ranging from 38 to 60 years, with FPUC being the lowest. We find that a 45-year ASL shall be approved. The change in ASL is moderate and it will bring FPUC more in line with the other IOUs in the state. The resulting ARL is 34 years, and the remaining life depreciation rate is 2.4 percent for Account 362.

Account 364 – Poles, Towers, and Fixtures

After reviewing the information provided by the Company in this docket, we find that a remaining life depreciation rate of 3.9 percent for Account 364 shall be approved.

Account 365 – Overhead Conductors and Devices

FPUC proposed a moderate increase in ASL from 37 years to 40 years, changing the curve shape from R5 to R4, and retaining a NS level of negative 35 percent. This account experienced a growth rate of 21 percent during the study period, with the retirement rate being less than 0.4 percent. Commission staff recommended a 40-year ASL be approved because it is reflective of account activity and is also in the range of reasonableness when compared to other IOUs in the state. Staff also recommended retaining the R5 curve due to the combination of depreciation parameters (40-year ASL, average asset age of 19.3 years, and a retirement rate of 0.3 percent) being a better fit. The resulting ARL is 21 years (using the R5 curve). FPUC concurred with staff’s recommendation and we, hereby, find that it shall be approved.

With respect to NS, we find that a NS level of negative 35 percent shall be approved primarily because it continues to be in the range of reasonableness compared to other electric IOUs in the state. The resulting remaining life depreciation rate is 3.4 percent for Account 365.

Account 366 – Underground Conduit

This account has experienced an approximate 0.1 percent retirement rate during the study period. FPUC proposed to retain the currently prescribed R5 curve shape with an ASL of 60 years. We find that a 60-year ASL and R5 curve shall be approved. We find that these parameters are within the state’s industry range. Given the average asset age is 10.4 years, the resulting ARL is 50 years for this account.

Account 366 has experienced an approximate negative 60 percent average NS over the study period. The Company proposed to change this account’s NS rate from zero to negative 5 percent. We find that a NS of negative 5 percent shall be approved because it is reflective of account activity and is still within the industry average range. The resulting remaining life depreciation rate is 1.8 percent for Account 366.

Account 367 – Underground Conductors and Devices

The retirement rate of this account over the study period is 0.4 percent. FPUC proposed to retain the current ASL of 35 years and the R3 curve shape. Staff recommended that a 35-year ASL be approved as it continues to be in the range of reasonableness compared to other IOUs in the state. Staff also recommended changing the curve shape to R4. Staff recommended changing the curve shape because a 35-year ASL with the R4 curve better matches account activity, which has an average asset age of 12.2 years. The resulting ARL is 23 years. FPUC concurred with staff’s recommendation and we, hereby, find that it shall be approved.

FPUC proposed to change this account’s NS level from zero to negative 5 percent. We note that this account has experienced nearly 50 percent removal costs during the study period. We find that FPUC’s proposal, which is moderate, reflective of activities in the account, and within the range of industry averages, shall be approved. The resulting remaining life depreciation rate is 3.2 percent for Account 367.

Account 368 – Line Transformers

FPUC proposed to slightly increase the ASL from 29 to 30 years. This account has experienced an approximate 0.5 percent retirement rate with an approximate 9 percent growth rate. We find this proposal reflects the account’s activity and is in the range of reasonableness compared to other IOUs in the state. We find that the 30-year ASL shall be approved. In FPUC’s 2011 Depreciation Study review, Commission staff proposed the continued use of the S6 curve. In FPUC’s 2015 Depreciation Study, the Company proposed to change the curve shape from S6 to S4. Given the current average asset age, ASL, and the retirement activity, we find that a 30-year ASL with an S4 curve be approved because it better matches the account’s activity. The resulting ARL is 12.4 years.

FPUC proposed to retain a NS level of negative 20 percent. FPUC recognizes that the average negative NS this account has experienced over the study period is much higher than 20 percent, but believes it is not indicative of future NS expectations. Given that this account has experienced limited retirement activity over the study period, we find that statistical analyses is not solely reliable for determining salvage levels, and reliance upon industry data becomes necessary. We find that any change to the NS level is inappropriate because FPUC’s proposed NS of negative 20 percent is in line with other Florida IOUs and is, hereby, approved. The resulting remaining life depreciation rate is 4.0 percent for Account 368.

Account 369 – Services

This account has experienced a 5.8 percent growth rate and less than a 0.2 percent retirement rate over the study period. FPUC proposed to increase the ASL for this account from 34 years to 37 years. This increase brings the ASL closer to the average of other IOUs in the state. FPUC proposed to retain the R3 curve. Commission staff proposed to change the curve from R3 to R5, due to the current average asset age and retirement activity. Staff recommended a 37-year ASL with the R5 curve because it is more indicative of expected retirement dispersion. The resulting ARL is 19.9 years. FPUC concurred with staff’s recommendation and we, hereby, find that it shall be approved.

FPUC proposed to retain a NS level of negative 35 percent. This level of NS continues to be in the range of reasonableness compared to other IOUs in the state. We find that any modification is not appropriate at this time. The resulting remaining life depreciation rate is 3.6 percent for Account 369.

Account 370 – Meters

FPUC proposed no change to the currently-approved ASL and curve shape. Based on a review of this account’s retirement activity, and reviewing depreciation parameters prescribed to other IOUs in the state, we find that FPUC’s current 30-year ASL and R5 curve combination shall be approved as it continues to be reasonable. The resulting ARL is 11.9 years.

FPUC proposed to change the NS level from negative 5 to negative 10 percent. The Company believes a level of negative 10 percent is more in line with expected activity. We note this account’s actual NS level experienced over the study period is negative 13.2 percent. The average NS level of other IOUs in the state is negative 12.6 percent. We find that a NS level of negative 10 percent shall be approved. The resulting remaining life depreciation rate is 3.7 percent for Account 370.

Account 371 – Installation on Customers’ Premises

FPUC proposed to increase the ASL from 16 to 20 years, and retain the S3 curve. This account has experienced a 17 percent growth rate and a 0.7 percent retirement rate over the study period. We find that the Company’s proposals shall be approved. These modifications reflect the account’s recent activity and will bring FPUC closer to the state’s industry average. The resulting ARL is 9.6 years.

FPUC proposed to retain a NS level of 15 percent. We note that this account has experienced an approximate negative 39 percent removal cost and zero salvage each year during the study period. We also note that FPUC is the only IOU in Florida that has a positive NS for this account. The state’s industry average of NS is negative 3.3 percent. Commission staff inquired whether the high level of negative NS (due to removal costs) during the last four years is indicative of future expectations. The Company responded:

The investment in this account is primarily commercial lighting equipment located on a customer's premise. The in-plant cost relates to the cost of the equipment and installation thereof on the customer's side of the meter. The retirement rate has averaged less than 1 percent making statistical analysis results meaningless for determining life or salvage factors.[[7]](#footnote-7)

We find that lack of retirement activity renders statistical analysis inconclusive for determining life and/or salvage factors. Reliance on industry averages is therefore necessary. We further find that reducing the NS level of this account from 15 to 10 percent shall be approved. This renders FPUC’s NS level being closer to the industry average and at the same time reflects the account’s current cost of removal activity. The resulting remaining life depreciation rate is 4.5 percent for Account 371.

Account 373 – Street Lighting & Signal Systems

After reviewing the information provided by the Company in this docket, we find that a remaining life depreciation rate of 4.9 percent for Account 373 shall be approved.

General Plant – Amortizable

Below are this Commission’s findings for general plant amortizable accounts, which generally constitute a continuation of FPUC’s previously authorized amortizable accounts and associated periods.[[8]](#footnote-8) However, in this proceeding the Company requested to combine two previously separated amortization sub-accounts, re-number two existing sub-accounts, and establish one new amortizable sub-account.[[9]](#footnote-9)

The Company requested to combine Accounts 391.0 – Office Furniture & Equipment with 391.2 – Office Machines. We find that the combined property will all be classified/amortized as Account 391.0 – Office Furniture & Equipment. Both accounts are currently amortized over 7 years and no change to the period was proposed.

The Company requested re-numbering (and renaming) Account 391.1 – Office Furniture to Account 391.3 – Office Furniture & Fixtures. This property currently amortizes over 7 years and no change to the period was proposed nor recommended. We find that FPUC’s request to re-number and rename Account 391.1 – Office Furniture to Account 391.3 – Office Furniture & Fixtures shall be approved. FPUC also requested to re-number Account 391.3 – Computer Equipment to Account 391.2 – Computer Equipment. This property currently amortizes over 5 years and no change to the period was proposed. We find that FPUC’s request to re-number Account 391.3 – Computer Equipment to Account 391.2 – Computer Equipment shall be approved.

The Company also requested that a new sub-account of Account 391 be established. This new sub-account, Account 391.1 - Computers & Peripherals, was proposed with an amortization period of five years. We find that FPUC’s request to establish Account 391.1 – Computers & Peripherals shall be approved.

Table 1 contains this Commission’s approved amortization accounts and associated periods.

|  |  |  |
| --- | --- | --- |
| **Table 1**  **Approved Amortization Periods** | | |
| **Acct. #** | **Account Name** | **Amortization Period** | |
| 391.0 | Office Furniture & Equipment | 7-Year Amortization | |
| 391.1 | Computers & Peripherals | 5-Year Amortization | |
| 391.2 | Computer Equipment | 5-Year Amortization | |
| 391.3 | Office Furniture & Fixtures | 7-Year Amortization | |
| 391.4 | Software | 5-Year Amortization | |
| 393 | Stores Equipment | 7-Year Amortization | |
| 394 | Tools/Shop Equipment | 7-Year Amortization | |
| 395 | Lab Equipment | 7-Year Amortization | |
| 397 | Communications Equipment | 5-Year Amortization | |
| 397.3 | Communications Equipment  Post 98 | 5-Year Amortization | |
| 398 | Miscellaneous Equipment | 7-Year Amortization | |

General Plant - Depreciable

Account 390 – Structures & Improvements

This account experienced an approximate 196 percent investment growth over the four-year study period from 2011-2014. Staff discovered that the majority of this increase stems from the addition of costs associated with a new company office building located in Fernandina Beach to this account’s investment balance.[[10]](#footnote-10) This Commission understands this level of addition/growth for Account 390 to be an unusual event, and that going forward the Company expects this account will return to its historical growth pattern. For this reason, we find that the Company’s proposed depreciation parameters for Account 390 – Structures & Improvements, which result in a remaining life depreciation rate of 2.0 percent, shall be approved.

Account 392.1 – Transportation - Cars

After reviewing the information provided by the Company in this docket, we find that a remaining life depreciation rate of 11.9 percent for Account 392.1 shall be approved.

Account 392.2 – Transportation - Light Truck & Vans

After reviewing the information provided by the Company in this docket, we find that a remaining life depreciation rate of 7.8 percent for Account 392.2 shall be approved.

Account 392.3 – Transportation - Heavy Trucks

After reviewing the information provided by the Company in this docket, we find that a remaining life depreciation rate of 7.0 percent for Account 392.3 shall be approved.

Account 392.4 – Transportation - Trailers

After reviewing the information provided by the Company in this docket, we find that a remaining life depreciation rate of 3.7 percent for Account 392.4 shall be approved.

Account 396 – Power Operated Equipment

After reviewing the information provided by the Company in this docket, we find that a remaining life depreciation rate of 4.4 percent for Account 396 shall be approved.

**Reserve Allocations**

As part of this Commission’s review of FPUC’s Depreciation Study, Commission staff reviewed the book reserve (accumulated depreciation) position relative to total investment for each account. Based on staff’s recommended life and salvage parameters for this study, we determined FPUC’s theoretical or calculated reserve. The difference between an account’s book and calculated reserve may be described as a positive or negative imbalance, or as a surplus or deficiency. When negative or positive imbalances occur, as was the case in FPUC’s prior depreciation filing, this Commission found that corrective transfers shall be considered and implemented as appropriate.[[11]](#footnote-11)

Commission staff’s proposed reserve transfers were based on analysis of FPUC’s reserve imbalances and responses to staff data requests. Staff was in agreement with the Company on all recommended reserve transfers, which are shown in Attachment C.[[12]](#footnote-12)

We, therefore, find that the reserve allocations shown in Attachment C shall be approved. We further find that these allocations bring these accounts more in line with their theoretically correct reserve levels.

**Implementation Date**

Rule 25-6.0436(6)(b), F.A.C., requires that the data submitted in a depreciation study, including plant and reserve balances or company estimates, “shall be brought to the effective date of the proposed rates.” The supporting data and calculations provided by FPUC match an implementation date of January 1, 2015. Therefore, because we have approved the change to FPUC’s depreciation rates and amortization schedules, this Commission finds January 1, 2015 as the appropriate date for implementing any new depreciation rates and amortizations for FPUC’s investments approved in the body of this Order.

**Amortization of Investment Tax Credits (ITCs)**

In the body of this Order, this Commission has approved revised depreciation rates for the Company, to be effective January 1, 2015, which reflect changes to most accounts’ remaining lives to be effective January 1, 2015. Revising a utility's book depreciation lives generally results in a change in its rate of ITC amortization in order to comply with the normalization requirements of the Internal Revenue Code (IRC or Code) set forth in sections 168(f)(2) and (i)(9),[[13]](#footnote-13) IRC section 167(l),[[14]](#footnote-14) former IRC Section 46(f),[[15]](#footnote-15),[[16]](#footnote-16) Federal Tax Regulations under the Code sections,[[17]](#footnote-17) and section 203(e) of the Tax Reform Act of 1986 (the Act).[[18]](#footnote-18)

This Commission, the Internal Revenue Service (IRS), and independent outside auditors look at a company's books and records, and the orders and rules of the jurisdictional regulatory authorities to determine if the books and records are maintained in the appropriate manner. The books are also reviewed to determine if they are in compliance with the regulatory guidelines in regard to normalization.

Former Section 46(f)(6) of the Codeindicated that the amortization of ITC should be determined by the period of time actually used in computing depreciation expense for ratemaking purposes and on the regulated books of the utility.[[19]](#footnote-19) Since we are finding that changes to the Company’s remaining lives is appropriate, it is also important to change the amortization of ITCs to avoid violation of the provisions of former IRC section 46 and its underlying Treasury Regulations. The consequence of an ITC normalization violation is a repayment of unamortized ITC balances to the IRS. Therefore, this Commission finds that the current amortization of ITCs and flow back of excess deferred income taxes (EDITs) shall be revised to reflect the approved depreciation rates and amortizations schedules. This Commission also finds that the current amortization of ITCs shall be revised to match the actual recovery periods for the related property. The Commission further finds that the Company shall file detailed calculations of the revised ITC amortization at the same time it files its earnings surveillance report covering the period ending December 31, 2015, as specified in Rule 25-6.1352, F.A.C.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that the 2015 Depreciation Study by Florida Public Utilities Company is approved as set out in the body of this Order. It is further

ORDERED that the implementation date of the new depreciation rates and amortizations for Florida Public Utilities Company’s investments approved in this Order shall be January 1, 2015. It is further

ORDERED that the provisions of this Order, issued as proposed agency action, shall become final and effective upon the issuance of a Consummating Order unless an appropriate petition, in the form provided by Rule 28-106.201, Florida Administrative Code, is received by the Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on the date set forth in the “Notice of Further Proceedings” attached hereto. It is further

ORDERED that in the event this Order becomes final, this docket shall be closed.

By ORDER of the Florida Public Service Commission this 21st day of December, 2015.

|  |  |
| --- | --- |
|  | /s/ Carlotta S. Stauffer |
|  | CARLOTTA S. STAUFFER  Commission Clerk |

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida 32399

(850) 413‑6770

www.floridapsc.com

Copies furnished: A copy of this document is provided to the parties of record at the time of issuance and, if applicable, interested persons.

MAL

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing that is available under Section 120.57, Florida Statutes, as well as the procedures and time limits that apply. This notice should not be construed to mean all requests for an administrative hearing will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis. If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

The action proposed herein is preliminary in nature. Any person whose substantial interests are affected by the action proposed by this order may file a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code. This petition must be received by the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on January 11, 2016.

In the absence of such a petition, this order shall become final and effective upon the issuance of a Consummating Order.

Any objection or protest filed in this/these docket(s) before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

|  | | | | | | | | | | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Comparison of Rates and Components** | | | | | | | | | | |
|  |  | **Currently Approved[[20]](#footnote-20)** | | |  | **Commission Approved** | | | | |
| Account | Account Title | Average | Future |  |  | Average |  |  | Future |  |
| Number | Remaining Life | Net Salvage | Remaining Life Rate |  | Remaining Life | Reserve |  | Net Salvage | Remaining Life Rate |
|  | TRANSMISSION PLANT | (yrs.) | (%) | (%) |  | (yrs.) | (%) |  | (%) | (%) |
| 350.1 | Land Rights | 25.0 | 0 | 2.3 |  | 26.0 | 63.60 | \* | 0 | 1.4 |
| 352 | Structures and Improvements | 29.0 | 0 | 1.8 |  | 50.0 | 8.86 |  | 0 | 1.8 |
| 353 | Station Equipment | 23.0 | 10 | 2.4 |  | 27.0 | 25.30 |  | 5 | 2.6 |
| 354 | Towers and Fixtures | 17.6 | (15) | 2.1 |  | 14.5 | 84.65 |  | (15) | 2.1 |
| 355 | Poles and Fixtures | 19.3 | (30) | 3.4 |  | 16.9 | 70.82 | \* | (40) | 4.1 |
| 355.1 | Poles and Fixtures - Concrete | 40.0 | (30) | 2.9 |  | 41.0 | 11.10 | \* | (30) | 2.9 |
| 356 | Overhead Conductors and Devices | 31.0 | (10) | 2.4 |  | 36.0 | 29.35 |  | (20) | 2.5 |
| 359 | Roads and Trails | 15.5 | 0 | 1.5 |  | 12.5 | 81.03 |  | 0 | 1.5 |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  | DISTRIBUTION PLANT |  |  |  |  |  |  |  |  |  |
| 360.1 | Land Rights | 30.0 | 0 | 1.8 |  | 31.0 | 51.83 |  | 0 | 1.6 |
| 361 | Structures and Improvements | 46.0 | (5) | 1.9 |  | 47.0 | 23.65 |  | (5) | 1.7 |
| 362 | Station Equipment | 30.0 | (10) | 2.8 |  | 34.0 | 28.40 | \* | (10) | 2.4 |
| 364 | Poles, Towers, and Fixtures | 23.0 | (45) | 4.1 |  | 24.0 | 50.28 | \* | (45) | 3.9 |
| 365 | Overhead Conductors & Devices | 17.2 | (35) | 4.1 |  | 21.0 | 63.60 | \* | (35) | 3.4 |
| 366 | Underground Conduit | 49.0 | 0 | 1.6 |  | 50.0 | 15.00 | \* | (5) | 1.8 |
| 367 | Underground Conductors & Devices | 23.0 | 0 | 2.9 |  | 23.0 | 32.11 |  | (5) | 3.2 |
| 368 | Line Transformers | 12.0 | (20) | 4.3 |  | 12.4 | 70.40 | \* | (20) | 4.0 |
| 369 | Services | 20.0 | (35) | 4.0 |  | 19.9 | 63.36 | \* | (35) | 3.6 |
| 370 | Meters | 13.2 | (5) | 3.7 |  | 11.9 | 65.97 | \* | (10) | 3.7 |
| 371 | Installation on Customers' Premises | 7.2 | 15 | 5.7 |  | 9.6 | 46.80 | \* | 10 | 4.5 |
| 373 | Street Lighting & Signal Systems | 8.9 | (10) | 5.0 |  | 7.6 | 72.94 |  | (10) | 4.9 |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  | GENERAL PLANT |  |  |  |  |  |  |  |  |  |
| 390 | Structures & Improvements | 31.0 | 0 | 2.0 |  | 41.0 | 16.67 |  | 0 | 2.0 |
| 391.0 | Office Furniture & Equipment | 7-Year Amortization | | |  | 7-Year Amortization | | | | |
| 391.1 | Computers & Peripherals | N/A | | |  | 5-Year Amortization | | | | |
| 391.2 | Computer Equipment[[21]](#footnote-21) | 5-Year Amortization | | |  | 5-Year Amortization | | | | |
| 391.3 | Office Furniture & Fixtures[[22]](#footnote-22) | 7-Year Amortization | | |  | 7-Year Amortization | | | | |
| 391.4 | Software | 5-Year Amortization | | |  | 5-Year Amortization | | | | |
| 392.1 | Transportation - Cars | 0.0 | 15 | 12.1 |  | 6.0 | 13.41 |  | 15 | 11.9 |
| 392.2 | Transportation - Light Trucks & Vans | 2.9 | 12 | 9.8 |  | 4.9 | 49.90 |  | 12 | 7.8 |
| 392.3 | Transportation - Heavy Trucks | 7.0 | 10 | 6.6 |  | 6.4 | 45.29 |  | 10 | 7.0 |
| 392.4 | Transportation - Trailers | 13.9 | 5 | 3.8 |  | 13.8 | 44.38 |  | 5 | 3.7 |
| 393 | Stores Equipment | 7-Year Amortization | | |  | 7-Year Amortization | | | | |
| 394 | Tools/Shop Equipment | 7-Year Amortization | | |  | 7-Year Amortization | | | | |
| 395 | Lab Equipment | 7-Year Amortization | | |  | 7-Year Amortization | | | | |
| 396 | Power Operated Equipment | 5.5 | 0 | 2.8 |  | 8.4 | 63.23 |  | 0 | 4.4 |
| 397 | Communications Equipment | 5-Year Amortization | | |  | 5-Year Amortization | | | | |
| 397.3 | Communications Equipment Post 98 | 5-Year Amortization | | |  | 5-Year Amortization | | | | |
| 398 | Miscellaneous Equipment | 7-Year Amortization | | |  | 7-Year Amortization | | | | |
| \*Denotes a Reserve Transfer | |  |  |  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | | | | | | | |
| **Comparison of Expenses** | | | | | | | |
|  |  | **Current[[23]](#footnote-23)** | |  | **Commission Approved** | | |
| Account | Account Title | Depreciation | Annual |  | Depreciation | Annual | Change In |
| Number | Rate | Expense |  | Rate | Expense | Expense |
|  | TRANSMISSION PLANT | (%) | ($) |  | (%) | ($) | ($) |
| 350.1 | Land Rights | 2.3 | 548 |  | 1.4 | 334 | (215) |
| 352 | Structures and Improvements | 1.8 | 3,560 |  | 1.8 | 3,560 | 0 |
| 353 | Station Equipment | 2.4 | 89,965 |  | 2.6 | 97,462 | 7,497 |
| 354 | Towers and Fixtures | 2.1 | 4,721 |  | 2.1 | 4,721 | 0 |
| 355 | Poles and Fixtures | 3.4 | 53,662 |  | 4.1 | 64,710 | 11,048 |
| 355.1 | Poles and Fixtures - Concrete | 2.9 | 77,032 |  | 2.9 | 77,032 | 0 |
| 356 | Overhead Conductors and Devices | 2.4 | 60,906 |  | 2.5 | 63,443 | 2,538 |
| 359 | Roads and Trails | 1.5 | 102 |  | 1.5 | 102 | 0 |
|  | TOTAL TRANSMISSION PLANT |  | 290,495 |  |  | 311,363 | 20,868 |
|  |  |  |  |  |  |  |  |
|  | DISTRIBUTION PLANT |  |  |  |  |  |  |
| 360.1 | Land Rights | 1.8 | 1,026 |  | 1.6 | 912 | (114) |
| 361 | Structures and Improvements | 1.9 | 3,307 |  | 1.7 | 2,959 | (348) |
| 362 | Station Equipment | 2.8 | 247,926 |  | 2.4 | 212,508 | (35,418) |
| 364 | Poles, Towers, and Fixtures | 4.1 | 584,109 |  | 3.9 | 555,615 | (28,493) |
| 365 | Overhead Conductors & Devices | 4.1 | 537,261 |  | 3.4 | 445,533 | (91,727) |
| 366 | Underground Conduit | 1.6 | 88,818 |  | 1.8 | 99,920 | 11,102 |
| 367 | Underground Conductors & Devices | 2.9 | 236,535 |  | 3.2 | 261,004 | 24,469 |
| 368 | Line Transformers | 4.3 | 724,774 |  | 4.0 | 674,209 | (50,566) |
| 369 | Services | 4.0 | 407,483 |  | 3.6 | 366,735 | (40,748) |
| 370 | Meters | 3.7 | 144,806 |  | 3.7 | 144,806 | 0 |
| 371 | Installation on Customers' Premises | 5.7 | 173,473 |  | 4.5 | 136,953 | (36,521) |
| 373 | Street Lighting & Signal Systems | 5.0 | 72,306 |  | 4.9 | 70,860 | (1,446) |
|  | TOTAL DISTRIBUTION PLANT |  | 3,221,824 |  |  | 2,972,014 | (249,810) |
|  |  |  |  |  |  |  |  |
|  | GENERAL PLANT |  |  |  |  |  |  |
| 390 | Structures & Improvements | 2.0 | 89,801 |  | 2.0 | 89,801 | 0 |
| 392.1 | Transportation - Cars | 12.1 | 6,089 |  | 11.9 | 5,989 | (101) |
| 392.2 | Transportation - Light Trucks & Vans | 9.8 | 94,153 |  | 7.8 | 74,938 | (19,215) |
| 392.3 | Transportation - Heavy Trucks | 6.6 | 233,285 |  | 7.0 | 247,423 | 14,138 |
| 392.4 | Transportation - Trailers | 3.8 | 5,475 |  | 3.7 | 5,331 | (144) |
| 396 | Power Operated Equipment | 2.8 | 8,483 |  | 4.4 | 13,331 | 4,848 |
|  | TOTAL GENERAL PLANT |  | 437,288 |  |  | 436,814 | (474) |
|  |  |  |  |  |  |  |  |
|  | TOTAL PLANT |  | 3,949,607 |  |  | 3,720,192 | (229,415) |
|  |  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | | | | | | |
| **Theoretical Reserve Analysis** | | | | | | |
| Account | Account Title | Reserve | Theoretical | Reserve | Reserve | Restated |
| Number | 1/1/2015 | Reserve | Imbalance | Transfer | Reserve |
|  | TRANSMISSION PLANT | ($) | ($) | ($) | ($) | ($) |
| 350.1 | Land Rights | 18,962 | 15,163 | 3,799 | (3,799) | 15,163 |
| 352 | Structures and Improvements | 17,516 | 19,776 | (2,260) | 0 | 17,516 |
| 353 | Station Equipment | 948,485 | 1,132,053 | (183,568) | 0 | 948,485 |
| 354 | Towers and Fixtures | 190,300 | 190,070 | 230 | 0 | 190,300 |
| 355 | Poles and Fixtures | 1,073,934 | 1,276,052 | (202,118) | 43,786 | 1,117,720 |
| 355.1 | Poles and Fixtures - Concrete | 334,834 | 294,847 | 39,987 | (39,987) | 294,847 |
| 356 | Overhead Conductors and Devices | 744,898 | 852,680 | (107,782) | 0 | 744,898 |
| 359 | Roads and Trails | 5,500 | 5,515 | (15) | 0 | 5,500 |
|  | TOTAL TRANSMISSION PLANT | 3,334,429 | 3,786,156 | (451,727) | 0 | 3,334,429 |
|  |  |  |  |  |  |  |
|  | DISTRIBUTION PLANT |  |  |  |  |  |
| 360.1 | Land Rights | 29,540 | 26,959 | 2,581 | 0 | 29,540 |
| 361 | Structures and Improvements | 41,158 | 35,502 | 5,656 | 0 | 41,158 |
| 362 | Station Equipment | 2,682,209 | 2,514,680 | 167,529 | (167,529) | 2,514,680 |
| 364 | Poles, Towers, and Fixtures | 6,805,379 | 7,664,645 | (859,266) | 357,983 | 7,163,362 |
| 365 | Overhead Conductors & Devices | 8,358,899 | 8,334,096 | 24,803 | (24,803) | 8,334,096 |
| 366 | Underground Conduit | 952,686 | 832,669 | 120,017 | (120,017) | 832,669 |
| 367 | Underground Conductors & Devices | 2,619,264 | 2,936,293 | (317,029) | 0 | 2,619,264 |
| 368 | Line Transformers | 11,953,804 | 11,866,072 | 87,732 | (87,732) | 11,866,072 |
| 369 | Services | 6,560,065 | 6,454,535 | 105,530 | (105,530) | 6,454,535 |
| 370 | Meters | 2,285,299 | 2,581,858 | (296,559) | 296,559 | 2,581,858 |
| 371 | Installation on Customers' Premises | 1,573,237 | 1,424,306 | 148,931 | (148,931) | 1,424,306 |
| 373 | Street Lighting & Signal Systems | 1,054,774 | 1,041,213 | 13,561 | 0 | 1,054,774 |
|  | TOTAL DISTRIBUTION PLANT | 44,916,314 | 45,712,828 | (796,515) | 0 | 44,916,314 |
|  |  |  |  |  |  |  |
|  | GENERAL PLANT |  |  |  |  |  |
| 390 | Structures & Improvements | 748,472 | 808,211 | (59,739) | 0 | 748,472 |
| 392.1 | Transportation - Cars | 6,747 | 6,240 | 507 | 0 | 6,747 |
| 392.2 | Transportation - Light Trucks & Vans | 479,394 | 384,107 | 95,287 | 0 | 479,394 |
| 392.3 | Transportation - Heavy Trucks | 1,600,669 | 1,620,269 | (19,600) | 0 | 1,600,669 |
| 392.4 | Transportation - Trailers | 63,950 | 61,322 | 2,628 | 0 | 63,950 |
| 396 | Power Operated Equipment | 191,566 | 201,179 | (9,613) | 0 | 191,566 |
|  | TOTAL GENERAL PLANT | 3,090,798 | 3,081,328 | 9,470 | 0 | 3,090,798 |
|  |  |  |  |  |  |  |
|  | TOTAL PLANT | 51,341,541 | 52,580,312 | (1,238,771) | 0 | 51,341,541 |
|  |  |  |  |  |  |  |

1. By letter dated June 22, 2015, FPUC requested a brief filing due date extension for submitting its 2015 Depreciation Study. [↑](#footnote-ref-1)
2. Order No. PSC-12-0065-PAA-EI, issued February 13, 2012, in Docket No. 110207-EI, In re: 2011 depreciation study by Florida Public Utilities Company. [↑](#footnote-ref-2)
3. Id. [↑](#footnote-ref-3)
4. Id. [↑](#footnote-ref-4)
5. Florida Public Utilities Company’s Response to Staff’s Report on FPUC’s 2015 Depreciation Study, Schedule 2 (revised 10/20/2015). [↑](#footnote-ref-5)
6. Industry averages throughout this Order are based or relied upon NS or ASL information (underlying data of final rates) shown on the following Commission Orders:

   Order No. PSC-10-0131-FOF-EI, issued March 5, 2010, in Docket No. 090079-EI, In re: Petition for increase in rates by Progress Energy Florida, Inc.; Order No. PSC-11-0089-S-EI, issued February 1, 2011, in Docket Nos. 080677-EI and 090130-EI, In re: Petition for increase in rates by Florida Power & Light Company and 2009 depreciation and dismantlement study by Florida Power & Light Company (Order No. PSC-11-0089-S-EI settled all outstanding issues and appeals of Order No. 10-0153-FOF-EI, issued March 17, 2010, in Docket Nos. 080677-EI and 090130-EI, In re: Petition for increase in rates by Florida Power & Light Company and 2009 depreciation and dismantlement study by Florida Power & Light Company); Order No. PSC-12-0175-PAA-EI, issued April 3, 2012, in Docket No. 110131-EI, In re: Petition for approval of 2011 depreciation study and annual dismantlement accrual amounts by Tampa Electric Company; Order No. PSC-13-0670-S-EI, issued December 19, 2013, in Docket No. 130140-EI, In re: Petition for rate increase by Gulf Power Company (Order No. PSC-13-0670-S-EI continues depreciation rates prescribed by Order No. PSC-10-0458-PAA-EI, issued July 19, 2010, in Docket No. 090319-EI, In re: Depreciation and dismantlement study at December 31, 2009, by Gulf Power Company). [↑](#footnote-ref-6)
7. Florida Public Utilities Company’s Responses to Commission Staff’s First Set of Data Requests, No. 50. [↑](#footnote-ref-7)
8. Order No. PSC-12-0065-PAA-EI. [↑](#footnote-ref-8)
9. Florida Public Utilities Company’s Response to Staff’s Report on FPUC’s 2015 Depreciation Study, page 2. [↑](#footnote-ref-9)
10. Florida Public Utilities Company’s Responses to Commission Staff’s First Set of Data Requests, No. 57. [↑](#footnote-ref-10)
11. Order No. PSC-12-0065-PAA-EI. [↑](#footnote-ref-11)
12. Florida Public Utilities Company’s Response to Staff’s Report on FPUC’s 2015 Depreciation Study, page 3, and Schedule 5 (revised 10/20/2015). [↑](#footnote-ref-12)
13. 26 USC §§168(f)(2) and (i)(9). [↑](#footnote-ref-13)
14. 26 USC §167(l). [↑](#footnote-ref-14)
15. 26 USC §46(f), repealed by Revenue Reconciliation Act of 1991, Pub. L. No. 101-508, §11812(a)(1-2)(1990). [↑](#footnote-ref-15)
16. Under IRC Section 50(d)(2), the terms of former IRC section 46(f) remain applicable to public utility property for which a regulated utility previously claimed ITCs, as is the case here. (I.R.S. Priv. Ltr. Rul. 200933023, 1n.1 (May 7, 2009)). [↑](#footnote-ref-16)
17. Treas. Reg. §1.168; Treas. Reg. §1.167; Treas. Reg. §1.46. [↑](#footnote-ref-17)
18. Tax Reform Act of 1986, Pub. L. No. 99-514 (100 Stat. 2085, 2146)(1986). [↑](#footnote-ref-18)
19. See 26 USC §46(f)(6) (establishing proper determination of ratable portion). [↑](#footnote-ref-19)
20. Order No. PSC-12-0065-PAA-EI. [↑](#footnote-ref-20)
21. Listed as Account 391.3 in Order No. PSC-12-0065-PAA-EI. [↑](#footnote-ref-21)
22. Listed as Account 391.1 (Office Furniture) in Order No. PSC-12-0065-PAA-EI. [↑](#footnote-ref-22)
23. Order No. PSC-12-0065-PAA-EI. [↑](#footnote-ref-23)