## Staff Table 12
[5 empty] | Total |  |  | Firm | Total |  |  | Total |  | Generation Only
| Firm | Firm | Firm |  | Firm | Total |  | Summer | Reserve |  |  | Reserve |  | Reserve
| Installed | Capacity | Capacity | Firm | Capacity | Peak |  | Peak | Margin Before |  | Scheduled | Margin After |  | Margin After
August of | Capacity | Import | Export | QF | Available | Demand | DSM | Demand | Maintenance |  | Maintenance | Maintenance |  | Maintenance
Year | MW | MW | MW | MW | MW | MW | MW | MW | MW | % of Peak | MW | MW | % of Peak | MW | % of Peak
2017 | 26350.4529 | 492 | 0 | 3.5 | 26845.9529 | 24008.5867 | 1851.2473 | 22157.3394 | 4688.6135 | 21.1605 | 0 | 4688.6135 | 21.1605 | 2837.3662 | 11.8181
2018 | 26703.8491 | 492 | 0 | 3.5 | 27199.3491 | 24297.1561 | 1906.2394 | 22390.9167 | 4808.4324 | 21.4749 | 0 | 4808.4324 | 21.4749 | 2902.193 | 11.9446
2019 | 28247.4415 | 110 | 0 | 3.5 | 28360.9415 | 24496.3951 | 1949.5408 | 22546.8543 | 5814.0872 | 25.7867 | 0 | 5814.0872 | 25.7867 | 3864.5464 | 15.776
2020 | 28297.0384 | 110 | 0 | 3.5 | 28410.5384 | 24605.4355 | 1993.5017 | 22611.9337 | 5798.6047 | 25.644 | 0 | 5798.6047 | 25.644 | 3805.1029 | 15.4645
2021 | 28295.6399 | 110 | 0 | 3.5 | 28409.1399 | 24716.9829 | 2038.1183 | 22678.8646 | 5730.2753 | 25.267 | 0 | 5730.2753 | 25.267 | 3692.157 | 14.9377
2022 | 28382.2459 | 110 | 0 | 3.5 | 28495.7459 | 24966.6213 | 2083.3865 | 22883.2349 | 5612.511 | 24.5267 | 0 | 5612.511 | 24.5267 | 3529.1245 | 14.1354
2023 | 28466.8564 | 110 | 0 | 3.5 | 28580.3564 | 25338.3096 | 2129.5587 | 23208.7508 | 5371.6055 | 23.1447 | 0 | 5371.6055 | 23.1447 | 3242.0468 | 12.795
2024 | 28465.4713 | 110 | 0 | 3.5 | 28578.9713 | 25755.6899 | 2176.546 | 23579.1439 | 4999.8275 | 21.2044 | 0 | 4999.8275 | 21.2044 | 2823.2815 | 10.9618
2025 | 28464.0908 | 284 | 0 | 3.5 | 28751.5908 | 26137.2704 | 2223.6956 | 23913.5748 | 4838.016 | 20.2313 | 0 | 4838.016 | 20.2313 | 2614.3203 | 10.0023
2026 | 30213.7147 | 110 | 0 | 3.5 | 30327.2147 | 26551.8035 | 2270.6886 | 24281.115 | 6046.0997 | 24.9004 | 0 | 6046.0997 | 24.9004 | 3775.4112 | 14.219
2027 | 30212.3431 | 110 | 0 | 0 | 30322.3431 | 26956.2645 | 2317.5252 | 24638.7393 | 5683.6038 | 23.0678 | 0 | 5683.6038 | 23.0678 | 3366.0786 | 12.4872
2028 | 30210.9759 | 110 | 0 | 0 | 30320.9759 | 27387.495 | 2364.206 | 25023.289 | 5297.6869 | 21.171 | 0 | 5297.6869 | 21.171 | 2933.4808 | 10.711
2029 | 30209.6131 | 498 | 0 | 0 | 30707.6131 | 27915.5008 | 2410.7323 | 25504.7685 | 5202.8445 | 20.3995 | 0 | 5202.8445 | 20.3995 | 2792.1122 | 10.002
2030 | 31959.2547 | 110 | 0 | 0 | 32069.2547 | 28421.7851 | 2457.1047 | 25964.6804 | 6104.5743 | 23.5111 | 0 | 6104.5743 | 23.5111 | 3647.4695 | 12.8334
2031 | 33057.9006 | 110 | 0 | 0 | 33167.9006 | 28907.2261 | 2457.1047 | 26450.1214 | 6717.7792 | 25.3979 | 0 | 6717.7792 | 25.3979 | 4260.6745 | 14.7391
2032 | 33325.551 | 110 | 0 | 0 | 33435.551 | 29393.563 | 2457.1047 | 26936.4583 | 6499.0927 | 24.1275 | 0 | 6499.0927 | 24.1275 | 4041.988 | 13.7513
2033 | 32774.3885 | 110 | 0 | 0 | 32884.3885 | 29860.7618 | 2457.1047 | 27403.6571 | 5480.7314 | 20 | 0 | 5480.7314 | 20 | 3023.6267 | 10.1258
2034 | 33648.5475 | 0 | 0 | 0 | 33648.5475 | 30307.1116 | 2457.1047 | 27850.0068 | 5798.5407 | 20.8206 | 0 | 5798.5407 | 20.8206 | 3341.4359 | 11.0253
2035 | 34522.7109 | 0 | 0 | 0 | 34522.7109 | 30760.6531 | 2457.1047 | 28303.5484 | 6219.1625 | 21.9731 | 0 | 6219.1625 | 21.9731 | 3762.0578 | 12.2301
2036 | 35291.3785 | 0 | 0 | 0 | 35291.3785 | 31207.3738 | 2457.1047 | 28750.2691 | 6541.1095 | 22.7515 | 0 | 6541.1095 | 22.7515 | 4084.0048 | 13.0867
2037 | 35290.0505 | 0 | 0 | 0 | 35290.0505 | 31634.1822 | 2457.1047 | 29177.0775 | 6112.973 | 20.9513 | 0 | 6112.973 | 20.9513 | 3655.8683 | 11.5567
2038 | 36164.2268 | 0 | 0 | 0 | 36164.2268 | 32078.1228 | 2457.1047 | 29621.0181 | 6543.2086 | 22.0897 | 0 | 6543.2086 | 22.0897 | 4086.1039 | 12.738
2039 | 36162.9073 | 0 | 0 | 0 | 36162.9073 | 32519.7974 | 2457.1047 | 30062.6927 | 6100.2146 | 20.2916 | 0 | 6100.2146 | 20.2916 | 3643.1098 | 11.2027
2040 | 37037.092 | 0 | 0 | 0 | 37037.092 | 32953.4096 | 2457.1047 | 30496.3049 | 6540.7872 | 21.4478 | 0 | 6540.7872 | 21.4478 | 4083.6824 | 12.3923
2041 | 37035.781 | 0 | 0 | 0 | 37035.781 | 33292.3604 | 2457.1047 | 30835.2557 | 6200.5253 | 20.1086 | 0 | 6200.5253 | 20.1086 | 3743.4206 | 11.2441
2042 | 37909.9742 | 0 | 0 | 0 | 37909.9742 | 33632.0248 | 2457.1047 | 31174.9201 | 6735.0541 | 21.6041 | 0 | 6735.0541 | 21.6041 | 4277.9494 | 12.7199
2043 | 37944.1716 | 0 | 0 | 0 | 37944.1716 | 33972.4109 | 2457.1047 | 31515.3062 | 6428.8654 | 20.3992 | 0 | 6428.8654 | 20.3992 | 3971.7607 | 11.6911
2044 | 38818.3732 | 0 | 0 | 0 | 38818.3732 | 34313.5269 | 2457.1047 | 31856.4221 | 6961.9511 | 21.8542 | 0 | 6961.9511 | 21.8542 | 4504.8464 | 13.1285
2045 | 38817.079 | 0 | 0 | 0 | 38817.079 | 34655.381 | 2457.1047 | 32198.2763 | 6618.8027 | 20.5564 | 0 | 6618.8027 | 20.5564 | 4161.698 | 12.0088
2046 | 39691.289 | 0 | 0 | 0 | 39691.289 | 34997.9819 | 2457.1047 | 32540.8771 | 7150.4118 | 21.9736 | 0 | 7150.4118 | 21.9736 | 4693.3071 | 13.4102
2047 | 39690.0031 | 0 | 0 | 0 | 39690.0031 | 35341.3381 | 2457.1047 | 32884.2334 | 6805.7697 | 20.6961 | 0 | 6805.7697 | 20.6961 | 4348.6649 | 12.3048
2048 | 40564.2213 | 0 | 0 | 0 | 40564.2213 | 35685.4586 | 2457.1047 | 33228.3539 | 7335.8674 | 22.0771 | 0 | 7335.8674 | 22.0771 | 4878.7627 | 13.6716
2049 | 40562.9436 | 0 | 0 | 0 | 40562.9436 | 36030.3524 | 2457.1047 | 33573.2476 | 6989.696 | 20.8192 | 0 | 6989.696 | 20.8192 | 4532.5912 | 12.5799
2050 | 41437.1701 | 0 | 0 | 0 | 41437.1701 | 36376.0286 | 2457.1047 | 33918.9239 | 7518.2462 | 22.1653 | 0 | 7518.2462 | 22.1653 | 5061.1414 | 13.9134