## Summer_Peak
FPL 003884
20190015-EG
| Impact of the Energy Policy Act of 2005 and Florida Energy Efficiency Code on the FPL System Load | Impact of the Energy Independence and Security Act 2007 on the FPL System Load
| Due to Selected Codes and Standards | Commercial/Industrial Load Forecast for Single Package Vertical Units | Commercial/Industrial Load Forecast for Walk-in Refrigerators and Freezers | Load Impact Forecast for Incandescent Bulb Efficacy Improvements | Grandtotal | Incrementa Net from 2007 | CFLs |  | Grandtotal | Assumed Customer Forecast | Incrementa Net from 2007 | Incrementa Net from 2007 w/ CFl + | CFLs |  | Total Energy Efficiency + CFLs | Incremental to 2007 NEPACT + CFLS | Incremental NEPACT + CFLS + staggered tvs
for Replacement and Procurement of Equipment
| Summer MW | Summer MW | Summer MW | Summer MW | Summer MW | Summer MW |  |  |  |  | Summer MW per Customer
2005 | 25.9153 | 0 | 0 | 0 | 25.9153 |  |  |  |  | 4321896 |  |  |  |  | 5.9963e-06 | 0 | 0
2006 | 185.0832 | 0 | 0 | 0 | 185.0832 |  |  |  |  | 4409563 |  |  |  |  | 4.1973e-05 | 0 | 0
2007 | 366.5953 | 0 | 0 | 0 | 366.5953 |  |  |  |  | 4496589.3333 |  |  |  |  | 8.1527e-05 | 0 | 0
2008 | 516.9232 | 0 | 0 | 0 | 516.9232 | 150.3279 | 187.1008 | 0 | 337.4287 | 4555880.8888 | 3.2996e-05 | 7.4064e-05 | 4.1068e-05 | 0 | 0.00015453 | 7.4064e-05 | 7.4064e-05 | 4512523.813 | 697.324 | 607.8142 | 607.8142
2009 | 680.0343 | 0 | 5.3789 | 0 | 685.4132 | 318.8179 | 231.9581 | 0 | 550.7761 | 4628743.5212 | 6.8878e-05 | 0.00011899 | 5.0113e-05 | 0 | 0.00019819 | 0.00011899 | 0.00011899 | 4532533.8144 | 898.3036 | 762.3567 | 762.3567
2010 | 851.7971 | 0.24671 | 10.7741 | 0 | 862.8179 | 496.2226 | 275.0087 | 0 | 771.2313 | 4708602.5844 | 0.00010539 | 0.00016379 | 5.8406e-05 | 0 | 0.00024165 | 0.00016379 | 0.00016379 | 4585695.8272 | 1108.1264 | 907.6284 | 907.6284
2011 | 1039.5126 | 0.49715 | 16.2386 | 0 | 1056.2484 | 689.6531 | 314.6735 | 0 | 1004.3266 | 4796344.0369 | 0.00014379 | 0.00020939 | 6.5607e-05 | 0 | 0.00028583 | 0.00020939 | 0.00020939 | 4654007.9429 | 1330.2385 | 1066.3279 | 1066.3279
2012 | 1225.5448 | 0.74556 | 21.6655 | 0 | 1247.9559 | 881.3606 | 351.4827 | 0 | 1232.8433 | 4880891.3372 | 0.00018057 | 0.00025259 | 7.2012e-05 | 0 | 0.00032769 | 0.00025259 | 0.00025259 | 4727001.3837 | 1549.0098 | 1220.4666 | 1220.4666
2013 | 1408.6484 | 0.9897 | 27.0129 | 49.7002 | 1486.3512 | 1119.7559 | 384.9376 | 0 | 1504.6936 | 4960871.0354 | 0.00022572 | 0.00030331 | 7.7595e-05 | 0 | 0.00037721 | 0.00030331 | 0.00030331 | 4799093.7611 | 1810.2649 | 1415.972 | 1415.972
2014 | 1591.7682 | 1.2346 | 32.375 | 109.6484 | 1735.0263 | 1368.431 | 415.0113 | 0 | 1783.4423 | 5039871.0073 | 0.00027152 | 0.00035387 | 8.2346e-05 | 0 | 0.00042661 | 0.00035387 | 0.00035387 | 4870025.9346 | 2077.5807 | 1616.6551 | 1616.6551
2015 | 1591.7682 | 1.4801 | 37.7471 | 180.1806 | 1811.1761 | 1444.5808 | 442.2998 | 0 | 1886.8805 | 5119700.0292 | 0.00028216 | 0.00036855 | 8.6392e-05 | 0 | 0.00044016 | 0.00036855 | 0.00036855 | 4940374.9794 | 2174.5445 | 1679.294 | 1679.294
2016 | 1591.7682 | 1.7262 | 43.1313 | 261.732 | 1898.3577 | 1531.7624 | 467.0024 | 0 | 1998.7648 | 5200464.7485 | 0.00029454 | 0.00038434 | 8.98e-05 | 0 | 0.00045484 | 0.00038434 | 0.00038434 | 5009974.1228 | 2278.7181 | 1771.0948 | 1771.0948
2017 | 1591.7682 | 1.9727 | 48.5213 | 335.8489 | 1978.111 | 1611.5157 | 489.2425 | 0 | 2100.7582 | 5282082.3254 | 0.00030509 | 0.00039771 | 9.2623e-05 | 0 | 0.00046712 | 0.00039771 | 0.00039771 | 5079161.8013 | 2372.5658 | 1852.4562 | 1852.4562
2018 | 1591.7682 | 2.2204 | 53.9358 | 389.1737 | 2037.0981 | 1670.5028 | 509.0727 | 0 | 2179.5755 | 5365919.7783 | 0.00031132 | 0.00040619 | 9.4871e-05 | 0 | 0.00047451 | 0.00040619 | 0.00040619 | 5147633.5145 | 2442.5922 | 1909.9192 | 1909.9192
2019 | 1591.7682 | 2.468 | 59.3472 | 444.2333 | 2097.8168 | 1731.2215 | 526.6762 | 0 | 2257.8976 | 5448179.3467 | 0.00031776 | 0.00041443 | 9.667e-05 | 0 | 0.00048172 | 0.00041443 | 0.00041443 | 5216630.5503 | 2512.9514 | 1967.5284 | 1967.5284
2020 | 1591.7682 | 2.7178 | 64.7994 | 501.2376 | 2160.523 | 1793.9277 | 541.8118 | 0 | 2335.7395 | 5529010.4782 | 0.00032446 | 0.00042245 | 9.7994e-05 | 0 | 0.00048876 | 0.00042245 | 0.00042245 | 5286577.6386 | 2583.8444 | 2025.4871 | 2025.4871
2021 | 1591.7682 | 2.7178 | 64.7994 | 501.2376 | 2160.523 | 1793.9277 | 541.8118 | 0 | 2335.7395 | 5603714.0134 | 0.00032446 | 0.00042245 | 9.7994e-05 | 0 | 0.00048224 | 0.00042245 | 0.00042245 | 5352553.8568 | 2581.2154 | 2023.4262 | 2023.4262
2022 | 1591.7682 | 2.7178 | 64.7994 | 501.2376 | 2160.523 | 1793.9277 | 541.8118 | 0 | 2335.7395 | 5674780.1016 | 0.00032446 | 0.00042245 | 9.7994e-05 | 0 | 0.0004762 | 0.00042245 | 0.00042245 | 5419375.3248 | 2580.7109 | 2023.0307 | 2023.0307
2702.3348

## MW Summer Impact NEPACT
FPL 003885
20190015-EG
Florida Power & Light
Impact of the Energy Policy Act of 2005 and Florida Energy Efficiency Code on the FPL System Load
Summary of Load Forecast Impacts
2005 - 2014, 4-5 PM on a Typical Summer System Peak Day
| Residential AC Efficiency | CI DX Efficiency | CI Chiller Efficiency | CI Lighting Efficiency | CI Refrigeration Efficiency | Federal Facility ENERGY STAR Procurement | TOTAL
| Cumulative Impact on FPL Load | Cumulative Impact on FPL Load | Cumulative Impact on FPL Load | Cumulative Impact on FPL Load | Cumulative Impact on FPL Load | Cumulative Impact on FPL Load | Cumulative Impact on FPL Load
| Due to SEER 13 Standard | Due to ASHRAE 90.1 2001 and Federal Standards | Due to ASHRAE 90.1 2001 | Due to Electronic Ballast Standards | Due to and Federal Standards in 2010 | Due to Federal Procurement Initiative | Due to Selected Codes and Standards
| Replacing Current Efficiency Mix | Replacing ASHRAE 90.1 1989 | Replacing ASHRAE 90.1 1989 | Replacing Energy Saver Magnetic | Replacing Conventional Equipment | for ENERGY STAR Products | for Replacement and Procurement of Equipment
Year | Summer MW | Summer MW | Summer MW | Summer MW | Summer MW | Summer MW | Summer MW
2005 | 0 | 15.1764 | 10.7389 | 0 | 0 | 0 | 25.9153
2006 | 108.1533 | 51.8917 | 24.6689 | 0 | 0 | 0.36931 | 185.0832
2007 | 209.5303 | 90.3989 | 39.2787 | 26.6487 | 0 | 0.73862 | 366.5953
2008 | 299.4866 | 120.5305 | 50.7108 | 45.0873 | 0 | 1.1079 | 516.9232
2009 | 385.4938 | 157.7531 | 64.8333 | 70.4768 | 0 | 1.4772 | 680.0343
2010 | 467.8305 | 202.7398 | 79.0095 | 96.005 | 4.3657 | 1.8466 | 851.7971
2011 | 563.7399 | 248.4516 | 93.4141 | 122.1237 | 9.6424 | 2.1409 | 1039.5126
2012 | 658.834 | 293.7701 | 107.6949 | 147.9221 | 14.8884 | 2.4353 | 1225.5448
2013 | 752.8375 | 338.2561 | 121.7133 | 173.0428 | 20.0691 | 2.7297 | 1408.6484
2014 | 846.5153 | 382.897 | 135.7804 | 198.2895 | 25.262 | 3.024 | 1591.7682
Prepared by Itron, Inc.
Revised 05-29-08