## Sheet1
DEF Applicability - Customer generating capacity exceeds 100kW/Customer supplies at least 20% of their load/ customer generators are operated for other than emergency and test purposes
FPL Applicability - No capacity limit. Customer supplies at least 20% of their load. Customer generators are operated for other than emergency and test purposes.
DEF |  |  |  |  | FPL
Stand-by Service |  |  | Per Month |  | Stand-by Service |  |  | Per Month
| Distribution Capacity Charge |  | 2.38 | per kw |  | Distribution Capacity Charge |  | 3.05 | per kw | Above 69 kV = N/A
| Generation & Trans Capacity Charge |  | 1.326 | per kw |  | Reservation Demand Charge * |  | 1.5 | per kw | Above 69 kV = 1.37
| Energy Conservation Charge |  | 0.091 | per kw |  | Capacity Charge |  | 0.11 | per kw
| Capacity Clause Charge |  | 0.36 | per kw |  | Energy Conservation Charge |  | 0.07 | per kw
[6 empty] | Total |  | 4.73 | per kw
| Total |  | 4.157 | per kw
Customer Charge
| Customer Charge | [5 empty] | Below 500 kW | 126.94 | per mth
|  | Secondary Metering | 101.37 | per mth |  |  | 500 - 1,999 kW | 126.94 | per mth
|  | Primary Metering | 237.23 | per mth |  |  | 2,000 kW & Above | 431.58 | per mth
|  | Transmission Metering | 817.33 | per mth |  |  | 69 kV (Transmission Service) | 1830.15 | per mth
|  | Average | 385.31 | per mth
* For simplicty, use in lieu of sum of daily demands charge (which applies if generator
offline or lower than contrated demand for >2 days per month)