## Integration_SMB
Aggregated peak load for each end use |  |  |  |  | %Diff between historic and 2020 system peak: |  |  |  |  | ****Updated Potential**** |  | ****Reported Potential****
Utility | Season | Segment | SMB Heating (kW) | SMB Cooling (kW) |  | Season | % Diff | Utility | Season | SMB Heating (MW) | SMB Cooling (MW) | SMB Heating (MW) | SMB Cooling (MW)
JEA | Winter | 0-15,000 kWh | 9396.2416 | - | JEA | Summer | 0.7239% | JEA | Winter | 48.0067 | - | 54.9358 | -
JEA | Winter | 15,001-25,000 kWh | 5101.5654 | - | JEA | Winter | 10.32% | JEA | Summer | - | 63.8243 | - | 71.657
JEA | Winter | 25,001-50,000 kWh | 1880.9785 | - | FPUC | Summer | -9.333% | FPUC | Winter | 2.5167 | - | 3.4181 | -
JEA | Winter | 50,001 kWh + | 31627.8796 | - | FPUC | Winter | -9.333% | FPUC | Summer | - | 4.1414 | - | 4.6349
JEA | Summer | 0-15,000 kWh | - | 9226.5196 | OUC | Summer | -0.7407% | OUC | Winter | 18.4131 | - | 22.8187 | -
JEA | Summer | 15,001-25,000 kWh | - | 9035.4624 | OUC | Winter | 8.485% | OUC | Summer | - | 16.0607 | - | 23.6257
JEA | Summer | 25,001-50,000 kWh | - | 1469.673 | TECO | Summer | 1.885% | TECO | Winter | 54.8502 | - | 62.8845 | -
JEA | Summer | 50,001 kWh + | - | 44092.6244 | TECO | Winter | 24.47% | TECO | Summer | - | 76.8522 | - | 98.747
FPUC | Winter | 0-15,000 kWh | 892.9883 | - | FPL | Summer | 3.131% | FPL | Winter | 183.485 | - | 220.4356 | -
FPUC | Winter | 15,001-25,000 kWh | 405.5097 | - | FPL | Winter | 23.83% | FPL | Summer | - | 510.1644 | - | 620.5961
FPUC | Winter | 25,001-50,000 kWh | 580.7886 | - | DEF | Summer | 5.91% | DEF | Winter | 72.9741 | - | 86.146 | -
FPUC | Winter | 50,001 kWh + | 637.3748 | - | DEF | Winter | 24% | DEF | Summer | - | 103.5816 | - | 143.1876
FPUC | Summer | 0-15,000 kWh | - | 1454.0211 | Gulf | Summer | 0.8048% | Gulf | Winter | 4.6874 | - | 20.9479 | -
FPUC | Summer | 15,001-25,000 kWh | - | 525.164 | Gulf | Winter | -8.588% | Gulf | Summer | - | 18.1081 | - | 28.0358
FPUC | Summer | 25,001-50,000 kWh | - | 672.9571
FPUC | Summer | 50,001 kWh + | - | 1489.2194
OUC | Winter | 0-15,000 kWh | 3342.5299 | -
OUC | Winter | 15,001-25,000 kWh | 2847.2067 | -
OUC | Winter | 25,001-50,000 kWh | 6110.659 | -
OUC | Winter | 50,001 kWh + | 6112.7174 | -
OUC | Summer | 0-15,000 kWh | - | 5332.8649
OUC | Summer | 15,001-25,000 kWh | - | 2605.9302
OUC | Summer | 25,001-50,000 kWh | - | 3427.3262
OUC | Summer | 50,001 kWh + | - | 4694.5879
TECO | Winter | 0-15,000 kWh | 13947.7322 | -
TECO | Winter | 15,001-25,000 kWh | 10065.4791 | -
TECO | Winter | 25,001-50,000 kWh | 16845.0921 | -
TECO | Winter | 50,001 kWh + | 13991.8996 | -
TECO | Summer | 0-15,000 kWh | - | 21677.109
TECO | Summer | 15,001-25,000 kWh | - | 13887.6367
TECO | Summer | 25,001-50,000 kWh | - | 28710.7249
TECO | Summer | 50,001 kWh + | - | 12576.769
FPL | Winter | 0-15,000 kWh | 41597.1037 | -
FPL | Winter | 15,001-25,000 kWh | 27732.7737 | -
FPL | Winter | 25,001-50,000 kWh | 39946.7105 | -
FPL | Winter | 50,001 kWh + | 74208.4161 | -
FPL | Summer | 0-15,000 kWh | - | 141551.628
FPL | Summer | 15,001-25,000 kWh | - | 60982.2895
FPL | Summer | 25,001-50,000 kWh | - | 101424.6286
FPL | Summer | 50,001 kWh + | - | 206205.8532
DEF | Winter | 0-15,000 kWh | 34848.553 | -
DEF | Winter | 15,001-25,000 kWh | 16253.332 | -
DEF | Winter | 25,001-50,000 kWh | 13562.7284 | -
DEF | Winter | 50,001 kWh + | 8309.4887 | -
DEF | Summer | 0-15,000 kWh | - | 63725.601
DEF | Summer | 15,001-25,000 kWh | - | 17476.8798
DEF | Summer | 25,001-50,000 kWh | - | 10712.4866
DEF | Summer | 50,001 kWh + | - | 11666.6788
Gulf | Winter | 0-15,000 kWh | 2222.9539 | -
Gulf | Winter | 15,001-25,000 kWh | 1202.8778 | -
Gulf | Winter | 25,001-50,000 kWh | 1035.7806 | -
Gulf | Winter | 50,001 kWh + | 225.7412 | -
Gulf | Summer | 0-15,000 kWh | - | 9492.1876
Gulf | Summer | 15,001-25,000 kWh | - | 4085.3206
Gulf | Summer | 25,001-50,000 kWh | - | 3147.3711
Gulf | Summer | 50,001 kWh + | - | 1383.2016

## Integration_LCI
Aggregated peak load for each end use |  |  |  | %Diff between historic and 2020 system peak: |  |  |  |  | ****Updated**** | ****Original****
Utility | Season | Segment | Curtailable Load (kW) |  | Season | % Diff | Utility | Season | Curtailable Load (MW) | Curtailable Load (MW)
JEA | Winter | 0-50 kW | 8926.891 | JEA | Summer | 0.7239% | JEA | Winter | 457.7792 | 606.5861
JEA | Winter | 51-300 kW | 309482.2058 | JEA | Winter | 10.32% | JEA | Summer | 477.2062 | 742.8555
JEA | Winter | 301-500 kW | 1053.21 | FPUC | Summer | -9.333% | FPUC | Winter | 25.1278 | 31.795
JEA | Winter | 501 kW + | 138316.8557 | FPUC | Winter | -9.333% | FPUC | Summer | 24.0238 | 35.7544
JEA | Summer | 0-50 kW | 7788.6093 | OUC | Summer | -0.7407% | OUC | Winter | 304.1531 | 396.1552
JEA | Summer | 51-300 kW | 316611.3014 | OUC | Winter | 8.485% | OUC | Summer | 320.9667 | 496.3132
JEA | Summer | 301-500 kW | 1321.5639 | TECO | Summer | 1.885% | TECO | Winter | 1131.6475 | 1307.7731
JEA | Summer | 501 kW + | 151484.7275 | TECO | Winter | 24.47% | TECO | Summer | 1115.7186 | 1461.3142
FPUC | Winter | 0-50 kW | 1492.0117 | FPL | Summer | 3.131% | FPL | Winter | 3916.1951 | 5126.6525
FPUC | Winter | 51-300 kW | 9686.3537 | FPL | Winter | 23.83% | FPL | Summer | 4919.0141 | 6889.9858
FPUC | Winter | 301-500 kW | 4045.9382 | DEF | Summer | 5.91% | DEF | Winter | 1716.9064 | 1950.2172
FPUC | Winter | 501 kW + | 9903.5231 | DEF | Winter | 24% | DEF | Summer | 1755.6615 | 2266.2029
FPUC | Summer | 0-50 kW | 1491.6773 | Gulf | Summer | 0.8048% | Gulf | Winter | 426.8794 | 510.4225
FPUC | Summer | 51-300 kW | 8431.6499 | Gulf | Winter | -8.588% | Gulf | Summer | 476.3096 | 632.7912
FPUC | Summer | 301-500 kW | 4853.8378
FPUC | Summer | 501 kW + | 9246.6388
OUC | Winter | 0-50 kW | 27969.6759
OUC | Winter | 51-300 kW | 90080.036
OUC | Winter | 301-500 kW | 40013.284
OUC | Winter | 501 kW + | 146090.1063
OUC | Summer | 0-50 kW | 33690.8162
OUC | Summer | 51-300 kW | 100896.2785
OUC | Summer | 301-500 kW | 42087.7789
OUC | Summer | 501 kW + | 144291.8439
TECO | Winter | 0-50 kW | 99878.21
TECO | Winter | 51-300 kW | 371401.7733
TECO | Winter | 301-500 kW | 161451.1171
TECO | Winter | 501 kW + | 498916.3568
TECO | Summer | 0-50 kW | 125072.6822
TECO | Summer | 51-300 kW | 362992.588
TECO | Summer | 301-500 kW | 143031.5999
TECO | Summer | 501 kW + | 484621.7681
FPL | Winter | 0-50 kW | 551634.3271
FPL | Winter | 51-300 kW | 1578786.2848
FPL | Winter | 301-500 kW | 513046.6728
FPL | Winter | 501 kW + | 1272727.8529
FPL | Summer | 0-50 kW | 868043.5547
FPL | Summer | 51-300 kW | 1995655.3491
FPL | Summer | 301-500 kW | 576952.519
FPL | Summer | 501 kW + | 1478362.6867
DEF | Winter | 0-50 kW | 537664.2678
DEF | Winter | 51-300 kW | 684836.9483
DEF | Winter | 301-500 kW | 160486.1697
DEF | Winter | 501 kW + | 333919.0123
DEF | Summer | 0-50 kW | 503678.9054
DEF | Summer | 51-300 kW | 703206.3398
DEF | Summer | 301-500 kW | 174259.5227
DEF | Summer | 501 kW + | 374516.6842
Gulf | Winter | 0-50 kW | 71383.6356
Gulf | Winter | 51-300 kW | 197122.5078
Gulf | Winter | 301-500 kW | 64596.792
Gulf | Winter | 501 kW + | 93776.4507
Gulf | Summer | 0-50 kW | 83314.7056
Gulf | Summer | 51-300 kW | 200312.8498
Gulf | Summer | 301-500 kW | 90468.4837
Gulf | Summer | 501 kW + | 102213.5134

## Agg SMB DR Curt Load Summary
Aggregated peak load for each end use
Utility | Season | Segment | SMB Heating (kW) | SMB Cooling (kW)
JEA | Winter | 0-15,000 kWh | 9746.4081 | -
JEA | Winter | 15,001-25,000 kWh | 5291.6836 | -
JEA | Winter | 25,001-50,000 kWh | 1951.0763 | -
JEA | Winter | 50,001 kWh + | 32806.5447 | -
JEA | Summer | 0-15,000 kWh | - | 10284.3491
JEA | Summer | 15,001-25,000 kWh | - | 10071.387
JEA | Summer | 25,001-50,000 kWh | - | 1638.1725
JEA | Summer | 50,001 kWh + | - | 49147.8872
FPUC | Winter | 0-15,000 kWh | 1337.8657 | -
FPUC | Winter | 15,001-25,000 kWh | 607.5304 | -
FPUC | Winter | 25,001-50,000 kWh | 870.1313 | -
FPUC | Winter | 50,001 kWh + | 954.9083 | -
FPUC | Summer | 0-15,000 kWh | - | 1794.7337
FPUC | Summer | 15,001-25,000 kWh | - | 648.2228
FPUC | Summer | 25,001-50,000 kWh | - | 830.6473
FPUC | Summer | 50,001 kWh + | - | 1838.1798
OUC | Winter | 0-15,000 kWh | 3818.2324 | -
OUC | Winter | 15,001-25,000 kWh | 3252.4157 | -
OUC | Winter | 25,001-50,000 kWh | 6980.3163 | -
OUC | Winter | 50,001 kWh + | 6982.6676 | -
OUC | Summer | 0-15,000 kWh | - | 7903.1736
OUC | Summer | 15,001-25,000 kWh | - | 3861.924
OUC | Summer | 25,001-50,000 kWh | - | 5079.2124
OUC | Summer | 50,001 kWh + | - | 6957.2629
TECO | Winter | 0-15,000 kWh | 12846.9007 | -
TECO | Winter | 15,001-25,000 kWh | 9271.0563 | -
TECO | Winter | 25,001-50,000 kWh | 15515.5851 | -
TECO | Winter | 50,001 kWh + | 12887.5823 | -
TECO | Summer | 0-15,000 kWh | - | 27337.4064
TECO | Summer | 15,001-25,000 kWh | - | 17513.9576
TECO | Summer | 25,001-50,000 kWh | - | 36207.6304
TECO | Summer | 50,001 kWh + | - | 15860.7979
FPL | Winter | 0-15,000 kWh | 40356.9798 | -
FPL | Winter | 15,001-25,000 kWh | 26905.9836 | -
FPL | Winter | 25,001-50,000 kWh | 38755.7894 | -
FPL | Winter | 50,001 kWh + | 71996.0595 | -
FPL | Summer | 0-15,000 kWh | - | 166964.7054
FPL | Summer | 15,001-25,000 kWh | - | 71930.575
FPL | Summer | 25,001-50,000 kWh | - | 119633.6169
FPL | Summer | 50,001 kWh + | - | 243226.4469
DEF | Winter | 0-15,000 kWh | 33175.7091 | -
DEF | Winter | 15,001-25,000 kWh | 15473.1192 | -
DEF | Winter | 25,001-50,000 kWh | 12911.6733 | -
DEF | Winter | 50,001 kWh + | 7910.6062 | -
DEF | Summer | 0-15,000 kWh | - | 83176.9145
DEF | Summer | 15,001-25,000 kWh | - | 22811.4434
DEF | Summer | 25,001-50,000 kWh | - | 13982.3175
DEF | Summer | 50,001 kWh + | - | 15227.763
Gulf | Winter | 0-15,000 kWh | 10867.7738 | -
Gulf | Winter | 15,001-25,000 kWh | 5880.7356 | -
Gulf | Winter | 25,001-50,000 kWh | 5063.8156 | -
Gulf | Winter | 50,001 kWh + | 1103.6235 | -
Gulf | Summer | 0-15,000 kWh | - | 14579.0125
Gulf | Summer | 15,001-25,000 kWh | - | 6274.6273
Gulf | Summer | 25,001-50,000 kWh | - | 4834.0345
Gulf | Summer | 50,001 kWh + | - | 2124.4537

## Agg LCI DR Curt Load Summary
Aggregated peak load for each end use
Utility | Season | Segment | Curtailable Load (kW)
JEA | Winter | 0-50 kW | 10722
JEA | Winter | 51-300 kW | 371716
JEA | Winter | 301-500 kW | 1265
JEA | Winter | 501 kW + | 166131
JEA | Summer | 0-50 kW | 12037.2075
JEA | Summer | 51-300 kW | 489319.1814
JEA | Summer | 301-500 kW | 2042.462
JEA | Summer | 501 kW + | 234117.9312
FPUC | Winter | 0-50 kW | 2082.24
FPUC | Winter | 51-300 kW | 13518.2
FPUC | Winter | 301-500 kW | 5646.48
FPUC | Winter | 501 kW + | 13821.28
FPUC | Summer | 0-50 kW | 2448.6147
FPUC | Summer | 51-300 kW | 13840.7021
FPUC | Summer | 301-500 kW | 7967.6604
FPUC | Summer | 501 kW + | 15178.5208
OUC | Winter | 0-50 kW | 33580.8741
OUC | Winter | 51-300 kW | 108151.6408
OUC | Winter | 301-500 kW | 48040.6371
OUC | Winter | 501 kW + | 175398.2948
OUC | Summer | 0-50 kW | 52485.1305
OUC | Summer | 51-300 kW | 157180.9454
OUC | Summer | 301-500 kW | 65566.312
OUC | Summer | 501 kW + | 224784.5885
TECO | Winter | 0-50 kW | 92729.9805
TECO | Winter | 51-300 kW | 344820.7491
TECO | Winter | 301-500 kW | 149896.1479
TECO | Winter | 501 kW + | 463209.1827
TECO | Summer | 0-50 kW | 160783.2789
TECO | Summer | 51-300 kW | 466633.7803
TECO | Summer | 301-500 kW | 183869.8044
TECO | Summer | 501 kW + | 622990.3728
FPL | Winter | 0-50 kW | 583170.8492
FPL | Winter | 51-300 kW | 1669044.3164
FPL | Winter | 301-500 kW | 542377.1675
FPL | Winter | 501 kW + | 1345488.7528
FPL | Summer | 0-50 kW | 1178941.9358
FPL | Summer | 51-300 kW | 2710419.0425
FPL | Summer | 301-500 kW | 783593.7677
FPL | Summer | 501 kW + | 2007852.8987
DEF | Winter | 0-50 kW | 492510.7497
DEF | Winter | 51-300 kW | 627323.7391
DEF | Winter | 301-500 kW | 147008.4
DEF | Winter | 501 kW + | 305876.2
DEF | Summer | 0-50 kW | 613870.2614
DEF | Summer | 51-300 kW | 857048.9155
DEF | Summer | 301-500 kW | 212382.805
DEF | Summer | 501 kW + | 456450.8308
Gulf | Winter | 0-50 kW | 93373.04
Gulf | Winter | 51-300 kW | 257845.2
Gulf | Winter | 301-500 kW | 84495.54
Gulf | Winter | 501 kW + | 122663.86
Gulf | Summer | 0-50 kW | 109802.2298
Gulf | Summer | 51-300 kW | 263996.5825
Gulf | Summer | 301-500 kW | 119230.3467
Gulf | Summer | 501 kW + | 134709.3721

## Agg SMB EE Load Summary
Aggregated peak load reduction for each end use | [5 empty] | Load Reduction from EE (MW) |  | Peak demand (GS) |  | Peak demand distribution by end use
Utility | Season | Segment | SMB Heating (kW) | SMB Cooling (kW) | Utility | Winter Peak Demand (MW) | Summer Peak Demand (MW) | Winter Peak Demand (MW) | Summer Peak Demand (MW) | Heating % | Cooling %
JEA | Winter | 0-15,000 kWh | 677.9304 | - | JEA | 1.6334 | 11.4111 | 223.2919 | 289.9913 | 5.8% | 36%
JEA | Winter | 15,001-25,000 kWh | 358.9009 | - | FPUC | 0.1359 | 0.48644 | 8.8817 | 12.3515 | 5.8% | 37%
JEA | Winter | 25,001-50,000 kWh | 324.724 | - | OUC | 0.72883 | 8.4879 | 65.0905 | 71.6459 | 5.8% | 37%
JEA | Winter | 50,001 kWh + | 271.8899 | - | TECO | 1.3554 | 16.3431 | 182.9086 | 204.7472 | 5.8% | 36%
JEA | Summer | 0-15,000 kWh | - | 4475.5788 | FPL | 11.2774 | 146.1606 | 1159.9659 | 2281.6127 | 5.8% | 36%
JEA | Summer | 15,001-25,000 kWh | - | 2527.4966 | DEF | 2.2364 | 34.0264 | 270.8534 | 323.7229 | 5.4% | 38%
JEA | Summer | 25,001-50,000 kWh | - | 2383.3524 | Gulf | 2.0677 | 8.6798 | 45.9267 | 66.2468 | 5.8% | 37%
JEA | Summer | 50,001 kWh + | - | 2024.7216
FPUC | Winter | 0-15,000 kWh | 45.8762 | -
FPUC | Winter | 15,001-25,000 kWh | 38.1568 | - |  | % Change from EE
FPUC | Winter | 25,001-50,000 kWh | 36.5805 | - | Utility | Winter Peak Demand adjustment | Summer Peak Demand adjustment
FPUC | Winter | 50,001 kWh + | 15.2889 | - | JEA | 12.61% | 10.93%
FPUC | Summer | 0-15,000 kWh | - | 156.3415 | FPUC | 26.38% | 10.64%
FPUC | Summer | 15,001-25,000 kWh | - | 129.8636 | OUC | 19.31% | 32.02%
FPUC | Summer | 25,001-50,000 kWh | - | 132.8496 | TECO | 12.78% | 22.17%
FPUC | Summer | 50,001 kWh + | - | 67.3896 | FPL | 16.76% | 17.79%
OUC | Winter | 0-15,000 kWh | 310.8268 | - | DEF | 15.29% | 27.66%
OUC | Winter | 15,001-25,000 kWh | 155.1583 | - | Gulf | 77.62% | 35.41%
OUC | Winter | 25,001-50,000 kWh | 138.9969 | -
OUC | Winter | 50,001 kWh + | 123.849 | -
OUC | Summer | 0-15,000 kWh | - | 3528.869
OUC | Summer | 15,001-25,000 kWh | - | 1799.0243
OUC | Summer | 25,001-50,000 kWh | - | 1664.0359
OUC | Summer | 50,001 kWh + | - | 1495.9582
TECO | Winter | 0-15,000 kWh | 533.7534 | -
TECO | Winter | 15,001-25,000 kWh | 291.0612 | -
TECO | Winter | 25,001-50,000 kWh | 279.9592 | -
TECO | Winter | 50,001 kWh + | 250.6494 | -
TECO | Summer | 0-15,000 kWh | - | 6092.7651
TECO | Summer | 15,001-25,000 kWh | - | 3538.9378
TECO | Summer | 25,001-50,000 kWh | - | 3553.9584
TECO | Summer | 50,001 kWh + | - | 3157.4127
FPL | Winter | 0-15,000 kWh | 2516.0423 | -
FPL | Winter | 15,001-25,000 kWh | 2205.4536 | -
FPL | Winter | 25,001-50,000 kWh | 4004.1201 | -
FPL | Winter | 50,001 kWh + | 2551.8154 | -
FPL | Summer | 0-15,000 kWh | - | 33637.2539
FPL | Summer | 15,001-25,000 kWh | - | 29616.9684
FPL | Summer | 25,001-50,000 kWh | - | 51903.1909
FPL | Summer | 50,001 kWh + | - | 30865.8258
DEF | Winter | 0-15,000 kWh | 908.3395 | -
DEF | Winter | 15,001-25,000 kWh | 481.5894 | -
DEF | Winter | 25,001-50,000 kWh | 451.2506 | -
DEF | Winter | 50,001 kWh + | 395.2043 | -
DEF | Summer | 0-15,000 kWh | - | 13313.6887
DEF | Summer | 15,001-25,000 kWh | - | 7451.1111
DEF | Summer | 25,001-50,000 kWh | - | 7149.4181
DEF | Summer | 50,001 kWh + | - | 6112.1735
Gulf | Winter | 0-15,000 kWh | 695.7579 | -
Gulf | Winter | 15,001-25,000 kWh | 574.6273 | -
Gulf | Winter | 25,001-50,000 kWh | 553.6718 | -
Gulf | Winter | 50,001 kWh + | 243.6443 | -
Gulf | Summer | 0-15,000 kWh | - | 2789.1831
Gulf | Summer | 15,001-25,000 kWh | - | 2316.1661
Gulf | Summer | 25,001-50,000 kWh | - | 2370.3089
Gulf | Summer | 50,001 kWh + | - | 1204.109

## Agg LCI EE Load Summary
Aggregated peak load reduction for each end use | [6 empty] | Load Reduction from EE (MW) |  | Peak demand (GSD)
Utility | Season | Segment | Com_Load Reduction (kW) | Ind_Load Reduction (kW) | Total_Load Reduction (kW) | Utility | Winter Peak Demand (MW) | Summer Peak Demand (MW) | Winter Peak Demand (MW) | Summer Peak Demand (MW)
JEA | Winter | 0-50 kW | 25088.0528 | 9263.4557 | 34351.5085 | JEA | 148.8067 | 265.6491 | 606.5861 | 742.8553
JEA | Winter | 51-300 kW | 33451.3992 | 11067.234 | 44518.6332 | FPUC | 6.6671 | 11.731 | 31.7942 | 35.7549
JEA | Winter | 301-500 kW | 11759.5987 | 4307.2763 | 16066.8749 | OUC | 92.0026 | 175.3464 | 396.1557 | 496.3131
JEA | Winter | 501 kW + | 27551.3457 | 26318.3204 | 53869.6661 | TECO | 179.5075 | 352.1275 | 1332.8839 | 1488.9328
JEA | Summer | 0-50 kW | 53720.5162 | 9503.2728 | 63223.789 | FPL | 1303.4585 | 2110.755 | 5520.5404 | 7378.6316
JEA | Summer | 51-300 kW | 70442.8334 | 11355.4697 | 81798.3031 | DEF | 329.4797 | 654.1064 | 2754.0816 | 2903.4626
JEA | Summer | 301-500 kW | 25912.4826 | 4420.789 | 30333.2716 | Gulf | 107.3321 | 200.6922 | 655.7678 | 811.5748
JEA | Summer | 501 kW + | 63285.3558 | 27008.3822 | 90293.738
FPUC | Winter | 0-50 kW | 872.2623 | 135.4022 | 1007.6645
FPUC | Winter | 51-300 kW | 2589.0108 | 522.0863 | 3111.097 |  | % Change from EE
FPUC | Winter | 301-500 kW | 1230.0726 | 360.9261 | 1590.9987 | Utility | Winter Peak Demand (MW) | Summer Peak Demand (MW)
FPUC | Winter | 501 kW + | 470.9301 | 486.4561 | 957.3862 | JEA | 24.53% | 35.76%
FPUC | Summer | 0-50 kW | 1604.6811 | 138.8977 | 1743.5787 | FPUC | 20.97% | 32.81%
FPUC | Summer | 51-300 kW | 5072.3068 | 535.7128 | 5608.0196 | OUC | 23.22% | 35.33%
FPUC | Summer | 301-500 kW | 2369.2738 | 370.4584 | 2739.7322 | TECO | 13.47% | 23.65%
FPUC | Summer | 501 kW + | 1140.5873 | 499.1318 | 1639.7191 | FPL | 23.61% | 28.61%
OUC | Winter | 0-50 kW | 21189.024 | 410.6136 | 21599.6376 | DEF | 11.96% | 22.53%
OUC | Winter | 51-300 kW | 31780.2315 | 490.3263 | 32270.5578 | Gulf | 16.37% | 24.73%
OUC | Winter | 301-500 kW | 9883.7849 | 191.3466 | 10075.1315
OUC | Winter | 501 kW + | 26890.2844 | 1166.9772 | 28057.2616
OUC | Summer | 0-50 kW | 41176.2447 | 421.2437 | 41597.4884
OUC | Summer | 51-300 kW | 61441.2582 | 503.0958 | 61944.354
OUC | Summer | 301-500 kW | 19204.3605 | 196.3895 | 19400.7499
OUC | Summer | 501 kW + | 51206.2629 | 1197.5742 | 52403.8371
TECO | Winter | 0-50 kW | 36305.5884 | 6559.9876 | 42865.5761
TECO | Winter | 51-300 kW | 51660.8095 | 7833.4345 | 59494.244
TECO | Winter | 301-500 kW | 14778.6551 | 3057.433 | 17836.088
TECO | Winter | 501 kW + | 40669.3962 | 18642.1885 | 59311.5846
TECO | Summer | 0-50 kW | 78418.7232 | 6729.8261 | 85148.5493
TECO | Summer | 51-300 kW | 115040.4539 | 8037.4527 | 123077.9067
TECO | Summer | 301-500 kW | 31215.581 | 3138.0143 | 34353.5953
TECO | Summer | 501 kW + | 90416.4477 | 19130.9924 | 109547.4401
FPL | Winter | 0-50 kW | 180205.1763 | 6677.2155 | 186882.3918
FPL | Winter | 51-300 kW | 453425.2504 | 19741.4527 | 473166.7032
FPL | Winter | 301-500 kW | 181223.761 | 6936.9244 | 188160.6853
FPL | Winter | 501 kW + | 438269.5724 | 16979.1921 | 455248.7645
FPL | Summer | 0-50 kW | 298157.507 | 6850.9059 | 305008.4129
FPL | Summer | 51-300 kW | 760359.9912 | 20255.9343 | 780615.9255
FPL | Summer | 301-500 kW | 290894.6417 | 7118.2332 | 298012.8749
FPL | Summer | 501 kW + | 709695.4801 | 17422.2947 | 727117.7748
DEF | Winter | 0-50 kW | 64971.3873 | 13866.1981 | 78837.5854
DEF | Winter | 51-300 kW | 91788.6878 | 14927.5886 | 106716.2764
DEF | Winter | 301-500 kW | 28572.631 | 5394.7307 | 33967.3617
DEF | Winter | 501 kW + | 78631.4838 | 31326.9578 | 109958.4415
DEF | Summer | 0-50 kW | 142544.4802 | 14222.765 | 156767.2452
DEF | Summer | 51-300 kW | 205933.7866 | 15314.2767 | 221248.0632
DEF | Summer | 301-500 kW | 62375.2119 | 5536.6385 | 67911.8504
DEF | Summer | 501 kW + | 176032.6705 | 32146.5962 | 208179.2667
Gulf | Winter | 0-50 kW | 14996.9013 | 347.6282 | 15344.5295
Gulf | Winter | 51-300 kW | 44897.5021 | 3115.2004 | 48012.7025
Gulf | Winter | 301-500 kW | 21197.9942 | 3430.9056 | 24628.8999
Gulf | Winter | 501 kW + | 8172.9051 | 11173.0655 | 19345.9705
Gulf | Summer | 0-50 kW | 28681.492 | 356.9435 | 29038.4355
Gulf | Summer | 51-300 kW | 90711.1177 | 3197.4431 | 93908.5608
Gulf | Summer | 301-500 kW | 42359.3263 | 3522.0134 | 45881.3397
Gulf | Summer | 501 kW + | 20397.3749 | 11466.5333 | 31863.9082