## Battery Schedule 9
Florida Power & Light Company
Docket No. 20190061-EI
Staff's Second Set of Interrogatories
Interrogatory No. 198
Attachment No. 2 - Amended
Tab 1 of 1
| Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9
| Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities
-1 | Plant Name and Unit Number: |  | Battery Storage |  |  | -1 | Plant Name and Unit Number: |  | Battery Storage |  |  | -1 | Plant Name and Unit Number: |  | Battery Storage |  |  | -1 | Plant Name and Unit Number: |  | Battery Storage |  |  | -1 | Plant Name and Unit Number: |  | Battery Storage
-2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity
| a. Summer | 469 | MW |  |  |  | a. Summer | 300 | MW - 2 Hour |  |  |  | a. Summer | 200 | MW - 2 Hour |  |  |  | a. Summer | 100 | MW - 3 Hour |  |  |  | a. Summer | 100 | MW - 2 Hour
| b. Winter | 469 | MW |  |  |  | b. Winter | 300 | MW - 2 Hour |  |  |  | b. Winter | 200 | MW - 2 Hour |  |  |  | b. Winter | 100 | MW - 3 Hour |  |  |  | b. Winter | 100 | MW - 2 Hour
-3 | Technology Type: | Battery |  |  |  | -3 | Technology Type: | Battery |  |  |  | -3 | Technology Type: | Battery |  |  |  | -3 | Technology Type: | Battery |  |  |  | -3 | Technology Type: | Battery
-4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing
| a. Field construction start-date: |  | 2020 |  |  |  | a. Field construction start-date: |  | 2020 |  |  |  | a. Field construction start-date: |  | 2021 |  |  |  | a. Field construction start-date: |  | 2021 |  |  |  | a. Field construction start-date: |  | 2020
| b. Commercial In-service date: |  | Late 2021 or Early 2022 |  |  |  | b. Commercial In-service date: |  | 2020 |  |  |  | b. Commercial In-service date: |  | 2021 |  |  |  | b. Commercial In-service date: |  | 2021 |  |  |  | b. Commercial In-service date: |  | 2020
-5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel
| a. Primary Fuel |  |  | Not applicable |  |  | a. Primary Fuel |  |  | Not applicable |  |  | a. Primary Fuel |  |  | Not applicable |  |  | a. Primary Fuel |  |  | Not applicable |  |  | a. Primary Fuel |  |  | Not applicable
| b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable
-6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable
-7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable
-8 | Total Site Area: |  | Existing Site | 40 Acres |  | -8 | Total Site Area: |  | TBD |  |  | -8 | Total Site Area: |  | TBD |  |  | -8 | Total Site Area: |  | TBD |  |  | -8 | Total Site Area: |  | TBD
-9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit)
-10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | ---
-11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | ---
-12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data:
| Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable
| Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable
| Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable
| Resulting Capacity Factor (%): |  |  | Not applicable |  |  | Resulting Capacity Factor (%): |  |  | Not applicable |  |  | Resulting Capacity Factor (%): |  |  | Not applicable |  |  | Resulting Capacity Factor (%): |  |  | Not applicable |  |  | Resulting Capacity Factor (%): |  |  | Not applicable
| Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable
| Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100%
| Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable
| Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100%
-13 | Projected Unit Financial Data *,** |  |  |  |  | -13 | Projected Unit Financial Data *,** |  |  |  |  | -13 | Projected Unit Financial Data *,** |  |  |  |  | -13 | Projected Unit Financial Data *,** |  |  |  |  | -13 | Projected Unit Financial Data *,**
| Book Life (Years): |  |  | 10 | years |  | Book Life (Years): |  |  | 10 | years |  | Book Life (Years): |  |  | 10 | years |  | Book Life (Years): |  |  | 10 | years |  | Book Life (Years): |  |  | 10 | years
| Total Installed Cost (2022 $/kW): |  |  | TBD |  |  | Total Installed Cost (2020 $/kW): |  |  | 538.3656 |  |  | Total Installed Cost (2021 $/kW): |  |  | 474.3126 |  |  | Total Installed Cost (2020 $/kW): |  |  | 631.9098 |  |  | Total Installed Cost (2020 $/kW): |  |  | 538.3656
| Direct Construction Cost (2022 $/kW): |  |  | TBD |  |  | Direct Construction Cost (2020 $/kW): |  |  | 530.5918 |  |  | Direct Construction Cost (2021 $/kW): |  |  | 466.3288 |  |  | Direct Construction Cost (2020 $/kW): |  |  | 619.7635 |  |  | Direct Construction Cost (2020 $/kW): |  |  | 530.5918
| AFUDC Amount (2022 $/kW): |  |  | TBD |  |  | AFUDC Amount (2020 $/kW): |  |  | 7.7738 |  |  | AFUDC Amount (2021 $/kW): |  |  | 7.9839 |  |  | AFUDC Amount (2020 $/kW): |  |  | 12.1463 |  |  | AFUDC Amount (2020 $/kW): |  |  | 7.7738
| Escalation ($/kW): |  |  | TBD |  |  | Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost |  |  | Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost |  |  | Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost |  |  | Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost
| Fixed O&M ($/kW-Yr.): |  |  | TBD |  |  | Fixed O&M ($/kW-Yr.): |  |  | 10.8221 |  |  | Fixed O&M ($/kW-Yr.): |  |  | 10.9192 |  |  | Fixed O&M ($/kW-Yr.): |  |  | 15.0253 |  |  | Fixed O&M ($/kW-Yr.): |  |  | 10.8221
| Long Term Capital Replenishment ($/kW) |  |  | TBD |  |  | Long Term Capital Replenishment ($/kW) |  |  | 288.4827 |  |  | Long Term Capital Replenishment ($/kW) |  |  | 291.8215 |  |  | Long Term Capital Replenishment ($/kW) |  |  | 416.4005 |  |  | Long Term Capital Replenishment ($/kW) |  |  | 288.4827
| Variable O&M (2022 $/MWH): |  |  | TBD |  |  | Variable O&M (2020 $/MWH): |  |  | --- |  |  | Variable O&M (2021 $/MWH): |  |  | --- |  |  | Variable O&M (2020 $/MWH): |  |  | --- |  |  | Variable O&M (2020 $/MWH): |  |  | ---
| K Factor: |  |  | TBD |  |  | K Factor: |  |  | 1.29 |  |  | K Factor: |  |  | 1.38 |  |  | K Factor: |  |  | 1.38 |  |  | K Factor: |  |  | 1.29
| * $/kW values are based on Summer capacity. | [5 empty] | * $/kW values are based on Summer capacity. | [5 empty] | * $/kW values are based on Summer capacity. | [5 empty] | * $/kW values are based on Summer capacity. | [5 empty] | * $/kW values are based on Summer capacity.
| ** Levelized value for Fixed O&M also includes Capital Replacement and annual capital replenishment | [5 empty] | ** Levelized value for Fixed O&M also includes Capital Replacement and annual capital replenishment | [5 empty] | ** Levelized value for Fixed O&M also includes Capital Replacement and annual capital replenishment | [5 empty] | ** Levelized value for Fixed O&M also includes Capital Replacement and annual capital replenishment | [5 empty] | ** Levelized value for Fixed O&M also includes Capital Replacement and annual capital replenishment
| Note: Total installed cost includes transmission interconnection and integration, | [5 empty] | Note: Total installed cost includes transmission interconnection and integration, | [5 empty] | Note: Total installed cost includes transmission interconnection and integration, | [5 empty] | Note: Total installed cost includes transmission interconnection and integration, | [5 empty] | Note: Total installed cost includes transmission interconnection and integration,
| escalation, and AFUDC. | [5 empty] | escalation, and AFUDC. | [5 empty] | escalation, and AFUDC. | [5 empty] | escalation, and AFUDC. | [5 empty] | escalation, and AFUDC.