BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

|  |  |
| --- | --- |
| In re: Petition for approval of new environmental program for cost recovery through Environmental Cost Recovery Clause, by Tampa Electric Company. | DOCKET NO. 20220055-EI  ORDER NO. PSC-2022-0286-PAA-EI  ISSUED: July 22, 2022 |

The following Commissioners participated in the disposition of this matter:

ANDREW GILES FAY, Chairman

ART GRAHAM

GARY F. CLARK

MIKE LA ROSA

GABRIELLA PASSIDOMO

PROPOSED AGENCY ACTION

ORDER GRANTING APPROVAL OF TAMPA ELECTRIC COMPANY’S NEW ENVIRONMENTAL PROGRAM FOR COST RECOVERY THROUGH ENVIRONMENTAL COST RECOVERY CLAUSE

BY THE COMMISSION:

NOTICE is hereby given by the Florida Public Service Commission that the action discussed herein is preliminary in nature and will become final unless a person whose interests are substantially affected files a petition for a formal proceeding, pursuant to Rule 25-22.029, Florida Administrative Code (F.A.C.).

**Background**

On March 11, 2022, Tampa Electric Company (TECO) petitioned the Florida Public Service Commission (Commission) to approve the Clean Air Act (CAA), National Emission Standards Hazardous for Air Pollutants (NESHAP) Subpart YYYY Compliance Project (Project) for cost recovery through the Environmental Cost Recovery Clause (ECRC). TECO stated that the project is required to comply with the Environmental Protection Agency’s (EPA) CAA, NESHAP Subpart YYYY standard for stationary, gas-fired combustion turbines (CTs).

The EPA promulgated NESHAP for stationary, gas-fired combustion turbines in 2004. However, that same year, the effectiveness of the rule was stayed by the EPA specifically for new lean premix gas-fired and diffusion flame gas-fired turbines. The stay was enacted to avoid unnecessary expenditures related to compliance with NESHAP in the event that these two subcategories of turbines were later delisted. In March 2020, the EPA concluded that the risks related to hazardous air pollutants from combustion turbines were acceptable, even without the standard in place; however, public commenters subsequently requested that the EPA reconsider this determination. Additionally, industry interests requested the EPA completely delist stationary, gas-fired combustion turbines from the Hazardous Air Pollutant (HAP) program.

On March 9, 2022, the EPA published a Final Rule[[1]](#footnote-1) removing the stay for natural gas-fired, stationary combustion turbines, but stated that it would continue to evaluate the delisting petition. Despite the delisting petition still under consideration, the EPA concluded that even if the petition was granted, a lengthy rulemaking process would be required following the delisting and further delay was not warranted in lifting the stay. The Final Rule requires lean premix and diffusion flame gas-fired turbines located at major sources of HAP emissions that were constructed or reconstructed after January 14, 2003, must comply with the formaldehyde standard beginning March 9, 2022. The Final Rule will also apply to the startup of any future affected units.

Pursuant to Section 366.8255, Florida Statutes (F.S.), the Florida Legislature authorized the recovery of prudently incurred investor-owned electric utility environmental compliance costs through the ECRC. The method for cost recovery for such costs was first established by Order No. PSC-94-0044-FOF-EI, issued on January 12, 1994.[[2]](#footnote-2) We have jurisdiction over this matter pursuant to Section 366.8255, F.S.

**Decision and Analysis**

The Final Rule applies to stationary combustion turbines located at major sources of HAP emissions. The Final Rule outlines national emission and operating limitations, and lays out the requirements to demonstrate initial and continuous compliance with those set limitations. The emission concentration of formaldehyde for a stationary combustion turbine is limited to a set threshold, except during turbine startup. If the emissions are above the threshold level, an oxidation catalyst is utilized to bring emissions to an acceptable level. If an oxidation catalyst is not required, operating limitations must be maintained as approved by the Florida Department of Environmental Protection (FDEP).

In its petition, TECO stated that the CT units that were subject to the rule were the Big Bend Station CT Units 4A, 4B, 5, and 6. A Compliance Test Study is required to determine the applicable compliance measures that are needed at each unit. However, TECO stated that preliminary data indicates oxidation catalysts will be required at Big Bend CT Units 4A and 4B, and Big Bend CT Units 5 and 6 will only require lean-premix combustion technology to meet the standard. To ensure the formaldehyde emissions are within the limitations, annual performance tests and monitoring will be required and must be provided to the EPA in accordance with the standard.

Formaldehyde analyzing equipment, Fourier Transform Infrared Spectroscopy (FTIR), will be used to conduct the annual performance tests for all units.[[3]](#footnote-3) The analyzing equipment will consist of one trailer mounted FTIR gas analyzer that can be mobilized at each site on an as needed basis to conduct the annual testing. For CT Units 5 and 6, which appear to not require oxidation catalysts, carbon monoxide (CO) monitoring equipment and a data acquisition system (DAS) will be utilized to ensure emissions meet the set limitations.

Table 1 provides the estimated costs for the Project. The Project costs include the Compliance Test Study, capital costs, and operation and maintenance (O&M) expenses, which include air permitting and performance testing costs for all units, as well as catalyst testing and maintenance costs for CT Units 4A and 4B. TECO indicated these estimates are preliminary and depending on the results of the Compliance Test Study, additional equipment or compliance measures may be required. TECO anticipates that the final results of the study will be available no later than September, 2022. TECO requested the capital expenditures and O&M expenses be allocated on an energy basis, which is in line with our previous decision regarding the emission reduction-related compliance cost. Table 2 below shows the estimated annual impact of the Project on residential customer bills.

**Table 1**

**Estimated Capital and O&M Costs**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 2022  ($000) | 2023  ($000) | 2024  ($000) | 2025  ($000) | 2026  ($000) | Total**2**  ($000) |
| **Compliance Test Study1** | 45 | - | - | - | - | 45 |
|  |  |  |  |  |  |  |
| **Capital** |  |  |  |  |  |  |
| Catalyst Equipment & Installation | 250 | - | - | - | - | 250 |
| DAS Installation & Integration | 50 | - | - | - | - | 50 |
| CO Monitors Installation | 150 | - | - | - | - | 150 |
| MKS Starboost FTIR | 135 | - | - | - | - | 135 |
| **Capital Total** | 585 | - | - | - | - | 585 |
|  |  |  |  |  |  |  |
| **In-Service Annual O&M** |  |  |  |  |  |  |
| Air Permitting | 20 | - | - | - | - | 20 |
| Annual Stack Tests | - | 40 | 40 | 40 | 40 | 160 |
| Catalyst Tests | - | - | - | - | 20 | 20 |
| Catalyst O&M (labor & materials) | - | 10 | 10 | 10 | 10 | 40 |
| Catalyst Wash (labor & materials) | - | - | - | - | 125 | 125 |
| Monitor Maintenance (labor & materials) | - | 20 | 20 | 20 | 20 | 80 |
| MKS Starboost FTIR O&M | - | 5 | 5 | 5 | 5 | 20 |
| **O&M Total** | 20 | 75 | 75 | 75 | 220 | 465 |

1 Estimated study costs incurred to ensure that measures implemented include best available technology to comply with the Final Rule.

2 The estimated annual O&M expense after the commercial in-service date will continue through the life of the compliance equipment.

Source: Document No. 02948-2022, filed May 16, 2022, TECO’s Response to Staff’s First Data Request.

**Table 2**

**Residential Bill Impact**

|  |  |  |
| --- | --- | --- |
| Year | $ / 1,000 kWh | $ / 1,200 kWh |
| 2022 | $0.00 | $0.00 |
| 2023 | $0.01 | $0.01 |
| 2024 | $0.01 | $0.01 |
| 2025 | $0.01 | $0.01 |
| 2026 | $0.01 | $0.02 |

Source: TECO’s Response to Staff’s First Data Request No. 4

Based on TECO’s petition and the TECO’s responses to our staff’s data requests, we find that TECO’s ECRC Project is necessary for compliance with the EPA Rule. Our criteria for ECRC recovery relevant to this docket, established by Order No. PSC-94-0044-FOF-EI, are:

1. The activities are legally required to comply with governmentally imposed environmental regulation enacted, became effective, or whose effect was triggered after the Company’s last test year upon which rates are based; and
2. None of the expenditures are being recovered through some other cost recovery mechanism or through base rates.

We find that the activities proposed in TECO’s petition meet these criteria. The activities described in the petition are necessary for TECO to comply with governmentally imposed environmental regulation. The need for the compliance activities were triggered after TECO’s last test year upon which rates are currently based.[[4]](#footnote-4) Specifically, the need for these activities was triggered by the removal of the stay of the EPA’s CAA, NESHAP Subpart YYYY standard, which requires TECO to demonstrate compliance within 180 days after the stay was lifted and published in the Federal Register or by September 5, 2022. Finally, the costs of the proposed compliance activities are not currently being recovered through some other cost recovery mechanism or through base rates. We note that the reasonableness and prudence of individual expenditures related to the Project will continue to be subject to OUR review in future ECRC proceedings.

We hereby find that TECO’s CAA, NESHAP Subpart YYYY Compliance Project is necessary to comply with the EPA’s CAA, NESHAP Subpart YYYY standard. The Project’s capital expenditures and O&M expenses shall be allocated to rate classes on an energy basis.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that Tampa Electric Company’s petition for approval of the Clean Air Act, National Emission Standards for Hazardous Air Pollutants Subpart YYYY Compliance Project for cost recovery through the Environmental Cost Recovery Clause is hereby granted. It is further

ORDERED that the provisions of this Order, issued as proposed agency action, shall become final and effective upon the issuance of a Consummating Order unless an appropriate petition, in the form provided by Rule 28-106.201, Florida Administrative Code, is received by the Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on the date set forth in the “Notice of Further Proceedings” attached hereto. It is further

ORDERED that in the event this Order becomes final, this docket shall be closed.

By ORDER of the Florida Public Service Commission this 22nd day of July, 2022.

|  |  |
| --- | --- |
|  | /s/ Adam J. Teitzman |
|  | ADAM J. TEITZMAN  Commission Clerk |

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida 32399

(850) 413‑6770

www.floridapsc.com

Copies furnished: A copy of this document is provided to the parties of record at the time of issuance and, if applicable, interested persons.

JDI

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing that is available under Section 120.57, Florida Statutes, as well as the procedures and time limits that apply. This notice should not be construed to mean all requests for an administrative hearing will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis. If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

The action proposed herein is preliminary in nature. Any person whose substantial interests are affected by the action proposed by this order may file a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code. This petition must be received by the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on August 12, 2022.

In the absence of such a petition, this order shall become final and effective upon the issuance of a Consummating Order.

Any objection or protest filed in this/these docket(s) before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

1. Federal Register, Volume 87, No. 46, pp. 13183-13192, codified at Title 40, Part 63, Code of Federal Regulations. [↑](#footnote-ref-1)
2. Order No. PSC-94-0044-FOF-EI, issued January 12, 1994, in Docket No. 19930613-EI, *In re: Petition to establish an environmental cost recovery clause pursuant to Section 366.0285, Florida Statutes by Gulf Power Company.* [↑](#footnote-ref-2)
3. Document No. 02948-2022, filed May 16, 2022, TECO’s Response to Staff’s First Data Request. [↑](#footnote-ref-3)
4. A joint Stipulation and Settlement Agreement between TECO and intervening parties was filed in Docket No. 20210034-EI on August 6, 2021, and approved by the Commission in Order No. PSC-2021-0423-S-EI. [↑](#footnote-ref-4)