FLORIDA PUBLIC SERVICE COMMISSION

Fletcher Building

101 East Gaines Street

Tallahassee, Florida  32399-0850

M E M O R A N D U M

August 24, 2015

TO	 :	DIRECTOR, DIVISION OF RECORDS AND REPORTING

FROM	 :	DIVISION OF AUDITING AND FINANCIAL ANALYSIS (LEE, BASS, BINGHAM, JOHNSON, MEEKS, NEIL, REVELL, C. ROMIG)

DIVISION OF ELECTRIC AND GAS (TAYLOR)

DIVISION OF LEGAL SERVICES (ELIAS)

RE	 :	DOCKET NO. 931231-EI - FLORIDA POWER AND LIGHT COMPANY - REQUEST FOR APPROVAL OF CHANGE IN DEPRECIATION RATES BY FLORIDA POWER AND LIGHT COMPANY

AGENDA :	2/15/94 - REGULAR AGENDA - PROPOSED AGENCY ACTION - INTERESTED PERSONS MAY PARTICIPATE

CRITICAL DATES:  NONE

SPECIAL INSTRUCTIONS:  I:\PSC\AFA\WP\931231.RCM

R:FPL.WK3

DISCUSSION OF ISSUES

ISSUE :  Should Florida Power & Light Company (FPL or Company) be allowed to implement its proposed depreciation rates and capital recovery schedule, on a preliminary basis?

RECOMMENDATION:  Yes.  FPL should be allowed to implement the rates and recovery schedule shown on Attachment A, pages 4 - 16, on a preliminary basis, as it has proposed.  The total effect of this proposal would increase depreciation expenses by an estimated $17.6 million annually based on January 1, 1994 investments and reserves.  The rates and resultant expenses should be trued-up when final action is taken by this Commission later in 1994.  [LEE]

STAFF ANALYSIS:  FPL has requested, in accord with our depreciation rules, that it be allowed to implement, on a preliminary basis, its proposed depreciation rates and capital recovery schedule.  These rates and resulting expenses will be trued-up when final Commission action is taken later during 1994.

Preliminary booking or implementation does not and should not infer that, upon completion of the review of the Company's filed study, Staff will be in full agreement with Company life, reserve and salvage proposals, but only that preliminary implementation of the rates and recovery schedule shown on Attachment A are likely to result in more appropriate expenses than retention of the currently effective rates.  In either case, of course, expenses will be trued-up upon final Commission action in this docket.

Our review of the Company's study will include an analysis of the reserve position for each account and production site and our final recommendation will address any apparent need for corrective reserve measures.  In addition, capital recovery schedules will be considered in the case of major investments that are planned for retirement in the near-term.  Staff expects to complete its review and bring the final recommendation regarding appropriate rates and recovery schedules to Agenda in September, 1994.

A summary of the changes in estimated 1994 expenses resulting from the Company proposed rates and recovery schedule which are shown on Attachment A are:

($000)

Production			10,156

Transmission		   765

Distribution		(5,142)

General			(1,370)

Rates		 	 4,409

Recovery Schedule	13,167

Total Change	17,576

The proposed capital recovery schedule relates to the Company's planned replacement of the two steam generators at St. Lucie Unit No. 1 in 1998.  The continued corrosion of the steam generator tubes has resulted in 12% and 7% of the steam generator tubes being plugged.  The associated net unrecovered investment as of 1/1/94 is $62,013,582 and the proposed recovery period is 4.5 years.  Included in the net investment is an estimated removal cost of $53,600,000.

ISSUE 2:  What should be the implementation date for the new depreciation rates and recovery schedule?

RECOMMENDATION:  January 1, 1994.  [LEE]

STAFF ANALYSIS:  The Company has requested, and all data and calculations abut, a January 1, 1994 implementation date.  Provision for preliminary implementation is made by Rule 25-6.0436 (5), Florida Administrative Code, to permit a more accurate statement of expected expenses during the fiscal year.

ISSUE 3:  Should this docket be closed?

RECOMMENDATION:  No.  This docket should not be closed, pending Staff review and final Commission action concerning the appropriate rates under consideration.  [LEE]

STAFF ANALYSIS:  Any person whose interests are substantially affected by the Commission's proposed action may file a protest within 21 days of the issuance of the order.  This recommendation only addresses the preliminary booking of depreciation rates/recovery schedules and estimated expenses beginning January 1, 1994, with provision for a true-up of those expenses and the subject rates when final Commission action is taken.  The issue regarding appropriate rates cannot be resolved until Staff has thoroughly reviewed and analyzed the Company's filed study.  Staff expects to bring a recommendation to the Commission for final action on this study in September of this year.

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

STEAM PRODUCTION PLANT

Cape Canaveral-Common

311 Structures and Improvements                     9,589,433      4,178,055           3.8          364,398        3.8          364,398                0

312 Boiler Plant Equip.                               748,979        170,801           2.5           18,724        4.3           32,206           13,482

314 Turbogenerator Units                              312,254        202,034           3.0            9,368        2.4            7,494           (1,874)

315 Accessory Electric Equip.                         313,060        249,302           4.0           12,522        1.2            3,757           (8,765)

316 Misc. Power Plant Equip.                          667,461        289,000           5.1           34,041        4.2           28,033           (6,008)

Total          11,631,187      5,089,192                        439,053                     435,888           (3,165)

Cape Canaveral-Unit 1

311 Structures and Improvements                     1,304,534        850,642           2.4           31,309        2.2           28,700           (2,609)

312 Boiler Plant Equip.                            55,272,774      6,210,576           3.3        1,824,002        5.1        2,818,911          994,909

314 Turbogenerator Units                           17,065,909      8,693,942           3.1          529,043        2.7          460,780          (68,263)

315 Accessory Electric Equip.                       3,586,475      1,463,054           3.3          118,354        3.5          125,527            7,173

316 Misc. Power Plant Equip.                          385,421        268,806           2.6           10,021        2.2            8,479           (1,542)

Total          77,615,113     17,487,020                      2,512,729                   3,442,397          929,668

Cape Canaveral-Unit 2

311 Structures and Improvements                     1,568,283        926,507           2.7           42,344        3.1           48,617            6,273

312 Boiler Plant Equip.                            45,366,925     12,600,285           2.6        1,179,540        5.2        2,359,080        1,179,540

314 Turbogenerator Units                           10,918,184      7,786,803           3.1          338,464        3.2          349,382           10,918

315 Accessory Electric Equip.                       4,789,935      1,970,520           3.5          167,648        4.3          205,967           38,319

316 Misc. Power Plant Equip.                          456,202        318,496           0.0                0        3.9           17,792           17,792

Total          63,099,529     23,602,611                      1,727,996                   2,980,838        1,252,842

Cutler-Common

311 Structures and Improvements                     4,348,254      2,639,238           1.6           69,572        4.1          178,278          108,706

312 Boiler Plant Equip.                               307,827        112,090           1.0            3,078        6.7           20,624           17,546

314 Turbogenerator Units                              890,543        134,498           2.1           18,701        8.9           79,258           60,557

315 Accessory Electric Equip.                         623,981        302,492           4.9           30,575        5.5           34,319            3,744

316 Misc. Power Plant Equip.                          624,835        371,242           3.7           23,119        4.5           28,118            4,999

Total           6,795,440      3,559,560                        145,045                     340,597          195,552

Cutler-Unit 5

311 Structures and Improvements                       831,253        471,135           1.6           13,300        4.7           39,069           25,769

312 Boiler Plant Equip.                             5,129,401      3,572,562           1.0           51,294        3.7          189,788          138,494

314 Turbogenerator Units                            5,003,538      2,705,166           2.1          105,074        4.8          240,170          135,096

315 Accessory Electric Equip.                       2,260,852      1,101,500           4.9          110,782        5.5          124,347           13,565

316 Misc. Power Plant Equip.                          211,749        140,449           3.7            7,835        4.0            8,470              635

Total          13,436,793      7,990,812                        288,285                     601,844          313,559

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

Cutler-Unit 6

311 Structures and Improvements                     1,458,895      1,158,942           1.6           23,342        2.4           35,013           11,671

312 Boiler Plant Equip.                            10,359,781      6,644,103           1.0          103,598        4.3          445,471          341,873

314 Turbogenerator Units                            8,235,920      6,038,216           2.1          172,954        4.5          370,616          197,662

315 Accessory Electric Equip.                       3,030,889      1,479,326           4.9          148,514        5.4          163,668           15,154

316 Misc. Power Plant Equip.                          275,631        143,664           3.7           10,198        5.2           14,333            4,135

Total          23,361,116     15,464,251                        458,606                   1,029,101          570,495

Ft. Myers-Common

311 Structures and Improvements                    10,110,906      5,392,650           3.1          313,438        3.1          313,438                0

312 Boiler Plant Equip.                               256,397         14,753           3.7            9,487        5.8           14,871            5,384

314 Turbogenerator Units                               75,608         29,274           3.7            2,797        3.8            2,873               76

315 Accessory Electric Equip.                         529,291        270,513           3.5           18,525        3.5           18,525                0

316 Misc. Power Plant Equip.                          817,716        425,143           3.5           28,620        3.4           27,802             (818)

Total          11,789,918      6,132,333                        372,867                     377,509            4,642

Ft. Myers-Unit 1

311 Structures and Improvements                       688,356        570,318           0.7            4,818        2.4           16,521           11,703

312 Boiler Plant Equip.                             8,868,886      6,948,785           2.9          257,198        3.8          337,018           79,820

314 Turbogenerator Units                            6,301,766      4,981,348           1.1           69,319        2.6          163,846           94,527

315 Accessory Electric Equip.                       1,307,395      1,079,327           1.3           16,996        2.2           28,763           11,767

316 Misc. Power Plant Equip.                          202,454        151,779           1.7            3,442        3.3            6,681            3,239

Total          17,368,857     13,731,557                        351,773                     552,829          201,056

Ft. Myers-Unit 2

311 Structures and Improvements                     1,657,427      1,076,722           2.7           44,751        2.7           44,751                0

312 Boiler Plant Equip.                            20,734,080     12,923,153           3.4          704,959        3.6          746,427           41,468

314 Turbogenerator Units                           13,307,450      9,823,777           2.9          385,916        2.8          372,609          (13,307)

315 Accessory Electric Equip.                       2,842,253      1,737,682           2.7           76,741        3.1           88,110           11,369

316 Misc. Power Plant Equip.                          233,060        188,382           0.0                0        2.5            5,827            5,827

Total          38,774,270     25,749,716                      1,212,367                   1,257,724           45,357

Ft. Lauderdale-Common (Repowered)

341 Structures and Improvements                    59,802,569        741,856           3.4 *      2,033,287        4.2        2,511,708          478,421

342 Fuel Holders, Producers & Accessories           3,758,845        140,070           3.9 *        146,595        5.5          206,736           60,141

343 Prime Movers                                    8,865,981        152,086           3.3 *        292,577        3.7          328,041           35,464

344 Generators                                        864,888        211,126           4.1 *         35,460        4.7           40,650            5,190

345 Accessory Electric Equipment                   21,875,713        184,380           4.2 *        918,780        3.6          787,526         (131,254)

346 Misc. Power Plant Equipment                       388,677         12,983           4.6 *         17,879        9.3           36,147           18,268

Total          95,556,673      1,442,501                      3,444,578                   3,910,808          466,230

* Denotes Whole Life Rate

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

Ft. Lauderdale-Unit 4 (Repowered)

341 Structures and Improvements                     4,064,364        709,926           3.3 *        134,124        3.1          125,995           (8,129)

342 Fuel Holders, Producers & Accessories           1,446,066         24,582           3.4 *         49,166        4.2           60,735           11,569

343 Prime Movers                                  138,230,239      2,902,977           4.1 *      5,667,440        3.6        4,976,289         (691,151)

344 Generators                                      9,817,897      1,550,417           3.6 *        353,444        5.3          520,349          166,905

345 Accessory Electric Equipment                   14,256,466        647,942           3.4 *        484,720        3.4          484,720                0

346 Misc. Power Plant Equipment                     2,504,085         58,028           4.6 *        115,188        6.1          152,749           37,561

Total         170,319,117      5,893,872                      6,804,082                   6,320,837         (483,245)

Ft. Lauderdale-Unit 5 (Repowered)

341 Structures and Improvements                     3,941,444         75,879           3.3 *        130,068        3.6          141,892           11,824

342 Fuel Holders, Producers & Accessories             336,033          5,712           3.4 *         11,425        4.4           14,785            3,360

343 Prime Movers                                  132,826,763      2,731,772           4.1 *      5,445,897        3.6        4,781,763         (664,134)

344 Generators                                      9,338,081      1,365,130           3.6 *        336,171        5.4          504,256          168,085

345 Accessory Electric Equipment                   15,794,764        399,920           3.4 *        537,022        3.5          552,817           15,795

346 Misc. Power Plant Equipment                     1,692,963         38,956           4.6 *         77,876        6.2          104,964           27,088

Total         163,930,048      4,617,369                      6,538,459                   6,100,477         (437,982)

Manatee-Common

311 Structures and Improvements                    81,738,694     38,376,151           3.4        2,779,116        3.4        2,779,116                0

312 Boiler Plant Equip.                             3,631,656      1,518,760           5.2          188,846       10.2          370,429          181,583

314 Turbogenerator Units                            7,810,610      3,807,523           4.6          359,288        3.2          249,940         (109,348)

315 Accessory Electric Equip.                       8,646,450      4,277,447           4.7          406,383        3.9          337,212          (69,171)

316 Misc. Power Plant Equip.                        2,096,062        906,949           4.8          100,611        6.0          125,764           25,153

Total         103,923,472     48,886,830                      3,834,244                   3,862,461           28,217

Manatee-Unit 1

311 Structures and Improvements                     6,081,701      2,979,549           3.7          225,023        3.7          225,023                0

312 Boiler Plant Equip.                            83,598,924     46,897,700           4.6        3,845,551        5.2        4,347,144          501,593

314 Turbogenerator Units                           50,199,159     16,952,712           4.1        2,058,166        5.6        2,811,153          752,987

315 Accessory Electric Equip.                       5,926,006      2,860,067           3.8          225,188        4.9          290,374           65,186

316 Misc. Power Plant Equip.                        2,712,289      1,550,359           4.9          132,902        2.7           73,232          (59,670)

Total         148,518,079     71,240,387                      6,486,830                   7,746,926        1,260,096

Manatee-Unit 2

311 Structures and Improvements                     4,391,422      2,020,846           3.7          162,483        3.8          166,874            4,391

312 Boiler Plant Equip.                            73,510,524     39,920,451           4.7        3,454,995        5.2        3,822,547          367,552

314 Turbogenerator Units                           47,985,903     15,191,794           5.3        2,543,253        5.5        2,639,225           95,972

315 Accessory Electric Equip.                       3,876,934      1,697,686           3.9          151,200        5.0          193,847           42,647

316 Misc. Power Plant Equip.                        1,930,294        953,774           4.2           81,072        3.1           59,839          (21,233)

Total         131,695,077     59,784,551                      6,393,003                   6,882,332          489,329

* Denotes Whole Life Rate

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

Martin-Common

311 Structures and Improvements                   221,121,162     85,698,278           3.4        7,518,120        3.4        7,518,120                0

312 Boiler Plant Equip.                             6,820,803      2,826,182           4.2          286,474        3.7          252,370          (34,104)

314 Turbogenerator Units                            6,921,092      3,130,156           3.7          256,080        3.0          207,633          (48,447)

315 Accessory Electric Equip.                       6,179,101      2,824,908           4.3          265,701        3.8          234,806          (30,895)

316 Misc. Power Plant Equip.                        2,577,585        944,557           5.8          149,500       10.7          275,802          126,302

Total         243,619,743     95,424,081                      8,475,875                   8,488,731           12,856

Martin-Unit 1

311 Structures and Improvements                    13,967,265      6,232,819           3.9          544,723        3.0          419,018         (125,705)

312 Boiler Plant Equip.                           135,067,548     60,037,645           4.2        5,672,837        4.7        6,348,175          675,338

314 Turbogenerator Units                           73,904,590     15,008,558           4.4        3,251,802        4.4        3,251,802                0

315 Accessory Electric Equip.                      16,402,740      5,788,106           3.7          606,901        4.1          672,512           65,611

316 Misc. Power Plant Equip.                        2,441,687      1,095,532           4.2          102,551        2.8           68,367          (34,184)

Total         241,783,830     88,162,660                     10,178,814                  10,759,874          581,060

Martin-Unit 2

311 Structures and Improvements                    10,080,960      3,184,259           3.5          352,834        3.7          372,996           20,162

312 Boiler Plant Equip.                           133,559,110     54,021,408           4.2        5,609,483        4.9        6,544,396          934,913

314 Turbogenerator Units                           53,089,347     19,341,560           3.8        2,017,395        3.8        2,017,395                0

315 Accessory Electric Equip.                      12,273,805      4,132,125           3.6          441,857        4.1          503,226           61,369

316 Misc. Power Plant Equip.                        2,095,783        609,072           4.3           90,119        3.4           71,257          (18,862)

Total         211,099,005     81,288,424                      8,511,688                   9,509,270          997,582

Port Everglades-Common

311 Structures and Improvements                    11,827,293      3,900,085           3.7          437,610        5.5          650,501          212,891

312 Boiler Plant Equip.                             1,777,080        652,060           5.0           88,854        4.9           87,077           (1,777)

314 Turbogenerator Units                              378,106         64,452           4.4           16,637        5.6           21,174            4,537

315 Accessory Electric Equip.                       3,952,202      1,547,453           4.6          181,801        4.4          173,897           (7,904)

316 Misc. Power Plant Equip.                        1,365,122        534,573           3.6           49,144        4.9           66,891           17,747

Total          19,299,803      6,698,623                        774,046                     999,540          225,494

Port Everglades-Unit 1

311 Structures and Improvements                     3,987,166      3,458,912           3.2          127,589        2.0           79,743          (47,846)

312 Boiler Plant Equip.                            14,848,274     13,426,995           4.8          712,717        3.8          564,234         (148,483)

314 Turbogenerator Units                           10,157,946      8,261,227           3.5          355,528        2.5          253,949         (101,579)

315 Accessory Electric Equip.                       1,990,058      1,549,029           3.6           71,642        3.0           59,702          (11,940)

316 Misc. Power Plant Equip.                          167,658        132,098           3.2            5,365        2.6            4,359           (1,006)

Total          31,151,102     26,828,261                      1,272,841                     961,987         (310,854)

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

Port Everglades-Unit 2

311 Structures and Improvements                     1,181,567        943,654           3.0           35,447        2.7           31,902           (3,545)

312 Boiler Plant Equip.                            15,571,693     12,401,686           5.4          840,871        4.6          716,298         (124,573)

314 Turbogenerator Units                            9,185,728      7,450,797           3.2          293,943        2.5          229,643          (64,300)

315 Accessory Electric Equip.                       1,165,887        928,110           3.4           39,640        3.0           34,977           (4,663)

316 Misc. Power Plant Equip.                           44,366         26,828           3.3            1,464        5.5            2,440              976

Total          27,149,241     21,751,075                      1,211,365                   1,015,260         (196,105)

Port Everglades-Unit 3

311 Structures and Improvements                     1,688,058      1,114,503           2.6           43,890        2.9           48,954            5,064

312 Boiler Plant Equip.                            48,724,826     22,596,531           4.1        1,997,718        4.6        2,241,342          243,624

314 Turbogenerator Units                           12,704,446      7,174,136           2.8          355,724        3.2          406,542           50,818

315 Accessory Electric Equip.                       8,908,808      2,979,646           4.4          391,988        4.6          409,805           17,817

316 Misc. Power Plant Equip.                          697,796        263,988           5.2           36,285        5.6           39,077            2,792

Total          72,723,934     34,128,804                      2,825,605                   3,145,720          320,115

Port Everglades-Unit 4

311 Structures and Improvements                     1,931,361      1,211,273           2.7           52,147        3.0           57,941            5,794

312 Boiler Plant Equip.                            59,704,905     12,571,614           3.9        2,328,491        6.3        3,761,409        1,432,918

314 Turbogenerator Units                           12,106,517      8,871,904           3.6          435,835        2.2          266,343         (169,492)

315 Accessory Electric Equip.                       9,759,772      2,710,778           3.7          361,112        5.0          487,989          126,877

316 Misc. Power Plant Equip.                          144,482         97,575           3.1            4,479        4.7            6,791            2,312

Total          83,647,037     25,463,144                      3,182,064                   4,580,473        1,398,409

Riviera-Common

311 Structures and Improvements                     8,064,263      4,999,920           3.3          266,121        2.5          201,607          (64,514)

312 Boiler Plant Equip.                             1,126,847        362,593           2.4           27,044        4.0           45,074           18,030

314 Turbogenerator Units                            1,104,811        763,627           1.9           20,991        1.8           19,887           (1,104)

315 Accessory Electric Equip.                         732,351        384,291           3.0           21,971        3.7           27,097            5,126

316 Misc. Power Plant Equip.                        1,298,381        584,626           1.4           18,177        5.1           66,217           48,040

Total          12,326,653      7,095,057                        354,304                     359,882            5,578

Riviera-Unit 3

311 Structures and Improvements                       180,122        133,545           1.1            1,981        1.7            3,062            1,081

312 Boiler Plant Equip.                            21,103,402     14,266,987           1.7          358,758        3.4          717,516          358,758

314 Turbogenerator Units                            8,760,348      6,047,907           1.1           96,364        1.9          166,447           70,083

315 Accessory Electric Equip.                       2,188,857        979,944           1.1           24,077        3.4           74,421           50,344

316 Misc. Power Plant Equip.                          104,831         22,260           0.4              419        4.1            4,298            3,879

Total          32,337,560     21,450,643                        481,599                     965,744          484,145

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

Riviera-Unit 4

311 Structures and Improvements                       112,712         82,208           1.1            1,240        1.8            2,029              789

312 Boiler Plant Equip.                            17,421,690     11,089,440           1.7          296,169        3.7          644,603          348,434

314 Turbogenerator Units                           12,272,991      5,688,333           1.3          159,549        2.9          355,917          196,368

315 Accessory Electric Equip.                       2,129,669        818,888           1.6           34,075        3.7           78,798           44,723

316 Misc. Power Plant Equip.                           63,825         10,573           0.7              447        4.0            2,553            2,106

Total          32,000,887     17,689,442                        491,480                   1,083,900          592,420

Sanford-Common

311 Structures and Improvements                    24,419,227     11,200,091           4.1        1,001,188        3.7          903,511          (97,677)

312 Boiler Plant Equip.                               877,563        458,203           4.9           43,001        3.2           28,082          (14,919)

314 Turbogenerator Units                            1,709,960      1,088,415           4.7           80,368        2.2           37,619          (42,749)

315 Accessory Electric Equip.                         549,943        328,182           4.5           24,747        2.4           13,199          (11,548)

316 Misc. Power Plant Equip.                          927,466        444,597           5.1           47,301        5.5           51,011            3,710

Total          28,484,159     13,519,488                      1,196,605                   1,033,422         (163,183)

Sanford-Unit 3

311 Structures and Improvements                     2,638,124      2,317,166           2.4           63,315        1.8           47,486          (15,829)

312 Boiler Plant Equip.                             8,206,031      7,439,275           3.3          270,799        2.4          196,945          (73,854)

314 Turbogenerator Units                            5,236,796      4,525,041           2.4          125,683        1.9           99,499          (26,184)

315 Accessory Electric Equip.                       1,453,478      1,232,672           3.3           47,965        2.1           30,523          (17,442)

316 Misc. Power Plant Equip.                          118,445         89,499           2.2            2,606        2.7            3,198              592

Total          17,652,874     15,603,653                        510,368                     377,651         (132,717)

Sanford-Unit 4

311 Structures and Improvements                     2,815,009      1,612,334           3.2           90,080        2.7           76,005          (14,075)

312 Boiler Plant Equip.                            27,804,828     16,499,773           4.1        1,139,998        3.2          889,754         (250,244)

314 Turbogenerator Units                           14,927,448      8,837,502           3.6          537,388        5.3          791,155          253,767

315 Accessory Electric Equip.                       4,275,335      2,574,818           3.5          149,637        3.5          149,637                0

316 Misc. Power Plant Equip.                        1,185,587        756,354           4.6           54,537        2.7           32,011          (22,526)

Total          51,008,207     30,280,781                      1,971,640                   1,938,562          (33,078)

Sanford-Unit 5

311 Structures and Improvements                     2,384,011      1,173,714           3.1           73,904        3.1           73,904                0

312 Boiler Plant Equip.                            28,165,905     17,920,029           4.1        1,154,802        2.8          788,645         (366,157)

314 Turbogenerator Units                           18,234,032      8,881,129           3.7          674,659        5.2          948,170          273,511

315 Accessory Electric Equip.                       3,446,426      2,078,156           3.6          124,071        3.4          117,178           (6,893)

316 Misc. Power Plant Equip.                        1,064,305        639,822           6.4           68,116        2.9           30,865          (37,251)

Total          53,294,679     30,692,850                      2,095,552                   1,958,762         (136,790)

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

Scherer Site Common

311 Structures and Improvements                    20,104,589      3,179,415           2.8          562,928        2.8          562,928                0

312 Boiler Plant Equip.                            15,092,496      2,911,756           3.5          528,237        3.5          528,237                0

314 Turbogenerator Units                            2,591,088        454,485           3.4           88,097        3.5           90,688            2,591

315 Accessory Electric Equip.                         785,703        140,951           3.4           26,714        3.4           26,714                0

316 Misc. Power Plant Equip.                        7,938,061      3,226,472           9.4          746,178       10.1          801,744           55,566

Total          46,511,937      9,913,079                      1,952,154                   2,010,311           58,157

Scherer Units 3 & 4 Common

311 Structures and Improvements                     1,666,049        283,952           3.5           58,312        3.5           58,312                0

312 Boiler Plant Equip.                            10,361,125      1,659,519           3.1          321,195        3.2          331,556           10,361

314 Turbogenerator Units                              238,533         42,806           3.6            8,587        3.6            8,587                0

315 Accessory Electric Equip.                         174,808         32,462           3.6            6,293        3.7            6,468              175

316 Misc. Power Plant Equip.                                0              0            NA                0         NA                0                0

Total          12,440,515      2,018,739                        394,387                     404,923           10,536

Scherer Unit 4

311 Structures and Improvements                    40,959,244      4,312,532           3.0        1,228,777        3.0        1,228,777                0

312 Boiler Plant Equip.                           171,468,727     23,215,794           3.9        6,687,280        3.9        6,687,280                0

314 Turbogenerator Units                           76,051,201      9,936,399           3.6        2,737,843        3.6        2,737,843                0

315 Accessory Electric Equip.                      14,775,398      2,014,247           3.8          561,465        3.9          576,241           14,776

316 Misc. Power Plant Equip.                        2,901,261        520,652           5.1          147,964        5.3          153,767            5,803

Total         306,155,831     39,999,624                     11,363,329                  11,383,908           20,579

Turkey Point-Common

311 Structures and Improvements                     3,747,917      1,026,169           3.9          146,169        4.0          149,917            3,748

312 Boiler Plant Equip.                             1,261,278        303,459           4.3           54,235        4.6           58,019            3,784

314 Turbogenerator Units                              530,088        127,477           4.6           24,384        4.5           23,854             (530)

315 Accessory Electric Equip.                       2,895,418      1,093,100           3.2           92,653        4.0          115,817           23,164

316 Misc. Power Plant Equip.                          580,522        231,947           3.4           19,738        4.2           24,382            4,644

Total           9,015,223      2,782,152                        337,179                     371,989           34,810

Turkey Point-Unit 1

311 Structures and Improvements                     6,974,790      4,235,999           2.8          195,294        2.5          174,370          (20,924)

312 Boiler Plant Equip.                            45,098,570      2,590,256           3.6        1,623,549        6.0        2,705,914        1,082,365

314 Turbogenerator Units                           16,623,187      5,742,695           3.3          548,565        3.9          648,304           99,739

315 Accessory Electric Equip.                       4,144,260      2,514,649           3.1          128,472        2.8          116,039          (12,433)

316 Misc. Power Plant Equip.                          409,759        280,816           2.7           11,063        2.2            9,015           (2,048)

Total          73,250,566     15,364,415                      2,506,943                   3,653,642        1,146,699

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

Turkey Point-Unit 2

311 Structures and Improvements                     2,400,689        747,439           2.5           60,017        3.9           93,627           33,610

312 Boiler Plant Equip.                            22,748,082     13,321,248           4.1          932,671        4.0          909,923          (22,748)

314 Turbogenerator Units                           10,480,217      6,197,634           3.5          366,808        2.5          262,005         (104,803)

315 Accessory Electric Equip.                       3,357,613      1,739,101           3.2          107,444        3.2          107,444                0

316 Misc. Power Plant Equip.                          147,025        108,031           2.8            4,117        1.6            2,352           (1,765)

Total          39,133,626     22,113,453                      1,471,057                   1,375,351          (95,706)

St. Johns Rvr Power Park-Common

311 Structures and Improvements                    28,615,874     13,623,837           4.0        1,144,635        2.1          600,933         (543,702)

312 Boiler Plant Equip.                             3,497,845      1,355,498           4.6          160,901        2.9          101,438          (59,463)

314 Turbogenerator Units                            2,462,812        370,960            NA                0        3.2           78,810           78,810

315 Accessory Electric Equip.                       5,559,492      2,196,359           6.5          361,367        2.5          138,987         (222,380)

316 Misc. Power Plant Equip.                        1,440,606      1,027,561           4.5           64,827        3.3           47,540          (17,287)

Total          41,576,629     18,574,215                      1,731,730                     967,708         (764,022)

St. Johns Rvr Power Park -Unit 1

311 Structures and Improvements                    10,853,748      3,068,643           4.3          466,711        2.7          293,051         (173,660)

312 Boiler Plant Equip.                            71,578,108     21,148,740           6.1        4,366,265        3.9        2,791,546       (1,574,719)

314 Turbogenerator Units                           23,863,947      5,684,102           5.7        1,360,245        3.6          859,102         (501,143)

315 Accessory Electric Equip.                      11,355,475      2,784,782           7.4          840,305        3.7          420,153         (420,152)

316 Misc. Power Plant Equip.                        2,147,827        510,508           6.3          135,313        3.9           83,765          (51,548)

Total         119,799,105     33,196,775                      7,168,839                   4,447,617       (2,721,222)

St. Johns Rvr Power Park -Unit 2

311 Structures and Improvements                     7,288,270      1,588,765           4.4          320,684        2.9          211,360         (109,324)

312 Boiler Plant Equip.                            63,464,740     14,845,149           6.1        3,871,349        4.0        2,538,590       (1,332,759)

314 Turbogenerator Units                           21,979,951      4,084,520           5.7        1,252,857        3.7          813,258         (439,599)

315 Accessory Electric Equip.                       9,682,666      1,945,872           7.4          716,517        3.8          367,941         (348,576)

316 Misc. Power Plant Equip.                        1,652,121        240,283           6.3          104,084        4.1           67,737          (36,347)

Total         104,067,748     22,704,589                      6,265,491                   3,998,886       (2,266,605)

St. Johns Rvr Power Park -Coal/Limestone

311 Structures and Improvements                     3,989,942        345,395           4.1          163,588        3.2          127,678          (35,910)

312 Coal Cars                                       2,914,654      1,182,484           6.4          186,538        9.3          271,063           84,525

312 Boiler Plant                                   31,967,764     13,552,927           9.8        3,132,841        3.2        1,022,968       (2,109,873)

314 Turbogenators                                           0              0            NA                0         NA                0                0

315 Accessory Electric Equip.                       3,003,940        474,382           3.4          102,134        4.4          132,173           30,039

316 Misc. Power Plant Equip.                          279,495         80,130            NA                0        3.3            9,223            9,223

Total          42,155,795     15,635,318                      3,585,101                   1,563,105       (2,021,996)

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

St. Johns Rvr Power Park-Gypsum/Ash

311 Structures                                      2,005,634        951,480           4.2           84,237        1.9           38,107          (46,130)

312 Boiler Plant                                   15,926,865      5,148,050          10.6        1,688,248        5.3          844,124         (844,124)

314 Turbogenators                                           0              0            NA                0         NA                0                0

315 Accessory Electric Equip.                               0              0            NA                0         NA                0                0

316 Misc. Power Plant Equip.                          118,883         33,095            NA                0        3.1            3,685            3,685

Total          18,051,382      6,132,625                      1,772,485                     885,916         (886,569)

Ft. Myers-Gas Turbines

341 Structures                                     14,514,848     13,883,730           2.0          290,297        0.7          101,604         (188,693)

342 Fuel Holders                                    3,933,138      3,507,890           1.6           62,930        1.3           51,131          (11,799)

343 Prime Movers                                   21,761,559     16,978,983           3.4          739,893        2.5          544,039         (195,854)

344 Generator                                      16,374,784     12,917,877           3.6          589,492        2.4          392,995         (196,497)

345 Accessory Electric Equip.                       2,041,570      1,459,259           4.4           89,829        3.2           65,330          (24,499)

346 Misc. Power Plant Equip.                          941,303        672,818           2.9           27,298        3.7           34,828            7,530

Total          59,567,202     49,420,557                      1,799,739                   1,189,927         (609,812)

Ft. Lauderdale-Gas Turbines

341 Structures                                      4,455,562      4,056,957           0.2            8,911        1.1           49,011           40,100

342 Fuel Holders                                      809,011        687,532           0.9            7,281        1.8           14,562            7,281

343 Prime Movers                                   36,631,634     29,310,072           2.6          952,422        2.3          842,528         (109,894)

344 Generator                                      30,299,767     29,116,893           0.8          242,398        0.6          181,799          (60,599)

345 Accessory Electric Equip.                       6,279,332      5,304,344           2.2          138,145        1.7          106,749          (31,396)

346 Misc. Power Plant Equip.                        1,181,842        875,886           1.5           17,728        2.8           33,092           15,364

Total          79,657,148     69,351,684                      1,366,885                   1,227,741         (139,144)

Port Everglades-Gas Turbines

341 Structures                                      3,802,475      3,100,045           1.6           60,840        2.2           83,654           22,814

342 Fuel Holders                                    4,923,571      4,538,612           0.9           44,312        1.0           49,236            4,924

343 Prime Movers                                   17,847,653     16,897,259           0.9          160,629        0.8          142,781          (17,848)

344 Generator                                       9,990,205      9,340,702           0.9           89,912        0.8           79,922           (9,990)

345 Accessory Electric Equip.                       5,779,913      5,647,081           0.3           17,340        0.5           28,900           11,560

346 Misc. Power Plant Equip.                          787,808        646,758           0.9            7,090        2.2           17,332           10,242

Total          43,131,625     40,170,457                        380,123                     401,825           21,702

Martin Pipeline

312 Boiler Plant Equipment                            370,942         10,929           4.2           15,580       10.4           38,578           22,998

342 Fuel Holders                                   13,199,840        397,027           4.2          554,393        9.4        1,240,785          686,392

Total          13,570,782        407,956                        569,973                   1,279,363          709,390

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

Putnam-Common

341 Structures                                      7,328,046      3,900,099           3.1          227,169        3.0          219,841           (7,328)

342 Fuel Holders                                    3,011,224        776,141           3.9          117,438        4.1          123,460            6,022

343 Prime Movers                                    2,890,257      1,057,748           3.0           86,708        3.9          112,720           26,012

344 Generator                                         170,030         76,988           3.9            6,631        3.9            6,631                0

345 Accessory Electric Equip.                       1,591,523        740,178           4.0           63,661        4.2           66,844            3,183

346 Misc. Power Plant Equip.                          542,942        227,996           4.0           21,718        4.6           24,975            3,257

Total          15,534,022      6,779,150                        523,325                     554,471           31,146

Putnam-Unit 1

341 Structures                                      4,920,221      2,624,090           3.0          147,607        3.1          152,527            4,920

342 Fuel Holders                                    3,862,884      2,098,165           3.1          119,749        3.1          119,749                0

343 Prime Movers                                   39,097,132      6,062,840           3.7        1,446,594        5.5        2,150,342          703,748

344 Generator                                      11,406,130      6,650,348           3.3          376,402        3.4          387,808           11,406

345 Accessory Electric Equip.                       7,904,731      4,203,014           3.1          245,047        3.3          260,856           15,809

346 Misc. Power Plant Equip.                                0              0            NA                0         NA                0                0

Total          67,191,098     21,638,457                      2,335,399                   3,071,282          735,883

Putnam-Unit 2

341 Structures                                      4,885,423      2,734,092           2.9          141,677        3.0          146,563            4,886

342 Fuel Holders                                    3,846,298      2,208,376           3.0          115,389        2.9          111,543           (3,846)

343 Prime Movers                                   39,617,083      7,020,315           3.5        1,386,598        5.4        2,139,322          752,724

344 Generator                                      11,406,131      7,072,588           3.2          364,996        3.2          364,996                0

345 Accessory Electric Equip.                       7,854,343      4,441,404           3.0          235,630        3.2          251,339           15,709

346 Misc. Power Plant Equip.                                0              0            NA                0         NA                0                0

Total          67,609,278     23,476,775                      2,244,290                   3,013,763          769,473

TOTAL STEAM PRODUCTION                      3,393,812,915  1,226,429,568                    132,312,192                 134,823,074        2,510,882

NUCLEAR PRODUCTION

St. Lucie-Common

321 Structures & Improvements                     299,065,923    104,890,041           3.4       10,168,241        2.8        8,373,846       (1,794,395)

322 Reactor Plant Equipment                        37,422,373      5,534,016           3.2        1,197,516        3.4        1,272,361           74,845

323 Turbogenerator Units                            9,306,050      2,448,550           2.8          260,569        3.1          288,488           27,919

324 Accessory Electric Equipment                   28,981,148      5,682,049           2.7          782,491        3.0          869,434           86,943

325 Misc. Power Plant Equipment                    21,414,353      5,237,824           2.6          556,773        3.1          663,845          107,072

Total         396,189,847    123,792,480                     12,965,590                  11,467,974       (1,497,616)

St. Lucie-Unit 1

321 Structures & Improvements                     132,776,354     54,260,160           3.4        4,514,396        2.9        3,850,514         (663,882)

322 Reactor Plant Equipment                       234,182,206     76,769,364           3.2        7,493,831        4.1        9,601,470        2,107,639

323 Turbogenerator Units                           90,157,558     34,693,543           2.8        2,524,412        3.2        2,885,042          360,630

324 Accessory Electric Equipment                   66,986,634     23,864,673           2.7        1,808,639        2.9        1,942,612          133,973

325 Misc. Power Plant Equipment                    10,520,904      3,989,453           2.6          273,544        2.7          284,064           10,520

Total         534,623,656    193,577,193                     16,614,822                  18,563,702        1,948,880

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                    COMPANY PROPOSAL

1-1-94         1-1-94                                                                      CHANGE

INVESTMENT         RESERVE           RATE        EXPENSES        RATE        EXPENSES        IN EXPENSE

ACCOUNT                           ($)            ($)              (%)           ($)           (%)           ($)              ($)

St. Lucie-Unit 2

321 Structures & Improvements                     243,816,363     66,510,305           3.4        8,289,756        3.4        8,289,756                0

322 Reactor Plant Equipment                       607,990,511    180,082,830           3.2       19,455,696        3.3       20,063,687          607,991

323 Turbogenerator Units                          131,377,946     28,679,218           2.8        3,678,582        2.9        3,809,960          131,378

324 Accessory Electric Equipment                  159,035,508     37,024,265           2.7        4,293,959        2.6        4,134,923         (159,036)

325 Misc. Power Plant Equipment                    21,439,791      4,103,182           2.6          557,435        2.6          557,435                0

Total       1,163,660,119    316,399,800                     36,275,428                  36,855,761          580,333

Turkey Point Nuclear-Common

321 Structures & Improvements                     259,873,696     63,928,843           4.2       10,914,695        6.0       15,592,422        4,677,727

322 Reactor Plant Equipment                        52,386,623     18,705,766           5.0        2,619,331        5.7        2,986,038          366,707

323 Turbogenerator Units                            3,028,865      1,726,449           4.3          130,241        3.0           90,866          (39,375)

324 Accessory Electric Equipment                  149,918,683     19,396,428           4.6        6,896,259        6.1        9,145,040        2,248,781

325 Misc. Power Plant Equipment                    19,665,944      6,754,207           5.1        1,002,963        5.0          983,297          (19,666)

Total         484,873,811    110,511,693                     21,563,489                  28,797,663        7,234,174

Turkey Point Nuclear-Unit 3

321 Structures & Improvements                      27,110,798     14,706,861           4.2        1,138,654        3.4          921,767         (216,887)

322 Reactor Plant Equipment                       190,372,558    100,191,496           5.0        9,518,628        4.4        8,376,393       (1,142,235)

323 Turbogenerator Units                           69,741,444     17,780,688           4.3        2,998,882        5.6        3,905,521          906,639

324 Accessory Electric Equipment                   65,018,782     26,685,279           4.6        2,990,864        4.3        2,795,808         (195,056)

325 Misc. Power Plant Equipment                     2,260,872      1,471,507           5.1          115,304        2.5           56,522          (58,782)

Total         354,504,454    160,835,831                     16,762,332                  16,056,011         (706,321)

Turkey Point Nuclear-Unit 4

321 Structures & Improvements                      21,851,002     11,425,023           4.2          917,742        3.6          786,636         (131,106)

322 Reactor Plant Equipment                       180,979,773     86,401,583           5.0        9,048,989        4.8        8,687,029         (361,960)

323 Turbogenerator Units                           88,436,411     28,086,801           4.3        3,802,766        5.0        4,421,821          619,055

324 Accessory Electric Equipment                   54,664,068     20,207,781           4.6        2,514,547        4.6        2,514,547                0

325 Misc. Power Plant Equipment                     2,217,424      1,263,304           5.1          113,089        3.3           73,175          (39,914)

Total         348,148,678    147,384,492                     16,397,133                  16,483,208           86,075

TOTAL NUCLEAR PRODUCTION                    3,282,000,565  1,052,501,489                    120,578,794                 128,224,319        7,645,525

TOTAL PRODUCTION                            6,675,813,480  2,278,931,057                    252,890,986                 263,047,393       10,156,407

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                       COMPANY PROPOSAL

1-1-94          1-1-94                                                                         CHANGE

INVESTMENT        RESERVE           RATES       EXPENSES           RATES       EXPENSES        IN EXPENSE

ACCOUNT                         ($)             ($)              (%)           ($)              (%)           ($)              ($)

TRANSMISSION PLANT

350.2 Easements                                     72,719,526     12,839,014           1.6        1,163,512           1.7        1,236,232           72,720

352.0 Structures and Improvements                   29,986,609      7,023,568           2.4          719,679           2.7          809,638           89,959

353.0 Station Eqpt.                                592,241,597    155,225,860           2.0       11,844,832           1.8       10,660,349       (1,184,483)

354.0 Towers and Fixtures                           85,591,997     27,427,171           2.4        2,054,208           2.8        2,396,576          342,368

355.0 Poles and Fixtures                           299,373,144    128,968,794           3.1        9,280,567           3.3        9,879,314          598,747

356.0 Overhead Cond. & Devices                     254,293,136    108,912,892           2.9        7,374,501           3.2        8,137,380          762,879

357.0 Underground Conduit                           24,968,541     10,678,057           2.1          524,339           2.1          524,339                0

358.0 Underground Conductors & Devices              29,504,326     16,015,549           2.7          796,617           2.6          767,112          (29,505)

359.0 Roads and Trails                              37,383,776      8,203,241           1.5          560,757           1.8          672,908          112,151

TOTAL TRANSMISSION PLANT                   1,426,062,652    475,294,146                     34,319,012                     35,083,848          764,836

DISTRIBUTION PLANT

361.0 Structures & Improvements                     45,648,428     10,932,496           2.2        1,004,265           2.3        1,049,914           45,649

362.0 Station Equipment                            681,276,532    154,262,621           2.1       14,306,807           2.8       19,075,743        4,768,936

364.0 Poles, Towers & Fixtures                     404,422,021    149,874,230           3.0       12,132,661           3.0       12,132,661                0

365.0 OH Conductors & Devices                      639,361,815    244,540,636           3.5       22,377,664           3.5       22,377,664                0

366.6 Underground Conduit-Duct Sys.                347,032,265     75,168,743           2.0        6,940,645           1.8        6,246,581         (694,064)

366.7 Underground Conduit-Direct Buried             19,169,607      4,641,096           2.1          402,562           3.0          575,088          172,526

367.6 Underground Cond. & Devices-In Duct          444,500,294     97,474,358           2.7       12,001,508           2.5       11,112,507         (889,001)

367.7 Underground Cond. & Dev.-Direct Buried       319,938,897    157,516,309           3.3       10,557,984           2.9        9,278,228       (1,279,756)

368.0 Line Transformers                            863,427,948    287,604,903           4.1       35,400,546           3.7       31,946,834       (3,453,712)

369.1 Services-Overhead                             93,486,539     43,479,724           4.3        4,019,921           3.9        3,645,975         (373,946)

369.7 Services-Underground                         251,197,071     67,844,500           3.5        8,791,897           3.1        7,787,109       (1,004,788)

370.0 Meters                                       293,656,448    123,861,511           3.1        9,103,350           2.9        8,516,037         (587,313)

371.0 Installations on Cust. Premises               39,621,454     13,714,245           9.1        3,605,552           8.0        3,169,716         (435,836)

373.0 Street Light & Signal Sys.                   176,362,500     74,793,887           5.4        9,523,575           4.6        8,112,675       (1,410,900)

TOTAL DISTRIBUTION PLANT                   4,619,101,819  1,505,709,259                    150,168,937                    145,026,732       (5,142,205)

FLORIDA POWER AND LIGHT COMPANY

1993 DEPRECIATION STUDY

COMPARISON OF EXPENSES

CURRENT                       COMPANY PROPOSAL

1-1-94          1-1-94                                                                         CHANGE

INVESTMENT        RESERVE           RATES       EXPENSES           RATES       EXPENSES        IN EXPENSE

ACCOUNT                         ($)             ($)              (%)           ($)              (%)           ($)              ($)

GENERAL PLANT

390.0 Structures & Improvements-FPL                166,475,706     24,417,901           2.3        3,828,941           2.2        3,662,466         (166,475)

390.0 Structures & Improvements-LRIC               132,959,567     28,993,372           2.1        2,792,151           2.0        2,659,191         (132,960)

392.0 Aircraft-Fixed Wing (Non-Jet)                  4,756,464      2,334,332           3.8          180,746           1.1           52,321         (128,425)

392.0 Aircraft-Rotary Wing                           2,117,761        179,944           3.0           63,533           6.4          135,537           72,004

392.0 Aircraft-Fixed Wing (Jet)                      8,435,879      1,381,424           5.2          438,666           5.2          438,666                0

392.1 Transportation-Automobiles                     1,197,665        377,307          14.9          178,452          27.9          334,149          155,697

392.2 Transportation-Light Trucks                   17,803,476      7,804,301          10.1        1,798,151           9.6        1,709,134          (89,017)

392.3 Transportation-Heavy Trucks                  145,335,529     57,399,777           7.5       10,900,165           6.7        9,737,480       (1,162,685)

392.9 Transportation-Trailers                       10,432,095      4,345,489           2.6          271,234           3.6          375,555          104,321

393.1 Stores Equip-Handling Equip                    8,458,008      1,789,215           3.7          312,946           3.5          296,030          (16,916)

394.1 Shop Equip.-Fixed/Stationary                  13,197,750      2,296,937           5.0          659,888           3.9          514,712         (145,176)

395.1 Lab. Equip.-Fixed/Stationary                  18,702,041      2,940,322           2.9          542,359           2.8          523,657          (18,702)

396.1 Power Operated Eq. (Trans.)                    6,448,685      2,913,832           9.1          586,830           5.8          374,024         (212,806)

396.8 Other Power Operated Equipment                   223,753        146,706          10.6           23,718           2.8            6,265          (17,453)

397.1 Communications Equipment-Other                34,331,127     10,624,211           3.9        1,338,914           5.4        1,853,881          514,967

397.3 Communications Eqpt.-Official                 19,948,939      5,280,206           8.4        1,675,711           8.2        1,635,813          (39,898)

397.8 Communications Eqpt.-Fiber Optics             14,432,692      3,242,556           9.9        1,428,837           9.3        1,342,240          (86,597)

TOTAL GENERAL PLANT                          605,257,137    156,467,832                     27,021,242                     25,651,121       (1,370,121)

PRODUCTION TOTAL                    6,675,813,480  2,278,931,057                    252,890,986                    263,047,393       10,156,407

TRANS., DIST. & GENL. TOTAL         6,650,421,608  2,137,471,237                    211,509,191                    205,761,701       (5,747,490)

TOTAL DEPRECIABLE PLANT                   13,326,235,088  4,416,402,294                    464,400,177                    468,809,094        4,408,917

RECOVERY SCHEDULE:

ST.LUCIE UNIT 1, STEAM GEN. RETS.             19,179,904     10,766,322           3.2          613,757      4.5 Yrs.       13,780,796 **    13,167,039

GRAND TOTAL                  13,345,414,992  4,427,168,616                    465,013,934                    482,589,890       17,575,956

** Expense includes recovery of $53,600,000 in removal costs.