# APPENDICES

- Progress Energy Florida’s Service Area Map

- Progress Energy Florida’s Demand-Side Management Plan, December 29, 1999

- PSC Approval of Demand-Side Management Plan

- Progress Energy Florida’s System Map

- Reserve Margin Stipulation

- Progress Energy Florida’s April 2004 Ten-Year Site Plan

- Progress Energy Florida’s Energy and Customer Forecasting Models

- Progress Energy Florida’s Request for Proposals For Power Supply Resources

- Progress Energy Florida’s RFP Response Package

- Description of Proposals (Confidential-Redacted)

# Appendix A.  Progress Energy Florida’s Service Area Map

# Appendix B.  Progress Energy Florida’s Demand-Side Management Plan

DEMAND-SIDE MANAGEMENT PLAN

OF

FLORIDA POWER CORPORATION

DECEMBER 29, 1999

Table of Contents

Revised 3/7/2000

Introduction	ii

I.	Program Goals and Cumulative Impact	I-1

II.	Program Introduction

A.	Program Operation	II-1

B.	Cost-Effectiveness Tests	II-2

C.	Program Monitoring and Evaluation	II-4

D.	Cost-Recovery	II-5

III.	Residential Conservation Programs

A.	Home Energy Check	III-2

B.	Home Energy Improvement	III-5

C.	New Construction	III-13

D.	Low Income Weatherization Assistance Program	III-20

E.	Residential Energy Management	III-28

IV.	Commercial/Industrial Conservation Programs

A.	Business Energy Check	IV-2

B.	Better Business	IV-5

C.	C/I New Construction	IV-13

D.	Innovation Incentive	IV-20

E.	Commercial Energy Management	IV-24

F.	Standby Generation	IV-31

G.	Interruptible Service	VI-37

H.	Curtailable Service	VI-43

V.	Technology Development Program	V-1

Appendix -- Proposed Tariff Revisions and Additions

Introduction

In accordance with Sections 25-17.001-.005, Florida Administrative Code, the Florida Public Service Commission (FPSC) established numeric conservation goals for Florida Power Corporation (FPC), as set forth in Order No. PSC-99-1942-FOF-EG, issued October 1, 1999, in Docket No. 971005-EG.  In response to this Order, FPC submits this Demand Side Management (DSM) Plan to the FPSC for approval.

FPC has designed its DSM Plan to achieve the conservation goals set forth by the FPSC.  This plan provides FPC’s customers with comprehensive DSM services while resulting in electric rates that are lower than they would have been if this Plan were not implemented.  The DSM Plan consists of five (5) residential programs, eight (8) commercial and industrial (C/I) programs, and one research and development program.

The programs contained in FPC’s DSM Plan will necessitate several tariff revisions or additions, which are shown in legislative format in the Appendix of this document.  Upon FPSC approval of these programs, FPC will submit the related tariffs to Staff for administrative approval.

This document is organized into six sections.  The first section presents an overview of FPC’s proposed DSM Plan, summarizing the goals and cumulative impacts of the plan.  Section II discusses some general issues associated with demand-side management planning and implementation, including program operation, cost-effectiveness, program monitoring and evaluation, and cost-recovery.  Section III presents FPC’s proposed residential programs.  Section IV presents FPC’s proposed commercial/industrial programs.  Section V presents FPC’s Technology Development program.

I.  Program Goals

and

Cumulative Impact

I.	Program Goals and Cumulative Impact

Florida Power Corporation’s DSM Plan has specifically been designed to efficiently acquire all cost-effective DSM resources necessary to meet the conservation goals established by the FPSC in Order No. PSC-99-1942-FOF-EG.  The DSM Plan consists of five (5) residential programs, eight (8) commercial and industrial (C/I) programs, and one research and development program:

| RESIDENTIAL PROGRAMS | COMMERCIAL/INDUSTRIAL PROGRAMS |
| --- | --- |
| Home Energy Check | Business Energy Check |
| Home Energy Improvement | Better Business |
| New Construction | C/I New Construction |
| Low Income Weatherization Assistance | Innovation Incentive |
| Residential Energy Management | Commercial Energy Management |
|  | Standby Generation |
|  | Interruptible Service |
|  | Curtailable Service |
| Technology Development |  |

These DSM programs have been integrally designed to achieve the conservation goals established by the FPSC, while minimizing the rate impacts on all FPC customers.  In designing these DSM programs, the following multiple objectives were addressed:

- Achieve the annual conservation goals established by the FPSC for 2000-2009

- Minimize rate impacts to all FPC customers

- Base program designs on customer needs

- Implement mechanisms to minimize free ridership

- Capture all cost-effective DSM resources, including cost-effective lost opportunities

- Provide customers with added value -- efficiency, convenience, productivity, comfort and reliability, and

- Utilize market involvement, such as dealers and home builders, where appropriate.

Tables I-1 and I-2 present the cumulative demand and energy impacts projected to be achieved by this DSM Plan as compared to the Commission-established goals for each year during the planning period 2000-2009, for the residential and C/I sectors, respectively.  FPC’s DSM Plan is designed to meet or exceed the Commission-established energy and demand goals.

II.	Program Introduction

II.	Program Introduction

- Program Operation

The focal point for both the residential and the C/I sector programs is an energy audit program (Home Energy Check for residential and Business Energy Check for C/I).  The energy audit programs serve multiple purposes to satisfy the needs of FPC, its customers, and the Commission:

- Educate customers by providing an overview of typical energy use.

- Identify opportunities for improving energy efficiency at the customer’s home or facility.

- Serve as the marketing tool to introduce customers to FPC’s other conservation programs.

- Assist FPC in minimizing free ridership in the other DSM programs.

- Satisfy the Commission’s mandate to offer energy audit services to all customers.

For the residential sector, FPC has consolidated most measures into two “umbrella” programs -- the Home Energy Improvement program for existing customers and the New Construction program for new home builders.  The creation of these comprehensive programs provides significant benefits over implementing measure-specific programs, including the following:

- Increased program cost-effectiveness through lower program administration, implementation, monitoring, and evaluation costs by minimizing redundant functions.

- More efficient program delivery because each customer can be more comprehensively addressed.

- Improved marketability to customers through concise, consistent, and comprehensive program packaging.

For the C/I sector, FPC has also consolidated most of the measures into “umbrella” programs -- the Better Business program for existing customers and the C/I New Construction program for new construction buildings.  These “umbrella” programs provide the same benefits as described above.  But in the commercial and industrial sectors, because the facilities and systems are more complex than in the residential sector, there are additional opportunities for conservation from customer-specific technology improvements, as well as from alternative rates.  Thus, for the C/I sector, FPC’s DSM Plan also includes the Innovation Incentive program for customized efficiency improvements, as well as the Standby Generation, Interruptible Service, and Curtailable Service programs.

- Cost-Effectiveness

All programs submitted in this DSM Plan have been analyzed for cost-effectiveness using the Commission-approved tests described in Rule 25-17.008, Florida Administrative Code.  FPC’s DSM Plan has specifically been designed to efficiently acquire all cost-effective DSM resources necessary to meet the Commission-established goals for FPC.  The programs were evaluated based on the Rate Impact Measure (RIM) test to ensure that the DSM programs result in lower electric rates than supply-side alternatives.

In order to conduct the cost-effectiveness analysis, the DSView model (produced by New Energy Associates) was used to evaluate the DSM programs against potentially avoidable supply-side capacity.  In contrast to static models such as the Florida Integrated Resource Evaluator (FIRE) model, DSView is a more sophisticated dynamic model which more nearly simulates the operation of the power system.  For example, DSView is directly integrated with other supply-side planning models, thereby allowing variables such as marginal fuel costs, hourly production costs, and generation equivalency to be computed and applied more accurately than under the FIRE model.  Because of this fundamental modeling concept difference, DSView will produce different results from the FIRE model.

A summary of the cost-effectiveness results for each of the DSM programs included in this DSM Plan are shown in Table II-1.  In addition, detailed program cost-effectiveness results are presented at the end of each program discussion in Sections III and IV of this document.  These detailed results consist of one page each for the RIM, Participant, and Total Resource Cost (TRC) Tests.

Table II-1

Revised 3/7/2000

- Program Monitoring and Evaluation

Program monitoring and evaluation are important components of DSM implementation.  They serve the purpose of ensuring that all DSM resources are acquired in a cost-effective manner.  Specifically, program monitoring includes tracking program data and ensuring quality control.  Program evaluation results document the energy and demand impacts and cost-effectiveness of the program, as well as suggest ways that the program can be improved by increasing savings, reducing costs, or increasing participation.

While there is a great need to regularly evaluate programs to ensure their cost-effectiveness, there is an equally great need to utilize the evaluation method that is most cost-effective.  Imprudent expenditures on evaluation can significantly affect the overall cost-effectiveness of a program to its detriment.  Just as FPC’s DSM Plan is limited to cost-effective programs, only cost-effective evaluation efforts should be used to evaluate these programs.  The level of evaluation effort must be balanced with the need for evaluation.  For example, the programs that provide the largest portion of the total DSM impact should be given the greatest evaluation emphasis.  Programs (or measures) that provide small per unit impacts or which have had relatively low levels of participation should be evaluated using approaches that can be justified given their relative contribution to the total net benefits.

Therefore, while there are many methods available to evaluate the impacts of these programs, FPC will determine on a program-by-program basis the most cost-effective evaluation method based on factors such as participation levels, program performance, dollars invested, the level of uncertainty of measure performance, etc.

- Cost-Recovery

FPC submits the programs herein described for approval and for inclusion as cost recoverable Conservation and Energy Efficiency Programs (under current FPSC-approved procedures) pursuant to Rule 25-17.015, and requests permission to recover all costs associated with the development and administration of this DSM Plan.

In addition, FPC intends to maintain its work toward administering and negotiating cogeneration contracts, and will continue to seek recovery of all associated administrative costs through the Energy Conservation Cost Recovery (ECCR) Clause.

FPC will make every effort toward the most appropriate transition from its existing DSM programs to any new or modified programs submitted in this Plan.  As such, FPC seeks to recover all costs incurred through the implementation of those existing programs during the transition period.  This is in accordance with approved Program Participation Standards which allow, in the event of program discontinuance, the extension of current recommendations and rebate amounts for up to two years from the date of program discontinuance or until the rebate is paid, whichever is sooner.

FPC has designed each of the DSM programs to pass the RIM test; therefore, each program is cost-effective on its own merit.  This should not rule out the possibility that the Company may request incentives or recovery of lost revenues in the future.

III.	Residential

Conservation Programs

III.	RESIDENTIAL CONSERVATION PROGRAMS

Florida Power Corporation's DSM Plan includes five (5) residential programs:

- Home Energy Check  -  residential energy audits

- Home Energy Improvement  -  "umbrella" program for existing homes

- New Construction  -  "umbrella" program for new residential construction, multi-family, and manufactured homes

- Low Income Weatherization Assistance Program  -  "umbrella" program for the weatherization of low income family homes

- Residential Energy Management  -  residential load control

Each program is described in detail in the following sections.

A.	Home Energy Check Program

Program Start Date:	▸ 1995

Policies and Procedures

The Home Energy Check is FPC’s residential energy audit program, which provides its customers with an analysis of their current energy use and recommendations on how they can save on their electricity bill through low-cost or no-cost energy-saving practices and measures.  It also serves as the foundation of the Home Energy Improvement program in that it serves as a prerequisite for participation in any of the retrofit-type components of the Home Energy Improvement program.  The exception is an emergency replacement of high efficient heat pump(s).  This requirement exists so that FPC can:  1) provide the customer with an overview of typical energy use, 2) verify that the action requested (e.g., additional attic insulation) will address the customer's problem, and 3) help to minimize free ridership in the Home Energy Improvement program.

The Home Energy Check program provides customers with four types of energy audits:

Level 1:	Customer-completed Mail-In Audit (Do-It-Yourself Home Energy Check)

Level 2:	Free Walk-Through Audit (current Home Energy Check)

Level 3:	Paid Walk-Through Audit (current Home Energy Analysis)

Level 4:	Home Energy Rating (Class I, II, III energy ratings)

All residential customers of FPC are eligible to receive any of the above energy audits.  There is no charge for the Level 1 or Level 2 audits, while there is a $15 customer charge for the Level 3 audit.  When a customer requests a Home Energy Check, they will be given the option of either receiving a Level 1 audit survey in the mail or scheduling a Level 2 or Level 3 walk-through audit.  A FPC auditor will usually conduct the audit, although FPC may also work with other agencies and/or utilities as an extension of FPC’s services, in which case an approved auditor from another organization may conduct the audit.  The Home Energy Rating as outlined in FPC’s "Florida Energy Gauge Ratings" rate tariff (Section II, sheet number 2.6) is available to all eligible FPC customers upon request.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers | Annual Number of Program Participants [2] | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 1,230,736 | 1,230,736 | 22,500 | 2% |
| 2001 | 1,252,598 | 1,252,598 | 46,500 | 4% |
| 2002 | 1,274,213 | 1,274,213 | 71,000 | 6% |
| 2003 | 1,295,656 | 1,295,656 | 96,000 | 7% |
| 2004 | 1,316,791 | 1,316,791 | 121,200 | 9% |
| 2005 | 1,337,264 | 1,337,264 | 146,370 | 11% |
| 2006 | 1,357,066 | 1,357,066 | 171,770 | 13% |
| 2007 | 1,376,186 | 1,376,186 | 197,270 | 14% |
| 2008 | 1,394,931 | 1,394,931 | 222,770 | 16% |
| 2009 | 1,413,612 | 1,413,612 | 248,270 | 18% |

1.	Total Number of Customers is the forecast of all residential customers, from the June 1999 Forecast.

2.	Annual Number of Program Participants is the projected number of cumulative energy audits that will be conducted.

Savings Estimates

The total program savings were developed by estimating impacts for each audit level and for low-cost energy efficiency measures promoted through the program.  The total program savings are shown in the following table.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 275 | 0.085 | 0.085 | 6,190,000 | 1,910 | 1,910 |
| 2001 | 269 | 0.083 | 0.083 | 12,505,000 | 3,858 | 3,858 |
| 2002 | 267 | 0.082 | 0.082 | 18,984,000 | 5,856 | 5,856 |
| 2003 | 267 | 0.082 | 0.082 | 25,629,000 | 7,906 | 7,906 |
| 2004 | 267 | 0.082 | 0.082 | 32,314,000 | 9,968 | 9,968 |
| 2005 | 266 | 0.082 | 0.082 | 38,973,000 | 12,021 | 12,021 |
| 2006 | 266 | 0.082 | 0.082 | 45,675,000 | 14,089 | 14,089 |
| 2007 | 266 | 0.082 | 0.082 | 52,411,000 | 16,166 | 16,166 |
| 2008 | 266 | 0.082 | 0.082 | 59,146,000 | 18,243 | 18,243 |
| 2009 | 265 | 0.082 | 0.082 | 65,882,000 | 20,321 | 20,321 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 289 | 0.089 | 0.090 | 6,501,357 | 1,994 | 2,022 |
| 2001 | 282 | 0.087 | 0.088 | 13,134,002 | 4,026 | 4,084 |
| 2002 | 281 | 0.086 | 0.087 | 19,938,895 | 6,112 | 6,200 |
| 2003 | 280 | 0.086 | 0.087 | 26,918,139 | 8,252 | 8,370 |
| 2004 | 280 | 0.086 | 0.087 | 33,939,394 | 10,404 | 10,553 |
| 2005 | 280 | 0.086 | 0.087 | 40,933,342 | 12,548 | 12,727 |
| 2006 | 279 | 0.086 | 0.087 | 47,972,453 | 14,706 | 14,916 |
| 2007 | 279 | 0.086 | 0.087 | 55,047,273 | 16,874 | 17,115 |
| 2008 | 279 | 0.085 | 0.087 | 62,121,044 | 19,043 | 19,314 |
| 2009 | 279 | 0.085 | 0.087 | 69,195,865 | 21,211 | 21,514 |

Per customer impacts vary from year to year because of the changing mix of audit participants in the various audit levels, as well as the mix of low-cost measures assumed to be installed in any given year.

Impact Evaluation Plan

The range of possible recommendations resulting from the audit, and the inclusion of both technological and behavioral recommendations suggests the need to survey Home Energy Check participants to determine what specific conservation actions have been implemented within each market segment due to the completed audit.  These survey results, combined with the participant-specific data gathered during the audit, will be used to determine the savings that can be directly attributable to the Home Energy Check program.

B.	Home Energy Improvement Program

Program Start Date:	▸ 1995

▸ Proposed modification for 2000

Policies and Procedures

The Home Energy Improvement program is the umbrella program to increase energy efficiency for existing residential homes.  It combines efficiency improvements to the thermal envelope with upgraded electric appliances.  The program seeks to meet the following overall goals:

- Improve customer comfort levels through efficient equipment and home thermal integrity upgrades.

- Obtain energy and demand impacts that are accurate, sustainable, and measurable.

- Enhance contractor awareness of new technologies.

- Educate customers about additional opportunities associated with an energy efficient home.

- Obtain cost effective resources from the marketplace.

- Minimize “lost opportunities” in the existing home market.

The program provides incentives for attic insulation upgrades, duct testing and repair, high efficiency heat pumps, heat recovery units, and dedicated heat pump water heaters.  The program eligibility requirements to qualify for participation are as follows:

- The home must be metered by Florida Power.

- The home is required to have a residential energy audit prior to participation for the attic insulation and duct test and repair.

- Duct repairs must be sealed with mastic meeting UL 181 specifications consistent with duct manufacturer’s requirements.

- New construction homes do not qualify under this program.

- High efficient heat pump incentives will be paid for replacing existing electric heat pumps and/or electric resistance heat.

Incentive Levels and specific eligibility requirements for each measure promoted in this program will be presented in the “Program Participation Standards.”

Attic Insulation Upgrade

This portion of the program encourages customers to add insulation to the ceiling area by paying a portion of the installed cost.  The home must have an existing insulation level of less than R-12 to participate.  The customer must have either whole house electric cooling or electric heating to be eligible for this program.  The maximum incentive available will be $100 per residence, the specific incentive is determined by the resulting insulation level.

Duct Test and Repair

This portion of the program is designed to encourage eligible customers to improve their central duct system by reducing the air leakage rate.  This is accomplished by performing a duct leakage test, then offering to repair the leakage that is discovered by the duct test.  The home must have central ducted electric cooling and electric heat to participate in this measure.  For a duct test, FPC will pay up to a maximum of $30 for the first unit and $20 for each additional unit at the same address.  For the duct repair, FPC will pay an incentive of up to $100 per unit.  For multi-family rental units, FPC will pay all the costs up to $100 per unit (top floor only) and no test is required.

High Efficiency Electric Heat Pumps

For high efficient electric heat pumps, FPC will provide an incentive up to $350 per unit.  The specific incentive available is dependent upon the efficiency level of the unit installed and the type of electric heat the new equipment is replacing.  In order to qualify for an incentive both the air handler and the outdoor condensing unit shall be replaced, and both units shall be new.  This program seeks to accommodate emergency replacement situations by allowing a participant to have a Home Energy Check conducted after the installation and still be eligible for the incentive.

High Efficiency Alternate Water Heating

The high efficiency water heating portion of this program promotes technologies that heat water more efficiently than a standard electric water heater and save energy.  The incentive depends on the type of technology being installed.  For heat recovery units, FPC will provide an incentive of $100 per residence.  For dedicated heat pump water heaters, FPC will provide an incentive of $200 per unit.

Supplemental Incentive Bonus

To maximize the implementation of energy efficiency measures per participant, an incentive bonus is provided to high efficiency electric heat pump participants who also implement ceiling insulation upgrade, duct leakage repair, or both, within 90 days, before or after, of the installation date of the high efficiency electric heat pump.  The purpose of this incentive is to offset some of the customer’s large capital outlay to install more than one energy efficiency measure.  The maximum incentive bonus a customer can receive is $50.

Financing

FPC is offering as an alternative to the incentives, a financing option.  The financing option is an interest free (12 Month) installment-billing plan.  As an alternative to receiving an incentive, the customer may choose to finance their energy efficient measure for up to one-year interest free.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers [2] | Annual Number of Measure Participants [3] | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 1,230,736 | 61,537 | 12,434 | 20% |
| 2001 | 1,252,598 | 123,074 | 25,578 | 21% |
| 2002 | 1,274,213 | 184,611 | 39,112 | 21% |
| 2003 | 1,295,656 | 246,148 | 52,665 | 21% |
| 2004 | 1,316,791 | 307,685 | 65,822 | 21% |
| 2005 | 1,337,264 | 369,222 | 78,266 | 21% |
| 2006 | 1,357,066 | 430,759 | 89,725 | 21% |
| 2007 | 1,376,186 | 492,296 | 100,047 | 20% |
| 2008 | 1,394,931 | 553,833 | 109,185 | 20% |
| 2009 | 1,413,612 | 615,370 | 117,179 | 19% |

- Total Number of Customers is the forecast of all residential customers, from the June 1999 Forecast.

- Total number of Eligible Customers is based on an estimate of the cumulative number of central heat pumps and air conditioners that are replaced each year.

- Annual number of Measure Participants is the projected number of cumulative measure installations from all measures promoted through this program.  Because customers can install multiple measures, the actual number of participants will be less.

Savings Estimates

Total program savings were developed by first estimating the total savings for each individual measure based on each measure’s (1) per customer savings and, (2) annual projected participation.  The total program savings were then computed as the sum of the individual measure savings, and are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 538 | 0.968 | 0.388 | 6,694,000 | 12,040 | 4,824 |
| 2001 | 537 | 0.962 | 0.389 | 13,741,000 | 24,612 | 9,957 |
| 2002 | 536 | 0.958 | 0.390 | 20,981,000 | 37,468 | 15,261 |
| 2003 | 536 | 0.956 | 0.391 | 28,223,000 | 50,314 | 20,573 |
| 2004 | 536 | 0.955 | 0.391 | 35,277,000 | 62,871 | 25,721 |
| 2005 | 536 | 0.957 | 0.390 | 41,973,000 | 74,879 | 30,554 |
| 2006 | 536 | 0.960 | 0.390 | 48,181,000 | 86,148 | 34,957 |
| 2007 | 538 | 0.965 | 0.388 | 53,827,000 | 96,568 | 38,861 |
| 2008 | 539 | 0.972 | 0.387 | 58,889,000 | 106,105 | 42,246 |
| 2009 | 541 | 0.980 | 0.385 | 63,385,000 | 114,787 | 45,130 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 565 | 1.010 | 0.410 | 7,030,708 | 12,567 | 5,107 |
| 2001 | 564 | 1.004 | 0.411 | 14,432,172 | 25,690 | 10,541 |
| 2002 | 562 | 1.000 | 0.412 | 22,036,344 | 39,109 | 16,156 |
| 2003 | 562 | 0.997 | 0.413 | 29,642,616 | 52,517 | 21,780 |
| 2004 | 562 | 0.996 | 0.413 | 37,051,433 | 65,624 | 27,230 |
| 2005 | 562 | 0.998 | 0.412 | 44,084,241 | 78,158 | 32,347 |
| 2006 | 562 | 1.002 | 0.412 | 50,604,504 | 89,921 | 37,008 |
| 2007 | 565 | 1.007 | 0.410 | 56,534,498 | 100,797 | 41,142 |
| 2008 | 566 | 1.015 | 0.409 | 61,851,116 | 110,752 | 44,725 |
| 2009 | 568 | 1.023 | 0.407 | 66,573,265 | 119,814 | 47,779 |

Impact Evaluation Plan

The impact evaluation plan for an “umbrella” program such as this requires a varied approach given the number and type of measures being promoted.  Some measures provide large per unit impacts while other yield relatively smaller impacts.  The total impact from all smaller-impact measures could be potentially less than the uncertainty around an impact estimate of just one large measure.  Consequently, the impact evaluation will place greater emphasis on the larger impact measures.  The method of impact evaluation may vary depending on the participation levels actually achieved for each measure.  Engineering analysis and statistical billing analysis represents the primary methods that will be used to estimate demand and energy impacts.  These analyses will be supported by residential end-use metering data.

Cost-Effectiveness

The economic results of the program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 58,937 | 52,999 | 5,938 | 1.11 |
| Participant | 50,154 | 19,452 | 30,702 | 2.58 |
| Total Resource Cost | 58,937 | 22,297 | 36,640 | 2.64 |

C.	New Construction

Program Start Date:	▸ 1995

▸ Proposed modification for 2000

Policies and Procedures

The New Construction program is an "umbrella" program for the New Construction, Multi-family, and Manufactured Home building segments.

The New Construction program promotes energy efficient construction in order to provide customers with more efficient dwellings combined with improved environmental comfort.

The objectives of the program include the following goals:

- Educate builders and builder/owners and property managers about energy efficient construction design to increase the supply of energy efficient homes.

- Educate customers and realtors about energy efficient construction design to increase the demand for energy efficient homes.

- Obtain energy and demand impacts that are accurate, sustainable, and measurable.

- Enhance contractor awareness of new technologies.

- Obtain cost effective resources from the marketplace.

- Minimize “lost opportunities” in the new home market.

The program provides education and information to the design community on energy efficient equipment and construction.  The program provides the following:

- Financial incentives for energy efficient equipment.

- “Third party” endorsement/certification and FPC’s seal of approval.

- Cooperative advertising for the most energy efficient builders.

The program facilitates the design and construction of energy efficient homes by working directly with the builders to comply with program requirements.  Builders that express interest in participating in this program will be required to fulfill pre-qualification requirements.  Then, as builders inform FPC regarding their plans to design and build additional homes, FPC representatives will provide assistance to ensure that the design and construction of the home(s) meet program requirements.  Home certification criteria include the following:

- The home must be metered by Florida Power.

- The builder must meet requirements listed in the Program Participation Standards.

- The heating source must be an all electric heat pump.  No resistance heat is allowed except as back up heat.  Straight air with electric strip is not allowed to participate.

- Duct sealing integrity, insulation levels, and equipment efficiencies, sizing and installations must meet specific program requirements.

This program has three levels of participation with various options within each level.  The builder is offered a choice of energy efficiency measures that more closely meet the home’s design criteria.  Program details such as builder qualification criteria, home certification requirements and incentive levels for high efficient equipment promoted by this program will be presented in the Program Participation Standards.

High Efficiency Electric Heat Pumps

For electric heat pumps, FPC will provide an incentive up to a maximum of $300 per unit.  The specific incentive amount is dependent on the energy efficiency of the equipment.  The Program Participation Standards will specify additional qualifying criteria for incentive eligibility.

High Efficiency Alternate Electric Water Heating

The high efficiency alternate electric water heating incentive is based on the type of alternate water heating equipment that is installed.  For heat recovery units, FPC will provide an incentive of $100.  For Dedicated Heat Pump Water Heaters the incentive is $200.  Manufacturer specifications for equipment installation must be followed.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers [2] | Annual Number of Measure Participants [3] | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 1,230,736 | 22,742 | 6,562 | 29% |
| 2001 | 1,252,598 | 45,484 | 14,939 | 33% |
| 2002 | 1,274,213 | 68,226 | 25,220 | 37% |
| 2003 | 1,295,656 | 90,968 | 37,345 | 41% |
| 2004 | 1,316,791 | 113,710 | 51,114 | 45% |
| 2005 | 1,337,264 | 136,452 | 66,240 | 49% |
| 2006 | 1,357,066 | 159,194 | 82,424 | 52% |
| 2007 | 1,376,186 | 181,936 | 99,330 | 55% |
| 2008 | 1,394,931 | 204,678 | 116,646 | 57% |
| 2009 | 1,413,612 | 227,420 | 134,120 | 59% |

- Total Number of Customers is the forecast of all residential customers, from the June 1999 Forecast.

- Total number of eligible new homes constructed in FPC's territory.

- Annual Number of Measure Participants is the projected number of cumulative measure applications from all measures promoted by this program.  Because customer can install multiple measures, the actual number of participants will be less.

Savings Estimates

Total program savings were developed by first estimating the total savings for each individual measure based on each measure’s (1) per customer savings and, (2) annual projected participation.  The total program savings were then computed as the sum of the individual measure savings, and are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 470 | 0.864 | 0.425 | 3,083,000 | 5,670 | 2,786 |
| 2001 | 469 | 0.870 | 0.426 | 7,011,000 | 12,995 | 6,370 |
| 2002 | 469 | 0.875 | 0.428 | 11,826,000 | 22,059 | 10,788 |
| 2003 | 469 | 0.879 | 0.429 | 17,500,000 | 32,814 | 16,018 |
| 2004 | 468 | 0.882 | 0.430 | 23,937,000 | 45,075 | 21,972 |
| 2005 | 468 | 0.884 | 0.431 | 31,006,000 | 58,578 | 28,520 |
| 2006 | 468 | 0.886 | 0.431 | 38,569,000 | 73,054 | 35,537 |
| 2007 | 468 | 0.888 | 0.432 | 46,465,000 | 88,186 | 42,868 |
| 2008 | 468 | 0.889 | 0.432 | 54,554,000 | 103,691 | 50,379 |
| 2009 | 468 | 0.890 | 0.432 | 62,715,000 | 119,337 | 57,959 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 493 | 0.902 | 0.450 | 3,238,074 | 5,918 | 2,949 |
| 2001 | 492 | 0.908 | 0.451 | 7,363,653 | 13,564 | 6,743 |
| 2002 | 492 | 0.913 | 0.453 | 12,420,847 | 23,025 | 11,421 |
| 2003 | 492 | 0.918 | 0.454 | 18,380,250 | 34,251 | 16,958 |
| 2004 | 491 | 0.921 | 0.455 | 25,141,031 | 47,049 | 23,261 |
| 2005 | 491 | 0.923 | 0.456 | 32,565,601 | 61,143 | 30,194 |
| 2006 | 491 | 0.925 | 0.456 | 40,509020 | 76,253 | 37,623 |
| 2007 | 491 | 0.927 | 0.457 | 48,802,189 | 92,048 | 45,384 |
| 2008 | 491 | 0.928 | 0.457 | 57,298,066 | 108,232 | 53,336 |
| 2009 | 491 | 0.929 | 0.457 | 65,869,564 | 124,563 | 61,361 |

Impact Evaluation Plan

The Residential New Construction program includes the installation of varied types of measures.  As such, the impact evaluation plan should address interactive effects of multiple measures.  In order to capture the impacts of these measures, engineering simulations and statistical billing analysis will represent the primary methods used to estimate demand and energy impacts, although the specific method may vary depending on measure-specific participation levels.  These analyses may be supported by residential end-use metering data, where feasible.

Cost-Effectiveness

The economic results of the program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 45,795 | 40,630 | 5,165 | 1.13 |
| Participant | 35,305 | 11,740 | 23,565 | 3.01 |
| Total Resource Cost | 45,795 | 17,065 | 28,730 | 2.68 |

D.	Low Income Weatherization Assistance Program

Program Start Date:	▸ 2000

Policies and Procedures

The Low-Income Weatherization Assistance program (LIWAP) is the umbrella program to improve energy efficiency for low-income customers in existing residential housing.  It combines efficiency improvements to the thermal envelope with upgraded electric appliances.  The program seeks to meet the following goals:

- Integrate FPC's LIWAP procedures with the Department of Community Affairs (DCA) and local weatherization providers to deliver energy efficiency measures to low-income families.

- Identify and educate contractors and low income customers about energy saving opportunities to improve home energy efficiency.

- Increase low-income families’ participation in FPC's DSM programs.

- Minimize "lost opportunities" in the existing marketplace.

The program provides incentives for attic insulation upgrades, duct testing and repair, reduced air infiltration, water heater wrap, HVAC maintenance, high efficiency heat pumps, heat recovery units, and dedicated heat pump water heaters.  The program eligibility requirements to qualify for participation are as follows:

- The residence must be in FPC's service area and be a residential FPC metered customer.

- Must meet Florida's weatherization low-income criteria in addition to income requirements required by DCA.

- Homes must be greater than two years old.

- Homes having previously received FPC incentives for listed measures are not eligible for the same measure.  Attic insulation and duct repairs have special exemptions as outlined in the Home Energy Improvement Program.

- A DCA approved provider or their approved contractors must perform all work.  FPC approved contractors may be used.

Incentive levels and specific eligibility requirements for each measure promoted in this program will be presented in the Program Participation Standards.

Attic Insulation Upgrade

This portion of the program encourages customers to add insulation to the ceiling area by paying a portion of the installed cost.  The home must have an existing insulation level of less than R-12 to participate.  The customer must have either whole house electric cooling or electric heating to be eligible for this program.  The maximum incentive available will be $100 per residence, the specific incentive is determined by the resulting insulation level.

Duct Test and Repair

This portion of the program is designed to encourage eligible customers to improve their central duct system by reducing the air leakage rate.  This is accomplished by performing a duct leakage test, then offering to repair the leakage that is discovered by the duct test.  The home must have central ducted electric cooling and electric heat to participate in this measure.  For a duct test, FPC will pay up to a maximum of $30 for the first unit and $20 for each additional unit at the same address.  For the duct repair, FPC will pay an incentive of up to $100 per unit.

Reduced Air Infiltration

The weatherization provider must demonstrate a minimum reduction of air infiltration into the home of 1500 cfm at 50 pascals to receive a $75 incentive.  The home must not exceed ASHRAE Standard 92.2-1989 for acceptable indoor air quality.

Water Heater Wrap/Replacement

The weatherization provider will wrap the water heater with an insulation value of at least R-6 side and R-8 top and insulate the pipes a minimum of 3 feet extending from the tank.  The temperature will be set down to 120 degrees.  To defray the cost of purchasing a high efficiency water heater, in lieu of installing an insulating jacket, the same $25 incentive would apply.

High Efficiency Electric Heat Pumps

For high efficient electric heat pumps, FPC will provide an incentive up to $350 per unit.  The specific incentive available is dependent upon the efficiency level of the unit installed and the type of electric heat the new equipment is replacing.  In order to qualify for an incentive, both the air handler and the outdoor condensing unit shall be replaced, and both units shall be new.  This program seeks to accommodate emergency replacement situations by allowing a participant to have a home energy audit conducted after the installation and still be eligible for the incentive.

High Efficiency Alternate Water Heating

The high efficiency water heating portion of this program promotes technologies that heat water more efficiently than a standard electric water heater and save energy.  The incentive depends on the type of technology being installed.  For heat recovery units, FPC will provide an incentive of $100 per residence.  For dedicated heat pump water heaters, FPC will provide an incentive of $200 per unit.

Heating and Air Conditioning Maintenance

To maximize efficiency a $40 incentive will be provided for a Heating & Air Conditioning contractor to perform service/tune-up maintenance on existing electric central heating and air conditioning systems.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers [2] | Annual Number of Measure Participants [3] | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 1,230,736 | 1,500 | 293 | 20% |
| 2001 | 1,252,598 | 3,030 | 768 | 25% |
| 2002 | 1,274,213 | 4,591 | 1,293 | 28% |
| 2003 | 1,295,656 | 6,183 | 1,818 | 29% |
| 2004 | 1,316,791 | 7,808 | 2,343 | 30% |
| 2005 | 1,337,264 | 9,466 | 2,868 | 30% |
| 2006 | 1,357,066 | 11,157 | 3,393 | 30% |
| 2007 | 1,376,186 | 12,882 | 3,918 | 30% |
| 2008 | 1,394,931 | 14,642 | 4,443 | 30% |
| 2009 | 1,413,612 | 16,437 | 4,968 | 30% |

- Total Number of Customers is the forecast of all residential customers, from the June 1999 Forecast.

- Total number of Eligible Customers that are weatherized by local weatherization assistance providers.

- Annual Number of Measure Participants is the projected number of cumulative measure installations from all measures promoted by this program.  Because customers can install multiple measures, the actual number of participants will be less.

Savings Estimates

Total program savings were developed by first estimating the total savings for each individual measure based on each measure’s (1) per customer savings and, (2) annual projected participation.  The total program savings were then computed as the sum of the individual measure savings, and are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 354 | 0.574 | 0.255 | 104,000 | 168 | 75 |
| 2001 | 360 | 0.596 | 0.260 | 276,000 | 457 | 200 |
| 2002 | 354 | 0.594 | 0.254 | 458,000 | 768 | 328 |
| 2003 | 352 | 0.593 | 0.251 | 640,000 | 1,078 | 457 |
| 2004 | 351 | 0.592 | 0.250 | 822,000 | 1,388 | 586 |
| 2005 | 350 | 0.592 | 0.249 | 1,004,000 | 1,698 | 714 |
| 2006 | 350 | 0.592 | 0.248 | 1,186,000 | 2,008 | 843 |
| 2007 | 349 | 0.592 | 0.248 | 1,369,000 | 2,318 | 971 |
| 2008 | 349 | 0.592 | 0.248 | 1,551,000 | 2,628 | 1,100 |
| 2009 | 349 | 0.591 | 0.247 | 1,733,000 | 2,938 | 1,228 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 371 | 0.599 | 0.270 | 109,231 | 175 | 79 |
| 2001 | 378 | 0.622 | 0.275 | 289,882 | 477 | 211 |
| 2002 | 371 | 0.620 | 0.269 | 481,037 | 801 | 347 |
| 2003 | 369 | 0.619 | 0.266 | 672,192 | 1,125 | 483 |
| 2004 | 368 | 0.618 | 0.265 | 863,346 | 1,448 | 620 |
| 2005 | 367 | 0.618 | 0.264 | 1,054,501 | 1,772 | 755 |
| 2006 | 367 | 0.618 | 0.263 | 1,245,655 | 2,095 | 892 |
| 2007 | 366 | 0.618 | 0.263 | 1,437,860 | 2,419 | 1,027 |
| 2008 | 366 | 0.618 | 0.263 | 1,629,015 | 2,743 | 1,164 |
| 2009 | 366 | 0.617 | 0.261 | 1,820,169 | 3,066 | 1,300 |

Impact Evaluation Plan

The impact evaluation plan for an “umbrella” program such as this requires a varied approach given the number and type of measures being promoted.  Some measures provide large per unit impacts while other yield relatively smaller impacts.  The total impact from all smaller-impact measures could be potentially less than the uncertainty around an impact estimate of just one large measure.  Consequently, the impact evaluation will place greater emphasis on the larger impact measures.  The method of impact evaluation may vary depending on the participation levels actually achieved for each measure.  Engineering analysis and statistical billing analysis represents the primary methods that will be used to estimate demand and energy impacts.  These analyses will be supported by residential end-use metering data.

Cost-Effectiveness

The economic results of the program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 1,630 | 1,602 | 28 | 1.02 |
| Participant | 1,330 | 0 | 1,330 | 9999 |
| Total Resource Cost | 1,630 | 272 | 1,358 | 5.99 |

E.	Residential Energy Management Program

Program Start Date:	▸ 1981

▸ Program modified in 1995

▸ Proposed modification for 2000

Policies and Procedures

Residential Energy Management is a voluntary customer program that allows FPC to reduce peak demand and defer generation construction.  Peak demand is reduced by interrupting service to selected electrical equipment with radio controlled switches installed on the customers premises.  These controlled interruptions are at FPC's option, during specified time periods, and coincident with hours of peak demand.

FPC has recently determined that it is no longer cost-effective under the RIM test to continue adding new participants to the current Residential Energy Management program, as described in rate schedule RSL-1.  (Pages III-33 through III-35 present the results of all three Commission-approved tests of cost-effectiveness.)  The Company also recognizes and seeks to balance the broad range of issues associated with a program whose participation rate is about forty-percent of it’s entire residential customer base.  As a result, FPC is proposing to modify the program in such a way as to improve program cost-effectiveness, ensure adequate near-term reserve margins, minimize customer reaction and inconvenience, and optimize reserve margin mix in the long-term.  This proposal involves modifying the current program into two components.

Year-Round Energy Management

The Year-Round Energy Management component of the program will be the current Residential Energy Management Program (rate schedule RSL-1).  However, because it is no longer cost-effective to add new participants to the existing program, FPC is proposing to close this component of the program to all customers who are not current participants.  All existing Residential Energy Management program participants will be allowed to remain on the year-round program if they do not change their control schedule.  Therefore, no existing participants will be affected by this change, as long as they remain on their existing control schedule.  Also, prior to April 1, 2001 all new occupants of an active Energy Management equipped residence will be treated as an existing participant and allowed on the year-round component, if they maintain the same Energy Management control schedule as the previous occupants and do not require a service trip.  Any participant that alters their current control schedule such that it requires a service trip, will no longer be eligible to continue on this Year-Round component of the program.

Maintaining existing program participants on the Energy Management program through the winter of 2001 is especially important given the relatively large amount of non-firm load provided by this program, as well as the need to provide a minimum fifteen percent reserve margin.  Any significant loss of program participation directly increases firm load, and reduces FPC’s already tight near-term planned reserve margins.  This is the primary reason behind allowing new occupants of an active Energy Management equipped home to automatically continue service under the previous occupants Year-Round Energy Management rate schedule prior to April 1, 2001.  In addition, this transition period will provide the time needed to organize and complete the operational components required to actually implement these proposed changes (i.e., contractor support and training, systems programming, etc.).  However, the Company also recognizes the need to begin shifting program participation away from the Year-Round Energy Management Component.  To meet both of these objectives, FPC proposes to substantially reduce the number of existing participants on the year-round component of the program beginning April 1, 2001.  As of this date, FPC expects to have sufficient reserves to allow a ramping down of the year-round program component with no deleterious effects on reserve margins.  The ramp-down will be accomplished by no longer offering new occupants of an active Energy Management equipped residence the ability to continue the previous occupant’s service under the Year-Round Energy Management rate schedule.  This strategy is expected to minimize any negative customer reaction, since it does not affect existing participants that do not change their occupancy status or control schedule.

Proposed changes to the RSL-1 rate schedule (in legislative format) are presented in the Appendix to this document.

Winter-Only Energy Management

The proposed Winter-Only Energy Management component of the program represents a modified, cost-effective version of the current Residential Energy Management program, and is outlined in the proposed new rate schedule RSL-2 (see Appendix).  It provides for winter only (November through March) direct load control of customer’s electric water heating and central electric heating appliances.  Eligible participants must have both appliances on the program and will receive monthly credits during the potential control months.  The amount of the credits are identical to those under the current Residential Energy Management program (rate schedule RSL-1) except that they are payable only during the winter months.

Since no new participation will be eligible for the Year-Round Energy Management component, this new Winter Only Energy Management component will enable FPC to continue to provide customers a cost-effective alternative to standard residential service that can help lower their electric bills as well as reduce FPC’s winter peak demand.  The program solidly passes the RIM Test, with benefit-cost ratios of 1.24.  Pages III-37 through III-39 present the results for all three Commission-approved tests of cost-effectiveness.

There are three primary differences between the current Residential Energy Management Program (i.e., proposed Year-Round Residential Energy Management component) and the proposed Winter-Only Energy Management component:

- The current program offers customers a credit for the ability to exercise direct load control on any combination of their electric pool pump, water heating, central heating, and/or central cooling appliances.  The proposed Winter-Only Energy Management component only provides a credit for direct load control of electric water heating and central electric heating appliances.

- The current program allows direct load control to be exercised throughout the year and pays an incentive every month of the year.  The proposed Winter-Only Energy Management component allows the use of direct load control only during the five winter months of November through March, and only provides a credit during those winter months.

- The current program offers two possible control schedules for electric central heating equipment:  10 minutes maximum control or 16.5 minutes maximum control in any 30 minute period.  For the proposed Winter-Only Energy Management component, only one heating schedule will be offered:  16.5 minute maximum control in any 30 minute period.

Program Participation

Cumulative program participation estimates beginning in the year 2000 are shown in the following table, and reflect new equipment installations under the Winter-Only Energy Management component of the program.  There are no new participants (i.e., new Energy Management installations) projected for the Year-Round Energy Management component.

Winter-Only Energy Management

| Year | Total Number of Customers [1] | Total Number of Eligible Customers [2] | Annual Number of Program Participants [3] | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 1,230,736 | 605,337 | 5,000 | .008% |
| 2001 | 1,252,598 | 622,827 | 10,625 | .017% |
| 2002 | 1,274,213 | 640,119 | 16,875 | .026% |
| 2003 | 1,295,656 | 657,273 | 23,750 | .036% |
| 2004 | 1,316,791 | 674,181 | 31,250 | .046% |
| 2005 | 1,337,264 | 690,560 | 38,750 | .056% |
| 2006 | 1,357,066 | 706,401 | 45,625 | .065% |
| 2007 | 1,376,186 | 721,697 | 51,875 | .072% |
| 2008 | 1,394,931 | 736,693 | 57,500 | .078% |
| 2009 | 1,413,612 | 751,638 | 62,500 | .083% |

- Total Number of Customers is the forecast of all residential customers, from the June 1999 Forecast.

- Total numbers of eligible customers are all residential customers not already on the Residential Energy Management program.

Savings Estimates

The total program savings shown in the following tables reflect the demand and energy savings associated with the new program participants projected for the Winter-Only Energy Management component of the program.  Since there will be no new participants or savings from the Year-Round Energy Management component, only the savings from the Winter-Only component will be used to meet FPC’s Commission approved conservation goals.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 0 | 2.110 | 0 | 0 | 10,550 | 0 |
| 2001 | 0 | 2.110 | 0 | 0 | 22,419 | 0 |
| 2002 | 0 | 2.110 | 0 | 0 | 35,606 | 0 |
| 2003 | 0 | 2.110 | 0 | 0 | 50,113 | 0 |
| 2004 | 0 | 2.110 | 0 | 0 | 65,938 | 0 |
| 2005 | 0 | 2.110 | 0 | 0 | 81,763 | 0 |
| 2006 | 0 | 2.110 | 0 | 0 | 96,269 | 0 |
| 2007 | 0 | 2.110 | 0 | 0 | 109,456 | 0 |
| 2008 | 0 | 2.110 | 0 | 0 | 121,325 | 0 |
| 2009 | 0 | 2.110 | 0 | 0 | 131,875 | 0 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 0 | 2.202 | 0 | 0 | 11,012 | 0 |
| 2001 | 0 | 2.202 | 0 | 0 | 23,400 | 0 |
| 2002 | 0 | 2.202 | 0 | 0 | 37,165 | 0 |
| 2003 | 0 | 2.202 | 0 | 0 | 52,307 | 0 |
| 2004 | 0 | 2.202 | 0 | 0 | 68,826 | 0 |
| 2005 | 0 | 2.202 | 0 | 0 | 85,344 | 0 |
| 2006 | 0 | 2.202 | 0 | 0 | 100,485 | 0 |
| 2007 | 0 | 2.202 | 0 | 0 | 114,250 | 0 |
| 2008 | 0 | 2.202 | 0 | 0 | 126,639 | 0 |
| 2009 | 0 | 2.202 | 0 | 0 | 137,651 | 0 |

Impact Evaluation Plan

FPC is in the process of conducting a residential end-use metering study that will be used to estimate the appliance level, and duty-cycle impacts of residential load control.  This end-use metering data will be used to perform engineering and statistical analysis to estimate the impacts of the program.

Cost-Effectiveness

1.	The following economic results for the current year-round Residential Energy Management program:

Current Year-Round Residential Energy Management Program

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 82,516 | 98,117 | -15,601 | 0.81 |
| Participant | 69,545 | 2 | 69,543 | 9999 |
| Total Resource Cost | 82,514 | 28,572 | 53,942 | 2.76 |

Cost-Effectiveness  (Cont’d)

2.	The following economic results are for the proposed new Winter-Only Energy Management program component:

Winter-Only Energy Management

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 37,282 | 28,800 | 8,482 | 1.24 |
| Participant | 11,277 | 0 | 11,277 | 9999 |
| Total Resource Cost | 37,282 | 17,524 | 19,759 | 2.05 |

IV.	Commercial/Industrial

CONSERVATION Programs

IV.	Commercial/Industrial Conservation Programs

Florida Power Corporation’s DSM Plan includes eight (8) commercial/industrial programs:

- Business Energy Check  -  C/I energy audits

- Better Business  -  “umbrella” program for existing facilities

- C/I New Construction  -  “umbrella” program for new construction facilities

- Innovation Incentive  -  custom measures

- Commercial Energy Management  -  C/I load control:  Rate Tariff GSLM-1

- Standby Generation  -  Rate Tariff GSLM-2

- Interruptible Service  -  Rate Tariff IS-2

- Curtailable Service  -  Rate Tariff CS-2

Each program is described in detail in the following sections.

A.	Business Energy Check Program

Program Start Date:	▸ 1995

Policies and Procedures

The Business Energy Check is FPC’s energy audit program.  It provides commercial and industrial (C/I) customers with an assessment of the current energy usage at their facility and information on low-cost energy efficiency measures.  This program serves as the foundation for FPC’s other DSM programs targeted toward existing C/I construction and, in most cases, it is a prerequisite for participation in the other C/I programs.

The Business Energy Check consists of two types of audits:

Level 1:	Free Walk-Through Audit (Inspection)

Level 2:	Paid Walk-Through Audit (Energy Analysis)

All commercial, industrial, and governmental retail customers of FPC are eligible to have either level conducted on any of their buildings located in FPC’s service territory.  There is no charge for the Level 1 inspection, while there is a nominal customer charge for the Level 2 energy analysis.  When a customer requests a Business Energy Check, they will be given the option of scheduling a Level 1 inspection or a Level 2 energy analysis.  The specific details on the procedures for each level of audit will be presented in the Program Participation Standards.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers | Annual Number of Program Participants [2] | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 163,576 | 145,483 | 1,000 | 1% |
| 2001 | 166,984 | 148,335 | 2,000 | 1% |
| 2002 | 170,356 | 151,155 | 3,000 | 2% |
| 2003 | 173,705 | 153,952 | 4,000 | 3% |
| 2004 | 177,016 | 156,710 | 5,000 | 3% |
| 2005 | 180,239 | 159,380 | 6,000 | 4% |
| 2006 | 183,373 | 161,963 | 7,000 | 4% |
| 2007 | 186,419 | 164,456 | 8,000 | 5% |
| 2008 | 189,416 | 166,901 | 9,000 | 5% |
| 2009 | 192,406 | 169,338 | 10,000 | 6% |

1.	Total Number of Customers is the forecast of all commercial and industrial customers, from the June 1999 forecast.

2.	Annual Number of Program Participants is the cumulative number of audits that are projected to be conducted.

Savings Estimates

The total program savings were developed based on historical FPC audits and a review of C/I audit impacts.  These estimates include impacts directly resulting from the standard audit recommendations, including the installation of low-cost energy efficiency measures.  In addition, customer-specific savings may result from site-specific recommendations that the auditor makes at the time of the audit, but which are not included in the standard audit form.  These impacts will be calculated on a case-by-case basis and added to the standard impacts.  The total program savings are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 300 | 0.14 | 0.14 | 300,000 | 140 | 140 |
| 2001 | 300 | 0.14 | 0.14 | 600,000 | 280 | 280 |
| 2002 | 300 | 0.14 | 0.14 | 900,000 | 420 | 420 |
| 2003 | 300 | 0.14 | 0.14 | 1,200,000 | 560 | 560 |
| 2004 | 300 | 0.14 | 0.14 | 1,500,000 | 700 | 700 |
| 2005 | 300 | 0.14 | 0.14 | 1,800,000 | 840 | 840 |
| 2006 | 300 | 0.14 | 0.14 | 2,100,000 | 980 | 980 |
| 2007 | 300 | 0.14 | 0.14 | 2,400,000 | 1,120 | 1,120 |
| 2008 | 300 | 0.14 | 0.14 | 2,700,000 | 1,260 | 1,260 |
| 2009 | 300 | 0.14 | 0.14 | 3,000,000 | 1,400 | 1,400 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 315 | 0.15 | 0.15 | 315,270 | 146 | 148 |
| 2001 | 315 | 0.15 | 0.15 | 630,540 | 293 | 295 |
| 2002 | 315 | 0.15 | 0.15 | 945,810 | 439 | 443 |
| 2003 | 315 | 0.15 | 0.15 | 1,261,080 | 586 | 591 |
| 2004 | 315 | 0.15 | 0.15 | 1,576,350 | 732 | 739 |
| 2005 | 315 | 0.15 | 0.15 | 1,891,620 | 879 | 886 |
| 2006 | 315 | 0.15 | 0.15 | 2,206,890 | 1,025 | 1,034 |
| 2007 | 315 | 0.15 | 0.15 | 2,522,160 | 1,172 | 1,182 |
| 2008 | 315 | 0.15 | 0.15 | 2,837,430 | 1,318 | 1,330 |
| 2009 | 315 | 0.15 | 0.15 | 3,152,700 | 1,465 | 1,477 |

Impact Evaluation Plan

The range of possible recommendations resulting from the audit, and the inclusion of both technological and behavioral recommendations suggests the need to carefully survey participants to determine what specific actions have been undertaken due to the completed audit.  Initially, the use of site-specific engineering estimates is likely to be the most cost-effective method of estimating program impacts, although the use of statistical analysis technique may also be considered, depending on the participation levels actually achieved.

B.	Better Business Program

Program Start Date:	▸ 1995

▸ Proposed modification for 2000

Policies and Procedures

The Better Business program is the umbrella efficiency program for existing commercial and industrial customers.  Better Business builds on the Business Energy Check by using the audit to initiate FPC involvement in the customer's facility (participating in Business Energy Check is a prerequisite for receiving most of the incentives).  This program provides customers with information, education, and advice on energy-related issues and incentives on efficiency measures that are cost-effective to FPC and its customers.  Better Business promotes energy efficient heating, ventilation, air conditioning, motors, and some building retrofit measures (in particular, roof insulation upgrade, duct leakage test and repair, and window film retrofit).  FPC proposes to remove incentives for Heat Recovery Units, which have previously been offered through this program.

The general eligibility requirements are as follows:

- The participant must be a FPC commercial, industrial, or governmental customer.

- Equipment must be installed in facilities located in the FPC service territory and served by a metered FPC account.

- A Business Energy Check audit (Level 1 or 2) must be completed prior to the purchase or installation of all measures (with the exception of motors).

- The participant must be willing to allow FPC to inspect the installation of all measures and equipment prior to receiving any incentive payments.

- All equipment installations shall meet manufacturers’ instructions and specifications.

Incentive levels and specific eligibility requirements for each measure promoted in this program will be presented in the Program Participation Standards and will be subject to revision based on changes in market conditions, such as baseline or code revisions, evaluation findings, or technological advances.

HVAC Equipment

The HVAC equipment component of Better Business provides customers with information on high efficiency HVAC equipment and financial incentives for the purchase of very high efficiency unitary heat pumps and air conditioners, packaged rooftop units, packaged terminal heat pumps (PTHPs), and water-cooled and air-cooled chillers.  The incentive is calculated for each unit based on the kW difference between the high efficiency unit and the program-specified baseline efficiency (at ARI Standard Test Rating Conditions) and is calculated using a dollar per kW reduced incentive up to a maximum of $100/kW reduced.

Motors

The program promotes the installation of high efficiency polyphase motors through a simple incentive structure.  The incentive for any given motor is calculated based on the motor size and a specified $/hp.  The maximum incentive amount will be $2.00 per hp and the specific incentive amount will be a function of the motor size.  To maintain cost-effectiveness, a minimum number of motors per application will be established for motors that are 25 hp and smaller.  The Business Energy Check is not required to receive this incentive.

Roof Insulation Upgrade

This portion of the program encourages customers who have electric space heat to add insulation to the roof area by paying for a portion of the installed cost.  The facility must have an existing roof insulation level less than R-12 to participate and must be heated by electricity in order to receive the incentive.  Heat loss and heat gain calculations must show that the additional insulation would result in heating and/or cooling energy use reductions in order to be eligible for an incentive.  The maximum incentive amount will be $100 per customer and the specific incentive amount that a customer is eligible to receive will be a function of the resulting insulation level.

Duct Leakage Test and Repair

This portion of the program is designed to promote energy efficiency through improved duct system sealing.  Through the use of an inspection tool, such as a blower-door, duct leaks can be identified and repaired.  This program component applies to HVAC equipment and systems that are no larger than 65,000 Btu/h.  A customer must have electric heating (no facilities with combustion appliances are allowed to participate) and a centrally-ducted cooling system, either air conditioning or heat pump, to be eligible for this program.  If a building has excess ventilation such that the building can not be pressurized, the building may not be eligible for participation.  For the duct test, FPC will pay an incentive of up to a maximum of $30 for the first unit tested and $20 for each additional unit tested.  For the duct repair, FPC will pay an incentive of up to a maximum of $100 per unit.  The duct repair incentive amount is dependent on the type of electric heating system.

Window Film

FPC will provide customers with an incentive to install window film having a shading coefficient of 0.45 or less on existing east or west windows with shading coefficients of 0.84 or higher.  The maximum incentive will be a flat amount per square-foot of window film installed.  The total incentive per customer can not exceed $125.  An exception to this limitation will be made for facilities with multiple guest rooms, such as hotels, motels, hospitals, and assisted-care living facilities, which may receive incentives up to a maximum of $50 per room.

Financing

FPC is also offering interest-free installment billing (over a 12-month period).  As an alternative to receiving an incentive payment, customers may opt to finance up to $500 through installment billing.  Installment billing allows the customer to spread the cost over 12 months at no interest.  The installment billing payments will be billed monthly.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| - Year | - Total Number of Customers [1] | - Total Number of Eligible Customers | - Annual Number of Measure Participants [2] | - Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| - 2000 | - 938,991 | - 938,991 | - 4,123 | - 0.4% |
| - 2001 | - 966,999 | - 966,999 | - 8,151 | - 1% |
| - 2002 | - 996,029 | - 996,029 | - 12,347 | - 1% |
| - 2003 | - 1,026,116 | - 1,026,116 | - 16,571 | - 2% |
| - 2004 | - 1,048,843 | - 1,048,843 | - 20,756 | - 2% |
| - 2005 | - 1,072,198 | - 1,072,198 | - 24,947 | - 2% |
| - 2006 | - 1,096,103 | - 1,096,103 | - 28,693 | - 3% |
| - 2007 | - 1,120,653 | - 1,120,653 | - 32,260 | - 3% |
| - 2008 | - 1,139,300 | - 1,139,300 | - 35,714 | - 3% |
| - 2009 | - 1,158,339 | - 1,158,339 | - 39,001 | - 3% |

- 1.	Total Number of Customers is the forecast of commercial floorspace (in 000s of sq.ft.).

- 2.	Annual Number of Measure Participants is the cumulative floorspace (in 000s sq.ft.) projected to participate, assuming no measure overlap.

Savings Estimates

Total program savings were developed by first estimating the total savings for each individual measure based on each measure’s (1) per customer savings and, (2) annual projected participation.  The total program savings were then computed as the sum of the individual measure savings, and are shown in the following tables.

| - At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Measure kWh Reduction | Per Measure Winter kW Reduction | Per Measure Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 337 | 0.14 | 0.19 | 1,390,261 | 560 | 787 |
| 2001 | 302 | 0.13 | 0.16 | 2,464,851 | 1,049 | 1,297 |
| 2002 | 290 | 0.12 | 0.15 | 3,575,760 | 1,532 | 1,847 |
| 2003 | 283 | 0.12 | 0.14 | 4,695,076 | 2,019 | 2,400 |
| 2004 | 281 | 0.12 | 0.14 | 5,830,782 | 2,514 | 2,962 |
| 2005 | 281 | 0.12 | 0.14 | 7,013,017 | 3,016 | 3,561 |
| 2006 | 281 | 0.12 | 0.14 | 8,076,121 | 3,471 | 4,094 |
| 2007 | 284 | 0.12 | 0.14 | 9,162,477 | 3,932 | 4,647 |
| 2008 | 282 | 0.12 | 0.14 | 10,082,487 | 4,374 | 5,021 |
| 2009 | 288 | 0.12 | 0.14 | 11,228,961 | 4,841 | 5,628 |

| - At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Measure kWh Reduction | Per Measure Winter kW Reduction | Per Measure Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 354 | 0.14 | 0.20 | 1,460,973 | 586 | 831 |
| 2001 | 318 | 0.13 | 0.17 | 2,590,312 | 1,098 | 1,368 |
| 2002 | 304 | 0.13 | 0.16 | 3,757,766 | 1,603 | 1,949 |
| 2003 | 298 | 0.13 | 0.15 | 4,934,055 | 2,113 | 2,533 |
| 2004 | 295 | 0.13 | 0.15 | 6,127,569 | 2,631 | 3,126 |
| 2005 | 295 | 0.13 | 0.15 | 7,369,980 | 3,156 | 3,758 |
| 2006 | 296 | 0.13 | 0.15 | 8,487,196 | 3,632 | 4,321 |
| 2007 | 298 | 0.13 | 0.15 | 9,628,847 | 4,114 | 4,904 |
| 2008 | 297 | 0.13 | 0.15 | 10,595,686 | 4,576 | 5,299 |
| 2009 | 303 | 0.13 | 0.15 | 11,800,515 | 5,066 | 5,940 |

- Per measure impacts for 2000-2009 are per 1000 sq.ft., assuming no overlap.

- Per measure impacts vary from year to year because of the changing mix of measures assumed to be installed in any given year.

Impact Evaluation Plan

The impact evaluation plan for an "umbrella" program such as this requires a varied approach given the number and type of measures being promoted.  Some measures provide large per unit impacts while others yield relatively smaller impacts.  The total impact from all smaller-impact measures could potentially be less than the uncertainty around an impact estimate of just one large-impact measure.  Consequently, the impact evaluation will place greater emphasis on the larger-impact measures.  The method of impact evaluation may vary depending on the participation levels actually achieved for each measure.  Engineering analysis and statistical billing analysis will represent the primary methods used to estimate demand and energy impacts.  On-site metering may also be used where feasible and cost-effective.

Cost Effectiveness

The economic results of the program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 6,537 | 5,776 | 761 | 1.13 |
| Participant | 5,602 | 1,963 | 3,639 | 2.85 |
| Total Resource Cost | 6,537 | 2,137 | 4,400 | 3.06 |

C.	Commercial/Industrial New Construction Program

Program Start Date:	▸ 1995

▸ Proposed modification for 2000

Policies and Procedures

The primary goal of the FPC’s Commercial/Industrial (C/I) New Construction program is to foster the design and construction of energy efficient buildings. The new construction program will:  1) provide education and information to the design community on all aspects of energy efficient building design; 2) require that the building design, at a minimum, surpass the state energy code; 3) provide financial incentives for specific energy efficient equipment; and 4) provide energy design awards to building design teams.  The program will simultaneously target building developers/owners and the building design community and will work one-on-one with them throughout a new construction project.  FPC will focus on developing relationships with the key decision-makers of commercial and industrial new construction so as to be able to get involved early in the design process.  FPC proposes to remove incentives for Duct Leakage Testing and Repair, which have previously been offered through this program.

The general eligibility requirements are as follows:

- The new construction project location must be established within FPC’s service territory.

- The new construction building must be served by a FPC account prior to the issuance of any incentive payment.

- The participant must be willing to allow FPC to inspect the installation of all measures and equipment prior to receiving any incentive payments.

- All equipment installations shall meet manufacturers’ instructions and specifications.

Incentives will be provided for high efficiency HVAC equipment, motors, and heat recovery units.  Incentive levels and specific eligibility requirements for each of the measures promoted in this program will be presented in the Program Participation Standards and will be subject to revision based on changes in market conditions, such as baseline or code revisions, evaluation findings, or technological advances.

- HVAC Equipment

The HVAC equipment component of C/I New Construction provides customers with information on high efficiency HVAC equipment and financial incentives for the purchase of very high efficiency unitary heat pumps and air conditioners, packaged rooftop units, packaged terminal heat pumps (PTHPs), and water-cooled and air-cooled chillers.  The incentive is calculated for each unit based on the kW difference between the high efficiency unit and the program-specified baseline efficiency (at ARI Standard Test Rating Conditions) and is calculated using a dollar per kW reduced incentive up to $100/kW reduced.

- Motors

The program promotes the installation of high efficiency polyphase motors through a simple incentive structure.  The incentive for any given motor is calculated based on the motor size and a specified $/hp.  The maximum incentive amount will be up to $2.00 per hp and the specific incentive amount will be a function of the motor size.  To maintain cost-effectiveness, a minimum number of motors per application will be established for motors that are 25 hp and smaller.

- Heat Recovery Units

The program promotes the installation of heat recovery units for water heating by providing an incentive for each unit installed.  FPC will pay a maximum incentive of up to $100 per unit when installed on heat pumps or straight air units that are five tons or less.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers [2} | Annual Number of Measure Participants [3] | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 938,991 | 27,037 | 1,613 | 6% |
| 2001 | 966,999 | 55,045 | 3,154 | 6% |
| 2002 | 996,029 | 84,075 | 4,912 | 6% |
| 2003 | 1,026,116 | 114,162 | 6,892 | 6% |
| 2004 | 1,048,843 | 136,889 | 9,085 | 7% |
| 2005 | 1,072,198 | 160,245 | 11,464 | 7% |
| 2006 | 1,096,103 | 184,149 | 13,811 | 7% |
| 2007 | 1,120,653 | 208,700 | 16,248 | 8% |
| 2008 | 1,139,300 | 227,346 | 18,777 | 8% |
| 2009 | 1,158,339 | 246,385 | 21,349 | 9% |

- 1.	Total Number of Customers is the forecast of commercial floorspace (in 000s of sq.ft.).

- 2.	Total Number of Eligible Customers is the forecast of cumulative commercial floorspace additions after 1999 (in 000s of sq.ft.),

- 3.	Annual Number of Measure Participants is the cumulative floorspace (in 000s of sq.ft.) projected to participate, assuming no measure overlap.

Savings Estimates

Total program savings were developed by first estimating the total savings for each individual measure based on each measure’s (1) per customer savings and, (2) annual projected participation.  The total program savings were then computed as the sum of the individual measure savings, and are shown in the following tables.

| - At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Measure kWh Reduction | Per Measure Winter kW Reduction | Per Measure Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 226 | 0.13 | 0.15 | 364,326 | 214 | 248 |
| 2001 | 216 | 0.13 | 0.14 | 679,977 | 395 | 455 |
| 2002 | 207 | 0.12 | 0.14 | 1,016,653 | 584 | 669 |
| 2003 | 199 | 0.11 | 0.13 | 1,374,479 | 782 | 889 |
| 2004 | 193 | 0.11 | 0.12 | 1,753,030 | 989 | 1,116 |
| 2005 | 188 | 0.11 | 0.12 | 2,150,031 | 1,204 | 1,349 |
| 2006 | 183 | 0.10 | 0.11 | 2,531,132 | 1,408 | 1,569 |
| 2007 | 180 | 0.10 | 0.11 | 2,922,778 | 1,618 | 1,793 |
| 2008 | 177 | 0.10 | 0.11 | 3,325,734 | 1,833 | 2,022 |
| 2009 | 175 | 0.10 | 0.11 | 3,736,460 | 2,052 | 2,256 |

| - At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Measure kWh Reduction | Per Measure Winter kW Reduction | Per Measure Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 237 | 0.14 | 0.16 | 382,870 | 224 | 261 |
| 2001 | 227 | 0.13 | 0.15 | 714,588 | 413 | 480 |
| 2002 | 218 | 0.12 | 0.14 | 1,068,401 | 611 | 706 |
| 2003 | 210 | 0.12 | 0.14 | 1,444,440 | 818 | 938 |
| 2004 | 203 | 0.11 | 0.13 | 1,842,259 | 1,036 | 1,178 |
| 2005 | 197 | 0.11 | 0.12 | 2,259,468 | 1,260 | 1,423 |
| 2006 | 193 | 0.11 | 0.12 | 2,659,967 | 1,474 | 1,655 |
| 2007 | 189 | 0.10 | 0.12 | 3,071,547 | 1,693 | 1,892 |
| 2008 | 186 | 0.10 | 0.11 | 3,495,014 | 1,918 | 2,134 |
| 2009 | 184 | 0.10 | 0.11 | 3,926,646 | 2,147 | 2,381 |

- Per measure impacts for 2000-2009 are per 1000 sq.ft., assuming no overlap.

- Per measure impacts vary from year to year because of the changing mix of measures assumed to be installed in any given year.

Impact Evaluation Plan

The impact evaluation plan for an "umbrella" program such as this requires a varied approach, given the number and type of measures being promoted.  Some measures provide large per unit impacts while others yield relatively smaller impacts.  The total impact from all smaller-impact measures could potentially be less than the uncertainty around an impact estimate of just one large-impact measure.  Consequently, the impact evaluation will place greater emphasis on the larger-impact measures.  The method of impact evaluation may vary depending on the participation levels actually achieved for each measure.  Engineering analysis and statistical billing analysis will represent the primary methods used to estimate demand and energy impacts.  On-site metering may also be used, where feasible and cost-effective.

Cost Effectiveness

The economic results of the program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 1,948 | 1,855 | 93 | 1.05 |
| Participant | 1,727 | 448 | 1,279 | 3.86 |
| Total Resource Cost | 1,948 | 576 | 1,372 | 3.38 |

D.	Innovation Incentive Program

Program Start Date:	▸ 1992

▸ Modified in 1995

Policies and Procedures

The Innovation Incentive program promotes a reduction in kW and kWh by subsidizing energy conservation projects for customers in the FPC service territory.  The intent of the program is to encourage legitimate energy efficiency measures that reduce peak kW demand and/or kWh energy, but which are not addressed by other programs.

Energy efficiency opportunities are identified by FPC representatives during a Business Energy Check audit and are presented to the customer as part of the Business Energy Check report.  Requirements for participation in this program are also explained to the customer at that time.  If the customer chooses to implement modifications to effect energy efficiency improvements that are not addressed in other FPC energy efficiency programs, the modifications would be eligible for consideration under this program.

Representative examples of energy efficient technologies that would be considered under this program include, but are not limited to, refrigeration equipment replacements to improve efficiency, thermal energy storage systems, microwave drying systems, and inductive heating systems to replace resistance heating systems.

The program is available to all business customers in FPC’s territory for projects that reduce peak demand by a minimum of 10 kW.

Program eligibility requirements to qualify for participation are as follows:

- Participant must be located in the FPC service territory and be a metered business customer.

- The customer is required to have an audit (any level) completed by FPC prior to participation in the program, except in the case of new construction projects.

- Projects must reduce or shift peak demand by a minimum of 10 kW.

- The participant must be willing to allow FPC to inspect the installations of all measures and equipment.

If the described project meets the program specifications, FPC will provide project approval and projected incentive payment amounts.  Engineering designs, cost estimates, and energy savings projections must be submitted under a professional seal, when necessary.  The customer may be required to monitor the project after completion to verify kW and kWh savings.  Monitoring methods shall be approved by FPC.  Costs for monitoring equipment should be included in the overall project cost estimate.

FPC will perform a customer-specific cost-effectiveness analysis for each project being considered under the Innovation Incentive program, using the Commission-approved cost-effectiveness tests described in Rule 25-17.008, Florida Administrative Code.  To receive an incentive, each project must pass the Rate Impact Measure (RIM) and Participant tests of cost-effectiveness.  The customer’s incentive shall be based upon the RIM results, with the maximum allowable rebate being $150 per peak kW reduced or shifted to an off peak period.

After FPC has reviewed and approved the project, a contract will be executed between FPC and the customer, in which FPC agrees to subsidize the customer upon completion of the project.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers [2] | Annual Number of Program Participants | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 163,576 | 3,333 | 1 | 0 |
| 2001 | 166,984 | 3,398 | 3 | 0 |
| 2002 | 170,356 | 3,463 | 4 | 0 |
| 2003 | 173,705 | 3,527 | 6 | 0 |
| 2004 | 177,016 | 3,590 | 7 | 0 |
| 2005 | 180,239 | 3,651 | 8 | 0 |
| 2006 | 183,373 | 3,710 | 9 | 0 |
| 2007 | 186,419 | 3,767 | 10 | 0 |
| 2008 | 189,416 | 3,823 | 11 | 0 |
| 2009 | 192,406 | 3,879 | 12 | 0 |

- 1.	Total Number of Customers is the forecast of all commercial and industrial customers, from the June 1999 forecast.

- 2.	Total Number of Eligible Customers is based on the total number of customers whose peak monthly demand exceeds 100 kW.

Savings Estimates

The total program savings are shown in the following tables.

| - At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 120,047 | 70 | 70 | 120,047 | 70 | 70 |
| 2001 | 120,047 | 70 | 70 | 360,141 | 210 | 210 |
| 2002 | 120,047 | 70 | 70 | 480,188 | 280 | 280 |
| 2003 | 120,047 | 70 | 70 | 720,282 | 420 | 420 |
| 2004 | 120,047 | 70 | 70 | 840,329 | 490 | 490 |
| 2005 | 120,047 | 70 | 70 | 960,376 | 560 | 560 |
| 2006 | 120,047 | 70 | 70 | 1,080,423 | 630 | 630 |
| 2007 | 120,047 | 70 | 70 | 1,200,470 | 700 | 700 |
| 2008 | 120,047 | 70 | 70 | 1,320,517 | 770 | 770 |
| 2009 | 120,047 | 70 | 70 | 1,440,564 | 840 | 840 |

| - At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 126,157 | 73 | 73 | 126,157 | 73 | 74 |
| 2001 | 126,157 | 73 | 73 | 378,472 | 220 | 222 |
| 2002 | 126,157 | 73 | 73 | 504,630 | 293 | 295 |
| 2003 | 126,157 | 73 | 73 | 456,944 | 439 | 443 |
| 2004 | 126,157 | 73 | 73 | 883,102 | 513 | 517 |
| 2005 | 126,157 | 73 | 73 | 1,009,259 | 586 | 591 |
| 2006 | 126,157 | 73 | 73 | 1,135,417 | 659 | 665 |
| 2007 | 126,157 | 73 | 73 | 1,261,574 | 732 | 739 |
| 2008 | 126,157 | 73 | 73 | 1,387,731 | 806 | 813 |
| 2009 | 126,157 | 73 | 73 | 1,513,889 | 879 | 886 |

Impact Evaluation Plan

To verify the estimated savings for each project, an engineering/billing analysis based on customer-specific site and usage data will be performed.  Monitoring will continue until FPC has reasonable assurance that the project will remain in place and produce cost-effective energy savings for its estimated life.  An incentive will not be issued to the customer until FPC is reasonably sure of the projected savings.

- Cost Effectiveness

Each individual project will be analyzed for cost-effectiveness at the time of project submittal to FPC, using the Commission-approved tests of cost-effectiveness.  Therefore, total program cost-effectiveness results are not shown.  All projects must achieve a benefit-cost ratio of at least 1.0 on the RIM and Participant tests to receive an incentive under this program.

E.	Commercial Energy Management Program

Revised 3/7/2000

Program Start Date:	▸ 1983

▸ Modified in 1995

▸ Proposed modification for 2000

Policies and Procedures

The Commercial Energy Management program is a direct load control program that reduces FPC's demand during peak or emergency conditions.  FPC will have direct control of the customer’s selected participating equipment.  The customer will receive a monthly credit on their bill depending on the interruption schedule and the devices which are participating in the program.  (Please refer to the GSLM-1 tariff for details.)

The program is available to FPC customers eligible for service under the GS-1, GST-1, GSD-1, or GSDT-1 rate schedules, and who elect service under the GSLM-1 rate schedule and have electric space cooling equipment suitable for interruptible operation.  The program is also applicable to customers who have any of the following electrical equipment installed on permanent residential structures and utilized for domestic (household) purposes:  (1) water heater(s), (2) central electric heating system(s), (3) central electric cooling system(s), and/or (4) swimming pool pump(s).  Customers must be within the range of the Company’s load management system in order to be eligible for the program.

Like the Residential Energy Management Program, FPC has determined that it is no longer cost-effective under the RIM test to continue adding new participants to the Commercial Energy Management program.  (Pages IV-28 through IV-30 present the results of all three Commission-approved tests of cost-effectiveness.)  As a result, the Company is proposing to close the program to new participants.

Domestic Commercial Energy Management

Currently, for domestically utilized equipment (i.e., the domestic (household) commercial portion of the Commercial Energy Management program), the GSLM-1 rate schedule simply references the Residential Energy Management’s RSL-1 tariff in regard to control schedules and credit structure.  FPC’s proposed domestic commercial modifications will continue this direct link, as well as include a reference to the proposed new RSL-2 (Winter-Only) rate schedule, for all existing buildings that have an active Energy Management installation.  The primary changes to the Domestic Commercial Energy Management portion of the program are as follows:

- The program will be closed to new participation, such that there will be no new domestic Commercial Energy Management installations.

- All existing domestic commercial Energy Management participants will be allowed to remain on the existing year-round program as long as they do not change their current control schedule.

- Prior to April 1, 2001, all new customer accounts associated with an active Energy Management-equipped building will be treated as an existing participant and allowed on the existing year-round program, if they maintain the same control schedules as the previous customer and do not require a service trip.  If any changes in control schedule are made, then the customer will only be eligible for the proposed new Winter-Only RSL-2 rate schedule.  (For details on this Winter-Only rate schedule, please see the Residential Energy Management Program, and the proposed RSL-2 rate schedule.)

- Beginning April 1, 2001, new customer accounts associated with an active Energy Management equipped building will no longer be eligible to continue the previous participant’s service under the existing year-round Energy Management rate schedule.  However, they will be eligible for the proposed new Winter-Only RSL-2 rate schedule.

Non-Domestic Commercial Energy Management

The non-domestic portion of the Commercial Energy Management Program is a summer-only component that offers an incentive for direct load control of electric cooling equipment.  This is opposite of the direction FPC seeks to move the Residential Energy Management program, which would only allow new participants on a winter-only control schedule.  FPC is, therefore, proposing that this non-domestic portion of the program be closed to new participation.  All existing non-domestic commercial Energy Management participants will be allowed to remain on the existing program, as long as they do not change their current control schedule such that it requires a service trip.  However, new customer accounts will not be eligible to continue a previous participant’s service under this program.

Proposed changes to the GSLM-1 rate schedule (in legislative format) are presented in the Appendix to this document.

Program Participation

Given FPC’s proposal to close the Commercial Energy Management Program to new participants, there are not projected to be any new participation during the 2000-2009 period.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers | Annual Number of Program Participants | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 163,576 | 145,483 | 0 | 0% |
| 2001 | 166,984 | 148,335 | 0 | 0% |
| 2002 | 170,356 | 151,155 | 0 | 0% |
| 2003 | 173,705 | 153,952 | 0 | 0% |
| 2004 | 177,016 | 156,710 | 0 | 0% |
| 2005 | 180,239 | 159,380 | 0 | 0% |
| 2006 | 183,373 | 161,963 | 0 | 0% |
| 2007 | 186,419 | 164,456 | 0 | 0% |
| 2008 | 189,416 | 166,901 | 0 | 0% |
| 2009 | 192,406 | 169,338 | 0 | 0% |

- Total Number of Customers is the forecast of all commercial and industrial customers, from the June 1999 forecast.

Savings Estimates

The total program savings for the Winter-Only Energy Management component of the program are shown in the following tables.  Since there will be no new participants or savings from the Commercial Energy Management component, this program will not be used to meet FPC’s Commission-approved conservation goals.

| - At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Measure kWh Reduction | Per Measure Winter kW Reduction | Per Measure Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2001 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2002 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2003 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2004 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2005 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2006 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2007 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2008 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2009 | 0 | 0 | 0 | 0 | 0 | 0 |

| - At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Measure kWh Reduction | Per Measure Winter kW Reduction | Per Measure Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2001 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2002 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2003 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2004 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2005 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2006 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2007 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2008 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2009 | 0 | 0 | 0 | 0 | 0 | 0 |

Impact Evaluation Plan

Since FPC is proposing to close this program to all new participation, and allow attrition to slowly end the existing program, FPC plans to maintain only a minimal evaluation effort that will use existing resources to address the domestic (household) portion of this program.  As noted in the Residential Energy Management Program, FPC is in the process of conducting a residential end-use metering study that will be used to estimate the appliance level, and duty-cycle impacts of residential load control.  This same data will be applied to the domestic portion of the Commercial Energy Management program to improve program impact estimates.

Cost Effectiveness

The following economic results are for the current Commercial Energy Management Program:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 144 | 187 | -43 | 0.79 |
| Participant | 56 | 0 | 56 | 9999 |
| Total Resource Cost | 144 | 131 | 13 | 1.13 |

F.	Standby Generation Program

Program Start Date:	▸ 1993

▸ Modified in 1995

Policies and Procedures

The Standby Generation program is a demand control program that will reduce FPC's demand based upon the indirect control of customer equipment.  The program is a voluntary program available to all commercial and industrial customers who have on-site generation capability and are willing to reduce their FPC demand when FPC deems it necessary.  The program is offered through the General Service Load Management-2 (GSLM-2) rate schedule.

FPC will have no direct control of the customer's equipment, but will rely upon the customer to initiate the generation upon being notified by FPC and continue running it until FPC notifies the customer that the generation is no longer needed.  FPC does not restrict other use of the equipment by the customer.

Standby Generation program participants will receive a monthly credit on their energy bill according to the demonstrated ability of the customer to reduce demand at FPC's request.  The credit will be based upon the load served by the customer’s generator, which would have been served by FPC if the Standby Generation program were not in operation.  By compensating the customer for the use of their on-site generation, FPC can impact the commercial and industrial market while minimizing rate impacts.

The general program eligibility requirements to qualify for participation are as follows:

- Customer must be eligible for service under the GS-1, GST-1, GSD-1 or GSDT-1 Rate Schedules.

- Customer must have standby generation that will allow facility demand reduction at the request of FPC.

- Customer’s Standby Generation Capacity calculation must be at least 50 kW.

- Customer must be within the range of FPC’s load management system.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers [2] | Annual Number of Program Participants | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 163,576 | 538 | 5 | 1% |
| 2001 | 166,984 | 549 | 10 | 2% |
| 2002 | 170,356 | 559 | 15 | 3% |
| 2003 | 173,705 | 570 | 20 | 4% |
| 2004 | 177,016 | 580 | 25 | 4% |
| 2005 | 180,239 | 590 | 30 | 5% |
| 2006 | 183,373 | 599 | 35 | 6% |
| 2007 | 186,419 | 608 | 40 | 7% |
| 2008 | 189,416 | 618 | 45 | 7% |
| 2009 | 192,406 | 627 | 50 | 8% |

- 1.	Total Number of Customers is the forecast of all commercial and industrial customers, from the June 1999 forecast.

- 2.	Total Number of Eligible Customers is based on the total number of customers having on-site generation.

Savings Estimates

The kW and kWh savings estimates for this program were determined from historical data and are presented below.

| - At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 5,910 | 600 | 600 | 29,550 | 3,000 | 3,000 |
| 2001 | 5,910 | 600 | 600 | 59,100 | 6,000 | 6,000 |
| 2002 | 5,910 | 600 | 600 | 88,650 | 9,000 | 9,000 |
| 2003 | 5,910 | 600 | 600 | 118,200 | 12,000 | 12,000 |
| 2004 | 5,910 | 600 | 600 | 147,750 | 15,000 | 15,000 |
| 2005 | 5,910 | 600 | 600 | 177,300 | 18,000 | 18,000 |
| 2006 | 5,910 | 600 | 600 | 206,850 | 21,000 | 21,000 |
| 2007 | 5,910 | 600 | 600 | 236,400 | 24,000 | 24,000 |
| 2008 | 5,910 | 600 | 600 | 265,950 | 27,000 | 27,000 |
| 2009 | 5,910 | 600 | 600 | 295,500 | 30,000 | 30,000 |

| - At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 6,211 | 628 | 633 | 31,054 | 3,139 | 3,166 |
| 2001 | 6,211 | 628 | 633 | 62,108 | 6,278 | 6,332 |
| 2002 | 6,211 | 628 | 633 | 93,162 | 9,418 | 9,498 |
| 2003 | 6,211 | 628 | 633 | 124,216 | 12,557 | 12,664 |
| 2004 | 6,211 | 628 | 633 | 155,270 | 15,696 | 15,830 |
| 2005 | 6,211 | 628 | 633 | 186,325 | 18,835 | 18,995 |
| 2006 | 6,211 | 628 | 633 | 217,379 | 21,974 | 22,161 |
| 2007 | 6,211 | 628 | 633 | 248,433 | 25,114 | 25,327 |
| 2008 | 6,211 | 628 | 633 | 279,487 | 28,253 | 28,493 |
| 2009 | 6,211 | 628 | 633 | 310,541 | 31,392 | 31,659 |

Impact Evaluation Plan

Revised 3/7/2000

FPC uses on-site metering to measure the generation capability of each Standby Generation program participant to reduce load at the time they join the program.  The customer and a FPC representative will observe the metering tests to determine the load that the standby generator carries.  This system testing will also determine the initial readings that will be recorded in order to determine the incentive that the customer will receive on their bill each month.  Engineering analysis is used to estimate on-going program savings for each participant based upon monitoring their generator usage.

Cost Effectiveness

The economic results of the program are as follows.

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 7,226 | 6,323 | 903 | 1.14 |
| Participant | 5,598 | 0 | 5,598 | 9999 |
| Total Resource Cost | 7,226 | 725 | 6,501 | 9.97 |

Revised 3/7/2000

Revised 3/7/2000

Revised 3/7/2000

G.	Interruptible Service Program

Revised 3/7/2000

Program Start Date:	▸ 1996 for the IS-2 and IST-2 rate schedules.

Policies and Procedures

The Interruptible Service (IS) program is a direct load control program that reduces FPC's demand at times of capacity shortage during peak or emergency conditions.  The program is available throughout the entire territory served by FPC to any non-residential customer who is willing to have their power interrupted.  The program is currently offered through the Interruptible General Service (IS-2) and Interruptible General Service Time of Use (IST-2) rate schedules.  The IS-1 and IST-1 rate schedules were closed to new customers in 1996, but remain active for those customers that were grandfathered onto the rate.

FPC will have remote control of the circuit breaker or disconnect switch supplying the customer’s equipment.  If purchased power is available at the time of potential interruption, customers who choose not to have their load interrupted will be assessed at the price of that purchased power supplied.  Customers participating in the Interruptible Service program will receive a monthly interruptible demand credit based on their billing demand and billing load factor.  The general program eligibility requirements to qualify for participation are as follows:

- Customer must be eligible for service under the IS-2 or IST-2 Rate Schedules.

- Average billing demand must be 500 kW or more.

- Available at primary, transmission, and secondary service voltages.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers | Annual Number of Program Participants | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | 163,576 | 869 | 0 | 0 |
| 2001 | 166,984 | 891 | 0 | 0 |
| 2002 | 170,356 | 913 | 1 | 0 |
| 2003 | 173,705 | 936 | 1 | 0 |
| 2004 | 177,016 | 959 | 1 | 0 |
| 2005 | 180,239 | 983 | 1 | 0 |
| 2006 | 183,373 | 1,008 | 2 | 0 |
| 2007 | 186,419 | 1,033 | 2 | 0 |
| 2008 | 189,416 | 1,059 | 2 | 0 |
| 2009 | 192,406 | 1,086 | 2 | 0 |

1.	Total Number of Customers is the forecast of all commercial and industrial customers, from the June 1999 forecast.

Savings Estimates

Savings estimate for the Interruptible Service program are shown in the following tables.

| - At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 4,250 | 500 | 440 | 0 | 0 | 0 |
| 2001 | 4,250 | 500 | 440 | 0 | 0 | 0 |
| 2002 | 4,250 | 500 | 440 | 4,250 | 500 | 440 |
| 2003 | 4,250 | 500 | 440 | 4,250 | 500 | 440 |
| 2004 | 4,250 | 500 | 440 | 4,250 | 500 | 440 |
| 2005 | 4,250 | 500 | 440 | 4,250 | 500 | 440 |
| 2006 | 4,250 | 500 | 440 | 8,500 | 1000 | 880 |
| 2007 | 4,250 | 500 | 440 | 8,500 | 1000 | 880 |
| 2008 | 4,250 | 500 | 440 | 8,500 | 1000 | 880 |
| 2009 | 4,250 | 500 | 440 | 8,500 | 1000 | 880 |

| - At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 4,466 | 523 | 464 | 0 | 0 | 0 |
| 2001 | 4,466 | 523 | 464 | 0 | 0 | 0 |
| 2002 | 4,466 | 523 | 464 | 4,466 | 523 | 464 |
| 2003 | 4,466 | 523 | 464 | 4,466 | 523 | 464 |
| 2004 | 4,466 | 523 | 464 | 4,466 | 523 | 464 |
| 2005 | 4,466 | 523 | 464 | 4,466 | 523 | 464 |
| 2006 | 4,466 | 523 | 464 | 8,933 | 1,046 | 929 |
| 2007 | 4,466 | 523 | 464 | 8,933 | 1,046 | 929 |
| 2008 | 4,466 | 523 | 464 | 8,933 | 1,046 | 929 |
| 2009 | 4,466 | 523 | 464 | 8,933 | 1,046 | 929 |

Impact Evaluation Plan

Program impacts are evaluated through on-site interval metering data of all Interruptible Service customers.

Cost-Effectiveness

The cost-effectiveness results of the Interruptible Service program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 272 | 270 | 2 | 1.00 |
| Participant | 190 | 0 | 190 | 9999 |
| Total Resource Cost | 272 | 80 | 192 | 3.39 |

H.	Curtailable Service Program

Revised 3/7/2000

Program Start Date:	▸ 1996 for the CS-2 and CST-2 rate schedules.

Policies and Procedures

The Curtailable Service (CS) program is a direct load control program that will reduce FPC's demand at times of capacity shortage during peak or emergency conditions.  The program is available throughout the entire territory served by FPC to any non-residential customer who agrees to curtail 25% of their average monthly billing demand.  The program is currently offered through the Curtailable General Service (CS-2) and Curtailable General Service Time of Use (CST-2) rate schedules.  The CS-1 and CST-1 rate schedules were closed to new customers in 1996, but remain active for those customers that were grandfathered onto the rate.

FPC will have remote control of the circuit breaker or disconnect switch supplying the customer's equipment.  If purchased power is available at the time of potential curtailment, customers who choose not to reduce their load will be assessed at the price of that purchased power.  Customers participating in the Curtailable Service program receive a monthly curtailable demand credit based on their curtailable demand and billing load factor.  The general program eligibility requirements to qualify for participation are as follows:

- Customer must be eligible for service under the CS-2 or CST-2 Rate Schedules.

- Average billing demand must be 500 kW or more.

- Available at primary, transmission, and secondary service voltages.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers [1] | Total Number of Eligible Customers | Annual Number of Program Participants | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2000 | - 163,576 | - 869 | 0 | 0 |
| 2001 | - 166,984 | - 891 | 0 | 0 |
| 2002 | - 170,356 | - 913 | 0 | 0 |
| 2003 | - 173,705 | - 936 | 0 | 0 |
| 2004 | - 177,016 | - 959 | 0 | 0 |
| 2005 | - 180,239 | - 983 | 0 | 0 |
| 2006 | - 183,373 | - 1,008 | 0 | 0 |
| 2007 | - 186,419 | - 1,033 | 0 | 0 |
| 2008 | - 189,416 | - 1,059 | 0 | 0 |
| 2009 | - 192,406 | - 1,086 | 0 | 0 |

1.	Total Number of Customers is the forecast of all commercial and industrial customers, from the June 1999 forecast.

Savings Estimates

Savings estimate for the Curtailable Service program are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2001 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2002 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2003 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2004 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2005 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2006 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2007 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2008 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2009 | 0 | 0 | 0 | 0 | 0 | 0 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2000 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2001 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2002 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2003 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2004 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2005 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2006 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2007 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2008 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2009 | 0 | 0 | 0 | 0 | 0 | 0 |

Impact Evaluation Plan

Program impacts are evaluated through on-site interval metering data of all Curtailable Service customers.

Cost-Effectiveness

Even though FPC is projecting no new participants for the Curtailable Service Program, in order to evaluate the program for cost-effectiveness a minimal level of participation (one participant every other year) was assumed.  The cost-effectiveness results of the Curtailable Service program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 634 | 479 | 154 | 1.32 |
| Participant | 251 | 0 | 251 | 9999 |
| Total Resource Cost | 634 | 228 | 405 | 2.77 |

V.	Technology Development PROGRAM

V.	Technology Development Program

Program Start Date:	▸ 1995

Policies and Procedures

The purpose of this program is to establish a system for meeting the goals in Section 366.82(2), Florida Statutes, and Rule 25-17, Florida Administrative Code.  Specifically, the following is stated in Rule 25-17.001, {5}(f):  “Aggressively pursue research, development, and demonstration projects jointly with others as well as individual projects in individual service areas.”

Florida Power Corporation will undertake certain development and demonstration projects which have promise to become cost-effective demand and energy efficiency programs.  In general, each research and development project that is proposed and investigated will proceed as follows:

- Project concept or idea development

- Project research and design, including estimated costs and benefits

- Conduct field test or pilot program

- Evaluation of field test or pilot program, including cost-effectiveness

- Acceptance or rejection of project for continuation as a program

- If accepted in Item #5 above, application to the FPSC for approval to implement the program

Eligible customers will be determined during the project research and design phase, which will be dependent on the type of project being proposed and investigated.  However, it is anticipated that only retail customers will be involved.

Each project that is proposed and investigated will have to meet one or more of the goals identified in Section 366.82(2), Florida Statutes, and Rule 25-17, Florida Administrative Code.  If not, it will not proceed beyond the project concept or idea phase in Item #1 above.

Program Participation

In most cases, each demand reduction and energy efficiency project that is proposed and investigated under this program will require field testing with actual customers.  These projects will offer services or products to eligible customers, after being defined in the project research and design phase, on a voluntary basis.

Examples of potential projects that may be funded under this program include demand reduction energy efficiency techniques, market transformation initiatives, indoor air quality measures, thermal energy storage technologies, and innovative metering approaches.  All costs including incentives and rebates that are offered will be included as part of the pre-approved project expenditures under this program.

At the discretion of the Company, expenditures up to $800,000 annually may be made and recovered through the conservation cost recovery clause for all energy efficiency and conservation projects that are proposed and investigated.  If any single project’s expenditures exceed $100,000, a status report will be filed as a component of the Conservation Cost Recovery Projection and True-Up filings.  The status report will identify each project under investigation with disbursements exceeding $100,000, the scope and purpose of the project, its development schedule identifying accomplishments and projections, and the project’s actual and proposed expenditures for FPSC staff review.  If any project (or combination of projects) expenditures are projected to exceed the $800,000 annual limit available under this program and are sufficiently worthy of special consideration, the Company will apply to the FPSC staff for approval to proceed.

Finally, the Company will account for and maintain records of all expenses for each project in accordance with Rule 25-17.015, Florida Administrative Code.

Savings Estimates

This program makes it possible to obtain and use actual data from field tests, instead of relying heavily on engineering assumptions, model results, estimates, and so forth.  Benefit and cost figures derived from these projects will be more reliable and projectable, allowing better assessment of future demand reduction and energy efficiency programs submitted to the FPSC for approval.

A second benefit resulting from this development program is that the procedure uncovers benefits, costs, and disadvantages that may be overlooked by an engineering estimate or evaluation.  During field tests, not only planned elements, but also unplanned elements are encountered.  Actual experience on a small scale is obtained.  This should facilitate the decision-making process and improve the success rate of approved programs.

Consequently, program savings were not estimated during the planning stage and are not included in the DSM Plan totals.  Any impacts obtained by this program will be calculated for each individual project and will be reported to the FPSC to be counted toward achieving FPC’s conservation goals.

Impact Evaluation Plan

The methodology for monitoring and evaluating a project that is submitted to the FPSC for approval as a program shall be determined during the project research and design phase and shall be refined during the field test or pilot program phase.  Since projects will normally include a field test or pilot program, the data will be actual rather than estimated.  In the event a project does not involve a field test or pilot program, the estimated or modeled savings will be fully documented with the methodology used.

Cost-Effectiveness

The cost-effectiveness of each project submitted to the FPSC for approval to be implemented as a program shall be analyzed and reported using the Commission-approved cost-effectiveness tests.

Planned Projects

FPC agreed to pursue the following as part of the Commission approved stipulation between FPC and the Legal Environmental Assistance Foundation (LEAF):

1.	New Construction “Energy Star” Initiative -- HVAC Diagnostics

FPC proposed in the stipulation with LEAF to “Research and evaluate the energy impacts from required HVAC airflow and proper refrigerant charging through year-end 2000.”  This research will determine the feasibility of any future enhancement to the New Construction program involving these measures.

2.	Photovoltaic Initiative – R&D Project

This proposed R&D project under FPC’s Technology Development Program is designed to standardize pre-packaged, roof-mounted photovoltaic (PV) systems for manufactured buildings.  The PV systems will be connected to the utility grid.  The primary objective is to reduce the labor costs associated with the installation of PV systems in the field.  This would be accomplished by installing PV system hardware and a balance of system components in a factory environment where the processes can be streamlined.  The project will install an estimated 8 kWp of PV arrays in total.  The system will be between 1 and 2 kWp each and will be installed on six to eight buildings.  The proposed project will be responsive to the Federal Government’s Million Solar Roofs initiative and current goals of the Florida Energy Office and Sandia National Labs and will provide the following benefits:

·	The proposed PV project will provide education and develop efficiencies in the expanding manufactured building trade for the increased use of PV in the future.

·	The proposed project will allow FPC to add a component of “green” power to its generation mix.

·	With the assistance of the Florida Solar Energy Center, FPC will have the opportunity to monitor the proposed project and gain insight into the impact of distributed generation on FPC’s grid.

Appendix -- Proposed

Tariff Revisions and Additions

Contractors, builders, builder/owners, and property managers are synonymous.

Exception would be for multi-family housing above three stories in height.