1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 041375-EI

3

In the Matter of:

4

REQUEST TO EXCLUDE APRIL 11-12, 2004

5   AND JUNE 13, 24, AND 26, 2004 OUTAGE

EVENTS FROM ANNUAL DISTRIBUTION SERVICE

6   RELIABILITY REPORT BY TAMPA ELECTRIC

COMPANY.

7   ________________________________________/

8

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

9                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

10            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

11

PROCEEDINGS:        AGENDA CONFERENCE

12                       ITEM NO. 12

13

BEFORE:             CHAIRMAN BRAULIO L. BAEZ

14                       COMMISSIONER J. TERRY DEASON

COMMISSIONER RUDOLPH "RUDY" BRADLEY

15                       COMMISSIONER LISA POLAK EDGAR

16

DATE:               Tuesday, June 21, 2005

17

18

PLACE:              Betty Easley Conference Center

19                         Room 148

4075 Esplanade Way

20                       Tallahassee, Florida

21

REPORTED BY:        JANE FAUROT, RPR

22                       Official FPSC Hearings Reporter

(850) 413-6732

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   APPEARANCES:

2             JAMES BEASLEY, ESQUIRE, and Howard Bryant,

3   representing Tampa Electric Company.

4             COCHRAN KEATING, ESQUIRE, and JIM BREMAN,

5   representing the Florida Public Service Commission Staff.

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                        P R O C E E D I N G S

2             CHAIRMAN BAEZ:  Item 12.

3             MR. BREMAN:  Item 12.  My name is Jim Breman,

4   Commission staff, technical staff.

5             Item 12 is Tampa Electric Company's request to

6   exclude certain outage data from their annual distribution

7   reliability report per a weather event that happened on April

8   11th and 12th.  Staff is recommending denial of the petition.

9   Tampa Electric Company is here to make comments to the

10   Commission in support of its petition.

11             CHAIRMAN BAEZ:  Thank you, Mr. Breman.

12             Mr. Beasley.

13             MR. BEASLEY:  Yes, sir.  Mr. Chairman, Jim Beasley

14   for Tampa Electric Company.  Appearing with me today is Mr.

15   Howard Bryant, who is the manager of rates for Tampa Electric.

16   We appreciate the opportunity to appear before you.

17             I should start out by pointing out that the utilities

18   have taken to heart the comments and discussion that took place

19   at the last agenda conference when this subject arose.  We have

20   had the opportunity to have a workshop with all of the

21   investor-owned utilities, the staff, and other interested

22   parties.  And I think we are well on our way towards getting a

23   system that will streamline these types of requests and

24   minimize them, if not eliminate them.  But we are working in

25   that direction.

FLORIDA PUBLIC SERVICE COMMISSION

4

1             In particular, Tampa Electric and Progress Energy

2   have taken steps to withdraw a request that we filed with

3   respect to a severe storm that affected both utilities on

4   December 26th of last year.  And, as you will recall, at the

5   last agenda conference Tampa Electric voluntarily withdrew

6   requests related to some storms that occurred in June of last

7   year.

8             We haven't withdrawn this particular request,

9   however, since it relates to outages that were caused by the

10   exact same statewide storm that the Commission has already

11   determined warranted excluding these outages from the reporting

12   requirements for Progress Energy and Florida Power and Light

13   Company.

14             Since the service reliability indices that the

15   different utilities report are compared to one another, we felt

16   that fairness and equity supported granting Tampa Electric the

17   same exclusion of the outages of April 11 and 12, as you did

18   for the other two companies.  The storm did affect customers

19   system-wide for Tampa Electric Company with the SAIDI index

20   being some 30 times higher than normal for the daily average

21   for the month of April.  And the customer interruptions being

22   some 18 times greater than the average daily average for the

23   month of April.

24             So we respectfully urge that you grant Tampa

25   Electric's request to exclude the outages for reporting

FLORIDA PUBLIC SERVICE COMMISSION

5

1   purposes that related to the April 11 and 12 storm, the same as

2   you did for the other two utilities.  And we would be happy to

3   answer any questions you may have in that regard.

4             CHAIRMAN BAEZ:  Commissioners, questions?

5             COMMISSIONER DEASON:  I have a question for staff.  I

6   am concerned about comparability of information from utility to

7   utility.  And if we made an exception for this similar event

8   for another utility, and we do not do it for Tampa Electric,

9   are we somehow doing harm to the comparability of the data or

10   is this storm event different, so different in the TECO service

11   territory than in another's utility's territory that

12   comparability could still be maintained without the exemption?

13             MR. BREMAN:  I don't think comparability is affected

14   one way or the other, Commissioner.  Today's vote won't change

15   things.  The trend in TECO's data is what it is, and it is not

16   going to change to all of a sudden be favorable that

17   distribution reliability is improving.

18             COMMISSIONER DEASON:  Well, let me kind of rephrase

19   the question.  The events associated with this storm event or

20   the consequences, was it materially different in the TECO

21   territory than in other utilities' territory?

22             MR. BREMAN:  We didn't see evidence indicating that

23   the devastation that occurred was comparable.  I'm using

24   adjectives to try to draw the picture.  In the FPL docket, FPL

25   provided evidence indicating that it actually had to hire

FLORIDA PUBLIC SERVICE COMMISSION

6

1   outside sources to come and help them and restore service.  In

2   FPL's case, the event affected them similar to a tropical

3   storm, or say Bonnie of 2004, it affected other utilities in

4   the state.  And the April 13th event affected FPL that way.

5             In Progress' scenario, the data showed that there

6   were weather events extending from north and west of

7   Jacksonville all the way through to just north of Orlando.  And

8   it also affected Progress, that entire region for the dates

9   April 11th and 12th.

10             Tampa Electric Company has an expert that says that a

11   weather event occurred in the area somewhere between Tampa and

12   Brooksville, and it moved westward towards Orlando.  This is

13   new data that is different.  So the weather events that TECO

14   experienced, although it was on the same day, and there were

15   large thunderstorm events for the period of three days, the

16   precise cause of the outages that TECO is claiming to exclude

17   were distinctly different in location and intensity.  It is

18   sort of like saying a hurricane affected everybody in the

19   nation if it affected one.

20             COMMISSIONER DEASON:  Mr. Beasley, do you agree or

21   disagree with Mr. Breman's statement?

22             MR. BEASLEY:  I would call upon Mr. Bryant to

23   respond.

24             MR. BRYANT:  I think it does have an impact on

25   comparability.  And it is true that as the weather system made

FLORIDA PUBLIC SERVICE COMMISSION

7

1   its way across the state, it had different impacts on different

2   utilities.  And if you look at what it did in the Power and

3   Light area, I think their maximum winds that they saw were

4   gusts of around 70 miles an hour.  If you look at Progress, the

5   maximum winds that they saw was around 55 to 60 miles an hour.

6   In our area, with limited weather stations available, we had

7   the weather service report 30-mile-per-hour winds over toward

8   Winter Haven.  Yet within our area is the Ruskin Weather

9   Service, and the Ruskin Weather Service was reported in the

10   Power and Light data as experiencing 43-mile-an-hour winds.

11             So it did not affect us all equally.  Just as a

12   hurricane comes across the state, it is stronger on one side

13   than it is on the other side of the state.  But yet from the

14   standpoint of just simply being comparable in terms of

15   reporting data, that there was a weather system affecting the

16   state, and it had an impact on all the utilities.  That is why

17   we are simply asking for this to be considered.  And, again,

18   when you look at what the impact was on the April data relative

19   to a five-year average for April, it was some 30 times more

20   severe for that particular point in time.

21             CHAIRMAN BAEZ:  Commissioners, any questions?

22             I remember when we talked about the original two

23   petitions, and while I didn't say I was against them before

24   then, this is one of the fallout of that.  And I think Mr.

25   Bryant, whether intentionally or not, raises an interesting

FLORIDA PUBLIC SERVICE COMMISSION

8

1   point.  I mean, hurricanes physically come in one end of the

2   state at a certain level of intensity and affect others in

3   decreasing -- you now, the intensity decreases.  And I think

4   we've tried to set a line, and said if it was a named storm, if

5   it was something according to the National Weather Service,

6   then that's good enough, and it doesn't matter how fast it was

7   going or how intense it was moving.

8             Now we are moving the line down.  And although I will

9   confess to you I find it hard to say, you know what, weather

10   events that have already been identified all of a sudden don't

11   count for one utility.  You know, Commissioners, having said

12   that, I have a problem that this line is moving, and maybe we

13   need to regroup in our own rules, and whether the line has to

14   move south.  But let's make it a hard line, and not take it --

15   you know, not -- maybe we need to start thinking about that

16   before this becomes too gray an area for us to handle

17   efficiently.

18             Commissioners, I would defer for a motion.

19             COMMISSIONER DEASON:  I move staff's recommendation.

20             CHAIRMAN BAEZ:  There's a motion.  Is there a second?

21             COMMISSIONER EDGAR:  Give me a second.

22             CHAIRMAN BAEZ:  Okay.  I will give you a second for a

23   second.

24             COMMISSIONER EDGAR:  Let me pause for a moment, shall

25   I say.

FLORIDA PUBLIC SERVICE COMMISSION

9

1             COMMISSIONER DEASON:  Let me say I'm concerned about

2   comparability of data.  But, you know, it appears to me, based

3   upon the information that we have established, that this

4   particular storm event on April 11th and 12th, that it was less

5   severe in the TECO area than in the others, not meaning that it

6   wasn't significant.  And, you know, I don't know where you draw

7   the line.  But, Mr. Chairman, I agree with you.  It seems like

8   maybe the standard is eroding to some extent, and I have that

9   concern.

10             CHAIRMAN BAEZ:  I have a concern that it is eroding,

11   not that it should be moved.  I mean, I'm willing -- I can

12   accept the notion of there being weather events that qualify as

13   significant that don't necessarily get national coverage and

14   don't get FEMA or the National Guard involved.  I'm perfectly

15   willing to accept that those kinds of phenomena exist and that

16   there has to be some kind of objective verification.  I

17   remember saying that once upon a time.

18             So if the line as to what we accept for a waiver has

19   to move south, I'm okay with that, but there has to be a line.

20   We can't be -- you know, I guess we are going to come down on

21   separate sides of this, I can see, but I think we are coming at

22   it both from the same way.  We really need to -- there has to

23   be a line.  I don't care where it is, personally, but wherever

24   it is, you can't leave it subject to the interpretation of one

25   company to take a shot and say, hey, me too, or, you know, what

FLORIDA PUBLIC SERVICE COMMISSION

10

1   do you guys think.  We need to do a little bit better than

2   that.

3             Commissioner Edgar.

4             COMMISSIONER EDGAR:  Thank you.  I would just say,

5   Commissioner Deason, I'm sensing that we are at very similar

6   points, because it is the comparability of the data is why I

7   was pausing and trying to think through.  I believe reliable

8   reliability data is important.  And too many asterisks, or

9   exceptions to, and additional explaining information to a point

10   here or there on a chart does indeed compromise the utility of

11   the data.  And where that line is and at what point the wind

12   range and velocity needs to be, I am just unclear.  I just

13   don't know, so --

14             COMMISSIONER DEASON:  I'm unclear, as well.  And

15   maybe the scenario where we can't have a nice little simple

16   standard, you know, that is clear, and there is not a need for

17   exception.  But it sure would be nice.  I know this is

18   important.  I don't mean to minimize the importance of this,

19   but it would just be nice to have an understanding out there to

20   where there wouldn't be the need for these type petitions.  It

21   was just -- all the utilities would treat an event, a similar

22   event, in the same way.  And the comparability of the data

23   would be maintained, and we wouldn't have to be looking at each

24   individual one.  Maybe that is an unattainable goal, I don't

25   know, but I thought we had done some work in that area, or at

FLORIDA PUBLIC SERVICE COMMISSION

11

1   least had asked staff to do some work in that area.

2             MR. BREMAN:  We have done some work in that area and

3   some discussion.  To keep these exclusions from coming to the

4   Commission on a case-by-case basis ultimately would require a

5   rule change.  That is essentially the bottom line.  And whether

6   or not the utilities implement the rule change on their own

7   will so that there is no necessary process of formal rule

8   change, I don't know.  But we still have two petitions out

9   there that have not been withdrawn by Tampa Electric Company.

10             COMMISSIONER DEASON:  There is another one in

11   addition to this one?

12             MR. BREMAN:  There are two more in addition to this

13   one.

14             COMMISSIONER DEASON:  Two more in addition to this

15   one.

16             MR. BREMAN:  Waiting in the wings.

17             COMMISSIONER BRADLEY:  Let me ask this question

18   before we -- of staff.  What was the damage, the documented

19   damage that was done to the infrastructure?

20             MR. BREMAN:  It was more along the lines of fuses and

21   that kind of stuff that happen during thunderstorms.  Trees

22   touching lines and the consequences of that.

23             COMMISSIONER BRADLEY:  So there were power outages?

24             MR. BREMAN:  Yes, sir.

25             COMMISSIONER BRADLEY:  Okay.  So is it that staff is

FLORIDA PUBLIC SERVICE COMMISSION

12

1   having a problem dealing with lightning versus wind damage as a

2   catastrophic, as an event, as a weather event?

3             MR. BREMAN:  No, sir.  In this case we have a me-too

4   petition.  If TECO is filing a me-too petition, it has to

5   comport it to the same situation.  None of the other utilities

6   asserted that the primary cause of the outages was lightning.

7   There is no data in the filings for the other two utilities

8   that lightning was the primary cause of the outage.  But the

9   initial filing by Tampa Electric Company in this case had,

10   primarily, lightning as -- we had real bad lightning is

11   essentially how I read their petition as initially filed.

12             It was subsequent to the filing of their petition

13   that staff and TECO had dialogue saying if it is a me-too

14   petition, then we have to have comparable justification for the

15   exclusion.  At that time Tampa Electric Company then sought to

16   try to find comparable evidence of saying wind.  And the wind

17   phenomena that they were looking for is called a wake low.

18   They were looking for evidence of a wake low event, so that

19   their petition would be now comparable to that of FPL and

20   Progress.  So all of this dialogue of support for their

21   petition changed after their initial filing of their petition.

22             COMMISSIONER BRADLEY:  Okay.  I will go a step

23   further.  My concern would be that absent a hurricane, but a

24   thunderstorm, one geographical area might have rain, one might

25   have wind and one might have lightning out of the same storm

FLORIDA PUBLIC SERVICE COMMISSION

13

1   that is passing over.  And to me a me-too petition should be

2   valid if the weather pattern had those variances but was of the

3   same system.  I mean, it's pretty obvious that you can have

4   lightning in one area, rain and wind in another, and still have

5   outages as a result of the same pattern, which would make it a

6   me-too petition.  I mean, would make a me-too valid.  But is it

7   that staff has -- I mean, is it that a me-too petition should

8   be identical in terms of the --

9             MR. BREMAN:  Causes of outages.

10             COMMISSIONER BRADLEY:  Yes.

11             MR. BREMAN:  Yes, sir, I think so.  I think in

12   hurricanes, I think there is no doubt that the primary effect

13   of those type of outages that occur during hurricanes, and I

14   guess I need to be careful where I wander here, might be wind.

15             COMMISSIONER BRADLEY:  It could be water or rain.

16             MR. BREMAN:  There is some flooding.  We had a storm

17   this year, a named storm this year, and it flooded a certain

18   section of parts of Florida that are down southward of Lake

19   Okeechobee, but didn't have the same devastating floods in

20   other areas of Florida.  So even though the weather system cast

21   clouds and shadows over the majority of Florida for a period of

22   days, most of Florida wasn't really severely affected by the

23   weather event of this year.  I think staff does like to look at

24   comparability.

25             The other thing that really sort of frustrates staff,

FLORIDA PUBLIC SERVICE COMMISSION

14

1   and I guess this is my opportunity to stand on the box, is that

2   we don't have a standard for any particular one item.  There is

3   no performance standard set for how far back from the power

4   line does a utility keep trees trimmed.  There is no standard

5   about how lightning protection should be constructed.  So when

6   a utility comes forward, staff, who is used to doing prudence

7   reviews and trying to set rates based on those types of

8   reviews, is struggling to try to say, okay, there is no

9   standard, how do we do a prudence review and still not address

10   dollars?

11             And so this is the dilemma that we are sort of

12   learning as these petitions come in.  And we are also very

13   concerned that the threshold is eroding.  Because if you

14   approve an exclusion based on 40-mile-an-hour winds, tomorrow

15   you are going to see, or eventually you will see one with 38.

16   And if you approve the 38, you will see another one with

17   36-mile-an-hour winds.  And eventually at some point you are

18   just going to have no reliability data, or the data that is

19   reported is not reliable because of these regulatory events.

20   So staff is struggling with this, too.

21             CHAIRMAN BAEZ:  Commissioners?

22             COMMISSIONER EDGAR:  The slippery slope is before me.

23   Is there still a motion before us?

24             CHAIRMAN BAEZ:  There is.

25             COMMISSIONER EDGAR:  I will second.

FLORIDA PUBLIC SERVICE COMMISSION

15

1             CHAIRMAN BAEZ:  A motion and a second.  All those in

2   favor say aye.

3             COMMISSIONER DEASON:  Aye.

4             COMMISSIONER EDGAR:  Aye.

5             CHAIRMAN BAEZ:  All those nay?  I vote in the

6   negative.  That's 3-1.

7             COMMISSIONER BRADLEY:  I'm struggling with this.

8   Make that two nays, because I'm just having a problem.  And I

9   understand what -- well, this is not the time to discus it.  I

10   will just vote no.

11             CHAIRMAN BAEZ:  All right.  That leaves a 2-2 vote.

12   I guess --

13             COMMISSIONER DEASON:  The motion fails.

14             CHAIRMAN BAEZ:  -- the motion fails on a 2-2 vote.

15   We will go back to the drawing board.

16             I don't know if we are all arguing the same thing

17   just from different perspectives.  And, Commissioners, the

18   reason -- now that there is no motion on it, the reason that I

19   voted in the negative is this, is that we already recognize the

20   weather event.

21             Now, I appreciate Mr. Breman's point that, you know,

22   a basis for one was lightning, and a basis for the other was

23   wind, was increased winds, but I think Commissioner Bradley

24   raises a good point.  In a weather event it is very hard to

25   distinguish between the two.  So that perhaps that me-too

FLORIDA PUBLIC SERVICE COMMISSION

16

1   threshold or requirement has to get thought out in a -- we have

2   got to take some time to think that out.  And, really, that was

3   the nature of my vote.

4             And, frankly, I don't know how to -- well, let me ask

5   this. I remember when the reliability reports were coming out,

6   and I know that Tampa Electric is in the midst -- I don't know

7   if they have completed the changeover, but they were in the

8   midst of developing different systems or different processes in

9   order that they could modernize or kind of better marry up the

10   measurements or the criteria that staff was using.  How far

11   along are you with that?

12             MR. BRYANT:  That has been completed.

13             CHAIRMAN BAEZ:  That has been completed?

14             MR. BRYANT:  Right.

15             CHAIRMAN BAEZ:  But it didn't wrap up -- it didn't

16   wrap this weather event in it, is that --

17             MR. BRYANT:  And I may not be the best one to speak,

18   but I do believe -- and there's folks in the audience that can,

19   but I do believe the system was up and running as it should

20   have been prior to this particular event.

21             CHAIRMAN BAEZ:  Did that bear any consideration on

22   staff's part?

23             MR. BREMAN:  It goes to Commissioner Edgar's comment.

24   The data becomes more comparable because all the utilities have

25   almost the equivalent systems and they can capture data on a

FLORIDA PUBLIC SERVICE COMMISSION

17

1   comparable basis.  So now the question is are the utilities

2   comparable?  Tampa Electric Company is the only company showing

3   an increasing trend in their distribution reliability outage

4   data.

5             CHAIRMAN BAEZ:  But this was something that was

6   anticipated?

7             MR. BREMAN:  That's correct.  In June of this year,

8   and maybe I am talking a little bit too early, but in June of

9   this year our management study team issued a report on Tampa

10   Electric Company.  They are in the process of reviewing all

11   five companies.  Earlier this year they completed one on

12   Florida Public Utilities, and in June they completed one for

13   Tampa Electric Company.  And one of the comments they have in

14   there, one of the findings they have in there, is that only ten

15   minutes of the increase that has been observed since this

16   improvement occurred can be accounted for or dismissed, if you

17   will, due to the outage management system upgrade.  So,

18   essentially, there is twenty minutes of erosion of outage

19   duration time.  So outage duration time has increased in the

20   neighborhood of twenty minutes that is largely unexplained.

21             CHAIRMAN BAEZ:  That cannot be explained by the

22   change in systems.

23             MR. BREMAN:  That's correct.

24             COMMISSIONER DEASON:  Mr. Chairman, I'm prepared to

25   make another motion.  It looks like to me it is either yes or

FLORIDA PUBLIC SERVICE COMMISSION

18

1   no.  And either we approve staff and deny the petition or we

2   disagree with staff and grant the petition.  I'm not sure that

3   there is a middle ground here.  And --

4             CHAIRMAN BAEZ:  You may get the same score no matter

5   what.

6             COMMISSIONER DEASON:  I'm willing to move that we

7   deny staff's recommendation and grant the waiver.  The only

8   thing I would ask is that the utilities just be very

9   conservative when they ask these things.  I hate to see what I

10   detect to be a little bit of, you know, lessening the standard.

11   And I'm not attributing any bad faith or anything to any of the

12   utilities.  And I do recognize that TECO has withdrawn one or

13   more requests that they thought met the requirements, and I

14   think in a good faith effort have decided to do that, and I

15   appreciate that.

16             There is two more pending.  I don't know the severity

17   of those, what events they are.  They may be just really major

18   events that there is no question that there needs to be a

19   waiver granted.  They may be a little more borderline.  I don't

20   know.  But I would just encourage TECO to talk to staff about

21   those.  If it can be resolved at that level without actually

22   filing a formal petition, I think that would be a step in the

23   right direction, at least until we can get further

24   clarification.  And if we need to go to rulemaking, whatever,

25   that would be helpful.

FLORIDA PUBLIC SERVICE COMMISSION

19

1             CHAIRMAN BAEZ:  And I would join you in that.  You

2   know, waiver petitions are not something that you try and take

3   advantage of wholesale.  They are there for exceptional

4   circumstances, and I think if you have heard anything, and I'm

5   not -- Mr. Beasley, you just happened to be the lucky one to be

6   sitting on the bench.  I would say that to all who are still

7   hanging around at this late stage.

8             You can sense -- you know, I thought I had professed

9   some misgivings about going down this route once upon a time.

10   And, hopefully, now that we have had this discussion a second

11   time, we can try and pay better attention or at least heed the

12   warnings.  Because right now the line is getting gray, and

13   although Commissioner Deason has been gracious enough to -- I

14   don't know if he has changed his mind, but certainly to get the

15   ball rolling on this, I'm all right with drawing the line next

16   time.

17             MR. BEASLEY:  It is on the front burner, Mr.

18   Chairman.

19             COMMISSIONER BRADLEY:  I think that Commissioner

20   Deason has a valid point, no gaming of the system.  But he also

21   mentioned rulemaking, which means that we might need to rethink

22   what me, too, really means as it relates to a weather event.

23   Because I just strongly understand that in Florida you can have

24   wind, rain, and lightning.  And lightning can disable a

25   distribution or transmission system just as quickly or to the

FLORIDA PUBLIC SERVICE COMMISSION

20

1   same extent that rain and wind can.  And --

2             CHAIRMAN BAEZ:  I agree with you, Commissioner

3   Bradley.

4             COMMISSIONER BRADLEY:  -- and with weather patterns

5   changing -- well, not changing, but increasing in intensity in

6   Florida.

7             CHAIRMAN BAEZ:  I think you can sense that staff

8   is --

9             COMMISSIONER BRADLEY:  But no gaming the system is

10   basically what --

11             CHAIRMAN BAEZ:  Yes.  I think you can sense that

12   staff is trying to address the problem.  I mean, obviously, we

13   have got some work to do anyway, but I feel that they are on

14   top of it.  They certainly understand how all of this plays in,

15   and there's a lot of moving parts.  But if we do have to go to

16   rulemaking, then by all means, you know, whatever the best

17   solution to it is.

18             There is enough of a good policy reason to be trying

19   to rope these lesser events that are still significant within

20   the rules so that we can keep some level of a bright line and

21   really guard that whole waiver process jealously, because I

22   think we may be on the cusp of letting it get away from us.

23   That is for what it is worth.  In any case, there is a motion.

24             COMMISSIONER EDGAR:  I have one more comment.

25             CHAIRMAN BAEZ:  Commissioner Edgar.

FLORIDA PUBLIC SERVICE COMMISSION

21

1             COMMISSIONER EDGAR:  My talkative morning,

2   apparently.  Just to say that I think the 2-2 belies the fact

3   that we are close to one mind on this.  I would like to put

4   that comment in.  And with that, I will second, again,

5   Commissioner Deason's motion.

6             CHAIRMAN BAEZ:  A motion and a second.  All those in

7   favor say aye.

8             (Unanimous affirmative vote.)

9             CHAIRMAN BAEZ:  Thank you all.  And thank you, staff.

10             Commissioners, as advertised we are going to break

11   for --

12             MR. KEATING:  Mr. Chairman.

13             CHAIRMAN BAEZ:  Yes.

14             MR. KEATING:  I wanted to make sure in addressing the

15   staff recommendation on the last item that we address the close

16   the docket issue, as well.

17             CHAIRMAN BAEZ:  I'm sorry.

18             MR. KEATING:  I assume you would move staff on that

19   item?

20             COMMISSIONER DEASON:  Move staff.

21             CHAIRMAN BAEZ:  All those in favor say aye.

22             (Unanimous affirmative vote.)

23             CHAIRMAN BAEZ:  Issue 2 is accepted.  Thank you,

24   Mr. Keating.

25                              - - - -

FLORIDA PUBLIC SERVICE COMMISSION

22

1

2   STATE OF FLORIDA    )

3                                      :    CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Office of Hearing

6   Reporter Services, FPSC Division of Commission Clerk and

Administrative Services, do hereby certify that the foregoing

7   proceeding was heard at the time and place herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 27th day of June, 2005.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk and

18                       Administrative Services

(850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION