119

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:                   DOCKET NO. 060172-EU

4       PROPOSED RULES GOVERNING PLACEMENT OF

NEW ELECTRIC DISTRIBUTION FACILITIES

5       UNDERGROUND, AND CONVERSION OF EXISTING

OVERHEAD DISTRIBUTION FACILITIES TO

6       UNDERGROUND FACILITIES, TO ADDRESS

EFFECTS OF EXTREME WEATHER EVENTS.

7       ____________________________________

8       PROPOSED AMENDMENTS TO RULES        DOCKET NO. 060173-EU

REGARDING OVERHEAD ELECTRIC

9       FACILITIES TO ALLOW MORE STRINGENT

CONSTRUCTION STANDARDS THAN REQUIRED

10       BY NATIONAL ELECTRIC SAFETY CODE.

_____________________________________/

11

12              ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

13               THE OFFICIAL TRANSCRIPT OF THE HEARING.

14

15       PROCEEDINGS:         RULE DEVELOPMENT WORKSHOP

16       DATE:                Friday, May 19, 2006

17       TIME:                Commenced at 9:35 a.m.

Concluded at 4:02 p.m.

18

PLACE:               Betty Easley Conference Center

19                            Room 148

4075 Esplanade Way

20                            Tallahassee, Florida

21       REPORTED BY:         MARY ALLEN NEEL

Registered Professional Reporter

22

23

VOLUME 2

24                           Pages 119 – 225

25

120

1                 (Transcript continued from Volume 1.)

2                 MR. HARRIS:  We've brought in the big guns

3       now.  We've got Patti Daniel here to help answer some

4       questions we're going to have on the next rule in the

5       series, which is 25-6.046.

6                 Patti, do you want to go ahead and give an

7       overview of what we're doing here?

8                 MS. DANIEL:  I'll be glad to.

9                 Good afternoon.  I'm Patti Daniel on staff

10       with the Commission.  My background is water and

11       wastewater, but it is with CIAC, so I suppose that's why

12       I was put in charge of giving you the overview of this

13       particular part of the rule.

14                 Bob asked to have one formula, and I gave him

15       one formula, and he didn't like it because it didn't

16       read like it used to.  Go figure.  So this is my attempt

17       to explain to you why the one formula hopefully is

18       exactly the same type of information, just in a little

19       bit different format.  I've got an attachment at the

20       back of the agenda, Attachment 2.  It's got two maps and

21       some talking points, and those are the talking points

22       that I'll be using this afternoon.

23                 First of all, let me talk about part A of this

24       diagram.  This is the line extension.  And in the prior

25       formulas, the line extension was commingled in each of

121

1       the individual formulas with some information about the

2       services, the drops or the laterals.  And I just took

3       that out and made it, this is what happens with line

4       extensions, and the answer is, CIAC for a new overhead

5       or underground line extension is the total cost of the

6       line extension, and that's what the rule says.

7                 The next talking point there in the attachment

8       is the CIAC for an upgraded overhead or underground line

9       extension is, guess what, the total cost of the line

10       extension plus the cost of the removal of the existing

11       service less salvage.  I hope that's exactly how it has

12       always been and will continue in the future.

13                 On the next page of the attachment, new or

14       upgraded overhead and underground service drops or

15       laterals, this is talking about on the diagram B1, the

16       service lateral, and it's also the service drop for the

17       underground.

18                 My understanding is that a standard service

19       lateral is maybe 75 feet.  Can I get some indication

20       that that's generally -- does anybody do something

21       really substantially different?

22                 Okay.  Good.

23                 My understanding is that for the service

24       lateral, there's no CIAC for a standard overhead

25       service, and that's what the rule says.

122

1                 The CIAC for a new standard underground

2       service lateral is the cost in excess of the cost of a

3       standard overhead service drop, just the difference.

4       And again, I'm just talking about a service lateral

5       that's 75 feet or less.

6                 The third talking point, the CIAC for an

7       upgrade to an existing service drop or lateral is the

8       total cost of the upgrade plus the cost of removal of

9       the existing service less salvage.  You have to go to

10       that second diagram to see the B1 and the B2, and I just

11       wanted to show you that for the first 75 feet, the cost

12       to the customer would be zero if it's overhead.  If it's

13       underground, it's going to be the difference.  And then

14       for 75 feet or greater, it's going to be the cost.  And

15       I think that's consistent with what you've always done.

16                 For the portion of the new overhead or

17       underground service drop or lateral that exceeds the

18       cost of a standard overhead service drop, the total --

19       is the total cost of that portion of the service drop or

20       lateral.  That is a talking point.  It is implied by the

21       rule, but it's not express, so I hope that's your

22       understanding of the intent of the rule.  Yes?  Okay.

23                 And then just another comment there.  As has

24       always been, the CIAC for new connections and upgrades

25       to existing connections shall be reduced by four times

123

1       the expected incremental annual revenues.  And, of

2       course, if a customer doesn't pay a demand charge, then

3       that part would be zero.

4                 Again, we've just reworked the rule into one

5       formula and made little subparts, (a) through (d).  And

6       the intent was to keep things exactly as they were with

7       just one formula, simplifying it so that when Joe

8       Jenkins retires and as Connie and Bob approach or exceed

9       30 years and the rest of us are left here to work with

10       this rule, we too will be able to know what you are

11       doing in the industry.

12                 With that, I'll take any questions or

13       comments.

14                 MR. BUTLER:  This is the time to start

15       commenting on the rule, Larry, generally?

16                 MS. DANIEL:  Just part (2).

17                 MR. BUTLER:  Just part (2) being -- okay.

18                 MS. DANIEL:  .064(2).

19                 MR. BUTLER:  Okay.  Well, a significant

20       comment we have -- and honestly, when we saw what you

21       proposed for the second time, we were beginning to

22       conclude that you intended to modify the formula,

23       because we had made some comments the first time, and it

24       didn't seem like it had changed in directions that

25       reflected those.

124

1                 Let me try to explain what is at least one of

2       the fundamental concerns by what -- in our view, what

3       has happened here in collapsing the formulas, the two

4       formulas into one.

5                 When there were two formulas, focusing on the

6       issue of underground versus overhead, it wasn't

7       possible, because the CIAC overhead component was either

8       zero or a positive number.  You would always collect at

9       least the differential in cost between the underground

10       and the overhead service.

11                 Under the formula as it's expressed in the

12       staff proposal, the utility can end up collecting less

13       than that if the revenues, the four times revenues,

14       basically if it exceeds the cost of the standard

15       overhead service that would be provided, because what

16       you'll end up having is, the residual will end up

17       offsetting part of the cost of the underground versus

18       overhead differential.  And in our minds, that's a

19       fundamental change of the way the rule works and is

20       really inconsistent with what we had understood this was

21       trying to do and kind of the role of the four times

22       revenues offset.

23                 In our mind, you know, utilities have an

24       obligation to provide service, and at the other end of

25       spectrum, where this service is kind of something out of

125

1       the ordinary, there is an expectation that the customer

2       will help to pay for that.  The four times revenues

3       offset is kind of a rough balancing in between there.

4       The utility has the obligation to provide the service,

5       don't want the customer to get extraordinary service for

6       nothing, and at the other end of the spectrum, don't

7       want the customer to get the service for nothing, so

8       between those two, you come to a middle ground.

9                 That obligation to provide basic service,

10       least-cost service, in our mind, is typically something

11       that is met by providing overhead service.  If the

12       customer wants underground, there's no obligation on the

13       utility's part to provide underground service, and the

14       customer ought to pay the full extra cost of that

15       underground service.

16                 The way that the rule proposal works as staff

17       has laid it out, there is a distinct chance that

18       customers will end up paying less than the full

19       underground-over-overhead differential.  And there are

20       some other things that we would like to talk about, but

21       that one is probably worth just getting on the table and

22       talking about first, because it's our perhaps most

23       fundamental concern with the formula that shows up as

24       your revised formula in section (2).

25                 MS. DANIEL:  Let me see if I understand it.

126

1       And let me use this exhibit that's up here on the

2       overhead.  You're telling me that previously you had the

3       differential plus the cost of the overhead less the four

4       years of revenue.  And at a minimum, you felt like the

5       cost of the overhead less the four years of revenue

6       would be no less than zero, and your concern today is

7       that could go negative?  Is that fundamentally what

8       you're telling me?

9                 MR. BUTLER:  That's how the math works out.

10       When you had two formulas, there was a formula for

11       calculating the CIAC overhead, and that took into

12       account the four times revenue.  The CIAC for

13       underground was a separate formula, and it was the

14       actual differential between the underground and overhead

15       costs plus any CIAC overhead.

16                 MS. DANIEL:  Limited to zero.

17                 MR. BUTLER:  Yes.  Certainly FPL's application

18       of that, and I believe it has been pretty consistent

19       everywhere, is that that was not something where you

20       would use a negative number for the CIAC overhead,

21       because certainly as you calculated and used the CIAC

22       overhead, that's what you would do.  If it turned out

23       that that was a negative number and the customer wanted

24       overhead, you wouldn't credit them with the difference.

25                 MS. DANIEL:  I understand.

127

1                 MR. BUTLER:  And so fundamentally, by sort of

2       collapsing this into one formula, that sort of

3       limitation that the CIAC overhead can't be a negative

4       number has effectively disappeared.

5                 MS. DANIEL:  So the qualifier would be -- if

6       we wanted to be hardheaded and stick with this rule, we

7       would need to have a qualifier in there that if the four

8       years of revenue exceeded the cost of the underground --

9       overhead, I'm sorry, then it would never go below zero.

10                 MR. BUTLER:  Right.  You couldn't more than

11       offset the cost of the basic overhead service; right.

12                 MS. DANIEL:  Now, I have no idea if that's how

13       you all have done it in the past, but let me just tell

14       you, when I looked at these formulas -- and the reason I

15       have this diagram set up the way I do with the line

16       extensions and the service laterals separately, I looked

17       at it mathematically, and I saw for the underground, the

18       cost of the underground, and blah-blah-blah about the

19       laterals or drops, minus the cost of the overhead,

20       something about the laterals, plus the cost of the

21       overhead, and I thought, "Well, those two cancel each

22       other out."

23                 MR. BUTLER:  If you can have a negative --

24                 MS. DANIEL:  And you've got --

25                 MR. BUTLER:  If you can have a negative value

128

1       for the CIAC overhead, you're right.  But I would submit

2       that's why they were stated separately in the first

3       place, is to keep the --

4                 MS. DANIEL:  I've never heard that argument.

5       I'll look to Connie to tell me the answer on that.  Is

6       that something that has been your understanding, that it

7       couldn't go below zero for the overhead?

8                 MS. KUMMER:  To me, it doesn't make any sense

9       that it would ever go below zero, because if your

10       revenues outweighed your costs, there would be no CIAC.

11                 MR. BUTLER:  For the overhead, for the

12       overhead, that's right.  If they did, you wouldn't

13       collect any.  But then if that same customer wants

14       underground service, what we would do --

15                 MS. KUMMER:  Then he would pay the underground

16       differential.

17                 MR. BUTLER:  I'm sorry?

18                 MS. KUMMER:  Then he would simply pay the

19       underground differential.

20                 MR. BUTLER:  Right.  And the underground

21       differential would be the difference between the

22       underground costs and the overhead costs.  But the way

23       the formula works with it having been collapsed, you

24       could have it reduced below that differential, because

25       you've got residual revenues that are now going to

129

1       offset part of that underground-versus-overhead

2       differential.

3                 MS. KUMMER:  Would it help then if we put a

4       statement in here somewhere that CIAC will never be less

5       than zero?  I mean, that's the only way it makes it

6       work.

7                 MR. BUTLER:  It's not the CIAC being less than

8       zero.  It would have to be that the differential -- I

9       mean, we actually proposed -- and one of the reasons,

10       frankly, that we kind of thought that you must be

11       intending to change the rule is that in our rule

12       proposal submittal after the first workshop, we had a

13       sentence that was intended to clarify that in no

14       instance would the utility not collect the full

15       underground/overhead cost differential, and staff didn't

16       pick that up in its rule proposal.  So that's kind of

17       going the other direction of getting to what you were

18       talking about rather than using two separate formulas.

19                 MR. BREMAN:  If I may, could I ask that the

20       utilities quantify the dollar amount that we're talking

21       about, because I need to know -- I think it would be a

22       good idea to know the materiality of what we're talking

23       about.

24                 MS. DANIEL:  How often would it happen that

25       the four years of revenue would exceed the cost of the

130

1       overhead?

2                 SPEAKER IN AUDIENCE:  Often -- (inaudible).

3                 MS. DANIEL:  Often?  By a substantial amount?

4                 SPEAKER IN AUDIENCE:  (Inaudible.)

5                 MR. BUTLER:  I don't think any of us have any

6       statistics, but my sense is that when this rule is being

7       applied for undergrounded facilities, that's often the

8       case.  The deal isn't the sort of overhead extension

9       dollars, CIAC dollars.  It's the underground-to-overhead

10       differential cost that utilities are seeking to collect,

11       and it could quite often be offset by this sort of

12       residual revenue.

13                 MR. BREMAN:  This would include residential

14       customers as well as commercial and -- I mean, I sort of

15       understand it on commercial/industrial installations,

16       but this would be also true on residentials?

17                 MR. BUTLER:  I think it could be, yes.

18                 MR. BREMAN:  I would be interested in seeing

19       the data.

20                 MS. KUMMER:  Yes.  I've never run across this

21       situation either, and that's what's puzzling me.  That's

22       why it never occurred to me, because I have never seen a

23       situation in which the revenues outweighed the CIAC.

24       And again, in my mind, if the revenues outweigh the

25       CIAC, the CIAC simply is zero.  And maybe we can just

131

1       add something to that effect.  Would that solve this

2       thing?

3                 MR. BUTLER:  No, but, Connie, it doesn't.  Now

4       you only have one formula for CIAC, and the CIAC in your

5       rule is the only place that a differential between

6       underground and overhead is collected.

7                 See, it used to be with the two formulas, it

8       worked pretty neatly, because at least everybody

9       understood and applied it that CIAC wouldn't be a

10       negative number, and so if your overhead CIAC was less

11       than zero, it sort of defaulted to zero, and then you

12       had purely the formula of underground CIAC was the cost

13       differential.  But now, by collapsing the formulas, you,

14       in effect, include the negative impact on the CIAC

15       overhead in calculating how much can be collected as the

16       CIAC underground.

17                 MS. DANIEL:  Let me ask you if this would fix

18       it.  Tell me if this is still falling short.  "For

19       underground extensions, if the four years of revenue

20       exceeds the overhead CIAC, the CIAC will equal the cost

21       of the underground."  If that were added to the rule,

22       would that fix the problem?  And let me repeat it.

23                 MR. BUTLER:  I think what you said, except it

24       has to be the underground-to-overhead differential.

25       It's not the full cost of the undergrounding, because

132

1       what you're collecting is the differential between the

2       undergrounding and the overhead.

3                 MS. KUMMER:  For an extension?  We're talking

4       extension.

5                 MR. BUTLER:  That's what this rule is.  I

6       mean, that just becomes --

7                 MS. KUMMER:  So you're just worried about --

8                 MR. BUTLER:  -- a word description as a --

9                 MS. DANIEL:  I see.  I see.

10                 MR. BUTLER:  -- limitation that is what was

11       achieved previously with the second formula.  But that's

12       fine.  I mean, if you would prefer to do it that way, we

13       certainly wouldn't have a problem.

14                 MS. DANIEL:  I have it now.  I'm doing it

15       mathematically, and I'm with you now.  For underground,

16       if the revenue, the four years of revenue exceeds the

17       overhead CIAC, then the CIAC will be the underground

18       differential.

19                 MR. BUTLER:  I don't know if that's --

20                 MS. DANIEL:  No?  Tell me the words.

21                 MR. GRIFFIN:  This is Jesse Griffin from

22       Progress Energy.  That's J-e-s-s-e, G-r-i-f-f-i-n.

23                 Your formula would be correct if you replaced

24       the word "CIAC" with "overhead job cost."

25                 MS. DANIEL:  So give me the sentence.

133

1                 MR. GRIFFIN:  Would you repeat yours, and I'll

2       just put in "overhead job cost" for "CIAC."

3                 MS. DANIEL:  Well, let me see if I can do it.

4       "For underground, if the four years of revenue exceeds

5       the overhead job cost, then the CIAC will equal the

6       underground differential."

7                 MR. GRIFFIN:  That's correct.

8                 MS. DANIEL:  I got it.

9                 MS. KUMMER:  I hate to throw a monkey wrench

10       in this, but I think this is -- that sounds to me

11       exactly what you criticized us for last time, which is

12       losing the cost of the extension.  All you're paying is

13       the differential for the extension.  You're not

14       capturing the cost of the extension.

15                 MR. BUTLER:  No, but what's happening there

16       is, if the -- sort of if the cost of the overhead

17       extension is more than covered by the four times

18       revenue, then --

19                 MS. KUMMER:  Okay.  All right.  I just got the

20       picture.  Sorry.

21                 MS. DANIEL:  Let me repeat it one more time.

22       And this won't be precisely, but basically, "For

23       underground, if the four years of revenue exceeds the

24       overhead estimated work order job cost, then the CIAC

25       for underground will be the differential between the

134

1       underground and the overhead."

2                 MR. GRIFFIN:  That's correct, total job costs

3       of both.

4                 MR. BRYANT:  I think that -- this is Howard

5       Bryant with Tampa Electric.  I think that works, as long

6       as the revenue does exceed the overhead cost component.

7       But if it does not exceed it, then I'm not sure that it

8       works.

9                 MS. DANIEL:  Well, that if/then statement is

10       only if the four years of revenue exceeds the total

11       overhead job cost.

12                 MR. BRYANT:  Okay.  Then if I look at your

13       formula and make the assumption that the -- well, if I

14       look at this formula, it appears as if the revenue is

15       being applied to both the overhead and the underground

16       cost, when historically the revenue has only been

17       applied to the overhead cost.

18                 MS. DANIEL:  It's only intended to be applied

19       once.

20                 MR. BRYANT:  Okay.  But I'm not convinced that

21       we get there by looking at the formula and then going to

22       paragraph (c), the top of page 9, line 1, (c).  I think

23       -- well, let me ask you, what is your intention with

24       item (c) there?

25                 MR. WRIGHT:  Patti, this is Schef.  May I?

135

1                 MS. DANIEL:  Sure.

2                 MR. WRIGHT:  I just can't resist.  Trapp and I

3       did the rule and the EIS for this years ago.  May I make

4       a suggestion?

5                 MS. DANIEL:  Uh-huh.

6                 MR. WRIGHT:  Here's my suggestion.  Have it

7       say, "For underground line extensions, the maximum

8       credit shall be the cost of the equivalent overhead

9       installation, including the cost of a standard overhead

10       service drop."  That seems to get where they want to

11       get, while preserving the extension piece.

12                 MR. TRAPP:  As a co-party to that past effort,

13       I like two formulas now.

14                 MR. WRIGHT:  I'm taking no position on the two

15       formula issues, and this is just Schef Wright sharing.

16                 MR. BRYANT:  We would like to propose that Bob

17       has seen the light, and we want to go with what Bob is

18       now saying.  We think that's a beautiful idea.

19                 MR. STONE:  This is Jeff Stone on behalf of

20       Gulf Power Company.  It appears to me, given the stated

21       intention as simply simplification and not to change the

22       result of the formula, that perhaps our attentions would

23       be better spent on finishing the hardening aspects of

24       this docket and reserving for a future date whether any

25       modifications to the CIAC rule are needed in order to

136

1       accommodate whatever comes out of the hardening aspect.

2       Perhaps we're trying to do too much at one time.

3                 MS. DANIEL:  We've certainly talked about that

4       notion.

5                 Let me get back to the point about part (c),

6       whether the four years of revenue was intended to come

7       out once or twice.  It was intended to come out once.

8                 MR. BRYANT:  Yes.

9                 CHAIRMAN EDGAR:  Anytime you calculate CIAC

10       for a customer, you're only going to remove the four

11       years of revenue once.

12                 MR. BRYANT:  Right.

13                 MS. DANIEL:  And you're looking at (c), and

14       you have a question about whether that's reflected

15       there.

16                 MR. BRYANT:  Well, if I go back to the formula

17       on the previous page, the first item there is the cost

18       of installing the facilities.  Now, I'm making an

19       assumption.  That would be the overhead cost minus --

20       I'm sorry, the underground cost minus the overhead cost.

21       That is incorrect.  Help us understand that, or me.

22                 MS. DANIEL:  Part (a) says, "The cost of all

23       new underground and -- overhead and underground line

24       extensions shall be the total estimated work order job

25       cost."

137

1                 MR. BRYANT:  Yes.

2                 CHAIRMAN EDGAR:  What we were trying to do is

3       describe that what is in the box that says, "Cost of

4       installing the facilities," would be the total cost.  If

5       it's underground, it will be the total cost of the

6       underground.  If it's overhead, it will be the total

7       cost of the overhead, not a difference.

8                 MR. BRYANT:  Okay.  Is there any interaction

9       between what you have just said and item (c)?

10                 MS. DANIEL:  That's for the service.  The

11       total cost of installing new underground service -- and

12       perhaps I was not as articulate as I should be.  I'm

13       talking about a lateral -- underground, a drop, service

14       drop shall be reduced by the cost of a standard overhead

15       service lateral, that first 75 feet.  That's the --

16                 MR. BREMAN:  Howard, I don't know if this is

17       going to help you, but that (c) is one sentence that

18       replaces essentially two pages of the URD.  It's just

19       the service.

20                 MR. BRYANT:  Okay.  I'll keep thinking.

21                 MR. BUTLER:  Beyond the basic formula, we've

22       got a couple of other comments on section (2).  And

23       again, I will reiterate that we're making these -- if

24       you stay with this approach, these are things we have

25       concerns with.  Our strong preference would be to go

138

1       back to the -- just leave the rule as it is for now

2       rather than trying to --

3                 MS. DANIEL:  Well, I would like to hear other

4       examples of where this rule --

5                 MR. BUTLER:  Okay.  Let me tell you --

6                 MS. DANIEL:  Just for my learning, help me

7       understand where this rule takes you astray from what

8       your current practice is.

9                 MR. BUTLER:  Fair enough.  The next thing we

10       have a concern over is, in the formula, you have used

11       the terminology "nonfuel energy charge" as opposed to

12       "base energy charge."  We have a concern about that,

13       because at least a fair interpretation of that would

14       mean that you would not include the fuel adjustment

15       charge in there, but that other adjustments such as

16       environmental, conservation, perhaps even the capacity

17       charge, storm surcharges, things of that sort would be

18       included in the energy charge.  And if that were

19       intended, I think it would be an inappropriate

20       application, because certainly none of those monies

21       would go to defray the sorts of distribution facility

22       costs that we're talking about here.  So I think the

23       term "nonfuel energy charge" is probably not the right

24       one to use for that purpose.

25                 MS. DANIEL:  Is that what's in the current

139

1       rule?

2                 MS. KUMMER:  Yes.

3                 MS. DANIEL:  So you would like a change to the

4       current rule in that regard?

5                 MR. BUTLER:  Yes.  We would like it to be base

6       energy charge.

7                 MS. KUMMER:  I don't have a problem with that.

8       I think that's what we were trying to capture.

9                 MS. DANIEL:  Instead of nonfuel, you want

10       base?  Is that it?

11                 MR. BUTLER:  Now, in subsection (b), this

12       seems to be, at least as I've been able to track this, a

13       change that you are now stipulating that there's not a

14       charge for the overhead transformer.

15                 MS. DANIEL:  E as in egg?

16                 MR. BUTLER:  No, B as in boy.

17                 MS. DANIEL:  B as in boy.  I'm sorry.

18       Correct.

19                 MS. KUMMER:  And that was taken as -- we were

20       attempting to paraphrase on the next page the old

21       formula that talks about excluding transformer service

22       drops and meters.  How is that different than the rule

23       today?

24                 MR. BUTLER:  I'm sorry.  It's not different

25       from today.  I'm just -- why is it included?  What is

140

1       the logic of including the overhead transformer as part

2       of the cost that would be recovered through the -- I'm

3       sorry, that would not be recovered through the CIAC,

4       kind of the basic service to the customer's house?

5                 MS. KUMMER:  You'll have to talk to Mr. Trapp.

6       He wrote the original rule.  We were just trying not to

7       change too much the concepts of the original rule.

8                 MR. TRAPP:  I think Schef wrote the original

9       rule.

10                 MS. KUMMER:  It always seemed a little strange

11       to me too, but that's what was in the rule, and I

12       assumed you all had agreed to it.  Does anybody else

13       have an opinion on that?

14                 MS. HOLDSTEIN:  I'm Nancy Holdstein from

15       Progress Energy, H-o-l-d-s-t-e-i-n.

16                 Our understanding of why we exclude the

17       transformer and the service drop and the meter is

18       because those costs are already compensated for

19       elsewhere in rates.  The service drop and the meter are

20       in the customer charge, and the transformers are

21       generally precapitalized and otherwise captured in

22       rates.

23                 MS. KUMMER:  Okay.  Anything else?

24                 MR. WRIGHT:  I think Tom Raines wrote that

25       part of the rule.

141

1                 MS. DANIEL:  You know what this does?  It puts

2       something in the rule that we thought you were all

3       already doing.  And as I talked to staff to educate

4       myself, it was interesting to see as I went from person

5       to person how they varied in their understanding of what

6       you do.  So if nothing else, we've put together

7       something that makes us come closer to making sure that

8       we have consistent application among the utilities.

9                 MR. THOMPSON:  May I?

10                 MS. DANIEL:  Yes.

11                 MR. THOMPSON:  Jim Thompson with Gulf Power.

12                 MS. DANIEL:  Yes, sir.

13                 MR. THOMPSON:  Two other just quick little

14       comments about -- if we're still in that section (2) of

15       .064.

16                 MS. DANIEL:  I'm leaving when we get past

17       section (2).

18                 MR. THOMPSON:  Oh.  Then I know we're still in

19       that section.  In (a), just as a suggestion, the costs

20       of all the overhead and underground, perhaps the word

21       "facilities" would be better there instead of "line

22       extensions."  It seems --

23                 MS. DANIEL:  I agree.

24                 MR. THOMPSON:  In (b), aside from and apart

25       from Mr. Butler's comments, since we're talking there as

142

1       clarified above at line 20 about the definitions of

2       costs, perhaps (b) could read "cost for transformer,

3       service drops, et cetera, shall be excluded."  And

4       again, that's separate from, and I don't mean to

5       contradict, Mr. Butler's suggestion there.

6                 MS. DANIEL:  The cost for overhead --

7                 MR. THOMPSON:  Cost for transformer, service

8       drop and meter for new standard overhead installations

9       shall be excluded, to continue the theme of costs in

10       those sections.

11                 MS. DANIEL:  I understand.

12                 MR. THOMPSON:  Thank you.

13                 MS. HOLDSTEIN:  This is Nancy Holdstein again.

14       We would also like to add in subparagraph (a) the cost

15       of all new or upgraded overhead and underground

16       facilities.

17                 MS. DANIEL:  Do you see (d) on the next page?

18       Does that take care of it?

19                 MS. KUMMER:  We broke that out because of the

20       salvage component.

21                 MS. HOLDSTEIN:  Yes.

22                 MS. DANIEL:  You're good?  Okay.

23                 MS. HOLDSTEIN:  If I might offer some other

24       clarifying comments on some of the issues, both what

25       Mr. Wright said, what FP&L said, and what TECO has said.

143

1                 The way we are interpreting the math, I think

2       if we clarified, as consistent with your drawing, that

3       the standard overhead service installation equivalent to

4       your standard service lateral equals the transformer,

5       the approximate 75 feet service drop, and the meter, if

6       that were defined perhaps in section (b), to be defined,

7       and then also we're okay with it being excluded, then

8       when you get to section (c), the only thing you're

9       pulling out is what has previously been defined as those

10       three items.  And we believe the math works correctly in

11       a combined formula with the exception of adjusting for

12       the revenue -- the overhead CIAC not going negative.

13                 MS. DANIEL:  Can I just add the word "75 feet"

14       in front of service drop and that will take care of it

15       on (b)?

16                 MS. HOLDSTEIN:  I would like to see standard

17       overhead service installation defined, because it's then

18       used in (c).  And if the standard overhead service drop

19       is previously defined as just the transformer, the

20       75-foot service drop, and the meter, then you're only

21       talking about that small amount and not including the

22       whole line extension coming out when you do the

23       underground calculation.  Then we believe the math

24       works.

25                 MS. DANIEL:  Okay.  Can you give me some

144

1       language to that effect in your comments?

2                 MS. HOLDSTEIN:  Yes.  We plan to provide you

3       some mathematical calculations, a supporting schedule

4       with some examples showing that it does work.

5                 MS. DANIEL:  Okay.

6                 MR. TRAPP:  There may be a concern with that,

7       and I just raise it for your information as you develop

8       your post-workshop comments.  But it occurs to me, there

9       is another rule on the books, and the number escapes me

10       right now, that the 75-foot is derived from.  My

11       recollection is that it's a loose derivation.  It's not

12       -- in other words, the Commission I don't believe in its

13       rules has precisely defined what a standard service is.

14                 I think what we've said in the rule I'm

15       thinking about is that each utility shall specify a

16       point of delivery.  It will be on a close end of the

17       house, more or less 75 feet within the property line, is

18       the way I remember the rule, and that's about the

19       specificity that's there.  If we get real specific about

20       what a standard service drop is, I don't think you have

21       any latitude anymore.  So I just caution you on that.

22                 MS. DANIEL:  Other questions or comments?

23                 MR. BRYANT:  One other question.  On line 3,

24       this would be (d) on page 9, is there a need to address

25       remaining book value?

145

1                 MS. DANIEL:  Net book value?

2                 MR. BRYANT:  Uh-huh.

3                 MS. DANIEL:  I thought about that.  Certainly

4       when you get to the conversion rule, we talk about net

5       book value.

6                 MR. BRYANT:  If it's over there, yes, that

7       might do it.

8                 MS. DANIEL:  What do you do now?

9                 MR. BRYANT:  The more I think about it, that

10       might do it.

11                 MS. DANIEL:  The conversion?

12                 MR. BRYANT:  It is the case when you convert.

13       This is strictly --

14                 MS. DANIEL:  Right.  This is an upgrade.

15                 MR. BRYANT:  This is strictly extension.

16                 MS. DANIEL:  Correct.

17                 MR. BRYANT:  I'm with you.

18                 MS. DANIEL:  That is an upgrade.

19                 MR. BRYANT:  Right.  But an extension can be

20       an upgrade.

21                 MS. DANIEL:  Yes.

22                 MR. BRYANT:  Right.

23                 MS. DANIEL:  Okay.  So you're good with this?

24                 MR. BRYANT:  I think so.

25                 MS. DANIEL:  Okay.

146

1                 MR. BUTLER:  I have another question for you,

2       going back to this question of what you're including and

3       excluding from the calculation.

4                 MS. DANIEL:  Yes, sir.

5                 MR. BUTLER:  If you look at the underground

6       formula that has been deleted, the comparison there is

7       sort of all-in for underground versus all-in for

8       overhead, all the way to the customer's house,

9       basically, and you're comparing the cost of all of those

10       pieces to get your differential.

11                 And it would seem like that the way we've been

12       working toward the definition of what facilities we're

13       talking about in this generic formula, that you're

14       excluding the transformer, service drop, and meter from

15       the costs that are being considered, and I'm not sure

16       how one captures this all-in to all-in comparison that

17       is contemplated in the CIAC underground formula in the

18       current rule consistent with that idea of excluding

19       transformer, service drop, and meter from the

20       calculation when you're looking at the generic CIAC

21       formula.

22                 MS. KUMMER:  The underground formula, the old

23       underground formula is not all-inclusive to

24       all-inclusive.  It's all-inclusive underground, but the

25       CIAC overhead goes back to the preceding formula, which

147

1       excludes --

2                 MR. BUTLER:  That's the CIAC overhead.  That's

3       if you had an excess of sort of the standard overhead

4       service over the four times revenue as an adder to it.

5       I'm talking about the first box in the formula.  The

6       first box in the formula, it's a lot of words there, so

7       I won't read them all, but I think if you do, you'll see

8       it's an all-in versus all-in, and that's what I'm

9       talking about.

10                 As you're working toward this formula, the

11       single formula, which is frankly sort of driven by how

12       the old overhead formula was set up, it seems like that

13       the definition of terms, what you're considering for the

14       actual or estimated job cost part is something that's

15       going to be excluding transformer, service, and meter

16       costs.  And if there is a differential in those costs,

17       underground costs more for those components compared to

18       the overhead equivalent for them, it looks like that's

19       getting lost from what the utility would collect.

20                 MS. DANIEL:  I would have to think about that,

21       but I've given this a lot of thought, and my brain could

22       not handle all of those variables running around at

23       once, so I put it into a matrix like this, and I thought

24       about what the existing rules said with regard to line

25       extensions very carefully, all of them.  And what I got

148

1       was, you're winding up with, for purposes of line

2       extensions, the cost of the underground minus the cost

3       of the overhead plus the cost of the overhead for line

4       extensions.  That's all I'm referring to.  And what that

5       means is, you're getting the cost of the underground for

6       line extensions.

7                 And then I looked at the portions of the rule

8       that address the transformers, the service drops, and

9       the meters, and I got the cost of the underground drop

10       minus the cost of the overhead drop, which is the

11       differential.  And that's what --

12                 MR. BUTLER:  Where is that reflected here?

13                 MS. KUMMER:  Item (c).

14                 MS. DANIEL:  (c), the total cost of installing

15       a new underground service drop shall be reduced by the

16       cost of a standard overhead service lateral, if you

17       will, installation.

18                 MR. BUTLER:  But what ends up happening -- and

19       maybe it's a matter of just clarification, but if you

20       look back to (b), which just said that standard

21       installations are excluding the transformer, service

22       drop, and meter, it would --

23                 MS. DANIEL:  That's for overhead; correct.

24       For overhead, there's no charge for the transformer,

25       service drop, and meter.

149

1                 MR. BUTLER:  Well, if you end up taking the

2       total cost for the underground, including those

3       components, that would actually be collecting more than

4       what we are currently collecting.  And we're not asking

5       to collect the entire cost of the transformers, the

6       service drop, and the meter.  We're just saying if there

7       is an increment, if the transformer, service drop, and

8       meter for underground costs more than the transformer,

9       service drop, and meter for overhead, that differential

10       ought to be part of the equation.

11                 And combining (b) and (c), I would read it

12       that either one -- you're looking at both of them

13       excluding the transformer, service drop, and meter, or

14       else it's in there for the underground cost and not in

15       there for the overhead, which would sort of overstate

16       how much the differential would be.

17                 MS. DANIEL:  Let me back you up a little bit.

18       And maybe I need to reword this still a little bit.

19       Part (a) only goes to line extensions.  Part (a) has

20       nothing to do with transformers, services, or meters.

21       Part (a) only goes to line extensions.  If you have an

22       overhead service, then you need to look at part (b) to

23       get your transformer, service drop, and meter.  If you

24       have an underground service, you need to look at part

25       (c) to get your transformer, service, and meter.  If

150

1       you're underground, it's the difference, and if it's

2       overhead, it's zero, if we're talking 75 feet or less.

3                 MR. BUTLER:  That certainly -- I mean, I

4       understand mathematically you could do it that way.  I

5       don't think that's what (b) and (c) say right now, at

6       least to me.

7                 I mean, (b) seems to -- it ends with "standard

8       overhead installation," and then (c) talks about

9       standard overhead installation.  And it seems like that

10       a logical thing to do would be to assume that (c) is

11       talking about what you just described in (b), and (b)

12       excludes the transformer, service drop, and meter.

13       You're saying that the total cost of the underground

14       service would be used, which would be fine, but then

15       you're excluding from it or you're subtracting from it

16       to get the differential this, quote, unquote, standard

17       overhead service, which seems to be excluding the

18       transformer, service, and meter.  And it's not --

19                 MS. KUMMER:  I see the problem you're having.

20       I think we can work on the wording.  I don't think you

21       disagree with what we're trying to say.  You're reading

22       this as cumulative, and we're not.  That's our basic

23       problem, and that's a wording issue, I think, more than

24       anything else.

25                 MR. BUTLER:  I mean, it's possible to handle

151

1       it that way.  This just seems like it is developing the

2       sort of Ptolemaic model of the solar system.  You know,

3       you could end up having it work a lot easier if things

4       rotated around the sun, if you kept the two separate

5       formulas instead of kind of trying to force corrections

6       to it so it all works within one formula.  But if you do

7       it the one formula way, then certainly we would like to

8       see clarification on that.

9                 MS. KUMMER:  The other thing that we're trying

10       to fix here, John, is that this rule only dealt with

11       line extensions, nothing but line extensions.  There was

12       no CIAC formula for upgrades, and that was the question.

13       The wall that we were running into was about the CIAC

14       for upgrades, and we had no rule for upgrades, so that

15       was one of the things we were trying to do in this rule,

16       is move it beyond just simple line extensions to cover

17       other situations.

18                 MS. HOLDSTEIN:  I think I can offer a solution

19       that will address the issues.  If you put -- it you took

20       out the word "standard" in (b), and backtracking on what

21       Mr. Trapp said, don't pin down a definition as I

22       requested earlier, take out the word "standard" in (b),

23       and then in (c) just take out the cost of -- again

24       strike is the word "standard" and say the cost of an

25       overhead transformer, a standard service lateral, and a

152

1       meter, and the math is still going to work right.  So

2       then you've got the differential.  That would provide

3       for the differential between a pad-mount transformer and

4       an overhead transformer, and the cost of an underground

5       service lateral versus an overhead service lateral, and

6       the meter is a wash.

7                 MS. DANIEL:  When in (b) you take out the word

8       "standard," then you're saying if that service drop is

9       200 feet, you're good to go with no charge; correct?  Do

10       you want to think about that one?

11                 MS. HOLDSTEIN:  Well, you could take out the

12       standard service drop.

13                 MR. GRIFFIN:  This is Jesse Griffin.  There

14       never will be an overhead service drop 200 feet long.

15       It physically won't support itself and will sag.  We

16       would have supporting poles in it.  And the last section

17       of wire that we would consider service would be about 75

18       feet to 80 feet, somewhere in that range.

19                 MS. DANIEL:  So there's nothing but a

20       standard?  Is that what you're telling me?  You never,

21       ever do anything other than 75 feet or less?

22                 MR. GRIFFIN:  It might be 80 or 85 feet.

23                 MS. DANIEL:  But you would still consider

24       it --

25                 MR. GRIFFIN:  That would be -- if we have no

153

1       supporting poles between the transformer and the meter,

2       that's our standard service drop.

3                 MS. KUMMER:  And anything beyond that would

4       fall under the line extension?

5                 MR. GRIFFIN:  That's correct.

6                 MS. DANIEL:  Then we can take out the word

7       "standard."  Then there is no (b)(2) then.

8                 MR. GRIFFIN:  That's right.  (b)(2) would only

9       be a few feet and really not --

10                 MS. DANIEL:  It's in my imagination.  Okay.

11       Good.

12                 As someone commented earlier, this probably is

13       not the most important thing you want to spend your

14       afternoon doing.  If anybody else has any questions they

15       wanted to give us or any radical changes to the rule

16       other than what we've already heard, I would love to

17       hear it.  I think we can cover the rest of it in

18       comments.  Is that right?

19                 MS. KUMMER:  As far as section (2).  There are

20       some other --

21                 MS. DANIEL:  As far as section (2).

22                 MR. BUTLER:  I would like to make the

23       suggestion that if you decide that you do want to

24       continue pursuing this approach of the combined formula,

25       somehow or another we ought to have some opportunity for

154

1       dialogue on whatever you come up with as a way to fix

2       the concerns we've been addressing and get that

3       information back to you.

4                 MS. DANIEL:  Yes, sir.

5                 MR. BUTLER:  Simply so it doesn't end up

6       getting carried forward as a further area of concern,

7       because it's not central, but obviously, by the same

8       token, it's very important to the utilities and how they

9       calculate their CIAC.  And the way things are currently

10       structured to work, we wouldn't really have another

11       formal opportunity to comment on your proposed fix.  So

12       I just throw that out for --

13                 MR. TRAPP:  John, we are going to agenda June

14       20th.  The staff recommendation will be submitted June

15       8th.  You can take it up at agenda.  You've got to fix

16       it today.  If it's not fixed today, your next

17       opportunity is agenda.

18                 I think it's important that the Commission

19       understand their CIAC rule.  If the staff doesn't

20       understand the CIAC rule and the utilities don't

21       understand the CIAC rule, then we've got a problem.  But

22       we are going the agenda June 20th.

23                 MR. BUTLER:  That's fine.  I just think it

24       would be kind of a shame to have this discussion again

25       in front of the Commissioners for the agenda.  That's

155

1       what I was hoping we could avoid.

2                 MS. DANIEL:  My understanding of the

3       rulemaking process is that as staff writes up the

4       recommendation, it's incumbent on us to really spell out

5       for the Commissioners what all of this means, and

6       hopefully we'll get it right when we write that

7       recommendation, and I look forward to seeing your

8       comments on this part.  We'll try to be as true to your

9       comments as we can.

10                 Thank you.

11                 MR. HARRIS:  That was section (2).  There is a

12       section (1).  Let's backtrack a little bit.  Are there

13       any comments on section (1), application and scope?

14                 Not hearing much, let's jump on to section

15       (3).  If somebody notices something in (2), we can come

16       back to it.  Section (3).

17                 MS. KUMMER:  Section (3) starts at the bottom

18       of line 10 after all the strikeouts.

19                 MR. HARRIS:  Page 10, line 25.

20                 MS. KUMMER:  And I would just clarify, this

21       was in response to a question we had last time about

22       transmission primary and transmission voltage.  This was

23       our comment that it applies to any voltage level.

24                 MR. HARRIS:  Not hearing anything, section

25       (4).  Not hearing anything –

156

1                 MR. THOMPSON:  I have some stuff on (4).

2       Let's see.  On -- oh, just above (4).  I'm sorry.

3       You're on line 3 of page 11?

4                 MR. HARRIS:  Yes.

5                 MR. THOMPSON:  Just above that, why would we

6       change to the word "requesting" here instead of

7       "requiring," especially in light of back on page 8, line

8       8?

9                 MS. KUMMER:  I caught it one place and didn't

10       the other.  That's the only thing I can think of.  The

11       idea of upgrades are usually requested.  They're not

12       necessarily required.  It's not something the company

13       would go in and say, "You have to do this."  A customer

14       can request an upgrade.  But I agree they ought to be

15       the same.  They ought to be consistent.

16                 MR. BREMAN:  Generally a utility when it does

17       its own upgrades does it for its own reasons.  Those are

18       required upgrades.  We're trying to distinguish that

19       between a solicitation from a customer or an applicant.

20                 MR. THOMPSON:  I was just curious about the

21       difference between the two, if there was any difference

22       intended there.

23                 MS. KUMMER:  No.  Would "requested" work in

24       both places?  Or "request," I guess, on page 8.  Again,

25       as Jim said, if you're going in and doing it on your

157

1       behalf, presumably you wouldn't require a CIAC from the

2       customer if you're doing it for your own purposes.

3                 Okay.  Did we get through (4)?  This just says

4       that however you estimate your costs, you'll construct

5       here the same way you're required to in .034.

6                 MR. THOMPSON:  I do have one small comment on

7       (4).  At page 11 at line -- well, starting at line 10,

8       it may be that we could just put a period, or I would

9       suggest we consider putting a period after the word

10       "produce" on line 12 and stopping right there.  The next

11       phrase refers to a four-year time frame.  That gets a

12       little awkward at times.  We're not really dealing with

13       a four-year time frame.  As is described on one of the

14       previous pages, we're dealing with a one-year or an

15       annual or one-year revenue projection which is then

16       multiplied by four.

17                 The other reason I suggest stopping that whole

18       paragraph there with the word "produce" is the

19       awkwardness perhaps on line 13 of the phrase "estimated

20       credit to the CIAC."  I'm not certain what the credit to

21       the CIAC is.

22                 MS. KUMMER:  There was a lot of discussion

23       about this last time, and my thinking is that the costs

24       are the costs.  I mean, the customer can't really

25       dispute the costs.  You've got invoices.  You've got

158

1       materials costs that you can point to.  The costs are

2       pretty much defined.  They're objective.  What is

3       subjective in the CIAC calculation is the estimate of

4       the revenues, and that's what I was thinking might

5       possibly be disputed.  You say there's only going to be

6       five houses, it turns out there's ten houses, and the

7       first guy -- that was where I was going with this.

8                 MR. THOMPSON:  Sure.  Thank you, Connie.  That

9       refers to the revenue estimate.

10                 MS. KUMMER:  Right.

11                 MR. THOMPSON:  Then my final question about

12       that paragraph would be -- and I'm told that perhaps

13       this was discussed for the last workshop.  If so, I

14       apologize for revisiting it.  Line 14, at the customer's

15       request, is that to say that the utility could not in

16       the future readdress whether or not the revenues had

17       materialized?

18                 MS. KUMMER:  That's an interesting question.

19       I think this did come up last time, and I don't think

20       that we ever really hashed out an answer one way or the

21       other.

22                 Does anybody else have any thoughts?  Bob?

23       I'm not getting much support up here.

24                 MR. THOMPSON:  I was really thinking, Connie,

25       that perhaps on -- and I know this jumps ahead, but I

159

1       think they're related.  On page 12 at line 14, unable to

2       agree, that doesn't seem to terminate when they pay it

3       up front.  That opportunity there could suffice for

4       either party two or three years later.

5                 MS. KUMMER:  I hadn't looked at it that way,

6       but I suppose it could be read that way.  That was -- I

7       was reading that as being an initial, you hand them a

8       bill, they come to us and say, "That's too much."

9                 MR. BREMAN:  What would you suggest?  Within

10       18 days of completing the work order, or what?

11                 MR. THOMPSON:  No.  Honestly, what I was

12       thinking was back in my earlier offer to consider just

13       putting a period after the word "produce" and let

14       everything else after that be covered by the

15       opportunities available on page 12 at line 14, just the

16       way it's written or proposed.

17                 MR. BUTLER:  FPL would support that.  One of

18       the things, Connie, that would be good about that

19       addresses something that we were just conferring about

20       over here that's -- one of our concerns about the way

21       that subsection (6) now reads is that it seems like a

22       customer could raise the dispute at sort of any point,

23       including, say, at the very beginning, just say, "Tell

24       you what, Utility.  I want you to look at my actual

25       consumption at the end of this time period, you know,

160

1       the best year in those five, whatever, and then

2       recalculate the CIAC credit based on what it turns out

3       to be," which would really be an administrative

4       nightmare, because you would have to be tracking that

5       amount and where the customer ends up and all those

6       sorts of things; whereas, in subsection (10), you know,

7       it's pretty much something where a customer will bring a

8       dispute.

9                 And once that happens, then the utility knows

10       it needs to go back and look at the records and see what

11       the actual credit amount would be.  And if they're

12       disputing interesting the estimate versus the actual, I

13       suppose you would look at that too.  But you have

14       something that's initiated by a customer at the point

15       when the dispute arises, bringing it to the utility's

16       attention, and you start looking into it.

17                 If you don't go that route, we would ask you

18       to please clarify in (6) that this is something

19       triggered by a dispute raised by a customer or a request

20       made by a customer, you know, at the time that they seek

21       to have this calculation made, not as something they

22       could do up front, and then the utility has to keep

23       track of it for the next five years or four years.

24                 MS. KUMMER:  You don't think the language on

25       line 14, collecting actual revenues at the end of the

161

1       four-year period over which the CIAC was estimated,

2       captures that?

3                 MR. BUTLER:  I don't, because it's certainly

4       talking about at the end of the four-year period, but it

5       seems like that the request could be made at any point.

6       It's not specifically saying that the customer has to

7       wait to the end of that period to make the request.

8                 MR. TRAPP:  Well, what's wrong with that?  If

9       the customer insists on using actual data, what's wrong

10       with using actual data?  That's my question.

11                 MR. BUTLER:  Well, it's keeping track of the

12       fact that you need to be waiting until four years from

13       now, you know, make the calculation at that point,

14       remember to make the calculation at that point, and if

15       the customer has moved, try to track them down and find

16       them to do the true-up with them.

17                 MS. KUMMER:  No, it says at the customer's

18       request.  If the customer doesn't come back and ask for

19       the true-up, there would be no requirement for the

20       utility to do a true-up.

21                 MR. BUTLER:  I understand.  But what we're

22       reading this as having the potential is that just at the

23       time that the customer pays the CIAC, they make the

24       request then.

25                 MR. TRAPP:  For a true-up, for the opportunity

162

1       of a true-up based on actual data, is the way I read it.

2                 MR. BUTLER:  And we've got to keep track of

3       that request and then keep track of where any true-up

4       amount would get paid until the end of the four-year

5       period.

6                 MR. TRAPP:  What's wrong with that?

7                 MR. BUTLER:  It just -- it's an unnecessary

8       administrative burden.  What's wrong with the other

9       alternative of having the customer --

10                 MR. TRAPP:  So you would rather overcharge the

11       customer on the front end.  That makes no sense.

12                 MR. BUTLER:  Well, what's wrong with having

13       the customer say, "Look, if you're concerned about this

14       at the end of the time, just come back and" -- what's

15       wrong with having the customer, you know, just have the

16       right, as they do under section (10), to come back at

17       the end and say, "Okay.  My four years have gone by.  I

18       think I used a lot more power than you estimated, so I

19       want you to make this recalculation"?

20                 I mean, that would work fine.  There's nothing

21       that would be inconsistent with (10), the customer doing

22       that.  And it's the customer's concern, so it seems fair

23       for the customer to raise it once they've got the actual

24       consumption to base it on.

25                 MS. KUMMER:  Okay.  So you don't object to the

163

1       concept of the true-up as long as the request comes at

2       the end of the four-year period.

3                 MR. BUTLER:  Yes, at the end, at whatever

4       point.  If the customer decided, I guess, after two

5       years they kind of like what they've seen and they would

6       like to have the true-up made at that point, they could

7       do it there.  But it's triggered by the customer coming

8       in and saying, "Okay.  Based on what's now historical

9       data, do my true-up calculation."

10                 MS. KUMMER:  Okay.  I'll take a look at that.

11       I understand your concerns and the idea of the fact that

12       -- or the concept that (10) really covers everything

13       anyway.  Let me look at that a little bit more, because,

14       frankly, this one I had trouble with.  Like Bob said,

15       it's the concept of the customer getting the pot right.

16       And how you do that I realize is going to be somewhat

17       difficult from the administrative end of it, and we

18       struggled with how to word this.

19                 But by the same token, fairness to the

20       customer, you've got this free rider -- we talk about in

21       the conservation programs the free rider on the process.

22       He pays the $25,000 to get the line, and next week three

23       more houses come in.

24                 Okay.  I hear what you're saying, and we'll

25       take look at that.  I think I understand where you're

164

1       coming from.

2                 Okay.  Paragraph (7), that's truly intended

3       again to be just a restatement of the situation, not a

4       change in the treatment.

5                 MR. BRYANT:  Connie, Howard Bryant.  Very

6       minor, very minor.  The numbering probably got a little

7       out of focus.

8                 MS. KUMMER:  It did.  It did.

9                 MR. BRYANT:  So, you know, when we get the

10       thing ultimately -- when you all get it ultimately

11       cleaned up, you can just kind of fix it a little bit.

12                 MR. BREMAN:  The heading is wrong too.  I

13       don't know if you noticed it, but it's May, not March.

14                 MS. KUMMER:  We were doing this a little

15       quickly the last couple of weeks, so minor niceties in

16       these things kind of fell by the wayside, but we will

17       fix them eventually.  I'm surely our lawyers will catch

18       us, if nothing else, next time around.

19                 Okay.  Now, paragraph (8).  This is the

20       proration.  And I have had suggestions, just for your

21       information, from our accounting staff, which may ease

22       some of your concerns.  On line 4, rather than calling

23       it an advance, call it a payment, require a payment

24       equal to the full amount.  And if you go down to line 7,

25       strike that next phrase, "In the event projected

165

1       growth," all the way down through "period," and say,

2       "the proration and collection for new customers shall

3       cease at the end of the three-year period."  That was

4       the accountants correcting some of my terminology.

5                 Any comments on this one?  And I will give

6       credit or blame, as it may be, to TECO.  They suggested

7       -- started us down this road.

8                 MR. BUTLER:  The one thing we have as kind of

9       an administrative detail, somewhat similar to what we

10       were just talking about, is this issue of tracking

11       customers.

12                 MS. KUMMER:  That's why I shortened it from

13       five to three.  I thought three years, the people were

14       more likely to be there, especially in terms again of a

15       subdevelopment where you've got the first guy with the

16       first house pays the whole cost.  Three years would not

17       be an unreasonable period to expect somebody to stay in

18       a location.

19                 MR. BUTLER:  I think you're right that

20       normally that would be the case.  What would you expect

21       to happen in the event that the customer has moved and

22       is no longer contactable at the end of the three years?

23                 MR. TRAPP:  Well, I noticed that the co-ops

24       track capital credits for many, many, many years and

25       manage to get that money back to the customer.  That's

166

1       my observation.

2                 MS. KUMMER:  And one would think there would

3       have to be some kind of an agreement up front, and this

4       is what comes in the last line that says, "shall file a

5       tariff outlining its policies."  There would have to be

6       some agreement on what the amount was and what the

7       proration would be, and the customer would sign up

8       front.  And if he wasn't there to give the money back

9       to, apparently he wasn't real concerned about collecting

10       it.  I'm not sure how much of an effort --

11                 MR. BUTLER:  Would it be fair to say that the

12       customer would have a responsibility to notify the

13       utility if he or she moved and expected to get the

14       proration credit back?

15                 MS. KUMMER:  I think would be reasonable.  If

16       somebody owes you money, it behooves you to let them

17       know where you are.  That's something that you could

18       look at in your tariff or your contracts in setting up

19       your procedure, but I think that would be reasonable.

20                 MR. BUTLER:  Okay.

21                 MS. KUMMER:  Anything else in this paragraph?

22       Except for the fact most of you really don't like the

23       rule at all, are we done with this one?

24                 MS. CROSS:  This is Lori Cross from Progress

25       Energy.  It's L-o-r-i, C-r-o-s-s.  And I just had one

167

1       more comment to make about this rule.

2                 In our written comments from the last workshop

3       that we provided, we proposed language to gross up and

4       collect from the contributor the federal and state

5       income taxes on the CIAC, and I'm just wondering if

6       staff gave any consideration to that proposal.

7                 MS. KUMMER:  I will refer you to Mr. Bill Lowe

8       sitting at the far table.

9                 MR. LOWE:  I got drug into this thing

10       yesterday afternoon, so you all bear with me if I'm not

11       really up on all of this.

12                 My name is Bill Lowe, L-o-w-e, and I have a

13       little bit of experience in gross-up of CIAC.  We went

14       -- the Commission went through this in the water

15       industry, actually, all industries.  It was a generic

16       docket when 18(b) and (c) were repealed by Congress.  It

17       was very material in the water and wastewater industry.

18                 To the extent we did gross up contributions in

19       aid of construction in the water and wastewater

20       industry, it was a nightmare.  It's an accounting

21       nightmare.  You need to look at what the Commission did

22       in those cases and see whether you really want to go

23       through that process, because it was a nightmare for the

24       small water companies.

25                 There were -- in Order No. 23541, Docket No.

168

1       860184-PU --

2                 MS. CROSS:  I'm sorry.  Can you read that

3       again?

4                 MR. LOWE:  Let me do it backwards then.

5                 MS. CROSS:  Okay.

6                 MR. LOWE:  Docket No. 860184-PU, Order No.

7       23541, issued October 1, 1990.  And specifically within

8       that order, pages 11 through 14 is a -- are some

9       provisions called determination of need.  And it goes

10       through some stuff like demonstration of actual tax

11       liability, cash flow statement, statement of interest

12       coverage.  I think that's probably the one that would

13       affect the electric utilities the most.  There was a two

14       times -- let me get the language right.  "The utility

15       shall also provide a statement of its times interest

16       earned, TIE ratio.  The utility should demonstrate its

17       TIE ratio is no more than 2 percent."  I don't think

18       that's going to affect y'all.  And if the Commission

19       were to continue with the precedent that was set in

20       this, I don't think that they would allow you to do

21       gross-up of CIAC.

22                 Now, the rest of this thing goes into -- all

23       of this stuff was held subject to refund, and it was

24       reviewed annually.  Staff didn't like any of this when

25       it was proposed, and we were so happy when we were

169

1       successful in getting 118(b) put back into the Internal

2       Revenue Code, or I think it's 118(c) now, for the water

3       and wastewater industries.

4                 But I thought you all should be aware that the

5       Commission has been through this.  At least one

6       Commissioner is going to be very familiar with it,

7       because he sat -- he was through all of this.  So you're

8       going to -- that would be an uphill battle to me.  It

9       doesn't matter to me, because as Ms. Daniel said

10       earlier, I won't be here when you all do this.  Okay?

11       But I needed to let you all know where the Commission

12       had been on this issue.

13                 MS. CROSS:  Okay.  Well, we'll take a look at

14       that and review it.  I guess the reason that we proposed

15       the change, and I guess you guys are familiar with

16       the -- what happens here is that when CIAC is taxable,

17       the burden of the carrying costs on those income taxes

18       is shifted to the general body of ratepayers, and we

19       think that the CIAC contributor should be the one that

20       is accountable for the carrying costs on those income

21       taxes and pays the cost of those income taxes, and that

22       was why we proposed it.  We'll take a look at the

23       history here and --

24                 MR. LOWE:  In fact, in the order I gave you,

25       the method that y'all proposed doing is discussed.

170

1       Okay?

2                 MS. CROSS:  Okay.

3                 MR. LOWE:  And the present value method where

4       you're pulling the depreciation stream backwards was

5       looked upon as not providing that to the general body of

6       ratepayers.  Okay?

7                 MS. CROSS:  Okay.

8                 MR. LOWE:  So you might want to look at --

9                 MS. CROSS:  We'll review that.

10                 MR. LOWE:  -- that particular order as to what

11       was said there.  And in fact, that order also goes that

12       you refund the CIAC back to the person who did it, who

13       you got it from, to keep that from happening also if you

14       totally grossed it up.  Okay?

15                 There's also an issue in there of tax on tax,

16       because when you --

17                 MS. CROSS:  Right.

18                 MR. LOWE:  -- increase the tax for the CIAC,

19       now you've just created another level of tax on there.

20       So there's a number of problems with it that are all

21       addressed in this issue -- in this order.

22                 MS. CROSS:  Okay.  Thank you.  We'll take a

23       look at it.

24                 MR. HARRIS:  Anything else?

25                 Okay.  Let's go ahead and roll on then to

171

1       25-6.078.  We'll wrap the last one up and move on to a

2       whole new area.  I know that there is some

3       interrelationship between .078 and .115.  Again, we're

4       going to try to keep them separate and go section by

5       section through each of them, but if you have to refer

6       from one to the other, you can do it, but try not to, if

7       you can.

8                 I guess we're going to take a short break for

9       the court reporter, just a couple of moments.

10                 (Off the record briefly.)

11                 MR. HARRIS:  All right.  We're ready to get

12       going again.  25-6.078, Schedule of Charges, section by

13       section, section (1).

14                 Section (2).  This is a new section, I see,

15       underlined.

16                 Subsection (3)?

17                 Subsection (4)?

18                 MR. SPOOR:  This is Mike Spoor with FPL.  We

19       do have some comments, but John had to step out for one

20       moment.  I don't know if somebody else has some

21       comments, but maybe we can start that way and work this

22       way.  Thanks.

23                 MS. CROSS:  Lori Cross, Progress Energy.  On

24       subsection (4), where you start out and say,

25       "Differences in operating and maintenance costs," when

172

1       you go on -- I know it's the next rule, but when you go

2       on the next rule, 6.115, where you talk about

3       differences in operating and maintenance costs there,

4       you say the net present value, differences in the net

5       present value of operating and maintenance costs.  And

6       we felt like that was a better, a more correct way to

7       say it, and that it should be consistent.  The language

8       between the two rules should be consistent, so we would

9       suggest that change.

10                 MR. TRAPP:  Where would you put the change?

11                 MS. CROSS:  It is section (4), first sentence.

12       It starts out and says, "Differences in operating and

13       maintenance costs, including average historical storm

14       restoration costs."  We are just suggesting that it

15       should say, "Differences in the net present value of

16       operating and maintenance costs."  And I believe that

17       language is consistent with the way you discuss it.

18                 MR. TRAPP:  So it would read, "Differences in

19       net present value of operating" --

20                 MS. CROSS:  In the net present value of

21       operating and maintenance costs, yes.

22                 MR. TRAPP:  That term, net present value,

23       implies a time frame; right?

24                 MS. CROSS:  Yes.

25                 MR. TRAPP:  Okay.  I've got a historical

173

1       period over which I'm calculating restoration costs, and

2       you're present valuing that period to apply to the O&M

3       differential.

4                 MS. CROSS:  (Nodding head affirmatively.)

5                 MR. TRAPP:  Okay.  I think I understand.

6                 MR. HARRIS:  Anything else from TECO on that?

7       No.  I'm sorry.  She's Progress.  My mistake.

8                 All right.

9                 MR. GROSS:  Larry, Michael Gross from FCTA.

10       I'm going to inject something that's probably going to

11       be controversial here, but --

12                 MR. HARRIS:  Yea.

13                 MR. GROSS:  Since this Commission is asserting

14       jurisdiction that's impacting third-party attachers both

15       in -- well, in this section, I guess we're talking about

16       new installation of underground facilities in new

17       subdivisions.

18                 There are provisions for cost recovery to the

19       utility, but there's no provision for any cost recovery

20       to the third-party attachers, who are also going to

21       incur an increased expense.  And we're proposing that

22       there be some language added, and we'll try to draft up

23       some language, that would require the applicant to also

24       reimburse the third-party attachers for the increased

25       cost of undergrounding their plant.

174

1                 MR. TRAPP:  I'm not sure I'm following that.

2       This rule, as I understand it, has to do with brand new

3       undeveloped subdivisions where totally new facilities

4       are going in.  What cost impact is there to third

5       parties of the developer requesting underground service?

6                 MR. GROSS:  Well, to the third-party

7       attachers, there may be an increased cost in going

8       underground as opposed to overhead in a new community.

9                 MR. TRAPP:  But that's a developer's choice,

10       not a utility's choice.

11                 MS. KUMMER:  That would be between the cable

12       folks and the developer.  It wouldn't involve the PSC at

13       all.

14                 MR. TRAPP:  And furthermore, I don't

15       understand what jurisdiction you think that we're

16       asserting with respect to cost recovery clauses for the

17       cable industry.

18                 MR. GROSS:  Well, you're taking actions that

19       impact third-party attachers and increase their costs,

20       but there's no provision for cost recovery.

21                 MS. KUMMER:  Again, it would go -- if a

22       developer comes to you and says, "I want underground

23       service," you would quote him a price, and he would pay

24       it.  We wouldn't be in the middle of it.  It would be

25       your contract with the developer for providing service

175

1       to his subdivision.  Your cost recovery is from the

2       developer.

3                 MR. BREMAN:  Just a small point of

4       clarification.  We're making very minor changes to an

5       existing rule, so this is not really any new policy.

6                 MR. GROSS:  All right.

7                 MR. HARRIS:  Michael, we welcome these

8       comments.  Propose your language, and we'll take a look

9       at it.

10                 MR. GROSS:  Well, I'll revisit this with my

11       people.  I just got some comments from them on very

12       short notice.

13                 MR. HARRIS:  Right, right.  And we appreciate

14       you bringing it up.

15                 MR. GROSS:  I'll get back with them and see

16       what the practical situation is in a new subdivision and

17       what their actual experience is.

18                 MR. HARRIS:  But we appreciate you bringing it

19       up, and we encourage you to get with your clients and

20       propose what you want to propose.  And we will look at

21       it.  You know, that's the purpose of this workshop.

22                 MR. GROSS:  I mean, it may be that what

23       they're talking about applies more to the next section,

24       which is the conversion from overhead to underground,

25       because their plant is going to have to be moved.

176

1                 Anyway, thank you.

2                 MR. HARRIS:  Subsection --

3                 MR. BUTLER:  Larry?

4                 MR. HARRIS:  Yes, John.

5                 MR. BUTLER:  I'm sorry.  Are we on subsection

6       (4)?

7                 MR. HARRIS:  We're on -- I see that you're

8       back, and we're on whatever subsection you need us to be

9       on, up to and including (4).

10                 MR. BUTLER:  (4) is where I had the comments.

11       Thanks.

12                 A couple of things here on it.  We are

13       concerned about a mandatory provision for including the

14       operating and maintenance cost differential in

15       determining the CIAC, both here and in Rule .115, so I

16       just raise it here since we've gotten there first.

17                 Our concern is that we don't see any

18       meaningful way to put the comparison on equal footing

19       without doing it over sort of a life cycle cost basis.

20       There are differences in timing.  There are some

21       accounting differences.  There are costs that are pretty

22       similar in nature that end up being capitalized with

23       respect to underground that are expensed with respect to

24       the overhead facilities.  You know, to get all of that

25       to come out in the wash, the only way we can see that

177

1       that properly would be done is over a sort of total life

2       cycle approach.

3                 But even if one can do that, what we see there

4       as a real concern is over the need to project what those

5       costs, or particularly the cost differential is going to

6       be.  And one good example of what we're talking about is

7       that the company embarked some number of years ago on a

8       program of direct burial of underground cable, and it

9       has proven to have more O&M expenses from the accounting

10       perspective, but operating and maintenance costs

11       associated with them than FPL had anticipated would be

12       the case, and I don't think FPL is unique in that

13       situation.

14                 If we had looked at that at the time this was

15       first starting to occur, it would have looked like there

16       was quite a substantial offset, because the -- there was

17       no expectation for there to be extra maintenance.  The

18       cost of installing the underground with the direct

19       burial technique was pretty low, and it would have made

20       it look like that the life cycle cost for underground

21       facilities was closer to what it would be for overhead

22       facilities than has turned out to be the case.  That's

23       use one example of what we're talking about here.

24                 But at least over a period of time, without

25       collecting data specifically for this purpose, we're

178

1       pretty concerned that we won't get the pot right on what

2       the overhead versus underground operating and

3       maintenance cost differential will be, since it kind of

4       has to be on a projected out through the life cycle

5       basis to put them on equal footing.

6                 In contrast, we do support -- we recognize

7       there are some uncertainties, but we all have to deal

8       with that going forward -- that the historical storm

9       restoration costs is something that it makes sense to

10       take into consideration.  In fact, that's basically what

11       justifies the 25 percent adjustment factor that FPL has

12       proposed as part of the storm security, and it's part of

13       our .115 proposal, because you can look at some

14       historical information usefully and gather some sense of

15       what the appropriate differential should be for those

16       storm restoration costs.  So that's kind of one of the

17       two main comments.

18                 The other one that we have deals with the

19       provision for record keeping and accounting measures,

20       and particularly the record keeping portion of this.

21       It's a good idea, and obviously, as I was saying, one of

22       the things that needs to happen is gathering additional

23       information to be able to confirm what the differentials

24       are.

25                 But we have a concern that record keeping not

179

1       be defined in a way that it is looking for kind of 100

2       percent sample, forensic type information on system

3       restoration, because of the fact that, one, it can end

4       up interfering with the sort of central and primary

5       purpose of the restoration efforts, which is to get the

6       lights back on; and number two, if you're doing it on

7       that broad a basis, you're necessarily having basically

8       the crews that do the restoration work themselves

9       collect the data.  A lot of those are foreign crews, and

10       even within FPL, what you have is a huge number of

11       people with different senses of what they are seeing

12       recording the data.

13                 Now, we think that a well-defined sampling

14       program that will be conducted by people who are

15       specifically tasked with and trained to be forensics

16       personnel collecting data for the purpose of comparing

17       the systems is not only going to be cheaper, it's going

18       to be better, because it's going to give you more

19       consistently comparable data.

20                 So I think those are really the two main

21       things that we wanted to comment on about subsection

22       (4).

23                 MR. TRAPP:  Do you feel the wording of

24       subsection (4) precludes you from defining sufficient

25       record keeping, or at least defending that before the

180

1       Commission?

2                 MR. BUTLER:  No.  I think that if you

3       understand that that's what we think may be the best way

4       of doing it and we can defend that as making sense to

5       the Commission, then you're right.  It certainly doesn't

6       preclude us in the existing wording from doing that.

7                 MR. TRAPP:  So do you have any specific word

8       changes to the new language that we've added, or is it

9       just a matter of getting a good grasp on the

10       interpretation we're putting on it?

11                 MR. BUTLER:  On that point, on the record

12       keeping, I think we can probably live with just a common

13       understanding of what the words you've got mean.  We do

14       have an objection to having the mandatory requirement

15       for taking differences in operating and maintenance

16       costs into account, which actually would be a wording

17       issue, because there I don't think we -- I'm not sure

18       how we could work around what the words say, given the

19       concern that we have.

20                 MR. TRAPP:  And that's again the difference

21       between the "may" and the "shall"?

22                 MR. BREMAN:  Just to reiterate a comment that

23       I think was said at the last workshop, I don't think

24       staff would expect you to keep a greater detail than the

25       number of management regions.  If you have more detail

181

1       than by management region, I would be surprised.  But I

2       don't think we're looking for any greater granularity

3       than by management region.  And in some cases, I don't

4       know that you would have it by management region.  I

5       don't know if that helps you or not.

6                 MR. BUTLER:  Okay.

7                 MS. KUMMER:  I would like to go back to

8       something you talked about earlier in the first

9       sentence.  I understood you to say that you have, or you

10       feel fairly comfortable using historical storm data to

11       estimate storm restoration costs.  Are you saying you

12       don't have any overhead and underground O&M expenses

13       separated that you could do on a historical basis?  I

14       know you've been installing underground for a very long

15       time.

16                 MR. BUTLER:  I don't think that we have

17       something that we would consider appropriate.  I mean,

18       this is something, if you're looking at it, what you

19       ought to be looking at is what would a new -- how would

20       a new overhead system perform versus how would a new

21       underground system perform, and what's the O&M or the

22       operating and maintenance cost differential between

23       those two.

24                 Yes, I think that's something where we would

25       have to say we don't because of the fact that it needs

182

1       to be on the life cycle basis, which means you're

2       necessarily projecting, which means you're needing to

3       make some assumptions, some pretty heroic assumptions

4       about how the two new systems are going to perform over

5       their life cycles.

6                 MS. KUMMER:  And you aren't comfortable using

7       historical data to do that?

8                 MR. BUTLER:  I mean, if we have to do it,

9       that's what we'll have to do.  But because the purpose

10       of this is comparing sort of the new systems, we've got

11       some concerns that that historical information isn't

12       going to be very representative for its purposes.

13                 MR. SPOOR:  This is Mike Spoor with FPL.

14       Again, I guess the bottom line there, Connie, is that

15       with the storm cost, it is historical.  And as we read

16       this, kind of the cost that would be applied in terms of

17       how much we would have to spend to maintain either an

18       overhead or underground system moving forward, there's

19       certainly a lot of uncertainty there.  But from a

20       historical perspective, that's certainly, if doing it

21       today, where we would have to start.

22                 MR. HARRIS:  Are we ready to move on to

23       section (5)?

24                 MR. WRIGHT:  Larry?

25                 MR. HARRIS:  Schef.

183

1                 MR. WRIGHT:  Just on (4), one, my clients,

2       Palm Beach and Jupiter Island, agree that a life cycle

3       cost is the appropriate way to look at these things.

4                 Two, regarding the average historical storm

5       restoration costs, it would be my thought that it would

6       be -- using historical storm restoration costs to

7       project future storm restoration costs with escalation

8       and then present valued back, I mean, I wonder if that's

9       consistent with what FPL and anybody else who has

10       thought about this is considering.

11                 I would just say, with regard -- naturally, as

12       you know, we support the inclusion of consideration of

13       storm restoration costs in calculating the CIAC for many

14       of the same reasons you do.  When it says including

15       average historical storm restoration costs, I would just

16       offer that it would be my thought that you would use

17       average historical costs to estimate future costs with

18       escalation and then present value them back in the

19       computation of the CIAC.  And I just posed the question,

20       is that consistent with what others are thinking or not.

21       You know, if you're going to factor in the possibility

22       of a storm four years from now, using something that

23       happened in 1992 is not going to be a -- if you just use

24       the number, it's not going to be a good number.  That's

25       what I'm getting at.

184

1                 MR. BUTLER:  We were talking over here, and

2       I'm not sure that this addresses your question directly

3       or not, but I think the notion of storm restoration

4       costs based on the historical data that we have is

5       something that probably needs to be kept somewhat

6       flexible so that you can take into account what your

7       expectations about future storm experience, what your

8       expectations about costs of restoration in future

9       periods, those sorts of things into account.

10                 And the wording here may be a little bit

11       narrower than it ought to be if it is intended to be

12       sort of a rigid, take a certain number of years of

13       history, total up the storm costs incurred in those

14       years, and divide it by the number of years type of

15       thing.  We were thinking of this as more based upon

16       historical storm experience rather than being just a

17       mathematical exercise.

18                 MR. WRIGHT:  Larry, if I could just talk to

19       John.  When you say that, you mean consider historical

20       experience to make some projection of costs and then

21       work that back into the calculation, conceptually

22       anyway?

23                 MR. BUTLER:  Yes.

24                 MR. WRIGHT:  Okay.  We're pretty close, in any

25       event, maybe even closer than that.  Thanks.

185

1                 MR. HARRIS:  Anything else on section (4)?

2                 Anyone else on section (5) then?

3                 MR. WRIGHT:  Larry, I apologize.  I have one

4       brief comment on (5) that was actually addressed by my

5       clients in a proposed new rule section.  It says record

6       keeping and accounting measures to identify O&M costs.

7       And maybe this isn't the right place for this, but I'll

8       mention it here anyway, and then I won't mention it

9       again, and that is, we think that there ought to be

10       record keeping to allow for comparison of reliability of

11       overhead and underground.  And I think we had addressed

12       that in our proposed 25-6.117 or something like that,

13       and maybe here, maybe not.  We'll address it in our

14       post-workshop next round of comments as well as we did

15       this time.

16                 MS. KUMMER:  Schef, I remember your comments,

17       and I was thinking that might fit better in the

18       reliability rules.

19                 MR. WRIGHT:  .034?

20                 MS. KUMMER:  If that's the number.  I don't

21       know, but --

22                 MR. WRIGHT:  Standard of construction, that

23       one, or --

24                 MS. KUMMER:  Where they did the reliability

25       reports.

186

1                 MS. MOORE:  .044.

2                 MS. KUMMER:  They maintain records so they can

3       track reliability by type of --

4                 MR. WRIGHT:  Thanks.  I'll --

5                 MS. KUMMER:  That's where I thought it might

6       fit better.

7                 MR. WRIGHT:  Thanks for the suggestion.  We'll

8       look at it closely.

9                 MR. TRAPP:  Well, not to get your hopes up or

10       anything, but I'm not sure where we are with that

11       particular rule.  Maybe Chris can enlighten us about --

12       we've had workshops and stuff like that on that already,

13       and I just wondered how --

14                 MS. MOORE:  A recommendation is due to be

15       filed next week, and it's going to be on the June 6th

16       agenda, I think.

17                 MR. TRAPP:  So it's a little bit late to be

18       introducing new concepts to that particular rulemaking.

19                 MR. WRIGHT:  Well, arguably, it may with

20       regard to that rule section, but we certainly have put

21       that matter at issue in our previous comments.

22                 MR. TRAPP:  I understand.  That's why I'm

23       saying rather than divorce it out of here --

24                 MR. WRIGHT:  Okay.

25                 MR. TRAPP:  I think Connie was offering that

187

1       as an alternative to including it here, but I think if

2       you do that, we're getting in another time crunch, so it

3       might be best to keep the subject matter in these

4       dockets and --

5                 MS. KUMMER:  But it doesn't fit very well.

6                 MR. TRAPP:  I'm sorry, Connie?

7                 MS. KUMMER:  It doesn't fit very well.

8                 MR. TRAPP:  Well, I know it doesn't fit very

9       well, but --

10                 MS. KUMMER:  Okay.  We'll look at it.

11                 MR. WRIGHT:  Well, you know where we're coming

12       from.  You'll see what you see next Thursday in our

13       comments.  I'll look at .044 and maybe couch it in the

14       alternative or something like that.

15                 MR. TRAPP:  Fine.  But let me just see if I

16       understand what you're saying.  In addition to just the

17       straight rate operation and maintenance costs associated

18       with storm-related activities, you're asking -- this

19       goes to the reliability performance measurement type of

20       concept --

21                 MR. WRIGHT:  Yes, that's right.

22                 MR. TRAPP:  -- in the rule, and then it's also

23       a topic, I think, of discussion by the Commission in

24       another docket which has to do with the utilities' plans

25       on an ongoing basis, if I recall.

188

1                 MR. WRIGHT:  That's essentially correct, Bob.

2       And I don't care where it gets into the rules.

3       Naturally, I would like to see it in the rules in the

4       best possible place for everybody's sake, and I don't

5       care if it's in 25-6.117 or .044 or somewhere else.

6       I'll try to find the best place for it and offer that in

7       our comments next Thursday.

8                 MR. TRAPP:  Okay.  But again, in a rule

9       context, you're introducing it as rule language here as

10       opposed to the potential for order language in the

11       approval of the utilities' plans coming on June 1st.

12       You have a weight -- you know, either you feel as

13       comfortable with order language as you do with

14       rulemaking language, or how do we juggle the two

15       dockets?

16                 MR. WRIGHT:  I will give that close

17       consideration as well.

18                 MR. TRAPP:  Thank you.

19                 MR. WRIGHT:  Thank you.

20                 MR. BUTLER:  Larry, excuse me.

21                 MR. HARRIS:  John.

22                 MR. BUTLER:  I have -- I probably should have

23       raised it at the beginning of .078, but this is really

24       kind of a question to staff about the change to section

25       (4).

189

1                 Whatever you end up doing, if you do something

2       either or both of these pieces about, you know,

3       requiring differences in operating and maintenance and

4       storm restoration costs to be included, the impact of

5       that over time is going to be that utilities collect

6       less CIAC, and rate base will end up being larger than

7       it otherwise would be, because you've got some sort of

8       offset to the -- a larger offset than you would now have

9       to the CIAC, and therefore not as much that's credited

10       against what otherwise would go into rate base.  So

11       ultimately, you've got the general body of customers who

12       are going to have this somewhat larger rate base than

13       they would have without this sort of mandatory

14       provision.

15                 And in the case of the conversions, the next

16       rule we're going to be talking about, what I think I

17       understand is that kind of staff's motivation there is

18       really wanting to provide some sort of mechanism to help

19       encourage, or facilitate, or whatever you want to call

20       it, conversions to move the system toward underground

21       from its current overhead status.

22                 This rule is directed at customers who are

23       almost certainly going to end up being served by

24       underground anyway.  It's new subdivisions.  I think

25       it's almost unheard of in Florida at this point for the

190

1       new subdivisions to be built with overhead service in

2       them.  And so from the standpoint of kind of bang for

3       the buck, you know, are you getting extra underground

4       system that you wouldn't otherwise be having in the

5       utility's service area, this probably doesn't do very

6       much.

7                 And I would just be interested to know what

8       staff's views are as to why it is appropriate to be, in

9       essence, diminishing the contributions from the

10       developers of these subdivisions and therefore

11       increasing the rate base that the rest of customers will

12       end up paying for over time, in view of the fact that

13       probably the great majority of these people would end up

14       with underground service anyway.

15                 MR. TRAPP:  John, I would like to respond to

16       that first by saying I don't agree with any of your

17       premise.

18                 MR. BUTLER:  Okay.

19                 MR. TRAPP:  I think we start off with the

20       standard of construction rule that puts the

21       responsibility on the utility to determine what areas

22       should be hardened within their system.  We've asked you

23       to look at flooding issues with respect to

24       undergrounding, which I assume will increase underground

25       costs.  We've asked you to look at hardening of wind

191

1       speed, which primarily affects overhead, which is

2       probably going to increase some overhead costs.  What

3       the net effect of that is on underground/overhead

4       differentials, I don't know.

5                 With respect to the underground rules

6       themselves, they're based on the principle that the

7       customer should pay the cost difference between overhead

8       and underground.  It's an inherent overhead standard

9       rule.  I don't think we've changed that.  I think we've

10       told you to do -- asked you to do what's prudent with

11       respect to hardening in both underground and overhead,

12       but I don't think we've changed any of the basic premise

13       of overhead standard, pay for underground differential.

14                 So all the underground rules do is try to

15       capture the true cost differential experienced by

16       ratepayers, and that includes capital costs and O&M

17       costs.  And we're saying now that in addition to your

18       O&M costs, we want you to factor in the effects of the

19       standards of construction impacts on hardening to those

20       costs that are borne by ratepayers.  I don't know if

21       they're going up.  I don't know if they're going down.

22       It's a matter of equity.

23                 So again, I don't agree with your premise.

24       That was the intent from our perspective, was to capture

25       all the direct costs, all the costs that are borne by

192

1       ratepayers in the cost differentials for both new

2       facilities and extension facilities.

3                 MR. BUTLER:  It sounds like we're talking

4       about different sections.  What I took most of your

5       comments to be going to is subsection (2), where you

6       would be looking at this estimated average cost

7       differential and the impact on that of the requirements

8       from .034.  And I agree.  It could end up going up or

9       down, depending on the area and what the impacts on the

10       cost of construction for overhead and underground.  My

11       comment was really directed at subsection (4), where

12       you've changed it from permissive, you know, may include

13       the cost differentials for O&M to shall include those,

14       and --

15                 MR. TRAPP:  My comments addressed (4).

16                 MR. BUTLER:  I'm sorry?

17                 MR. TRAPP:  My comments addressed (2) and (4).

18       I believe both sections impact the cost differential

19       between overhead and underground, given the new regime

20       of a little more attention to hardening of both the

21       underground and overhead facilities.

22                 You know, I believe staff is saying by using

23       the word "shall" in section (4) that there are

24       differences in cost that are affecting O&M costs, and

25       storm restoration cost impacts on overhead and

193

1       underground facilities, and we want the utilities to

2       capture those cost differentials.  That's not a new

3       message.  That is a message we've been trying to state

4       for years.  The utilities have not been able to come up

5       with any cost differential data.  I'm not aware of what

6       level of attempt there has been.

7                 My interest in the word "shall" is that it

8       puts a little more fire under the pot to ensure that

9       these cost differentials are appropriately studied by

10       the industry.  My personal opinion is there has been not

11       enough attention to it by the industry.  It's easy

12       enough to collect a CIAC cost differential without doing

13       the extra homework to understand what the impact is on

14       the State of Florida of overhead and undergrounding.

15       And we're charged in this docket to determine whether

16       it's preferential in some instances or all instances to

17       install facilities underground.  I challenge you to come

18       up with the data, and I use the word "shall."  That's my

19       position.

20                 MR. BREMAN:  Mr. Butler, too, you mentioned

21       that the staff was setting up a program that would cause

22       a general increase in rate base over time.  It gives the

23       impression that FPL already has the analysis and knows

24       the results, but I haven't seen them filed in this

25       docket.  That's point number one.  And point number two,

194

1       I think FPL's 25 percent investment program does

2       definitely increase base rates, or rate base at a

3       minimum.

4                 MR. BUTLER:  Well, you're right, Jim.  It

5       would have that effect.  And that's a pretty good point

6       of comparison, because that's frankly why we were

7       bringing it up with respect to here.  See, our view is

8       that conversion is where there is the opportunity to

9       have the impact, and it's where we wanted to target the

10       program.  What we see is different here.  This isn't

11       about conversions.  This is about new subdivisions.

12                 And our view is -- and obviously, from what

13       Bob is saying, it's not staff's, but our view is that

14       this is -- at least part of what motivates these changes

15       should be a question of providing incentives, you know,

16       facilitating an increase in the percentage of

17       underground service in a utility's service territory.

18       We see giving incentives, creating opportunities in .115

19       as having a lot of opportunity to do that.  We don't see

20       there being much impact through .078, just because it

21       really is kind of directed at the stuff that -- you

22       know, where the undergrounding is going to happen

23       anyway.

24                 MR. TRAPP:  Show me the numbers.

25                 MR. BUTLER:  Okay.

195

1                 MR. HARRIS:  That was section (5)?

2                 MR. TRAPP:  That was (4).

3                 MR. HARRIS:  I was being a little hopeful.  Do

4       we have anything else on (4) then?

5                 Then if we're done with (4), anything for (5)?

6                 (6)?

7                 MS. CROSS:  This is Lori Cross, Progress

8       Energy.  We have a question on (6).  We know that the

9       language here didn't change, but we just don't

10       understand why there's no CIAC charge for undergrounding

11       for multiple occupancy buildings.  Could you -- could

12       someone help us understand that?

13                 MR. TRAPP:  Probably not, but -- this one

14       dates back to the '70s, '78 maybe, at the latest.  And

15       my recollection, having to admit to being around then,

16       is that the economies were such that the density -- I

17       mean, there was no cost differential at that time.

18       Maybe that needs to be revisited if cost relationships

19       have changed.

20                 So again, if you have evidence to the

21       contrary, show it to us, and we may need to modify the

22       rule.  But we didn't change it because we were not aware

23       of any change in circumstances with respect to the

24       densities associated with the -- excuse me, the

25       economies associated with the densities of high, multi-

196

1       type stuff.

2                 MS. CROSS:  Okay.  We'll take a --

3                 MR. TRAPP:  That's my recollection, at least,

4       now.  Probably --

5                 MS. CROSS:  We'll take a look at it.  Thank

6       you.

7                 MR. TRAPP:  Probably call Joe Jenkins.

8                 MS. CROSS:  I'm sorry.  What?

9                 MR. TRAPP:  Call Joe Jenkins.  He remembers

10       probably better than I do.

11                 MS. CROSS:  Okay.  Thank you.

12                 MR. BREMAN:  You've got about two and a half

13       weeks.  He's leaving.

14                 MR. HARRIS:  (7), section (7)?

15                 Section (8)?

16                 Section (9)?

17                 And section (10).  There is one addition.  I

18       think there are two additions in section (10).

19                 All right.  Are there any comments for

20       25-6.078 then before we move on to .115?

21                 All right.  We've move on to the next rule,

22       25-6.115.  We'll start with section (1).

23                 Section (2)?

24                 Section (3).

25                 MR. WRIGHT:  Larry, this is Schef.  I just

197

1       have a question as to your thoughts about question (3).

2       It seems -- section (3), not question (3).  Sorry.

3       Particularly with regard to (c), it seems that it has to

4       contemplate a life cycle cost type of consideration of

5       all differences in all costs as they will ultimately be

6       borne by ratepayers.

7                 My sense is that that is consistent with what

8       Bob was saying a few minutes ago.  I would just ask if

9       that's the case.

10                 MR. TRAPP:  Section (3)?

11                 MR. WRIGHT:  (3)(c), Bob.

12                 MR. TRAPP:  "Such agreement is not expected to

13       cause the general body of ratepayers to incur costs in

14       excess of the costs the utility would incur for the

15       installation."  Your question was, that's calculated

16       over a life cycle basis?  And I guess my response is I

17       don't know.  It may be.

18                 MS. KUMMER:  That change was my attempt to

19       address -- someone pointed to the word "greater."  The

20       current rule says to incur greater costs.  Somebody

21       said, "What do you mean by greater?"  And I was trying

22       to clarify that.  I'm not -- quite honestly, the idea of

23       life cycle or nonlife cycle didn't enter into my through

24       process at the time.  I'm not saying it shouldn't, but

25       I –

198

1                 MR. WRIGHT:  Okay.  I'm mixing concepts.

2                 MR. TRAPP:  Whatever it means now it means

3       after the change; is that right?

4                 MR. BREMAN:  Schef, this is Jim Breman.  This

5       paragraph is talking about the agreement between the

6       utility and the customer, and it's not intended to bind

7       these two to a particular methodology or tool.  It says

8       whatever you all agreed to is fine and dandy as long as

9       you all can show or the utility can show that it doesn't

10       cause excess costs to be incurred by the general body of

11       ratepayers.  So it allows you guys to negotiate it.  It

12       allows the applicant to negotiate with the utility.

13       It's not prescriptive.

14                 MR. WRIGHT:  I understand that.  But it seems

15       to me that it implicates whatever credit we are going to

16       get back, which would have to be, I think, calculated

17       consistent with the CIAC provisions.  If we do the work,

18       we're still supposed to get a credit based on the cost

19       of the overhead facilities.

20                 MR. TRAPP:  I don't know what degree, though,

21       that you're trying to introduce the concept of

22       externalities to this, because --

23                 MR. WRIGHT:  At this point, Bob, I am not.

24                 MR. TRAPP:  Okay.

25                 MR. WRIGHT:  That's a separate issue that I

199

1       will address elsewhere, but not here.

2                 MR. TRAPP:  But therein to me lies the real

3       complication.  I mean --

4                 MS. KUMMER:  Schef, I remember your comments,

5       and I was a little puzzled, because there's -- in my

6       mind, and the utilities can correct me if I'm wrong, the

7       credits that a customer is allowed for doing their own

8       work is credit against the total bill.  It is not a

9       payment in money to the customer, and that's what the

10       language seemed to imply.

11                 MR. WRIGHT:  Oh, well, if we do the work, it

12       is a payment to us.  We pay the contractor, and FPL

13       gives us -- in the case of my two clients, both of whom

14       are served by FPL, if we hire Mastech or Asplundh or

15       somebody else, Pike, to do the work, we pay them.

16                 MR. TRAPP:  But you take a credit associated

17       with --

18                 MR. WRIGHT:  And then we a credit back from

19       FPL based on the cost of overhead.

20                 MR. TRAPP:  Based on their cost, though, is my

21       understanding of how that works.

22                 MR. WRIGHT:  That's correct.

23                 MR. TRAPP:  And if that's correct, I really

24       don't think I have a problem with this concept.  It's

25       only if we're trying to introduce externality economics

200

1       into this equation that I think the section becomes more

2       complicated.

3                 MR. WRIGHT:  In this section, in this

4       calculation, I am not trying to introduce that.  I just

5       want to make sure we get full credit for the same O&M

6       costs that would -- the same O&M differential costs and

7       storm restoration costs that would otherwise be factored

8       in.

9                 MR. TRAPP:  Based on the costs that the

10       company would experience and normally pass on to

11       their --

12                 MR. WRIGHT:  Exactly.

13                 MR. TRAPP:  Well, actually, they wouldn't pass

14       them on to their ratepayers, because they're collected

15       through a CIAC from you.

16                 MR. WRIGHT:  Well, what I'm saying is we

17       should get a credit that incorporates future avoided O&M

18       costs and future avoided storm restoration costs, and I

19       just want to make sure that we're on board with that.

20                 MS. KUMMER:  I don't think that's what this

21       section --

22                 MR. TRAPP:  I'm not sure I'm there.  I've got

23       to see the math of that.  There again lies, I believe,

24       the entry point into the discussion about externalities

25       as it pertains to what I thought was a simple equation.

201

1       You can either have the company do the undergrounding,

2       or you can have the applicant do the undergrounding, in

3       which case the company wouldn't basically charge the

4       applicant for the undergrounding because they've paid

5       for it anyway.

6                 MS. KUMMER:  That was my thought, that that's

7       the way it would work.

8                 MR. TRAPP:  And that's just straight cost --

9                 MR. WRIGHT:  That's all true, but I believe

10       we're still supposed to get a credit based on the cost

11       the utility avoids.  They don't build the overhead.  We

12       get a credit for the otherwise applicable equivalent

13       overhead.  And what I'm saying is I think we should also

14       get a credit for O&M costs if we believe -- and at least

15       FPL and we appear to agree that storm restoration costs

16       are likely to be significantly less.

17                 MR. TRAPP:  I don't think that plays in here.

18                 MS. KUMMER:  Can some of you folks out there

19       help us on how it works?  You give a customer an

20       estimate for an underground facility, and he says,

21       "Well, okay.  You want a million dollars to do this.  I

22       can hire somebody else to do it for 500,000."  You

23       credit -- how do you handle that?  You pay him a credit

24       for --

25                 MR. WRIGHT:  Yes, and the overhead in your

202

1       example costs 200,000, Connie.

2                 MS. KUMMER:  But the overhead has already been

3       calculated, and it's already in the formula.  It has

4       already been taken out, is my understanding.  Once you

5       get a net -- am I making sense to anybody?  You're all

6       looking at me very blankly.

7                 MR. BREMAN:  I don't know.  Maybe the

8       discussion on paragraph (c) should be suspended until we

9       get to page 18, where we start talking about the actual

10       costs to be included in the charges, and then we can

11       come back and do a wrap-up on what the agreement is to

12       include, because I think your discussion, Schef, is more

13       pointed on what's to be included in the calculations,

14       and paragraph (c) says after all these things are

15       considered, whatever agreement the applicant and the

16       utility strike is not going to harm the rest of the

17       ratepayers.

18                 MS. KUMMER:  My question was much simpler, and

19       maybe you can throw it into your comments if you have

20       time.  If, again, you give the customer an estimate for

21       some portion of the work, and they say, "No, we're going

22       to do it ourselves," how is that handled?  What does

23       that do to the estimate?  What does that do to what you

24       charge them?  How does the math work on that?

25                 MR. WRIGHT:  Connie, there are two things.

203

1       There's the cost of the underground job, the cost of the

2       overhead job, and the CIAC.

3                 MS. KUMMER:  Which is the difference between

4       the two.

5                 MR. WRIGHT:  Yes.  FPL will tell us the cost

6       of the underground job and the cost of the overhead job,

7       and we can obviously calculate the CIAC from that.

8                 MS. KUMMER:  Right.

9                 MR. WRIGHT:  Okay.  But the question is, back

10       to your example, is the million dollars the CIAC or is

11       the million dollars the cost of the underground job?

12                 MS. KUMMER:  That would be the CIAC.

13                 MR. WRIGHT:  Okay.  Well, see, I was viewing

14       it as the cost of the underground job, but the same

15       analysis applies ultimately.  But we'll talk about it

16       when we get to subsection (11).

17                 MS. KUMMER:  I'll take Jim's suggestion and

18       shut up and let you go to the other parts.

19                 MR. HARRIS:  We were talking about paragraph

20       (3).  With the understanding we're going to move on in

21       this discussion, anything else in paragraph (3)?

22                 Paragraph (4)?

23                 Paragraph (5)?

24                 (6)?

25                 (7)?

204

1                 (8)?

2                 On to page 18, subsection (9).

3                 Subsection (10)?

4                 Subsection (11).

5                 MR. BUTLER:  On (11)(a), let me just start

6       with that.  And I'll not talk at length about this,

7       because it's really something we talked about with

8       respect to the Boca Winds development at the beginning

9       of the morning.

10                 We have -- FPL has a concern about making the

11       differentials that are described in here, operating and

12       maintenance costs, average historical storm restoration

13       costs, available generally to conversions because of

14       what we see as a very large differential in the impact

15       on the operating and maintenance costs and on the storm

16       restoration costs, depending on whether you're talking

17       about a sort of individual or small number of customers

18       who are converting in an area that remains substantially

19       served by overhead or talking about some sort of large

20       contiguous area where you no longer are having to go in

21       there and do overhead restoration work after a storm, or

22       for that matter, overhead maintenance work prior to the

23       storm.

24                 And we think it's very important that this

25       differential, if we're going to be using one at least,

205

1       or a differential, that it be calculated based on the

2       assumption of a large contiguous area so that it will be

3       substantial, and then that it be available only to those

4       sorts of areas so that (1) you're getting a differential

5       that's big enough to make a difference in the customer's

6       CIAC costs, and then (2), on the other hand, that you

7       don't have customers who really don't deserve that

8       differential because they're one-off conversions that

9       don't generate the savings benefiting from that

10       calculated differential.

11                 So the approach we had taken, which we

12       continue to recommend, is this idea of limiting whatever

13       credit, however it is calculated, to the

14       government-sponsored projects that would be fitting into

15       this pattern of being the substantial contiguous area

16       and not making this available, as is essentially

17       implicit in (11)(a), to all customers who convert, no

18       matter what their circumstances are.

19                 MR. TRAPP:  I have the -- I guess I could make

20       the same argument for your 25 percent reduction plan.

21       It seems to me to be discriminatory, maybe not unduly

22       discriminatory, because you've tied it to financing

23       concerns, as I understand it.  You've got to have a

24       governmental entity to deal with, because you're surely

25       going to pay for the project.  But I don't see any

206

1       science behind the 25 percent.  I do see some glimmer of

2       the opportunity for science between these differentials.

3                 I do share with you, though, the scale

4       problem.  Do you get the same reliability and storm

5       avoidance -- cost avoidance benefit from, you know,

6       converting two blocks to underground as opposed to

7       converting a whole neighborhood, county, region?  I

8       think staff is struggling with that also.

9                 Personally, I would defer more to the science

10       of calculating the differentials, because we've worked

11       with it longer and have more experience with it, and

12       it's just an arbitrary 25 percent reduction to certain

13       amounts of customers that's going to come back and be

14       paid for by everybody in their rates anyway.

15                 MR. BUTLER:  Of course, keep in mind, in our

16       current proposal, we don't have the 25 percent.

17                 MR. TRAPP:  That's correct.

18                 MR. BUTLER:  The current proposal is to have a

19       provision that would have utilities file tariffs that

20       define both the applicability terms for the local

21       governments as well as what the percentage factor would

22       be.

23                 MR. TRAPP:  I thought you had a tariff filed

24       with us now that was under suspension that had a 25

25       percent reduction in it.

207

1                 MR. BUTLER:  Well, we think that that is about

2       right, and it is based on an evaluation of the storm

3       restoration cost differential in those sorts of areas.

4       You know, that's likely what we would ask you to

5       consider as the tariffed amount.  We would expect you to

6       ask us to provide justification.  If there was a

7       different percentage that seemed appropriate, we might

8       end up settling on something different.

9                 But I don't disagree with you, Bob, about the

10       fact that it ought to be tied to some sort of measured

11       differential.

12                 MR. TRAPP:  But your argument started with a

13       concern about scale, and I don't have see any difference

14       in concerns about scale with respect to a 25 percent

15       reduction to governments where governments can be

16       defined by, you know, 10-customer pilot projects versus

17       600 versus 6,000, communities.  I don't see any

18       difference with respect to the arguments involving

19       scale.

20                 What I really need to know from the industry

21       is what are the targeted areas where such incentives

22       should be put in place.  Are they coastal areas subject

23       to flooding?  Are they interior areas subject to wind

24       damage, none of the above, all of the above?  And that's

25       pretty much the impetus for our movement in the

208

1       construction standard rule to putting the responsibility

2       on the utility to identify those areas.

3                 MR. BUTLER:  In our proposal as it currently

4       stands, you know, one of the things that we would be

5       bringing into the tariff evaluation is the issue of

6       applicability.  I mean, it's got to be a government.

7                 The reason for the government -- you're right,

8       the government-sponsored doesn't necessarily imply a

9       particular scale.  In fact, I think you would find that

10       the great majority of the projects would be for

11       neighborhood size, contiguous areas that would at least

12       meet the minimum threshold for the scale.  But if they

13       didn't, that might be something in an applicability

14       requirement that would disqualify something that's

15       otherwise government-sponsored from qualifying for the

16       government assistance or adjustment factor.

17                 But the real reason for the government goes

18       back to the issue of being in a position -- it's sort of

19       an enforcement issue here.  They can assemble the

20       coalition kind of by fiat that will be the area which

21       will be undergrounded in a way that generally a

22       neighborhood without the resources of the government and

23       the enforcement powers of the government can't do.  We

24       don't rule that out.

25                 What we wanted to do was to get started with

209

1       the government-sponsored projects, because that is the

2       most obvious mechanism of making it happen.  But, you

3       know, if Boca Winds or whoever has something that will

4       truly work that is an enforceable mechanism to be sure

5       everybody is doing it and everybody is paying for it,

6       then, you know, I think that's something that this could

7       move to in time.

8                 But really, the key two elements are scale,

9       and then a way to implement effectively and sort of

10       uniformly the undergrounding within that contiguous area

11       that has been identified, and that's where the

12       government comes in.

13                 MR. TRAPP:  And by doing that, by adopting

14       that policy, you will answer the question of do we

15       really get any benefit from this?  I mean, the arguments

16       that you made with respect to, "Why make us change out

17       every pole to the high wind standards?  It's not going

18       to accomplish anything, just increase costs," it seems

19       to me the same arguments would apply with respect to

20       undergrounding.  Where have you shown us that

21       undergrounding is a preferred means of construction?

22                 MR. BUTLER:  That would be the justification

23       for the adjustment factor that would be approved in the

24       tariff.  We would expect you to require us, and we would

25       expect to provide a differential, a cost differential

210

1       basis to justify what's going to end up being done.

2                 And rather than -- we started in our first

3       proposal at 25 percent.  We sort of realize that that's

4       something that there's probably enough variation among

5       different utilities as to that, and perhaps as to how

6       they would want to define applicability in their areas,

7       that it made more sense to be something that was

8       tariffed rather than trying to specify one size fits all

9       in the rule, and that's why our proposal reads the way

10       that it does now.

11                 The big concern on the other side is that we

12       think that your rule as it currently is proposed has

13       sort of one size fits all in the other direction.  It's

14       everybody qualifies.  You give the same thing to the

15       individual conversion to accommodate a swimming pool in

16       somebody's back yard as you do to a community that's

17       going en masse from overhead to underground, and that

18       doesn't seem like it's a good use of resources.

19                 MS. KUMMER:  I've got two points that I would

20       like to make on what you just said.  The calculation

21       supporting the 25 percent you said would include a

22       number of things.  Would that also include the

23       rationale, the justification or identification,

24       quantification of the benefits to the general body of

25       ratepayers for that 25 percent that you're passing on to

211

1       them?

2                 MR. BUTLER:  Yes.

3                 MS. KUMMER:  Okay.  And in terms of the scale,

4       I guess is what you're tossing back and forth, the guy

5       with the swimming pool versus the entire community,

6       isn't that implicitly taken into account in (a), because

7       if there's no operational or maintenance benefits, those

8       numbers are zero?

9                 MR. BUTLER:  But what -- I mean, that is a way

10       you could interpret your rule, but the problem is that

11       then it becomes this infinitely sliding scale of, I

12       think, a real administrative burden.  And our sense is

13       that, first of all, when you really get down to the

14       individual or very small number of conversions, the

15       savings are pretty close to nothing.

16                 MR. BREMAN:  Right.

17                 MR. BUTLER:  So at that level, you're just not

18       talking about having anything that applies.  And then if

19       you have to -- each time you look at a customer and

20       calculate their CIAC, you have to separately figure out

21       where that customer falls, or that group of customers,

22       within a sort of pattern of how much savings is going to

23       be generated, I think there's a real administrative

24       burden and kind of an opportunity for disputes and just

25       a slowdown of the process.

212

1                 What we were trying to do was to focus on what

2       clearly does give benefits or most clearly gives

3       benefits, and to do that first, and to our minds, that's

4       the large contiguous areas.  I mean, you could do it the

5       way you're talking about, but I think that if you did

6       that, it would be something that would require a whole

7       additional layer of decision-making on developing that

8       scale.

9                 MR. TRAPP:  How do you know that that single

10       pole that that single customer converted to an

11       underground installation is not the pole that takes out

12       the community?

13                 MR. BUTLER:  You can't know that.  That's not

14       what I'm trying to say, Bob.  Obviously, you can't know

15       about a particular pole.  But what you really get is the

16       situation that if the community of which that one

17       customer is a part still has a lot of overhead

18       facilities in it, then that area has to be maintained,

19       and then after a storm, restored essentially as an

20       overhead served area.  And below a certain threshold,

21       you don't really reduce the amount of -- you know, the

22       number of trips by trucks and the amount of work that

23       ends up being done for overhead restoration in those

24       areas.

25                 MR. BREMAN:  What is -- excuse me.  This is

213

1       Jim Breman.  What is that threshold?  Is it 1,000 feet,

2       99 feet, 55 feet?  I would like each utility to answer

3       that question.  What is the minimum threshold that you

4       have to have in order to have any kind of cost

5       differential between overhead and underground O&M and

6       storm restoration costs?  I would like to move this

7       discussion off the theoretical and start putting some

8       analysis on it.  Is that possible?

9                 MR. BUTLER:  We can talk to it generally.  I

10       mean, we're not going to be able to give you a number,

11       but -- Tom, do you want to speak to it?

12                 MR. BREMAN:  If we have to do this thing on a

13       1,000-foot increment or whatever, I mean, engineers can

14       come up with numbers and methods of allocating costs.  I

15       think if we really try to get this thing down, we can.

16       I really would like to see some sort of quantification.

17       And I apologize to the rest of the panel here, but I

18       sort of need to have some numbers to work from so I

19       don't spend so much time talking about theory.

20                 MR. KOCH:  This is Tom Koch from FPL, K-o-c-h.

21       And, yeah, I mean, we're in the process of working on

22       that right at the moment, and there's probably going to

23       be differentials.  There is not going to be -- you know,

24       is there going to be a bright line for that type of

25       thing?  I would say probably not.  There's not going to

214

1       be a bright line, but there's going to be a point where

2       it's kind of clearly on one side, clearly on the other.

3                 And there's no way -- we're certainly getting

4       no savings from having a couple of customers here, a

5       couple of customers there.  You're still going to have

6       to roll vehicles in storm restoration mode.  That's just

7       absolutely going to happen.

8                 Is it going to be something where it's, you

9       know, thousands and thousands of customers?  No, it's

10       not going to be that large either.  And so we're working

11       on honing the information right now.

12                 MR. BREMAN:  And chances are the first time

13       through, we won't have it perfect.

14                 MR. KOCH:  That's correct.

15                 MR. TRAPP:  I would just like to add that one

16       of the advantages of averages is that you make -- you

17       have the potential to make less people mad, or at least

18       a little less mad.  And I'm having a real struggle with

19       the selective approach to providing discounts.  I mean,

20       let's face it, this is America.  Everybody wants a

21       discount.  You know, when I go to Wal-Mart, I look for a

22       discount.

23                 So I just don't know how you're going to keep

24       the floodgates shut to, you know, the selective discount

25       approach.  However, if we can define within some range

215

1       of error a definitive valuation technique that can be

2       applied on an individual customer basis, that to me

3       would be more ideal.

4                 MR. KOCH:  This is Tom Koch again.  Let me

5       speak to that maybe a little more concretely, because I

6       might have been misinterpreted.  You know, we're going

7       to decide what that threshold is.  I think that's going

8       to be probably decided jointly.  You're going to look at

9       that.  You're going to look at our analysis, and you're

10       going to say, "This makes sense."  Okay?  So there is

11       going to be a determination of what that is.  You know,

12       there's going to be part art and part science to it, is

13       what it's going to involve.

14                 But I think -- let's take a practical look at

15       this thing.  You know, the folks that we're dealing with

16       and who are looking to us to help them with

17       undergrounding situations are customers like Mr. Wright

18       represents.  They aren't customers necessarily that are

19       one-off type of things.  What we don't want is an

20       unintended consequence where we generate a bunch of

21       other activity which kind of dilutes stuff, where we can

22       clearly see a restoration, a storm restoration benefit

23       from some, that it might be questionable, shall we say,

24       and then we're left to -- it makes it very difficult for

25       the utility to manage that activity as we go forward.

216

1       So I think that's what basically we're going to be

2       looking at.

3                 And it is true also, and one of the reasons

4       that there is the modification in what we filed back on

5       the 3rd is that, you know, there are differences --

6       recognizing there are differences between the utilities

7       in terms of what they should expect as far as storm

8       incidents, what they should expect as far as storm

9       severity, the amount of customers affected, et cetera,

10       et cetera, and what the individual companies'

11       experiences have been.  And there's going to be

12       differences in assumptions that each company is going to

13       apply as well.

14                 So that's the reason why we think it's the

15       preferred method to go through the tariff thing.  You

16       have the rule kind of setting up the umbrella for it,

17       and then basically you file tariffs that support that

18       which are going to be basically individually company

19       based.

20                 MR. TRAPP:  But you seem to stand alone on

21       this, and I would like input from the other parts of the

22       industry, particularly Gulf Power, who probably had more

23       experience than most with the hurricane effect on

24       underground facilities.  How do you all feel about what

25       staff is proposing?  Have we missed the mark?  Do you

217

1       have a better mark for us to shoot for?  Would you

2       rather go with Power & Light's mark?

3                 MS. PINKERTON:  My name is Sharon Pinkerton,

4       S-h-a-r-o-n, P-i-n-k-e-r-t-o-n.

5                 And Gulf Power has previously communicated to

6       you all that we believe in the customer's choice.  If

7       they decide to go underground, we try to educate them on

8       the pros and cons of going underground, whether it's

9       inland or on the coast.

10                 Specifically, the restoration costs along the

11       coast would be substantially more, and that has been

12       proven in Ivan, and even off our system in Katrina in

13       Mississippi.

14                 So we're more along the lines of just allowing

15       the customer to choose, and if they're willing to bear

16       the differential, we work with them and go underground

17       if they so choose to pay the differential.

18                 MR. TRAPP:  So you see no inherent advantage

19       underground to overhead in any instance?

20                 MS. PINKERTON:  Well, I've seen underground

21       survive on the coast, I've seen overhead survive on the

22       coast, and I've seen both destroyed on the coast.

23                 MR. TRAPP:  And with respect to restoration?

24                 MS. PINKERTON:  Restoration depends on the

25       availability of the underground materials.  And

218

1       predominantly, the industry is an overhead industry, so

2       the material -- gathering material such as your cable

3       and your pad-mount switch gears probably would take

4       longer, in our experience.  I don't know FP&L's

5       experience, but in our experience.

6                 We are currently converting Pensacola Beach to

7       underground because that was the customer's choice.

8       It's a substantial cost to them.  We are taking some

9       proactive measures, such as concrete duct banks, such as

10       flush mount equipment.  We don't know if that will

11       survive the next storm, and that's what we're calling

12       our pilot program.

13                 MS. KUMMER:  And just to be clear, once the

14       customer pays the initial CIAC for the undergrounding,

15       they pay no additional restoration costs or anything

16       else; correct?

17                 MS. PINKERTON:  I will need to defer that.

18                 MR. STONE:  I believe the arrangement we have

19       with Pensacola Beach in their underground is that if it

20       were to be destroyed, it would be the utility's option

21       to rebuild overhead.

22                 MS. KUMMER:  And again, if they wanted it

23       underground, they would pay another differential?

24                 MR. STONE:  That is -- I'm going on sketchy

25       recollection of what that agreement was, but it was an

219

1       individually tailored agreement.

2                 MS. KUMMER:  But in general, do you have a

3       feel for --

4                 MR. STONE:  Well, again, as Ms. Pinkerton

5       referred to, that is a pilot program, so it would be

6       hard for me to generalize beyond that pilot program at

7       this point.  And as we indicated, that's one that's

8       under way as we speak.

9                 MS. KUMMER:  Okay.  Thank you.

10                 MR. HARRIS:  I must admit to being a little

11       confused by this entire discussion.  But I guess my

12       question is, not being an engineer, are we making

13       progress with section (11) and getting us on toward

14       section (12), or are we talking about things that sort

15       of are important, but maybe aren't getting us to where I

16       think we need to be, which is the staff receiving

17       workshop comments so that we can get a rule out, a rule

18       proposal to the Commissioners filed in a few weeks?  And

19       if we are, then let's keep on talking about it.  If

20       we're not, then let's try to sort of focus on subsection

21       (11) and subsection (12) so we can sort of get this

22       wrapped up and start working on the recommendation we're

23       going to bring to the Commissioners.  That would be just

24       my suggestion, and I might be off base here.

25                 Not hearing anybody, are there specific

220

1       comments on subsection (11) that you all want to make at

2       this point that we want to take time to listen to?

3                 MR. WRIGHT:  Larry, I have just two questions.

4                 MR. HARRIS:  Schef.

5                 MR. WRIGHT:  Am I correct to interpret (a) --

6       where it says the net present value of operating and

7       maintenance costs and the average historical storm

8       restoration costs, would that be the net present value

9       of O&M cost differentials and the net present value of

10       projected future storm restoration costs, or left to

11       further flesh out, or what?  That's question number one.

12                 MR. TRAPP:  I'm an engineer, and I believe in

13       present value, but --

14                 MR. WRIGHT:  That's good enough for me, Bob.

15                 MR. TRAPP:  I think that's a reasonable

16       interpretation, Schef, unless we -- I mean, you know,

17       there's always an opportunity for somebody to make a

18       better argument.

19                 MR. WRIGHT:  Sure.  And my other question is,

20       in (b), where you all say all costs, including overhead

21       assignments, was that attempting to address our

22       comments?

23                 (Simultaneous affirmative responses.)

24                 MR. WRIGHT:  Thank you.

25                 MR. HARRIS:  Anything else on subsection (11)?

221

1                 Okay.  Subsection (12) then, we'll move on

2       there.  Any comments on staff's proposed rule language

3       for subsection (12)?

4                 Last would be subsection (13).  Any comments

5       on subsection (13?

6                 Okay.  Are there any final comments from

7       anybody on Rule 25-6.115, with the understanding that

8       I'm asking this question to help us develop a rule, a

9       recommendation that we can propose to the Commissioners?

10       By "us" I mean staff.

11                 Okay, as Mr. Trapp mentioned a couple of

12       times, we feel like we're on a time line here, and we're

13       making our pain felt to you, and the way we're doing

14       that is -- I understand that in general, we give a fair

15       amount of time for workshop comments.  Staff wants to go

16       to a June 20th agenda conference, which means we have to

17       have a recommendation filed by June 8th.  In order to do

18       that, we have to get comments from you all.

19                 The date we're proposing and we would like you

20       all to commit to is May 25th to get your proposed

21       workshop comments.  And that does not give us a lot of

22       time to go through them and try to make whatever changes

23       and then get a recommendation written.

24                 So I understand that that's not a lot of time

25       for you all, but I hope you see that it's not a lot of

222

1       time for us to take and digest them and try to get a

2       recommendation written on this issue that will assist

3       the Commissioners in making their decision whether to

4       propose rule amendments or not.  And so unless someone

5       tells me that they can't have comments in by the 25th,

6       that's what I'm going to ask from you all.

7                 MR. BUTLER:  Is there any chance of doing that

8       on the 26th, Friday of next week instead of Thursday,

9       just to give us the full week?

10                 MR. TRAPP:  Do you have a calendar?

11                 MR. HARRIS:  I don't have a calendar, Bob.

12                 MR. WRIGHT:  Second.

13                 MR. TRAPP:  I thought that was a Friday.

14                 MR. HARRIS:  Just one day later.  I mean, do

15       we have a --

16                 MR. TRAPP:  Is that a Friday?

17                 MR. HARRIS:  Yes, the 26th is a Friday.

18                 MR. TRAPP:  Well, you know, we won't see it.

19                 MR. HARRIS:  We're going to meet on the 26th,

20       so it can come in so that staff can take it home and

21       look at it over the weekend.  I think we can do that

22       probably, because I know, speaking for one staff member,

23       this is going to be good reading for me over the

24       Memorial Day weekend.

25                 MR. BUTLER:  Okay.

223

1                 MR. HARRIS:  Perfect.  We are having this

2       transcribed.  The transcript will be posted as soon as

3       it can be, for those of you who will look it up.  You

4       all will get the comments in the way we did last time.

5                 I think there was some question about also

6       financial information.  Bob, do you want to address that

7       a little bit more?  We have the same date, and we can

8       move that to noon on Friday also, noon on the 26th.

9                 MR. TRAPP:  I hope you've had some time since

10       the submission of the last workshop comments to think

11       more about the cost impact of some of the proposals.

12       And given that we've really only talked about two basic

13       proposals, kind of a mandatory approach and then a more

14       discretionary approach, I think you all started down the

15       right path.  If you could perhaps devote a little more

16       attention to the cost impacts so that we can see if

17       there truly is a difference between the two approaches,

18       that would be helpful.

19                 Again, I'm sorry for the short turnaround, but

20       June 8th is the filing date for staff.  That means we've

21       got internal drafts and all that kind of stuff that have

22       to be approved even before me.

23                 MR. HARRIS:  And the SERC is only good as the

24       data we get, and so in order to give the Commissioners

25       the fullest view of the impact of the amendments that we

224

1       are going to recommend yo them, we really are asking you

2       all for good data.

3                 Is there anything else anyone wants to bring

4       up at this workshop before we go ahead and close it?

5                 Okay.  Hearing nothing, we're going to go

6       ahead and adjourn.  Thank you all for your attention

7       today, and thank you all for your time.  I know it went

8       longer than we had all hoped.  Have a good day.

9                 (Proceedings concluded at 4:02 p.m.)

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

225

1                       CERTIFICATE OF REPORTER

2

3       STATE OF FLORIDA:

4       COUNTY OF LEON:

5                  I, MARY ALLEN NEEL, Registered Professional

6       Reporter, do hereby certify that the foregoing

7       proceedings were taken before me at the time and place

8       therein designated; that my shorthand notes were

9       thereafter translated under my supervision; and the

10       foregoing pages numbered 119 through 224 are a true and

11       correct record of the aforesaid proceedings.

12                 I FURTHER CERTIFY that I am not a relative,

13       employee, attorney or counsel of any of the parties, nor

14       relative or employee of such attorney or counsel, or

15       financially interested in the foregoing action.

16                 DATED THIS 31st day of May, 2006.

17

18

________________________

19                                 MARY ALLEN NEEL, RPR

2894-A Remington Green Lane

20                                 Tallahassee, Florida  32308

(850) 878-2221

21

22

23

24

25