1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

In the Matter of:

3

4   PROPOSED RULES GOVERNING PLACEMENT OF   DOCKET NO. 060172-EU

NEW ELECTRIC DISTRIBUTION FACILITIES

5   UNDERGROUND, AND CONVERSION OF EXISTING

OVERHEAD DISTRIBUTION FACILITIES TO

6   UNDERGROUND FACILITIES, TO ADDRESS

EFFECTS OF EXTREME WEATHER EVENTS.

7

--------------------------------------

8

PROPOSED AMENDMENTS TO RULES            DOCKET NO. 060173-EU

9   REGARDING OVERHEAD ELECTRIC

FACILITIES TO ALLOW MORE STRINGENT

10   CONSTRUCTION STANDARDS THAN REQUIRED

BY NATIONAL ELECTRIC SAFETY CODE.

11   _______________________________________/

12

13

14

15

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

16                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

17            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

18

19   PROCEEDINGS:        AGENDA CONFERENCE

ITEM NO. 3

20

BEFORE:             CHAIRMAN LISA POLAK EDGAR

21                       COMMISSIONER J. TERRY DEASON

COMMISSIONER ISILIO ARRIAGA

22                       COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. TEW

23

24   DATE:               Tuesday, June 20, 2006

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   PLACE:              Betty Easley Conference Center

Room 148

2                       4075 Esplanade Way

Tallahassee, Florida

3

REPORTED BY:        JANE FAUROT, RPR

4                       Chief, Hearing Reporter Services Section

FPSC Division of Commission Clerk and

5                          Administrative Services

(850) 413-6732

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1   PARTICIPATING:

2             LEE L. WILLIS, ESQUIRE, representing Tampa Electric

3   Company.

4             JOHN T. BUTLER, ESQUIRE, representing Florida Power &

5   Light Company.

6             MICHAEL GROSS, ESQUIRE, representing FCTA.

7             GENE ADAMS, ESQUIRE, representing Time-Warner

8   Telecom.

9             FRED BRYANT, ESQUIRE, representing Florida's

10   Municipal Electric Utilities.

11             SCHEFFEL WRIGHT, ESQUIRE, and LINDA SAUL-SENA,

12   representing the towns of Palm Beach and Jupiter Island.

13             MICHELLE HERSHEL, representing the Florida Electric

14   Cooperatives Association.

15             MICHAEL COOKE, ESQUIRE, LARRY HARRIS, ESQUIRE, BOB

16   TRAPP, and CONNIE KUMMER, representing the Florida Public

17   Service Commission Staff.

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                         P R O C E E D I N G S

2             CHAIRMAN EDGAR:  We will begin our discussions on

3   Item 3, and I'll look to staff for an introduction.

4             MR. TRAPP:  Good morning, Chairman Edgar and

5   Commissioners.  Boy, have we had a good time.  From April to

6   June we've had --

7             COMMISSIONER CARTER:  Speak a little louder.

8             MR. TRAPP:  We've had a real good time with this

9   rulemaking.  From April to June we have had serious discussions

10   with the utilities, give and take, and with your indulgence I

11   have a little bit longer than usual introduction, and I'll get

12   right to it.

13             The hurricanes of 2004, as we all know, wreaked havoc

14   on Florida's electric transmission and distribution grids.  The

15   back-to-back onslaught of Charley, Frances, Ivan, and Jeanne in

16   2004 and Dennis, Katrina, Rita, and Wilma in 2005 has raised

17   our awareness of what a powerful force mother nature can be.

18             While we may not be able to control the weather, this

19   Commission has undertaken a comprehensive review of ways the

20   state's critical electrical infrastructure can be improved to

21   withstand and recover from severe weather events.  In 2004 and

22   2005, at the request of the legislature, the Commission studied

23   the cost of undergrounding electric facilities in Florida.

24   Based on a preliminary study done at that time and released in

25   March of 2005, it was estimated to cost approximately $95

FLORIDA PUBLIC SERVICE COMMISSION

5

1   billion to place all existing overhead distribution lines and

2   feeders underground.  This compares to the $7 billion current

3   net book value of these facilities.  Because of these costs,

4   the Commission directed staff to explore other alternatives,

5   too, specifically hardening, a more targeted approach at

6   strengthening both overhead and underground facilities,

7   including but not limited to improved maintenance, more

8   aggressive tree trimming, increased wind loading standards,

9   enhanced flood and storm surge protection for elements of the

10   Florida electrical grid.

11             On January 23rd, 2006, hardening was explored at a

12   public workshop.  Subsequently, at the February 27th, 2006,

13   Internal Affairs, the Commission approved a multi-pronged menu

14   of specific short-term and long-term actions to address the

15   hardening of Florida's electric infrastructure.  The actions

16   directed by the Commission included the requirement for pole

17   inspections, short-term and long-term storm preparedness plans,

18   increased research data collection and community outreach and

19   rulemaking.

20             We are here today to address the rulemaking segment

21   of the Commission's overall hardening strategy.  Staff is

22   proposing a six-year approval of rules which require all

23   electric utilities to establish standards of construction which

24   go beyond the minimum requirements of the National Electric

25   Safety Code to ensure that new and critical existing electric

FLORIDA PUBLIC SERVICE COMMISSION

6

1   facilities can better withstand extreme wind loading, storm

2   surges and floods, encourage electric utilities to maximize

3   their use of easements and road right-of-ways to locate their

4   distribution facilities in readily accessible locations to

5   facilitate maintenance and storm restoration, require safety,

6   reliability, pole-loading capacity and engineering standards

7   for third-party attachments to electric facilities, and require

8   investor-owned utilities to track and account for operational

9   and storm-damage costs affecting overhead and underground

10   facilities, and to include these costs in the cost differential

11   estimates that they use for new underground installations and

12   conversions.

13             The proposed rules were developed in public workshops

14   held on April 17th and May 19th, 2006.  Post-workshop written

15   comments were also solicited and received.  The workshops were

16   legally noticed, all interested parties were afforded the

17   opportunity to participate and contribute their thoughts and

18   opinions.  I'm happy to report that input in one form or

19   another was received from city officials and citizens of

20   Florida, the investor-owned electric utilities, municipal

21   electric utilities, rural electric cooperatives, the wood pole

22   industry, the cable industry, and the telecommunications

23   companies.  To the extent deemed appropriate, these comments

24   that were received by Staff have been reflected in the proposed

25   rules.

FLORIDA PUBLIC SERVICE COMMISSION

7

1             In some areas the parties and Staff agree.  In other

2   areas we have agreed to disagree, and in a few areas we have

3   agreed to strongly disagree.  In order to better address some

4   of the concerns raised by the telecommunications companies, for

5   instance, staff has revised its originally-filed recommendation

6   to include rule language clarifying that as electric utilities

7   develop their hardening standards they are expected to

8   communicate and seek input from other entities that attach to

9   their facilities.

10             With regard to the overall topic of construction

11   standards, there were three main areas where consensus could

12   not be reached.  They pertain to the location of distribution

13   facilities, standards for pole attachments, and the

14   Commission's jurisdiction over municipal electric utilities and

15   rural electric cooperatives.  In order to keep the rulemaking

16   process going forward, staff has attempted to address this lack

17   of consensus in these areas by breaking the original proposed

18   standards of construction rule into four separate parts, these

19   are addressed in Issues 1 through 4.  In Issues 2 and 3, Staff

20   has recommended that an additional workshop be held to collect

21   data to identify the costs alleged by third-party attachers

22   associated with these rules.  In Issue 4, staff addresses the

23   jurisdictional issues over munies and co-ops.

24             Issue 1, however, staff strongly recommends that the

25   Commission take action on.  We believe that Rule 25-6.034,

FLORIDA PUBLIC SERVICE COMMISSION

8

1   which is our standards of construction rule now, and which has

2   basically been stripped down to a basic core rule of necessity,

3   is needed at a minimum to allow the electric utilities to move

4   forward with the basic hardening decisions they need to make to

5   ensure safe, adequate, reliable, and affordable electric

6   service taking into consideration the increased risk of

7   hurricane activity that we currently face.

8             Equally important, the staff has proposed certain

9   changes to the rules pertaining to electric safety,

10   contribution in aid of construction calculations, and

11   undergrounding.  These are addressed in Issues 5 through 8.  We

12   believe that these rules should also be proposed for adoption.

13             I believe that many other parties are here to discuss

14   this with us today, otherwise staff is prepared to answer any

15   questions.

16             CHAIRMAN EDGAR:  Thank you, Mr. Trapp, and I

17   appreciate the way you have outlined where we are and what

18   brought us to where we are today.  As Mr. Trapp has said, we

19   have a number of people who have indicated an interest to speak

20   on this item.  We will try to move through and give everybody

21   the opportunity to speak and, of course, the opportunity for

22   all Commissioners to ask questions.

23             Before we do that, though, I would like to go ahead

24   and start by saying thank you to our staff because we have

25   asked them to do a lot of work in these last few months and to

FLORIDA PUBLIC SERVICE COMMISSION

9

1   do thorough yet timely analysis, and I'm pleased that we are at

2   the point that we are today so we can have this discussion and

3   talk about these issues.  And I also want to thank everyone who

4   has worked with our staff.  I'm very pleased at the

5   collaboration and the discussions that we have had also to

6   bring us to this point.  So, again, we have a number of people

7   who would like to speak, and I want to be sure that we get to

8   everybody, and so we will begin, Mr. Butler, with you.

9             MR. BUTLER:  Thank you, Madam Chairman.  John Butler,

10   Florida Power and Light Company.

11             FPL appreciates staff's hard work in developing the

12   infrastructure hardening rules.  The two workshops that staff

13   held proved very useful in airing the different interests and

14   concerns of the participants.  And we're pleased to support the

15   proposed rules that staff has recommended to you today, which

16   we believe are compatible with the objectives of FPL's storm

17   secure plan and will help facilitate our implementation of

18   storm secure.

19             In reviewing staff's recommendation, we have noted a

20   couple of minor glitches that we would ask you to consider

21   correcting, and I would like to run through those with you very

22   briefly here.  I'm going to refer to, as page references, to

23   staff's June 8 recommendation, Attachment A.  It will hopefully

24   make it a little easier to follow.

25             The first of these items is on Page 56.  It's in

FLORIDA PUBLIC SERVICE COMMISSION

10

1   Rule 25-6.0642, and it is the formula that appears at the top

2   of the page on Page 56.  And FPL would ask that the word "base"

3   be inserted into the, I guess, right-hand most box there so

4   that it would read, "Four years expected incremental base

5   demand revenue, if applicable."

6             And the reason for that, I think this is something

7   we're maybe just -- it fell through the cracks.  FPL has the

8   circumstance of there being actually clause revenues that are

9   collected on a demand basis.  And the intent of this is to only

10   pick up and show us an offset to the CIAC, the revenues that

11   would be collected as base revenues, so we wanted to clarify

12   that point.

13             The next item is also on Page 56, it shows up on

14   Lines 8 and 9, it would be a revision to Rule 25-6.0642(c), I'm

15   sorry, 2(b), and in the determination of the amount that would

16   be included in the calculation of CIAC, there is not a

17   reference to the net book value of replaced facilities in an

18   upgrade situation.  And this is an appropriate amount to

19   collect as part of the CIAC, whatever is left of the value of

20   the facilities that are no longer used.  And I would note that

21   it is consistent with what the -- what Staff's rule shows in

22   Rule 25-6.115(8)(b) with respect to conversion.  So it would

23   just be making the formula for upgrades under this extension,

24   and upgrade rule consistent with what is done on conversions.

25             And, the final one is -- excuse me -- I'll refer you

FLORIDA PUBLIC SERVICE COMMISSION

11

1   to Page 61, and this would be a change to Rule 25-6.0784, and

2   specifically looking at Lines 15 and 16.  We had discussions in

3   the workshop of the fact that in looking at the cost

4   differences between underground and overhead systems, it's hard

5   to make an apples-to-apples comparison if you look only at

6   operating and maintenance expenses, or only at capital

7   expenditures, because some of the things that would be treated

8   as repairs for overhead might be treated as capital for

9   underground, vice versa, and that distinction is reflected

10   throughout the rules staff is proposing here in doing this cost

11   differential calculation where they use the phrase operational

12   costs instead of operating and maintenance costs.  But in

13   Subsection 4 here where it is talking about collecting the data

14   on the types of cost differentials that one would need to

15   reflect, it uses the term operating and maintenance costs.

16             My understanding from talking to staff is that this

17   is because they are -- or were of the impression that the

18   capital costs are already clearly divided between underground

19   and overhead.  And I am advised that at least for FPL that

20   isn't the case, so it would really be better for this term to

21   refer to operational costs instead of operation and maintenance

22   costs as well.  Those are the three -- again, I consider very

23   minor items.

24             Once again, congratulate staff on the excellent job

25   that they have done, their willingness to work with us and

FLORIDA PUBLIC SERVICE COMMISSION

12

1   their willingness to find ways of accommodating all of the

2   parties' interests as well as they have done.

3             Thank you.

4             CHAIRMAN EDGAR:  Thank you, Mr. Butler.

5             Commissioners, any questions at this point?  No.

6             Mr. Trapp, can you respond to the suggestions that

7   Mr. Butler has made?

8             MR. TRAPP:  Yes, Ms. Kummer is going to respond.

9             MS. KUMMER:  Staff can accept the changes.

10             CHAIRMAN EDGAR:  Commissioners, any questions for our

11   staff or for Mr. Butler?

12             COMMISSIONER CARTER:  I didn't hear what she said.

13             CHAIRMAN EDGAR:  I believe she said that the changes

14   that Mr. Butler has suggested are acceptable to Staff.

15             Ms. Kummer, did I say that correctly?

16             MS. KUMMER:  Yes, that's correct.

17             CHAIRMAN EDGAR:  Mr. Willis.

18             MR. WILLIS:  Thank you, Madam Chairman.  I'm Lee

19   Willis, I represent Tampa Electric Company.  I want to commend

20   staff and thank them for the way that they have conducted this

21   proceeding to date.  We have had two very productive workshops.

22   We have had good dialogue in and around those workshops.  We

23   have had post-hearing comments that have been made following

24   the workshops, and staff has been responsive to the various

25   points that different parties have made.

FLORIDA PUBLIC SERVICE COMMISSION

13

1             And as a result, I think that you have a good product

2   before you.  It is one that we can support, and it is one that

3   we urge you to adopt today and to continue your momentum that

4   you have achieved from the very beginning of this year in the

5   multiple dockets and proceedings that you have had to study

6   this area.  And we urge that you proceed to adopt these rules.

7             I would like to reserve time to respond if there are

8   those that make comment that would tend to undermine the

9   proposal, and I would like to come back and make a response as

10   necessary.  Thank you.

11             CHAIRMAN EDGAR:  Thank you, Mr. Willis.

12             Mr. Gross.

13             MR. GROSS:  Thank you, Madam Chair.  And good

14   morning, Commissioners.  I'm Michael Gross here on behalf of

15   the FCTA.  And, once again, I thank you very much for giving me

16   an opportunity to speak this morning.

17             I'm here to address Issues 1 and 3; 1 deals with the

18   construction standards and 3 deals with the third-party

19   attachment standards and procedures.  We would like to reserve

20   any comments, if there is a future workshop, on Issue 2 dealing

21   with location of facilities.  We appreciate the additional

22   subsection that staff inserted that allows for the parties to

23   cooperate in construction of new facilities, and we thank the

24   staff for that accommodation.

25             But we concur with the parties who have already

FLORIDA PUBLIC SERVICE COMMISSION

14

1   spoken that we completely support the effort of this Commission

2   to improve the safety and reliability of the electric plant to

3   prevent the kind of damage and power outages in the future, in

4   future storms that we have experienced in the last two years.

5             I would also like to recognize the attention that

6   staff has given to the FCTA's concerns and suggested rule

7   revisions.  That attention is apparent from the accommodations

8   and amendments that staff has made in its staff recommendation

9   and in its amended recommendation, including the latest version

10   of the proposed rules.  And while these amendments represent a

11   step in the direction of allaying all of the FCTA's concerns,

12   we believe that there are some further modifications that may

13   be appropriate.

14             And the FCTA is not here today solely to ask for a

15   deferral, although we are still urging that request that we

16   have already made.  But also to take advantage of this

17   opportunity to persuade this Commission as to the modifications

18   that we would deem appropriate.  And as I said earlier, that

19   has to do with 25-6.034, standards of construction, 25-6.0342,

20   third-party attachment standards and procedures.

21             The FCTA initially understood that this rulemaking

22   was intended to pursue pole hardening as a way to reduce

23   restoration costs and outage times resulting from extreme

24   weather conditions, and we applaud the Commission for taking

25   action to remedy this situation.  However, we noticed that the

FLORIDA PUBLIC SERVICE COMMISSION

15

1   proceeding has evolved into one that may have a serious impact

2   on other industries, including the cable and telecommunications

3   industries, who are third-party attachers to poles owned by

4   electric companies.  In effect, this proceeding has progressed

5   from an electric issue that focused solely on electric

6   companies with the intent to improve hurricane preparedness,

7   and now has resulted in what we believe are unintended and

8   unanticipated consequences that substantially affect

9   third-party attachers.

10             As a matter of the relevant policies, I would just

11   like to make a brief quote from the FCC's 1996 local

12   competition order.  We recognize that the public welfare

13   depends on safe and reliable provision of utility services, yet

14   we also note that the '96 Act reinforces the vital role of

15   telecommunications and cable services.  We believe that both of

16   these policies can be achieved without compromising either,

17   and, in particular, without compromising safety and

18   reliability.  And we agree this morning that this Commission

19   does have authority to set safety and reliability standards,

20   and I think that has been recognized by the FCC.

21             Further, we have concerns arising out of the fact

22   that there is a long history of conflict between the electric

23   industry and the cable industry.  And an adversarial

24   relationship with respect to pole access and pole rates, and

25   that is a relationship that we believe should be taken into

FLORIDA PUBLIC SERVICE COMMISSION

16

1   consideration in crafting these rules and can't simply be

2   disregarded.  The rules should not be proposed in a manner that

3   gives an anticompetitive advantage to the electric industry,

4   especially in light of the changes in the competitive landscape

5   where the cable and electric industry will be competing with

6   the same services.  In some places it is already happening, and

7   in other places that will occur in the very near future.

8             And the FCC has also said in its local competition

9   order that it is sensitive to the concerns of cable operators

10   and telecommunications carriers regarding utility-imposed

11   restrictions that could be used unreasonably to prevent access.

12   And that's what we're concerned about.  The FCTA acknowledges

13   that the state of Florida through this Commission has authority

14   to set safety and reliability standards.

15             If you'll bear with me.

16             And the FCC has said that -- the FCC has made equally

17   clear that state and local safety requirements apply only if

18   there is no direct conflict with federal policy.  And where a

19   local requirement directly conflicts with a rule or guideline

20   that the FCC adopts, the FCC rules will prevail.  And the FCC

21   has indicated that it would consider the merits of any

22   individual case alleging safety, reliability, or engineering as

23   a basis for denial.

24             The construction standard rule and third-party

25   attachment standard rule, we believe, effectively delegate

FLORIDA PUBLIC SERVICE COMMISSION

17

1   unilateral authority to the utility, cable's perennial

2   adversary, to set construction standards and attachment

3   standards and unilateral authority to denial access for

4   noncompliance with those standards.  And we think that this is

5   inappropriate and that there is some additional safeguards that

6   could ameliorate that situation.

7             The FCTA in its comments and proposed rule revisions

8   suggested that the development of these standards could be a

9   collaborative effort, and only failing an agreement could be

10   resolved by the Commission.  And we think the staff

11   recommendation has made some positive changes in that

12   direction, but has not quite gone far enough.

13             Just merely giving third-party attachers input into

14   the discussion is not effective, because input can be summarily

15   disregarded.  So the FCC has suggested that in cases of

16   reliability and safety that the electric companies do not have

17   unfettered authority and that they are not the primary arbiter

18   of these decisions.  And the implication is that both parties

19   have equal input.  And if there is no agreement, there is

20   recourse at the FCC, and also in these rules there would be

21   alternative recourse at the Commission, to seek resolution at

22   the Commission.

23             Moreover, there was a specific case dealing with

24   insufficiency of capacity which is one of the grounds on which

25   a utility can deny access.  And when there is a denial based on

FLORIDA PUBLIC SERVICE COMMISSION

18

1   insufficient capacity, the 11th Circuit Court of Appeals in

2   Southern Company vs. FCC, 293 F.3d 1338, in 2002 held that only

3   when all parties agree can a utility deny access on the basis

4   of insufficient capacity.

5             And the point I'm trying to make from these case law

6   decisions and FCC statements of policy is that third-party

7   attachers should have somewhat more of a role in the

8   development of these standards than the rules currently afford

9   them.  And there's no reason why this Commission's rules for

10   which it does have authority, and I will just repeat that

11   because I want to make sure that that's clear, there's no

12   reason why these safety and reliability rules cannot be in

13   complete harmony with FCC policy.  And there does not have to

14   be a conflict.

15             And while we appreciate that the Staff rec would

16   permit input, I think I just mentioned that we feel it is

17   inadequate because it can be cast aside or ignored.  Also, the

18   Staff rec provides for resolution by the Commission in the

19   event of a dispute over the standards, but while the staff rec

20   itself spells out that the resolution includes a right to a

21   hearing, the proposed rule omits that provision.  And it may be

22   implicit in the right to a resolution by the Commission, but we

23   would suggest that that is mentioned in the Staff rec, that it

24   ought to also be mentioned in the rule, the right to a hearing

25   in the case of a matter where it is brought to the Commission

FLORIDA PUBLIC SERVICE COMMISSION

19

1   for resolution.

2             Now, our concern is with only cases where the utility

3   might set unreasonable standards calculated to prevent access

4   to its poles.  And Section 224 as construed by the FCC requires

5   that the utility must justify any conditions placed on access,

6   and that the conditions must be nondiscriminatory, just, and

7   reasonable.  And we are just suggesting that those terms be

8   incorporated into the rules.  And then there will be no

9   disharmony with -- I don't know if that's a word -- but no lack

10   of harmony between the rules and FCC policy and pronouncements.

11             The FCTA believes that these requirements should

12   be -- excuse me, I've already covered that.  As stated earlier,

13   the state does indeed have the authority to set safety and

14   reliability standards, but we are concerned that that may not

15   be what these rules are doing.  That what they are doing is not

16   the state setting these standards, that the rules may be

17   abdicating the state's authority and delegating the state's

18   legislative authority to the utilities.  In this respect --

19   well, I'm going to just skip one argument I was going to make.

20             CHAIRMAN EDGAR:  Mr. Gross, can you kind of wrap up.

21   I want to be sure that we get to everybody, and then there will

22   be the opportunity for comments, and response, and further

23   discussion, I assure you.

24             MR. GROSS:  Okay.  I'd like to talk about the

25   workshops and hearing that the staff is recommending.  And the

FLORIDA PUBLIC SERVICE COMMISSION

20

1   staff is recommending a workshop for the pole attachment

2   standards rule, and the location of facilities rule, and some

3   other rules that we are not addressing this morning, but it

4   excludes the construction standard rule from the workshop and

5   hearing opportunity.  And we believe that construction

6   standards are inextricably intertwined with the attachment

7   standards.  And for this reason, the FCTA is formally

8   requesting that the construction standard rule be included in

9   the additional workshop and hearing.

10             The FCTA also considers that the proposed dates, July

11   13th for the workshop, and especially August 22nd for the

12   hearing, may not allow sufficient time to prepare for the

13   hearing in particular, and would ask for those dates to be set

14   farther out into the future.  Once again, we think -- and I'm

15   going to conclude now -- we believe that a deferral would have

16   a positive impact in that the Commission will have the benefit

17   of additional input on these issues before issuing proposed

18   rules.  And we believe that if there is no deferral, the

19   proposed rules will carry a presumption heading into the staff

20   workshop and hearing, which can be avoided.  And with more

21   information and data the hearing may be more focused, and there

22   would also be more time for the staff and the parties to try to

23   work out their differences.

24             Thank you very much, and I appreciate the

25   opportunity.

FLORIDA PUBLIC SERVICE COMMISSION

21

1             CHAIRMAN EDGAR:  Thank you, Mr. Gross.

2             Mr. Adams.

3             MR. ADAMS:  Thank you, Madam Chairman.  I'm Gene

4   Adams with the law firm of Pennington, Moore, Wilkinson, Bell

5   and Dunbar, and I'm here today representing Time Warner

6   Telecom.  I would like to also compliment the staff and the

7   Commission.  They're doing an excellent job, we feel, in

8   attempting to enhance current rules and make our state a safer

9   place for hurricane preparedness and for those emergencies that

10   come with these high wind storm events.  We had the opportunity

11   and did participate both in the rule workshops and in providing

12   written comments, as well.

13             I want to just briefly touch on about three things

14   today that we remain concerned about.  We remain concerned that

15   the rules being developed by the Commission may, in fact, give

16   too much authority to the electric utilities to determine pole

17   attachment regulation through the exercise of the National

18   Electric Safety Codes.  Specifically, and it was a little

19   confusing, Rule 25-6.034(2) provides that each utility will

20   establish those construction standards and a plan on how to

21   implement the safety code rules regarding pole attachments.

22   But we don't feel the rule provides a mechanism for the PSC to

23   utilize oversight and correction and coordination of all those

24   plans among all the utilities.  We feel that it leaves the

25   ability to interpret those rules to each utility when, in fact,

FLORIDA PUBLIC SERVICE COMMISSION

22

1   we believe there should be a standard set by the PSC.  We

2   believe that that delegation may, in fact, allow utilities to

3   then deny rights given under the Federal Communications Act to

4   communications carriers such as Time Warner Telecom for pole

5   attachment.

6             We generally agree with the comments of the Cable

7   Telecommunications Association that the proposed rules could

8   also cause cost shifting to the detriment of competitive

9   carriers such as Time Warner Telecom.  We think we will find it

10   difficult in the future to cover those capital costs where

11   their interpretation of standards might result in increased

12   costs to us as a competitive carrier.

13             We also would state that we are in agreement with the

14   comments of the Cable Telecommunications Association with

15   regard to the pole attachment and construction standards which

16   are in Rule 6.0342, no parens there on the 2.  We, again,

17   believe that the utilities would have the ability to deny

18   attachments that they interpret are not in compliance with the

19   standards established and enforced by the utilities themselves.

20   Again, we remain concerned that a broad grant of authority to

21   the utilities may, in fact, preempt the FCC regulation and

22   control of pole attachments and costs.

23             Finally, I would say that Time Warner Telecom, we

24   agree with the staff recommendation that the Commission hold

25   further hearings and a workshop to allow the third-party

FLORIDA PUBLIC SERVICE COMMISSION

23

1   attachers to present further evidence of the impact caused by

2   Commission Rule 6.0342.  We believe this will be informative to

3   the Commission and will help demonstrate the concerns that the

4   competitive telecommunication services may be disadvantaged by

5   these rules as currently scheduled for adoption.

6             Again, thank you for the opportunity to provide those

7   comments.  And I'll be glad to answer any questions.

8             CHAIRMAN EDGAR:  Thank you, Mr. Adams.

9             Mr. Bryant.

10             MR. BRYANT:  Thank you, Madam Chairman.

11             Commissioners, I'm Fred Bryant on behalf of Florida's

12   34 municipal electric utilities.  I wish to compliment staff

13   and this Commission to recognize the differences between the

14   investor-owned utilities and the municipal electric utilities

15   and the jurisdiction of the Commission which is total over the

16   investor-owned utilities, and somewhat less than total over the

17   municipal electric utilities.

18             In addition, the Commission and staff has recognized

19   that we have wide diversity in geography between the municipal

20   electric utilities stretching from Blountstown to Key West as

21   well as significant differences in the size of our municipal

22   electric utilities ranging from 1,100 customers to over 400,000

23   customers.  For the staff and this Commission to try to craft a

24   rule that fits all sizes and meets all needs is difficult at

25   best, and I think the Commission and staff is almost there.

FLORIDA PUBLIC SERVICE COMMISSION

24

1             I have a few comments that I think will hopefully

2   help clarify some of the language and some of the procedure

3   that the Commission and staff will have to address in the

4   implementation of these rules as to the municipal electric

5   utilities and the difficulties and the differences in the

6   jurisdiction.

7             However, as an introductory comment, let me state

8   that the reliability and the protection of a customer of an

9   investor-owned utility and a municipal electric utility should

10   be no different.  Each customer desires the same thing, to make

11   sure that their utility has built their system to withstand

12   events that no one wishes upon them, but all must plan for.

13             Having said that, if you would please turn your

14   attention to Page 52 of the rule, and I'm going to jump around

15   a little bit simply because of the ordering of my comments.

16   This is the stand-alone rule that the staff has proposed for

17   the municipal electric utilities and the rural electric

18   cooperatives.  And the main part of this rule simply adopts the

19   rules that are applicable to the investor-owned utilities

20   verbatim into the stand-alone municipal and cooperative rule.

21             I would suggest as a procedural matter that you not

22   incorporate by reference, but whatever the final rules, final

23   language, that the Commission and the staff recommend as to the

24   municipals that you print out, if you will, state those words,

25   those rules in their totality.  And the reason is very simple.

FLORIDA PUBLIC SERVICE COMMISSION

25

1   I can imagine that from time to time the rules dealing with the

2   investor-owned utilities probably will have a word or two that

3   will be different in application than the municipal electric

4   utilities, and I would suggest then what happens then if you

5   have a rule change as to an investor-owned utilities or even

6   something as simple as a word change to their rule then that

7   makes its cumbersome, if not difficult, to incorporate by

8   reference into the municipal stand-alone rule.  Therefore, I

9   think that it's simply a matter of cutting and pasting, if you

10   will, on your current rules to put those rules in their

11   totality into the municipal sector.  It's not a criticism, it's

12   just a procedural suggestion that I think will make life easier

13   for all concerned.

14             As to substantive comments, if you will turn to Page

15   48 of your handout, Subsection 2, Line 19, you have the words

16   at the very beginning of Line 19 offices in Tallahassee, at the

17   utility's offices in Tallahassee.  I don't know if this is a

18   typo or not, but obviously Key West does not have an office in

19   Tallahassee, nor does Blountstown have an office in

20   Tallahassee.  So I don't know exactly what the staff's

21   intention was there, but I believe it's a typo not to require

22   the standards of construction of Key West to be brought to

23   Tallahassee where there are no offices.  I think it is a typo

24   and nothing that we have any great problem with from a

25   substantive standpoint.

FLORIDA PUBLIC SERVICE COMMISSION

26

1             You also have language in this section that talks

2   about any dispute or challenge to the utility's construction

3   standards by a customer, applicant for service, or attaching

4   entity.  I question whether or not the staff intends as to the

5   municipal electric utilities that the Commission hear customer

6   complaints between a municipal electric utility and a customer

7   as to an attachment, or a safety standard, or a construction

8   standard because there is no place in the jurisdiction of the

9   Commission, statutes or the rules, that confer to the

10   Commission jurisdiction to hear that type of customer complaint

11   as opposed to our rate structure, territory, and other things.

12             So I suggest some wordsmithing in this area to

13   recognize the differences between the Commission's jurisdiction

14   over customer complaints, which is total as to the

15   investor-owned utilities, and very limited as to the municipal

16   electric utilities.  And that is one of the reasons why a

17   simple reference adoption to the investor-owned utilities'

18   rules as applicable and applying to the municipal utilities

19   does not work.

20             If you will turn to Page 51, Line 9, the word

21   transmission at the beginning of the line I think is an

22   inadvertent usage of a word here, because clearly this

23   Commission does not have jurisdiction over attachments of one

24   electric utility with another electric utility at the

25   transmission level.  That is exclusively within the

FLORIDA PUBLIC SERVICE COMMISSION

27

1   jurisdiction of the Federal Energy Regulatory Commission.

2             For example, when we build a new power plant and we

3   run our transmission line to the nearest substation or the

4   nearest transmission line of an investor-owned utility, that is

5   our attachment to their transmission line.  Those attachment

6   standards and conditions are clearly exclusively -- have been

7   and continue to be regulated by the Federal Energy Regulatory

8   Commission.  And again I think it is an inadvertent usage of a

9   word here which we do not quarrel with where the staff is

10   trying to get to, but I think it is inappropriate the way it is

11   worded at this point.

12             Those are the main gist of the comments that we have

13   on this rule.  I compliment all who have been involved trying

14   to achieve a common goal with divergences of background and

15   jurisdiction.  We will participate in the future rulemaking

16   with additional clarifications, if necessary, to the rules.

17   But with those changes, that will primarily resolve the

18   problems that our 34 municipal electric utilities have with the

19   rulemaking as we see it today.

20             Thank you very much.  If there are any questions, I

21   will be happy to respond.

22             CHAIRMAN EDGAR:  Thank you, Mr. Bryant.

23             Mr. Trapp or Ms. Kummer, can you give us any comments

24   in response to the suggestions that Mr. Bryant has made?

25             MR. TRAPP:  Well, first of all, I think many of his

FLORIDA PUBLIC SERVICE COMMISSION

28

1   arguments are embedded in the jurisdictional, the basic

2   jurisdictional argument.  But from a policy standpoint, by

3   means of clarification, we want the munies and the co-ops to

4   provide this Commission access to their construction standards,

5   and we want that access in Tallahassee.  Offices in

6   Tallahassee, it came up as a result of the concern about the

7   Commission having to process massive confidential files.  So as

8   a compromise in the workshop process, the words or you can send

9   it to your offices in Tallahassee, and we will review it there.

10   Mr. Bryant has an office in Tallahassee.  Mr. Bryant represents

11   the municipals.  It is perfectly appropriate, in my mind, for

12   the City of Key West to send their materials to Mr. Bryant's

13   office and staff will make an arrangement to go over there and

14   review and do our regulatory function there.

15             MR. BRYANT:  I don't quarrel with that.  And if you

16   would add "or in Tallahassee" I think that will accomplish what

17   he is speaking to.  That is why I say I believe it was a typo,

18   nor quarreling with the intent.

19             CHAIRMAN EDGAR:  Okay, we can have --

20             MR. TRAPP:  We could accept that language "or in

21   Tallahassee".

22             CHAIRMAN EDGAR:  We will have some further discussion

23   here in a few minutes.

24             Commissioner Carter, did you have a question now, or

25   did you want to go ahead and hear from the remaining speakers?

FLORIDA PUBLIC SERVICE COMMISSION

29

1             COMMISSIONER CARTER:  I wonder if Mr. Trapp, if it's

2   appropriate, could he finish -- were you finished?

3             MR. TRAPP:  If you are ready to discuss Mr. Bryant's

4   points now, I'm willing to continue the discussion.

5             COMMISSIONER CARTER:  I'll wait.

6             CHAIRMAN EDGAR:  Let's hold off, Commissioner Carter,

7   and we will get to that here shortly.  We've got at least two

8   other people who have asked to speak, and I want to make sure

9   that we hear from them before we go into further discussion.

10             COMMISSIONER CARTER:  Thank you, Madam Chairman.

11             CHAIRMAN EDGAR:  Mr. Wright and Commissioner Saul

12   Sena from Tampa.  Welcome.

13             MR. WRIGHT:  Thank you, Madam Chairman and

14   Commissioners.  My name is Schef Wright, and I have the

15   privilege to be before you this morning representing the Town

16   of Palm Beach and the Town of Jupiter Island.  I want to begin

17   by saying that we, the towns who have participated in this

18   process since before January, agree with and support many

19   elements of the staff's proposed rule, and I would like to

20   start -- I have some brief comments to make to you.  I would

21   like to start by telling you what we do agree with, and telling

22   you where we think there is some room where we think you need

23   to go further.  It may or may not be in the rule docket, we

24   will sort that out.

25             First, we agree with and support the staff's

FLORIDA PUBLIC SERVICE COMMISSION

30

1   recommendation that encourages the use of rights-of-way for

2   overhead facilities and for the location of underground

3   facilities and governmentally sponsored and supported

4   conversion projects.  We generally agree with and support the

5   proposed amendments that would require that distribution

6   facilities comply with the then current version of whatever

7   standards are to be applied.

8             We are concerned, with regard to that particular rule

9   component, that there does need to be some clarity as to when

10   the current standards apply.  The question is when does it stop

11   being a repair job and when does it start being a replacement,

12   relocation, rearrangement, refurbishment that requires the

13   applicability of the new standards.  You know, I think it's

14   pretty easy, a utility worker goes out and replaces a 40 kVA

15   transformer on a pole, that is a simple repair, but if there is

16   major work being done, or maybe even minor work,

17   reconductoring, perhaps, of two or three spans, the question is

18   should that be built to the new standards.

19             In this regard, also, we think you need to consider

20   how far away whatever is being worked on is from the current

21   standard.  If it's 50 years old, it's probably pretty far away

22   from the current standards.  If it's five years old, it

23   probably is meeting the, whatever it was, the 97 version of the

24   NESC.  It's something to consider.

25             We are very grateful to the staff for recommending

FLORIDA PUBLIC SERVICE COMMISSION

31

1   and strongly support the inclusion of the differential O&M

2   costs and the inclusion of differential storm restoration costs

3   in calculating CIACs.  We probably will have issues at the

4   implementation phase regarding what those costs are and how

5   they should be considered.

6             Finally, and this really goes to the guts of this,

7   and that is what I perceive as being the guts of it, and that

8   is the recommendation that the utilities be guided by the

9   National Electrical Safety Code extreme wind loading criteria.

10   We have all learned rather the hard way that our system has not

11   been built strong enough to withstand Category 1 or weak

12   Category 2 storms to a degree that we might have liked.  The

13   utilities in Florida have incurred rather extraordinary

14   expenses, in the billions of dollars, over the last two years.

15   Many of those costs, a great deal of those costs were incurred

16   through the impacts of storms that were Category 1 storms.

17             We agree that requiring moving to the NESC extreme

18   wind loading criteria for overhead facilities is a step in the

19   right direction.  However, as we have been commenting all

20   along, we believe that you need to do an appropriate full-blown

21   cost/benefit type analysis of all of the reliability impacts,

22   all of the costs, and all of the benefits of building to

23   different standards.

24             The real question is what is the most cost-effective

25   way to ensure reliable delivery of electricity in the public

FLORIDA PUBLIC SERVICE COMMISSION

32

1   interest, taking all appropriate costs and all benefits into

2   account.  Different configurations; standard overhead, hardened

3   overhead to extreme wind criteria, overhead hardening to meet

4   Category 4 or Category 5 conditions, standard underground, what

5   you might call partially hardened underground which includes,

6   for example, conduit, waterproofed switch gear, waterproofed

7   fuse boxes, the technology for which does exist and is

8   supported by at least two substantial manufacturers in the

9   industry, or maybe even some sort of super-hardened

10   undergrounding.  The point is that you need to evaluate this

11   and you need to consider all costs and all benefits to make an

12   informed decision.  And, you know, we have advocated that

13   studies be done as to the cost-effectiveness to meet Category 4

14   and Category 5 conditions.

15             We have further advocated that the true economic

16   value to all Floridians be considered.  We believe that an

17   expected unserved energy, or unserved energy type analysis gets

18   very directly and appropriately.  This is a known methodology

19   that has been in the utility literature for many years.  If you

20   Google expected unserved energy, you will get a very long list

21   of articles that will show you that utilities believe that

22   customers value not being blacked out at very great amounts.

23   They range from $5 a kilowatt hour to 30-odd dollars a kilowatt

24   hour, depending on the study and the application.

25             Historically -- just very quickly, historically, most

FLORIDA PUBLIC SERVICE COMMISSION

33

1   of those applications have been in connection with generation

2   plant and transmission lines.  And for the rest of the world

3   and for even Florida, maybe, before 2004, that was okay.  But

4   what we have learned in Florida since the summer of 2004 is

5   that distribution is critically important to the reliability of

6   our system.  And there is just no reason on Earth not to use

7   the same reliability evaluation, the same valuation tool that

8   is used for generation and transmission in evaluating

9   distribution, particularly in the world in which we live.

10             I want to address -- you may ask the question, and I

11   will anticipate it, why should we look at Category 5, why

12   should we consider a Cat 5 standard.  Well, one, err on the

13   side of more protection for customers.  Two, the utilities will

14   tell you they practice for direct hit Category 4 and Category 5

15   storms.  What we are saying is they ought to plan for

16   Category 4 and Category 5 storms.  The analysis may show that

17   it's not cost-effective to build overhead to a Category 5

18   standard.  It may well show that.

19             The staff's discussion of this, citing to the

20   comments of the wood pole industry folks in these rulemaking

21   proceedings, seemed to indicate that they don't believe you can

22   build an overhead system to withstand Category 4 or Category 5

23   conditions.  My engineers with whom I'm consulting on behalf of

24   the towns and cities seem to believe the same thing.  If that's

25   true, then it's true, and we need to do a full evaluation and

FLORIDA PUBLIC SERVICE COMMISSION

34

1   go forward accordingly.  As Mayor Charles Falcone, who

2   unfortunately could not be here today, he's the Mayor of

3   Jupiter Island said to me yesterday, analysis is far less

4   expensive than construction.

5             Finally, we did have a proposed rule that staff

6   recommends you not go forward with, and that is to require the

7   utilities to share planning information so that all interested

8   towns and cities, and perhaps even neighborhood associations,

9   can take advantage when we know there is a replacement of a

10   worn-out system, or a replacement of a system that's going to

11   be undertaken anyway, a replacement in connection with a road

12   widening or something like that.  We'd like to know that two,

13   three years in advance, or as far in advance as the utility

14   knows it so that we can take advantage of it, so that we

15   minimize the loss of a net book value that would otherwise have

16   to be paid for, so that there is really no net removal cost

17   because the stuff is going to be taken out anyway.

18             And we would ask that you consider that as well.

19   I'll be happy to answer any questions.  And we have another

20   speaker on behalf of the municipality.

21             CHAIRMAN EDGAR:  Thank you, Mr. Wright.

22             Commissioner, you're recognized.

23             MS. SAUL-SENA:  Thank you.  Good morning.  My name is

24   Linda Saul-Sena and I'm a native Floridian who has spent her

25   entire professional life in public service.  I'm in my fourth

FLORIDA PUBLIC SERVICE COMMISSION

35

1   four-year term as an at large member of the Tampa City Council.

2   During a hiatus from council service, I became co-chair of the

3   utilities task force, consisting of representatives from our

4   electric, phone, and Internet providers, city, staff and

5   neighborhood representatives.  We spent over ten years

6   examining the costs and benefits of converting overhead

7   utilities to underground.  We received funding from the

8   Department of Community Affairs to conduct a beneficiaries

9   analysis, and hired engineering professors from the University

10   of South Florida for the study.

11             During this time, the utilities task force worked

12   with your staff, both in Tallahassee and at a conference in

13   Tampa, and they have been most helpful.  Our task force

14   concluded that the benefits of conversion justified the

15   additional investment in infrastructure by increasing property

16   values for homeowners, increased savings in O&M costs and

17   reliability for utilities, and increased public safety for

18   local, state, and federal governments.

19             Currently, the City of Tampa is negotiating with

20   Tampa Electric Company toward a new franchise agreement, and

21   that is why I stand before you today.  This issue of creating a

22   safe and reliable system for my constituents and all Floridians

23   is hugely important.

24             You all, sitting as the Public Service Commission,

25   have the power to protect us.  Creating rules which require

FLORIDA PUBLIC SERVICE COMMISSION

36

1   clear information on O&M costs, restoration costs, and

2   reliability of overhead and underground that will ensure that

3   utilities and governments make decisions which promote the

4   public interest by wise infrastructure investment.  You all

5   know that we don't have factual information on these cost

6   differentials, but I want to share some anecdotal evidence with

7   you.

8             Davis Islands and Harbor Island are two residential

9   communities adjacent to downtown Tampa.  During the storms of

10   the last two years, although Tampa received no direct hits,

11   Davis Islands, which has overhead lines, experienced several

12   outages each of which lasted several days.  Harbor Island with

13   underground lines had nary a flicker.  Tampa Electric Company

14   does not collect data which tracks O&M and reliability issues

15   separately, but my constituents do.

16             Since 1986 the utility landscape has been radically

17   altered by changes in technology and our environment.  The

18   dramatic increase in hurricane activity has challenged the

19   safety and reliability of overhead lines.  The shift to

20   home-based business and home-based employees from large

21   corporations is built upon a reliable and sustainable power

22   grid.  New technology offers more trustworthy methods for

23   placing lines underground in conduit and underground switch

24   cabinets with waterproof switch gear which is repairable.

25             Please act on these concerns by changing your rules.

FLORIDA PUBLIC SERVICE COMMISSION

37

1   Please give us the tools for safe and reliable electric

2   service.  Please create a level playing field for underground.

3             Thank you.

4             CHAIRMAN EDGAR:  Thank you.  And, Commissioner, I

5   believe and I know my colleagues believe that the participation

6   of local governments is critical to the success of the things

7   that we are trying to do, so I appreciate you joining us today.

8             MS. SAUL-SENA:  I appreciate being here.  Thank you

9   very much.

10             CHAIRMAN EDGAR:  Any questions for Commissioner

11   Saul-Sena at this time?  No.

12             Thank you.

13             Is there anyone who would like to address the

14   Commission on this item that I have not yet called upon?

15             MS. HERSHEL:  Chairman Edgar.

16             CHAIRMAN EDGAR:  Okay.  You're recognized.

17             MS. HERSHEL:  Good morning.  I'm Michelle Hershel,

18   I'm with the Florida Electric Cooperatives Association.  I'm

19   going to speak just to Issue 4.

20             And we actually agree with the staff that we should

21   have a separate municipal and cooperative rule.  We cannot

22   agree at this time with the proposed rule as written or the

23   staff analysis on jurisdiction, but we would like to take the

24   opportunity to work with staff to come up with a rule that

25   hopefully skirts the jurisdictional question and protects the

FLORIDA PUBLIC SERVICE COMMISSION

38

1   governance and authority of each co-ops board of trustees to

2   make the final decision on whether or not to upgrade their

3   systems.  And we look forward to working with staff at future

4   workshops.  Thank you.

5             CHAIRMAN EDGAR:  Thank you.  Is there anybody else

6   that I have missed?  No.

7             Mr. Willis, I know that you had asked for the

8   opportunity to respond, so let's begin with you.

9             MR. WILLIS:  Thank you very much.

10             Commissioners, as a result of the 2004/2005 hurricane

11   season, this Commission has undertaken a multi-pronged approach

12   and review of electric infrastructure.  You have had an overall

13   review, you have had a workshop at the beginning of the year,

14   you have had a pole inspection docket, and you have had a storm

15   plan docket that required the utilities to present their plans

16   to you, and those plans have been presented pursuant to that

17   order, and that you have opened this rulemaking docket as part

18   of a plan.

19             Now, in each one of these various venues you've

20   considered the various factors which would cause a pole to fail

21   and have considered ways to avoid that failure.  And pole

22   attachments have emerged as a significant concern in each step

23   of the way, in each one of these venues and dockets and

24   separate reviews that you have made.  For example, in your pole

25   inspection order issued February 27th, you found that

FLORIDA PUBLIC SERVICE COMMISSION

39

1   nonelectric attachments impose additional strength requirements

2   on a pole, and that many pole attachments occur well after the

3   date of the pole installation.  And it's quite obvious that the

4   National Electric Safety Code requires a pole to be strong

5   enough to support the facilities that are attached to it.  And

6   you also found that third parties have completed pole

7   attachments to electric IOU wood poles that were done without

8   full consideration of the National Electric Safety Standards,

9   and that wood poles strength inspections require remaining

10   strength assessment as well as a pole attachment loading

11   assessment.

12             Your storm plan order likewise required a number of

13   initiatives to report on.  One of these was an audit of joint

14   use attachment agreements that would show the locations of the

15   poles, the attachments to it, and the verifications that the

16   attachments are pursuant to a joint use agreement and that

17   stress calculations are made to assure that the pole will not

18   be overloaded.

19             Now, your basic theme in all of this is that nothing

20   should be attached a pole that is not engineered to be there.

21   And you have recognized that pole attachments can have

22   significant wind loading and stress effects on a pole and can

23   cause overloading, and that some attachments are being made

24   without notice or prior engineering before they are attached,

25   and that steps should be taken to assess the pole attachment

FLORIDA PUBLIC SERVICE COMMISSION

40

1   effect on individual poles to protective overloading.

2             Now, in view of your concerns that you have raised at

3   the various steps before here, the electric utilities jointly

4   proposed rules that would, in essence, require a utility to

5   establish, file, and maintain safety and engineering standards

6   and procedures for attachment of others to its poles, and that

7   no attachment would be allowed on the pole that didn't meet

8   those requirements.

9             Now, through the interaction of your workshops and

10   post-hearing comments, the staff has modified our proposal,

11   considered the input of others, and have come up with a fair

12   and balanced rule that is before you today, and it captures the

13   essence of what you have been concerned with from the outset

14   and what we have been concerned with as well.  Mr. Gross in his

15   comments conceded that you have jurisdiction, because it's very

16   clear that you do have such jurisdiction.

17             I think the legislature in 1986 very clearly gave you

18   jurisdiction over safety and reliability and has repeatedly

19   reenacted the grid bills which without any doubt provides you

20   safety and reliability jurisdiction.  And where you exercise

21   it, it rests with you.  And that makes a whole lot of sense.

22   Because the local entity, in the place where the service is

23   being provided is much more attuned to the needs of the

24   community for safety and reliability, and the jurisdiction

25   obviously makes sense that way.

FLORIDA PUBLIC SERVICE COMMISSION

41

1             The time is now for you to act.  You have recognized

2   a serious issue that affects the safety and reliability of

3   electric service, and now it's critical for the Commission to

4   help utilities deal with this threat to its electric

5   distribution facilities in a fair and reasonable way.

6             And part of that solution is the establishment of

7   attachment standards.  And you have built in now, as a result

8   of the comments, that the utilities are required to seek input

9   from others that attach to the poles in developing these

10   standards, and that any dispute arising from the implementation

11   is resolved by this Commission.  Now that is not delegating the

12   authority to utilities.  It's just like you do in many other

13   instances, you will tell the utility to conduct itself in a

14   particular way, and then you have very strong oversight over

15   how it is actually done.

16             And I think that it is unfair at this juncture to

17   make an assessment and a determination that the utilities won't

18   be fair in this process.  We are dedicated to receive that

19   input, to consider it, but not to engage in a process that

20   results in grid lock where nothing happens.  So we think that

21   the rules have been carefully crafted and that they provide the

22   balance that you need.

23             Now, the concern about pole attachments is obviously

24   particularly strong and acute in Florida.  It's critical that

25   the proposed attachment rules be added as another means of

FLORIDA PUBLIC SERVICE COMMISSION

42

1   Florida's defense against hurricanes and extreme weather.  The

2   Commission, as we indicated, in 1986 gave you jurisdiction over

3   safety.  It has reenacted the grid bills over and over again

4   with respect to liability, and these rules will be an important

5   part of the overall plan.  And to defer this process would

6   significantly undermine the momentum that this Commission has

7   and the things that you are trying to do, so we urge that you

8   adopt the rule today as it is before you and as staff has

9   recommended to you.

10             CHAIRMAN EDGAR:  Thank you.

11             Commissioner Carter, I believe you had some questions

12   earlier that I asked you to hold.  Are you ready to jump in?

13             COMMISSIONER CARTER:  Thank you, Madam Chair.  If I

14   may be permitted to just make a statement beforehand?

15             CHAIRMAN EDGAR:  Absolutely.

16             COMMISSIONER CARTER:  Is that as I was sitting here

17   listening, and as I was going through my documents on this

18   various and sundry issues before us, I thought aloud from the

19   question if not now when, then the answer being never, and I

20   thought about, you know, we don't have the opportunity to

21   defer, delay, or deny the fact that we are moving.

22             But I do think that our staff has gone above and

23   beyond the call of duty in working with all interested parties.

24   Significantly is that all interested parties have had an

25   opportunity to make their voices heard regardless of whether

FLORIDA PUBLIC SERVICE COMMISSION

43

1   you are a co-op, a muni, or a telecommunications entity with

2   the attachments, or a utility.  All parties have had an

3   opportunity to make their voices heard.  And I think we have

4   had a very comprehensive perspective here.  I just wanted to

5   say that, but I would like to hear the rest of what Mr. Trapp

6   had, because I was on a mind -- is it appropriate, Madam Chair,

7   for him to finish?

8             CHAIRMAN EDGAR:  Mr. Trapp.

9             MR. TRAPP:  Well, I think I was responding to the

10   policy aspects of Mr. Bryant's suggested changes to his rule,

11   and then I was going to ask Mr. Harris to address the legal

12   aspects of his proposed changes to his rule.

13             If I can read my notes, again, I think the office in

14   Tallahassee, if we want to -- let me find the language.  It

15   makes sense to me either way, either to strike the word

16   utility's offices, at offices in Tallahassee, or at the

17   utility's office or offices in Tallahassee.

18             CHAIRMAN EDGAR:  Mr. Trapp, for all of our benefit,

19   can you go ahead and identify, again, the page and line you are

20   at.

21             MR. TRAPP:  I'm sorry.

22             CHAIRMAN EDGAR:  That's okay.

23             MR. TRAPP:  I'm on Page 48 of the recommendation, and

24   I'm at Line 18 and 19.

25             CHAIRMAN EDGAR:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

44

1             MR. TRAPP:  The current rule proposal is to provide a

2   copy of its construction standards for review by the Commission

3   staff at the utility's offices in Tallahassee.  I think the

4   intent is still preserved in my mind if we could eliminate the

5   word utility's and just say at offices in Tallahassee.

6             Because, again, the intent is within two-days notice

7   staff wants access in Tallahassee.  Under normal practice, the

8   way we do that is the utilities send it to their lawyer's

9   office here in Tallahassee.  So I think if we just remove the

10   words "the utility's" in that line, then I think we still

11   preserve the same intent from a policy standpoint.

12             With respect to the issue about FERC having

13   jurisdiction over transmission, I think that is correct with

14   respect to interconnection.  But, again, and I'm going to have

15   to defer to my counsel, what we are talking about in these

16   rules is safety jurisdiction and reliability jurisdiction and

17   pole attachments.  And I think we are exerting jurisdiction in

18   those areas by adopting these rules.  So I would not propose

19   any change to that word transmission that he had suggested.

20             And with regard to customer complaints, we have often

21   heard customer complaints.  We try to refer them back to the

22   municipality involved for them to resolve.  Again, since we are

23   exerting a different approach to our jurisdiction here, I think

24   staff would accept customer complaints pertaining to these

25   construction standards.  And any complaint pertaining to the

FLORIDA PUBLIC SERVICE COMMISSION

45

1   safety, the reliability, the engineering design of our

2   facilities, the staff would entertain a complaint.  And if we

3   have got jurisdiction to impose this rule, we have jurisdiction

4   to listen to the complaint.  But, again, I need to defer to my

5   counsel.

6             CHAIRMAN EDGAR:  Mr. Harris.

7             MR. HARRIS:  I find myself in agreement with

8   Mr. Trapp, which is something I find myself often agreeing

9   with.  Essentially, as I see it, you all have jurisdiction.

10   It's that simple.  If you have jurisdiction to tell them or ask

11   them to participate in developing standards, I think you should

12   have some jurisdiction to review those standards.  And that's

13   really the nub of it.

14             You have heard some terms thrown around about

15   delegation.  This is not a subdelegation issue.  You all have

16   jurisdiction, you are doing what you are supposed to do, which

17   is telling utilities to go off and manage themselves, and then

18   you are looking over their shoulder to make sure they're doing

19   it right and they're doing what they need to be doing, and

20   fixing it if they do something wrong.  If you all extend that

21   authority to the munies and co-opes and say go off and develop

22   some standards, and we are going to look at them, and, oh, by

23   the way, there is a bunch of exceptions built in so if you all

24   can prove to us that what you are doing now is good or better,

25   then we don't need this stuff.

FLORIDA PUBLIC SERVICE COMMISSION

46

1             But once you get to the bottom line, if some

2   standards are developed, you need to review them and make sure

3   they are right.  They are right for Florida, they are right for

4   the electrical grid.  If a customer wants to come in and say I

5   disagree with this standard, for whatever reason, its too high,

6   its too low, it doesn't meet the needs, you all need to be able

7   to look at that.  Because it doesn't, in my mind, make a lot of

8   sense to say go off and do these standards, but we're not going

9   to go ahead and -- you know, we're going to review them to make

10   sure they are in place, that's our jurisdiction, that's our

11   authority.  But then a customer can come along and challenge

12   it, and the muni could, outside of your review process then

13   say, oh, because we had this customer complaint, we're going to

14   go ahead and undo everything we were told to do under our

15   complaint process.  So I think you all have to have that sort

16   of jurisdiction.

17             I'm not saying that you need to exercise it, it might

18   be that the munies and co-ops, or a muni, or a co-op, or

19   somebody could come in and say, hey, there is this customer

20   complaint, we have got a process for dealing with it, and we

21   are going to deal with it in a way that will resolve everyone's

22   concerns, the Commission's, ours, and the customer's.  It might

23   be appropriate then for you all to say, okay, well, go ahead

24   and deal with it.  But I think you all need to be in a position

25   to accept those complaints, review them and make sure that the

FLORIDA PUBLIC SERVICE COMMISSION

47

1   policy that you are trying to set, which is increasing

2   reliability in the state of Florida for extreme weather events,

3   is met.  Which is a long way of saying I agree with Mr. Trapp.

4             One thing I did want to mention, the first comment

5   that Mr. Bryant made was that he would like to pull out the

6   language of .034, .0341, and .0342 and make that a separate

7   text in .0343.  And if we do that, I noticed we were making --

8   you know, he wants to make some language changes in 25-6.034,

9   Page 48, Line 19.  I would not suggest we make that change to

10   25-6.034 if we are going to cut that language out and paste it

11   into a separate rule.  We can leave it in place in .034, and we

12   can make that change in the rule that we are going to -- that

13   you all would propose for the munies and co-ops, if that makes

14   sense.  And the same with the part, you know, Mr. Trapp said we

15   could take out the word the utility law.  I think we should

16   leave it in in .034.  We can change it for the muni and co-op

17   rule, .0343, if that's you all's decision.  That is something

18   you have to decide.

19             MR. BRYANT:  Might I respond?

20             CHAIRMAN EDGAR:  Mr. Bryant.

21             MR. BRYANT:  Never have I been in such a cooperative

22   mood and met with such resistence, and I guess I did not

23   articulate myself clearly enough for the benefit of staff, and

24   for that I apologize.  Let's take the easy one, transmission.

25   The only thing I was trying to point out is attachments by one

FLORIDA PUBLIC SERVICE COMMISSION

48

1   electric utility or an independent power producer to the

2   transmission facilities of another electric utility are

3   governed solely, exclusively by the Federal Energy Regulatory

4   Commission.  An example, three ring bus bar.  That's a clear

5   standard that has been adopted by the investor-owned utilities

6   for connection into their substations.  It's in their FERC form

7   tariff for transmission as promulgated under Order 888 of the

8   Federal Energy Regulatory Commission.

9             I was simply trying to point out we must be careful

10   in the language we use in the drafting of a rule to make sure

11   we don't inadvertently create a jurisdictional issue that some

12   might seize upon to torpedo the rule.  I was just trying to

13   clarify the language.  Everyone would agree that is not within

14   the jurisdiction of the Commission.  That was the only reason I

15   was pointing that out.

16             I want the Commission to think long and hard about

17   accepting jurisdiction that is not clearly articulated in the

18   Commission's rules or statutes between a complaint between one

19   who wants to attach to our distribution poles and the standards

20   and conditions that a sovereign government, a municipal utility

21   has made, implemented by ordinance applicable to attaching to

22   their poles.  Unless this Commission is convinced it clearly

23   has jurisdiction to resolve the complaint between one who wants

24   to attach and the jurisdiction of the municipal utility

25   traditionally, historically, always to govern that.

FLORIDA PUBLIC SERVICE COMMISSION

49

1             I think we ought to be cautious of that so as not to

2   create an entry point for appealing a rule that we have said we

3   support.  That was simply the gist of the thrust of my comments

4   is to be careful in what we are trying to craft to avoid

5   undoing what we are all trying to achieve, and that is a rule

6   dealing with safety and reliability that protects customers of

7   Blountstown and customers of Florida Power and Light.  And we

8   are supportive of the thrust of the Commission's rules because

9   we believe that is accomplished in the vast majority of the

10   language.  That's all I was trying to achieve.

11             CHAIRMAN EDGAR:  Mr. Trapp, did you have further

12   comment?

13             MR. TRAPP:  My response to Fred's eloquent legal

14   analysis is this language was separated from the construction

15   standard rule that was discussed at the last workshop, and this

16   is the first time that we have heard these comments.  My

17   concern is over removing the word transmission.  Certainly when

18   the utilities put together their attachment standards, they

19   have got to reflect the current relationships and jurisdictions

20   that exist, current contracts that exist with respect to the

21   joint use facilities.  That applies to the FCC jurisdiction,

22   the Florida Public Service Commission's jurisdiction, the

23   FERC's jurisdiction, and anybody else's jurisdiction that may

24   be out there.  All of that has to be reflected properly in

25   their construction standards that they propose to us.

FLORIDA PUBLIC SERVICE COMMISSION

50

1             Having said that, that does not negate the need, in

2   my mind, from a policy standpoint for the electric utilities to

3   develop those attachment standards and for this Commission to

4   review those standards.  Maybe the fight is when we try to

5   implement the standards.  Maybe the fight is in the review of

6   those standards.  The fight is not now.  You know, we need to

7   ensure that all poles, transmission and distribution poles, are

8   going to stand up to whatever load is put on them, whether they

9   be third-party attachment loads, electric, or

10   telecommunications, or cable, or whether it be wind load from

11   hurricanes and storms.  To the best of our ability we need

12   standards that ensure the transmission and distribution poles

13   stand up as long as they can.  And that's just my position.

14             CHAIRMAN EDGAR:  Commissioner Arriaga.

15             COMMISSIONER ARRIAGA:  Madam Chair, is it your

16   pleasure for us to be able to jump from one issue to another at

17   this time?

18             CHAIRMAN EDGAR:  You may.  This is discussion time.

19             COMMISSIONER ARRIAGA:  Okay, good.  I want to change

20   the pace away from municipals and co-ops, and I would like

21   discuss some issues brought up by the pole attachers.  And my

22   questions are going to go to Mr. Harris, please, because they

23   are basically legal questions that are in my mind right now.

24             Number one, the issue of deferral, which has been

25   brought up, and it is sort of like reminds me, and I always

FLORIDA PUBLIC SERVICE COMMISSION

51

1   give this example, of legislative action and sending things to

2   committee to be reviewed in committee forever.  But,

3   nevertheless, I'm open to any kind of suggestion regarding

4   deferral or not.  But I would like for you to point out to me

5   what are the consequences of deferring as requested time-wise,

6   that would be the first question.

7             The second one, the issue of potential delegation of

8   our authority by supposedly granting the investor-owned

9   utilities the potential power to deny access and therefore

10   violating FCC's mandates.  Could you kindly address that for

11   me, also, so I can clear these things up in my mind?

12             MR. HARRIS:  Yes, sir.  To begin with, your first

13   question regarding deferral.  Staff is not recommending that

14   you grant any of the requests for deferral today.  We are

15   strongly recommending that you all propose rules, propose

16   language.  We believe that the language that is out there has,

17   as far as we were able to, balanced all the interests.  That is

18   your decision, of course, but we believe we brought you a good

19   proposal.

20             If you vote to propose rules today, any party, any

21   affected person can go ahead and file written comments.  If

22   written comments are filed, they have to be brought back to you

23   for you all to consider.  They can request a hearing.  If they

24   request a hearing, presumably it would be granted and you all

25   have a hearing on that.  It's going to take some time on the

FLORIDA PUBLIC SERVICE COMMISSION

52

1   Commission calendar to get that scheduled.

2             The potential consequences of deferral today are

3   realistically 60, 90, 120 days before you can get back to this

4   and get language out there.  By proposing language today, it's

5   staff's intent that there will be something out there.  If

6   someone has a large enough problem with it that they choose to

7   request a hearing, then that's fine and you guys can deal with

8   that.  But at least it's out there, it's a basis for

9   negotiation, it's a basis for a workshop on July 13th, it's a

10   basis for a hearing on August 22nd, it's a basis for someone

11   to say we can't live with Line 16 of Page 22.  If you can

12   substitute words X, Y, and Z for P, D, Q, we can live with

13   that.  It gives everybody a target to shoot at.

14             If you all defer something today, then we are right

15   back to we don't like any of your rule, we don't think it takes

16   care of our interests, draft something else and we will look at

17   it.  And staff can say, well, why don't you bring us a

18   proposal.  Well, we have got to look at it, and we've got to

19   review it, and it has got to go through 30 layers of

20   management, and we'll try to get you something within six to

21   eight weeks.

22             I'm making up all of these times, the six to

23   eight-week time that is, but essentially by proposing language

24   today you put something out there, and everybody knows what it

25   is, and they can agree with it, they can disagree with it.  If

FLORIDA PUBLIC SERVICE COMMISSION

53

1   they disagree with it, they can decide how much they disagree.

2   Did they disagree enough to file written comments, did they

3   disagree with it enough to file a request for a hearing, it's

4   that simple.

5             If you defer it today, you putting it off by a

6   significant amount of time.  Your next agenda conference is

7   July 18th.  That's essentially a month from now before you can

8   reconsider it.  There is an agenda conference early August, and

9   one in late August.  That's 60 days.  But the bottom line is,

10   Commissioner, it's you all's decision.  We do not recommend a

11   deferral, and we think there are some fairly significant

12   consequences time-wise to deferring.

13             The second question you asked me, the potential for

14   subdelegation, I can't see that.  I have been working on that

15   for about a week now in my mind.  I cannot, in my mind,

16   understand how this is a subdelegation issue.  Delegation in my

17   mind takes place when you Commissioners say, Party X go out and

18   develop something and then apply it, or, Party X go out and

19   develop something and then we are going to apply it to everyone

20   without reviewing it, without approving it, without exercising

21   our authority.  Just go out and do something, and we're going

22   to lend our authority, our statutory authority to make it

23   happen.

24             That's not happening here.  You all are doing what

25   you always do on not micromanaging utility operations.  You're

FLORIDA PUBLIC SERVICE COMMISSION

54

1   saying go out and develop some standards, put them together,

2   our staff is going to look at them, they're going to bring us

3   complaints they have, other parties are going to -- interested

4   persons, parties, customers are going look at them.  If they

5   have problems, they are going to bring them to your for

6   resolution.

7             You all have the power to require the utilities to

8   come in any time you want to and give you a status report or an

9   overview or provide copies.  You are reviewing what the

10   utilities are putting together and making sure that it's what

11   you want policy-wise, legal-wise, standard-wise, and then you

12   are saying go and do that under our supervision.  I just can't

13   see how this is a delegation.

14             What are you delegating?  You're delegating the task

15   of actually putting together page after page after page after

16   book of detailed engineering standards.  I'm not aware of any

17   time or any example where your staff or you developed these

18   kind of very detailed standards.  And maybe I'm inexperienced,

19   but I just can't see that.  So when I think about delegation, I

20   can't in my mind figure out this delegation issue from a legal

21   standpoint.  It doesn't commute for me.  But I have only been

22   with you all for five years, so -- I hope that has answered

23   both of your questions, Commissioner, I can try to follow up.

24             CHAIRMAN EDGAR:  Commissioner Tew.

25             COMMISSIONER TEW:  I have a question, maybe a couple

FLORIDA PUBLIC SERVICE COMMISSION

55

1   for Michael Gross, and I just want to understand your position

2   better.  What are your concerns regarding the rule proposal in

3   Issue 1 that cannot be addressed through the proposed hearing

4   process for the proposed rule in Issue 3?  And maybe as a

5   follow-up, what specifically is the language that is missing or

6   that you see a need for in Issue 1?

7             MR. GROSS:  Our proposal for Issue 1 and 3 would

8   probably parallel each other.  There is some symmetry there as

9   far as the process that the rule provides for.  And our concern

10   is even if we got relief, well, at a hearing on Issue 3 that

11   would have no impact on Issue 1.  And we have the same concerns

12   for Issue 1.  We don't think you can separate the construction

13   standards from the attachment standards, that they are

14   intertwined, and that there are many issues just in the

15   construction standards themselves that go into pole rate

16   calculations and that would impact pole attachers.

17             And I'm not sure, did I answer your question?

18             CHAIRMAN EDGAR:  Commissioner Tew.

19             COMMISSIONER TEW:  I think so, but I wanted staff to

20   follow up on that, either Bob or Larry, about what is your

21   understanding?  Because I know that you carved out some of

22   these issues to allow for people to have a hearing set up on

23   particular issues of concern, so I wanted to understand how you

24   think Issue 1 and Issue 3 relate, given his comments?

25             MR. TRAPP:  Mr. Gross on behalf of FCTA made comments

FLORIDA PUBLIC SERVICE COMMISSION

56

1   both verbally at the workshops and in writing, and he was very

2   clear, I think, in his position at the workshop.  The problem,

3   and we have addressed it in the write-up of our recommendation,

4   the problem as we see it is what they are requesting is

5   basically veto rights, absolute veto rights of the utilities'

6   construction standards, we thought mainly in the area of

7   attachments and in the location of facilities, thus the attempt

8   to separate the rules and allow some further discussion in the

9   area of attachments.  This is the first I have heard that it

10   really applies to the overall standards of construction, but I

11   have the same concern.

12             If he wants veto rights over standards of

13   construction, to me that is not acceptable.  This is not the

14   cable industry.  This is the electric industry.  We are talking

15   about electric reliability.  We are talking about a very

16   essential service.  And we are talking about a process that we

17   think we have put checks and balances in with respect to the

18   responsibility of the electric utilities to communicate with

19   the people that attach to them and then have to work with, and

20   to have an opening in the complaint process.  If there is

21   anything they object to in the standards as they are being

22   developed as they are, you know, brought to this Commission for

23   initial review and subsequent implementation, anywhere along

24   that line they can file a complaint with this Commission and it

25   can be aired.  So we thought that we were addressing his

FLORIDA PUBLIC SERVICE COMMISSION

57

1   concerns in a more fair fashion for all parties as opposed to

2   just his position.

3             MR. GROSS:  Madam Chair?

4             CHAIRMAN EDGAR:  Mr. Gross, I did say earlier I would

5   give you the opportunity to respond.  You may.

6             MR. GROSS:  Thank you.  In our initial comments when

7   construction standards and attachment standards were

8   incorporated in the same rule, we did express concerns with

9   each aspect of it, we didn't separate it, and the point we are

10   making now is while it is a laudable effort to let one rule

11   move forward and just focus on the controversial rule, and I

12   respect that effort to do that.  In this case I don't think

13   that that is possible and at least we think it should be -- we

14   should have the opportunity for a workshop and a hearing on

15   that construction standard rule, as well.

16             MR. HARRIS:  Chairman -- I'm sorry.

17             CHAIRMAN EDGAR:  Mr. Harris, did you have a --

18             MR. HARRIS:  I was going to make a simple comment,

19   which is we are really talking about a procedure here.  Mr.

20   Gross can request a hearing in writing, if he wants to request

21   it today and you all decide to vote on it and set it for

22   hearing it gets us to the same place, I think.  So I'm not sure

23   that it's -- unless you all are seeing something that I'm not,

24   that it's a big deal.  If you don't vote to set it directly for

25   hearing, he can request it in writing and we get there.  If you

FLORIDA PUBLIC SERVICE COMMISSION

58

1   all set it for hearing today, it just saves him having to send

2   a letter in to the Clerk's Office saying I would like to

3   request a hearing.  I don't see that it's a huge decision.

4             CHAIRMAN EDGAR:  Commissioner Arriaga.

5             MR. HARRIS:  I'm sorry for interrupting you.

6             COMMISSIONER ARRIAGA:  Mr. Gross, this is like a

7   chain of questions, and you can answer just at the end, but I

8   would say have you had access to these proceedings; have you

9   been denied access to the proceedings; has this Commission been

10   open to your suggestions and your written comments; has the

11   staff collaborated with you through the process?  And if the

12   answer to this is yes, why request a deferral?  First the

13   answer.

14             MR. GROSS:  Okay.  I tried to point out in my

15   presentation earlier that we really didn't get a direct notice

16   as we do on telecom matters.  We usually get an 8-1/2 by 11

17   notice.  And I went back to reconstruct the process that we

18   were not aware, until we became aware of it, and that was only

19   fortuitously that we became aware of the fact that pole

20   attachment standards were being addressed.  Because there is

21   nothing in the labels of the existing rules that were listed in

22   the notice, even if we had gotten the notice, which we did not,

23   that would have indicated to a telecom attorney who is not

24   familiar with the specialized utility rules.

25             If it had been a rule under Chapter 364, I would have

FLORIDA PUBLIC SERVICE COMMISSION

59

1   noticed that it was something that was critical or not to our

2   industry.  And I know when the docket was opened the parties

3   were listed as just electric companies.  So it was just

4   fortuitous that at a certain point we became aware of it.  And

5   we immediately took action and we did file comments and I think

6   staff did read and evaluate our comments.  And we appreciate

7   that.  We are grateful for that.  And there are several

8   accommodations that staff has made in its rule revisions.

9             So we are just saying that, for example, maybe if we

10   had gotten in earlier.  Mr. Willis has made a lot of comments

11   blaming the pole failures on pole attachments.  And we have not

12   had an opportunity to point out that there is another point of

13   view on that.  Both our expert, and I noticed in Gulf Power's

14   answer to one of the Commission questions, one of the staff

15   questions about whether NESC standards should be elevated

16   above, whether the standards should exceed the standards, said

17   that it is not necessary because it is really falling trees and

18   flying debris that caused most of the poles to fall.

19             And I could come up with four photos -- with all the

20   probably a million pole attachments in this state, four

21   examples of pole attachments dragging a pole down.  But in the

22   power space, the power company's equipment is much more

23   elaborate, takes up much more space and is much heavier than

24   the equipment that is placed in the communications space.  This

25   is stuff that is not in the record.  And it is hard for me to

FLORIDA PUBLIC SERVICE COMMISSION

60

1   sit here -- and I could come up with four pictures showing

2   other reasons for poles falling down, including the power

3   company's own equipment.  So --

4             CHAIRMAN EDGAR:  Mr. Gross, I have two comments.  The

5   first is that it is my impression that you and your client, and

6   there are other representatives, follow our deliberations,

7   discussions, and actions very closely.  And my second comment

8   is that nobody here is here to place blame.  We are here to try

9   to, in a very open manner, as I hope is evidenced, in a very

10   open manner address the issues that have come before us.

11             Commissioner Arriaga, did you have a follow-up?

12             COMMISSIONER ARRIAGA:  Yes, Madam Chairman.  Thank

13   you for your comments.  It is right to the point.  Because the

14   point I'm trying to make, Mr. Gross, is that isn't it a fact

15   that this Commission holds its business in the open sunshine as

16   law prescribes?  Is that a fact?

17             MR. GROSS:  Yes, that's a fact.

18             COMMISSIONER ARRIAGA:  Well, if that is a fact, any

19   interested party that feels that its rights have been violated

20   has the opportunity to participate at any time in any

21   proceeding without a particular invitation.  You have claimed

22   that your rights may be violated, and you have participated,

23   because I have seen you in the workshops, I have been here.

24   And so I think that -- you know, and I understand, and I want

25   to make sure that we are not violating any of your rights by

FLORIDA PUBLIC SERVICE COMMISSION

61

1   negating your desire for a postponement or a deferral.  Only if

2   you feel that your rights have been violated, I'm willing to

3   consider it, but I don't see that your rights have been

4   violated.

5             MR. GROSS:  No, in fact, I didn't really, even in my

6   presentation earlier this morning, claim that our rights have

7   been violated.  I just pointed out how this proceeding evolved

8   into one that did more specifically address pole attachments,

9   and when we became aware of that we participated, and we have

10   had an opportunity to participate from that point forward.  But

11   we feel that there could be some benefit from a deferral, if

12   there were a little more time to perhaps sit down with the

13   electric companies and/or staff and try to close the gap.  I

14   don't think we are that far apart on this.  But I'm not

15   claiming that our rights were violated.

16             CHAIRMAN EDGAR:  Commissioners?  Commissioner Carter.

17             COMMISSIONER CARTER:  Madam Chairman, I just want to,

18   for the record, state that in October when Commissioner Arriaga

19   was appointed he spoke of -- I believe it was later on in

20   December about a new Commission, myself, Commissioner Tew, him,

21   about it's a new Commission, give us an opportunity.  And he

22   said it so eloquently.  The three of us, in each one of our

23   deliberations, we spoke of the commitment we made to the

24   Governor and to the Legislature about the health, safety, and

25   welfare of our constituents in Florida, our Florida citizens,

FLORIDA PUBLIC SERVICE COMMISSION

62

1   as well as having an efficient operation for the regulated

2   entities.

3             Commissioner Arriaga later on in, I believe it was in

4   either January or February, spoke most forcefully about the

5   protection, remember the issue we dealt with about the pole

6   inspection?  He said we need to have -- a pole is a pole is a

7   pole, regardless of whether it is a municipal pole or a co-op

8   pole or an investor-owned, a pole is a pole is a pole.  And I

9   think everybody watched that.

10             And the train has left the station.  We are serious

11   about protecting Florida.  We are in the middle of hurricane

12   season, ya'll.  We are talking about stuff -- we don't have

13   time to delay.  It's time -- I mean, we have set the standards.

14   We have got the eight-year pole inspection regimen in place.

15   We have set the standards.  We told people up front, look, this

16   is what we are doing.  This is not your father's Oldsmobile.

17   It is a new Commission.  And we are trying to protect the

18   interests of Florida's citizenry.  And we are doing it in the

19   best way possible, a transparent process.

20             I was over in St. Augustine this weekend talking to

21   people who -- I didn't think anybody watched us on TV, but

22   people from Jacksonville, Nassau County, St. Johns County was

23   talking about, you know -- and they don't care, they don't know

24   the difference between investor-owned utilities or

25   municipal-owned, co-op, they said you need to do something

FLORIDA PUBLIC SERVICE COMMISSION

63

1   about my utility rates.  I mean, that was one of the nicer

2   things they said.  But it's time now for us to move forward.

3             And I think that we have a fantastic staff, we have a

4   transparent process, everybody is involved, everybody knows

5   where we are headed, the Governor knows where we are headed,

6   the legislature knows where we are headed, the citizens know

7   where we are headed.  And the deliberations here, everybody has

8   had an opportunity to participate, and it's time -- we've just

9   got to move, ya'll, we are in hurricane season.  We're not

10   talking about hurricane season, we're in hurricane season.  And

11   if we keep doing what we have always done, we are going to keep

12   getting what we have always gotten.

13             You know, that's insanity.  To do the same thing and

14   expect a different result is insanity.  So it's time.  We've

15   got some good recommendations here, and I think we need to move

16   on through issue-by-issue, if that's appropriate, Madam

17   Chairman.

18             CHAIRMAN EDGAR:  Further questions at this time?  No.

19   When I convened this meeting I said that we would be taking a

20   short break in about an hour and a half, and that time has

21   passed, and I'm drinking a lot of water.  So we are going to

22   take an approximate eight to nine-minute break.  We will come

23   back at 11:30 on the wall, and then we will move through the

24   remainder of this item and move on to the rest of the agenda.

25             (Recess.)

FLORIDA PUBLIC SERVICE COMMISSION

64

1             CHAIRMAN EDGAR:  Thank you all for your patience.  I

2   think we're ready to get back to it.

3             Commissioners and interested parties, when we took a

4   short break we had had some questions and some discussions.  I

5   think we are getting to the point to begin to move through the

6   issues, but before we do that are there any comments or further

7   questions that we would like to take up?

8             COMMISSIONER DEASON:  Madam Chairman, if I may.

9             CHAIRMAN EDGAR:  Commissioner Deason.

10             COMMISSIONER DEASON:  First of all, just let me echo

11   what has been said previously about the hard work of the staff

12   and all of the parties that have participated in this open

13   process.  There has been much accomplished in a short period of

14   time, and it has been out of necessity because we are, once

15   again, facing another hurricane season, the extent of which we

16   are not really sure at this point.  We are hopeful, but we are

17   hopefully preparing for what could be a repeat.

18             And in that vein, just let me say that I not only

19   appreciate all of the hard work that has gone on here recently,

20   but let me say that historically I think that our utilities in

21   this state, the investor-owned, the municipals, and the

22   cooperatives have all strived very hard to provide a high

23   quality of service to its customers.  And I think this has been

24   evidenced by not only the continuous review that our staff

25   conducts on quality of service matters, but just on national

FLORIDA PUBLIC SERVICE COMMISSION

65

1   standards as well.  I think our utilities have always been

2   considered to be utilities that provide a high quality of

3   service, very reliability service, even though we are prone to

4   hurricanes in this state.

5             But the fact remains that we have been inundated, hit

6   by extreme weather conditions the last two years, which

7   presents challenges and opportunities.  And, Madam Chairman, I

8   look at this as an opportunity for us to react accordingly.  I

9   think that unprecedented events means that we need to take a

10   rethink, a relook at where we have been in the past, and to ask

11   the questions can do things better than we have done in the

12   past, can we improve upon things?  And I think this is the vein

13   of this rule.  This is the intent.  And for those reasons I can

14   support it.

15             I am willing to go issue-by-issue.  I think that we

16   need to clarify in whatever we vote out as a proposal today, to

17   make sure that those things that we have discussed here today

18   that they get incorporated.  I know that our staff has agreed

19   to some modifications, and I think they are really more

20   clarifications than modifications.  But having that said, Madam

21   Chairman, I look forward to taking these matters

22   issue-by-issue.

23             CHAIRMAN EDGAR:  Thank you, Commissioner Deason.  And

24   I also want to say, again, that my personal thanks to our staff

25   and to all of the interested parties.  We have noted also that

FLORIDA PUBLIC SERVICE COMMISSION

66

1   it has been good to have the local governments involved.  And I

2   hope that we will continue to have local governments and other

3   stakeholders involved as we work with the municipals, the

4   co-ops, and the investor-owned utilities to together position

5   this state to be stronger as we move forward.

6             Commissioners, any comments?  Then let's move through

7   the issues that are before us, and we will begin with Issue 1.

8             COMMISSIONER DEASON:  Madam Chairman, may I ask --

9             CHAIRMAN EDGAR:  Commissioner Deason.

10             COMMISSIONER DEASON:  And maybe our staff, Mr. Trapp,

11   whomever, when we make motions on these issues, if there are --

12   I know that you have made some amendments to your initial

13   recommendation.  There were some proposals made, I believe, by

14   Mr. Butler that staff has agreed to, that perhaps there is some

15   wording change as a result of Mr. Bryant's presentation as

16   well.  I would just like it to be clear in the record exactly

17   what we are proposing so there is no question when it comes

18   time to actually issue that order proposing the rules as to

19   exactly what language is in or out.

20             MR. HARRIS:  I appreciate that.  Thank you,

21   Commissioner.

22             MR. TRAPP:  The two that I have on Issue 1 that I

23   have noted are, first of all, the amended recommendation that

24   the staff submitted on June 15th affects Rule 6034.  And we

25   have added a new Section 7, I believe, to that that requires

FLORIDA PUBLIC SERVICE COMMISSION

67

1   input from other entities attaching.  That's one change.

2             The second change was the one we agreed to with Mr.

3   Bryant with respect to Page 48 of the recommendation, Line 18,

4   the removal of the two words "the utilities," so that it now

5   says "at offices in Tallahassee."  And as we move into the

6   other issues, there was a suggestion from Mr. Harris that if we

7   reiterate this rule in toto in the municipal section, that that

8   change only be made there.  So there may be some interplay

9   between the issues, but we will try to catch them up as we go.

10             CHAIRMAN EDGAR:  Commissioner Carter.

11             COMMISSIONER CARTER:  Thank you, Commissioner Deason.

12   Along these lines, is it all right if I follow-up?

13             CHAIRMAN EDGAR:  Yes, absolutely.

14             COMMISSIONER CARTER:  Then your recommendation is to

15   do the municipal rule in a separate area, is that what you're

16   saying?

17             MR. TRAPP:  It's Issue 4, yes.

18             COMMISSIONER CARTER:  Thank you.

19             MR. HARRIS:  And perhaps, Commissioners, given that,

20   it might be something for you to consider to take, perhaps,

21   issues out of order, to decide Issue 4 first.  Are you going to

22   adopt some municipal and co-op language?  If so, what will it

23   be?  And then you can circle back to 1 if you, of course,

24   choose not to adopt it or whatever, you can consider that

25   utility language in Line 18 of Page 48.  But that might be an

FLORIDA PUBLIC SERVICE COMMISSION

68

1   easier way to do it.  If you make a change here, go to Issue 4,

2   you might have to reconsider your vote in Issue 1 to do or undo

3   whatever it is, if I'm not confusing you all.

4             COMMISSIONER DEASON:  May I ask a question?

5             CHAIRMAN EDGAR:  Commissioner Deason.

6             COMMISSIONER DEASON:  Let me ask this threshold

7   question.  Do you agree that if there is to be a separate

8   section of the rule addressing municipals and co-ops, do you

9   agree with Mr. Bryant's suggestion that other aspects of the

10   rule be incorporated into that section as opposed to merely by

11   reference?

12             MR. HARRIS:  Yes, we can agree to that.  I mean, I

13   don't see that it makes much difference.  If he does, we don't

14   have any objection to, basically, as he suggested, cutting

15   25-6.034, .0341, .0342, and pasting those into the new .0343.

16   I don't have any objection, and I don't think the technical

17   staff do.

18             MR. TRAPP:  No, I think it is six of one, half a

19   dozen of the other.

20             COMMISSIONER DEASON:  And then it is just a question

21   of making sure that if there needs to be some more precise or

22   clarifying language as it pertains to the co-ops, that when we

23   incorporate that into that section that it is clear as to which

24   language we are using, is that correct?

25             MR. TRAPP:  Yes, sir.

FLORIDA PUBLIC SERVICE COMMISSION

69

1             MR. HARRIS:  Yes, sir.

2             COMMISSIONER DEASON:  Madam Chairman, is there a

3   desire to go ahead and take up Issue 4?

4             CHAIRMAN EDGAR:  Well, I was just going to ask.  I

5   have been looking this way, so let me look this way.

6             Commissioners, any questions before we move on?

7   Okay.

8             Commissioner Carter.

9             COMMISSIONER CARTER:  I can move staff recommendation

10   on Issue 4, based upon the clarification that we have gotten

11   here.

12             CHAIRMAN EDGAR:  Okay.  Commissioners, we have a

13   motion on Issue 4 for the staff recommendation based on

14   clarification and discussion that we have had here at the bench

15   with our staff.

16             COMMISSIONER DEASON:  Second.

17             CHAIRMAN EDGAR:  I have a motion and a second.  Is

18   there a discussion?

19             Seeing none -- seeing a question, that's okay.

20   Commissioner Arriaga.

21             COMMISSIONER ARRIAGA:  I just was thinking while you

22   were asking the question, I'm sorry.

23             Mr. Bryant -- and I really appreciate the mood, the

24   comprehensive mood in which you came in today.  You always do

25   anyway.

FLORIDA PUBLIC SERVICE COMMISSION

70

1             CHAIRMAN EDGAR:  That was conciliatory.

2             COMMISSIONER ARRIAGA:  Conciliatory is the word.  I

3   appreciate that, too.  I'm always learning the English

4   language.

5             You sort of like hinted, or maybe you were direct,

6   the issue of transmission and the issue of customer complaints

7   may prompt you to question this rule in the courts.  Is that

8   your contention?

9             MR. BRYANT:  No, sir, and let me clarify.  First of

10   all, as you can appreciate, I can only represent what my

11   clients tell me to say.  And certainly none of my clients at

12   this point in time have said that they want to stand in the way

13   of this rule and take it any further than the Commission's

14   proceeding.  However, my clients can only make decisions as to

15   the future, not I, in that aspect.

16             Secondly, the transmission, the only thing I was

17   trying to say on the transmission is a clear statement from the

18   Commission and/or the staff that this is not intended to be

19   applicable to the interconnection standards between electric

20   utilities.  Interconnection standards, that's a buzz word.

21   That is intended to mean when I apply as a municipal utility to

22   interconnect to an investor-owned utilities' transmission

23   facilities, they have published FERC tariffs that set forth

24   those standards, and that has worked well.  We have no

25   complaints with that.

FLORIDA PUBLIC SERVICE COMMISSION

71

1             I would hate for sometime in the future someone far

2   removed in time to say, oh, but you must also apply to the

3   Public Service Commission because the rule says that is an

4   attachment to our transmission system.  That's all I was trying

5   to avoid in that is being whip-sawed between two jurisdictions.

6   I'm sure that would never happen under the current

7   administration of the investor-owned utilities, but that might

8   happen in the future.  That was all I was trying to say, sir.

9             On customer complaints, I was trying to caution staff

10   that we must not go in a trap of jurisdiction for someone to

11   argue at some point in time, unless that jurisdiction on a

12   complaint between a telephone company and a municipal as to an

13   attachment to a municipal facility is clearly articulated in

14   the Commission's jurisdiction.  I don't think it's clearly

15   articulated.  That is the only thing I was trying to point out.

16   That's why it is a little bit different as to the municipal

17   utilities, thus a standalone rule as to municipal utilities is

18   the safer more judicious way of handling that situation because

19   there is a difference.

20             CHAIRMAN EDGAR:  Commissioners, further discussion?

21             MR. COOKE:  Chairman Edgar?  I'm sorry to interrupt.

22             CHAIRMAN EDGAR:  Mr. Cooke.

23             MR. COOKE:  I just want to be certain that staff

24   understands exactly the language that the Commission would like

25   to use at this juncture, and I'm not sure if we do have a clear

FLORIDA PUBLIC SERVICE COMMISSION

72

1   understanding of that.  What staff is recommending at this

2   stage is that proposed rule language be noticed as a proposed

3   rule amendment, and therefore we need to know exactly the

4   language that you want us to use for that purpose.  And I know

5   that there is a question about the splitting out of some of

6   this on Issue 4.  I think it might be worth spending just a

7   little bit of time making sure we clearly understand that.

8             MR. HARRIS:  And I have a specific question for the

9   motion, I guess.  Currently the staff proposal is on Page 52

10   and it consists of about eight lines.  Lines 8 through 12 on

11   Page 52 contain what we thought was a fairly significant waiver

12   provision for the electrics and the municipal and rural

13   electrics.  And basically it gives them the opportunity to come

14   in and demonstrate to you that what they are doing today meets

15   the standards of construction and sort of saves everybody some

16   trouble.

17             My concern is what exact motion are you -- are you

18   suggesting we delete the entire 25-6.0343 language and,

19   instead, cut and paste in .034, .0341, and .0342, or do we want

20   to basically just tinker with Lines 6 and 7, which is the

21   adoption of those to this and then keeping Lines 8 through 11.

22   So if I could have some clarification or some guidance from the

23   Commission as to what exact intent it is, it would help me with

24   putting the FAW notice together.

25             CHAIRMAN EDGAR:  Commissioner Carter, your motion.

FLORIDA PUBLIC SERVICE COMMISSION

73

1             COMMISSIONER CARTER:  Madam Chair, what I was going

2   on was staff's recommendation that they could take and set

3   aside some language for the municipals.  But, I mean, if that

4   is not doable, we'll go back to the original motion, it's okay

5   with me.  I was just -- based upon your representations to me

6   that that was the case.  If that's not the case, then let's go

7   on and just don't get creative then.

8             MR. TRAPP:  If I can suggest a way out through this

9   maze.

10             COMMISSIONER CARTER:  Okay.

11             MR. TRAPP:  I don't know Larry feels about it, but

12   staff is recommending the language on Page 52, which includes

13   the exemption language.  I'm not sure that it harms anything to

14   maintain that language.  I would simply start with the language

15   on Page 48.  In Line 7 on Page 48, I would change that to say

16   this rule applies to municipal electric utilities and rural

17   electric cooperatives.  I would change that word on Line 18 to

18   remove "the utilities," as we agreed, and then I would include

19   the language that is in the amended staff recommendation with

20   respect to communicating with others at the appropriate place,

21   and then at the end of the rule I would just pick up a new

22   Section 7 --

23             MR. HARRIS:  Section 8.

24             MR. TRAPP:  Oh, is it 8?

25             MR. HARRIS:  It would be Section 8.

FLORIDA PUBLIC SERVICE COMMISSION

74

1             MR. TRAPP:  I'm sorry.

2             MR. HARRIS:  Your recommendation adds a new Section

3   7.  You would add a new Section 8.

4             MR. TRAPP:  I'm on the wrong one.  You're right.

5             Section 8 that would pick up the language on Line 6

6   of Page 52 that says if the Commission finds that a municipal

7   or rural electric cooperative has demonstrated standards will

8   not result -- that they can seek a waiver from the main body of

9   the rule.  I don't think that does any harm, but that is just a

10   suggestion.

11             MR. HARRIS:  But, Bob, we also need to include

12   Paragraphs 6.0341 and .0342, so we would need to include those

13   also.

14             MR. TRAPP:  You are correct.

15             MR. HARRIS:  So, essentially, as I understand it,

16   Commissioners, what we would be saying is we would take .034,

17   we would make those changes as Bob just enumerated.  This rule

18   applies to the municipals and co-ops, make the change about

19   removing the utility.  As our memorandum of June 15th

20   indicated, we would add a Paragraph 7 that indicates the

21   seeking input language.  Then Paragraph 8 would be starting

22   with 25-6.0341, and we would put those paragraphs in

23   sequentially numbered, and it might be that we need to make a

24   change there, also, because Page 51, we have a proposal in the

25   recommendation of June 15th to add, again, input language for

FLORIDA PUBLIC SERVICE COMMISSION

75

1   the third parties.  You all may or may not want to include that

2   paragraph, since you are including it above.

3             Then, again, going on sequentially numbering, we

4   would add paragraphs for 25-6.0342 language, so these are all

5   sequentially numbered paragraphs.  And, again, in the staff

6   memorandum of 15 June we suggested a new Paragraph 3, which has

7   the seeking input language.  So I don't know that we need three

8   separate paragraphs that say the same thing, so I would suggest

9   just one of those.  And then at the end of all of that we would

10   pick up the language starting on Line 8 of Page 52, which is

11   the waiver language, and these would all be sequentially

12   numbered paragraphs.  So the input I would need from you is is

13   that what your motion, is that what you are instructing us to

14   do, and, if so, what do you want us to do about the seeking

15   input paragraphs?

16             CHAIRMAN EDGAR:  Commissioner Carter.

17             COMMISSIONER CARTER:  Madam Chairman, if it's all

18   right, I would like to as General Counsel to see if that gets

19   us on the basis for which we need to be based upon -- I mean,

20   you have heard our dialogue and our discourse and you have

21   heard the motion, does that put us where we are trying to get?

22             MR. COOKE:  Having heard that, I believe Mr. Harris

23   has outlined a clear explanation of what language would be

24   changed based on your discussion and your understanding, so I

25   believe we have the language we need to make these changes, if

FLORIDA PUBLIC SERVICE COMMISSION

76

1   that's what the Commission approves.

2             CHAIRMAN EDGAR:  Commissioner Carter, you had made

3   the motion.  Because we have had some clarification, I will

4   look to you to see if your motion stands, or if you need

5   clarification.

6             COMMISSIONER CARTER:  I was following up on a line of

7   questioning from Commissioner Deason that kind of gave me a

8   thought on that.  I mean, he seconded the motion, I wanted to

9   make sure that he is comfortable with where staff has us on

10   this issue.

11             CHAIRMAN EDGAR:  Commissioner Deason?

12             COMMISSIONER DEASON:  It's a question -- I think we

13   are getting there, and this may be a more precise way of

14   getting there.  I think it accomplishes the same thing which

15   was what I understood your original motion to be and the reason

16   that I seconded it.  I think this is a little different

17   structure which has just been described by Staff, but I think

18   it accomplishes the same thing, so I'm comfortable with it.

19   And if it helps clarify, for purposes of issuing the order, I

20   can support it.

21             MR. COOKE:  Madam Chair, I think there was one issue

22   that Mr. Harris was asking which is the language regarding

23   seeking input from the other entities and whether that should

24   be repeated in each of these paragraphs or not.  I think we are

25   suggesting it could be done either way without much difference,

FLORIDA PUBLIC SERVICE COMMISSION

77

1   but we would just like to make sure.

2             COMMISSIONER CARTER:  I thought he said just one

3   paragraph would accomplish it.

4             MR. HARRIS:  Exactly.  I would recommend just one

5   paragraph with that input language, and then we would not

6   include it from --

7             MR. TRAPP:  Let me jump in again.  I think the

8   language that staff proposed, the three paragraphs that staff

9   proposed in this amendment, there are really two paragraphs.

10   Two are identical and one is different.  And let me find that.

11             COMMISSIONER CARTER:  What page are you on?

12             DR. BANE:  It's at the top of Page 51.

13             MR. TRAPP:  On the cover page, the first page of the

14   June 15th memorandum, I think the sections are summarized.  And

15   there is a little bit of difference, in my mind, with respect

16   to the Paren 4 there that applies to Rule 6.0341, location.

17   Because we have, in addition to seeking input, but to the

18   extent practicable, coordinate construction where an expansion,

19   rebuild, or relocation of facilities occurs.  Because that's a

20   very action paragraph there.

21             With respect to the other two areas where we are just

22   seeking input, those are just in the development of the

23   standards, and there you seek input.  But because Rule 341

24   involves actual physical relocation of facilities, staff made a

25   distinction there.  Where you are actually out in the field

FLORIDA PUBLIC SERVICE COMMISSION

78

1   relocating stuff, there has to be not only input but

2   coordination.  Because you just can't lift the electric

3   facilities and move the pole with them and leave the telephone

4   and cable on the ground.  They have to go with it.  So there

5   has to be coordination in that movement.  So we would have two

6   instead of just one.

7             COMMISSIONER CARTER:  So we've got two paragraphs.

8             MR. HARRIS:  Two paragraphs.

9             CHAIRMAN EDGAR:  Reiterated coordination.

10             COMMISSIONER CARTER:  Three?

11             MR. HARRIS:  Just two.

12             COMMISSIONER CARTER:  Okay.

13             CHAIRMAN EDGAR:  Commissioner Carter is clear.

14   Staff, are you clear?

15             MR. HARRIS:  Yes, ma'am.

16             CHAIRMAN EDGAR:  Commissioner Deason, does you second

17   stand?

18             COMMISSIONER DEASON:  It still stands.  But, Madam

19   Chairman, if we are doing something which raises some concern

20   by either the municipals or the co-ops, I guess now is the time

21   to hear that before we vote on the motion, if that's okay.

22             CHAIRMAN EDGAR:  Once again, we are all here

23   together.

24             MS. HERSHAL:  Chairman Edgar, I do have a comment.  I

25   don't want to not be cooperative, since that is our name, but

FLORIDA PUBLIC SERVICE COMMISSION

79

1   we still do have a jurisdictional question.  We do not agree

2   with staff that the Commission adopting construction standards

3   for co-ops is clear, that there is room for discussion on it,

4   and we are hoping that we can come up with a rule that we can

5   all agree on that doesn't go over jurisdictional boundaries.

6   So that issue is still out there.  I just want to make you

7   aware of that.  And we have been instructed by our Board of

8   Directors to move forward on that, if we need to.

9             COMMISSIONER DEASON:  Madam Chair, there will be an

10   opportunity for hearing, if it rises to the level that a

11   hearing is requested, it will certainly be given an opportunity

12   to be heard.

13             CHAIRMAN EDGAR:  Absolutely.  Thank you.

14             Commissioner Arriaga.

15             COMMISSIONER ARRIAGA:  Mr. Cooke, a quick question

16   here, because it looks like whether we like it or not, we may

17   end up with the gentleman in the black robes, you know, at

18   court.

19             CHAIRMAN EDGAR:  And ladies.  (Laughter.)

20             COMMISSIONER ARRIAGA:  Would it be possible to

21   separate this rule into two, one for the municipals, one for

22   the co-ops, so that if one has a question and needs to go to

23   court, maybe the other one doesn't have the same question and

24   doesn't need to go to court and we can move on.  Because it

25   looks like we are putting them together in one lump.  And one

FLORIDA PUBLIC SERVICE COMMISSION

80

1   may disagree and the other may agree and we end up holding this

2   whole thing up just because of one.  Is that a potential

3   possibility here?

4             MR. COOKE:  I would ask Mr. Harris to confirm this,

5   but it is my understanding that we have separated out the

6   language regarding municipals and cooperatives for that

7   potential that there may be some questions regarding

8   jurisdiction, et cetera, that we could address separately.

9             MR. HARRIS:  The answer to your question,

10   Commissioner, is yes, it's possible.  We do start running out

11   of numbers eventually.  But to the extent, if you determine

12   that a separate split should be -- IOUs, munis, and co-ops, if

13   you decide that munis and co-ops should be split into two with

14   identical language for both, that is within your discretion,

15   absolutely.  We would not recommend that.  We think that the

16   issues are substantially similar enough that if one chooses to

17   protest your jurisdiction, realistically that might be a good

18   opportunity for the Commission to have it resolved once and for

19   all.

20             If you split it, one of the groups requests a hearing

21   and then appeals that decision, it may leave a question in the

22   other party's mind whether it really applies to them or not,

23   and that just creates more uncertainty down the road.  So we

24   would suggest not splitting those out.  If someone chooses to

25   take this to the gentlemen and ladies in black robes, then the

FLORIDA PUBLIC SERVICE COMMISSION

81

1   Commission's jurisdiction could get resolved as regards to both

2   of those at the same time.

3             COMMISSIONER ARRIAGA:  I'm okay with the motion as it

4   stands, then.

5             CHAIRMAN EDGAR:  Okay.  And this was supposed to be

6   the simpler way to proceed.  We have a motion, we have a

7   second, we have had discussion.  Further discussion?  Seeing

8   none, all in favor of the motion say aye.

9             (Simultaneous affirmative vote.)

10             CHAIRMAN EDGAR:  Opposed?

11             Show the motion adopted.

12             Commissioners, that was Issue 4.  We will move back

13   in order and take up Issue 1.

14             Do we have discussion, questions?

15             Commissioner Arriaga.

16             COMMISSIONER ARRIAGA:  Mr. Wright, a question for

17   you.  Yes.  I heard you during your opening statements say that

18   you would like to do hardening and planning to Category 5 kind

19   of storms.

20             MR. WRIGHT:  Yes, sir.

21             COMMISSIONER ARRIAGA:  And I have also heard you in

22   many proceedings talking about prudent and reasonable costs in

23   this Commission.  Have you shown in this whole process that

24   going to a Category 5 planning and hardening is prudent and

25   reasonable?  And wouldn't that affect, generally, the whole

FLORIDA PUBLIC SERVICE COMMISSION

82

1   body of ratepayers?  I mean, wind storms in Tallahassee are not

2   the same as in Miami.  So if we pass a rule obligating everyone

3   to plan to design to Category 5 wind storms, I don't see that

4   as prudent and reasonable.

5             MR. WRIGHT:  Well, our specific recommendation was

6   that that would be the planning evaluation standard a utility,

7   an investor-owned utility could show that that was not

8   cost-effective.  Frankly, we believe that you need the

9   information.  We believe that the time is long overdue that the

10   utilities should have done the studies to evaluate what would

11   be required to meet Category 3, 4, 5 standards and what the

12   reliability impacts of building that to be would be, and what

13   the total costs of that would be, and what the total benefits,

14   not just the benefits to the utility's ratepayers that could be

15   tracked back through into rates, but also the benefits to all

16   Floridians should be.

17             If such an analysis exists, we haven't seen it yet.

18   The closest study that I am aware in Florida is the Davis

19   Islands study that Councilwoman Saul-Sena mentioned that

20   indicated without even going into the total economic benefit

21   analysis piece of it, but it did consider enhanced property

22   values.  It showed that overall it was a good thing and

23   recommended some steps as to how it should be evaluated.

24             Now, my point was that -- I had several points, but

25   you don't -- the ultimate answer to your question is we don't

FLORIDA PUBLIC SERVICE COMMISSION

83

1   know yet whether it's prudent to build to Cat 3, Cat 4, or Cat

2   5 because we don't know what the total cost and benefits are.

3   Now, I will concede to you that staff made reference to

4   potential subsidization by the general body of ratepayers for a

5   localized benefit.  I'll concede to you that if we put my block

6   underground, there is not going to be a widespread benefit to

7   all the ratepayers, assuming that I live in FPL's service

8   territory, there is not going to be a widespread benefit to all

9   of FPL's customers and all the citizens in FPL's service area.

10             However, if you start talking about undergrounding

11   all of Miami-Dade County, all of Broward County, all of Palm

12   Beach County, all of Martin County, say, for starters, the

13   value in terms of -- we believe strongly that the value in

14   terms of differential reliability afforded by undergrounding as

15   opposed to overhead, probably built to any standard, because

16   the staff appear to recognize, and I can quote you the language

17   that appears to go there, that you can't even really build an

18   overhead system to withstand a Category 5 storm.  That's on

19   Pages 5 and 6 of the recommendation.

20             But our point is that if you start talking about

21   being able to keep most of the facilities on, and get them back

22   up a lot faster than the 10 to 18 days that much of FPL's

23   southeast Florida service area was out, the total economic

24   value to Floridians is huge.  There were a few speakers who

25   came and spoke to the legislative committee hearings that were

FLORIDA PUBLIC SERVICE COMMISSION

84

1   held in South Florida this year, business people, people who

2   own factories, and they said we couldn't work for 12 days

3   because our power was down.  There is real lost value there.

4             It's not just melted ice cream, it's not just lost

5   meat frozen in the freezer, it's not being able to dry out your

6   house, it's not being able to get gas to go to work, it's not

7   being able to buy groceries.  There is a tremendous amount of

8   lost economic value.  And all I'm saying to you is that you

9   need to take consideration of that very specifically as a value

10   to be considered in the public interest in terms of your

11   overarching mandate to regulate utilities in the public

12   interest.

13             And the other point I made is that the expected

14   unserved energy piece of this goes to the benefit side of a

15   true benefit/cost analysis, which is what it ought to be.  I'm

16   not saying that I know today, because I don't, that building to

17   Category 5 is reasonable and prudent.  What I am saying is you

18   need to do the full analysis, as I articulated earlier, Cat 3,

19   Cat 4, Cat 5, and the NESC extreme wind criteria are

20   essentially Cat 3 in coastal circumstances, and then compare

21   that to standard overhead, hardened overhead, but hardened

22   overhead to what, underground, partially hardened underground,

23   superhardened underground, whatever.  If the study has been

24   done, we haven't seen it yet, and that's what we are

25   advocating.

FLORIDA PUBLIC SERVICE COMMISSION

85

1             And my question echoing something Commissioner Carter

2   said is, if not now, when?  I'm willing to believe that -- and

3   we support going forward with the rule today.  But I will also

4   tell you that I don't have a specific representational

5   relationship as of this minute with a group known as the

6   Municipal Underground Utilities Consortium, but there is such a

7   consortium being largely spearheaded by the Town of Palm Beach

8   that now consists of more than 30 cities and towns in the state

9   of Florida who have engaged consultants to go forward and do a

10   study very much like the one that we are here advocating.  We

11   expect it to be done probably in September.

12             We think the study should have been done long ago.

13   We are going forward with it now.  What we don't want to happen

14   is we get down to October, we have got the study, we are going

15   to give it to you, you can bet on that.  We don't want to get

16   here and have somebody say too late, you should have addressed

17   it here.  We have been addressing it since January, and we want

18   you to take a look at it.  Now, maybe the right way to do it

19   procedurally is let's see what the study says, and maybe the

20   right way to do it procedurally is to come forward with a new,

21   a new petition to initiate further rulemaking with this rule

22   already in place.  As far as I'm personally concerned, that

23   would be okay.  We just want ya'll to consider all the costs,

24   all the benefits, all the impacts.

25             COMMISSIONER ARRIAGA:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

86

1             CHAIRMAN EDGAR:  Commissioners?  Okay.  We are on

2   Issue 1.  Is there a motion or a question?

3             COMMISSIONER DEASON:  The same question to staff.

4   Are there modifications to the wording of this particular issue

5   that we need to clarify in any motion?

6             MR. HARRIS:  Yes, sir, there's one.  We do have the

7   June 15th memorandum that you have looked at.  It contains a

8   new Paragraph 7 to the language that is in your recommendation

9   before you.  So we would ask that you adopt the proposed rule

10   language with the inclusion of the Paragraph 7 as outlined in

11   the June 15th memo.  I believe there are no other changes to

12   the text for this one.

13             COMMISSIONER DEASON:  And this is the paragraph

14   seeking input?

15             MR. HARRIS:  Yes, sir.

16             COMMISSIONER DEASON:  I would move staff's

17   recommendation as clarified with the inclusion of Paragraph 7.

18             COMMISSIONER CARTER:  Second.

19             CHAIRMAN EDGAR:  Commissioner Arriaga for a question.

20             COMMISSIONER ARRIAGA:  To staff.  The issues raised

21   by Mr. Wright, I can relate them to the undergrounding issue,

22   which I believe is taken a little further down, maybe Issue 2

23   or 3.  Which one would it be?

24             MR. TRAPP:  It's 6, 7, and 8.

25             MR. HARRIS:  Six, 7 and 8.

FLORIDA PUBLIC SERVICE COMMISSION

87

1             COMMISSIONER ARRIAGA:  I want to make sure we don't

2   let these comments go by, and that we can address them at the

3   proper time when the proper issue comes up.

4             MR. TRAPP:  I can give you a preview.

5             CHAIRMAN EDGAR:  How about we do one thing at a time.

6             COMMISSIONER ARRIAGA:  I think I don't agree with Mr.

7   Wright on just planning Category 5 for everywhere, but I would

8   like this issue to be brought back into the discussion when we

9   discuss undergrounding.  Would that be okay?

10             MR. TRAPP:  If I could comment, briefly.  Staff

11   started with Category 3, mandated hardening to Category 3 in

12   the first workshop, and then Mr. Wright went to Category 5.

13   That's not what we are doing now.  We haven't specified any

14   category in these standards.  What we have said is utility --

15   and we did that because of cost considerations, by the way, on

16   the economic impact material we got after the first workshop.

17             What we are doing now though is saying, utilities,

18   you need to identify in your standards, policies, and

19   procedures those areas that most need it.  Whether that is

20   Category 1, 2, 3, 5, I don't know.  We are going to see some

21   standards come back to us.  So, you know, we haven't limited it

22   to categories.

23             With respect to all the costs, Schef and I had a

24   common tutor, Mr. Joe Jenkins, and he taught us both don't get

25   caught up with paralysis by analysis.  These rules set a

FLORIDA PUBLIC SERVICE COMMISSION

88

1   framework for further action by this Commission.  You have

2   also, as my introductory statement said, outlined a network of

3   activities, one of which is Docket 06198 (sic) that has a

4   ten-point plan that also addresses all of these underground

5   costing issues, all of these cooperation with communities and

6   that type of thing.  We anticipate further activity there on

7   the subject matter.

8             And to finally answer your question, Ms. Kummer is

9   going to address in the underground rule sections later on the

10   language that we have included with respect to specific cost

11   inclusion, and we will wait to explain that more, if you like.

12             CHAIRMAN EDGAR:  Yes.  Thank you.

13             COMMISSIONER ARRIAGA:  I'm okay with the answer.

14             CHAIRMAN EDGAR:  Okay.  Then, Commissioners, we have

15   a motion and we have a second.  We are on Issue 1.  All in

16   favor of the motion say aye.

17             (Unanimous affirmative vote.)

18             CHAIRMAN EDGAR:  Opposed?  Show the motion for Issue

19   1 adopted.

20             COMMISSIONER DEASON:  We were on Issue 2.  Did we

21   already --

22             COMMISSIONER CARTER:  We did 4 first.

23             COMMISSIONER DEASON:  That's right, we did 4.  I'm

24   sorry.  I was just hoping we were on --

25             COMMISSIONER ARRIAGA:  Commissioner Deason, are you

FLORIDA PUBLIC SERVICE COMMISSION

89

1   second-guessing our Chair Lady?

2             COMMISSIONER DEASON:  Shouldn't do that.

3             COMMISSIONER ARRIAGA:  No.  (Laughter.)

4             CHAIRMAN EDGAR:  And now we're on Issue 2.

5             Discussion, questions, or a motion.

6             COMMISSIONER CARTER:  Madam Chair, if I am in order,

7   I will move staff's recommendation on Issue 2.  Again, thanks

8   to Commissioner Deason.  Let me just ask staff, are there any

9   updates that we need to add to the language here?

10             MR. HARRIS:  Yes, sir.  Again, the memorandum of 15

11   June, we recommend adding a Paragraph 4 which would include not

12   only the input from the third party but the coordination as Mr.

13   Trapp explained earlier.

14             COMMISSIONER CARTER:  Thank you.  That would be my

15   motion for staff recommendation Issue 2.

16             COMMISSIONER DEASON:  Second.

17             CHAIRMAN EDGAR:  Commissioners, any questions or

18   discussion?  Okay.  We have a motion and a second on Issue 2.

19   All in favor of the motion say aye.

20             (Unanimous affirmative vote.)

21             CHAIRMAN EDGAR:  Opposed?

22             Show the motion for Issue 2 adopted.

23             And, Commissioner Deason, we are on Issue 3.  Is

24   there a discussion or a question?

25             COMMISSIONER DEASON:  The same question to staff.

FLORIDA PUBLIC SERVICE COMMISSION

90

1             CHAIRMAN EDGAR:  Mr. Harris.

2             MR. HARRIS:  Yes, sir.  This is the last time, but

3   for the 15 June memorandum we do have an additional Paragraph 3

4   that we would recommend, which is the seeking input language.

5   That is the end of the June 15th memo.

6             CHAIRMAN EDGAR:  And for the material before us that

7   is on Page 51.

8             COMMISSIONER DEASON:  Move staff as amended.

9             COMMISSIONER CARTER:  Second.

10             CHAIRMAN EDGAR:  We have a motion and a second.

11   Commissioner Arriaga.

12             COMMISSIONER ARRIAGA:  Mr. Harris, would you please

13   clarify to us that we are not -- by approving this issue we are

14   not handing unilateral electric utility authority to deny

15   attachments.

16             MR. HARRIS:  That is correct.

17             COMMISSIONER ARRIAGA:  How is that?  Expand for me,

18   please.  I just want to make sure that it is very well

19   articulated, because this is an argument that has been raised

20   over and over and over.  I want you to articulate it for us,

21   please.

22             MR. HARRIS:  Yes, sir.  It is staff's intent in this

23   proposed language that what you all are going to do is order

24   the utilities to develop standards.  And what we mean by that,

25   in my mind, and I'm not an engineer and Mr. Trapp may correct

FLORIDA PUBLIC SERVICE COMMISSION

91

1   me, but in my mind it is something as simple as the pole won't

2   fall down with X conditions.  It won't fall down if the wind is

3   less than 200 miles an hour.  It won't fall down if there is

4   less than 10,000 pounds loaded on it.  Something like that.

5             At that point that's a standard.  It has no effect,

6   in my mind, on pole attachments.  At some point someone wants

7   to attach and they come to the utility and say we want to add

8   our facilities, and everyone looks -- the engineers look at

9   that and say, okay, with the addition of this facility will the

10   pole still meet that standard, yes or no.  To me it is an

11   engineering question.

12             If the answer is yes, then they do whatever

13   commercial -- you know, whatever is required to enter into a

14   contract for the pole attachment.  If the answer is no, if the

15   pole will not support that -- under that standard if the pole

16   will not be able to meet the standard with the addition of that

17   attachment, then they negotiate how they are going to get it

18   there.  Who is going to pay to upgrade the pole; are they going

19   to change the attachment; is there some engineering that can

20   fix it?  That is again for them to negotiate.  If they can't

21   negotiate it, it is my understanding that the FCC has a

22   procedure by which the party can file a complaint, and that

23   complaint would be we want to make this attachment and the

24   utility is saying we can't do it.  In my mind it would go

25   something like that.

FLORIDA PUBLIC SERVICE COMMISSION

92

1             The utility would respond.  We are not saying no, we

2   are saying it won't meet this construction standard.  And we

3   are just saying that once it meets the standard, they can make

4   the attachment.  And then the FCC can look at your construction

5   standard, they can decide whether the pole -- whether that's

6   true or not, whether with the attachment the pole meets the

7   standard or not.  If it doesn't, they can decide what they want

8   to do about it.

9             I do not believe that what they decide to do could be

10   to override your standard.  I think what the FCC would have to

11   decide is who is going to pay for an upgrade.  Or instead of a

12   10,000 pound attachment, it can be a 2,000 pound attachment.

13   Or instead of it being at the top of the pole it can be in the

14   middle of the pole.  These are engineering things.  That's, in

15   my mind what, the FCC would decide.  Which is a long way of

16   saying, basically, I think you all have the authority and the

17   responsibility to set those standards.  Those standards will

18   not prohibit any pole attachment in staff's mind.

19             COMMISSIONER ARRIAGA:  Thank you.

20             CHAIRMAN EDGAR:  Commissioner Tew.

21             COMMISSIONER TEW:  I probably should have asked this

22   with Issue 2, but by approving these recommendations we are not

23   setting any certain hearing date, so that you all could work

24   with the Chairman's Office in scheduling whatever hearing date

25   that you all feel is appropriate after a workshop, is that

FLORIDA PUBLIC SERVICE COMMISSION

93

1   correct?

2             MR. HARRIS:  Yes, ma'am.

3             CHAIRMAN EDGAR:  Commissioners, we have a motion and

4   a second on Issue 3.  We have had discussion.  All in favor of

5   the motion say aye.

6             (Unanimous affirmative vote.)

7             CHAIRMAN EDGAR:  Opposed?  Show the motion for Issue

8   3 adopted.  We have previously taken up Issue 4, so we are on

9   Issue 5.

10             Commissioner Carter.

11             COMMISSIONER CARTER:  I think I remembered --

12   sometimes my brain checks in and sometimes it checks out.  Was

13   staff saying we're going to do 5, 6, 7, and 8, or were they

14   just saying those were related issues?  Was that what you all

15   were saying?  Help me out here.

16             MR. TRAPP:  No, 5 is a pretty much stand-alone issue,

17   it is just our safety rule, implementing our safety statute.

18   And there is just some clean up in this rule.  And then there

19   is a word change to acknowledge the passage and signing

20   yesterday of the Energy Bill, Senate 888.  But it was Issues 6,

21   7, and 8 where we start getting into the undergrounding issues.

22             COMMISSIONER CARTER:  Okay.  Thank you, Madam Chair.

23             CHAIRMAN EDGAR:  Commissioners, may I have a motion

24   on Issue 5?

25             COMMISSIONER DEASON:  Is there any additional

FLORIDA PUBLIC SERVICE COMMISSION

94

1   clarification we need to make at this time?

2             MR. HARRIS:  No, sir.

3             COMMISSIONER DEASON:  Move staff.

4             COMMISSIONER CARTER:  Second.

5             CHAIRMAN EDGAR:  Discussion?

6             Commissioners, we have a motion and a second on Issue

7   5.  All in favor say aye.

8             (Unanimous affirmative vote.)

9             CHAIRMAN EDGAR:  Opposed?  Show the motion on Issue 5

10   adopted.

11             We are on Issue 6.

12             MS. KUMMER:  There are some clarifications to this

13   rule based on FP&L's comments earlier.  On Page 56 of the rule,

14   in the formula at the top of the page, in the last box on the

15   right it will read, "Four years expected incremental base

16   demand revenues."  On that same page in Paragraph B, Line 8,

17   that would now read, "The net book value and cost of removal

18   net of the salvage value for existing facilities shall be

19   included in the total estimated work order job costs for

20   upgrades to those facilities."  Essentially, what we are adding

21   is the net book value of removed facilities.

22             And we have one more which was not a Power and Light

23   change, it was suggested by someone else and staff thought it

24   was a good idea.  On Page 59, Line 9, this is the proration of

25   the CIAC for line extensions.  In staff's discussion of the

FLORIDA PUBLIC SERVICE COMMISSION

95

1   recommendation we make it clear that this is something that

2   would only apply to an end-use customer, not to a developer.

3   It was suggested that we need to make that clearer in the rule,

4   and staff would suggest at the end of Line 9 it would read over

5   the number of end use customers expected to be served to make

6   it clear that it does not apply to developers.

7             COMMISSIONER CARTER:  Say that again, please.

8             MS. KUMMER:  On Line 9 we are adding the word end use

9   at that line to indicate that the proration would only apply to

10   end use customers not to a developer or someone else doing a

11   mass project.

12             COMMISSIONER CARTER:  Excuse me. I'm asking is it at

13   the end of the line or is it the end of the sentence?

14             CHAIRMAN EDGAR:  The end of Line 9.

15             MS. KUMMER:  The end of the line.  Line 9 would read,

16   "By the new or upgraded facilities, the utility shall prorate

17   the total CIAC over the number of end use customers."

18             COMMISSIONER CARTER:  Thank you.

19             CHAIRMAN EDGAR:  Commissioners, any further questions

20   on Issue 6?

21             COMMISSIONER CARTER:  If I may, Madam Chairman.

22             CHAIRMAN EDGAR:  Commissioner Carter.

23             COMMISSIONER CARTER:  Staff, are there any

24   additional -- is that it, any more from the memo?

25             MS. KUMMER:  That is all that we are aware of, yes,

FLORIDA PUBLIC SERVICE COMMISSION

96

1   sir.

2             MR. HARRIS:  Yes, sir, that's it.

3             COMMISSIONER CARTER:  I would move staff

4   recommendation on Issue 6.

5             CHAIRMAN EDGAR:  With the additional clarification.

6             COMMISSIONER CARTER:  Yes, ma'am.

7             COMMISSIONER DEASON:  Second.

8             CHAIRMAN EDGAR:  Commissioners, we have a motion and

9   a second on Issue 6.  Is there further discussion?  Seeing

10   none, all in favor of the motion say aye.

11             (Unanimous affirmative vote.)

12             CHAIRMAN EDGAR:  Opposed?  Show the motion for Issue

13   6 adopted.

14             We are on Issue 7.

15             MS. KUMMER:  There is one change to Issue 7, that's

16   on Page 61 of the rule, Lines 15 and 16.  Line 15 reads,

17   "Sufficient record-keeping and accounting measures to

18   separately identify operating and maintenance."  Operating and

19   maintenance would become operational costs, the same language

20   as used above.

21             CHAIRMAN EDGAR:  Ms. Kummer, any additional changes

22   or clarifications?

23             MS. KUMMER:  No, ma'am.

24             CHAIRMAN EDGAR:  Commissioners, any questions?

25   Seeing none, is there a motion?

FLORIDA PUBLIC SERVICE COMMISSION

97

1             COMMISSIONER DEASON:  I move staff as amended.

2             COMMISSIONER CARTER:  Second.

3             CHAIRMAN EDGAR:  Thank you.

4             Commissioner Arriaga.

5             COMMISSIONER ARRIAGA:  Okay.  We are at a point where

6   we can probably address the issues that were brought up by Mr.

7   Wright regarding the need to have access by third parties to

8   the planning processes in the utilities in order to determine

9   data gathering processes, et cetera.  Which brings me to one of

10   the workshops before and to the day that the utilities were

11   here presenting their hardening plans for the storm season.  At

12   that time we sort of came to an agreement that we do not have a

13   system, a uniform system of data collection.  We discussed the

14   possibility of talking to the universities to see if they could

15   design this for us.

16             Could you kindly relate to me, number one, the

17   possibility of taking into consideration Mr. Wright's

18   suggestions about the planning processes and the information,

19   that it should be available to third parties, the feasibility

20   of that; and, number two, how have you advanced with PURC,

21   specifically with PURC regarding the issue of a uniform system

22   of data gathering that we could request from the utilities so

23   that we can have, in a short time, some kind of forecasting

24   methodology to see what is the best?

25             MR. TRAPP:  First, I guess staff's position is that

FLORIDA PUBLIC SERVICE COMMISSION

98

1   it is premature to start listing the information in a rule,

2   because we just have a lack of information, lack of data or

3   understanding of how these relationships should work together.

4   You know, you have externalities associated with utilities

5   being out, but you also have externalities during a storm with

6   houses not being there.  And I don't know what is more

7   disruptive to commerce.

8             But, anyway, the long and short of it, staff chose

9   not to propose any rulemaking language to elaborate any more

10   than we did on what has been called externality costs.  We have

11   specifically, though, proposed that the utilities be put on

12   notice and be required to separately identify their overhead

13   and underground costs.  And to reflect in -- this rule applies

14   only to new facilities by the way -- to reflect in the new

15   facilities' CIACs and conversion case CIACs the effects of

16   historic storm damage.  Now, they will have to present that

17   data to us at some point in time and you will have to review it

18   and approve it as being reasonable.

19             Now, with respect to on-going activities, again, this

20   rulemaking is setting the stage for other activities that the

21   Commission has ordered.  We met with PURC, or I should say PURC

22   had their kickoff workshop two Fridays ago, and it was very

23   well represented by the utility industry.  They had presenters

24   that are experts in modeling.  It was only a one-day workshop,

25   so it was fairly brief, but there were some proposals about we

FLORIDA PUBLIC SERVICE COMMISSION

99

1   can work with these underground models and we would be willing

2   to.  Most of the discussion from the utilities that I observed

3   during that workshop were on -- their interest was more in

4   measuring wind speeds, land wind speeds, and looking at

5   vegetation control and that type of thing.  Undergrounding was

6   touched on.

7             In a follow-up conversation I had yesterday, though,

8   with Mark Jamison, who is the director of PURC and who is

9   leading this effort, I expressed to him the three points in our

10   rules plus the information that Mr. Wright is pursuing, and he

11   agreed that the university could probably put together a

12   proposal on at least methodology.  I don't think the university

13   is in a position to specify what should be considered and what

14   shouldn't, but they can put together a methodology for

15   considering costs.  So that is an area that staff does intend

16   to pursue with PURC as part of the university research efforts.

17             There is still the ten point plans out there that are

18   sitting on my desk, quite frankly, and we need to bring you a

19   course of action of how to evaluate what has been submitted

20   there.  And I am thinking that we will be coming back with some

21   more action plans, too.

22             CHAIRMAN EDGAR:  Perhaps in August?  Perhaps.

23             MR. TRAPP:  I'm hoping before August, but, yes.  So I

24   think we are still working on it, but we just feel like it's

25   premature at this time to include anymore than we have in the

FLORIDA PUBLIC SERVICE COMMISSION

100

1   proposed rulemaking.

2             MS. KUMMER:  And what this rule does, Commissioner,

3   is -- it is a two-pronged attack.  First, it says that you

4   shall consider the life-cycle costs.  That's to capture the

5   long-term operational cost/benefits that are not being

6   considered today.  Today, the differential are primarily

7   initial installation costs.  This will require them to look at

8   the long-term benefits of various types of construction.  And

9   it also requires them to develop a method, an accounting method

10   to define these costs.

11             A lot of what we have heard, and you have heard Mr.

12   Trapp talk many times about the fact that there is no data out

13   there.  The utilities aren't tracking this right now, or if

14   they are they aren't telling us.  So we wanted to put in a rule

15   that they will develop a mechanism to track these costs so that

16   we do have a handle on them when we start doing the type of

17   analysis that you are talking about.

18             CHAIRMAN EDGAR:  Commissioner Arriaga.

19             COMMISSIONER ARRIAGA:  In the traditional -- giving a

20   special deference to our elected officials, we have today the

21   visit here of Commissioner Saul-Sena who has been very vocal

22   about this whole issue of data gathering, and she specifically

23   requested that we consider issues that do not seem to match

24   your recommendation.

25             I would like to ask you, Commissioner, do you feel

FLORIDA PUBLIC SERVICE COMMISSION

101

1   comfortable with what is being proposed here today?  And do you

2   have experience with data gathering, because I think I heard

3   you say that?

4             MS. SAUL-SENA:  Thank you.  Thank you for asking my

5   thoughts on this.  What is being proposed, that of gathering

6   lifecycle costs, is better than what has existed previously.

7   It's a step in the right direction and that's good.  I would

8   like to see it go further.  I think that, you know,

9   strategically probably the best thing to do today is to adopt

10   what is before you, but not close the door and say, well, we

11   have dealt for the next ten years.

12             What I would love to see you do is ask some

13   university people to define it.  And I would offer this,

14   because they're not here to decline, the professors from the

15   engineering department at the University of South Florida,

16   Suresh Kahtor and George Moore, have worked on this for a

17   number of years.  They are very knowledgeable.  And they would

18   certainly be in a position to in a quick, relatively quick span

19   come up with some criteria.

20             I think one of the things that is underscored today

21   is you need uniform criteria that is very holistic, that's very

22   holistic in terms of capturing these costs.  And I would be

23   happy to share with your staff their contact information,

24   although they actually have it, and offer their services to

25   help come up with a template for doing that.

FLORIDA PUBLIC SERVICE COMMISSION

102

1             COMMISSIONER ARRIAGA:  Thank you so much.

2             MS. SAUL-SENA:  Thank you.

3             COMMISSIONER ARRIAGA:  Can I --

4             CHAIRMAN EDGAR:  Commissioner Arriaga.

5             COMMISSIONER ARRIAGA:  The waiver of CIAC is another

6   issue that I have concerns with, and it's basically -- there is

7   a tariff request out there placed by Florida Power and Light

8   that specifically addresses this issue of the 25 percent in

9   their territory, which is my territory, South Florida,

10   Southeast Florida.  We have had -- well, the town of Jupiter is

11   here, we also had the City of Coral Gables come here seeking

12   some guidance from us, and I will address that a little later.

13   What's going to happen to the tariff?  What's going to happen

14   to the 25 percent?  By approving this issue here, what are we

15   doing with the 25 percent that FPL offered?

16             MS. KUMMER:  The change that staff is proposing in

17   this rule opens the door to allowing the Commission to consider

18   that tariff.  Right now there is a flat prohibition against the

19   company spreading any waive of CIAC over the general body of

20   ratepayers.  So the company can waive it, but it has to go

21   below the line.

22             This proposed change allows an entity, a city, the

23   Towns of Jupiter Island and Palm Beach to come in and show that

24   there are benefits to the general body of ratepayers and,

25   therefore, it is appropriate for this waived amount to be

FLORIDA PUBLIC SERVICE COMMISSION

103

1   collected from the general body of ratepayers.  So it opens the

2   door for the Commission to consider that.  And we will be

3   bringing that tariff back at a later point with a

4   recommendation.

5             COMMISSIONER ARRIAGA:  Okay.  Thank you, Madam Chair.

6             CHAIRMAN EDGAR:  Commissioners, we have been having

7   discussion on Issue 7.  We had a motion and a second.

8             Seeing no further questions, all in favor of the

9   motion say aye.

10             (Unanimous affirmative vote.)

11             CHAIRMAN EDGAR:  Opposed?  Show the motion for Issue

12   7 adopted.

13             We are on Issue 8.  Commissioner Deason.

14             COMMISSIONER DEASON:  Any clarification needed?

15             MS. KUMMER:  No, sir.

16             COMMISSIONER DEASON:  Move staff on Issue 8.

17             COMMISSIONER CARTER:  Second.

18             CHAIRMAN EDGAR:  Commissioners, we have a motion and

19   a second.  Are there questions or discussion?

20             Commissioner Arriaga.

21             COMMISSIONER ARRIAGA:  Again, my issue about giving

22   guidance to people, persons, towns, cities that have

23   demonstrated an interest, an honest interest in undergrounding.

24   I think that your proposal, the staff proposal may not go far

25   enough.  Because I think we owe it to the cities, to these

FLORIDA PUBLIC SERVICE COMMISSION

104

1   municipal governments, some kind of guidance as to how to

2   handle themselves in the issue of undergrounding.  We are

3   supposed to be the experts.  We are supposed to be the

4   regulators.  We are supposed to be the body that has the

5   authority to guide and to supervise.

6             I think the way you proposed it you may have left it

7   where there is no real guidance here.  You can do it, but see

8   how you stumble along.  Like when a baby begins to walk.  Maybe

9   we should hold them by the hand and show them how to walk,

10   because we are supposed to be the experts.  And I think you

11   proposed possible rule language, it is not taxative or

12   mandatory that would actually in cases in a specific way of

13   doing undergrounding.  I think it allows -- it is generally not

14   to allow and to promote the issue of undergrounding where

15   applicable.  I'm not saying that we have to underground the

16   whole state of Florida, no.  But allow those people that want

17   it, do it, and I think that it is reasonable and prudent, allow

18   them a guidance of how to work it.  Would you want to consider

19   that?

20             MR. TRAPP:  Again, Commissioner Arriaga, we believe

21   we have gone as far as we can with this set of rulemaking, but

22   this is certainly not the end of the process.  There were

23   suggestions made by the towns and Coral Gables during the

24   workshop that we did listen to.  And one of the things we

25   listened to with great interest was that Coral Gables itself

FLORIDA PUBLIC SERVICE COMMISSION

105

1   was preparing a study that was due possibly in the July time

2   frame, time being what it is.  We need to see that study as

3   part of this process.

4             We would like to see information from the Tampa Bay

5   area and other areas in the state.  I think this is a good

6   start.  I don't think it is the end.  And I think we need to

7   develop with the research groups and the community groups and

8   the utilities a further development of this plan of action on

9   underground cost impacts.

10             MS. KUMMER:  I would second that.  And that we just

11   don't have the information we need right now.  There are a

12   couple of studies that are going to be available this fall,

13   apparently the one that Mr. Wright is working on, that will

14   give us a much better handle.  I'm just a little bit nervous

15   about getting too prescriptive in a rule at this point because

16   we don't have enough information.

17             And what we propose might work for Power and Light

18   and might not work for Progress and might not work for TECO.

19   What we have tried to do is make the language general enough

20   that it can accommodate different types of proposals that meet

21   particular utility's needs.  I understand that doesn't give a

22   lot of guidance, but at this point I'm afraid if we go too far

23   down that road we may be telling them the wrong thing.

24             CHAIRMAN EDGAR:  Commissioner Arriaga.

25             COMMISSIONER ARRIAGA:  See, I come from the other

FLORIDA PUBLIC SERVICE COMMISSION

106

1   side, which is you are not going far enough.  I understand you

2   don't want to go too far, but I think that you are not going

3   far enough.  And, basically, because the towns don't have the

4   option right now because they don't have guidance.  So what are

5   we going to wait?  It is a fact, and I heard the two workshops,

6   it is a fact that the electric utilities apparently have told

7   us that undergrounding is not a silver bullet.  I mean, this is

8   standard in all the electric utilities.

9             I will say they are not overly excited about the

10   possibility.  So not being overly excited, I'm not saying

11   either that we should impose it on them, but we should open the

12   door to a little more possibilities of discussions between

13   towns or companies or developers with the utilities to go

14   forward on this issue.  Not to leave them there in the limbo.

15             MS. KUMMER:  Well, Florida Power and Light and

16   Progress Energy both currently have approved tariffs that

17   provide for municipal undergrounding, so the tariff is out

18   there.  That's on Page 41 of the recommendation.  That possible

19   rule language is simply taken from the existing tariffs.  So

20   there is a framework, and I know that Progress has had several

21   projects undergrounding communities, and then clearly Power and

22   Light is working on this one, as well.  I understand what you

23   are saying.  At this point I'm not really sure how far we want

24   to go.

25             COMMISSIONER ARRIAGA:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

107

1             CHAIRMAN EDGAR:  Commissioners, further questions or

2   discussion?

3             We have a motion and a second on Issue 8.  All in

4   favor of the motion say aye.

5             COMMISSIONER CARTER:  Aye.

6             COMMISSIONER DEASON:  Aye.

7             COMMISSIONER TEW:  Aye.

8             CHAIRMAN EDGAR:  Aye.  Opposed?  Commissioner

9   Arriaga.

10             COMMISSIONER ARRIAGA:  I am going to have to vote no,

11   Madam Chairman, and I just want to say that the only reason I

12   do -- the whole issue is just okay.  I mean, there is no

13   problem with the issue in general terms, I just have a little

14   concern that we should have gone a little further with

15   promoting undergrounding or giving some guidance to

16   undergrounding.  I'm not opposed to the motion in itself, I

17   just want it to be more specific, and that is the only reason I

18   need to vote no at this time.  Thank you.

19             CHAIRMAN EDGAR:  Thank you, Commissioner Arriaga.

20             Commissioners, we are on Issue 9, and I will note

21   that the recommendation before us from our staff is to not

22   propose a new rule on this issue.

23             Is there discussion or questions?  Commissioner

24   Deason.

25             COMMISSIONER DEASON:  I am looking at Page 44 of the

FLORIDA PUBLIC SERVICE COMMISSION

108

1   recommendation, and in the middle part of that page as I read

2   it, staff is agreeing that there should be coordination and the

3   sharing of information, and staff even indicates that they

4   believe there is a middle ground to where the sharing of

5   information would not be unnecessarily burdensome, and perhaps

6   it would be adequate for the applicants to facilitate their

7   planning.

8             Where do we get that?  Do you think this rule

9   accomplishes that middle ground or do we need to do something

10   more to accomplish that middle ground?

11             MS. KUMMER:  Well, as the staff recommendation

12   indicates, part of the ten points was to improve local

13   governmental liaison.  And staff is recommending that that is a

14   better place to try to develop the type of information each

15   particular city needs.  Not every city may want the same level

16   or same amount of detail or on the same time frame.  And we are

17   suggesting that that liaison effort would be a better place to

18   address it to better tailor it without being unduly burdensome

19   to the utility.

20             Or one of my major concerns is that if the utility

21   gives out too much information too early, cities may be making

22   decisions based on preliminary information which costs them

23   money down the road when the utility has to change its plans.

24   So, I'm a little bit afraid of giving them too much too soon,

25   that that might cost the cities money rather than actually help

FLORIDA PUBLIC SERVICE COMMISSION

109

1   them.  And that's why I think the local liaison avenue is a

2   better way to go.

3             COMMISSIONER DEASON:  Well, I'm a little concerned

4   that, first of all, the city governments found it necessary to

5   actually propose rule language.  To me that indicates that they

6   have endeavored to acquire information and have felt that they

7   have not been successful in those attempts.  And it seems to me

8   that the sharing of information is something that we should

9   encourage.  And to the extent to whether it may cost the cities

10   money, as long as the information is shared with them with the

11   understanding that it is planning and -- some of these cities

12   may be small, but there are some really smart people that work

13   there, and they can understand that these planning.  It just

14   helps with their planning.  And maybe, perhaps, with some

15   future coordination perhaps it would save money for all

16   entities involved at some point.

17             I'm just concerned that the message I'm getting is

18   that there has not been a sharing of information that at least

19   some cities and towns felt like they should have gotten, and

20   this, I think, is troublesome.  I'm not saying that we should

21   necessarily adopt a specific language that was proposed, but

22   you suggested middle ground, you don't have any proposed middle

23   ground language for us to consider today?

24             MR. TRAPP:  Not at this time.

25             MS. KUMMER:  But we can certainly pursue that through

FLORIDA PUBLIC SERVICE COMMISSION

110

1   the review of their ten-point plan and ensure that something

2   is --

3             COMMISSIONER DEASON:  But what is the legal status of

4   the ten-point plans?  A rule is much more -- well, it's a rule,

5   it's a requirement.  A ten-point plan may not reach to that

6   level.

7             MR. TRAPP:  Yes, but our ten-point plan does not

8   foreclose, in my mind, that one of the subsequent actions of

9   one of the elements of the plan is to go to rulemaking.  I

10   mean, there may be more rulemaking to come.  One of the things

11   that has not been addressed in these rules and was expressed

12   many times during these workshops is let's not lose sight that

13   the big one is tree trimming, vegetation management, and that

14   is an area that is being looked at in that ten-point plan.

15   That is one of the elements.

16             There may be need for vegetation rulemaking,

17   depending on what the utilities have proposed and how you want

18   to address it.  I think we agree with you, Commissioner Deason.

19   It's communication, communication, communication.  These

20   utilities need to be communicating with their customers to meet

21   their needs.

22             MS. KUMMER:  And if we find in the analysis of the

23   ten-point plans that there are areas that need to be addressed

24   by rules or could be addressed by rules, we can certainly go

25   that route.  Once we get a handle of what is actually going on

FLORIDA PUBLIC SERVICE COMMISSION

111

1   there, what the cities and towns believe they need, then we can

2   go forward on that basis.  At this point we are not really sure

3   what they are doing or where we need to apply the fixes.

4             Staff was concerned with this particular rule

5   language because it was so broad.  It basically says anybody

6   who wanted any information anywhere in Power and Light's

7   territory, they were entitled to it.  And that I think is

8   overkill, and that was my comment.  There is bound to be a

9   middle ground.  Cities and counties and other interested groups

10   certainly have a right to know what's is going on, or what is

11   being planned for their area.  It's just that do they have a

12   right to know what is being planned halfway across the state,

13   I'm not sure that is really appropriate.  But, again, let us

14   look at what they are proposing as a local liaison.  As Bob

15   said, it is entirely possible that more rules will come out of

16   that.

17             COMMISSIONER DEASON:  Well, I assume that you will be

18   making an effort to extend an invitation to these particular

19   entities and other municipal entities to participate in further

20   discussions on a so-called middle ground approach?

21             MS. KUMMER:  Certainly.  Workshops may be an

22   approach.  You know, rulemaking, workshops, or just simply

23   preliminary workshops on do we need a rule, how should it be

24   phrased.

25             CHAIRMAN EDGAR:  Commissioner Carter.

FLORIDA PUBLIC SERVICE COMMISSION

112

1             COMMISSIONER CARTER:  Thank you, Madam Chair, and I

2   beg your indulgence.  I was thinking about the line of

3   questioning.  I mean, we have sort of modified a few things

4   here today.  It just seems -- I mean, the logic in Commissioner

5   Deason's question kind of begs the question that to say no, but

6   we will get back to you, puts us in the posture to where -- I

7   mean, there has got to be some kind of middle ground between

8   0 and 100, wouldn't you agree with that?  It just seems that --

9   okay.

10             We all agree, and if I may for a series of questions,

11   we all agree that the municipals are entitled to some

12   information?

13             MS. KUMMER:  Certainly.

14             COMMISSIONER CARTER:  We all agree that utilities

15   should provide information to their customer base?

16             MS. KUMMER:  Yes, sir.

17             COMMISSIONER CARTER:  We all agree that this may not

18   necessarily be the best way to do it because you are doing a

19   shotgun approach.  We all agree that there should be a rifle

20   approach, right?

21             MS. KUMMER:  Yes, sir.

22             COMMISSIONER CARTER:  Are you all with me so far?

23             MR. TRAPP:  Sure.

24             COMMISSIONER CARTER:  And I think that by deductive

25   reasoning we should be able to come to some point where there

FLORIDA PUBLIC SERVICE COMMISSION

113

1   is a middle ground of sharing of necessary information.  I

2   mean, as Commissioner Deason asked the question, I think you

3   answered that it was planning information, is that correct?

4             MS. KUMMER:  That was my understanding, yes.

5             COMMISSIONER CARTER:  Madam Chair?

6             CHAIRMAN EDGAR:  Commissioner Carter.

7             COMMISSIONER CARTER:  And planning information by its

8   very nature would tell a municipal or even a utility that by

9   its nature it is not something you want to go out and bet the

10   farm on.

11             MS. KUMMER:  One would hope so, yes, sir.

12             COMMISSIONER CARTER:  Yes, ma'am, thank you.

13             But it just doesn't -- I mean, here we are -- Madam

14   Chairman -- we're dealing with this issue in terms of

15   rulemaking and we have got this area here where we can back a

16   Mack truck through it, and we don't really have any

17   recommendations on it.  I don't know.  I mean, I can't feel it,

18   so to speak.

19             CHAIRMAN EDGAR:  Feel the love, Commissioner Carter.

20             COMMISSIONER CARTER:  Thank you, Madam Chair.

21             CHAIRMAN EDGAR:  Commissioners, further discussion or

22   comments?

23             And, Mr. Cooke, I guess we'll look to you.  But we

24   have had some discussion on this item, and what I'm hearing is

25   that we've asked staff, and staff has agreed to do more work.

FLORIDA PUBLIC SERVICE COMMISSION

114

1   Do we need a motion to that effect; do we need to otherwise

2   dispose procedurally of what is before us?  Can you help me

3   walk through it.

4             MR. COOKE:  Well, the specific issue before the

5   Commission is whether or not to accept the towns' suggestions

6   in terms of language, and staff is recommending no.  So I think

7   you need to make a motion regarding that.  That doesn't mean

8   that you can't also direct staff to pursue the kind of

9   information that you have talked about in terms of additional

10   planning, sharing of planning information, et cetera.

11             This is an ongoing rulemaking.  What is happening is

12   we are getting approval from the Commission, staff is getting

13   approval to propose specific rule language.  But it is proposed

14   language, and it is subject to a period of comment.  And in

15   some cases there will be actual hearings on some of these

16   issues.  So it's possible for staff to further reflect on

17   additional comments that communities like the towns would raise

18   during this process and see if they can craft some additional

19   language.  So if you want to direct staff, I think that is

20   appropriate and that's something that could be done.

21             CHAIRMAN EDGAR:  Commissioner Carter.

22             COMMISSIONER CARTER:  Madam Chairman, does that

23   mean -- if I may direct to our General Counsel -- does that

24   mean we need two motions, one to dispose of the issue before

25   us, but one to direct staff, or just from the bench direct

FLORIDA PUBLIC SERVICE COMMISSION

115

1   staff?  What's your recommendation?

2             MR. COOKE:  I don't know that you need a motion,

3   per se, to direct staff to look into information.  But you

4   could do so if you wish, and you could do it all as one if you

5   prefer.  It is probably cleaner, I think, to -- I don't think

6   it makes a difference.

7             COMMISSIONER CARTER:  Madam Chairman, the reason I

8   was asking that is I was going along this line of questioning,

9   as Commissioner Deason had -- and that kind of got me to

10   thinking about the planning issue.  If it is appropriate, I

11   would prefer to deal with it in two motions.  One would be to

12   accept staff's recommendation on Number 9, but also to direct

13   staff to come up with a proposal on information sharing on this

14   issue.

15             MR. COOKE:  I think that's a clean way to do it.

16             CHAIRMAN EDGAR:  I think you said two, but it sounded

17   kind of like one motion with a Part A and a Part B.

18             COMMISSIONER CARTER:  That sounds better, Madam

19   Chairman.

20             CHAIRMAN EDGAR:  Is that okay with you?

21             COMMISSIONER CARTER:  Yes, that is what I was trying

22   to do.

23             CHAIRMAN EDGAR:  Okay.  Then I think we have a motion

24   that has two subparts.  Commissioners, do I have a second?

25             COMMISSIONER DEASON:  Second.

FLORIDA PUBLIC SERVICE COMMISSION

116

1             CHAIRMAN EDGAR:  Commissioners, we have a motion and

2   a second.  Is there further discussion, or do we need any

3   additional clarification?  Everybody good?  Okay.

4             All in favor of the motion with those two parts on

5   Issue 9 say aye.

6             (Unanimous affirmative vote.)

7             CHAIRMAN EDGAR:  Opposed.  Show the motion carried.

8             Commissioners, that leaves us with Issues 10 and 11,

9   which I think we can perhaps take up together.  Any questions?

10             Commissioner Carter.

11             COMMISSIONER CARTER:  I would move the staff

12   recommendations on Issues 10 and 11.

13             COMMISSIONER DEASON:  Second.

14             CHAIRMAN EDGAR:  We have a motion and a second.  Any

15   questions?  Seeing none.  All in favor of the motion for Issues

16   10 and 11 say aye.

17             (Unanimous affirmative vote.)

18             CHAIRMAN EDGAR:  Opposed?  Show the motion adopted.

19   Commissioners and those of you that have hung with us through

20   the discussion, we have run over time.  Again, I appreciate

21   everybody's patience.  I think that we have had some excellent

22   discussion.  It's important issues that are before us, and it's

23   good to have the opportunity to take the time to go through

24   them together.

25                              * * * * *

FLORIDA PUBLIC SERVICE COMMISSION

117

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk and Administrative

Services, do hereby certify that the foregoing proceeding was

7   heard at the time and place herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 27th day of June, 2006.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk and

18                       Administrative Services

(850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION