## Cover Sheet
APPENDIX
CR3 Extended Power Uprate
Planning and Modeling Assumptions Summary
Prepared by PEF System Planning

## Financial Assumptions
CR3 Extended Power Uprate Februaruy 2012 Review
Financial and Economic Assumptions
1 | PEF Capitalization Ratios and Projected Cost of Capital
| Component | Ratio | Cost
| Debt | 47% | 3.05%
| Preferred | 0% | na
| Equity | 53% | 10.5%
2 | Projected Discount Rate: |  | 6.466%
3 | Projected AFUDC Rate: |  | 6.466%
4 | Tax Assumptions
| a) | Composite Effective Income Tax Rate |  | 37.12%
| b) | Combined Cycle Book Life |  | 25 Years
|  | Combined Cycle Tax Depreciation Life |  | 20 Years
| c) | Simple Cycle CT Book Life |  | 25 Years
|  | Simple Cycle CT Tax Depreciation Life |  | 15 Years
| d) | Nuclear Generation Book Life |  | 40 Years
|  | Nuclear Generation Tax Depreciation Life |  | 15 Years
| e) | Transmission Book Life |  | 40 Years
|  | Transmission Tax Depreciation Life |  | 15 Years
5 | General Inflation Rate |  | 2.25%
6 | General Escalation Rate |  | 2.25%

## Allowance Costs
CR3 Extended Power Uprate Februaruy 2012 Review
Strategist Input Assumptions - Emission Cost Estimates
| SO2 | NOX | Hg | CO2
| $/ton | $/ton | $/oz | $/ton
2012 | 1.5 | 50 |  | 0
2013 | 1.5 | 1612.569 |  | 0
2014 | 1.5 | 1196.1003 |  | 0
2015 | 1.5 | 955.706 |  | 25
2016 | 1.5 | 822.39 | 0 | 27
2017 | 1.5 | 781.03 | 0 | 29
2018 | 1.5 | 638.71 | 0 | 31
2019 | 1.5 | 426.62 | 0 | 33
2020 | 1.5 | 172.55 | 0 | 35
2021 | 1.5 | 0 | 0 | 38
2022 | 1.5 | 0 | 0 | 41
2023 | 1.5 | 0 | 0 | 44
2024 | 1.5 | 0 | 0 | 47
2025 | 1.5 | 0 | 0 | 50
2026 | 1.5 | 0 | 0 | 55
2027 | 1.5 | 0 | 0 | 60
2028 | 1.5 | 0 | 0 | 65
2029 | 1.5 | 0 | 0 | 69.225
2030 | 1.5 | 0 | 0 | 73.8
2031 | 1.5 | 0 | 0 | 82
2032 | 1.5 | 0 | 0 | 89
2033 | 1.5 | 0 | 0 | 96
2034 | 1.5 | 0 | 0 | 103
2035 | 1.5 | 0 | 0 | 110
2036 | 1.5 | 0 | 0 | 123

## Info Table
CR3 Extended Power Uprate Februaruy 2012 Review
New Plant Modeling Information Summary
Capital Cost Estimates for Strategist Modeling
Levy County 2021/22
| Nuclear Plant Summary Information | Levy Nuclear Project | Levy Nuclear Project
|  | 1st Unit | 2nd Unit
| Reference In-Service Year | 2021 | 2022
| Projected Nominal Plant Cost ($000 Before AFUDC) | 9356479.1 | 5178016.046
| Projected Nominal Trans Cost ($000 Before AFUDC) | 1846224.3505 | 126167.1399
| Winter Capacity Rating (MW) | 1120 | 1120
| Summer Capacity Rating (MW) | 1092 | 1092
| Fixed O&M ($000/yr)- $2012, Esc Annually at 2.25% | 70651.9 | 49456.54
| Variable O&M ($/MWh) - $2012, Esc Annually at 2.25% | 2.191 | 2.191
| Decom and Dism Funding ($000/yr) - $2012 Constant | 15490.2009 | 15490.2009
| Annualized Capital Replacement ($000/yr) | 10000 | 10000
| Back End (mill/kWh) for Fed Spent Fuel Disposal | 1 | 1
| Planned Outage Rate | 3% | 3%
| Average Heat Rate at Maximum (Btu/kWh) | 9715 | 9715
| Gas Fired Generation Summary Information | Generic 2x1G Combined Cycle | Generic 2x1G Combined Cycle
|  | 1st Unit | 2nd Unit
| Reference In-Service Year | 2015 | 2015
| Projected Nominal Plant Cost ($000 Before AFUDC) | 742568.4 | 635469
| Projected Nominal Trans Cost ($000 Before AFUDC) | 310242.27 | 103414.1
| Winter Capacity Rating (MW) | 875.4305 | 875.4305
| Summer Capacity Rating (MW) | 766.918 | 766.918
| Fixed O&M ($000/yr)- $2012, Esc Annually at 2.25% | 5329.1629 | 2217.1344
| Variable O&M ($/MWh) - $2012, Esc Annually at 2.25% | 3.4007 | 3.4007
| Pipeline Reservation Charges ($000/yr) - $2012, Constant | 51741.5133 | 51741.5133
| Planned Outage Rate | 7.671% | 7.671%
| Average Heat Rate at Maximum (Btu/kWh) | 6710.4394 | 6710.4394
| Gas Fired Generation Summary Information |  | Generic F Frame Simple Cycle
2nd Unit
| Reference In-Service Year |  | 2014
| Projected Nominal Plant Cost ($000 Before AFUDC) |  | 108036.94
| Projected Nominal Trans Cost ($000 Before AFUDC) |  | 25599.625
| Winter Capacity Rating (MW) |  | 205.335
| Summer Capacity Rating (MW) |  | 177.5475
| Fixed O&M ($000/yr)- $2012, Esc Annually at 2.25% |  | 712.9436
| Variable O&M ($/MWh) - $2012, Esc Annually at 2.25% |  | 11.0485
| Pipeline Reservation Charges ($000/yr) - $2012, Constant |  | 12351.8077
| Planned Outage Rate |  | 3.836%
| Average Heat Rate at Maximum (Btu/kWh) |  | 10359.1118

## Update 2x1 G CC Table 04102012 (hidden)
Levy Nuclear April 2012 Review
New Plant Modeling Information
Capital Cost Estimate for Strategist Modeling
| Generic 2x1 Combined Cycle Plants (G Frame) |  | 1st Unit | 2nd Unit
Reference COD: 2015
|  | Projected In-Serice Construction Cost ($000 Before AFUDC) | 742568.4 | 635469
|  | Projected In Service Transmission Cost ($000 Before AFUDC) | 310242.27 | 103414.1
|  | Escalated Construction Cost (Before AFUDC) | 1052810.67 | 738883.1
|  | Estimated Plant Cost ($2012) | 718053.433 | 614489.7122
|  | Estimated Transmission Cost ($2012) | 300000 | 100000
|  | Winter Capacity Rating (MW) | 875.4305 | 875.4305
|  | Summer Capacity Rating (MW) | 766.918 | 766.918
|  | Estimated Overnight Cost - Winter Basis ($/kW) | 848.2323 | 725.8931
|  | Estimated Overnight Cost - Summer Basis ($/kW) | 968.2501 | 828.601
|  | Strategist Base Year CapEx Input ($/kW Winter) | 1162.9175 | 816.1581
Operating Cost Estimate for Strategist Modeling
|  | Fixed O&M ($000/yr) | 5329.1629 | 2217.1344
|  | Fixed O&M ($/kW-yr) Winter Basis | 6.0875 | 2.5326
Basis - $2012, Escalating Annually at 2.25% LT
|  | Variable O&M ($/MWh) | 3.4007 | 3.4007
Basis - $2012, Escalating Annually at 2.25% LT
|  | Gas Pipeline Reservation Charges ($000/yr) | 51741.5133 | 51741.5133
Basis - $2011, Remains Constant
Performance Estimate for Strategist Modeling
|  | Planned Outage Rate | 7.671% | 7.671%
|  | Minimum Capacity (MW) | 218.0322 | 218.0322
|  | Average Heat Rate at Maximum (Btu/kWh) | 6710.4394 | 6710.4394
|  | Average Heat Rate at Minimum (Btu/kWh) | 7315.9931 | 7315.9931

## Update CT Table 04102012 (hidden)
Levy Nuclear March 2011 Review
New Plant Modeling Information
2010 Financial Information
Capital Cost Estimate for Strategist Modeling
| Generic Simple Cycle Peaking Plants |  | 2nd Unit
Reference COD: 2014
|  | Projected In-Serice Construction Cost ($000 Before AFUDC) | 108036.94
|  | Projected In Service Transmission Cost ($000 Before AFUDC) | 25599.625
|  | Escalated Construction Cost (Before AFUDC) | 133636.565
|  | Estimated Plant Cost ($2012) | 105506.364
|  | Estimated Transmission Cost ($2012) | 25000
|  | Winter Capacity Rating (MW) | 205.335
|  | Summer Capacity Rating (MW) | 177.5475
|  | Estimated Overnight Cost - Winter Basis ($/kW) | 526.1497
|  | Estimated Overnight Cost - Summer Basis ($/kW) | 608.496
|  | Strategist Base Year CapEx Input ($/kW Winter) | 635.5778
Operating Cost Estimate for Strategist Modeling
|  | Fixed O&M ($000/yr) | 712.9436
|  | Fixed O&M ($/kW-yr) Winter Basis | 3.4721
Basis - $2012, Escalating Annually at 2.25% LT
|  | Variable O&M ($/MWh) | 11.0485
Basis - $2012, Escalating Annually at 2.25% LT
|  | Gas Pipeline Reservation Charges ($000/yr) | 12351.8077
Basis - $2012, Remains Constant
Performance Estimate for Strategist Modeling
|  | Planned Outage Rate | 3.836%
|  | Minimum Capacity (MW) | 101.8336
|  | Average Heat Rate at Maximum (Btu/kWh) | 10359.1118
|  | Average Heat Rate at Minimum (Btu/kWh) | 12203.3074

## Update LNP 2021 Table 04102012 (hidden)
Levy Nuclear April 2012 Review
New Nuclear Plant Modeling Information
(Unit 1 Q1 2021 Unit 2 Q3 2022)
2012 Financial Information
Capital Cost Estimate for Strategist Modeling
| Levy County Units 1 and 2 ($000's) |  | Unit 1 | Unit 2 |  | Current Total
|  | Unit Overnight Total Cost ($2012) | 8251008 | 4541413 |  | 12792421
|  | Project Escalation | 1105471.1 | 636603.046 |  | 1742074.146
|  | Escalated Construction Cost (Before AFUDC) | 9356479.1 | 5178016.046 |  | 14534495.146
|  | Winter Capacity Rating (MW) | 1120 | 1120 |  | 2240
|  | Summer Capacity Rating (MW) | 1092 | 1092 |  | 2184
|  | Estimated Overnight Cost - Winter Basis ($/kW) | 7366.9714 | 4054.833 |  | 5710.9022
|  | Estimated Overnight Cost - Summer Basis ($/kW) | 7555.8681 | 4158.8031 |  | 5857.3356
|  | Estimated Total Transmission Cost (Before AFUDC) | 1846224.3505 | 126167.1399 |  | 1972391.4904
|  | Estimated Total Transmission cost ($/kW) - Winter | 1648.4146 | 112.6492 |  | 1761.0638
|  | Estimated Total Transmission cost ($/kW) -Summer | 1690.6816 | 115.5377 |  | 1806.2193
Operating Cost Estimate for Strategist Modeling
Levy County Units 1 and 2
|  |  |  | Unit 1 |  | Unit 2 | Unit 1 | Unit 2
|  | Fixed O&M ($/kW-yr) Winter Basis |  | 63.0821 | 44.1576 | 44.1576 | 70651.9 | 49456.54
Basis - $2012, Escalating Annually at 2.0% LT
|  | Variable O&M ($/MWh) @ 85% Assumed CF |  | 2.191 |  | 2.191
Basis - $2012, Escalating Annually at 2.0% LT
|  | Back End Costs (mill/kWh) for Federal Spent Fuel Disposal Fees |  | 1 |  | 1
|  | Basis - $2012, Remains Constant |  |  |  |  | 0
|  | Decommissioning and Dismantlement (D&D) Funding ($/kW-yr) Winter Basis |  | 13.8305 |  | 13.8305 | 15490.2009 | 15490.2009
Basis - $2012, Remains Constant
|  | Annualized Capital Replacement ($/kW-yr) Winter Basis |  | 8.9286 |  | 8.9286 | 10000 | 10000
Basis - $2012, Escalating Annually at TBD, Starting year After COD

## Mid Fuel
CR3 Extended Power Uprate Februaruy 2012 Review
Strategist Fuel Forecasts - Mid Reference Fuel Table
| FUEL | FUEL | FUEL | FUEL | FUEL | FUEL | FUEL | FUEL | FUEL | FUEL | FUEL | FUEL
| 1 | 5 | 4 | 35 | 36 | 7 | 8 | 10 | 18 | 27 | 28 | 29
| COAL 1.8 | COAL 5 | CR3 | LNP U1 | LNP U2 | OIL 1.1 | OIL 1.7 | GAS FGTF | GulfFirm | Dist 0.3 | Dist 0.5 | Dist ULS
2012 | 4.3282 | 3.0063 |  |  |  | 14.7521 | 14.5586 | 4.21 | 4.21 | 21.5602 | 21.4833 | 21.5293
2013 | 4.3923 | 3.1163 |  |  |  | 14.9083 | 14.6131 | 4.77 | 4.77 | 22.256 | 21.5807 | 21.9859
2014 | 4.4608 | 3.2167 |  |  |  | 15.4494 | 15.0433 | 5.07 | 5.07 | 23.0288 | 21.7309 | 22.5097
2015 | 5.225 | 3.246 | 0.536 |  |  | 15.493 | 15.103 | 5.391 | 5.391 | 22.927 | 23.341 | 22.304
2016 | 5.561 | 3.294 | 0.536 |  |  | 15.521 | 15.141 | 5.612 | 5.612 | 23.261 | 23.576 | 22.788
2017 | 5.81 | 3.188 | 0.697 |  |  | 15.548 | 15.178 | 5.833 | 5.833 | 23.776 | 23.812 | 23.722
2018 | 6.06 | 3.082 | 0.697 |  |  | 15.576 | 15.216 | 5.934 | 5.934 | 24.278 | 24.048 | 24.623
2019 | 6.31 | 3.274 | 0.759 |  |  | 15.603 | 15.369 | 6.14 | 6.14 | 25.181 | 24.943 | 25.539
2020 | 6.52 | 3.394 | 0.759 |  |  | 15.631 | 15.525 | 6.315 | 6.315 | 26.099 | 25.851 | 26.469
2021 | 6.704 | 3.601 | 0.847 |  |  | 15.658 | 15.665 | 6.625 | 6.625 | 26.917 | 26.662 | 27.299
2022 | 6.84 | 3.682 | 0.847 |  |  | 15.686 | 15.799 | 6.928 | 6.928 | 27.698 | 27.436 | 28.092
2023 | 6.975 | 3.842 | 0.925 |  |  | 16.14 | 16.258 | 7.186 | 7.186 | 28.503 | 28.233 | 28.909
2024 | 7.049 | 3.992 | 0.925 | 1.066 |  | 16.609 | 16.729 | 7.564 | 7.564 | 29.331 | 29.053 | 29.747
2025 | 7.1968 | 4.12 | 0.984 | 1.066 | 1.075 | 17.09 | 17.214 | 7.926 | 7.926 | 30.183 | 29.897 | 30.612
2026 | 7.3446 | 4.266 | 0.984 | 1.001 | 1.075 | 17.586 | 17.713 | 8.281 | 8.281 | 31.06 | 30.766 | 31.502
2027 | 7.4924 | 4.422 | 1.04 | 1.001 | 1.075 | 18.096 | 18.227 | 8.563 | 8.563 | 31.962 | 31.659 | 32.416
2028 | 0 | 4.65 | 1.04 | 0.96 | 1.023 | 18.621 | 18.756 | 8.814 | 8.814 | 32.89 | 32.579 | 33.358
2029 | 0 | 4.738 | 1.095 | 0.96 | 0.982 | 19.161 | 19.3 | 9.097 | 9.097 | 33.846 | 33.526 | 34.327
2030 | 0 | 4.778 | 1.095 | 0.989 | 0.989 | 19.716 | 19.859 | 9.312 | 9.312 | 34.829 | 34.499 | 35.324
2031 | 0 | 4.862 | 1.133 | 1.041 | 1.005 | 20.288 | 20.435 | 9.685 | 9.685 | 35.841 | 35.502 | 36.35
2032 | 0 | 4.9812 | 1.133 | 1.041 | 1.005 | 20.828 | 20.979 | 9.9658 | 9.9658 | 36.7972 | 36.4492 | 37.3196
2033 | 0 | 5.1004 | 1.173 | 1.0831 | 1.0456 | 21.369 | 21.524 | 10.2466 | 10.2466 | 37.7534 | 37.3964 | 38.2892
2034 | 0 | 5.2196 | 1.173 | 1.1047 | 1.0665 | 21.909 | 22.068 | 10.5274 | 10.5274 | 38.7096 | 38.3436 | 39.2588
2035 | 0 | 5.3388 | 1.2204 | 1.1047 | 1.0665 | 22.45 | 22.613 | 10.8082 | 10.8082 | 39.6658 | 39.2908 | 40.2284
2036 | 0 | 5.458 | 1.2204 | 1.1493 | 1.1096 | 22.99 | 23.157 | 11.089 | 11.089 | 40.622 | 40.238 | 41.198

## NEL
CR3 Extended Power Uprate Februaruy 2012 Review
Energy Requirements Forecasts
Net Energy for Load (GWh)
Forecast
YEAR | Base
2012 | 41534
2013 | 40973
2014 | 42552
2015 | 43632.62
2016 | 43596.07
2017 | 43822.52
2018 | 44532.6
2019 | 45854.15
2020 | 46576.23
2021 | 47179.69
2022 | 47816.62
2023 | 48428.77
2024 | 49064.45
2025 | 47948.61
2026 | 48484.79
2027 | 49095.82
2028 | 49708.62
2029 | 50339.09
2030 | 50967.5
2031 | 51527.97
2032 | 52136.63
2033 | 52745.27
2034 | 53353.89
2035 | 53962.54
2036 | 54571.21

## Update Energy Demand
CR3 Extended Power Uprate Februaruy 2012 Review
Energy Demand Forecasts
| Summer Peak | Winter Peak
| Net Firm Demand (MW) | Net Firm Demand (MW)
YEAR | Forecast | Forecast
2012 | 8922 | 9442
2013 | 8717 | 9256
2014 | 8773 | 8954
2015 | 8964 | 9604
2016 | 8978 | 9762
2017 | 9210 | 9682
2018 | 9370 | 9829
2019 | 9781 | 10220
2020 | 9939 | 10356
2021 | 10000 | 10498
2022 | 10162 | 10642
2023 | 10326 | 10787
2024 | 10488 | 10934
2025 | 10148 | 10580
2026 | 10308 | 10724
2027 | 10465 | 10867
2028 | 10621 | 11009
2029 | 10775 | 11149
2030 | 10926 | 11288
2031 | 11081 | 11429
2032 | 11235.6 | 11570
2033 | 11390.2 | 11711
2034 | 11544.8 | 11852
2035 | 11699.4 | 11993
2036 | 11854 | 12134

## Rev Summary_2021-2022
CR3 Uprate Filing
Strategist Optimization Scenarios - 2/16/12 Data Runs
| 2012 NCRC No Further Work | 2012 NCRC CR3 Uprate 2015 In Service | 2012 NCRC CR3 Uprate 2017 In Service
2012 | PEF Baseline Assumptions | PEF Baseline Assumptions | PEF Baseline Assumptions | 2012
2013 | 10 MW Anclote 1 Gas Conversion (April '13) | 10 MW Anclote 1 Gas Conversion (April '13) | 10 MW Anclote 1 Gas Conversion (April '13) | 2013
| 10 MW Anclote 2 Gas Conversion (Dec '13) | 10 MW Anclote 2 Gas Conversion (Dec '13) | 10 MW Anclote 2 Gas Conversion (Dec '13)
2014 | 790 MW Crystal River 3 back in Service (Nov '14) | 790 MW Crystal River 3 back in Service (Nov '14) | 790 MW Crystal River 3 back in Service (Nov '14) | 2014
2015 |  | 154 MW Crystal River 3 Uprate (Jan '15) |  | 2015
2016 | 129 MW Suwannee Steam Retirement (June '16) | 129 MW Suwannee Steam Retirement (June '16) | 129 MW Suwannee Steam Retirement (June '16) | 2016
| 185 MW Peaker Retirements (June '16) | 185 MW Peaker Retirements (June '16) | 185 MW Peaker Retirements (June '16)
2017 |  |  | 154 MW Crystal River 3 Uprate (Jan '17) | 2017
2018 | Generic 2x1 G CC |  |  | 2018
2019 |  | Generic 2x1 G CC | Generic 2x1 G CC | 2019
2020 |  |  |  | 2020
2021 | 100% Levy Unit 1 - 1,092 MW (June '21) | 100% Levy Unit 1 - 1,092 MW (June '21) | 100% Levy Unit 1 - 1,092 MW (June '21) | 2021
2022 | 100% Levy Unit 2 - 1,092 MW (December '22) | 100% Levy Unit 2 - 1,092 MW (December '22) | 100% Levy Unit 2 - 1,092 MW (December '22) | 2022
2023 |  |  |  | 2023
2024 | 375 MW Crystal River 1 Retirement (May '24) | 375 MW Crystal River 1 Retirement (May '24) | 375 MW Crystal River 1 Retirement (May '24) | 2024
| 494 MW Crystal River 2 Retirement (Sep '24) | 494 MW Crystal River 2 Retirement (Sep '24) | 494 MW Crystal River 2 Retirement (Sep '24)
2025 |  |  |  | 2025
2026 |  |  |  | 2026
2027 | Generic 3x1 G CC | Generic 3x1 G CC | Generic 3x1 G CC | 2027
2028 |  |  |  | 2028
2029 |  |  |  | 2029
2030 |  |  |  | 2030
2031 | Generic 3x1 G CC | Generic 3x1 G CC | Generic 3x1 G CC | 2031
2032 |  |  |  | 2032
2033 |  |  |  | 2033
2034 |  |  |  | 2034
2035 |  |  |  | 2035
2036 |  |  |  | 2036