## Sheet1
[Residential / Commercial / Industrial]
Energy Efficiency Measures
# | Measure Name
Residential
1 | 15 SEER Split-System Air Conditioner
2 | 17 SEER Split-System Air Conditioner
3 | 19 SEER Split-System Air Conditioner
4 | 14 Seer Split-System Heat Pump
5 | 15 SEER Split-System Heat Pump
6 | 17 SEER Split-System Heat Pump
7 | Sealed Attic w/Sprayed Foam Insulated Roof Deck
8 | AC Maintenance (Outdoor Coil Cleaning)
9 | AC Maintenance (Indoor Coil Cleaning)
10 | Proper Refrigerant Charging and Air Flow
11 | Electronically Commutated Motors (ECM) on an Air Handler Unit
12 | Duct Repair
13 | Radiant Barrier
14 | Window Tinting
15 | Default Window With Sunscreen
16 | Single Pane Clear Windows to Double Pane Low-E Windows
17 | Ceiling R-0 to R-19 Insulation
18 | Ceiling R-19 to R-38 Insulation
19 | Wall 2x4 R-0 to Blow-In R-13 Insulation
20 | Weather Strip/Caulk w/Blower Door
21 | HE Room Air Conditioner - EER 11
22 | HE Room Air Conditioner - EER 12
23 | Reflective Roof
24 | Window Film
25 | CFL (18-Watt integral ballast), 0.5 hr/day
26 | CFL (18-Watt integral ballast), 2.5 hr/day
27 | CFL (18-Watt integral ballast), 6.0 hr/day
28 | ROB 2L4'T8, 1EB
29 | RET 2L4'T8, 1EB
30 | HE Refrigerator - Energy Star version of above
31 | HE Freezer
32 | Heat Pump Water Heater (EF=2.9)
33 | Solar Water Heat
34 | AC Heat Recovery Units
35 | Low Flow Showerhead
36 | Pipe Wrap
37 | Faucet Aerators
38 | Water Heater Blanket
39 | Water Heater Temperature Check and Adjustment
40 | Water Heater Timeclock
41 | Heat Trap
42 | Energy Star CW CEE Tier 2 (MEF=2.0)
43 | Energy Star CW CEE Tier 3 (MEF=2.2)
44 | Energy Star DW (EF=0.68)
45 | Two Speed Pool Pump (1.5 hp)
46 | High Efficiency One Speed Pool Pump (1.5 hp)
47 | Variable-Speed Pool Pump (<1 hp)
48 | PV-Powered Pool Pumps
49 | Energy Star TV
50 | Energy Star Set-Top Box
51 | Energy Star DVD Player
52 | Energy Star VCR
53 | Energy Star Desktop PC
54 | Energy Star Laptop PC
55 | Freezer recycling
56 | Refrigerator recycling
57 | Smart Plug
58 | LED (12-Watt integral ballast), 0.5 hr/day
59 | LED (12-Watt integral ballast), 2.5 hr/day
60 | LED (12-Watt integral ballast), 6.0 hr/day
61 | LED 13W Outdoor
Commercial
1 | Premium T8, Electronic Ballast
2 | Premium T8, EB, Reflector
3 | Continuous Dimming
4 | ROB Premium T8, 1EB
5 | ROB Premium T8, EB, Reflector
6 | Occupancy Sensor
7 | Lighting Control Tune-up
8 | CFL Screw-in 18W
9 | CFL Hardwired, Modular 18W
10 | PSMH, magnetic ballast
11 | High Bay T5
12 | LED Exit Sign
13 | High Pressure Sodium 250W Lamp
14 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
15 | High Efficiency Chiller Motors
16 | EMS - Chiller
17 | Chiller Tune Up/Diagnostics
18 | VSD for Chiller Pumps and Towers
19 | EMS Optimization
20 | Aerosole Duct Sealing
21 | Duct/Pipe Insulation
22 | Window Film (Standard)
23 | Ceiling Insulation
24 | Roof Insulation
25 | Cool Roof - Chiller
26 | Thermal Energy Storage (TES)
27 | Hybrid Desiccant-DX System (Trane CDQ)
28 | Geothermal Heat Pump, EER=13, 10 tons
29 | DX Tune Up/ Advanced Diagnostics
30 | DX Coil Cleaning
31 | Optimize Controls - DX
32 | HE PTAC, EER=9.6, 1 ton
33 | Occupancy Sensor (Hotels)
34 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4%
35 | Variable Speed Drive Control
36 | Air Handler Optimization
37 | Electronically Commutated Motors (ECM) on an Air Handler Unit
38 | Demand Control Ventilation (DCV)
39 | Energy Recovery Ventilation (ERV)
40 | Separate Makeup Air / Exhaust Hoods AC
41 | High-efficiency fan motors
42 | Strip curtains for walk-ins
43 | Night covers for display cases
44 | Evaporator fan controller for MT walk-ins
45 | Efficient compressor motor retrofit
46 | Compressor VSD retrofit
47 | Floating head pressure controls
48 | Refrigeration Commissioning
49 | Demand Hot Gas Defrost
50 | Demand Defrost Electric
51 | Anti-sweat (humidistat) controls
52 | High R-Value Glass Doors
53 | Multiplex Compressor System
54 | Oversized Air Cooled Condenser
55 | Freezer-Cooler Replacement Gaskets
56 | LED Display Lighting
57 | Heat Pump Water Heater (air source)
58 | Solar Water Heater
59 | Demand controlled circulating systems
60 | Heat Recovery Unit
61 | Heat Trap
62 | Hot Water Pipe Insulation
63 | PC Manual Power Management Enabling
64 | PC Network Power Management Enabling
65 | Energy Star or Better Monitor
66 | Monitor Power Management Enabling
67 | Energy Star or Better Copier
68 | Copier Power Management Enabling
69 | Printer Power Management Enabling
70 | Convection Oven
71 | Efficient Fryer
72 | Vending Misers
73 | Outdoor Lighting Controls (Photocell/Timeclock)
74 | DX Packaged System, EER=11.9, 10 tons
75 | Packaged HP System, EER=11.7, 10 tons
76 | LED Linear Tube 22W
77 | Flood LED 14W
78 | LED (12-Watt)
79 | Outdoor LED 104W
80 | LED High Bay 83W (400W equivalent)
81 | Run Time Optimizer
82 | Dehumidification hybrid desiccant heat pump
83 | Ice Machine
84 | 0.5 Faucet Aerator (DI) - Commercial
85 | 1.0 gpm Faucet Aerator (DI) -Commercial
86 | 1.5 gpm Showerhead (DI) - Commercial
87 | Server Virtualization
88 | Griddle
89 | Steamer
90 | Holding Cabinet
Industrial
1 | Compressed Air-O&M
2 | Compressed Air - Controls
3 | Compressed Air - System Optimization
4 | Compressed Air- Sizing
5 | Comp Air - Replace 1-5 HP motor
6 | Comp Air - ASD (1-5 hp)
7 | Comp Air - Motor practices-1 (1-5 HP)
8 | Comp Air - Replace 6-100 HP motor
9 | Comp Air - ASD (6-100 hp)
10 | Comp Air - Motor practices-1 (6-100 HP)
11 | Comp Air - Replace 100+ HP motor
12 | Comp Air - ASD (100+ hp)
13 | Comp Air - Motor practices-1 (100+ HP)
14 | Power recovery
15 | Refinery Controls
16 | Fans - O&M
17 | Fans - Controls
18 | Fans - System Optimization
19 | Fans- Improve components
20 | Fans - Replace 1-5 HP motor
21 | Fans - ASD (1-5 hp)
22 | Fans - Motor practices-1 (1-5 HP)
23 | Fans - Replace 6-100 HP motor
24 | Fans - ASD (6-100 hp)
25 | Fans - Motor practices-1 (6-100 HP)
26 | Fans - Replace 100+ HP motor
27 | Fans - ASD (100+ hp)
28 | Fans - Motor practices-1 (100+ HP)
29 | Optimize drying process
30 | Pumps - O&M
31 | Pumps - Controls
32 | Pumps - System Optimization
33 | Pumps - Sizing
34 | Pumps - Replace 1-5 HP motor
35 | Pumps - ASD (1-5 hp)
36 | Pumps - Motor practices-1 (1-5 HP)
37 | Pumps - Replace 6-100 HP motor
38 | Pumps - ASD (6-100 hp)
39 | Pumps - Motor practices-1 (6-100 HP)
40 | Pumps - Replace 100+ HP motor
41 | Pumps - ASD (100+ hp)
42 | Pumps - Motor practices-1 (100+ HP)
43 | Bakery - Process (Mixing) - O&M
44 | O&M/drives spinning machines
45 | Air conveying systems
46 | Replace V-Belts
47 | Drives - EE motor
48 | Gap Forming papermachine
49 | High Consistency forming
50 | Optimization control PM
51 | Efficient practices printing press
52 | Efficient Printing press (fewer cylinders)
53 | Light cylinders
54 | Efficient drives
55 | Clean Room - Controls
56 | Clean Room - New Designs
57 | Drives - Process Controls (batch + site)
58 | Process Drives - ASD
59 | O&M - Extruders/Injection Molding
60 | Extruders/injection Moulding-multipump
61 | Direct drive Extruders
62 | Injection Moulding - Impulse Cooling
63 | Injection Moulding - Direct drive
64 | Efficient grinding
65 | Process control
66 | Process optimization
67 | Drives - Process Control
68 | Efficient drives - rolling
69 | Drives - Optimization process (M&T)
70 | Drives - Scheduling
71 | Machinery
72 | Efficient Machinery
73 | Bakery - Process
74 | Drying (UV/IR)
75 | Heat Pumps - Drying
76 | Top-heating (glass)
77 | Efficient electric melting
78 | Intelligent extruder (DOE)
79 | Near Net Shape Casting
80 | Heating - Process Control
81 | Efficient Curing ovens
82 | Heating - Optimization process (M&T)
83 | Heating - Scheduling
84 | Efficient Refrigeration - Operations
85 | Optimization Refrigeration
86 | Other Process Controls (batch + site)
87 | Efficient desalter
88 | New transformers welding
89 | Efficient processes (welding, etc.)
90 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
91 | High Efficiency Chiller Motors
92 | EMS - Chiller
93 | Chiller Tune Up/Diagnostics
94 | VSD for Chiller Pumps and Towers
95 | EMS Optimization - Chiller
96 | Window Film (Standard) - Chiller
97 | Cool Roof
98 | Hybrid Desiccant-DX System (Trane CDQ)
99 | Geothermal Heat Pump, EER=13, 10 tons
100 | DX Tune Up/ Advanced Diagnostics
101 | DX Coil Cleaning
102 | Optimize Controls
103 | Aerosole Duct Sealing
104 | Duct/Pipe Insulation
105 | Window Film (Standard)
106 | Roof Insulation
107 | Premium T8, Electronic Ballast
108 | CFL Hardwired, Modular 18W
109 | CFL Screw-in 18W
110 | High Bay T5
111 | Occupancy Sensor
112 | Membranes for wastewater
113 | Base DX Packaged System, EER=11.9, 10 tons
114 | LED Linear Tube 22W
115 | Flood LED 14W
116 | LED High Bay 83W
117 | Run Time Optimizer
118 | Dehumidification Hybrid Desiccant Heat Pump PER 5 TON
Demand Response Measures
# | Measure Name
Residential
1 | A/C Cycling Switch w/ flat rate
2 | A/C Shedding Switch w/ flat rate
3 | Smart Thermostats for A/C w/ CPP
4 | On-Off Switching via low-power wireless networks for water heating w/ CPP
5 | On-Off Switching via low-power wireless networks for pool systems w/ CPP
6 | In-home displays and pre-set control strategies w/ CPP
Commercial
1 | Automated control strategies w/ CPP
2 | Direct load control system
Industrial
1 | Automated control strategies w/ CPP
2 | Direct load control system
Renewable Energy Measures
# | Measure Name
Residential
1 | Rooftop Solar PV
Commercial
1 | Rooftop Solar PV