## 1989
SFHHA 010346
FPL RC-16
Florida Power & Light Company
Existing Generating Facilities
As Of December 31 1989
Net Capability
[7 empty] | Commercial | Expected | Gen.Max.
|  | Unit |  | Unit | Fuel |  | Unit In-Service | Retirement | Nameplate | Summer | Winter
| Plant Name | No. | Location | Type | Pri | Alt. | Month/Year | Month/Year | MW | MW | MW
| Turkey Point |  | Dade County - | [5 empty] | 2337790 | 2,080.0 | 2,130.0
27/575/40E
|  | 1 |  | ST | NG | HO | 4 / 67 | Unknown | 402050 | 367 | 370
|  | 2 |  | ST | NG | HO | 4 / 68 | Unknown | 402050 | 367 | 370
|  | 3 |  | ST | N | No | 12 / 72 | Unknown | 759970 | 666 | 688
|  | 4 |  | ST | N | No | 9 / 73 | Unknown | 759970 | 666 | 688
|  | 1-5 |  | D | LO | No | 4 / 68 | Unknown | 13750 | 14 | 14
| Lauderdale |  | Broward County 30/50S/42E | [5 empty] | 1133972 | 1126 | 1248
|  | 4 |  | ST | NG | HO | 9 / 57 | Unknown | 156250 | 137 | 138
|  | 5 |  | ST | NG | HO | 4 / 58 | Unknown | 156250 | 137 | 138
|  | 1-12 |  | CT | NG | LO | 8 / 70 | Unknown | 410736 | 426 | 486
|  | 13-24 |  | CT | NG | LO | 8 / 72 | Unknown | 410736 | 426 | 486
| Port Everglades |  | City of Hollywood
|  |  | 23/50S/42E | [5 empty] | 1665336 | 1568 | 1639
|  | 1 |  | ST | NG | HO | 6 / 60 | Unknown | 225250 | 204 | 205
|  | 2 |  | ST | NG | HO | 4 / 61 | Unknown | 225250 | 204 | 205
|  | 3 |  | ST | NG | HO | 7 / 64 | Unknown | 402050 | 367 | 369
|  | 4 |  | ST | NG | HO | 4 / 65 | Unknown | 402050 | 367 | 369
|  | 1-12 |  | CT | NG | LO | 8 / 72 | Unknown | 410736 | 426 | 486
| Riviera |  | City of Riviera Beach
|  |  | 33/42S/436 | [5 empty] | 620840 | 544 | 548
|  | 3 |  | ST | NG | HO | 6 / 62 | Unknown | 310420 | 272 | 274
|  | 4 |  | ST | NG | HO | 3 / 63 | Unknown | 310420 | 272 | 274
| Martin |  | Martin County
|  |  | 29/39S/386 | [5 empty] | 1726600 | 1566 | 1580
|  | 1 |  | ST | HO | NG | 12 / 80 | Unknown | 863300 | 783 | 790
|  | 2 |  | ST | HO | NG | 6 / 81 | Unknown | 863300 | 783 | 790
| St. Lucie |  | St. Lucie County
|  |  | 16/365/416 | [5 empty] | 1700000 | 1553 | 1579
|  | 1 |  | ST | N | No | 12 / 76 | Unknown | 850000 | 839 | 853
|  | 2 |  | ST | N | No | 8 / 83 | Unknown | 850000 | 714 | 726
| Cape Canaveral |  | Brevard County
|  |  | 19/24S/36F | [5 empty] | 804100 | 734 | 740
|  | 1 |  | ST | NG | HO | 4 / 65 | Unknown | 402050 | 367 | 370
|  | 2 |  | ST | NG | HO | 5 / 59 | Unknown | 402050 | 367 | 370
Volusia County
| Sanford |  | 16/19S/30E | [5 empty] | 1028450 | 861 | 871
|  | 3 |  | ST | NG | HO | 5 / 59 | Unknown | 156250 | 137 | 139
|  | 4 |  | ST | HO | No | 7 / 72 | Unknown | 436100 | 362 | 366
|  | 5 |  | ST | HO | No | 6 / 73 | Unknown | 436100 | 362 | 366
| Putnam |  | Putnam County
|  |  | 16/105/27E | [5 empty] | 580000 | 448 | 468
|  | 1 |  | CC | NG | LO | 4/78 | Unknown | 290000 | 224 | 234
|  | 2 |  | CC | NG | LO | 8/77 | Unknown | 290000 | 224 | 234
| Ft. Myers |  | Lee County
|  |  | 35/430/25E | [5 empty] | 1302300 | 1122 | 1264
|  | 1 |  | ST | HO | No | 11 / 58 | Unknown | 156250 | 137 | 138
|  | 2 |  | ST | HO | No | 7 / 69 | Unknown | 402050 | 367 | 370
|  | 1-12 |  | CT | LO | No | 5 / 74 | Unknown | 744000 | 618 | 756 | 138
| Manatee |  | Manatee County
|  |  | 18/33S/20E | [5 empty] | 1726600 | 1566 | 1580
|  | 1 |  | ST | HO | No | 10 / 76 | Unknown | 863300 | 783 | 790
|  | 2 |  | ST | HO | No | 12 / 77 | Unknown | 863300 | 783 | 790
| St. Johns River |  | Duval County
| Power Park |  | 12/15/28E
|  |  | (RPC4) | [5 empty] | 1330292 | 250 | 250
|  | 1 |  | ST | C | No | 3 / 87 | Unknown | 665146 | 125 | 125
|  | 2 |  | ST | C | No | 5 / 88 | Unknown | 565146 | 125 | 125
| Cutler |  | Dade County
|  |  | 24/55S/40E | [5 empty] | 236500 | 197 | 199
|  | 5 |  | ST | NG |  | 11 / 54 |  | 75000 | 67 | 68
|  | 6 |  | ST | NG |  | 7 / 55 |  | 161500 | 137 | 138
[8 empty] | TOTAL SYSTEM AS OF DECEMBER 31, 1989 - |  | 13622 | 14098
0

## 2015
SFHHA 010347
FPL RC-16
Schedule 1
Existing Generating Facilities
As of December 31, 2015
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[8 empty] | Alt. |  | Actual/
[6 empty] | Fuel |  | Fuel | Commercial | Expected | Gen.Max. | Net Capability 1/
| Unit | Location | Unit | Fuel |  | Transport. |  | Days | In-Service | Retirement | Nameplate | Winter | Summer
Plant Name | No. |  | Type | Pri. | Alt. | Pri. | Alt. | Use | Month/Year | Month/Year | KW | MW | MW
Cape Canaveral |  | Brevard County
|  | 19/24S/36E | [8 empty] | 1295400 | 1386 | 1210
| 3 |  | CC | NG | FO2 | PL | TK | Unknown | 2013-04-01 | Unknown | 1295400 | 1386 | 1210
Cedar Bay |  | Duval County | [8 empty] | 291550 | 250 | 250
| 1 |  | ST | BIT | Other4/ | RR | WA | Unknown | 1994-01-01 | 2017-01-17 | 291550 | 250 | 250
DeSoto 2/ |  | DeSoto County
|  | 27/36S/25E | [8 empty] | 22500 | 25 | 25
| 1 |  | PV | Solar | Solar | N/A | N/A | Unknown | 2009-10-27 | Unknown | 22500 | 25 | 25
Fort Myers |  | Lee County
|  | 35/43S/25E | [8 empty] | 2779980 | 2700.5 | 2378
| 2 |  | CC | NG | No | PL | No | Unknown | 2002-06-01 | Unknown | 1721490 | 1672 | 1470
| 3 |  | CT | NG | FO2 | PL | TK | Unknown | 2003-06-14 | Unknown | 376380 | 352 | 314
| 1-7, 9-12 |  | GT | FO2 | No | TK | No | Unknown | 1974-05-01 | Jun-16 (1-9) | 682110 | 676.5 | 594
Lauderdale |  | Broward County
|  | 30/50S/42E | [8 empty] | 1873968 | 1866.8 | 1707
| 4 |  | CC | NG | FO2 | PL | PL | Unknown | 1993-05-01 | Unknown | 526250 | 493 | 442
| 5 |  | CC | NG | FO2 | PL | PL | Unknown | 1993-06-01 | Unknown | 526250 | 493 | 442
| 1-12 |  | GT | NG | FO2 | PL | PL | Unknown | 1970-08-01 | 2016-10-31 | 410734 | 440.4 | 411.5
| 13-24 |  | GT | NG | FO2 | PL | PL | Unknown | 1970-08-01 | 2016-10-31 | 410734 | 440.4 | 411.5
Manatee |  | Manatee County
|  | 18/33S/20E | [8 empty] | 2951110 | 2894 | 2759
| 1 |  | ST | FO6 | NG | WA | PL | Unknown | 1976-10-01 | Unknown | 863300 | 819 | 809
| 2 |  | ST | FO6 | NG | WA | PL | Unknown | 1977-12-01 | Unknown | 863300 | 819 | 809
| 3 |  | CC | NG | No | PL | No | Unknown | 2005-06-01 | Unknown | 1224510 | 1256 | 1141
Martin |  | Martin County
|  | 29/29S/38E | [8 empty] | 4317510 | 3879 | 3699
| 1 |  | ST | FO6 | NG | PL | PL | Unknown | 1980-12-01 | Unknown | 934500 | 829 | 823
| 2 |  | ST | FO6 | NG | PL | PL | Unknown | 1981-06-01 | Unknown | 934500 | 809 | 803
| 3 |  | CC | NG | No | PL | No | Unknown | 1994-02-01 | Unknown | 612000 | 499 | 469
| 4 |  | CC | NG | No | PL | No | Unknown | 1994-04-01 | Unknown | 612000 | 499 | 469
| 8 3/ |  | CC | NG | FO2 | PL | TK | Unknown | 2005-06-30 | Unknown | 1224510 | 1243 | 1135
Port Everglades |  | City of Hollywood
|  | 23/50S/42E | [8 empty] | 410734 | 440.4 | 411.6
| 1-12 |  | GT | NG | FO2 | PL | PL | Unknown | 1971-08-01 | 2016-10-31 | 410734 | 440.4 | 411.6
Riviera Beach |  | City of Riviera Beach
|  | 33/42S/432E | [8 empty] | 1295400 | 1360 | 1212
| 5 |  | CC | NG | FO2 | PL | WA | Unknown | 2014-04-14 | Unknown | 1295400 | 1360 | 1212
Sanford |  | Volusia County
|  | 16/19S/30E | [8 empty] | 2377720 | 2200 | 2010
| 4 |  | CC | NG | No | PL | No | Unknown | 2003-10-01 | Unknown | 1188860 | 1100 | 1005
| 5 |  | CC | NG | No | PL | No | Unknown | 2002-06-01 | Unknown | 1188860 | 1100 | 1005
Scherer 2/ |  | Monroe, GA | [8 empty] | 891000 | 635 | 634
| 4 |  | ST | SUB | No | RR | No | Unknown | 1989-07-01 | Unknown | 891000 | 635 | 634
Space Coast 3/ |  | Brevard County
|  | 13/23S/36E | [8 empty] | 10000 | 10 | 10
| 1 |  | PV | Solar | Solar | N/A | N/A | Unknown | 2010-04-16 | Unknown | 10000 | 10 | 10
St. Johns River |  | Duval County
Power Park 4/ |  | 12/15/28E
|  | (RPC4) | [8 empty] | 1359180 | 260 | 254
| 1 |  | ST | BIT | Pet | RR | WA | Unknown | 1987-03-01 | Unknown | 679590 | 130 | 127
| 2 |  | ST | BIT | Pet | RR | WA | Unknown | 1988-05-01 | Unknown | 679590 | 130 | 127
St. Lucie 5/ |  | St. Lucie County
|  | 16/36S/41E | [8 empty] | 2160000 | 1863 | 1821
| 1 |  | ST | Nuc | No | TK | No | Unknown | 1976-05-01 | Unknown | 1080000 | 1003 | 981
| 2 |  | ST | Nuc | No | TK | No | Unknown | 1983-06-01 | Unknown | 1080000 | 860 | 840
Turkey Point |  | Miami Dade County
|  | 27/57S/40E | [8 empty] | 3344410 | 3330 | 3215
| 1 |  | ST | FO6 | NG | WA | PL | Unknown | 1967-04-01 | 2016-10-16 | 365500 | 398 | 396
| 3 |  | ST | Nuc | No | TK | No | Unknown | 1972-11-01 | Unknown | 877200 | 839 | 811
| 4 |  | ST | Nuc | No | TK | No | Unknown | 1973-06-01 | Unknown | 877200 | 848 | 821
| 5 |  | CC | NG | FO2 | PL | TK | Unknown | 2007-05-01 | Unknown | 1224510 | 1245 | 1187
West County |  | Palm Beach County
|  | 29&32/43S/40E | [8 empty] | 4100400 | 4065 | 3657
| 1 |  | CC | NG | FO2 | PL | TK | Unknown | 2009-08-27 | Unknown | 1366800 | 1355 | 1219
| 2 |  | CC | NG | FO2 | PL | TK | Unknown | 2009-11-03 | Unknown | 1366800 | 1355 | 1219
| 3 |  | CC | NG | FO2 | PL | TK | Unknown | 2011-05-01 | Unknown | 1366800 | 1355 | 1219
[11 empty] | Total System Generating Capacity as of December 31, 2015 6/ = | 27164.7 | 25252.6
[11 empty] | System Firm Generating Capacity as of December 31, 2015 7/ = | 27129.7 | 25232.6
1/ These ratings are peak capability.
2/ These ratings relate to FPL's 76.36% share of Plant Scherer Unit 4 operated by Georgia Power, and represent FPL's 73.923% owernership share available
at point of interchange.
3/ Approximately 32% of the 10 MW (Nameplate, AC) PV facility at Space Coast is considered as firm generating capacity for Summer reserve margin purposes
and 0% is considered as firm capacity for Winter reserve margin purposes.
4/ The net capability ratings represent Florida Power & Light Company's share of St. Johns River Park Units 1 and 2, excluding the
Jacksonville Electric Authority (JEA) share of 80%.
5/ Total capability of St. Lucie 1 is 981/1,003 MW. FPL's share of St. Lucie 2 is 840/860.FPL's ownership share of St. Lucie Units 1 and 2
is 100% and 85%, respectively, as shown above. FPL's share of the deliverable capacity from each unit is approx. 92.5% and exclude the
Orlando Utilities Commission (OUC) and Florida Municipal Power Agency (FMPA) combined portion of approximately 7.448% per unit.
6/ The Total System Generating Capacity value shown includes FPL-owned firm and non-firm generating capacity.
7/ The System Firm Generating Capacity value shown includes only firm generating capacity.
[12 empty] | -35 | -15
ST
CT
GT

## 89 v 15
SFHHA 010348 | [9 empty] | Docket No. 160021-EI
FPL RC-16 | [9 empty] | FPL Generation Fleet
2015 vs. 1989
Exhibit RBD-7, Page 1 of 1
FPL Generation Fleet 2015 vs. 1989
| Firm Capability 2015 (1) |  | % Capability |  | Net Capability 1989 (2) |  | % Capability |  | Change in %
Unit | Winter | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter | Summer
Type | MW | MW
ST | 8369 | 8231 | 30.85% | 32.61% | 11402 | 11264 | 80.88% | 82.69% | -50.03% | -50.08%
CC | 16411 | 14844 | 60.49% | 58.82% | 468 | 448 | 3.32% | 3.289% | 57.17% | 55.53%
GT/CT | 2349.7 | 2142.6 | 8.661% | 8.49% | 2228 | 1910 | 15.8% | 14.02% | -7.143% | -5.532%
PV | 0 | 20 | 0% | 0.07925% |  |  |  |  | 0% | 0.07925%
| 27129.7 | 25237.6 | 100% | 100% | 14098 | 13622 | 100% | 100% | 1.388e-15% | 1.865e-15%
(1) | 2016 Ten Year Site Plan, p. 23 Schedule 1
(2) | 1990 Ten Year Site Plan, p. 42 Form 1A
ST = Steam
CC = Combined Cycle
PV = Solar photovoltaic
GT = Gas Turbine
CT = Combustion Turbine
GT | 1997.7 | 1828.6 | 7.364% | 7.246%
CT | 352 | 314 | 1.297% | 1.244% | 2214 | 1896 | 15.7% | 13.92%
D |  |  |  |  | 14 | 14 | 0.0993% | 0.1028%