## Summary
Unique Measures
|  | Incl. in 2014 | Added in 2019 | Total | Eliminated
Energy Efficiency
| Residential | 63 | 28 | 91 | 3 | 30.77%
| Commercial | 69 | 58 | 127 | 3 | 45.67%
| Industrial * | 26 | 4 | 30 | 20 | 13.33%
Demand Response |  | 11 | 10 | 21 | 0 | 47.62%
Distributed Energy Resources |  | 2 | 7 | 9 | 0 | 77.78%
Total |  | 171 | 107 | 278 | 26 | 38.49%
* Majority of 2014's 117 unique measures have been aggregated into broader measures for 2019
|  | 61.51% | 38.49%

## EE - Residential
Docket No. 2019____-EG
DSM Goals Measure List - 2009 v. 2014
Exhibit JxH-x, Page 1 of x
2019 DSM Goals - Residential Energy Efficiency Measures
Category | Type | Measure | Incl. in 2014 | Added in 2019 | 2014 DSM Goals Measure (Mapping) | 2014 ID Nos. | Counts |  |  |  | 2014 IDs
Appliances | Electronics | ENERGY STAR Air Purifier / Cleaner |  | X |  |  | 0 | 1
Appliances | Electronics | ENERGY STAR Audio/Video Equipment | X |  | Energy Star Set-Top Box, DVD Player & VCR | 921, 931, 941 | 1 | 0 |  |  | 921 | 931 | 941
Appliances | Electronics | ENERGY STAR Imaging Equipment |  | X |  |  | 0 | 1
Appliances | Electronics | ENERGY STAR Personal Computer | X |  | Energy Star Desktop & Laptop PC | 951, 961 | 1 | 0 |  |  | 951 | 961
Appliances | Electronics | ENERGY STAR TV | X |  | Energy Star TV | 901, 911 | 1 | 0 |  |  | 901 | 911
Appliances | Electronics | Smart Power Strip | X |  | Smart Plug | 962 | 1 | 0 |  |  | 962
Appliances | Kitchen | ENERGY STAR Dishwasher | X |  | Energy Star DW (EF=0.68) | 701 | 1 | 0 |  |  | 701
Appliances | Kitchen | ENERGY STAR Freezer | X |  | HE Freezer | 351 | 1 | 0 |  |  | 351
Appliances | Kitchen | ENERGY STAR Refrigerator | X |  | HE Refrigerator - Energy Star version of above | 301 | 1 | 0 |  |  | 301
Appliances | Kitchen | High Efficiency Convection Oven |  | X |  |  | 0 | 1
Appliances | Kitchen | High-Efficiency Induction Cooktop |  | X |  |  | 0 | 1
Appliances | Kitchen | Removal of 2nd Refrigerator/Freezer | X |  | Refrigerator & Freezer recycling | 302, 352 | 1 | 0 |  |  | 302 | 352
Appliances | Laundry | ENERGY STAR Clothes Dryer | X |  | High Efficiency Clothes Dryer (EF=3.01 w/moisture sensor) | 610 | 1 | 0 |  |  | 610
Appliances | Laundry | ENERGY STAR Clothes Washer | X |  | Energy Star CW CEE Tier 2 & Tier 3 (MEF=2.0/2.2) | 502, 503 | 1 | 0 |  |  | 502 | 503
Appliances | Laundry | Heat Pump Clothes Dryer |  | X |  |  | 0 | 1
Building Envelope | Insulation | Ceiling Insulation (R2 to R38) | X |  | Ceiling R-0 to R-19 Insulation | 124, 150, 202 | 1 | 0 |  |  | 124 | 150 | 202
Building Envelope | Insulation | Ceiling Insulation (R12 to R38) | X |  |  |  | 1 | 0
Building Envelope | Insulation | Ceiling Insulation (R19 to R38) | X |  | Ceiling R-19 to R-38 Insulation | 125, 151, 203 | 1 | 0 |  |  | 125 | 151 | 203
Building Envelope | Insulation | Ceiling Insulation (R30 to R38) | X |  |  |  | 1 | 0
Building Envelope | Insulation | Duct Insulation | X |  |  |  | 1 | 0
Building Envelope | Insulation | ENERGY STAR Door |  | X |  |  | 0 | 1
Building Envelope | Insulation | Floor Insulation |  | X |  |  | 0 | 1
Building Envelope | Insulation | Sealed crawlspace |  | X |  |  | 0 | 1
Building Envelope | Insulation | Spray Foam Insulation (Base: R12) | X |  | Sealed Attic w/Sprayed Foam Insulated Roof Deck & Sealed Attics | 111, 137 | 1 | 0 |  |  | 111 | 137
Building Envelope | Insulation | Spray Foam Insulation (Base: R19) | X |  |  |  | 1 | 0
Building Envelope | Insulation | Spray Foam Insulation (Base: R2) | X |  |  |  | 1 | 0
Building Envelope | Insulation | Spray Foam Insulation (Base: R30) | X |  |  |  | 1 | 0
Building Envelope | Insulation | Storm Door |  | X |  |  | 0 | 1
Building Envelope | Insulation | Wall Insulation | X |  | Wall 2x4 R-0 to Blow-In R-13 Insulation | 126, 152, 204 | 1 | 0 |  |  | 126 | 152 | 204
Building Envelope | Roof | ENERGY STAR Certified Roof Products | X |  | Reflective Roof | 117, 143, 196 | 1 | 0 |  |  | 117 | 143 | 196
Building Envelope | Roof | Green Roof |  | X |  |  | 0 | 1
Building Envelope | Roof | Radiant Barrier | X |  | Radiant Barrier | 118, 144 | 1 | 0 |  |  | 118 | 144
Building Envelope | Sealing | Air Sealing/Infiltration Control | X |  | Weather Strip/Caulk w/Blower Door | 127, 153, 205 | 1 | 0 |  |  | 127 | 153 | 205
Building Envelope | Window | ENERGY STAR Windows | X |  | Default Window w/Sunscreen & Single to Double Pane Low-E Windows | 121, 147, 199, 122, 148, 200 | 1 | 0 |  |  | 121 | 147 | 199 | 122 | 148 | 200
Building Envelope | Window | Window Sun Protection | X |  | Window Film & Tinting | 119, 145, 197, 120, 146, 198 | 1 | 0 |  |  | 119 | 145 | 197 | 120 | 146 | 198
HVAC | Controls | Programmable Thermostat |  | X |  |  | 0 | 1
HVAC | Controls | Smart Thermostats |  | X |  |  | 0 | 1
HVAC | Duct | Duct Repair | X |  | Duct Repair | 116, 142 | 1 | 0 |  |  | 116 | 142
HVAC | Fan | ENERGY STAR Ceiling Fan |  | X |  |  | 0 | 1
HVAC | Fan | HVAC ECM Motor | X |  | Electronically Commutated Motors (ECM) on an Air Handler Unit | 115, 141 | 1 | 0 |  |  | 115 | 141
HVAC | Maintenance | Central AC Tune Up | X |  | Proper Refrigerant Charging and Air Flow, 'AC Maintenance (Outdoor Coil Cleaning) & AC Maintenance (Indoor Coil Cleaning) | 114, 140, 112, 138, 113, 139 | 1 | 0 |  |  | 114 | 140 | 112 | 138 | 113 | 139
HVAC | Maintenance | Heat Pump Tune Up | X |  |  |  | 1 | 0
HVAC | Unit | 14 SEER ASHP from base electric resistance heating | X |  | 14 SEER Split-System Heat Pump | 105 | 1 | 0 |  |  | 105
HVAC | Unit | 15 SEER Air Source Heat Pump | X |  | 15 SEER Split-System Heat Pump | 106, 132 | 1 | 0 |  |  | 106 | 132
HVAC | Unit | 15 SEER Central AC | X |  | 15 SEER Split-System Air Conditioner | 102 | 1 | 0 |  |  | 102
HVAC | Unit | 16 SEER Air Source Heat Pump | X |  | 17 SEER Split-System Heat Pump (16 & 17 SEER) | 107, 133 | 1 | 0 |  |  | 107 | 133
HVAC | Unit | 16 SEER Central AC | X |  | 17 SEER Split-System Air Conditioner (16 & 17 SEER) | 103 | 1 | 0 |  |  | 103
HVAC | Unit | 17 SEER Air Source Heat Pump | X |  | 19+ SEER Split-System Air Conditioner | 104 | 1 | 0 |  |  | 104
HVAC | Unit | 17 SEER Central AC | X |  |  |  | 1 | 0
HVAC | Unit | 18 SEER Air Source Heat Pump | X |  |  |  | 1 | 0
HVAC | Unit | 18 SEER Central AC | X |  |  |  | 1 | 0
HVAC | Unit | 21 SEER Air Source Heat Pump | X |  |  |  | 1 | 0
HVAC | Unit | 21 SEER ASHP from base electric resistance heating | X |  |  |  | 1 | 0
HVAC | Unit | 21 SEER Central AC | X |  |  |  | 1 | 0
HVAC | Unit | ENERGY STAR Dehumidifier |  | X |  |  | 0 | 1
HVAC | Unit | ENERGY STAR Room AC | X |  | HE Room Air Conditioner - EER 11 & EER 12 | 191, 192 | 1 | 0 |  |  | 191 | 192
HVAC | Unit | Ground Source Heat Pump (GSHP) |  | X |  |  | 0 | 1
HVAC | Unit | Variable Refrigerant Flow (VRF) HVAC Systems |  | X |  |  | 0 | 1
Lighting | Controls | Exterior Lighting Controls |  | X |  |  | 0 | 1
Lighting | Controls | Interior Lighting Controls |  | X |  |  | 0 | 1
Lighting | Fluorescent | Linear LED |  | X |  |  | 0 | 1
Lighting | Fluorescent | Low Wattage T8 Fixture | X |  | ROB & RET 2L4'T8, 1EB - Indoor & Outdoor | 251a/b, 252a/b | 1 | 0 |  |  | 251a/b | 252a/b
Lighting | Fluorescent-CFL | CFL - 13W | X |  | CFL (18-Watt integral ballast), 0.5/2.5/6.0 hr/day | 221, 231, 241 | 1 | 0 |  |  | 221 | 231 | 241
Lighting | Fluorescent-CFL | CFL - 15W Flood | X |  |  |  | 1 | 0
Lighting | Fluorescent-CFL | CFL - 15W Flood (Exterior) | X |  |  |  | 1 | 0
Lighting | Fluorescent-CFL | CFL - 23W | X |  |  |  | 1 | 0
Lighting | LED | LED - 9W | X |  | LED (12-Watt), 0.5/2.5/6.0 hr/day | 222, 232, 242 | 1 | 0 |  |  | 222 | 232 | 242
Lighting | LED | LED - 9W Flood | X |  |  |  | 1 | 0
Lighting | LED | LED - 9W Flood (Exterior) | X |  | LED Directional 13W (Flood, Outdoor) | 263 | 1 | 0 |  |  | 263
Lighting | LED | LED - 14W | X |  |  |  | 1 | 0
Lighting | LED | LED - 5W Chandelier |  | X |  |  | 0 | 1
Motor | Fan | ENERGY STAR Bathroom Ventilating Fan |  | X |  |  | 0 | 1
Motor | Fan | Solar Attic Fan |  | X |  |  | 0 | 1
Motor | Pump | Solar Powered Pool Pumps | X |  | PV-Powered Pool Pumps | 804 | 1 | 0 |  |  | 804
Motor | Pump | Two Speed Pool Pump | X |  | Two Speed Pool Pump (1.5 hp) | 801 | 1 | 0 |  |  | 801
Motor | Pump | Variable Speed Pool Pump | X |  | Variable-Speed Pool Pump (<1 hp) | 803 | 1 | 0 |  |  | 803
Water Heating | Ancillary | Drain Water Heat Recovery |  | X |  |  | 0 | 1
Water Heating | Ancillary | Faucet Aerator | X |  | Faucet Aerators | 407 | 1 | 0 |  |  | 407
Water Heating | Ancillary | Heat Trap | X |  | Heat Trap | 411 | 1 | 0 |  |  | 411
Water Heating | Ancillary | Low Flow Showerhead | X |  | Low Flow Showerhead | 405 | 1 | 0 |  |  | 405
Water Heating | Ancillary | Thermostatic Shower Restriction Valve |  | X |  |  | 0 | 1
Water Heating | Ancillary | Water Heater Thermostat Setback (temperature check card) | X |  | Water Heater Temperature Check and Adjustment | 409 | 1 | 0 |  |  | 409
Water Heating | Controls | Water Heater Timeclock | X |  | Water Heater Timeclock | 410 | 1 | 0 |  |  | 410
Water Heating | Insulation | Hot Water Pipe Insulation | X |  | Pipe Wrap | 406 | 1 | 0 |  |  | 406
Water Heating | Insulation | Water Heater Blanket | X |  | Water Heater Blanket | 408 | 1 | 0 |  |  | 408
Water Heating | Unit | Heat Pump Pool Heater |  | X |  |  | 0 | 1
Water Heating | Unit | Heat Pump Water Heater | X |  | Heat Pump Water Heater (EF=2.9) | 401 | 1 | 0 |  |  | 401
Water Heating | Unit | Instantaneous Hot Water System |  | X |  |  | 0 | 1
Water Heating | Unit | Solar Pool Heater |  | X |  |  | 0 | 1
Water Heating | Unit | Solar Water Heater | X |  | Solar Water Heat | 403 | 1 | 0 |  |  | 403
Whole Home | Controls | Home Energy Management System |  | X |  |  | 0 | 1
[7 empty] | 63 | 28 | 91 | [6 empty] | Count of 2014 IDs: | 88
Eliminated | [8 empty] | 91 | <-- Actual total
HVAC | Unit | AC Heat Recovery Units |  |  |  | 404 |  |  | 0 |  | 404
HVAC | Ancillary | HVAC Proper Sizing |  |  |  | 109, 135 |  |  |  |  | 109 | 135
Motor | Pump | High Efficiency One Speed Pool Pump (1.5 hp) |  |  |  | 802 |  |  |  |  | 802
[16 empty] | Count of 2014 IDs: | 4
Measure Counts
Incl. in 2014 | 63
Added in 2019 | 28
2019 Total | 91
Eliminated | 3

## EE - Commercial
Docket No. 2019____-EG
DSM Goals Measure List - 2009 v. 2014
Exhibit JxH-x, Page x of x
2019 DSM Goals - Commercial Energy Efficiency Measures
Category | Type | Measure | Incl. in 2014 | Added in 2019 | 2014 DSM Goals Measure (Mapping) | 2014 ID Nos. | Counts
Appliances | Cooking | Efficient Exhaust Hood | X |  | Separate Makeup Air/Exhaust Hoods AC | 407 | 1 | 0
Appliances | Cooking | ENERGY STAR Commercial Dishwasher |  | X |  |  | 0 | 1
Appliances | Cooking | ENERGY STAR Commercial Oven | X |  | Convection Oven | 801 | 1 | 0
Appliances | Cooking | ENERGY STAR Fryer | X |  | Efficient Fryer | 811 | 1 | 0
Appliances | Cooking | ENERGY STAR Griddle | X |  | Griddle | 812 | 1 | 0
Appliances | Cooking | ENERGY STAR Hot Food Holding Cabinet | X |  | Holding Cabinet | 814 | 1 | 0
Appliances | Cooking | ENERGY STAR Steamer | X |  | Steamer | 813 | 1 | 0
Appliances | Cooking | Induction Cooktops |  | X |  |  | 0 | 1
Appliances | Cooking | Low-Flow Pre-Rinse Sprayers |  | X |  |  | 0 | 1
Appliances | Office Equipment | ENERGY STAR Imaging Equipment | X |  | Energy Star or Better Copier & Printer | 731, 732, 741 | 1 | 0
Appliances | Office Equipment | ENERGY STAR PCs | X |  | Energy Star or Better PC & Monitor | 701, 711, 721, 712, 722 | 1 | 0
Appliances | Office Equipment | ENERGY STAR Servers | X |  | Energy Star Servers | 702 | 1 | 0
Appliances | Office Equipment | ENERGY STAR Uninterruptable Power Supply |  | X |  |  | 0 | 1
Appliances | Office Equipment | Network PC Power Management |  | X |  |  | 0 | 1
Appliances | Office Equipment | Server Virtualization | X |  | Server Virtualization | 703 | 1 | 0
Appliances | Office Equipment | Smart Strip Plug Outlet |  | X |  |  | 0 | 1
Appliances | Unit | ENERGY STAR Commercial Clothes Washer |  | X |  |  | 0 | 1
Appliances | Unit | ENERGY STAR Vending Machine | X |  | Vending Misers (cooled machines only) | 901 | 1 | 0
Appliances | Unit | ENERGY STAR Water Cooler |  | X |  |  | 0 | 1
Building Envelope | Insulation/Sealing | Ceiling Insulation (R12 to R38) | X |  | Ceiling Insulation | 334, 313, 349 | 1 | 0
Building Envelope | Insulation/Sealing | Ceiling Insulation (R19 to R38) | X |  |  |  | 1 | 0
Building Envelope | Insulation/Sealing | Ceiling Insulation (R2 to R38) | X |  |  |  | 1 | 0
Building Envelope | Insulation/Sealing | Ceiling Insulation (R30 to R38) | X |  |  |  | 1 | 0
Building Envelope | Insulation/Sealing | Floor Insulation |  | X |  |  | 0 | 1
Building Envelope | Insulation/Sealing | Roof Insulation | X |  | Roof Insulation | 314, 335, 350 | 1 | 0
Building Envelope | Insulation/Sealing | Wall Insulation |  | X |  |  | 0 | 1
Building Envelope | Roof | Cool Roof | X |  | Cool Roof - DX & Chiller | 351, 336, 315 | 1 | 0
Building Envelope | Roof | Green Roof |  | X |  |  | 0 | 1
Building Envelope | Insulation/Sealing | Infiltration Reduction - Air Sealing |  | X |  |  | 0 | 1
Building Envelope | Insulation/Sealing | Warehouse Loading Dock Seals |  | X |  |  | 0 | 1
Building Envelope | Window | Low U-Value Windows |  | X |  |  | 0 | 1
Building Envelope | Window | Window Sun Protection | X |  | Window Film (Standard) | 311, 332, 347 | 1 | 0
HVAC | Chiller | Chilled Water System - Variable Speed Drives | X |  | VSD for Chiller Pumps and Towers | 306 | 1 | 0
HVAC | Chiller | Chilled Water Controls Optimization |  | X |  |  | 0 | 1
HVAC | Chiller | High Efficiency Chiller (Air Cooled, 50 tons) | X |  | Centrifugal Chiller, 0.51 kW/ton, 500 tons, High Efficiency Chiller Motors | 301, 302 | 1 | 0
HVAC | Chiller | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | X |  |  |  | 1 | 0
HVAC | Chiller | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | X |  |  |  | 1 | 0
HVAC | Controls | Facility Commissioning |  | X |  |  | 0 | 1
HVAC | Controls | Facility Energy Management System | X |  | EMS - Chiller, Chiller Tune Up/Diagnostics, EMS Optimization, Run Time Optimizer | 304, 305, 307, 328, 337 | 1 | 0
HVAC | Controls | Hotel Card Energy Control Systems | X |  | Occupancy Sensor (hotels) | 362 | 1 | 0
HVAC | Controls | Programmable Thermostat |  | X |  |  | 0 | 1
HVAC | Controls | Smart Thermostat |  | X |  |  | 0 | 1
HVAC | DX | High Efficiency DX, >135k and <240k BTU | X |  | DX Packaged System, EER=11.9, 10 tons, Hybrid Dessicant-DX System (Trane CDQ), Dehumidification hybrid desiccant heat pump (per 5 Ton) | 321, 322, 338 | 1 | 0
HVAC | DX | HVAC tune-up | X |  | DX Tune Up/ Advanced Diagnostics, DX Coil Cleaning, Air Handler Optimization | 326, 327, 403 | 1 | 0
HVAC | DX | HVAC tune-up_RTU | X |  |  |  | 1 | 0
HVAC | DX | Airside Economizer |  | X |  |  | 0 | 1
HVAC | Ventilation | Energy Recovery Ventilation System (ERV) | X |  | Energy Recovery Ventilation (ERV), Heat Recovery Unit | 406, 608 | 1 | 0
HVAC | Chiller | Waterside Economizer |  | X |  |  | 0 | 1
HVAC | Ancillary | ECM motors on furnaces | X |  | Electronically Commutated Motors (ECM) on an Air Handler Unit | 404 | 1 | 0
HVAC | Unit | Geothermal Heat Pump | X |  | Geothermal Heat Pump, EER=13, 10 tons | 323, 342 | 1 | 0
HVAC | Insulation/Sealing | Duct Insulation | X |  | Duct/Pipe Insulation | 309, 330, 345 | 1 | 0
HVAC | Ancillary | Dedicated Outdoor Air System on VRF unit |  | X |  |  | 0 | 1
HVAC | Unit | High Efficiency Data Center Cooling |  | X |  |  | 0 | 1
HVAC | Room | High Efficiency PTAC | X |  | HE PTAC, EER=9.6, 1 ton | 361 | 1 | 0
HVAC | Room | High Efficiency PTHP | X |  | Packaged HP System, EER=11.7, 10 tons | 341 | 1 | 0
HVAC | Room | Variable Refrigerant Flow (VRF) HVAC Systems |  | X |  |  | 0 | 1
HVAC | Insulation/Sealing | Air Curtains |  | X |  |  | 0 | 1
HVAC | Insulation/Sealing | Duct Sealing Repair | X |  | Aerosole Duct Sealing | 329, 308, 344 | 1 | 0
HVAC | Storage | Thermal Energy Storage | X |  | Thermal Energy Storage (TES) | 317 | 1 | 0
HVAC | Ventilation | Demand Control Ventilation (DCV) | X |  | Demand Control Ventilation (DCV) | 405 | 1 | 0
HVAC | Ventilation | Destratification Fans |  | X |  |  | 0 | 1
HVAC | Ventilation | VAV System |  | X |  |  | 0 | 1
Lighting-Exterior | Controls | Bi-Level Lighting Control (Exterior) |  | X |  |  | 0 | 1
Lighting-Exterior | Controls | Outdoor Lighting Controls | X |  | Outdoor Lighting Controls (Photocell/Timeclock) | 202, 211 | 1 | 0
Lighting-Exterior | CFL | CFL - 15W flood | X |  |  |  | 1 | 0
Lighting-Exterior | HID | High Efficiency HID Lighting | X |  | Outdoor LED 104W | 203 | 1 | 0
Lighting-Exterior | LED | LED - 9W Flood | X |  |  |  | 1 | 0
Lighting-Exterior | LED | LED Display Lighting (Exterior) |  | X |  |  | 0 | 1
Lighting-Exterior | LED | LED Exterior Lighting | X |  |  |  | 1 | 0
Lighting-Exterior | LED | LED Parking Lighting |  | X |  |  | 0 | 1
Lighting-Exterior | LED | LED Street Lights |  | X |  |  | 0 | 1
Lighting-Exterior | LED | LED Traffic and Crosswalk Lighting |  | X |  |  | 0 | 1
Lighting-Interior | CFL | CFL - 23W | X |  | CFL Screw-in & Hardwired Modular 18W | 131, 141 | 1 | 0
Lighting-Interior | Controls | Bi-Level Lighting Control (Interior) |  | X |  |  | 0 | 1
Lighting-Interior | Controls | Interior Lighting Controls | X |  | Occupancy Sensor, Continuous Dimming & Controls Tune-up | 113, 123, 114, 115, 124 | 1 | 0
Lighting-Interior | Fluorescent | High Bay Fluorescent (T5) | X |  | High Bay T5 | 153 | 1 | 0
Lighting-Interior | Fluorescent | Premium T8 - Fixture Replacement | X |  | Premium T8, EB, Reflector & ROB | 112, 122 | 1 | 0
Lighting-Interior | Fluorescent | Premium T8 - Lamp Replacement | X |  | Premium T8, Electronic Ballast & ROB | 111, 121 | 1 | 0
Lighting-Interior | LED | High Bay LED | X |  | LED High Bay 83W (400W equivalent) | 154 | 1 | 0
Lighting-Interior | LED | LED - 14W | X |  | Flood LED 14W & reg 12W | 132, 146 | 1 | 0
Lighting-Interior | LED | LED Display Lighting (Interior) | X |  | LED Display Lighting | 517 | 1 | 0
Lighting-Interior | LED | LED Linear - Fixture Replacement |  | X |  |  | 0 | 1
Lighting-Interior | LED | LED Linear - Lamp Replacement | X |  | LED Linear Tube 22W | 125 | 1 | 0
Motors | Drives | Efficient motor belts |  | X |  |  | 0 | 1
Motors | Controls | CO Sensors for Parking Garage Exhaust |  | X |  |  | 0 | 1
Motors | Drives | VSD Controlled Compressor | X |  | Variable Speed Drive Control, Efficient comp motor, Comp VSD retrofit, Multiplex Comp System | 402, 505, 506, 514 | 1 | 0
Motors | Fans | 10HP Open Drip-Proof (ODP) Motor |  | X |  |  | 0 | 1
Motors | Fans | High Speed Fans | X |  | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% & High-efficiency fan motors | 401, 501 | 1 | 0
Motors | Drives | Regenerative Drive Elevator Motor |  | X |  |  | 0 | 1
Motors | Pumps | Two Speed Pool Pump |  | X |  |  | 0 | 1
Motors | Pumps | Solar Powered Pool Pump |  | X |  |  | 0 | 1
Motors | Pumps | Variable Speed Pool Pump |  | X |  |  | 0 | 1
Power Management | Storage | Efficient Battery Charger |  | X |  |  | 0 | 1
Power Management | Supply | Engine Block Heater Timer |  | X |  |  | 0 | 1
Refrigeration | Controls | Anti-sweat controls | X |  | Anti-sweat (humidistat) controls | 511 | 1 | 0
Refrigeration | Controls | Automatic Door Closer for Walk-in Coolers and Freezers | X |  | Refrigeration Commissioning | 508 | 1 | 0
Refrigeration | Controls | Demand Defrost | X |  | Demand Hot Gas Defrost, Demand Defrost Electric | 509, 510 | 1 | 0
Refrigeration | Controls | Floating head pressure controls | X |  | Floating head pressure controls | 507 | 1 | 0
Refrigeration | Controls | Refrigerated Display Case Lighting Controls |  | X |  |  | 0 | 1
Refrigeration | Unit | High R-Value Glass Doors | X |  | High R-Value Glass Doors | 513 | 1 | 0
Refrigeration | LED | Refrigerated Display Case LED Lighting |  | X |  |  | 0 | 1
Refrigeration | Ancillary | PSC to ECM Evaporator Fan Motor (Reach-In) |  | X |  |  | 0 | 1
Refrigeration | Ancillary | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | X |  | Evaporator fan controller for MT walk-ins | 504 | 1 | 0
Refrigeration | Insulation/Sealing | Freezer-Cooler Replacement Gaskets | X |  | Freezer-Cooler Replacement Gaskets | 516 | 1 | 0
Refrigeration | Insulation/Sealing | Night covers for display cases | X |  | Night covers for display cases | 503 | 1 | 0
Refrigeration | Insulation/Sealing | Strip curtains for walk-ins | X |  | Strip curtains for walk-ins | 502 | 1 | 0
Refrigeration | Unit | ENERGY STAR Commercial Glass Door Freezer |  | X |  |  | 0 | 1
Refrigeration | Unit | ENERGY STAR Commercial Glass Door Refrigerator |  | X |  |  | 0 | 1
Refrigeration | Unit | ENERGY STAR Commercial Solid Door Freezer |  | X |  |  | 0 | 1
Refrigeration | Unit | ENERGY STAR Commercial Solid Door Refrigerator |  | X |  |  | 0 | 1
Refrigeration | Unit | ENERGY STAR Ice Maker | X |  | Ice Machine | 518 | 1 | 0
Refrigeration | Unit | ENERGY STAR Refrigerator |  | X |  |  | 0 | 1
Refrigeration | Unit | High Efficiency Refrigeration Compressor | X |  | Oversized Air Cooled Condenser | 515 | 1 | 0
Refrigeration | Unit | Water Cooled Refrigeration Heat Recovery |  | X |  |  | 0 | 1
Water Heating | Ancillary | Drain Water Heat Recovery | X |  | Heat Trap | 609 | 1 | 0
Water Heating | Ancillary | Faucet Aerator | X |  | Faucet Aerator (DI) - Commercial (0.5, 1.0 & 1.5 gpm) | 611, 612, 613 | 1 | 0
Water Heating | Ancillary | Low Flow Shower Head |  | X |  |  | 0 | 1
Water Heating | Ancillary | Thermostatic Shower Restriction Valve |  | X |  |  | 0 | 1
Water Heating | Controls | Hot Water Circulation Pump Control | X |  | Demand controlled circulating systems | 606 | 1 | 0
Water Heating | Insulation/Sealing | Hot Water Pipe Insulation | X |  | Hot Water Pipe Insulation | 610 | 1 | 0
Water Heating | Insulation/Sealing | Tank Wrap on Water Heater |  | X |  |  | 0 | 1
Water Heating | Solar | Solar Pool Heater |  | X |  |  | 0 | 1
Water Heating | Solar | Solar Water Heater | X |  | Solar Water Heater | 604 | 1 | 0
Water Heating | Unit | Heat Pump Water Heater | X |  | Heat Pump Water Heater (air source) | 603 | 1 | 0
Water Heating | Unit | Heat Pump Pool Heater |  | X |  |  | 0 | 1
Water Heating | Unit | Instantaneous Hot Water System |  | X |  |  | 0 | 1
Whole Building | Controls | Retro-Commissioning |  | X |  |  | 0 | 1
[7 empty] | 69 | 58 | 127
Eliminated | [8 empty] | 127 | <-- Actual total
Lighting-Exterior | LED | LED Exit Sign |  |  |  | 161 |  |  | 0
Lighting-Interior | Other | High Pressure Sodium 250W Lamp |  |  |  | 201
Lighting-Interior | Other | PSMH, 250W, magnetic ballast |  |  |  | 151
Measure Counts
Incl. in 2014 | 69
Added in 2019 | 58
2019 Total | 127
Eliminated | 3

## EE - Industrial
Docket No. 2019____-EG
DSM Goals Measure List - 2009 v. 2014
Exhibit JxH-x, Page x of x
2019 DSM Goals - Industrial Energy Efficiency Measures
Category | Type | Measure | Incl. in 2014 | Added in 2019 | 2014 DSM Goals Measure (Mapping) | 2014 ID Nos. | Counts
Building Envelope | Equipment | Building Envelope Improvements | X |  | See IND EE Backup for the many-to-one mapping |  | 1 | 0
Compressed Air | Controls | Compressed Air Controls | X |  |  |  | 1 | 0
Compressed Air | Equipment | Compressed Air Equipment | X |  |  |  | 1 | 0
Compressed Air | Optimization | Compressed Air System Optimization | X |  |  |  | 1 | 0
HVAC | Controls | HVAC Improved Controls | X |  |  |  | 1 | 0
HVAC | Equipment | HVAC Equipment Upgrades | X |  |  |  | 1 | 0
HVAC | Optimization | HVAC Recommissioning | X |  |  |  | 1 | 0
Lighting | Controls | Lighting Controls | X |  |  |  | 1 | 0
Lighting | Controls | Lighting Controls - Interior |  | X |  |  | 0 | 1
Lighting | Equipment | Efficient Lighting - Exterior |  | X |  |  | 0 | 1
Lighting | Equipment | Efficient Lighting - High Bay | X |  |  |  | 1 | 0
Lighting | Equipment | Efficient Lighting - Other Interior Lighting | X |  |  |  | 1 | 0
Motors | Controls | Motor Improved Controls | X |  |  |  | 1 | 0
Motors | Equipment | Motor Equipment Upgrades | X |  |  |  | 1 | 0
Motors | Optimization | Motor Optimization | X |  |  |  | 1 | 0
Fans | Controls | Fan Improved Controls | X |  |  |  | 1 | 0
Fans | Equipment | Fan Equipment Upgrades | X |  |  |  | 1 | 0
Fans | Optimization | Fan System Optimization | X |  |  |  | 1 | 0
Process Heating | Controls | Process Heat Improved Controls | X |  |  |  | 1 | 0
Process Heating | Equipment | Process Heat Equipment Upgrade | X |  |  |  | 1 | 0
Process Heating | Optimization | Process Heat System Optimization | X |  |  |  | 1 | 0
Process Other | Equipment | Process Other Equipment Upgrades | X |  |  |  | 1 | 0
Process Other | Optimization | Process Other Systems Optimization | X |  |  |  | 1 | 0
Process Refrigeration | Controls | Process Refrig Controls |  | X |  |  | 0 | 1
Process Refrigeration | Equipment | Process Refrig Equipment Upgrade |  | X |  |  | 0 | 1
Process Refrigeration | Optimization | Process Refrig System Optimization | X |  |  |  | 1 | 0
Pumps | Controls | Pump Improved Controls | X |  |  |  | 1 | 0
Pumps | Equipment | Pump Equipment Upgrade | X |  |  |  | 1 | 0
Pumps | Optimization | Pump System Optimization | X |  |  |  | 1 | 0
Whole Building | Controls | Plant Energy Management | X |  |  |  | 1 | 0
[7 empty] | 26 | 4 | 30
Eliminated | [8 empty] | 30 | <-- Actual total
Compressed Air | Optimization | Compressed Air-O&M |  |  |  | 101 |  |  | 0
Compressed Air | Optimization | Comp Air - Motor practices-1 (100+ HP) |  |  |  | 113
Compressed Air | Optimization | Comp Air - Motor practices-1 (6-100 HP) |  |  |  | 110
Compressed Air | Optimization | Comp Air - Motor practices-1 (1-5 HP) |  |  |  | 107
Fans | Optimization | Fans - O&M |  |  |  | 201
Fans | Optimization | Fans - Motor practices-1 (100+ HP) |  |  |  | 213
Fans | Optimization | Fans - Motor practices-1 (6-100 HP) |  |  |  | 210
Fans | Optimization | Fans - Motor practices-1 (1-5 HP) |  |  |  | 207
Pumps | Optimization | Pumps - O&M |  |  |  | 301
Pumps | Optimization | Pumps - Motor practices-1 (100+ HP) |  |  |  | 313
Pumps | Optimization | Pumps - Motor practices-1 (6-100 HP) |  |  |  | 310
Pumps | Optimization | Pumps - Motor practices-1 (1-5 HP) |  |  |  | 307
Motors | Equipment | Drives - EE motor |  |  |  | 405
Motors | Optimization | Drives - Optimization process (M&T) |  |  |  | 427
Motors | Optimization | Drives - Scheduling |  |  |  | 428
Process Other | Optimization | Clean Room - New Designs |  |  |  | 414
Process Other | Optimization | Bakery - Process (Mixing) - O&M |  |  |  | 401
Process Other | Optimization | O&M/drives spinning machines |  |  |  | 402
Process Other | Optimization | O&M - Extruders/Injection Moulding |  |  |  | 417
Refrigeration | Optimization | Efficient Refrigeration - Operations |  |  |  | 551
Measure Counts
Incl. in 2014 | 26
Added in 2019 | 4
2019 Total | 30
Eliminated | 20

## DR
Docket No. 2019____-EG
DSM Goals Measure List - 2009 v. 2014
Exhibit JxH-x, Page x of x
2019 DSM Goals - Demand Response Measures
Category | Type | Measure | Incl. in 2014 | Added in 2019 | 2014 DSM Goals Measure (Mapping) | 2014 ID Nos. | Counts
Residential | Utility-controlled | Central Air Conditioner (Switch) - 50% Cycle | X |  | Residential On Call (FPL) | n/a | 1 | 0
Residential | Utility-controlled | Central Air Conditioner (Switch) - Shed | X |  |  |  | 1 | 0
Residential | Utility-controlled | Central Heating (Switch) - 50% Cycle | X |  |  |  | 1 | 0
Residential | Utility-controlled | Central Heating (Switch) - Shed | X |  |  |  | 1 | 0
Residential | Utility-controlled | Pool Pump (Switch) - Shed | X |  |  |  | 1 | 0
Residential | Utility-controlled | Water Heating (Switch) - Shed | X |  |  |  | 1 | 0
Residential | Utility-controlled | Room AC Control (Switch) |  | X |  |  | 0 | 1
Residential | Utility-controlled | Smart Thermostat (DR) - BYOT |  | X |  |  | 0 | 1
Residential | Utility-controlled | Smart Thermostat (EE+DR) - Utility-Owned |  | X |  |  | 0 | 1
Residential | Pricing | Critical Peak Price (CPP) - Technology-Enabled | X |  | TECO & Gulf | n/a | 1 | 0
SMB | Utility-controlled | Central Air Conditioner - 50% Cycle | X |  | Business On Call (FPL) | n/a | 1 | 0
SMB | Utility-controlled | Central Air Conditioner (Switch) - Shed | X |  |  |  | 1 | 0
SMB | Utility-controlled | Central Heating (Switch) - 50% Cycle |  | X |  |  | 0 | 1
SMB | Utility-controlled | Central Heating (Switch) - Shed |  | X |  |  | 0 | 1
SMB | Utility-controlled | Smart Thermostat - BYOT (DR) |  | X |  |  | 0 | 1
SMB | Utility-controlled | Smart Thermostat - Utility-Owned (EE+DR) |  | X |  |  | 0 | 1
SMB | Pricing | Critical Peak Price (CPP) - Technology-Enabled (EE + DR) | X |  | TECO & Gulf | n/a | 1 | 0
Large C/I | Utility-controlled | Automated DR |  | X |  |  | 0 | 1
Large C/I | Contractual | Firm Service Level | X |  | Commercial Industrial Demand Reduction (FPL) | n/a | 1 | 0
Large C/I | Contractual | Guaranteed Load Drop |  | X |  |  | 0 | 1
Large C/I | Pricing | Critical Peak Price (CPP) - Technology-Enabled |  | X |  |  | 0 | 1
[7 empty] | 11 | 10 | 21
Eliminated | [8 empty] | 21 | <-- Actual total
None | [8 empty] | 0
Measure Counts
Incl. in 2014 | 11
Added in 2019 | 10
2019 Total | 21
Eliminated | 0

## DER
Docket No. 2019____-EG
DSM Goals Measure List - 2009 v. 2014
Exhibit JxH-x, Page x of x
2019 DSM Goals - Distributed Energy Resources Measures
Category | Type | Measure | Incl. in 2014 | Added in 2019 | Counts
Residential | PV | Photovoltaic | X |  | 1 | 0
Commercial | PV | Photovoltaic | X |  | 1 | 0
Residential | PV+Storage | Photovoltaic + Battery Storage |  | X | 0 | 1
Commercial | PV+Storage | Photovoltaic + Battery Storage |  | X | 0 | 1
Com/Ind | CHP | Fuel Cell |  | X | 0 | 1
Com/Ind | CHP | Micro Turbine |  | X | 0 | 1
Com/Ind | CHP | Gas Turbine |  | X | 0 | 1
Com/Ind | CHP | Reciprocating Enging |  | X | 0 | 1
Com/Ind | CHP | Steam Turbine |  | X | 0 | 1
[5 empty] | 2 | 7 | 9
Eliminated | [6 empty] | 9 | <-- Actual total
None | [6 empty] | 0
Measure Counts
Incl. in 2014 | 2
Added in 2019 | 7
2019 Total | 9
Eliminated | 0

## IND EE Backup
[6 empty] | 151.5943 | 103.0833 | 1021.8226
2019 TP |  |  |  | 2014 TP
Category | Type | Updated Measure | x | Measure | Prior ID(s) | Summer MW | Winter MW | Annual GWh | Category | Type |  | Comments
HVAC | Bldg Envlp | Bldg Envlp Improvements |  | Cool Roof - DX | 731 | 5.0084 | 0 | 12.4585 | Bldg Envlp | Roof
HVAC | Bldg Envlp | Bldg Envlp Improvements |  | Cool Roof - Chiller | 711 | 0.57123 | 0.33374 | 10.0684 | Bldg Envlp | Roof
HVAC | Bldg Envlp | Bldg Envlp Improvements |  | Aerosole Duct Sealing | 727 | 2.3169 | 0 | 10.2531 | HVAC | Sealing
HVAC | Bldg Envlp | Bldg Envlp Improvements |  | Aerosole Duct Sealing - Chiller | 707 | 0.4641 | 0.27115 | 8.1802 | HVAC | Sealing
HVAC | Bldg Envlp | Bldg Envlp Improvements |  | Duct/Pipe Insulation | 728 | 1.3331 | 0 | 5.9055 | HVAC | Insulation
HVAC | Bldg Envlp | Bldg Envlp Improvements |  | Duct/Pipe Insulation - Chiller | 708 | 0.27561 | 0.16103 | 4.8579 | HVAC | Insulation
HVAC | Bldg Envlp | Bldg Envlp Improvements |  | Roof Insulation | 730 | 1.2593 | 0.067594 | 2.0724 | Bldg Envlp | Insulation
HVAC | Bldg Envlp | Bldg Envlp Improvements |  | Roof Insulation - Chiller | 710 | 0.092557 | 0.054076 | 1.6314 | Bldg Envlp | Insulation
HVAC | Bldg Envlp | Bldg Envlp Improvements |  | Window Film (Standard) | 729 | 0.73906 | -0.1026 | 3.1461 | Bldg Envlp | Window
HVAC | Bldg Envlp | Bldg Envlp Improvements |  | Window Film (Standard) - Chiller | 709 | 0.15383 | 0.089872 | 2.7113 | HVAC | Insulation
HVAC | Equipment | HVAC Equipment Upgrades |  | Dehumidification hybrid desiccant heat pump (per 5 Ton) | 733 | 14.3612 | 1.4529 | 42.8534 | HVAC | Heating
HVAC | Equipment | HVAC Equipment Upgrades |  | Hybrid Dessicant-DX System (Trane CDQ) | 722 | 7.4072 | 0 | 45.3824 | HVAC | DX
HVAC | Equipment | HVAC Equipment Upgrades |  | DX Packaged System, EER=11.9, 10 tons | 721 | 2.5765 | 0 | 15.815 | HVAC | DX
HVAC | Equipment | HVAC Equipment Upgrades |  | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 701 | 1.0528 | 0.61507 | 18.5558 | HVAC | Chiller
HVAC | Equipment | HVAC Equipment Upgrades |  | Geothermal Heat Pump, EER=13, 10 tons | 723 | 0.85038 | 0.16588 | 5.1702 | HVAC | Heating
HVAC | Equipment | HVAC Equipment Upgrades |  | VSD for Chiller Pumps and Towers | 705 | 0.36925 | 0.21573 | 6.5083 | HVAC | Drives
HVAC | Equipment | HVAC Equipment Upgrades |  | High Efficiency Chiller Motors | 702 | 0.20816 | 0.12162 | 3.669 | HVAC | Chiller
HVAC | Optimization | HVAC Recommissioning |  | Run Time Optimizer | 732 | 7.56 | 0 | 18.2024 | HVAC | Controls |  | Diagnostic evaluation and optimization
HVAC | Optimization | HVAC Recommissioning |  | DX Coil Cleaning | 725 | 1.6524 | 0 | 4.9936 | HVAC | DX
HVAC | Optimization | HVAC Recommissioning |  | DX Tune Up/ Advanced Diagnostics | 724 | 0.84423 | 0 | 2.5518 | HVAC | DX
HVAC | Optimization | HVAC Recommissioning |  | EMS Optimization | 706, 726 | 0.24339 | 0.14149 | 4.2986 | HVAC | Controls
HVAC | Optimization | HVAC Recommissioning |  | Chiller Tune Up/Diagnostics | 704 | 0.21604 | 0.12622 | 3.8078 | HVAC | Chiller
HVAC | Controls | HVAC Improved Controls |  | EMS - Chiller | 703 | 0.043364 | 0.025335 | 0.76432 | HVAC | Controls |  | EMS, thermostats, demand controlled ventilation
Industrial Lighting | Equipment | Efficient Lighting - High Bay |  | High Bay T5 | 804 | 1.2093 | 1.0576 | 8.1288 | Lighting | Fluorescent
Industrial Lighting | Equipment | Efficient Lighting - High Bay |  | LED High Bay 83W (400W equivalent) | 808 | 0.79584 | 0.70392 | 2.6463 | Lighting | LED
Industrial Lighting | Equipment | Efficient Lighting - Other Interior Lighting |  | Premium T8, Electronic Ballast | 801 | 9.6843 | 8.3034 | 64.078 | Lighting | Fluorescent
Industrial Lighting | Equipment | Efficient Lighting - Other Interior Lighting |  | LED Linear Tube 22W | 806 | 7.1389 | 6.2268 | 48.7193 | Lighting | LED
Industrial Lighting | Equipment | Efficient Lighting - Other Interior Lighting |  | CFL Screw-in 18W | 803 | 1.3681 | 1.1843 | 9.1347 | Lighting | Fluorescent-CFL
Industrial Lighting | Equipment | Efficient Lighting - Other Interior Lighting |  | CFL Hardwired, Modular 18W | 802 | 1.0653 | 0.92188 | 7.1085 | Lighting | Fluorescent-CFL
Industrial Lighting | Equipment | Efficient Lighting - Other Interior Lighting |  | Flood LED 14W | 807 | 0.81346 | 0.7175 | 1.6955 | Lighting | LED
Industrial Lighting | Equipment | Efficient Lighting - Other Interior Lighting |  | Light cylinders | 411 | 0.24534 | 0.19 | 1.7994 | Lighting | Misc
Industrial Lighting | Controls | Lighting Controls |  | Occupancy Sensor | 805 | 2.2076 | 1.9051 | 14.7587 | Lighting | Controls |  | Time clocks, bi-level fixture controls, photocell controls, and occupancy/vacancy sensors
Streetlighting | Equipment | Lighting Controls - Interior
Streetlighting | Equipment | Efficient Lighting - Exterior
Compressed Air | Compressed Air | Compressed Air System Optimization |  | Compressed Air - System Optimization | 103 | 6.361 | 5.4009 | 42.2994 | Motors | Compressed Air
Compressed Air | Compressed Air | Compressed Air System Optimization |  | Compressed Air- Sizing | 104 | 2.6078 | 2.2142 | 17.3412 | Motors | Compressed Air
Compressed Air | Compressed Air | Compressed Air System Optimization |  | Compressed Air-O&M | 101 | 8.67 | 7.3614 | 57.6533 | Motors | Compressed Air | <-- Behavioral
Compressed Air | Compressed Air | Compressed Air System Optimization |  | Comp Air - Motor practices-1 (100+ HP) | 113 | 0.42216 | 0.35844 | 2.8071 | Motors | Compressed Air | <-- Behavioral
Compressed Air | Compressed Air | Compressed Air System Optimization |  | Comp Air - Motor practices-1 (6-100 HP) | 110 | 0.40303 | 0.34219 | 2.6799 | Motors | Compressed Air | <-- Behavioral
Compressed Air | Compressed Air | Compressed Air System Optimization |  | Comp Air - Motor practices-1 (1-5 HP) | 107 | 0.10745 | 0.091228 | 0.71444 | Motors | Compressed Air | <-- Behavioral
Compressed Air | Compressed Air | Compressed Air Controls |  | Compressed Air - Controls | 102 | 1.6181 | 1.3739 | 10.7601 | Motors | Compressed Air
Compressed Air | Compressed Air | Compressed Air Equipment |  | Comp Air - Replace 6-100 HP motor | 108 | 0.36224 | 0.30757 | 2.4087 | Motors | Compressed Air
Compressed Air | Compressed Air | Compressed Air Equipment |  | Comp Air - Replace 100+ HP motor | 111 | 0.33139 | 0.28137 | 2.2035 | Motors | Compressed Air
Compressed Air | Compressed Air | Compressed Air Equipment |  | Comp Air - ASD (100+ hp) | 112 | 0.16329 | 1.533 | 12.0065 | Motors | Compressed Air
Compressed Air | Compressed Air | Compressed Air Equipment |  | Comp Air - ASD (6-100 hp) | 109 | 0.13442 | 1.262 | 9.8838 | Motors | Compressed Air
Compressed Air | Compressed Air | Compressed Air Equipment |  | Comp Air - Replace 1-5 HP motor | 105 | 0.058101 | 0.049331 | 0.38633 | Motors | Compressed Air
Compressed Air | Compressed Air | Compressed Air Equipment |  | Comp Air - ASD (1-5 hp) | 106 | 0.010475 | 0.098344 | 0.77017 | Motors | Compressed Air
Motors Fans Blowers | Fans | Fan Improved Controls |  | Fans - Controls | 202 | 4.8681 | 4.3525 | 34.4076 | Motors | Fans
Motors Fans Blowers | Fans | Fan System Optimization |  | Fans - System Optimization | 203 | 0.95725 | 1.8122 | 14.3264 | Motors | Fans
Motors Fans Blowers | Fans | Fan System Optimization |  | Fans - O&M | 201 | 0.5738 | 0.51316 | 4.049 | Motors | Fans | <-- Behavioral
Motors Fans Blowers | Fans | Fan System Optimization |  | Fans - Motor practices-1 (100+ HP) | 213 | 0.47763 | 0.42716 | 3.3703 | Motors | Fans | <-- Behavioral
Motors Fans Blowers | Fans | Fan System Optimization |  | Fans - Motor practices-1 (6-100 HP) | 210 | 0.45598 | 0.40779 | 3.2175 | Motors | Fans | <-- Behavioral
Motors Fans Blowers | Fans | Fan System Optimization |  | Fans - Motor practices-1 (1-5 HP) | 207 | 0.10468 | 0.093594 | 0.73989 | Motors | Fans | <-- Behavioral
Motors Fans Blowers | Fans | Fan Equipment Upgrades |  | Fans- Improve components | 204 | 0.58575 | 0.52385 | 4.1334 | Motors | Fans
Motors Fans Blowers | Fans | Fan Equipment Upgrades |  | Fans - Replace 6-100 HP motor | 208 | 0.35293 | 0.31554 | 2.4944 | Motors | Fans
Motors Fans Blowers | Fans | Fan Equipment Upgrades |  | Fans - Replace 100+ HP motor | 211 | 0.32286 | 0.28867 | 2.282 | Motors | Fans
Motors Fans Blowers | Fans | Fan Equipment Upgrades |  | Fans - ASD (100+ hp) | 212 | 0.17606 | 1.741 | 13.7372 | Motors | Fans
Motors Fans Blowers | Fans | Fan Equipment Upgrades |  | Fans - ASD (6-100 hp) | 209 | 0.1074 | 1.062 | 8.38 | Motors | Fans
Motors Fans Blowers | Fans | Fan Equipment Upgrades |  | Fans - Replace 1-5 HP motor | 205 | 0.056606 | 0.05061 | 0.40009 | Motors | Fans
Motors Fans Blowers | Fans | Fan Equipment Upgrades |  | Fans - ASD (1-5 hp) | 206 | 0.0097293 | 0.096183 | 0.76036 | Motors | Fans
Motors Pumps | Pumps | Pump Improved Controls |  | Pumps - Controls | 302 | 11.0792 | 9.9092 | 82.3267 | Motors | Pumps
Motors Pumps | Pumps | Pump System Optimization |  | Pumps - System Optimization | 303 | 8.7307 | 7.8086 | 64.8674 | Motors | Pumps
Motors Pumps | Pumps | Pump System Optimization |  | Pumps - Sizing | 304 | 3.5172 | 3.1458 | 26.1355 | Motors | Pumps
Motors Pumps | Pumps | Pump System Optimization |  | Pumps - O&M | 301 | 3.7751 | 3.3765 | 28.0521 | Motor | Pumps | <-- Behavioral
Motors Pumps | Pumps | Pump System Optimization |  | Pumps - Motor practices-1 (100+ HP) | 313 | 0.52558 | 0.47007 | 3.9049 | Motor | Pumps | <-- Behavioral
Motors Pumps | Pumps | Pump System Optimization |  | Pumps - Motor practices-1 (6-100 HP) | 310 | 0.50175 | 0.44876 | 3.7279 | Motor | Pumps | <-- Behavioral
Motors Pumps | Pumps | Pump System Optimization |  | Pumps - Motor practices-1 (1-5 HP) | 307 | 0.13376 | 0.11963 | 0.9938 | Motor | Pumps | <-- Behavioral
Motors Pumps | Pumps | Pump Equipment Upgrade |  | Pumps - Replace 6-100 HP motor | 308 | 0.45096 | 0.40333 | 3.3505 | Motors | Pumps
Motors Pumps | Pumps | Pump Equipment Upgrade |  | Pumps - Replace 100+ HP motor | 311 | 0.41255 | 0.36898 | 3.0651 | Motors | Pumps
Motors Pumps | Pumps | Pump Equipment Upgrade |  | Pumps - ASD (100+ hp) | 312 | 0.22691 | 2.244 | 18.6437 | Motors | Pumps
Motors Pumps | Pumps | Pump Equipment Upgrade |  | Pumps - ASD (6-100 hp) | 309 | 0.17014 | 1.6826 | 13.9797 | Motors | Pumps
Motors Pumps | Pumps | Pump Equipment Upgrade |  | Pumps - Replace 1-5 HP motor | 305 | 0.072331 | 0.064692 | 0.53739 | Motors | Pumps
Motors Pumps | Pumps | Pump Equipment Upgrade |  | Pumps - ASD (1-5 hp) | 306 | 0.012646 | 0.12506 | 1.0389 | Motors | Pumps
Motors Pumps | Equipment | Motor Equipment Upgrades |  | Replace V-Belts | 404, 901 | 0.42955 | 0.39635 | 2.4364 | Motors | Belts
Motors Pumps | Equipment | Motor Equipment Upgrades |  | Efficient drives - rolling | 426 | 0.076036 | 0.06926 | 0.4227 | Processes | Drives
Motors Pumps | Equipment | Motor Equipment Upgrades |  | Efficient drives | 412 | 0.12894 | 0.099853 | 0.94568 | Motors | Drives
Motors Pumps | Equipment | Motor Equipment Upgrades |  | Drives - EE motor | 405 | 0.6068 | 0.56761 | 4.4053 | Motors | Drives | <-- Codes and Standards
Motors Pumps | Controls | Motor Improved Controls |  | Drives - Process Controls (batch + site) | 415 | 0.40324 | 0.35701 | 3.8452 | Processes | Drives
Motors Pumps | Controls | Motor Improved Controls |  | Drives - Process Control | 425 | 0.06333 | 0.057686 | 0.35207 | Processes | Drives
Motors Pumps | Controls | Motor Improved Controls |  | Process Drives - ASD | 416 | 0.049995 | 0.045315 | 0.48024 | Processes | Drives
Motors Pumps | Controls | Motor Improved Controls |  | Drives - Optimization process (M&T) | 427 | 0.70602 | 0.53351 | 3.9207 | Motors | Drives | <-- Behavioral
Motors Pumps | Drives | Motor Optimization |  | Drives - Scheduling | 428 | 0.068118 | 0.30413 | 2.3777 | Motors | Drives | <-- Behavioral
Process Heating | Heating | Process Heat Improved Controls |  | Heating - Optimization process (M&T) | 510 | 0.44404 | 0.35578 | 2.5215 | Processes | Heating
Process Heating | Heating | Process Heat Improved Controls |  | Heating - Process Control | 508 | 0.15877 | 0.14462 | 0.88264 | Processes | Heating
Process Heating | Heating | Process Heat Improved Controls |  | Heating - Scheduling | 511 | 0.015916 | 0.068203 | 0.48367 | Processes | Controls
Process Heating | Heating | Process Heat System Optimization |  | Optimize drying process | 214 | 0.43203 | 0.39915 | 2.4382 | Processes | Heating
Process Heating | Heating | Process Heat System Optimization |  | Efficient electric melting | 505 | 0.15437 | 0.14061 | 0.85819 | Processes | Heating
Process Heating | Heating | Process Heat Equipment Upgrade |  | Efficient Curing ovens | 509 | 1.442 | 1.2234 | 9.5265 | Processes | Heating
Process Heating | Heating | Process Heat Equipment Upgrade |  | Heat Pumps - Drying | 503 | 0.13034 | 0.12042 | 0.73559 | Processes | Heating
Process Heating | Heating | Process Heat Equipment Upgrade |  | Drying (UV/IR) | 502 | 0.11916 | 0.26331 | 0.82437 | Processes | Heating
Process Heating | Heating | Process Heat Equipment Upgrade |  | Top-heating (glass) | 504 | 0.044148 | 0.041882 | 0.37213 | Processes | Heating
Process Specific | Industry | Process Other Systems Optimization |  | Efficient practices printing press | 409 | 0.6655 | 0.51538 | 4.881 | Processes | Industry
Process Specific | Industry | Process Other Systems Optimization |  | Efficient processes (welding, etc.) | 604 | 0.63327 | 0.55003 | 4.6449 | Processes | Industry
Process Specific | Industry | Process Other Systems Optimization |  | Membranes for wastewater | 902 | 0.016155 | 0.020459 | 0.064052 | Processes | Industry
Process Specific | Industry | Process Other Systems Optimization |  | Clean Room - Controls | 413 | 0.42408 | 0.36724 | 3.5165 | HVAC | Controls
Process Specific | Industry | Process Other Systems Optimization |  | Clean Room - New Designs | 414 | 0.16444 | 0.14126 | 1.7818 | HVAC | AC | <-- Design measures (incl. insulation or other)
Process Specific | Industry | Process Other Systems Optimization |  | Bakery - Process (Mixing) - O&M | 401 | 1.3051 | 1.1813 | 9.498 | Processes | Industry | <-- Behavioral
Process Specific | Industry | Process Other Systems Optimization |  | O&M/drives spinning machines | 402 | 0.50644 | 0.64138 | 2.008 | Processes | Industry | <-- Behavioral
Process Specific | Industry | Process Other Systems Optimization |  | O&M - Extruders/Injection Moulding | 417 | 0.42712 | 0.37952 | 3.0077 | Processes | Industry | <-- Behavioral
Process Specific | Industry | Process Other Equipment Upgrades |  | Extruders/injection Moulding-multipump | 418 | 0.60696 | 0.53931 | 4.2741 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Efficient Printing press (fewer cylinders) | 410 | 0.56429 | 0.437 | 4.1387 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Bakery - Process | 501 | 0.5159 | 0.46694 | 3.7545 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | New transformers welding | 603 | 0.48459 | 0.38943 | 2.8246 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Efficient grinding | 422 | 0.43444 | 0.41214 | 3.662 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Machinery | 429 | 0.41009 | 0.31955 | 2.3766 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Direct drive Extruders | 419 | 0.31184 | 0.27709 | 2.1959 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Injection Moulding - Impulse Cooling | 420 | 0.22063 | 0.19604 | 1.5536 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Air conveying systems | 403 | 0.219 | 0.83539 | 5.1029 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Injection Moulding - Direct drive | 421 | 0.19261 | 0.17114 | 1.3563 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Gap Forming papermachine | 406 | 0.12062 | 0.11375 | 1.037 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | High Consistency forming | 407 | 0.11665 | 0.11001 | 1.0029 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Efficient Machinery | 430 | 0.051545 | 0.04934 | 0.42698 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Near Net Shape Casting | 507 | 0.042122 | 0.038368 | 0.23417 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Intelligent extruder (DOE) | 506 | 0.0030626 | 0.0027896 | 0.017026 | Processes | Industry
Process Specific | Industry | Process Other Equipment Upgrades |  | Efficient desalter | 602 | 0.00071804 | 0.0006669 | 0.0080826 | Processes | Industry
Process Cooling | Refrigeration | Process Refrig System Optimization |  | Optimization Refrigeration | 552 | 1.8374 | 0.99784 | 10.6976 | Refrigeration | Controls
Process Cooling | Refrigeration | Process Refrig System Optimization |  | Efficient Refrigeration - Operations | 551 | 1.0627 | 0.5771 | 6.187 | Refrigeration | Industry | <-- Behavioral
Process Cooling | Refrigeration | Process Refrig Controls
Process Cooliing | Refrigeration | Process Refrig Equipment Upgrade
Processes (All) | Misc | Plant Energy Management |  | Optimization control PM | 408 | 0.35433 | 0.33415 | 3.0462 | Processes | Controls |  | Facility control technologies and optimization
Processes (All) | Misc | Plant Energy Management |  | Other Process Controls (batch + site) | 601 | 0.21489 | 0.1846 | 2.3285 | Processes | Controls
Processes (All) | Misc | Plant Energy Management |  | Process control | 423, 605 | 0.093128 | 0.08838 | 0.78444 | Processes | Controls
Processes (All) | Misc | Plant Energy Management |  | Process optimization | 424 | 0.058545 | 0.05554 | 0.49348 | Processes | Controls
Processes (All) | Misc | Plant Energy Management |  | Power recovery | 114, 215, 314, 606 | 0.0042637 | 0.00396 | 0.047994 | Pwr Mgmt | Misc
Processes (All) | Misc | Plant Energy Management |  | Refinery Controls | 115, 216, 315, 607 | 0.024772 | 0.023007 | 0.27884 | Processes | Controls
|  |  |  | Eliminated |  | 20.9976 | 18.3356 | 145.0963
[6 empty] | 13.85% | 17.79% | 14.2%