## Eagle Ridge
249/449 (673) Eagle Ridge - 2019
| Operating Permit No.: | FLA014498 |  |  | Expires: | 2023-03-29
| Plant Permitted Capacity: | 0.443 mgd TMADF | [6 empty] | From Historical Data Table |  |  |  |  | Hyperlinks!A1
|  | 0.318 mgd TWADF (extended aeration mode) | [6 empty] | From Daily Flow Worksheet
| Perc Ponds/Surf Discharge: | N/A | [6 empty] | Manual data entry from DMR
| Reuse/Public Access: | 0.443 mgd
| Flow (FLW-1) |  |  | CBOD5 |  |  | TSS | pH |  | Fecal Coliform | TRC | CBOD | TSS | Flow FLW-2 | Flow FLW-2 | Flow FLW-4 | Flow FLW-4
| 3 MoAvg | Mo Avg | Peak | An Avg | Mo Avg | Max | Max | Min | Max | Max | Min | INF | INF | Mo Avg | 3 MoAvg | Mo Avg | 3 MoAvg
| MGD | mgd | mgd | mg/L | mg/L | mg/L | mg/L | SU | SU | #/100ml | mg/L | mg/L | mg/L | mgd | mgd | mgd | mgd
Limit | Qtrly. | 0.443 |  | 20 | Report 30.0 | 60 | 5 | 6 | 8.5 | 25 | 1 | Mo Avg | Mo Avg | FLW-2 | calculate | FLW-4 | calculate
2019-01-01 | 0.206 | 0.21971 | 0.277 | 1 | 2 | 5 | 0.8 | 6.5 | 7.2 | <1 | 1.8 | 334 | 418 | 0.20916 | 0.22159 | 0.02 | 0.020036
February | 0.213 | 0.22411 | 0.256 | <1 | <1 | <1 | 5.3 | 6.6 | 7.2 | <1 | 1.8 | 137 | 357 | 0.22 | 0.21644 | 0.022143 | 0.019455
March | 0.22 | 0.21429 | 0.258 | 2 | 2 | 2 | 3.9 | 6.8 | 7.2 | <1 | 2 | 283 | 423 | 0.21142 | 0.20083 | 0.019355 | 0.018875
April | 0.212 | 0.2013 | 0.226 | <1 | 3 | 3 | 5.4 | 6.7 | 7.2 | <1 | 1.3 | 249 | 418 | 0.2014 | 0.19499 | 0.032 | 0.018832
May | 0.204 | 0.19229 | 0.221 | 20 | 4 | 4 | 4.8 |  | 6.2 | 7.3 | 1.4 | 220 | 345 | 0.18319 | 0.18844 | 0.04 | 0.019233
June | 0.195 | 0.25177 | 1.922 | 15 | 3 | 3 | 2.9 | 7.1 | 6.4 | <1 | 1.4 | 160 | 291 | 0.19123 | 0.19686 | 0.024667 | 0.019634
July | 0.199 | 0.21294 | 0.234 | <1 | 1.1 | 1 | 0.8 | 6.7 | 7.2 | <1 | 1.4 | 205 | 197 | 0.21274 | 0.19559 | 0.04 | 0.019785
August | 0.199 | 0.19445 | 0.22 | <2.0 | <2.0 | <2.0 | 4.4 | 6.6 | 7.3 | <1 | 1.4 | 128 | 215 | 0.20184 | 0.197 | 0.0019355 | 0.019857
September | 0.192 | 0.17743 | 0.198 | 2 | 4 | 6 | 1.3 | 6.4 | 7.3 | <1 | 1.9 | 224 | 189 | 0.1664 | 0.19042 | 0.00066667 | 0.01978
October | 0.194 | 0.19013 | 0.285 | 2.5 | 4 | 6 | 0.6 | 6.5 | 7.3 | <1 | 1.6 | 205 | 195 | 0.18977 | 0.19619 | 0.018065 | 0.020205
November | 0.188 | 0.1979 | 0.221 | 1.1 | 4 | 4 | 0.7 | 6.3 | 7.3 | <1 | 2.4 | 227 | 262 | 0.1933 | 0.20314 | 0 | 0.020559
December | 0.197 | 0.20468 | 0.307 | 4 | 4 | 5 | 0.6 | 6.3 | 7.4 | <1 | 4.5 | 181 | 306 | 0.20519 | 0.21048 | 0.0092258 | 0.021447
Average | 0.20118 | 0.20557 | 0.38542 | 6.6571 | 3.2333 | 3.7778 | 2.7909 | 6.6 | 7.0909 | 7.3 | 1.9182 | 201.7273 | 290.7273 | 0.19786 |  | 0.018914
Minimum | 0.188 | 0.17743 | 0.198 | 1 | 1.1 | 1 | 0.6 | 6.3 | 6.2 | 7.3 | 1.3 | 128 | 189 | 0.1664 |  | 0
Maximum | 0.22 | 0.25177 | 1.922 | 20 | 4 | 6 | 5.4 | 7.1 | 7.4 | 7.3 | 4.5 | 334 | 423 | 0.22 |  | 0.04
Historical Data
| Reuse | CBOD | Reuse | FLW2 | FLW4 | FLW4 | FLW 01
| MoAvg | MoAvg | 3 MoAvg | MoAvg | MoAvg | 3 MoAvg | 12RAA
R12MOAVG | 0.21307 | 27.5 |  | 0.22179 | 0.030761 |  |  | Change formula before entering the next month's data
2018-01-01 | 0.2319 | 30 | 0.22155 | 0.21923 | 0.020645 | 0.020323 | 0.21303
February | 0.22543 | 2 | 0.22867 | 0.23929 | 0.02 | 0.020323 | 0.21178 | 1 | Copy/Paste Value' the 2018 Historical Data from the 2018 DMR Summaries workbook.
March | 0.21194 | 2 | 0.22309 | 0.20626 | 0.017742 | 0.019462 | 0.21053 | 2 | Enter in the formulas/links into the 2019 Table below and also the formulas in row 36
April | 0.21327 | <2 | 0.21688 | 0.20377 | 0.018 | 0.018581 | 0.21076 | [10 empty] | Email 10-24-19
May | 0.19587 | <1 | 0.20702 | 0.19245 | 0.02 | 0.018581 | 0.21061
June | 0.19807 | <1 | 0.2024 | 0.18877 | 0.02 | 0.019333 | 0.21013
July | 0.197 | 1.5 | 0.19698 | 0.1841 | 0.019355 | 0.019785 | 0.21049
August | 0.20077 | <1 | 0.19861 | 0.21771 | 0.02 | 0.019785 | 0.20814
September | 0.19207 | <1 | 0.19661 | 0.18497 | 0.02 | 0.019785 | 0.20852
October | 0.1921 | 2 | 0.19498 | 0.18832 | 0.02 | 0.02 | 0.20633
November | 0.20445 | 2 | 0.19621 | 0.19797 | 0.018667 | 0.019556 | 0.20571
December | 0.21223 | 2 | 0.20292 | 0.20229 | 0.024516 | 0.021061 | 0.20626
2019-01-01 | 0.21971 | 2 | 0.21213 | 0.20916 | 0.02 | 0.021061 | 0.20524
February | 0.22411 | <1 | 0.21868 | 0.22 | 0.022143 | 0.02222 | 0.20513
March | 0.21429 | 2 | 0.21937 | 0.21142 | 0.019355 | 0.020499 | 0.20533
April | 0.2013 | 3 | 0.21323 | 0.2014 | 0.032 | 0.024499 | 0.20433
May | 0.19229 | 4 | 0.20263 | 0.18319 | 0.04 | 0.030452 | 0.20403
June | 0.25177 | 3 | 0.21512 | 0.19123 | 0.024667 | 0.032222 | 0.20851
July | 0.21294 | 1.1 | 0.219 | 0.21274 | 0.04 | 0.034889 | 0.20983
August | 0.19445 | <2.0 | 0.21972 | 0.20184 | 0.0019355 | 0.022201 | 0.20931
September | 0.17743 | 4 | 0.19494 | 0.1664 | 0.00066667 | 0.014201 | 0.20809
October | 0.19013 | 4 | 0.18734 | 0.18977 | 0.018065 | 0.0068889 | 0.20792
November | 0.1979 | 4 | 0.18849 | 0.1933 | 0 | 0.0062437 | 0.20738
December | 0.20468 | 4 | 0.19757 | 0.20519 | 0.0092258 | 0.0090968 | 0.20675
Note on E10: From page 1 of DMR 'BOD, Carbonaceous 5 day, 20C PARM Code 80082 EFA-1'
Note on H10: From page 2 of DMR 'Solids, Total Suspended PARM Code 00530 EFB-1'
Note on I10: From page 1 of DMR 'pH PARM Code 00400 EFA-1'
Note on K10: From page 2 of DMR 'Coliform, Fecal PARM Code 74055 EFA-2'
Note on L10: From page 1 of DMR Total Residual Chlorine (For Disinfection) PARM Code 50060 EFA-1'
Note on M10: From page 2 of DMR 'BOD, Carbonaceous 5 day, 30C PARM Code 80082 INF-1'
Note on N10: From page 2 of DMR 'Solids, Total Suspended PARM Code 00530 INF-1'
Note on H15: Jacquee Chandler: TSS High from sample line. Replaced

## Eagle Ridge Flow Summary
2019 Eagle Ridge DMR Flow Summary | [5 empty] | Hyperlinks!A1
System List'!A1
FLW-1 |  | Note: Copy flows from Part B Excel file. (Max) | [30 empty] | FLW-1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total | Avg | Max
2019-01-01 | 0.231 | 0.222 | 0.208 | 0.204 | 0.214 | 0.23 | 0.215 | 0.216 | 0.214 | 0.216 | 0.209 | 0.225 | 0.244 | 0.209 | 0.201 | 0.227 | 0.198 | 0.212 | 0.202 | 0.228 | 0.222 | 0.222 | 0.204 | 0.212 | 0.209 | 0.231 | 0.277 | 0.224 | 0.248 | 0.22 | 0.217 |  | 6.811 | 0.21971 | 0.277
February | 0.203 | 0.23 | 0.246 | 0.229 | 0.217 | 0.23 | 0.223 | 0.206 | 0.233 | 0.256 | 0.224 | 0.234 | 0.208 | 0.224 | 0.205 | 0.214 | 0.227 | 0.227 | 0.218 | 0.203 | 0.229 | 0.216 | 0.228 | 0.254 | 0.203 | 0.245 | 0.217 | 0.226 |  |  |  |  | 6.275 | 0.22411 | 0.256
March | 0.21 | 0.224 | 0.243 | 0.214 | 0.212 | 0.213 | 0.212 | 0.208 | 0.216 | 0.243 | 0.207 | 0.202 | 0.208 | 0.206 | 0.205 | 0.215 | 0.226 | 0.217 | 0.207 | 0.211 | 0.205 | 0.216 | 0.167 | 0.258 | 0.227 | 0.204 | 0.211 | 0.206 | 0.198 | 0.218 | 0.234 |  | 6.643 | 0.21429 | 0.258
April | 0.209 | 0.206 | 0.196 | 0.197 | 0.191 | 0.204 | 0.223 | 0.189 | 0.214 | 0.182 | 0.199 | 0.185 | 0.208 | 0.22 | 0.202 | 0.202 | 0.193 | 0.192 | 0.194 | 0.205 | 0.211 | 0.208 | 0.199 | 0.195 | 0.187 | 0.207 | 0.214 | 0.226 | 0.194 | 0.187 |  |  | 6.039 | 0.2013 | 0.226
May | 0.185 | 0.202 | 0.161 | 0.19 | 0.202 | 0.181 | 0.216 | 0.184 | 0.183 | 0.192 | 0.204 | 0.212 | 0.194 | 0.186 | 0.187 | 0.186 | 0.181 | 0.189 | 0.211 | 0.192 | 0.181 | 0.183 | 0.193 | 0.187 | 0.198 | 0.199 | 0.221 | 0.194 | 0.196 | 0.185 | 0.186 |  | 5.961 | 0.19229 | 0.221
June | 0.196 | 0.2 | 0.185 | 0.181 | 0.178 | 0.185 | 0.182 | 0.202 | 0.2 | 1.922 | 0.167 | 0.188 | 0.187 | 0.193 | 0.203 | 0.218 | 0.193 | 0.192 | 0.173 | 0.173 | 0.209 | 0.226 | 0.231 | 0.203 | 0.208 | 0.186 | 0.174 | 0.2 | 0.205 | 0.193 |  |  | 7.553 | 0.25177 | 1.922
July | 0.188 | 0.209 | 0.217 | 0.214 | 0.225 | 0.22 | 0.226 | 0.213 | 0.222 | 0.208 | 0.213 | 0.221 | 0.223 | 0.221 | 0.21 | 0.21 | 0.206 | 0.214 | 0.228 | 0.219 | 0.234 | 0.23 | 0.219 | 0.212 | 0.227 | 0.201 | 0.22 | 0.195 | 0.184 | 0.19 | 0.182 |  | 6.601 | 0.21294 | 0.234
August | 0.187 | 0.189 | 0.189 | 0.206 | 0.22 | 0.195 | 0.2 | 0.194 | 0.191 | 0.165 | 0.215 | 0.199 | 0.197 | 0.192 | 0.192 | 0.198 | 0.202 | 0.211 | 0.201 | 0.18 | 0.197 | 0.197 | 0.185 | 0.216 | 0.201 | 0.195 | 0.186 | 0.192 | 0.174 | 0.178 | 0.184 |  | 6.028 | 0.19445 | 0.22
September | 0.18 | 0.197 | 0.182 | 0.18 | 0.176 | 0.176 | 0.191 | 0.196 | 0.174 | 0.171 | 0.168 | 0.172 | 0.169 | 0.176 | 0.196 | 0.172 | 0.168 | 0.178 | 0.172 | 0.159 | 0.183 | 0.191 | 0.173 | 0.176 | 0.198 | 0.166 | 0.169 | 0.13 | 0.198 | 0.186 |  |  | 5.323 | 0.17743 | 0.198
October | 0.193 | 0.171 | 0.184 | 0.17 | 0.193 | 0.205 | 0.166 | 0.175 | 0.223 | 0.176 | 0.177 | 0.285 | 0.219 | 0.19 | 0.189 | 0.183 | 0.182 | 0.174 | 0.172 | 0.202 | 0.181 | 0.184 | 0.186 | 0.174 | 0.184 | 0.191 | 0.209 | 0.184 | 0.178 | 0.203 | 0.191 |  | 5.894 | 0.19013 | 0.285
November | 0.19 | 0.192 | 0.211 | 0.199 | 0.191 | 0.19 | 0.192 | 0.181 | 0.196 | 0.203 | 0.204 | 0.203 | 0.196 | 0.193 | 0.192 | 0.216 | 0.21 | 0.198 | 0.195 | 0.203 | 0.192 | 0.185 | 0.204 | 0.221 | 0.198 | 0.193 | 0.197 | 0.203 | 0.186 | 0.203 |  |  | 5.937 | 0.1979 | 0.221
December | 0.204 | 0.201 | 0.192 | 0.197 | 0.188 | 0.179 | 0.209 | 0.213 | 0.191 | 0.184 | 0.194 | 0.184 | 0.192 | 0.204 | 0.197 | 0.194 | 0.192 | 0.196 | 0.198 | 0.2 | 0.307 | 0.214 | 0.204 | 0.21 | 0.208 | 0.213 | 0.2 | 0.21 | 0.219 | 0.22 | 0.231 | 0.203 | 6.548 | 0.20468 | 0.307
FLW-2 | [32 empty] | FLW-2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total | Avg | Max
2019-01-01 | 0.182 | 0.192 | 0.197 | 0.165 | 0.189 | 0.199 | 0.208 | 0.256 | 0.217 | 0.197 | 0.186 | 0.214 | 0.226 | 0.2 | 0.209 | 0.209 | 0.209 | 0.198 | 0.221 | 0.222 | 0.199 | 0.232 | 0.2 | 0.218 | 0.204 | 0.218 | 0.197 | 0.233 | 0.237 | 0.224 | 0.226 |  | 6.484 | 0.20916 | 0.256
February | 0.214 | 0.229 | 0.195 | 0.208 | 0.207 | 0.225 | 0.197 | 0.179 | 0.183 | 0.215 | 0.236 | 0.223 | 0.251 | 0.203 | 0.191 | 0.219 | 0.233 | 0.221 | 0.234 | 0.191 | 0.218 | 0.206 | 0.135 | 0.337 | 0.225 | 0.276 | 0.275 | 0.234 |  |  |  |  | 6.16 | 0.22 | 0.337
March | 0.183 | 0.215 | 0.235 | 0.23 | 0.239 | 0.248 | 0.22 | 0.221 | 0.203 | 0.211 | 0.208 | 0.3 | 0.267 | 0.219 | 0.209 | 0.203 | 0.162 | 0.166 | 0.202 | 0.211 | 0.158 | 0.249 | 0.184 | 0.256 | 0.16 | 0.2 | 0.15 | 0.228 | 0.183 | 0.212 | 0.222 |  | 6.554 | 0.21142 | 0.3
April | 0.099 | 0.176 | 0.194 | 0.174 | 0.161 | 0.164 | 0.176 | 0.178 | 0.199 | 0.198 | 0.249 | 0.147 | 0.231 | 0.228 | 0.211 | 0.188 | 0.215 | 0.22 | 0.234 | 0.243 | 0.25 | 0.244 | 0.225 | 0.202 | 0.268 | 0.128 | 0.227 | 0.218 | 0.204 | 0.191 |  |  | 6.042 | 0.2014 | 0.268
May | 0.18 | 0.18 | 0.157 | 0.188 | 0.196 | 0.206 | 0.183 | 0.171 | 0.171 | 0.169 | 0.185 | 0.185 | 0.207 | 0.186 | 0.151 | 0.177 | 0.166 | 0.187 | 0.193 | 0.115 | 0.165 | 0.198 | 0.203 | 0.203 | 0.224 | 0.225 | 0.219 | 0.159 | 0.169 | 0.187 | 0.174 |  | 5.679 | 0.18319 | 0.225
June | 0.184 | 0.193 | 0.186 | 0.173 | 0.173 | 0.231 | 0.219 | 0.194 | 0.203 | 0.174 | 0.155 | 0.214 | 0.163 | 0.197 | 0.194 | 0.203 | 0.201 | 0.2 | 0.129 | 0.129 | 0.215 | 0.213 | 0.208 | 0.22 | 0.195 | 0.175 | 0.194 | 0.204 | 0.206 | 0.192 |  |  | 5.737 | 0.19123 | 0.231
July | 0.183 | 0.197 | 0.201 | 0.201 | 0.281 | 0.264 | 0.254 | 0.207 | 0.262 | 0.234 | 0.19 | 0.207 | 0.216 | 0.216 | 0.23 | 0.2 | 0.198 | 0.207 | 0.204 | 0.212 | 0.217 | 0.231 | 0.225 | 0.194 | 0.243 | 0.195 | 0.18 | 0.191 | 0.202 | 0.161 | 0.192 |  | 6.595 | 0.21274 | 0.281
August | 0.168 | 0.184 | 0.224 | 0.193 | 0.218 | 0.224 | 0.179 | 0.223 | 0.226 | 0.202 | 0.207 | 0.192 | 0.238 | 0.245 | 0.221 | 0.204 | 0.202 | 0.198 | 0.2 | 0.181 | 0.176 | 0.197 | 0.144 | 0.225 | 0.228 | 0.199 | 0.179 | 0.178 | 0.17 | 0.23 | 0.202 |  | 6.257 | 0.20184 | 0.245
September | 0.186 | 0.185 | 0.171 | 0.173 | 0.179 | 0.175 | 0.185 | 0.193 | 0.182 | 0.136 | 0.13 | 0.137 | 0.162 | 0.277 | 0.184 | 0.163 | 0.13 | 0.133 | 0.134 | 0.119 | 0.172 | 0.169 | 0.14 | 0.132 | 0.156 | 0.139 | 0.17 | 0.165 | 0.209 | 0.206 |  |  | 4.992 | 0.1664 | 0.277
October | 0.144 | 0.164 | 0.187 | 0.19 | 0.194 | 0.227 | 0.196 | 0.189 | 0.316 | 0.102 | 0.179 | 0.227 | 0.208 | 0.202 | 0.191 | 0.199 | 0.195 | 0.18 | 0.193 | 0.183 | 0.187 | 0.178 | 0.183 | 0.177 | 0.177 | 0.184 | 0.198 | 0.178 | 0.181 | 0.185 | 0.189 |  | 5.883 | 0.18977 | 0.316
November | 0.207 | 0.209 | 0.215 | 0.195 | 0.195 | 0.194 | 0.163 | 0.124 | 0.238 | 0.229 | 0.201 | 0.178 | 0.189 | 0.175 | 0.19 | 0.2 | 0.207 | 0.197 | 0.19 | 0.207 | 0.188 | 0.181 | 0.197 | 0.21 | 0.183 | 0.176 | 0.184 | 0.191 | 0.193 | 0.193 |  |  | 5.799 | 0.1933 | 0.238
December | 0.208 | 0.197 | 0.196 | 0.208 | 0.184 | 0.183 | 0.189 | 0.208 | 0.186 | 0.171 | 0.18 | 0.165 | 0.192 | 0.157 | 0.14 | 0.166 | 0.182 | 0.213 | 0.175 | 0.171 | 0.212 | 0.244 | 0.217 | 0.281 | 0.281 | 0.268 | 0.229 | 0.221 | 0.21 | 0.203 | 0.324 | 0.203 | 6.564 | 0.20519 | 0.324
FLW-3 removed from DMR May 2014
FLW-4 | [32 empty] | FLW-4
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total | Avg | Max
2019-01-01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 |  | 0.62 | 0.02 | 0.02
February | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.04 | 0.04 | 0.04 |  |  |  |  | 0.62 | 0.022143 | 0.04
March | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0 | 0.02 | 0.02 | 0 | 0 | 0 | 0 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.04 | 0.04 | 0.04 | 0.04 |  | 0.6 | 0.019355 | 0.04
April | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0.96 | 0.032 | 0.04
May | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 |  | 1.24 | 0.04 | 0.04
June | 0.02 | 0.02 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0 | 0.02 | 0.02 | 0 | 0 | 0 | 0 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.04 | 0.04 | 0.04 | 0.04 | 0.02 | 0.02 | 0.02 | 0.02 |  |  | 0.74 | 0.024667 | 0.04
July | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 |  | 1.24 | 0.04 | 0.04
August | 0.004 | 0.004 | 0 | 0 | 0 | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 0 | 0 | 0 |  | 0.06 | 0.0019355 | 0.004
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0.02 | 0.00066667 | 0.02
October | 0.02 | 0.02 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.56 | 0.018065 | 0.04
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0
December | 0 | 0 | 0 | 0.003 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.04 | 0.04 | 0.04 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0.203 | 0.286 | 0.0092258 | 0.04
Total | [32 empty] | Total
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total | Avg | Max
2019-01-01 | 0.433 | 0.434 | 0.425 | 0.389 | 0.423 | 0.449 | 0.443 | 0.492 | 0.451 | 0.433 | 0.415 | 0.459 | 0.49 | 0.429 | 0.43 | 0.456 | 0.427 | 0.43 | 0.443 | 0.47 | 0.441 | 0.474 | 0.424 | 0.45 | 0.433 | 0.469 | 0.494 | 0.477 | 0.505 | 0.464 | 0.463 |  | 13.915 | 0.44887 | 0.505
February | 0.437 | 0.479 | 0.461 | 0.457 | 0.444 | 0.475 | 0.44 | 0.405 | 0.436 | 0.491 | 0.48 | 0.477 | 0.479 | 0.447 | 0.416 | 0.453 | 0.48 | 0.468 | 0.472 | 0.414 | 0.467 | 0.442 | 0.383 | 0.611 | 0.448 | 0.561 | 0.532 | 0.5 | 0 |  |  |  | 13.055 | 0.45017 | 0.611
March | 0.413 | 0.459 | 0.498 | 0.464 | 0.471 | 0.481 | 0.452 | 0.449 | 0.439 | 0.474 | 0.415 | 0.522 | 0.495 | 0.425 | 0.414 | 0.418 | 0.388 | 0.403 | 0.429 | 0.442 | 0.383 | 0.485 | 0.371 | 0.534 | 0.407 | 0.424 | 0.381 | 0.474 | 0.421 | 0.47 | 0.496 |  | 13.797 | 0.44506 | 0.534
April | 0.348 | 0.422 | 0.43 | 0.411 | 0.392 | 0.408 | 0.439 | 0.407 | 0.453 | 0.42 | 0.488 | 0.372 | 0.479 | 0.488 | 0.453 | 0.43 | 0.448 | 0.452 | 0.468 | 0.488 | 0.501 | 0.492 | 0.464 | 0.437 | 0.455 | 0.335 | 0.441 | 0.444 | 0.398 | 0.378 |  |  | 13.041 | 0.4347 | 0.501
May | 0.405 | 0.422 | 0.358 | 0.418 | 0.438 | 0.427 | 0.439 | 0.395 | 0.394 | 0.401 | 0.429 | 0.437 | 0.441 | 0.412 | 0.378 | 0.403 | 0.387 | 0.416 | 0.444 | 0.347 | 0.386 | 0.421 | 0.436 | 0.43 | 0.462 | 0.464 | 0.48 | 0.393 | 0.405 | 0.412 | 0.4 |  | 12.88 | 0.41548 | 0.48
June | 0.4 | 0.413 | 0.411 | 0.394 | 0.391 | 0.456 | 0.441 | 0.436 | 0.443 | 2.136 | 0.322 | 0.422 | 0.37 | 0.39 | 0.397 | 0.421 | 0.394 | 0.412 | 0.322 | 0.322 | 0.444 | 0.459 | 0.479 | 0.463 | 0.443 | 0.401 | 0.388 | 0.424 | 0.431 | 0.405 |  |  | 14.03 | 0.46767 | 2.136
July | 0.411 | 0.446 | 0.458 | 0.455 | 0.546 | 0.524 | 0.52 | 0.46 | 0.524 | 0.482 | 0.443 | 0.468 | 0.479 | 0.477 | 0.48 | 0.45 | 0.444 | 0.461 | 0.472 | 0.471 | 0.491 | 0.501 | 0.484 | 0.446 | 0.51 | 0.436 | 0.44 | 0.426 | 0.426 | 0.391 | 0.414 |  | 14.436 | 0.46568 | 0.546
August | 0.359 | 0.377 | 0.413 | 0.399 | 0.438 | 0.423 | 0.383 | 0.421 | 0.421 | 0.371 | 0.426 | 0.395 | 0.439 | 0.441 | 0.417 | 0.406 | 0.408 | 0.409 | 0.401 | 0.361 | 0.373 | 0.394 | 0.329 | 0.441 | 0.429 | 0.394 | 0.365 | 0.374 | 0.344 | 0.408 | 0.386 |  | 12.345 | 0.39823 | 0.441
September | 0.366 | 0.382 | 0.353 | 0.353 | 0.355 | 0.351 | 0.376 | 0.389 | 0.356 | 0.307 | 0.298 | 0.309 | 0.331 | 0.453 | 0.38 | 0.335 | 0.298 | 0.311 | 0.306 | 0.278 | 0.375 | 0.36 | 0.313 | 0.308 | 0.354 | 0.305 | 0.339 | 0.295 | 0.407 | 0.392 |  |  | 10.335 | 0.3445 | 0.453
October | 0.357 | 0.355 | 0.411 | 0.4 | 0.427 | 0.472 | 0.402 | 0.404 | 0.579 | 0.318 | 0.396 | 0.552 | 0.467 | 0.432 | 0.42 | 0.382 | 0.377 | 0.354 | 0.365 | 0.385 | 0.368 | 0.362 | 0.369 | 0.351 | 0.361 | 0.375 | 0.407 | 0.362 | 0.359 | 0.388 | 0.38 |  | 12.337 | 0.39797 | 0.579
November | 0.397 | 0.401 | 0.426 | 0.394 | 0.386 | 0.384 | 0.355 | 0.305 | 0.434 | 0.432 | 0.405 | 0.381 | 0.385 | 0.368 | 0.382 | 0.416 | 0.417 | 0.395 | 0.385 | 0.41 | 0.38 | 0.366 | 0.401 | 0.431 | 0.381 | 0.369 | 0.381 | 0.394 | 0.379 | 0.396 |  |  | 11.736 | 0.3912 | 0.434
December | 0.412 | 0.398 | 0.388 | 0.408 | 0.375 | 0.362 | 0.398 | 0.421 | 0.377 | 0.355 | 0.374 | 0.349 | 0.404 | 0.361 | 0.337 | 0.36 | 0.374 | 0.429 | 0.393 | 0.391 | 0.539 | 0.478 | 0.461 | 0.531 | 0.529 | 0.521 | 0.429 | 0.431 | 0.429 | 0.423 | 0.555 |  | 12.992 | 0.4191 | 0.555
|  |  | FLW 1 | FLW2 | FLW4 |  |  |  | FLW 1 |  | FLW2 |  | FLW4
|  | 1 | 0.231 | 0.182 | 0.02 |  |  | 1 | 204 | 0.204 | 208 | 0.208 | 0 | 0
|  | 2 | 0.222 | 0.192 | 0.02 |  |  | 2 | 201 | 0.201 | 197 | 0.197 | 0 | 0
|  | 3 | 0.208 | 0.197 | 0.02 |  |  | 3 | 192 | 0.192 | 196 | 0.196 | 0 | 0
|  | 4 | 0.204 | 0.165 | 0.02 |  |  | 4 | 197 | 0.197 | 208 | 0.208 | 3 | 0.003
|  | 5 | 0.214 | 0.189 | 0.02 |  |  | 5 | 188 | 0.188 | 184 | 0.184 | 3 | 0.003
|  | 6 | 0.23 | 0.199 | 0.02 |  |  | 6 | 179 | 0.179 | 183 | 0.183 | 0 | 0
|  | 7 | 0.215 | 0.208 | 0.02 |  |  | 7 | 209 | 0.209 | 189 | 0.189 | 0 | 0
|  | 8 | 0.216 | 0.256 | 0.02 |  |  | 8 | 213 | 0.213 | 208 | 0.208 | 0 | 0
|  | 9 | 0.214 | 0.217 | 0.02 |  |  | 9 | 191 | 0.191 | 186 | 0.186 | 0 | 0
|  | 10 | 0.216 | 0.197 | 0.02 |  |  | 10 | 184 | 0.184 | 171 | 0.171 | 0 | 0
|  | 11 | 0.209 | 0.186 | 0.02 |  |  | 11 | 194 | 0.194 | 180 | 0.18 | 0 | 0
|  | 12 | 0.225 | 0.214 | 0.02 |  |  | 12 | 184 | 0.184 | 165 | 0.165 | 0 | 0
|  | 13 | 0.244 | 0.226 | 0.02 |  |  | 13 | 192 | 0.192 | 192 | 0.192 | 20 | 0.02
|  | 14 | 0.209 | 0.2 | 0.02 |  |  | 14 | 204 | 0.204 | 157 | 0.157 | 0 | 0
|  | 15 | 0.201 | 0.209 | 0.02 |  |  | 15 | 197 | 0.197 | 140 | 0.14 | 0 | 0
|  | 16 | 0.227 | 0.209 | 0.02 |  |  | 16 | 194 | 0.194 | 166 | 0.166 | 0 | 0
|  | 17 | 0.198 | 0.209 | 0.02 |  |  | 17 | 192 | 0.192 | 182 | 0.182 | 0 | 0
|  | 18 | 0.212 | 0.198 | 0.02 |  |  | 18 | 196 | 0.196 | 213 | 0.213 | 20 | 0.02
|  | 19 | 0.202 | 0.221 | 0.02 |  |  | 19 | 198 | 0.198 | 175 | 0.175 | 20 | 0.02
|  | 20 | 0.228 | 0.222 | 0.02 |  |  | 20 | 200 | 0.2 | 171 | 0.171 | 20 | 0.02
|  | 21 | 0.222 | 0.199 | 0.02 |  |  | 21 | 307 | 0.307 | 212 | 0.212 | 20 | 0.02
|  | 22 | 0.222 | 0.232 | 0.02 |  |  | 22 | 214 | 0.214 | 244 | 0.244 | 20 | 0.02
|  | 23 | 0.204 | 0.2 | 0.02 |  |  | 23 | 204 | 0.204 | 217 | 0.217 | 40 | 0.04
|  | 24 | 0.212 | 0.218 | 0.02 |  |  | 24 | 210 | 0.21 | 281 | 0.281 | 40 | 0.04
|  | 25 | 0.209 | 0.204 | 0.02 |  |  | 25 | 208 | 0.208 | 281 | 0.281 | 40 | 0.04
|  | 26 | 0.231 | 0.218 | 0.02 |  |  | 26 | 213 | 0.213 | 268 | 0.268 | 40 | 0.04
|  | 27 | 0.277 | 0.197 | 0.02 |  |  | 27 | 200 | 0.2 | 229 | 0.229 | 0 | 0
|  | 28 | 0.224 | 0.233 | 0.02 |  |  | 28 | 210 | 0.21 | 221 | 0.221 | 0 | 0
|  | 29 | 0.248 | 0.237 | 0.02 |  |  | 29 | 219 | 0.219 | 210 | 0.21 | 0 | 0
|  | 30 | 0.22 | 0.224 | 0.02 |  |  | 30 | 220 | 0.22 | 203 | 0.203 | 0 | 0
|  | 31 | 0.217 | 0.226 | 0.02 |  |  | 31 | 231 | 0.231 | 324 | 0.324 | 0 | 0
|  |  | 6.811 | 6.484 | 0.62 |  |  |  |  | 6.345 |  | 6.361 |  | 0.286
Note on AH14: Jacquee Chandler: Sent email to Max that the amount on the DMR was invalid due to a letter being used in place of a zero.This is the correct total listed on the summary. 10-26-17