## Lake Groves
251/248 (675) - Lake Groves (LUSI South) -2019
| Operating Permit No.: | FLA010630 |  |  | Expires: | 2022-05-29
| Plant Permitted Capacity: | 0.999 mgd AADF
| Perc Ponds/Surf Discharge: | 0.500 mgd | [9 empty] | From Daily Flow Worksheet
| Reuse/Public Access: | 1.000 mgd | [9 empty] | Manual data entry from DMR
Hyperlinks!A1
| Flow (FLW-4) (To RIBs) |  |  |  | CBOD5 |  |  | TSS |  |  | pH |  | Fecal Coliform |  |  | TRC | Nitrate
| Mo Flow | An Avg | Mo Avg | Peak | An Avg | Mo Avg | Max | An Avg | Mo Avg | Max | Min | Max | An Avg | MoGeoMean | Max | Min | Max
| mgd | mgd | mgd | mgd | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | SU | SU | #/100ml | #/100ml | #/100ml | mg/L | mg/L
Limit | Total | 0.499 | Report |  | 20 | 30 | 60 | 20 | 30 | 60 | 6 | 8.5 | 200 | Report | 800 | 0.5 | 12
2019-01-01 | 6.718 | 0.149 | 0.21671 | 0.37 | 8.6 | 8.4 | 9 | 2 | 2.6 | 4.4 | 6.4 | 7.5 | 0.5 | <1.0 | <1.0 | 1 | 9.2
February | 6.255 | 0.162 | 0.22339 | 0.387 | 8.6 | 8.5 | 9 | 2 | 2.1 | 2.4 | 6.9 | 7.3 | 0.5 | <1.0 | <1.0 | 0.5 | 6.7
March | 6.06 | 0.171 | 0.19548 | 0.648 | 8.5 | 8.3 | 9 | 2.1 | 2.8 | 4.6 | 6.8 | 7.2 | <1 | <1.0 | <1.0 | 0.6 | 7.7
April | 3.922 | 0.174 | 0.13073 | 0.447 | 8.6 | 9 | 10 | 2.1 | 1.9 | 2.6 | 6.7 | 7.2 | 0.5 | <1.0 | <1.0 | 0.5 | 8.6
May | 0.796 | 0.169 | 0.025677 | 0.253 | 8.5 | 8.3 | 9 | 2.1 | 1.8 | 1.8 | 6.3 | 7.2 | 0.5 | <1.0 | <1.0 | 0.5 | 6.8
June | 1.901 | 0.162 | 0.063367 | 0.337 | 8.5 | 8.3 | 9 | 2.2 | 2.6 | 3.6 | 6.1 | 7.1 | 0.5 | <1.0 | <1.0 | 0.5 | 11
July | 3.787 | 0.158 | 0.12216 | 0.553 | 8.5 | 8.2 | 9 | 2.2 | 1.7 | 2.4 | 6 | 7.5 | 0.5 | <1.0 | <1.0 | 0.5 | 6.5
August | 5.902 | 0.156 | 0.19039 | 0.57 | 8.5 | 8.3 | 9 | 2.1 | 3.6 | 4.4 | 6.8 | 7.5 | 0.5 | <1.0 | <1.0 | 0.5 | 13
September | 3.825 | 0.153 | 0.1275 | 0.469 | 8.5 | 8.3 | 9 | 2 | 1.7 | 2.6 | 6.8 | 7.4 | 0.5 | <1.0 | <1.0 | 0.5 | 7.6
October | 4.134 | 0.154 | 0.13335 | 0.348 | 8.4 | 7.6 | 8 | 2.1 | 1.5 | 1.8 | 6.7 | 7.5 | 0.5 | 0.5 | 0.5 | 0.7 | 12
November | 5.977 | 0.161 | 0.19923 | 0.378 | 8.4 | 8.5 | 9 | 2 | 1.7 | 2.4 | 6.9 | 7.5 | 0.5 | 0.5 | 0.5 | 0.5 | 11.3
December | 8.806 | 0.165 | 0.28406 | 0.538 | 8.4 | 8.4 | 9 | 2.1 | 2.7 | 3.6 | 7.2 | 7.4 | 0.5 | 0.5 | 0.5 | 0.5 | 11
Total | 58.083
Average |  |  | 0.1472 | 0.448 | 8.48 | 8.32 | 9 | 2.1 | 2.2 | 2.98 | 6.63 | 7.35 | 0.5 | 0.5 | 0.5 | 0.53 | 9.55
Minimum |  | 0.149 | 0.025677 | 0.253 | 8.4 | 7.6 | 8 | 2 | 1.5 | 1.8 | 6 | 7.1 | 0.5 | 0.5 | 0.5 | 0.5 | 6.5
Maximum |  | 0.174 | 0.28406 | 0.648 | 8.6 | 9 | 10 | 2.2 | 3.6 | 4.6 | 7.2 | 7.5 | 0.5 | 0.5 | 0.5 | 1 | 13
| Flow (FLW2) (Public Access Reuse) |  | CBOD5 |  |  | TSS | Fecal Coliform |  | pH |  | TRC | TSS | Nitrogen | Phos- phorus | Flow (FLW3) (Total thru Plant) = 3month avg/3 |  |  | CBOD5 | TSS
| An Avg | Mo Avg | An Avg | Mo Avg | Max | Max. | Max | Mo. Total | Min | Max | Min | Max. |  |  | Mo. | An Avg | Qtr Avg | Max | Max
| mgd | mgd | mg/L | mg/L | mg/L | mg/L | #/100ml |  | SU | SU | mg/L | mg/L | Max | Max | Avg. | mgd | mgd | mg/L | mg/L
Limit | 0.999 | Report | 20 | 30 | 60 | 5.0 | 25 | 75 | 6 | 8.5 | 1 | 5 |  |  |  | 0.999 |  | INF-1 | INF-1
2019-01-01 | 0.338 | 0.29829 | 8.6 | 8.4 | 9 | <1 | <1 | 100% | 6.4 | 7.5 | 1 | 4.976 | 9.88 | 6.2 | 0.534 | 0.528 | 0.532 | 219 | 224
February | 0.335 | 0.31946 | 8.6 | 8.5 | 9 | <1 | <1 | 100% | 6.8 | 7.3 | 1 | 4.98 | 6.15 | 3.6 | 0.542 | 0.53 | 0.538 | 224 | 244
March | 0.329 | 0.32261 | 8.5 | 8.3 | 9 | <1 | <1 | 100% | 6.8 | 7.2 | 1 | 1.683 | 5.45 | 3.8 | 0.533 | 0.531 | 0.536 | 223 | 230
April | 0.329 | 0.36287 | 8.6 | 9 | 10 | <1 | <1 | 100% | 6.7 | 7.2 | 1 | 3.106 | 9.34 | 6.5 | 0.542 | 0.532 | 0.539 | 216 | 217
May | 0.34 | 0.46745 | 8.5 | 9 | 8.3 | <1 | <1 | 100% | 6.3 | 7.2 | 1 | 1.687 | 1.36 | 6.3 | 0.533 | 0.525 | 0.533 | 221 | 214
June | 0.352 | 0.4416 | 8.5 | 8.3 | 9 | <1 | <1 | 100% | 6.1 | 7.1 | 1 | 2.394 | 11.22 | 9.4 | 0.537 | 0.534 | 0.535 | 224 | 210
July | 0.357 | 0.37023 | 8.5 | 8.2 | 9 | 2.4 | 0.5 | 100% | 6 | 7.5 | 1 | 4.7 | 7.32 | 7.3 | 0.565 | 0.535 | 0.542 | 224 | 210
August | 0.352 | 0.28535 | 8.5 | 8.3 | 9 | 4.4 | 0.5 | 100% | 6.8 | 7.5 | 1 | 3.93 | 20.66 | 5.2 | 0.536 | 0.559 | 0.554 | 219 | 224
September | 0.355 | 0.3536 | 8.5 | 8.3 | 9 | <1.0 | 0.5 | 100% | 6.8 | 7.4 | 1 | 3.09 | 7.6 | 3.2 | 0.537 | 0.537 | 0.554 | 219 | 222
October | 0.355 | 0.34626 | 8.4 | 7.6 | 8 | <1.0 | 0.5 | 100% | 6.7 | 7.5 | 1 | 4.999 | 13.9 | 5.4 | 0.549 | 0.548 | 0.548 | 218 | 248
November | 0.349 | 0.3074 | 8.4 | 8.5 | 9 | <1.0 | 0.5 | 100% | 6.9 | 7.5 | 1 | 4.999 | 11.88 | 4.1 | 0.561 | 0.544 | 0.549 | 223 | 248
December | 0.347 | 0.25442 | 8.4 | 8.4 | 9 | <1.0 | 0.5 | 100% | 7.2 | 7.4 | 1 | 4.999 | 11.81 | 3.1 | 0.576 | 0.547 | 0.562 | 223 | 258
Average |  | 0.3483 | 8.4909 | 8.4 | 8.9364 | 3.4 | 0.5 |  | 6.6455 | 7.3455 | 1 |  |  |  | 0.54645 | 0.53836 | 0.54455
Minimum |  | 0.25442 | 8.4 | 7.6 | 8 | 2.4 | 0.5 | 100% | 6 |  | 1
Maximum |  | 0.46745 | 8.6 | 9 | 10 | 4.4 | 0.5 | 100% |  | 7.5
Note on R20: Jacquee Chandler: High Nitrate due to possible toxic influent for 2 weeks causing plant upset.
Note on R43: Jacquee Chandler: Per James K Sr. correct.

## LkGroves Flow Summary
2019 Lake Groves DMR Flow Summary
Hyperlinks!A1
Note: Operator to send the Lake Groves WWTP Log (Excel) which contains the daily flows that can be Copy/Paste Special/Transpose to this worksheet by FLW.
FLW-02 | Reuse
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0.193 | 0.379 | 0.349 | 0.228 | 0.315 | 0.366 | 0.219 | 0.21 | 0.361 | 0.356 | 0.226 | 0.436 | 0.295 | 0.339 | 0.239 | 0.392 | 0.351 | 0.23 | 0.446 | 0.354 | 0.212 | 0.221 | 0.38 | 0.33 | 0.179 | 0.399 | 0.377 | 0.159 | 0.164 | 0.233 | 0.309 | 9.247 | 0.29829 | 0.446
February | 0.343 | 0.183 | 0.567 | 0.225 | 0.279 | 0.213 | 0.503 | 0.241 | 0.245 | 0.482 | 0.302 | 0.196 | 0.252 | 0.26 | 0.267 | 0.21 | 0.368 | 0.458 | 0.405 | 0.216 | 0.562 | 0.314 | 0.204 | 0.438 | 0.349 | 0.261 | 0.255 | 0.347 |  |  |  | 8.945 | 0.31946 | 0.567
March | 0.208 | 0.336 | 0.344 | 0.235 | 0.24 | 0.334 | 0.315 | 0.232 | 0.355 | 0.367 | 0.289 | 0.268 | 0.379 | 0.381 | 0.297 | 0.399 | 0.402 | 0.291 | 0.282 | 0.327 | 0.335 | 0.269 | 0.377 | 0.415 | 0.306 | 0.297 | 0.402 | 0.32 | 0.246 | 0.378 | 0.375 | 10.001 | 0.32261 | 0.415
April | 0.301 | 0.236 | 0.355 | 0.467 | 0.316 | 0.425 | 0.427 | 0.246 | 0.202 | 0.383 | 0.39 | 0.277 | 0.49 | 0.434 | 0.232 | 0.259 | 0.463 | 0.423 | 0.276 | 0.333 | 0.444 | 0.277 | 0.29 | 0.481 | 0.471 | 0.298 | 0.477 | 0.497 | 0.372 | 0.344 |  | 10.886 | 0.36287 | 0.497
May | 0.583 | 0.479 | 0.327 | 0.544 | 0.436 | 0.22 | 0.282 | 0.503 | 0.485 | 0.348 | 0.607 | 0.626 | 0.414 | 0.27 | 0.425 | 0.439 | 0.287 | 0.487 | 0.61 | 0.309 | 0.333 | 0.608 | 0.571 | 0.395 | 0.634 | 0.634 | 0.492 | 0.228 | 0.763 | 0.662 | 0.49 | 14.491 | 0.46745 | 0.763
June | 0.616 | 0.783 | 0.42 | 0.209 | 0.598 | 0.585 | 0.253 | 0.595 | 0.508 | 0.264 | 0.31 | 0.407 | 0.453 | 0.261 | 0.407 | 0.489 | 0.248 | 0.25 | 0.341 | 0.321 | 0.276 | 0.476 | 0.552 | 0.383 | 0.383 | 0.649 | 0.504 | 0.578 | 0.547 | 0.582 |  | 13.248 | 0.4416 | 0.783
July | 0.378 | 0.415 | 0.619 | 0.444 | 0.392 | 0.413 | 0.404 | 0.251 | 0.245 | 0.468 | 0.491 | 0.289 | 0.337 | 0.456 | 0.322 | 0.237 | 0.45 | 0.444 | 0.258 | 0.335 | 0.473 | 0.256 | 0.282 | 0.43 | 0.443 | 0.229 | 0.348 | 0.411 | 0.297 | 0.231 | 0.429 | 11.477 | 0.37023 | 0.619
August | 0.471 | 0.272 | 0.329 | 0.429 | 0.179 | 0.22 | 0.335 | 0.219 | 0.295 | 0.334 | 0.395 | 0.191 | 0.193 | 0.327 | 0.358 | 0.159 | 0.317 | 0.366 | 0.224 | 0.241 | 0.366 | 0.379 | 0.167 | 0.323 | 0.359 | 0.21 | 0.176 | 0.276 | 0.337 | 0.164 | 0.235 | 8.846 | 0.28535 | 0.471
September | 0.262 | 0.115 | 0.142 | 0.216 | 0.243 | 0.161 | 0.392 | 0.369 | 0.235 | 0.232 | 0.454 | 0.415 | 0.238 | 0.464 | 0.37 | 0.23 | 0.275 | 0.506 | 0.447 | 0.282 | 0.527 | 0.46 | 0.338 | 0.289 | 0.574 | 0.567 | 0.354 | 0.578 | 0.54 | 0.333 |  | 10.608 | 0.3536 | 0.578
October | 0.333 | 0.533 | 0.49 | 0.134 | 0.62 | 0.559 | 0.325 | 0.202 | 0.314 | 0.333 | 0.253 | 0.451 | 0.46 | 0.267 | 0.275 | 0.464 | 0.454 | 0.273 | 0.32 | 0.357 | 0.247 | 0.19 | 0.441 | 0.403 | 0.236 | 0.338 | 0.346 | 0.219 | 0.103 | 0.402 | 0.392 | 10.734 | 0.34626 | 0.62
November | 0.256 | 0.405 | 0.449 | 0.253 | 0.236 | 0.411 | 0.377 | 0.241 | 0.308 | 0.377 | 0.234 | 0.221 | 0.408 | 0.354 | 0.536 | 0 | 0.355 | 0.219 | 0.191 | 0.36 | 0.379 | 0.204 | 0.389 | 0.336 | 0.211 | 0.196 | 0.395 | 0.355 | 0.212 | 0.354 |  | 9.222 | 0.3074 | 0.536
December | 0.381 | 0.197 | 0.171 | 0.38 | 0.332 | 0.204 | 0.36 | 0.365 | 0.264 | 0.214 | 0.38 | 0.347 | 0.193 | 0.279 | 0.327 | 0.193 | 0.193 | 0.254 | 0.291 | 0.216 | 0.321 | 0.268 | 0.157 | 0.131 | 0.262 | 0.254 | 0.186 | 0.275 | 0.219 | 0.138 | 0.135 | 7.887 | 0.25442 | 0.381
FLW-03 | Total Plant Flow
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0.638 | 0.565 | 0.638 | 0.568 | 0.517 | 0.539 | 0.629 | 0.508 | 0.489 | 0.555 | 0.447 | 0.5 | 0.557 | 0.553 | 0.541 | 0.483 | 0.543 | 0.492 | 0.457 | 0.566 | 0.56 | 0.493 | 0.472 | 0.64 | 0.468 | 0.457 | 0.534 | 0.593 | 0.518 | 0.501 | 0.529 | 16.55 | 0.53387 | 0.64
February | 0.482 | 0.491 | 0.569 | 0.589 | 0.532 | 0.519 | 0.496 | 0.505 | 0.509 | 0.608 | 0.586 | 0.539 | 0.532 | 0.519 | 0.486 | 0.583 | 0.575 | 0.557 | 0.571 | 0.492 | 0.562 | 0.547 | 0.601 | 0.561 | 0.607 | 0.492 | 0.509 | 0.569 |  |  |  | 15.188 | 0.54243 | 0.608
March | 0.55 | 0.473 | 0.578 | 0.557 | 0.575 | 0.593 | 0.487 | 0.556 | 0.519 | 0.522 | 0.635 | 0.499 | 0.525 | 0.599 | 0.456 | 0.561 | 0.542 | 0.524 | 0.487 | 0.51 | 0.52 | 0.52 | 0.539 | 0.548 | 0.598 | 0.501 | 0.524 | 0.544 | 0.489 | 0.502 | 0.576 | 16.609 | 0.53577 | 0.635
April | 0.549 | 0.531 | 0.558 | 0.586 | 0.513 | 0.485 | 0.591 | 0.548 | 0.557 | 0.598 | 0.444 | 0.578 | 0.527 | 0.5 | 0.614 | 0.526 | 0.529 | 0.598 | 0.491 | 0.546 | 0.603 | 0.575 | 0.552 | 0.516 | 0.541 | 0.473 | 0.503 | 0.588 | 0.553 | 0.498 |  | 16.271 | 0.54237 | 0.614
May | 0.497 | 0.501 | 0.544 | 0.474 | 0.584 | 0.584 | 0.51 | 0.495 | 0.563 | 0.491 | 0.508 | 0.511 | 0.572 | 0.506 | 0.709 | 0.538 | 0.536 | 0.509 | 0.576 | 0.494 | 0.5 | 0.487 | 0.5 | 0.468 | 0.538 | 0.505 | 0.607 | 0.487 | 0.496 | 0.486 | 0.49 | 16.266 | 0.52471 | 0.709
June | 0.502 | 0.563 | 0.485 | 0.485 | 0.491 | 0.561 | 0.475 | 0.553 | 0.577 | 0.52 | 0.503 | 0.55 | 0.504 | 0.6 | 0.479 | 0.591 | 0.555 | 0.523 | 0.605 | 0.627 | 0.496 | 0.49 | 0.63 | 0.534 | 0.614 | 0.504 | 0.523 | 0.478 | 0.575 | 0.504 |  | 16.097 | 0.53657 | 0.63
July | 0.59 | 0.516 | 0.531 | 0.582 | 0.504 | 0.616 | 0.646 | 0.546 | 0.581 | 0.584 | 0.571 | 0.542 | 0.648 | 0.592 | 0.52 | 0.557 | 0.523 | 0.59 | 0.447 | 0.575 | 0.64 | 0.499 | 0.565 | 0.532 | 0.514 | 0.623 | 0.564 | 0.601 | 0.585 | 0.553 | 0.59 | 17.527 | 0.56539 | 0.648
August | 0.56 | 0.512 | 0.502 | 0.618 | 0.53 | 0.573 | 0.521 | 0.568 | 0.528 | 0.529 | 0.606 | 0.522 | 0.545 | 0.537 | 0.57 | 0.501 | 0.563 | 0.654 | 0.548 | 0.547 | 0.589 | 0.573 | 0.557 | 0.557 | 0.589 | 0.587 | 0.575 | 0.546 | 0.567 | 0.526 | 0.623 | 17.323 | 0.55881 | 0.654
September | 0.569 | 0.523 | 0.618 | 0.619 | 0.475 | 0.529 | 0.531 | 0.529 | 0.543 | 0.564 | 0.502 | 0.55 | 0.439 | 0.525 | 0.552 | 0.612 | 0.528 | 0.513 | 0.542 | 0.503 | 0.489 | 0.576 | 0.609 | 0.507 | 0.508 | 0.534 | 0.47 | 0.514 | 0.576 | 0.56 |  | 16.109 | 0.53697 | 0.619
October | 0.557 | 0.504 | 0.512 | 0.574 | 0.492 | 0.557 | 0.595 | 0.581 | 0.572 | 0.493 | 0.466 | 0.555 | 0.554 | 0.558 | 0.552 | 0.535 | 0.56 | 0.508 | 0.583 | 0.632 | 0.585 | 0.524 | 0.544 | 0.486 | 0.533 | 0.574 | 0.605 | 0.573 | 0.559 | 0.52 | 0.59 | 17.033 | 0.54945 | 0.632
November | 0.548 | 0.544 | 0.616 | 0.514 | 0.61 | 0.566 | 0.502 | 0.524 | 0.566 | 0.624 | 0.51 | 0.598 | 0.536 | 0.543 | 0.609 | 0.559 | 0.558 | 0.618 | 0.55 | 0.526 | 0.523 | 0.566 | 0.503 | 0.628 | 0.518 | 0.533 | 0.582 | 0.599 | 0.621 | 0.532 |  | 16.826 | 0.56087 | 0.628
December | 0.546 | 0.619 | 0.521 | 0.511 | 0.557 | 0.55 | 0.522 | 0.514 | 0.55 | 0.567 | 0.517 | 0.502 | 0.591 | 0.55 | 0.564 | 0.569 | 0.529 | 0.55 | 0.555 | 0.548 | 0.652 | 0.562 | 0.667 | 0.569 | 0.739 | 0.583 | 0.616 | 0.651 | 0.594 | 0.687 | 0.612 | 17.864 | 0.57626 | 0.739
FLW-04 | RIBS
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0.37 | 0.358 | 0.227 | 0.117 | 0.357 | 0.143 | 0.273 | 0.304 | 0.253 | 0.094 | 0.137 | 0.3 | 0 | 0.183 | 0.316 | 0.205 | 0.062 | 0.189 | 0.247 | 0 | 0.21 | 0.285 | 0.254 | 0.117 | 0.215 | 0.276 | 0 | 0.308 | 0.332 | 0.336 | 0.25 | 6.718 | 0.21671 | 0.37
February | 0.181 | 0.275 | 0 | 0.362 | 0.26 | 0.299 | 0 | 0.262 | 0.266 | 0.124 | 0.285 | 0.342 | 0.281 | 0.259 | 0.218 | 0.372 | 0.205 | 0.102 | 0.167 | 0.276 | 0 | 0.242 | 0.387 | 0.12 | 0.262 | 0.231 | 0.253 | 0.224 |  |  |  | 6.255 | 0.22339 | 0.387
March | 0.288 | 0.248 | 0.171 | 0.193 | 0.296 | 0.648 | 0.124 | 0.244 | 0.272 | 0.075 | 0.235 | 0.182 | 0.262 | 0.084 | 0.084 | 0.289 | 0 | 0.164 | 0.201 | 0.221 | 0.155 | 0.172 | 0.276 | 0 | 0.246 | 0.148 | 0.204 | 0.064 | 0.229 | 0.218 | 0.067 | 6.06 | 0.19548 | 0.648
April | 0.179 | 0.235 | 0.309 | 0.059 | 0 | 0.309 | 0 | 0.15 | 0.3 | 0.447 | 0 | 0 | 0.262 | 0 | 0.023 | 0.346 | 0.223 | 0 | 0.042 | 0.289 | 0.205 | 0.043 | 0.243 | 0.173 | 0 | 0.085 | 0 | 0 | 0 | 0 |  | 3.922 | 0.13073 | 0.447
May | 0 | 0 | 0.111 | 0.03 | 0.025 | 0 | 0.116 | 0.163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.253 | 0 | 0 | 0.023 | 0 | 0 | 0 | 0 | 0 | 0.052 | 0 | 0 | 0.023 | 0 | 0.796 | 0.025677 | 0.253
June | 0.01 | 0.004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073 | 0 | 0 | 0.337 | 0.013 | 0.113 | 0.26 | 0.32 | 0.188 | 0.19 | 0.162 | 0 | 0 | 0.146 | 0 | 0.027 | 0.028 | 0.026 | 0.004 |  | 1.901 | 0.063367 | 0.337
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.164 | 0.305 | 0 | 0 | 0.367 | 0.243 | 0.085 | 0.05 | 0.255 | 0.047 | 0.025 | 0.177 | 0.133 | 0 | 0.306 | 0.162 | 0 | 0.082 | 0.368 | 0.204 | 0.011 | 0.553 | 0.25 | 3.787 | 0.12216 | 0.553
August | 0.204 | 0.196 | 0.178 | 0.201 | 0 | 0.218 | 0.167 | 0.228 | 0.259 | 0.194 | 0.219 | 0.001 | 0.293 | 0 | 0.025 | 0.128 | 0.289 | 0.239 | 0.102 | 0.227 | 0.321 | 0.57 | 0.177 | 0.213 | 0.032 | 0.035 | 0.36 | 0.108 | 0.14 | 0.141 | 0.437 | 5.902 | 0.19039 | 0.57
September | 0.248 | 0.214 | 0.469 | 0.366 | 0.232 | 0.216 | 0.32 | 0.238 | 0.002 | 0.273 | 0.082 | 0 | 0 | 0.253 | 0.107 | 0.105 | 0.23 | 0.149 | 0 | 0 | 0 | 0.295 | 0 | 0 | 0 | 0 | 0 | 0 | 0.026 | 0 |  | 3.825 | 0.1275 | 0.469
October | 0 | 0 | 0.095 | 0.044 | 0 | 0 | 0 | 0 | 0 | 0.126 | 0.088 | 0.281 | 0 | 0.044 | 0.269 | 0.201 | 0 | 0 | 0.302 | 0.214 | 0.241 | 0.234 | 0.299 | 0.013 | 0 | 0.283 | 0.203 | 0.228 | 0.348 | 0.28 | 0.341 | 4.134 | 0.13335 | 0.348
November | 0.035 | 0.054 | 0 | 0.123 | 0.325 | 0.249 | 0 | 0 | 0.378 | 0.27 | 0.054 | 0.378 | 0.26 | 0.079 | 0.237 | 0.281 | 0.208 | 0.252 | 0.315 | 0.292 | 0.051 | 0.167 | 0.28 | 0.137 | 0.242 | 0.326 | 0.31 | 0.089 | 0.273 | 0.312 |  | 5.977 | 0.19923 | 0.378
December | 0.06 | 0.276 | 0.322 | 0.304 | 0.129 | 0.156 | 0.272 | 0.101 | 0.153 | 0.305 | 0.189 | 0.122 | 0.165 | 0.336 | 0.253 | 0.248 | 0.342 | 0.325 | 0.245 | 0.188 | 0.524 | 0.117 | 0.427 | 0.409 | 0.538 | 0.384 | 0.28 | 0.399 | 0.285 | 0.484 | 0.468 | 8.806 | 0.28406 | 0.538
Calculated with Decimal
|  | FLW2 | FLW3 | FLW4 | FLW2 | FLW3 | FLW4
| 1 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 2 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 3 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 4 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 5 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 6 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 7 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 8 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 9 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 10 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 11 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 12 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 13 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 14 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 15 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 16 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 17 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 18 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 19 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 20 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 21 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 22 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 23 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 24 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 25 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 26 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 27 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 28 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 29 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 30 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
| 31 | Calculated with Decimal FLW2: 0; Calculated with Decimal FLW3: 0; Calculated with Decimal FLW4: 0
[5 empty] | 0 | 0 | 0