## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Four Lakes | 0.00601 | 0 | 0.0054 | 0 | 0.00607 | 0 | 0.020939 | 0 | 0.00327 | 0 | 0.00427 | 0 | 0.005574 | 0 | 0.00493 | 0 | 0.00497 | 0 | 0.01318 | 0 | 0.01026 | 0 | 0.00916 | 0 | 0.094033
Total | 0.00601 |  | 0.0054 |  | 0.00607 |  | 0.020939 |  | 0.00327 |  | 0.00427 |  | 0.005574 |  | 0.00493 |  | 0.00497 |  | 0.01318 |  | 0.01026 |  | 0.00916

## Four Lakes
251/127 - Four Lakes
PWS ID No. 3354647
CUP No. N/A |  | Exp. N/A
FDEP Permitted Max Day Capacity of Plant - .088 mgd
Hyper Links'!A1 |  |  |  | Total Water Used/Loss |  |  |  |  | Source Mtr Error Adj. (04/20/17 -2.00%)(03/13/2019 -0.67%)
| Pumped | Pumped Daily Avg. | Pumped Daily Max. | Gallons Used | Gallons Loss | Total Used/ Loss | Pumped, Less Gallons Loss/ Used | Billed Consumption | Meter Adj. % | Pumped Meter Adj. | Pumped (-) Gals Loss/ Use (+) Source Mtr Error | Total AFW (Total Used/Loss + Billed) | AFW % plus source mtr. error | 2018 AFW % | Source Meter Error Adj.
January 2019 | 0.48813 | 0.015746 | 0.023704 | 0.00601 | 0 | 0.00601 | 0.48212 | 0.41131 | -0.67% | -0.0032705 | 0.47885 | 0.41732 | 86.07% | 88.75% |  | Meter Error % | Pumped Meter Error
February | 0.44534 | 0.015905 | 0.026685 | 0.0054 | 0 | 0.0054 | 0.43994 | 0.38474 | -0.67% | -0.0029838 | 0.43696 | 0.39014 | 88.2% | 96.51% | 03/01-03/26/19 | -0.67% | -0.0039085
March | 0.68594 | 0.022127 | 0.034115 | 0.00607 | 0 | 0.00607 | 0.67987 | 0.60371 | -0.67%&-1.76% | -0.0057141 | 0.67416 | 0.60978 | 89.64% | 91.7% | 03/27-03/31/19 | -1.76% | -0.0018056
April | 0.5145 | 0.01715 | 0.040683 | 0.020939 | 0 | 0.020939 | 0.49356 | 0.44672 | -1.76% | -0.0090552 | 0.4845 | 0.46766 | 92.52% | 94.61% |  |  | -0.0057141
May | 0.72708 | 0.023454 | 0.04398 | 0.00327 | 0 | 0.00327 | 0.72381 | 0.63874 | -1.76% | -0.012797 | 0.71101 | 0.64201 | 89.88% | 84.82%
June | 0.58576 | 0.019525 | 0.031717 | 0.00427 | 0 | 0.00427 | 0.58149 | 0.49993 | -1.76% | -0.010309 | 0.57118 | 0.5042 | 87.62% | 100.9%
July | 0.5067 | 0.016345 | 0.024404 | 0.005574 | 0 | 0.005574 | 0.50112 | 0.42408 | -1.76% | -0.0089179 | 0.49221 | 0.42966 | 86.32% | 87.96%
August | 0.42576 | 0.013734 | 0.018426 | 0.00493 | 0 | 0.00493 | 0.42083 | 0.35402 | -1.76% | -0.0074934 | 0.41334 | 0.35895 | 85.82% | 88.72%
September | 0.54411 | 0.018137 | 0.033991 | 0.00497 | 0 | 0.00497 | 0.53914 | 0.46255 | -1.76% | -0.0095763 | 0.52956 | 0.46752 | 87.46% | 91.7%
October | 0.53295 | 0.017192 | 0.03225 | 0.01318 | 0 | 0.01318 | 0.51977 | 0.4363 | -1.76% | -0.0093799 | 0.51039 | 0.44948 | 85.85% | 86.11%
November | 0.49053 | 0.016351 | 0.025311 | 0.01026 | 0 | 0.01026 | 0.48027 | 0.4151 | -1.76% | -0.0086333 | 0.47164 | 0.42536 | 88.27% | 87.27%
December | 0.45496 | 0.014676 | 0.0342 | 0.00916 | 0 | 0.00916 | 0.4458 | 0.37389 | -1.76% | -0.0080073 | 0.43779 | 0.38305 | 85.7% | 84.32%
YTD Total/Avg/Max | 6.4018 | 0.017529 | 0.04398 | 0.094033 | 0 | 0.094033 | 6.3077 | 5.4511 |  | -0.096138 | 6.2116 | 5.5451
| 6.4018 | [8 empty] | -0.08813 |  | 5.5451
| 0 | Proof to Daily Flow |  |  |  |  | Proof to Total Billed | 0 |  |  |  | YTD AFW % Jan - Dec | 87.83%
Water Loss-Use'!A1
[5 empty] | Water Loss/Use Proof | 0
Verif. W/UIWtrMn WLU wrksht & WAF Input

## Daily Flow-127
251/127- Four Lakes | [9 empty] | Hyper Links'!A1
MWAF - link to AH(x)
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.012649 | 0.021765 | 0.011587 | 0.013906 | 0.016717 | 0.016717 | 0.013423 | 0.009032 | 0.021765 | 0.021288 | 0.014912 | 0.018846 | 0.018846 | 0.01085 | 0.012967 | 0.021461 | 0.014308 | 0.014528 | 0.020327 | 0.020327 | 0.015805 | 0.009062 | 0.023704 | 0.013892 | 0.009516 | 0.017417 | 0.017417 | 0.009577 | 0.012758 | 0.020262 | 0.012499 | 0.48813 | 0.015746 | 0.023704 | 0
February | 0.011499 | 0.020567 | 0.020567 | 0.013997 | 0.01438 | 0.019387 | 0.012829 | 0.012771 | 0.017701 | 0.017701 | 0.011272 | 0.011795 | 0.015355 | 0.012275 | 0.011256 | 0.018628 | 0.018628 | 0.017022 | 0.013665 | 0.026685 | 0.011096 | 0.015102 | 0.021816 | 0.021816 | 0.014851 | 0.015947 | 0.014811 | 0.011923 |  |  |  | 0.44534 | 0.015905 | 0.026685 | 0
March | 0.014747 | 0.025786 | 0.025786 | 0.015359 | 0.011063 | 0.0222 | 0.022302 | 0.014087 | 0.032202 | 0.032202 | 0.021696 | 0.022358 | 0.034115 | 0.017988 | 0.02343 | 0.032383 | 0.032383 | 0.020536 | 0.022773 | 0.026376 | 0.01552 | 0.016191 | 0.021816 | 0.021816 | 0.019585 | 0.018653 | 0.026447 | 0.012244 | 0.01331 | 0.025295 | 0.025295 | 0.68594 | 0.022127 | 0.034115 | 0
April | 0.016691 | 0.009955 | 0.015414 | 0.019755 | 0.01477 | 0.02071 | 0.02071 | 0.009998 | 0.013029 | 0.024816 | 0.015692 | 0.016763 | 0.020726 | 0.020726 | 0.01139 | 0.010378 | 0.020444 | 0.015388 | 0.012493 | 0.015352 | 0.015352 | 0.010855 | 0.011617 | 0.040683 | 0.016639 | 0.014107 | 0.024826 | 0.024826 | 0.012877 | 0.017515 |  | 0.5145 | 0.01715 | 0.040683 | 0
May | 0.023161 | 0.023354 | 0.014352 | 0.02191 | 0.02191 | 0.009803 | 0.011843 | 0.018202 | 0.02341 | 0.012513 | 0.024502 | 0.024502 | 0.016312 | 0.016277 | 0.020213 | 0.012903 | 0.020997 | 0.02914 | 0.02914 | 0.031815 | 0.018219 | 0.026253 | 0.025904 | 0.022661 | 0.036816 | 0.036816 | 0.04398 | 0.026801 | 0.02744 | 0.029441 | 0.026487 | 0.72708 | 0.023454 | 0.04398 | 0
June | 0.027143 | 0.027143 | 0.018933 | 0.019231 | 0.031717 | 0.018925 | 0.024809 | 0.021508 | 0.021508 | 0.012746 | 0.013287 | 0.020102 | 0.011677 | 0.015671 | 0.018426 | 0.018426 | 0.011628 | 0.012035 | 0.018354 | 0.021646 | 0.01341 | 0.023443 | 0.023443 | 0.015065 | 0.017726 | 0.02862 | 0.016392 | 0.020776 | 0.020986 | 0.020986 |  | 0.58576 | 0.019525 | 0.031717 | 0
July | 0.011794 | 0.016332 | 0.023404 | 0.021895 | 0.017747 | 0.018759 | 0.018759 | 0.013102 | 0.013685 | 0.024404 | 0.017132 | 0.01921 | 0.017725 | 0.017725 | 0.010284 | 0.014855 | 0.017551 | 0.017355 | 0.011758 | 0.017611 | 0.017611 | 0.017203 | 0.01448 | 0.017194 | 0.010829 | 0.012878 | 0.016095 | 0.016095 | 0.011848 | 0.013137 | 0.01824 | 0.5067 | 0.016345 | 0.024404 | 0
August | 0.014893 | 0.010481 | 0.016053 | 0.016053 | 0.008969 | 0.010983 | 0.015997 | 0.011732 | 0.012116 | 0.017421 | 0.017421 | 0.013941 | 0.013002 | 0.016431 | 0.016228 | 0.010637 | 0.012779 | 0.012779 | 0.010485 | 0.011953 | 0.016858 | 0.011628 | 0.013069 | 0.016088 | 0.016088 | 0.010243 | 0.013699 | 0.018426 | 0.010302 | 0.014005 | 0.015005 | 0.42576 | 0.013734 | 0.018426 | 0
September | 0.015005 | 0.008607 | 0.010128 | 0.01892 | 0.01091 | 0.010929 | 0.016011 | 0.016011 | 0.015128 | 0.015386 | 0.016968 | 0.020132 | 0.013606 | 0.018177 | 0.018177 | 0.010355 | 0.012334 | 0.026686 | 0.01156 | 0.015512 | 0.020159 | 0.020159 | 0.015696 | 0.017925 | 0.033991 | 0.024886 | 0.027153 | 0.028451 | 0.028451 | 0.0267 |  | 0.54411 | 0.018137 | 0.033991 | 0
October | 0.018856 | 0.024475 | 0.020274 | 0.03225 | 0.027675 | 0.027675 | 0.011757 | 0.01588 | 0.015548 | 0.015381 | 0.010193 | 0.017414 | 0.017414 | 0.015268 | 0.012944 | 0.022658 | 0.017376 | 0.011918 | 0.016178 | 0.016178 | 0.012388 | 0.011229 | 0.020346 | 0.014243 | 0.012493 | 0.014878 | 0.014878 | 0.010531 | 0.012388 | 0.024288 | 0.017973 | 0.53295 | 0.017192 | 0.03225 | 0
November | 0.015212 | 0.023057 | 0.023057 | 0.013847 | 0.011996 | 0.020707 | 0.012946 | 0.012962 | 0.017559 | 0.017559 | 0.014864 | 0.015805 | 0.025311 | 0.010921 | 0.014175 | 0.018909 | 0.018909 | 0.009435 | 0.01476 | 0.020881 | 0.015148 | 0.012709 | 0.020675 | 0.020675 | 0.011347 | 0.010381 | 0.018888 | 0.011958 | 0.018756 | 0.01712 |  | 0.49053 | 0.016351 | 0.025311 | 0
December | 0.0342 | 0.011023 | 0.011429 | 0.01909 | 0.012543 | 0.014649 | 0.018658 | 0.018658 | 0.01312 | 0.013232 | 0.015216 | 0.014898 | 0.009897 | 0.016043 | 0.016043 | 0.011824 | 0.013395 | 0.015703 | 0.01281 | 0.014735 | 0.016501 | 0.016501 | 0.010635 | 0.015814 | 0.016701 | 0.014037 | 0.008423 | 0.01494 | 0.01494 | 0.011727 | 0.007577 | 0.45496 | 0.014676 | 0.0342 | 0
[32 empty] | 6.4018 | Grand Total

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Four Lakes | 488132 | 445339 | 685942 | 514498 | 727079 | 585761 | 506698 | 425764 | 544110 | 532948 | 490531 | 454962