## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Golden Hills | 0.02093 | 0 | 0.02649 | 0.209 | 0.01826 | 1e-05 | 0.04994 | 0.0083 | 0.02132 | 0 | 0.00568 | 0.35 | 0.00578 | 0.2 | 0.05026 | 0.03 | 0.02168 | 0.008 | 0.02087 | 0.043 | 0.04988 | 0.103 | 0.06245 | 0.082 | 1.3868
Total | 0.02093 |  | 0.23549 |  | 0.01827 |  | 0.05824 |  | 0.02132 |  | 0.35568 |  | 0.20578 |  | 0.08026 |  | 0.02968 |  | 0.06387 |  | 0.15288 |  | 0.14445

## Golden Hills
252/136 - Golden Hills
PWS ID No. 6424076
CUP No. 20-5643-005 |  | 1936-02-23
FDEP Permitted Max Day Capacity of Plant - .636 mgd
Other - Water is supplied to the Crownwood customers
Hyper Links'!A1 |  |  |  | Total Water Used/Loss |  |  | Source Meter Error Adj. 01/31/2019 -1.38% 08/30/19 -1.02%
| Total Pumped | Pumpgd Daily Avg. | Pumpgd Daily Max. | Gallons Used | Gallons Loss | Total Used/ Loss | Flow Mtr Adj. % | Flow Mtr Pumped Adj. | Pumped + Source Mtr Error, Less Gals Loss/Used | Golden Hills Billed Consumption | Crownwood Billed Consumption | Total Billed Consumption | Total AFW (Total Used/Loss + Billed) | AFW % plus source mtr. error | 2018 AFW %
January 2019 | 3.678 | 0.11862 | 0.148 | 0.02093 | 0 | 0.02093 | -1.38% | -0.050756 | 3.6063 | 2.6978 | 0.25809 | 2.9559 | 2.9768 | 82.07% | 90.96%
February | 3.708 | 0.1325 | 0.165 | 0.02649 | 0.209 | 0.23549 | -1.38% | -0.05117 | 3.4213 | 2.7192 | 0.18858 | 2.9078 | 3.1432 | 85.96% | 90.2%
March | 4.834 | 0.15631 | 0.242 | 0.01826 | 1e-05 | 0.01827 | -1.38% | -0.066709 | 4.749 | 3.7979 | 0.24328 | 4.0412 | 4.0595 | 85.15% | 88.21%
April | 4.499 | 0.14832 | 0.213 | 0.04994 | 0.0083 | 0.05824 | -1.38% | -0.062086 | 4.3787 | 3.5701 | 0.1883 | 3.7584 | 3.8166 | 86.02% | 92.96%
May | 5.751 | 0.18683 | 0.309 | 0.02132 | 0 | 0.02132 | -1.38% | -0.079364 | 5.6503 | 3.7888 | 0.15999 | 3.9488 | 3.9702 | 70% | 93.5%
June | 6.27 | 0.20293 | 0.582 | 0.00568 | 0.35 | 0.35568 | -1.38% | -0.086526 | 5.8278 | 3.8583 | 0.17556 | 4.0339 | 4.3895 | 70.99% | 85.83%
July | 4.227 | 0.13555 | 0.271 | 0.00578 | 0.2 | 0.20578 | -1.38% | -0.058333 | 3.9629 | 3.2547 | 0.16055 | 3.4152 | 3.621 | 86.86% | 87.65%
August | 3.87 | 0.12331 | 0.169 | 0.05026 | 0.03 | 0.08026 | -1.38% & -1.02% | -0.053024 | 3.7367 | 2.8594 | 0.19332 | 3.0527 | 3.133 | 82.08% | 86.67%
September | 4.491 | 0.15071 | 0.201 | 0.02168 | 0.008 | 0.02968 | -1.02% | -0.045808 | 4.4155 | 3.3447 | 0.20088 | 3.5456 | 3.5752 | 80.43% | 82.93%
October | 4.735 | 0.15069 | 0.231 | 0.02087 | 0.043 | 0.06387 | -1.02% | -0.048297 | 4.6228 | 3.8548 | 0.23984 | 4.0947 | 4.1585 | 88.73% | 81.57%
November | 4.167 | 0.13918 | 0.205 | 0.04988 | 0.103 | 0.15288 | -1.02% | -0.042503 | 3.9716 | 3.1628 | 0.20983 | 3.3726 | 3.5255 | 85.48% | 88.56%
December | 3.929 | 0.1259 | 0.172 | 0.06245 | 0.082 | 0.14445 | -1.02% | -0.040076 | 3.7445 | 3.2441 | 0.22601 | 3.4701 | 3.6146 | 92.95% | 89.05%
YTD Total/Avg/Max | 54.159 | 0.14757 | 0.582 | 0.35354 | 1.0333 | 1.3868 |  | -0.68465 | 52.0875 | 40.1526 | 2.4442 | 42.5968 | 43.9837
| 54.159 | [6 empty] | -0.68465 |  |  |  |  | 43.9837
| 0 | Proof to Daily Flow | [6 empty] | Proof to Total Billed | 0 | 0 | YTD AFW % Jan - Dec |  | 82.25%
Water Loss-Use'!A1 |  |  |  | Water Loss/Use Proof | 0 |  | Verified W/UIWtrMain WLU worksheet
[7 empty] | POE Mtr | Source Mtr Error Adjust
[7 empty] | Dates | Meter Adj. % | Pumped | Adjusted
[7 empty] | 08/01-08/30 | -1.38% | 3.764 | -0.051943
[7 empty] | 2019-08-31 | -1.02% | 0.106 | -0.0010812
-0.053024
Note on B8: Picked up from Daily Flow. Total daily flow, Column AH
Note on C8: Picked up from Daily Flow AVG, Column AI
Note on D8: Picked up from Daily Flow MAX, Column AJ
Note on E8: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the used detail.
Note on F8: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the loss detail.
Note on O13: Jacquee Chandler: Emailed KS and Marlin
Note on O14: Jacquee Chandler: Emailed KS and Marlin
Note on O23: Jacquee Chandler: I reran all billing for 2019 and there was no increase in the AFW. The water has to be water that was lost and not logged in OMS or in the WLU log.

## Daily Flow-136
252/136 - Golden Hills | [5 empty] | MWAF - Use P.O.E. Meter which is same as AH(x) | [5 empty] | Hyper Links'!A1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total | Avg. | Max | Proof
2019-01-01 | 0.147 | 0.091 | 0.137 | 0.139 | 0.101 | 0.094 | 0.093 | 0.099 | 0.148 | 0.086 | 0.14 | 0.125 | 0.119 | 0.118 | 0.106 | 0.125 | 0.129 | 0.108 | 0.136 | 0.137 | 0.121 | 0.134 | 0.13 | 0.118 | 0.135 | 0.125 | 0.099 | 0.098 | 0.104 | 0.126 | 0.11 |  | 3.678 | 0.11862 | 0.148 | 0
February | 0.139 | 0.124 | 0.117 | 0.117 | 0.084 | 0.117 | 0.121 | 0.165 | 0.131 | 0.129 | 0.129 | 0.077 | 0.16 | 0.124 | 0.111 | 0.136 | 0.136 | 0.161 | 0.133 | 0.155 | 0.138 | 0.146 | 0.162 | 0.162 | 0.154 | 0.152 | 0.116 | 0.112 |  |  |  |  | 3.708 | 0.1325 | 0.165 | 0
March | 0.147 | 0.154 | 0.125 | 0.125 | 0.09 | 0.129 | 0.168 | 0.135 | 0.17 | 0.169 | 0.153 | 0.15 | 0.09 | 0.145 | 0.231 | 0.15 | 0.151 | 0.152 | 0.133 | 0.146 | 0.144 | 0.24 | 0.153 | 0.159 | 0.159 | 0.242 | 0.149 | 0.137 | 0.208 | 0.135 | 0.195 |  | 4.834 | 0.15631 | 0.242 | 0
April | 0.196 | 0.15 | 0.126 | 0.192 | 0.148 | 0.141 | 0.141 | 0.164 | 0.107 | 0.124 | 0.181 | 0.199 | 0.164 | 0.164 | 0.162 | 0.108 | 0.141 | 0.187 | 0.144 | 0.122 | 0.121 | 0.15 | 0.094 | 0.182 | 0.213 | 0.129 | 0.11 | 0.167 | 0.167 | 0.105 |  |  | 4.499 | 0.14832 | 0.213 | 0
May | 0.173 | 0.16 | 0.201 | 0.148 | 0.145 | 0.144 | 0.096 | 0.12 | 0.184 | 0.188 | 0.156 | 0.157 | 0.164 | 0.111 | 0.16 | 0.142 | 0.194 | 0.185 | 0.185 | 0.202 | 0.204 | 0.217 | 0.217 | 0.213 | 0.236 | 0.236 | 0.246 | 0.235 | 0.17 | 0.253 | 0.309 |  | 5.751 | 0.18683 | 0.309 | 0
June | 0.294 | 0.294 | 0.233 | 0.395 | 0.58 | 0.38 | 0.582 | 0.382 | 0.178 | 0.135 | 0.102 | 0.137 | 0.14 | 0.115 | 0.141 | 0.145 | 0.145 | 0.117 | 0.117 | 0.071 | 0.149 | 0.186 | 0.155 | 0.155 | 0.107 | 0.209 | 0.136 | 0.203 | 0.144 | 0.143 |  |  | 6.27 | 0.20293 | 0.582 | 0
July | 0.18 | 0.116 | 0.174 | 0.156 | 0.12 | 0.142 | 0.271 | 0.082 | 0.104 | 0.204 | 0.109 | 0.15 | 0.11 | 0.11 | 0.163 | 0.099 | 0.166 | 0.177 | 0.149 | 0.144 | 0.144 | 0.092 | 0.126 | 0.124 | 0.096 | 0.14 | 0.103 | 0.132 | 0.132 | 0.073 | 0.139 |  | 4.227 | 0.13555 | 0.271 | 0
August | 0.137 | 0.157 | 0.152 | 0.156 | 0.157 | 0.086 | 0.127 | 0.099 | 0.168 | 0.151 | 0.151 | 0.084 | 0.11 | 0.148 | 0.169 | 0.069 | 0.109 | 0.109 | 0.106 | 0.093 | 0.127 | 0.108 | 0.141 | 0.151 | 0.151 | 0.118 | 0.076 | 0.133 | 0.103 | 0.118 | 0.106 |  | 3.87 | 0.12331 | 0.169 | 0
September | 0.136 | 0.135 | 0.073 | 0.113 | 0.112 | 0.121 | 0.148 | 0.149 | 0.157 | 0.107 | 0.198 | 0.15 | 0.127 | 0.143 | 0.142 | 0.141 | 0.132 | 0.177 | 0.167 | 0.144 | 0.191 | 0.16 | 0.16 | 0.15 | 0.142 | 0.177 | 0.144 | 0.201 | 0.201 | 0.193 |  |  | 4.491 | 0.15071 | 0.201 | 0
October | 0.188 | 0.177 | 0.186 | 0.231 | 0.19 | 0.188 | 0.187 | 0.076 | 0.16 | 0.158 | 0.163 | 0.174 | 0.173 | 0.19 | 0.131 | 0.201 | 0.134 | 0.138 | 0.146 | 0.146 | 0.08 | 0.091 | 0.138 | 0.146 | 0.121 | 0.134 | 0.123 | 0.123 | 0.166 | 0.14 | 0.136 |  | 4.735 | 0.15069 | 0.231 | 0
November | 0.128 | 0.142 | 0.142 | 0.16 | 0.092 | 0.18 | 0.144 | 0.17 | 0.121 | 0.121 | 0.145 | 0.137 | 0.169 | 0.181 | 0.138 | 0.087 | 0.116 | 0.116 | 0.104 | 0.139 | 0.153 | 0.122 | 0.205 | 0.141 | 0.141 | 0.111 | 0.13 | 0.195 | 0.116 | 0.121 |  |  | 4.167 | 0.13918 | 0.205 | 0
December | 0.139 | 0.139 | 0.114 | 0.172 | 0.126 | 0.168 | 0.13 | 0.151 | 0.151 | 0.096 | 0.171 | 0.15 | 0.159 | 0.122 | 0.122 | 0.121 | 0.121 | 0.121 | 0.124 | 0.082 | 0.114 | 0.138 | 0.127 | 0.053 | 0.121 | 0.106 | 0.102 | 0.133 | 0.137 | 0.138 | 0.081 |  | 3.929 | 0.1259 | 0.172 | 0
[32 empty] | Grand Total | 54.159

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Golden Hills | 3678000 | 3708000 | 4834000 | 4499000 | 5751000 | 6270000 | 4227000 | 3870000 | 4491000 | 4735000 | 4167000 | 3929000