## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Summertree | 1.2587 | 0.0035 | 0.35897 | 0.003 | 0.03309 | 0 | 0.70731 | 0.00125 | 2.2325 | 0.002 | 1.7259 | 0.0005 | 1.742 | 0.007 | 1.925 | 0.007 | 2.3613 | 0 | 2.0812 | 0.0016 | 0.60637 | 0.00105 | 0.26545 | 0.004 | 15.3286
Total | 1.2622 |  | 0.36197 |  | 0.03309 |  | 0.70856 |  | 2.2345 |  | 1.7264 |  | 1.749 |  | 1.932 |  | 2.3613 |  | 2.0828 |  | 0.60742 |  | 0.26945

## Summertree
252/414 - Summertree
PWS ID No. 6511423
Hyper Links'!A1 | Master I/C Meter |  |  | Total Water Used/Loss | [7 empty] | Pasco County Acct 080930 Master Mtr (Mtr 1) 16839838 Water Meter 2 16839840 | [9 empty] | UIF |  |  | UIF
| Purchased | Purch. Daily Avg. | Purch. Daily Max. | Gallons Used | Gallons Loss | Total Used/ Loss | I/C Purch., Less Gallons Loss/ Used | Billed Consumption | Total AFW( Total Used/Loss + Billed) | 2019 AFW (%) | 2018 AFW % | From | To | No. of Cons. Days | Meter #2 Previous Read | Meter #2 Current Read | Mtr #2 Flow | Meter #1 Previous Read | Meter #1 Current Read | Mtr #1 Flow | Total Flow | Meter #2 Previous Read | Meter #2 Current Read | Mtr #2 Flow | Meter #1 Previous Read | Meter #1 Current Read | Mtr #1 Flow | Total Flow
January 2019 | 4.778 | 0.15111 | 0.27418 | 1.2587 | 0.0035 | 1.2622 | 3.5158 | 2.7062 | 3.9684 | 83.05% | 86.92% | 2018-12-28 | 2019-01-29 | 32 |  |  |  | 59836 | 64760 | 4.924 | 4.924 |  |  |  | 59837000 | 64754630 | 4.9176 | 4.9176
February | 3.3222 | 0.11849 | 0.33632 | 0.35897 | 0.003 | 0.36197 | 2.9602 | 2.5961 | 2.9581 | 89.04% | 89.51% | 2019-01-29 | 2019-02-28 | 30 |  |  |  | 64760 | 68297 | 3.537 | 3.537 |  |  |  | 64754630 | 68302550 | 3.5479 | 3.5479
March | 3.0654 | 0.098413 | 0.23876 | 0.03309 | 0 | 0.03309 | 3.0323 | 2.7966 | 2.8297 | 92.31% | 91.44% | 2019-02-28 | 2019-03-29 | 29 |  |  |  | 68297 | 71128 | 2.831 | 2.831 |  |  |  | 68302550 | 71216580 | 2.914 | 2.914
April | 3.5068 | 0.11475 | 0.22432 | 0.70731 | 0.00125 | 0.70856 | 2.7982 | 2.4876 | 3.1961 | 91.14% | 87.62% | 2019-03-29 | 2019-04-29 | 31 |  |  |  | 71128 | 74708 | 3.58 | 3.58 |  |  |  | 71216580 | 74730320 | 3.5137 | 3.5137
May | 4.6901 | 0.154 | 0.31124 | 2.2325 | 0.002 | 2.2345 | 2.4556 | 2.2709 | 4.5053 | 96.06% | 87.69% | 2019-04-29 | 2019-05-31 | 32 |  |  |  | 74708 | 79602 | 4.894 | 4.894 |  |  |  | 74730320 | 79564861 | 4.8345 | 4.8345
June | 4.2416 | 0.1461 | 0.34146 | 1.7259 | 0.0005 | 1.7264 | 2.5152 | 2.1847 | 3.9111 | 92.21% | 89.55% | 2019-05-31 | 2019-06-28 | 28 |  |  |  | 79602 | 83686 | 4.084 | 4.084 |  |  |  | 79564861 | 83676990 | 4.1121 | 4.1121
July | 4.4429 | 0.13775 | 0.33703 | 1.742 | 0.007 | 1.749 | 2.694 | 2.1662 | 3.9151 | 88.12% | 101.2% | 2019-06-28 | 2019-07-30 | 32 |  |  |  | 83686 | 88114 | 4.428 | 4.428 |  |  |  | 83676990 | 88249350 | 4.5724 | 4.5724
August | 4.1067 | 0.13327 | 0.28185 | 1.925 | 0.007 | 1.932 | 2.1747 | 2.0763 | 4.0083 | 97.6% | 94.46% | 2019-07-30 | 2019-08-30 | 31 |  |  |  | 88114 | 92097 | 3.983 | 3.983 |  |  |  | 88249350 | 92169400 | 3.92 | 3.92
September | 4.7038 | 0.1601 | 0.3347 | 2.3613 | 0 | 2.3613 | 2.3426 | 2.0902 | 4.4515 | 94.64% | 97.29% | 2019-08-30 | 2019-09-30 | 31 |  |  |  | 92097 | 97037 | 4.94 | 4.94 |  |  |  | 92169400 | 97059852 | 4.8905 | 4.8905
October | 4.6821 | 0.15022 | 0.37971 | 2.0812 | 0.0016 | 2.0828 | 2.5993 | 2.3578 | 4.4407 | 94.84% | 82.99% | 2019-09-30 | 2019-10-30 | 30 |  |  |  | 97037 | 101617 | 4.58 | 4.58 |  |  |  | 97059852 | 101633070 | 4.5732 | 4.5732
November | 3.1821 | 0.10579 | 0.28325 | 0.60637 | 0.00105 | 0.60742 | 2.5747 | 2.3346 | 2.942 | 92.45% | 94.4% | 2019-10-30 | 2019-11-27 | 28 |  |  |  | 101617 | 104680 | 3.063 | 3.063 |  |  |  | 101633070 | 104692090 | 3.059 | 3.059
December | 2.9967 | 0.09551 | 0.27192 | 0.26545 | 0.004 | 0.26945 | 2.7273 | 2.4612 | 2.7307 | 91.12% | 82.48% | 2019-11-27 | 2019-12-27 | 30 |  |  |  | 104680 | 107549 | 2.869 | 2.869 |  |  |  | 104692090 | 107543390 | 2.8513 | 2.8513
YTDTotal/Avg/Max | 47.7185 | 0.13046 | 0.37971 | 15.2977 | 0.0309 | 15.3286 | 32.3899 | 28.5284 | 43.857 | [10 empty] | Total | 47.713 | [5 empty] | Total | 47.7064
| 47.7185 | [7 empty] | 43.857
[7 empty] | Proof to Total Billed | 0
Water Loss-Use'!A1 | [8 empty] | YTD AFW% Jan - Dec | 91.91%
[5 empty] | Water Loss/Use Proof | 0
Verif. W/UIWtrMn WLU wrksht & WAF Input
Pasco County Meters
|  | Master Meter SN: | 16839838
|  | 2" Meter SN: | 16839840

## Daily Flow-414
252/414 - Summertree | [5 empty] | MWAF - link to AH(x) |  |  |  | Hyper Links'!A1
Pasco County I/C Master Meter |  |  | FLOWS
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max. | Proof
2019-01-01 | 0.21715 | 0.17854 | 0.201 | 0.1381 | 0.18779 | 0 | 0.22745 | 0.25755 | 0.0622 | 0.20746 | 0.14938 | 0.12441 | 0 | 0.22664 | 0.19073 | 0.14438 | 0.13696 | 0.098082 | 0.20766 | 0.16741 | 0.27418 | 0.14306 | 0.12269 | 0.13031 | 0.10828 | 0.14758 | 0.15435 | 0.23725 | 0.11166 | 0.11536 | 0.11039 | 4.778 | 0.15111 | 0.27418 | 0
February | 0.11455 | 0.1268 | 0 | 0.1972 | 0.10613 | 0.09562 | 0.1153 | 0.10954 | 0.11818 | 0 | 0.19888 | 0.10979 | 0.10712 | 0.09389 | 0.09542 | 0.14808 | 0 | 0.16637 | 0.33632 | 0.23926 | 0.09797 | 0.14117 | 0.10907 | 0 | 0.19935 | 0.08803 | 0.1034 | 0.10474 |  |  |  | 3.3222 | 0.11849 | 0.33632 | 0
March | 0.0964 | 0.11506 | 0 | 0.16271 | 0.10097 | 0.099468 | 0.1472 | 0.1071 | 0.050316 | 0 | 0.23876 | 0.0926 | 0.09732 | 0.11732 | 0.0614 | 0.13233 | 0 | 0.20564 | 0.09333 | 0.09247 | 0.11591 | 0.08973 | 0.11429 | 0 | 0.21371 | 0.07816 | 0.10946 | 0.10211 | 0.08026 | 0.1514 | 0 | 3.0654 | 0.098413 | 0.23876 | 0
April | 0.19225 | 0.10145 | 0.10851 | 0.095114 | 0.08838 | 0.12079 | 0 | 0.19633 | 0.06424 | 0.092955 | 0.097575 | 0.10474 | 0.14076 | 0 | 0.18339 | 0.09478 | 0.1227 | 0.14097 | 0.12891 | 0.16557 | 0 | 0.22432 | 0.1153 | 0.12725 | 0.1471 | 0.11556 | 0.20004 | 0 | 0.19334 | 0.14446 |  | 3.5068 | 0.11475 | 0.22432 | 0
May | 0.10028 | 0.12378 | 0.12643 | 0.1655 | 0 | 0.20557 | 0.14444 | 0.1941 | 0.17417 | 0.09881 | 0.19587 | 0 | 0.31012 | 0.144 | 0.18762 | 0.17444 | 0.17347 | 0.20867 | 0 | 0.27613 | 0.1573 | 0.15714 | 0.15322 | 0.20026 | 0.12116 | 0 | 0.31124 | 0.13431 | 0.20229 | 0.12724 | 0.12253 | 4.6901 | 0.154 | 0.31124 | 0
June | 0.15088 | 0 | 0.30306 | 0.1895 | 0.15049 | 0.092637 | 0.14894 | 0.16727 | 0 | 0.29792 | 0.16423 | 0.1339 | 0.11269 | 0.14795 | 0.15776 | 0 | 0.34146 | 0.12935 | 0.14659 | 0.15766 | 0.14159 | 0.1206 | 0 | 0.29995 | 0.15192 | 0.12852 | 0.11557 | 0.1617 | 0.12942 | 0 |  | 4.2416 | 0.1461 | 0.34146 | 0
July | 0.30467 | 0.14355 | 0.12963 | 0.11033 | 0.16749 | 0.11623 | 0 | 0.3056 | 0.13026 | 0.13765 | 0.13118 | 0.15036 | 0.098545 | 0 | 0.30462 | 0.12429 | 0.15692 | 0.14735 | 0.14257 | 0.11261 | 0 | 0.33703 | 0.13029 | 0.14089 | 0.14416 | 0.13618 | 0.10557 | 0 | 0.28681 | 0.12203 | 0.12612 | 4.4429 | 0.13775 | 0.33703 | 0
August | 0.13655 | 0.10522 | 0.11224 | 0 | 0.2447 | 0.16722 | 0.13497 | 0.13005 | 0.11565 | 0.13035 | 0 | 0.22802 | 0.15852 | 0.11126 | 0.089452 | 0.1321 | 0.11767 | 0 | 0.25089 | 0.15302 | 0.12852 | 0.12787 | 0.14453 | 0.11663 | 0 | 0.28185 | 0.153 | 0.15356 | 0.16473 | 0.13148 | 0.18665 | 4.1067 | 0.13327 | 0.28185 | 0
September | 0 | 0.22113 | 0.20451 | 0.15449 | 0.10133 | 0.20625 | 0.12011 | 0 | 0.31519 | 0.14071 | 0.18684 | 0.14141 | 0.12938 | 0.16548 | 0 | 0.3347 | 0.14362 | 0.14254 | 0.18166 | 0.1188 | 0.16166 | 0 | 0.33028 | 0.19745 | 0.13481 | 0.13901 | 0.19754 | 0.20593 | 0 | 0.32898 |  | 4.7038 | 0.1601 | 0.3347 | 0
October | 0.15294 | 0.17278 | 0.16099 | 0.15001 | 0.11756 | 0 | 0.35856 | 0.16978 | 0.16058 | 0.20008 | 0.15216 | 0.17619 | 0 | 0.31573 | 0.15833 | 0.15324 | 0.11754 | 0.20466 | 0.084362 | 0 | 0.37971 | 0.16252 | 0.15628 | 0.13455 | 0.14954 | 0.089771 | 0 | 0.23839 | 0.14964 | 0.10733 | 0.1089 | 4.6821 | 0.15022 | 0.37971 | 0
November | 0.10387 | 0.11603 | 0 | 0.28325 | 0.095764 | 0.16087 | 0.11369 | 0.14531 | 0.07844 | 0 | 0.24381 | 0.1268 | 0.20734 | 0.11182 | 0.08509 | 0.070489 | 0 | 0.18741 | 0.09625 | 0.08695 | 0.08528 | 0.11537 | 0.0757 | 0 | 0.16094 | 0.08494 | 0.11471 | 0.06795 | 0.09596 | 0.06812 |  | 3.1821 | 0.10579 | 0.28325 | 0
December | 0 | 0.22696 | 0.044049 | 0.27192 | 0.10003 | 0.13591 | 0.091596 | 0 | 0.18713 | 0.05119 | 0.12201 | 0.0948 | 0.07323 | 0.088626 | 0 | 0.15417 | 0.0967 | 0.11823 | 0.07003 | 0.1013 | 0.091411 | 0 | 0.17483 | 0.060772 | 0.092364 | 0.11273 | 0.05927 | 0.099908 | 0 | 0.17137 | 0.10619 | 2.9967 | 0.09551 | 0.27192 | 0
Pasco County I/C Master Meter |  |  | READS | [28 empty] | 47.7185
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
2019-01-01 | 60741290 | 60919830 | 61120830 | 61258930 | 61446719 | 0 | 61674169 | 61931716 | 61993916 | 62201380 | 62350760 | 62475170 | 0 | 62701810 | 62892540 | 63036920 | 63173880 | 63271962 | 63479620 | 0 | 63753800 | 63896860 | 64019550 | 64149860 | 64258140 | 64405716 | 0 | 64642970 | 64754630 | 64869990 | 64980380
February | 65094930 | 65221726 | 0 | 65418930 | 65525060 | 65620680 | 65735980 | 65845520 | 65963703 | 0 | 66162580 | 66272370 | 66379490 | 66473380 | 66568800 | 66716875 | 0 | 66883240 | 67219560 | 67458820 | 67556790 | 67697960 | 67807034 | 0 | 68006380 | 68094410 | 68197810 | 68302550
March | 68398950 | 68514011 | 0 | 68676720 | 68777690 | 68877158 | 69024361 | 69131461 | 69181777 | 0 | 69420540 | 69513140 | 69610460 | 69727780 | 69789180 | 69921512 | 0 | 70127150 | 70220480 | 70312950 | 70428860 | 70518590 | 70632885 | 0 | 70846590 | 70924750 | 71034210 | 71136320 | 71216580 | 71367984 | 0
April | 71560230 | 71661683 | 71770196 | 71865310 | 71953690 | 72074478 | 0 | 72270810 | 72335050 | 72428005 | 72525580 | 72630320 | 72771081 | 0 | 72954470 | 73049250 | 73171950 | 73312920 | 73441830 | 73607402 | 0 | 73831720 | 73947017 | 74074265 | 74221367 | 74336931 | 74536975 | 0 | 74730320 | 74874780
May | 74975060 | 75098840 | 75225265 | 75390763 | 0 | 75596330 | 75740770 | 75934870 | 76109040 | 76207850 | 76403715 | 0 | 76713840 | 76857840 | 77045460 | 77219900 | 77393370 | 77602044 | 0 | 77878170 | 78035470 | 78192613 | 78345830 | 78546090 | 78667249 | 0 | 78978490 | 79112800 | 79315092 | 79442332 | 79564861
June | 79715741 | 0 | 80018800 | 80208300 | 80358790 | 80451427 | 80600370 | 80767642 | 0 | 81065560 | 81229790 | 81363690 | 81476378 | 81624324 | 81782083 | 0 | 82123540 | 82252890 | 82399480 | 82557140 | 82698730 | 82819330 | 0 | 83119280 | 83271200 | 83399720 | 83515289 | 83676990 | 83806413 | 0
July | 84111080 | 84254630 | 84384260 | 84494594 | 84662080 | 84778312 | 0 | 85083910 | 85214170 | 85351820 | 85483000 | 85633360 | 85731905 | 0 | 86036530 | 86160820 | 86317740 | 86465090 | 86607660 | 86720272 | 0 | 87057300 | 87187590 | 87328480 | 87472640 | 87608820 | 87714387 | 0 | 88001200 | 88123230 | 88249350
August | 88385900 | 88491120 | 88603359 |  | 88848060 | 89015280 | 89150250 | 89280300 | 89395950 | 89526300 | 0 | 89754318 | 89912840 | 90024100 | 90113552 | 90245650 | 90363319 | 0 | 90614208 | 90767230 | 90895750 | 91023620 | 91168150 | 91284784 | 0 | 91566630 | 91719630 | 91873190 | 92037920 | 92169400 | 92356048
September | 0 | 92577180 | 92781690 | 92936180 | 93037513 | 93243760 | 93363872 | 0 | 93679060 | 93819770 | 94006610 | 94148020 | 94277400 | 94442884 | 0 | 94777580 | 94921200 | 95063740 | 95245400 | 95364200 | 95525857 | 0 | 95856140 | 96053590 | 96188400 | 96327410 | 96524950 | 96730876 | 0 | 97059852
October | 97212794 | 97385576 | 97546565 | 97696577 | 97814139 | 0 | 98172696 | 98342478 | 98503060 | 98703140 | 98855300 | 99031488 | 0 | 99347220 | 99505550 | 99658790 | 99776328 | 99980983 | 100065345 | 0 | 100445050 | 100607570 | 100763850 | 100898400 | 101047941 | 101137712 | 0 | 101376100 | 101525740 | 101633070 | 101741970
November | 101845840 | 101961865 | 0 | 102245120 | 102340884 | 102501750 | 102615440 | 102760747 | 102839187 | 0 | 103083000 | 103209800 | 103417140 | 103528960 | 103614050 | 103684539 | 0 | 103871950 | 103968200 | 104055150 | 104140430 | 104255800 | 104331500 | 0 | 104492440 | 104577380 | 104692090 | 104760040 | 104856000 | 104924120
December | 0 | 105151081 | 105195130 | 105467050 | 105567081 | 105702990 | 105794586 | 0 | 105981720 | 106032910 | 106154920 | 106249720 | 106322950 | 106411576 | 0 | 106565750 | 106662450 | 106780680 | 106850710 | 106952014 | 107043425 | 0 | 107218250 | 107279022 | 107371386 | 107484120 | 107543390 | 107643298 | 0 | 107814670 | 107920860

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Summertree | 4777997.6667 | 3322170 | 3065434 | 3506796 | 4690081 | 4241552 | 4442937 | 4106698 | 4703804 | 4682118 | 3182150 | 2996740