## Appendix A-1
FPL 002581
20240012-EG
By Program Component
a. kW/Premise |  |  | b. kW/Appliance |  |  | c. Participant and Appliance Counts
Day Type | Extreme Temperature Day* | Typical System Peak Day** | Day Type | Extreme Temperature Day* | Typical System Peak Day** | Program Component | Participants | Appliances
Program Component |  |  | Program Component
Summer |  |  | Summer |  |  | Summer
AGGREGATE | 1.0219 | 0.96014 | AGGREGATE | -- | -- | All Participants in 2015 | 688151 | --
Air Conditioner Cycling (50%) | 0.73834 | 0.67769 | Air Conditioner Cycling (50%) | 0.70689 | 0.64883 | Air Conditioner Cycling (50%) | 544576 | 568802.7413
Air Conditioner Shedding | 2.3614 | 2.2453 | Air Conditioner Shedding | 2.162 | 2.0557 | Air Conditioner Shedding | 81565 | 89087.9552
Water Heater | 0.17169 | 0.17169 | Water Heater | 0.17023 | 0.17023 | Water Heater | 420562 | 424166.4908
Pool Pump | 0.61048 | 0.61048 | Pool Pump | 0.61003 | 0.61003 | Pool Pump | 59493 | 59536.06
Winter |  |  | Winter |  |  | Winter
AGGREGATE (Using All Participants) | 1.0625 | 0.92032 | AGGREGATE | -- | -- | All Participants in 2015 | 688151 | --
AGGREGATE (Per Winter Participant) | 1.3044 | 1.1299 |  |  |  | Winter Participants Only | 560521 | --
Space Heater Cycling (50%) | 0.76599 | 0.61118 | Space Heater Cycling (50%) | 0.73649 | 0.58765 | Space Heater Cycling (50%) | 404678 | 420883.7039
Space Heater Shedding | 3.6086 | 3.0172 | Space Heater Shedding | 3.3983 | 2.8413 | Space Heater Shedding | 59491 | 63173.6728
Water Heater | 0.47421 | 0.47421 | Water Heater | 0.47018 | 0.47018 | Water Heater | 420562 | 424166.4908
Pool Pump | 0.1187 | 0.1187 | Pool Pump | 0.11862 | 0.11862 | Pool Pump | 59493 | 59536.06
d. kW/Premise Under Alternative 58% Cycling Strategy*** |  |  | e. kW/Appliance Under Alternative 58% Cycling Strategy*** |  |  | f. 58% Cycling Counts
Day Type | Extreme Temperature Day* | Typical System Peak Day** | Day Type | Extreme Temperature Day* | Typical System Peak Day** | Program Component | Participants | Appliances
Program Component |  |  | Program Component
Summer |  |  | Summer |  |  | Summer
AGGREGATE | 1.1858 | 1.1149 | AGGREGATE | -- | -- | All Participants in 2015 | 688151 | --
Air Conditioner Cycling (58%) | 0.94543 | 0.8733 | Air Conditioner Cycling (58%) | 0.90516 | 0.8361 | Air Conditioner Cycling (58%) | 544576 | 568802.7413
g. kW/Premise Under Scram Strategy† |  |  | h. kW/Appliance Under Scram Strategy† |  |  | i. Scram Counts
Day Type | Extreme Temperature Day* | Typical System Peak Day** | Day Type | Extreme Temperature Day* | Typical System Peak Day** | Program Component | Participants | Appliances
Program Component |  |  | Program Component
Summer |  |  | Summer |  |  | Summer
AGGREGATE | 2.1567 | 2.0579 | AGGREGATE | -- | -- | All Participants in 2015 | 688151 | --
Air Conditioner Scram (100%) | 2.1969 | 2.0884 | Air Conditioner Scram (100%) | 2.0909 | 1.9876 | Air Conditioner Scram (100%) | 626141 | 657890.6965
Winter |  |  | Winter |  |  | Winter
AGGREGATE (Using All Participants) | 2.6124 | 2.2307 | AGGREGATE | -- | -- | All Participants in 2015 | 688151 | --
AGGREGATE (Per Winter Participant) | 3.2072 | 2.7386 |  |  |  | Winter Participants Only | 560521 | --
Space Heater Scram (100%) | 3.4281 | 2.8622 | Space Heater Scram (100%) | 3.2872 | 2.7446 | Space Heater Scram (100%) | 464169 | 484057.3767
* Extreme Temperature Day: Summer: Days in which the weighted average temperature at hour 1600 is 96+oF. Winter: Days in which the weighted average temperature at hour 0700 is less than 36oF.
** Typical System Peak Day: Summer: Days in which the weighted average temperature at hour 1600 is 90-<96+oF. Winter: Days in which the weighted average temperature at hour 700 is 36-<46oF.
*** 58 percent AC cycling was introduced to the program in 2007.
† Scram is 100% cycling of all appliances, regardless of whether they signed up for cycling or shed. The distribution by home type of the overall OnCall population is slightly different than the distribution by home type of Shed customers only. This is why, at system level, Scram kW/Appliance (table h) are slightly different than Shed kW/Appliance (table b).
All results are "at the meter" and include an 8.45 percent control failure rate.
Summer peak hour is 4-5 pm; winter peak hour is 7-8 am.

## Appendix A-2
FPL 002582
20240012-EG
Typical Control Day
(kWh/Participant)
Program Component | Summer* |  |  |  | Winter**
| Energy Reduction (kWh) | Energy Snapback (kWh) | Net Energy Savings (kWh) | Control Period | Energy Reduction (kWh) | Energy Snapback (kWh) | Net Energy Savings (kWh) | Control Period
AGGREGATE CYCLING | 2.4715 | 1.5876 | 0.88392 | 3-6 p.m. | 2.687 | 1.409 | 1.2781 | 6-9 a.m.
AGGREGATE UNDER SCRAM | 5.0842 | 4.1215 | 0.96274 | 3-6 p.m. | 6.9821 | 2.9262 | 4.0559 | 6-9 a.m.
Air Conditioner Cycling | 1.6688 | 0.98266 | 0.68617 | 3-6 p.m. | -- | -- | --
Air Conditioner Shedding | 5.4047 | 4.5503 | 0.85442 | 3-6 p.m. | -- | -- | --
Space Heater Cycling | -- | -- | -- |  | 1.8001 | 0.6363 | 1.1638 | 6-9 a.m.
Space Heater Shedding | -- | -- | -- |  | 9.6737 | 3.4178 | 6.2559 | 6-9 a.m.
Water Heater | 0.56929 | 0.44278 | 0.12651 | 3-6 p.m. | 1.2291 | 1.2097 | 0.019355 | 6-9 a.m.
Pool Pump | 1.8777 | 0 | 1.8777 | 3-6 p.m. | 0.47481 | 0 | 0.47481 | 6-9 a.m.
* Based on Exhibit 1-52 in the FPL Summer Season On Call Program Evaluation Volume II: Impact July 1995
** Based on Exhibit 1-43 in the FPL Winter Season On Call Program Impact Evaluation, November 1995
All results assume 3-hour control during peak period.
Energy impacts are adjusted so that the ratio of demand to energy impacts remains constant.
Air conditioning cycling results represent program performance under 50% cycling.
Aggregate result assumes all participants are cycled according to the cycling strategy they have signed up for.
Aggregate SCRAM result assumes all participants (including AC cycling and SH cycling participants) are shed.

## Appendix A-3
FPL 002583
20240012-EG
Based on Actual Events Implemented in FPL Territory
(kWh/Participant/year)
Program Year | Annual |  |  |  | Summer |  |  | Shoulder |  |  | Winter
| N events per year | Average event length (hours) | Energy Reduction (kWh/year) | Net Energy Savings (kWh/year) | N events per year | Energy Reduction (kWh/year) | Net Energy Savings (kWhyear) | N events per year | Energy Reduction (kWh/year) | Net Energy Savings (kWhyear) | N events per year | Energy Reduction (kWh/year) | Net Energy Savings (kWhyear)
2009 | 3 | 0.84444 | 0.51314 | 0.24101 | 1 | 0.13504 | 0.063422 | 2 | 0.37811 | 0.17758 | 0 | 0 | 0
2010 | 12 | 1.6264 | 0.82858 | 0.33668 | 9 | 0.72916 | 0.28973 | 1 | 0.057591 | 0.027048 | 2 | 0.041829 | 0.019896
2011 | 30 | 0.81656 | 1.9323 | 0.87506 | 26 | 1.5699 | 0.70485 | 4 | 0.3624 | 0.17021 | 0 | 0 | 0
2012 | 21 | 0.3 | 0.84247 | 0.31809 | 12 | 0.36666 | 0.16386 | 6 | 0.30396 | 0.14276 | 3 | 0.17185 | 0.011471
2013 | 12 | 0.40972 | 0.66349 | 0.31162 | 7 | 0.43618 | 0.20486 | 5 | 0.22731 | 0.10676 | 0 | 0 | 0
2014 | 8 | 0.675 | 1.1716 | 0.3984 | 5 | 0.90574 | 0.32783 | 1 | 0.18161 | 0.064953 | 2 | 0.084227 | 0.0056221
2015 | 4 | 0.55833 | 0.36247 | 0.087871 | 3 | 0.35051 | 0.082252 | 1 | 0.011963 | 0.0056187 | 0 | 0 | 0
2016 | 1 | 3 | 0.0059345 | 0.0019495 | 1 | 0.0059345 | 0.0019495 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 5 | 0.36806 | 0.044162 | 0.011889 | 1 | 0.0077672 | 0.003648 | 2 | 0.014425 | 0.0067748 | 2 | 0.02197 | 0.0014665
2018 | 2 | 0.39394 | 0.14713 | 0.082903 | 1 | 0.02308 | 0.01084 | 0 | 0 | 0 | 1 | 0.12405 | 0.072063
2019 | 1 | 0.425 | 0.097673 | 0.045874 | 1 | 0.097673 | 0.045874 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 2 | 0.56 | 0.022034 | 0.01691 | 2 | 0.022034 | 0.01691 | 0 | 0 | 0 | 0 | 0 | 0
Annual Average 2005-2021 | 9 | 1.1591 | 1.8744 | 0.87237 | 6.25 | 0.85292 | 0.3814 | 2.0625 | 0.32542 | 0.095814 | 0.6875 | 0.69611 | 0.39516
Annual Energy Savings are based on actual Load Control events implemented by FPL in each calendar year. Event information provided by Program Manager in file "Load Control history.xls".
Result for 2005-2022 period is the average of annual savings achieved through actual events implemented by FPL in this time period.
Energy reduction is calculated as load interrupted (MW) times hours of interruption. No corrections were made to the load interrupted values.
The ratio of net energy savings-to-energy reduction from Exhibit A-2 is applied to energy reduction from actual events to estimate net energy savings.