91

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 060198-EI

3

In the Matter of:

4

REQUIREMENT FOR INVESTOR-OWNED ELECTRIC

5   UTILITIES TO FILE ONGOING STORM

PREPAREDNESS PLANS AND IMPLEMENTATION

6   COST ESTIMATES.

7   _______________________________________/

8

9             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

10               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

11

12                              VOLUME 2

13                        Pages 91 through 324

14

15   PROCEEDINGS:        HEARING

16   BEFORE:             CHAIRMAN LISA POLAK EDGAR

COMMISSIONER MATTHEW M. CARTER, II

17                       COMMISSIONER KATRINA J. TEW

18   DATE:               Monday, February 5, 2007

19   TIME:               Commenced at 9:30 a.m.

Concluded at 3:30 p.m.

20

PLACE:              Betty Easley Conference Center

21                         Room 148

4075 Esplanade Way

22                       Tallahassee, Florida

23   REPORTED BY:        JANE FAUROT, RPR

Official Commission Reporter

24                       (850)413-6732

25   APPEARANCES:        (As heretofore noted.)

FLORIDA PUBLIC SERVICE COMMISSION

92

1                              I N D E X

2                              WITNESSES

3

NAME:                                               PAGE NO.

4

WILLIAM SLAYMAKER

5

Direct Examination by Mr. Butler                  94

6        Prefiled Direct Testimony Inserted                96

Cross Examination by Mr. Armstrong               112

7

8   JOHN A. HARRIS

9        Direct Examination by Mr. Butler                 131

Prefiled Direct Testimony Inserted               134

10        Cross Examination by Mr. Armstrong               148

Redirect Examination by Mr. Butler               169

11

12   MANUEL B. MIRANDA

13        Direct Examination by Mr. Butler                 172

Prefiled Direct Testimony Inserted               174

14        Cross Examination by Mr. Armstrong               191

Cross Examination by Ms. Gervasi                 227

15        Redirect Examination by Mr. Butler               244

16

TERRY LYTLE (Rebuttal)

17

Direct Examination by Mr. Armstrong              251

18        Prefiled Rebuttal Testimony Inserted             255

Cross Examination by Mr. Butler                  284

19

20   KEITH MILLER (Rebuttal)

21        Direct Examination by Mr. Armstrong              293

Prefiled Rebuttal Testimony Inserted             294

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

93

1                              EXHIBITS

2   NUMBER:                                      ID.    ADMTD.

3

2         FPL Fact Sheet                     123     131

4

3         FPL Lateral Circuits: Years Since  123     131

5             Last Trim

6   4         JAH-1                              132     170

7   5         JAH-2                              132     170

8   6         JAH-3                              132     170

9   7         JAH-4                              132     170

10   8         JAH-5                              132     170

11   9         Average Lateral Mile to be         150     170

Trimmed to Meet a Six-year Cycle

12

10        Lateral Miles Trimmed              156     171

13

11        MBM-1                              173     249

14

12        MBM-2                              173     249

15

13        Other Utility Lateral Trim Cycles  195     250

16

14        Florida Power Lateral Trimming     196     250

17             per year in North Miami

18   15        FPL Alleged Cost of Trimming       198     250

Cycle Program

19

16        Florida Power Historical and       201     250

20             Suggested Cost of Tree Trimming

21   17        Impacts of Feeder Customer         219     250

Customer Interruptions

22

18        North Miami Vegetation-related     229     250

23             Reliability Statistics

24   19        USDA Plant Hardiness Zones by      322     322

Florida Counties

25

FLORIDA PUBLIC SERVICE COMMISSION

94

1                         P R O C E E D I N G S

2             MR. BUTLER:  Our first witness will be Mr. Slaymaker,

3   and I would ask him to go ahead and start moving to the stand.

4             (Pause).

5             MR. BUTLER:  Are you ready to proceed?

6             CHAIRMAN EDGAR:  We are ready.

7             MR. BUTLER:  Thank you.

8             Madam Chairman, we have called FPL's first witness,

9   Mr. William Slaymaker to the stand.  I believe he has

10   previously been sworn.  Is that correct, Mr. Slaymaker?

11             THE WITNESS:  Yes, I have.

12                          WILLIAM SLAYMAKER

13   was called as a witness on behalf of Florida Power and Light

14   Company, and having been duly sworn, testified as follows:

15                         DIRECT EXAMINATION

16   BY MR. BUTLER:

17        Q    Would you please state your full name and business

18   address for the record?

19        A    William Slaymaker.  My business address is 7200

20   Northwest 4th Street, Plantation, Florida.

21        Q    By whom are you employed and in what capacity?

22        A    I am employed by Florida Power and Light as a

23   supervisor of the vegetation management program.

24        Q    Do you have before you prepared written testimony

25   consisting of 14 pages?

FLORIDA PUBLIC SERVICE COMMISSION

95

1        A    Yes, I do.

2        Q    And no attached exhibits?

3        A    Yes, I do.

4        Q    Was this testimony prepared under your direction,

5   supervision, or control?

6        A    Yes, it was.

7        Q    Do you have any changes or corrections to your

8   testimony at this time?

9        A    Actually, yes, there is one minor correction with the

10   graduation date from college.  I had in the testimony 1967 and

11   actually it's 1976.

12        Q    And that appears correct on Page 1, Line 21?  I

13   apologize for leading the witness, but I hoping to get that

14   through quickly.  Is that correct?

15        A    That is correct.

16        Q    As corrected, do you adopt this as your prepared

17   testimony in this proceeding?

18        A    Yes, I do.

19             MR. BUTLER:  I ask that Mr. Slaymaker's testimony be

20   inserted into the record as though read.

21             CHAIRMAN EDGAR:  The prefiled testimony with the

22   correction will be entered into the record as though read.

23             MR. BUTLER:  Thank you.

24

25

FLORIDA PUBLIC SERVICE COMMISSION

110

1   BY MR. BUTLER:

2        Q    Mr. Slaymaker, would you please summarize your

3   testimony?

4        A    Thank you.  Yes, I will.  Good morning, Madam Chair

5   and Commissioners.  I would like to start off with my

6   background.  I'm a forester, and an ISA certified arborist.  I

7   have worked for over 30 years in urban forestry and the

8   arboriculture industry.  This experience includes serving as

9   urban forestry coordinator with the Florida Division of

10   Forestry as well as Director of Forestry Operations with the

11   City of New York.  I have worked with Florida Power and Light's

12   vegetation management organization since 1991.

13             The primary objective of Florida Power and Light's

14   vegetation management program is to clear vegetation from our

15   distribution facilities in order to protect the integrity of

16   that system and provide safe, reliable, and cost-effective

17   electric service.  We do this while preserving trees and

18   protecting trees meeting all codes and line clearing standards.

19   FPL employs a staff of arborists, such as myself, and FPL

20   arborists responsibilities include ensuring compliance with

21   standards and guidelines, the oversight of line clearing

22   contractors, and customer communications.  Additionally, FPL

23   arborists are expected to build and maintain relationships with

24   local authorities as well as tree commissioners and urban

25   foresters.  These relationships provide an excellent forum to

FLORIDA PUBLIC SERVICE COMMISSION

111

1   discuss issues and program practices.

2             The company prides itself in the fact that we have

3   been able to work effectively with local governments to resolve

4   vegetation concerns as they arise.  FPL has and will continue

5   to adhere to the National Electric Safety Code, the ANSI 8300,

6   and other applicable tree trimming standards when performing

7   our line clearing.  FPL intends to implement its

8   three-year/six-year proposal consistent with these standards

9   and codes.  FPL will monitor circuit performance and address

10   conditions that warrant attention outside of our normal planned

11   maintenance schedule.

12             Finally, regardless of trim cycles that are used,

13   vegetation management requires public cooperation.  FPL's

14   "Right Tree-Right Place" is a public education program based on

15   FPL's core belief that providing reliable electric service and

16   sustaining our natural environment can go hand-in-hand.  It is

17   a win/win partnership between FPL and our customers.  No amount

18   of tree trimming can substitute the smart landscaping and

19   responsible maintenance by property owners and local

20   communities.  "Right Tree-Right Place" is designated to

21   increase public awareness to this important fact.

22             That concludes my oral summary.

23             MR. BUTLER:  Thank you, Mr. Slaymaker.  I tender the

24   witness for cross-examination.

25             CHAIRMAN EDGAR:  Thank you.  Mr. Armstrong.

FLORIDA PUBLIC SERVICE COMMISSION

112

1             MR. ARMSTRONG:  Thank you, Madam Chair.

2                          CROSS EXAMINATION

3   BY MR. ARMSTRONG:

4        Q    Good morning, Mr. Slaymaker, how are you?

5        A    Good morning.  Fine.

6        Q    I refer to Page 11 of your testimony at Line 17.  You

7   refer there to the fact that one-sided growth frequently occurs

8   under natural conditions, is that correct?

9        A    One-sided growth is common.  You know, I think I'm

10   referring to conditions that you may see in a natural

11   environment in a wooded situation where, you know, that could

12   be very natural.

13        Q    Okay.  And one-sided growth can, though, it can cause

14   a tree to fall down into a power line, correct?

15        A    Well, the reference was, you know, not if the trees

16   are pruned properly and according to the standards that we trim

17   by.

18        Q    So it's your testimony that it is not more likely

19   that a one-sided tree would fall, could fall as opposed to a

20   properly situated tree growing naturally?

21        A    Not necessarily.  It depends on the tree and the

22   location, and a number of conditions.

23        Q    So it's your testimony that is not more likely for a

24   one-sided tree to fall into a power line than it would be for a

25   naturally growing natural looking tree.  That is your

FLORIDA PUBLIC SERVICE COMMISSION

113

1   testimony, it is not more likely?

2        A    Not if it is trimmed properly.

3        Q    You were here for the testimony of Mr. Lytle this

4   morning, correct?

5        A    Yes, I was.

6        Q    And you heard the questions regarding the average

7   six-year cycle under FPL's proposed lateral tree trimming

8   program?

9        A    Yes, I have.

10        Q    So, is it your understanding, that by average lateral

11   tree trimming cycle, some trees would be trimmed less

12   frequently than six years and some would be trimmed more

13   frequently?

14        A    The average cycle would be for the entire circuit.

15   You know, some circuits, depending on the species and the

16   conditions on that particular circuit may be trimmed more or

17   less frequently than the average, correct.

18        Q    So some trees would be trimmed more than six years

19   and some would be trimmed less than six years, correct?

20        A    The six-year average would be an average for a

21   particular circuit, yes.

22        Q    And it is your knowledge, you know that right now

23   Florida Power has taken ten years or more between tree

24   trimmings for trees, correct?

25        A    Currently, our average lateral cycle is approximately

FLORIDA PUBLIC SERVICE COMMISSION

114

1   ten years on a system level, and I believe it is currently

2   about 7.6 years in the City of North Miami.

3        Q    Okay.  So on a system-wide basis, the average right

4   now is ten years?

5        A    That's correct.

6        Q    So there are trees out there that might not have been

7   trimmed for 15 years?

8        A    Not necessarily.  FPL does have other components of

9   its program besides the scheduled maintenance portion of that

10   program.  We monitor the performance of particular circuits and

11   we identify and have components of our program to address

12   conditions that may come up between the scheduled maintenance

13   cycles.

14        Q    Mr. Slaymaker, an average of ten years -- and I will

15   play the game.  An average of ten years --

16             CHAIRMAN EDGAR:  Mr. Armstrong, don't badger the

17   witness, please.

18   BY MR. ARMSTRONG:

19        Q    Mr. Slaymaker, there are some trees that Florida

20   Power has cut in less than ten years, correct, less than the

21   ten-year cycle?

22        A    There are circuits that -- when we trim a circuit, we

23   trim to the appropriate standards and attain the appropriate

24   clearance following the existing guidelines and standards of

25   the industry.  We monitor the performance of those individual

FLORIDA PUBLIC SERVICE COMMISSION

115

1   circuits.  And based on the tree densities and the types of

2   trees on those particular circuits, some circuits may not need

3   trimming as frequently as other circuits.  Just flying in

4   yesterday into Tallahassee seeing a lot of pine trees, that

5   particular specie of tree, once you trim it, it doesn't

6   necessarily need to be trimmed very frequently.  So it really

7   is something that we look at on a case-by-case

8   circuit-by-circuit basis and we monitor the performance and we

9   evaluate and take measures if we need to take measures between

10   the next cycle.

11        Q    At Page 5, Line 13 of your testimony you describe how

12   FPL determines how much to prune from a tree.  Do you see that?

13        A    Yes, I do.

14        Q    FPL uses a contractor to do its tree trimming,

15   correct?

16        A    Yes, we do.

17        Q    At Page 10, Line 5, and Page 13, Lines 13 and 14, you

18   refer to the fact that Florida Power will trim trees to the

19   extent possible consistent with applicable line clearing

20   standards, correct?

21        A    That's correct.

22        Q    And you are familiar with the fact that there is an

23   exception to the City of North Miami code to allow 30 percent

24   of trees to be trimmed in order to meet such clearances, are

25   you familiar with that?

FLORIDA PUBLIC SERVICE COMMISSION

116

1        A    I'm not sure --

2             MR. BUTLER:  I would ask you to give him a more

3   specific reference and show him the document if you are going

4   to ask him questions specifically about a code provision.

5             MR. ARMSTRONG:  I'm asking if he is familiar with it.

6   If he says no, I will accept that, too.

7   BY MR. ARMSTRONG:

8        Q    Mr. Slaymaker, are you familiar with the City of

9   North Miami code which allows more than 30 percent of a tree to

10   be trimmed in certain instances?

11             MR. BUTLER:  I'm, again, going to object.

12             MR. ARMSTRONG:  I'm asking if he is familiar with it.

13   If he says no, he says no.

14             MR. BUTLER:  But what you are doing is you are sort

15   of providing a general summary of what it says and asking him

16   whether he is familiar with basically that general summary of

17   it.  Show him what it is you want him to look at and ask him if

18   he is familiar with it, or read it to him if you have something

19   you want to read to him.

20             MR. ARMSTRONG:  Madam Chair, I'm asking if he is

21   familiar with it.  It is appropriate cross-examination.  If he

22   says he is not familiar with it, he can do so.  Just say I'm

23   not familiar with it.

24             CHAIRMAN EDGAR:  Okay.  Ask the question again and I

25   will allow the witness to answer.

FLORIDA PUBLIC SERVICE COMMISSION

117

1   BY MR. ARMSTRONG:

2        Q    Mr. Slaymaker, are you familiar with the City of

3   North Miami code provision which allows a tree to be trimmed

4   30 percent or more under certain circumstances?

5             MR. BUTLER:  I'm going to object again to the

6   question, Madam Chairman.

7             CHAIRMAN EDGAR:  I understand, Mr. Butler.  I heard

8   your objection and your explanation directed to Mr. Armstrong.

9   However, the witness can say whether he is familiar with a code

10   as characterized by Mr. Armstrong or not familiar with a code

11   as characterized by Mr. Armstrong.  I don't know the answer

12   yet, but can you answer the question?

13             THE WITNESS:  Yes, I am familiar with North Miami's

14   codes.  As far as specific sections, I don't have that in front

15   of me to refer to, but I am familiar with the codes.

16   BY MR. ARMSTRONG:

17        Q    And specifically the code provision that allows an

18   exception to trim 30 percent or more of a tree, you're familiar

19   with that?

20        A    I believe there is an exemption, yes.

21        Q    So, Mr. Slaymaker, to your knowledge if FPL's

22   contractors go out in a neighborhood and the trees need to be

23   cut back by more than 30 percent to meet power lines clearance

24   requirements, they do so, correct?

25        A    Not necessarily.  You know, the two core principles

FLORIDA PUBLIC SERVICE COMMISSION

118

1   that we use, and our contractors use are the National Electric

2   Safety Code and the ANSI A300 standards.  Within those

3   standards the guidelines state that it's no more than

4   30 percent of trees should be removed at any one time.  So that

5   is a standard within the code that we try to follow and we do

6   follow in most cases.

7        Q    Thank you for that explanation.  Now, let me ask a

8   question.  If Florida Power and Light's contractor goes out to

9   a neighborhood and sees a tree that must be cut back by more

10   than 30 percent in order to meet the standards that you just

11   referred to, they do so, correct?

12        A    Possibly.  Possibly we would do so, or possibly if a

13   tree needs to be cut that severely that would be a tree that we

14   would consider for a good removal candidate.  A tree that is

15   probably inappropriate for that location and the condition most

16   likely will not improve in time, so that would be a candidate

17   that we would look -- depending on the severity, that we would

18   look at as a potential removal candidate.

19        Q    I understand, and that is good.  So if it is not an

20   appropriate specie for that area, you might say let's remove

21   it?

22        A    Correct.

23        Q    Let me ask you a question.  If a tree has not been

24   trimmed for more than ten years, isn't it more likely that that

25   tree would have to be cut back by more than 30 percent than,

FLORIDA PUBLIC SERVICE COMMISSION

119

1   say, a tree that had been trimmed, say, two years ago?

2        A    I'm not sure I'm following the question.

3        Q    I'll restate it.  If a tree has not been trimmed for

4   more than ten years, isn't it more likely that you would have

5   to remove 30 percent of that year in order to meet clearance

6   requirements than, say, a tree that was trimmed two years ago?

7        A    It is hard to say that a tree was not trimmed for ten

8   years.  We do have a component of our program that if a tree

9   needed to be trimmed more frequently, we would trim the tree

10   more frequently.

11        Q    I appreciate the explanation.  Now let me ask the

12   question again.  It's a simple answer.

13             CHAIRMAN EDGAR:  Mr. Armstrong, he's answered the

14   question.  Let's move along.

15             MR. ARMSTRONG:  I don't think I heard the answer,

16   Madam Chair.

17             CHAIRMAN EDGAR:  Let's move along.

18   BY MR. ARMSTRONG:

19        Q    Asplundh is an independent contractor, correct?

20        A    Yes, they are.

21        Q    So, as an independent contractor, Asplundh only

22   has -- Florida Power and Light only has so much control over

23   Asplundh, isn't that correct?

24        A    Not necessarily.

25        Q    Well, do you have control to tell Asplundh where to

FLORIDA PUBLIC SERVICE COMMISSION

120

1   send its employees?

2        A    Asplundh Tree Experts is probably the leader in the

3   utility clearance business for the past 100 years.  We have a

4   contract with them and they do the majority of our tree

5   trimming work.  Within our contract, we expect that our

6   contractor working for us and our customers is to trim to the

7   appropriate standards, the industry standards, the local codes

8   and requirements, and that is our expectation that our

9   contractor trim to those standards.

10             Also, we have a quality assurance program that is a

11   big part of our program to follow up on the work that is done

12   to make sure that it follows -- the guidelines follow the

13   industry standards and is, you know, good quality work.  So we

14   do have a program and we don't just leave the work up to our

15   contractor.

16        Q    So does Florida Power have control to tell Asplundh

17   how many people it needs to send to a neighborhood on a given

18   day?

19        A    We typically on our scheduled maintenance work, we

20   typically have a schedule plan that we develop on an annual

21   basis and there is typically a quarterly component of that

22   plan, and we turn that plan over to our contractor, Asplundh

23   Tree, to execute the plan to our expectations, which are the

24   guidelines, standards, and local codes.  So, you know, how many

25   particular trees or tree crews are on a particular location on

FLORIDA PUBLIC SERVICE COMMISSION

121

1   a particular day, I don't know if I would know that

2   specifically, but the goal is for them to execute the work in a

3   way that we expect of them.

4        Q    Let me ask you a yes or no question.  Do you believe

5   that Florida Power has control over Asplundh such that you

6   could direct them:  Send five employees tomorrow to this

7   neighborhood to cut this many trees and to use this method of

8   cutting.  Do you have that kind of control?

9             MR. BUTLER:  Sorry, it is a compound question that

10   has two or three different elements to it.  I would ask that it

11   be broken into pieces.

12             CHAIRMAN EDGAR:  Rephrase, please.

13   BY MR. ARMSTRONG:

14        Q    Does Florida Power have enough control over Asplundh

15   to tell them tomorrow they need to send 15 employees to a

16   certain neighborhood?

17        A    I'm having difficulty with the control issue.  We do

18   have scheduled maintenance work which we schedule through our

19   contractor in blocks of time and we expect them to execute the

20   standards.  There is other types of work that we do that's more

21   timely:  Storm restoration work, customer trim request work,

22   reliability type work that we have that in a shorter time frame

23   we direct our contractor to execute that type of work, if that

24   is what you mean by control.

25        Q    I simply mean can you pick up the phone and say to

FLORIDA PUBLIC SERVICE COMMISSION

122

1   Asplundh, send ten people out to that neighborhood tomorrow.

2   Can you do that?

3        A    If there is a reason for that, yes.

4        Q    Can you pick up the phone and say, Asplundh, go to

5   these five streets and cut these 20 trees tomorrow?  A simple

6   yes or no would be good.

7        A    Yes.

8        Q    Do you have the ability to say to Asplundh, I want

9   five trucks over in this neighborhood tomorrow to cut those

10   20 trees?

11        A    That is not the way we typically operate.  Can I do

12   it?  I'm sure I can, but that is not the way we typically

13   operate.

14        Q    Florida Power inspects 100 percent of the work that

15   Asplundh performs, correct?

16        A    Currently we are inspecting 100 percent of our

17   planned maintenance work, correct.

18             MR. ARMSTRONG:  Madam Chair, we have an exhibit that

19   we would like to present to the witness.

20             MS. ANTONATOS:  May I approach?

21             CHAIRMAN EDGAR:  Please.  Thank you.

22             Okay.  We will number this Exhibit Number 2.  Mr.

23   Armstrong, can you give us a title or description?

24             MR. ARMSTRONG:  FPL fact sheet.

25             (Exhibit Number 2 marked for identification.)

FLORIDA PUBLIC SERVICE COMMISSION

123

1   BY MR. ARMSTRONG:

2        Q    Mr. Slaymaker, are you familiar with that exhibit?

3        A    Yes, I have seen it.

4             MR. ARMSTRONG:  For ease of reference, Madam Chair, I

5   have another exhibit that I would like to be distributed.

6             CHAIRMAN EDGAR:  Okay.  Thank you.

7             Okay.  So this will be marked as Number 3.  And, Mr.

8   Armstrong.

9             MR. ARMSTRONG:  I will refer Mr. Slaymaker to Exhibit

10   2.

11             (Exhibit Number 3 marked for identification.)

12   BY MR. ARMSTRONG:

13        Q    Mr. Slaymaker, I guess there are headings on this

14   page.  The fourth heading down, do you see where it says

15   lateral circuit, areas, parentheses, since last trim, close

16   parentheses?

17        A    Yes, I do.

18        Q    Now, if I refer you over to Exhibit 3, the first

19   comment there FPL has 26 lateral circuits, 25 above ground and

20   one underground.  That is what is indicated in this section, is

21   that correct?

22        A    That is correct.

23        Q    And is it true that a lateral circuit consists of a

24   feeder as well as laterals off of the feeder?

25        A    I think typically when we talk about lateral and

FLORIDA PUBLIC SERVICE COMMISSION

124

1   backbone, you know, the backbone is typically the three-phase

2   section of line from the substation out to the first fuse.  The

3   lateral circuit associated with that feeder is typically all of

4   the fuse lateral lines off of that.  So I'm not sure the

5   context it would be used, but there is that distinction.

6        Q    Okay.  Thanks.  Referring to Exhibit 3 again.

7        A    Which one is 3?

8        Q    Exhibit 3 is the one that says FPL lateral circuits,

9   years since last trim?

10        A    And the other is --

11        Q    The other is Exhibit 2, right.  The fact sheet is

12   Exhibit 2.  So, referring to Exhibit 3, it states FPL has not

13   trimmed eight, or 32 percent of the lateral circuits in more

14   than ten years.  That's what is reflected in Exhibit 2, isn't

15   that right?

16        A    That's correct.

17        Q    And FPL has not trimmed seven, or 28 percent of the

18   lateral circuits in more than seven years.  Does that properly

19   reflect Exhibit 2?

20        A    That's correct.

21        Q    Now, if I were to go down, FPL has not trimmed four,

22   or 16 percent of lateral circuits in four to six years.  FPL

23   has trimmed six, or 24 percent of the lateral circuits, within

24   the last three years.  Those are also accurately reflected on

25   Exhibit 2, correct?

FLORIDA PUBLIC SERVICE COMMISSION

125

1        A    That's correct.

2        Q    And this is FPL's fact sheet that was provided by

3   FPL, correct?

4             MR. BUTLER:  This, you're referring to Exhibit 2?

5             MR. ARMSTRONG:  Exhibit 2.

6             THE WITNESS:  Exhibit 2, yes, this is the fact sheet.

7             MR. ARMSTRONG:  Thank you.

8   BY MR. ARMSTRONG:

9        Q    And, actually, I want to make sure we cover that

10   entire section.  On Exhibit 3, the last statement is FPL

11   suggests that it will trim seven of the eight lateral circuits

12   that have not been trimmed in more than ten years by the end of

13   2009, isn't that correct?

14        A    That's correct.

15        Q    So do you have any reason to dispute the facts stated

16   on this exhibit?

17        A    No.  This is the first time I have seen this Number

18   3, and I believe this is part of the analysis that was done.

19        Q    Okay.  Thanks.  And, again, at least as to that

20   section that I referred you to on Exhibit 2, you have no reason

21   to dispute that information?

22        A    No.

23        Q    Mr. Slaymaker, if I were to look at those eight

24   lateral circuit areas that haven't been trimmed in more than

25   ten years, isn't it more likely that I would have to trim more

FLORIDA PUBLIC SERVICE COMMISSION

126

1   of a tree, more of one of those trees than one of these other

2   trees that was trimmed in less than three years?

3        A    I think it depends.  You know, those circuits, I'm

4   sure over the ten-year period has had some vegetation work done

5   on them.  And to the extent that -- you know, the hot spot

6   work, you know, the reliability type work that may generate

7   over that ten-year period, so I'm not certain what the extent

8   of the vegetation would necessarily be on that circuit.

9        Q    So I want to be clear, then.  This document is your

10   document, your facts, FPL document and FPL facts, this Exhibit

11   2, correct?

12        A    Correct.

13        Q    I want to be clear, what you're saying is any

14   individual tree within one of those laterals, or one of these

15   lateral circuit areas, any individual tree might have gotten

16   some hot spot trimming, right?

17        A    Over the ten-year period, correct.

18        Q    Right.  But not the entire length of the lateral

19   circuit?

20        A    Correct.

21        Q    Okay.  So your hesitation is referring to individual

22   trees that might have received something more, but not the

23   whole lateral circuit?

24        A    Basically the statement that just because it's ten

25   years, assume that all trees had ten years worth of growth that

FLORIDA PUBLIC SERVICE COMMISSION

127

1   needed to be trimmed.  There was probably a lot of trimming

2   done on those circuits over that ten-year period.

3        Q    Okay.  Now, you just said there is probably a lot of?

4        A    Probably some.  There's no way for me to really know

5   a lot or some.

6        Q    Probably some I will go with.  And, again, as a

7   matter of logic, Mr. Slaymaker, let me just tell you why I

8   hesitate with probably a lot.  I mean, you are aware that FPL

9   has introduced testimony that by implementing this new plan,

10   their costs could conceivably go up by tens of millions of

11   dollars, correct?

12        A    The 3/6 plan?

13        Q    Yes.

14        A    Yes.

15        Q    So as a matter of logic, under the new plan FPL is

16   suggesting it is going to do quite a bit more?

17        A    Yes, we certainly will be doing more laterals over

18   the next, you know, the next six years, the next six years.  We

19   will be doing more laterals than we are today.

20             MR. ARMSTRONG:  Thank you, Mr. Slaymaker.  I

21   appreciate it.  I'm through.  Thank you.

22             CHAIRMAN EDGAR:  Questions from staff?

23             MS. GERVASI:  We have no questions.

24             CHAIRMAN EDGAR:  Commissioner Carter.

25             COMMISSIONER CARTER:  Thank you, Madam Chair.  You

FLORIDA PUBLIC SERVICE COMMISSION

128

1   heard my question to Mr. Miller regarding the invasive species?

2             THE WITNESS:  Yes.

3             COMMISSIONER CARTER:  You are the second person that

4   has been here both from the City and from FPL talking about

5   this "Right Tree-Right Place" program.  Have you guys ever

6   decided, you, FPL, and the City getting together and going to

7   some of these homeowners and talking about maybe removing some

8   of these invasive species?

9             THE WITNESS:  You know, with this new

10   three-year/six-year program we will be doing a lot more

11   laterals miles.  We will be in a lot more back yards.  And I

12   think a key component of that is going to be education.  You

13   know, we need to talk to people, we need to make them aware of

14   some of these problematic trees and what the options are to

15   correct those problems.  I think that's -- and as I mentioned,

16   that really does require a partnership.  You know, FPL can't do

17   that by itself.  It is a partnership between cities and the

18   communities or customers, and I think we are more than happy to

19   embark on that partnership.

20             COMMISSIONER CARTER:  Just a comment, Madam Chairman.

21   The reason I asked that is that when I spoke with Mr. Miller he

22   said that it was not the City's property and now from FPL it is

23   not their property, but seemingly they have got the "Right

24   Tree-Right Place" program.  Maybe the City and FPL should

25   approach the property owners and talk about removing some of

FLORIDA PUBLIC SERVICE COMMISSION

129

1   these invasive species.  Just a comment.

2             CHAIRMAN EDGAR:  Commissioner McMurrian.

3             COMMISSIONER McMURRIAN:  I'm going to try to clarify,

4   along the same lines of the questions I asked earlier, and I

5   think that Mr. Armstrong clarified some of this.  I believe in

6   your summary, at some point during your testimony you talked

7   about that FPL uses an approximate ten-year average system-wide

8   now, is that correct, for tree trimming for laterals?

9             CHAIRMAN EDGAR:  I think currently laterals are more

10   reliability driven and performance driven.  I think currently

11   the average is approximately ten years system-wide and

12   approximately 7.6 years average in the City of North Miami, but

13   the lateral trimming is really a performance based process.

14             COMMISSIONER McMURRIAN:  Okay.  So it would be

15   correct that under the six-year average proposal that had been

16   approved in the PAA order that it would be a six-year average

17   and it would be more frequent trimming, do I understand that

18   correctly, in the City of North Miami as well as system-wide?

19             THE WITNESS:  Yes, there will be more frequent

20   trimming.  You know, more miles being trimmed.  And based on

21   that age, we will be seeing a significant increase in lateral

22   trimming.  And I think in the City of North Miami if you look

23   at the last three years, I think the increase, the number of

24   lateral miles trimmed in the next three years will be

25   approximately two and a half times the amount that we trimmed

FLORIDA PUBLIC SERVICE COMMISSION

130

1   in the previous three years, so there definitely will be an

2   increase.

3             COMMISSIONER McMURRIAN:  One more.  I read in your

4   testimony about how you followed the ANSI standards, and I

5   can't recall the other major component, but then you also

6   talked about that you followed any county or city ordinances

7   that went beyond those.  And that would still be true with the

8   new six-year proposal, as well, that if a city or county has

9   some ordinance that requires less trimming, for instance to

10   require no more than 30 percent of a tree canopy to be removed,

11   you would still follow those.  So that if it requires more

12   frequent or less frequent trimming that may still be an

13   exception to the six-year overall average, is that correct?

14             THE WITNESS:  That's correct.

15             COMMISSIONER McMURRIAN:  Thank you.

16             CHAIRMAN EDGAR:  Mr. Butler.

17             MR. BUTLER:  No redirect.

18             CHAIRMAN EDGAR:  Okay.  We need to take up the

19   exhibits.

20             MR. ARMSTRONG:  The City would move Exhibits 2 and 3.

21             CHAIRMAN EDGAR:  Mr. Butler, any objection?

22             MR. BUTLER:  No objection.

23             CHAIRMAN EDGAR:  Okay.  Exhibits marked 2 and 3 will

24   be moved into the record.  The witness may be excused.  Thank

25   you.

FLORIDA PUBLIC SERVICE COMMISSION

131

1             (Exhibits 2 and 3 admitted into the record.)

2             CHAIRMAN EDGAR:  Mr. Butler.

3             MR. BUTLER:  Should we call our next witness?

4             CHAIRMAN EDGAR:  Yes, please.

5             MR. BUTLER:  It would be Mr. Harris.

6                           JOHN A. HARRIS

7   was called as a witness on behalf of Florida Power and Light

8   Company, and having been duly sworn, testified as follows:

9                         DIRECT EXAMINATION

10   BY MR. BUTLER:

11        Q    Mr. Harris, were you previously sworn?

12        A    Yes, I was.

13        Q    I would ask that you state your name and business

14   address for the record?

15        A    My name is John A. Harris.  My business address is

16   Landscape Economics at 6918 Sterling Road, Hollywood, Florida,

17   33024.

18        Q    By whom are you employed and in what capacity?

19        A    I'm employed by Landscape Economics.  I'm a landscape

20   economist and the principal of the firm.

21        Q    Do you have before you prepared written testimony

22   consisting of 11 pages and five attached exhibits that have

23   been preidentified as JAH-1 through JAH-5?

24        A    Yes, I do.

25             MR. BUTLER:  Madam Chairman, I ask that we mark for

FLORIDA PUBLIC SERVICE COMMISSION

132

1   identification those five exhibits, and I guess it would be

2   4 through 9.  Is that right?

3             CHAIRMAN EDGAR:  That would be 4 through 9.

4             MR. BUTLER:  Thank you.

5             CHAIRMAN EDGAR:  So marked.

6             MR. BUTLER:  Thank you.

7             (Exhibit Numbers 4 through 8 marked for

8   identification.)

9   BY MR. BUTLER:

10        Q    Do you have any changes or corrections to make to

11   your testimony?

12        A    I have one wording change that I would like to enter

13   on Page 6, Lines 14 and 15.  This is in reference to a list of

14   species of trees that are exempted from pruning standards in

15   the City of North Miami code.  It currently states the last

16   sentence on Line 14, these are currently.  It should state

17   these include currently, it is not an inclusive list.

18        Q    Thank you.  Was your testimony and exhibits prepared

19   under your direction, supervision, or control?

20        A    Yes, they were.

21        Q    Do you adopt the prepared written testimony as your

22   testimony in this proceeding?

23        A    Yes, I do.

24             MR. BUTLER:  Madam Chairman, I would ask that Mr.

25   Harris' testimony be inserted into the record as though read.

FLORIDA PUBLIC SERVICE COMMISSION

133

1             CHAIRMAN EDGAR:  The prefiled testimony will be

2   entered into the record as though read.  And I note that I

3   misspoke earlier and it will be Exhibits 4 through 8.

4             MR. BUTLER:  Four through 8.  That was my fault, I

5   did the math wrong.

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

145

1   BY MR. BUTLER:

2        Q    Mr. Harris, would you please summarize your

3   testimony?

4        A    Yes.  Good morning, Madam Chair and Commissioners.  I

5   was contracted as an independent expert to review FPL's current

6   vegetation management program, and to evaluate the testimony of

7   the City of North Miami's witnesses.  I have experience over

8   the past 25 years doing evaluations and providing expert

9   opinions on tree and landscape issues for a variety of clients.

10   These include municipalities, state and federal agencies,

11   utility companies, and private property owners.

12             My experience includes projects from individual tree

13   evaluations, to city-wide tree inventories, to urban forest and

14   landscape work audits for entire municipalities.  My work in

15   this case started with interviewing key FPL employees in the

16   distribution vegetation management program to learn about the

17   program generally and about any experiences with work in the

18   City of North Miami in particular.

19             After the initial interviews, I reviewed

20   documentation relevant to the issues in this case.  These

21   includes FPL's vegetation management standards, storm recovery

22   plans, case documents, and FP&L electrical circuit maps for

23   distribution lines serving the North Miami area which have line

24   clearance work records showing trees pruned in the last one to

25   three years.  Those same circuit maps served as the primary

FLORIDA PUBLIC SERVICE COMMISSION

146

1   areas for my random sample of individual trees that I evaluated

2   in the field as being pruned for line clearance.

3             My research also identified the following applicable

4   standards and codes for vegetation management in the City of

5   North Miami.  The first is the American National Standard

6   Institute's A300 tree, shrubs, and woody plants maintenance

7   standard practices.  Secondly, the best management practices

8   manual from the International Society of Arboriculture for

9   utility pruning of trees.  And I realize some of these words

10   may be difficult.  Third, the Miami-Dade County code sections

11   that apply to vegetation management and utility pruning work,

12   which includes Section 8A-159, location/relocation of

13   facilities, and Section 18A-11, landscape maintenance.  Fourth,

14   the City of Miami -- excuse me, the City of North Miami code

15   sections that are most applicable, again, for vegetation

16   management and utility pruning work.  These include Article 2,

17   trees, Section 20-15 through 20-21, Section 20-23, and Sections

18   20-25 through 20-27.

19             Following my research, I did perform independent

20   visual inspections of trees located in the vicinity of electric

21   circuits serving North Miami that evidenced trimming in the

22   last one to three years.  During those evaluations, I did

23   compare the condition of those trees trimmed to the codes and

24   standards identified as applicable.  I also drove through other

25   areas of the City of North Miami to look for evidence of recent

FLORIDA PUBLIC SERVICE COMMISSION

147

1   utility pruning work, but I concentrated on those electric

2   circuits that were my sample.

3             The specific locations presented in Exhibit

4   JAH-1 were selected because they represent trimmed tree

5   locations or conditions that are similar to or the same as

6   those described in the direct testimonies of City Witnesses

7   Terry Lytle and Keith Miller.  So based on my interviews,

8   document reviews, and visual observations, I have reached the

9   following conclusions.  FPL is aware of and applies the

10   required industry standards and the legal codes for vegetation

11   management within the City of North Miami.

12             FPL is appropriately an industry leader in vegetation

13   management practices which is evidenced by the comparative

14   statistics for electric outages, the Edison Electric

15   Institute's 2006 Advocacy Excellence Award for the "Right

16   Tree-Right Place" program, and FPL's recognition, since 2003,

17   as a Tree Line USA Utility, which is similar to the Tree City

18   USA program with the National Arbor Day Foundation.

19             The electric lines with the least potential for

20   outages or interruptions due to vegetation are those that do

21   not have vegetation growing into the lines or in the vicinity

22   of lines.  This condition is represented in Photo 6 of Exhibit

23   JAH-1.  Conversely, many people want large canopy trees along

24   right-of-ways and the edges of their properties regardless of

25   the location of the utilities.  This is why FPL's "Right

FLORIDA PUBLIC SERVICE COMMISSION

148

1   Tree-Right Place" program is important for anyone to use in

2   helping property owner recognize and avoid these conflicts such

3   as along easements and alleys of their properties.

4             There were no trees pruned for utility line clearance

5   by FPL that did not meet the applicable standards and codes

6   based on the observations during my visual inspections

7   throughout the City of North Miami area.  This concludes my

8   summary.

9             MR. BUTLER:  Thank you, Mr. Harris.  I would tender

10   the witness for cross-examination.

11             CHAIRMAN EDGAR:  Thank you.  Mr. Armstrong.

12             MR. ARMSTRONG:  Thank you, Madam Chair.

13                          CROSS EXAMINATION

14   BY MR. ARMSTRONG:

15        Q    Good morning, Mr. Harris.  How are you?

16        A    Good morning.

17        Q    I'm referring just to Page 3 of your testimony.  You

18   describe the purpose of your testimony is to describe the

19   vegetation management codes, regulations, and standards of

20   practice which apply to FPL, as well as your result, the result

21   of your review of FPL's practices and its compliance with those

22   standards, and then you comment on the overall adequacy of

23   vegetation management practices of FPL.  Is that correct?

24        A    That's correct.

25        Q    Are you familiar with Exhibit 2, which was identified

FLORIDA PUBLIC SERVICE COMMISSION

149

1   and moved into evidence earlier?  Have you seen this exhibit

2   prepared by FPL?

3        A    No, I have not.

4        Q    You have not seen it?

5        A    I have not seen it.

6        Q    Okay.  Are you aware that there are 171 lateral miles

7   within the City of North Miami?

8        A    That wasn't a question that I had asked.

9        Q    No, I'm saying are you aware that there are 171 miles

10   of laterals within the City of North Miami that are owned by

11   FPL?

12        A    Based on the testimony today.

13        Q    Okay.  And you are aware that the City is proposing a

14   six-year cycle for trimming those lateral miles, correct?

15             MR. BUTLER:  Did you mean to say FPL is?

16             MR. ARMSTRONG:  Didn't I say FPL?

17             MR. BUTLER:  You said the City is proposing.

18             MR. ARMSTRONG:  I'm sorry.

19   BY MR. ARMSTRONG:

20        Q    Are you aware that FPL's proposal is to do a six-year

21   cycle for trimming those lateral miles?

22        A    I'm aware that it is a six-year average trim cycle,

23   yes.

24             MR. ARMSTRONG:  I would ask that this be identified

25   as the next exhibit number.  A very simple exhibit here, Mr.

FLORIDA PUBLIC SERVICE COMMISSION

150

1   Harris, but it's something I like to do for myself.  Maybe you

2   guys can get the same kind of comfort from it.

3             CHAIRMAN EDGAR:  Okay.  We are on now Number 9.

4             (Exhibit Number 9 marked for identification.)

5             THE WITNESS:  Is the Exhibit 2 I was given my own

6   copy that I can mark?

7             MR. ARMSTRONG:  You can do whatever you want with it.

8             THE WITNESS:  Thank you.

9             MR. ARMSTRONG:  Madam Chair, could I have this

10   exhibit identified with the following title, "Average Lateral

11   Miles to be Trimmed to Meet a Six-year Cycle".

12             CHAIRMAN EDGAR:  Mr. Butler, do you have any comment

13   on that?

14             MR. BUTLER:  On the title?

15             CHAIRMAN EDGAR:  Uh-huh.

16             MR. BUTLER:  No, that's fine.

17             CHAIRMAN EDGAR:  Okay.  One more time, Mr. Armstrong.

18             MR. ARMSTRONG:  Average lateral miles to be trimmed

19   to meet a six-year cycle.

20             CHAIRMAN EDGAR:  Okay.  So labeled.

21             (Exhibit 9 marked for identification.)

22   BY MR. ARMSTRONG:

23        Q    So, Mr. Harris, again, just to put the period at the

24   end of this sentence, 171 lateral miles within the City of

25   North Miami, a six-year average cycle means that Florida Power

FLORIDA PUBLIC SERVICE COMMISSION

151

1   and Light would be trimming on average 28-1/2 lateral miles a

2   year, correct?

3             MR. BUTLER:  I'm going to object to this line of

4   questioning.  I don't think that it relates to Mr. Harris'

5   direct testimony.  We will have a witness, Mr. Miranda, who

6   gets into the details of this subject.  I think it would be

7   more appropriate for him.

8             CHAIRMAN EDGAR:  Mr. Armstrong.

9             MR. ARMSTRONG:  Madam Chair, I mean, that is why I

10   went through that Page 3.  He is testifying about the overall

11   adequacy of FPL's proposed vegetation management program which

12   includes and specifically addresses the tree trimming cycle of

13   six years.

14             CHAIRMAN EDGAR:  I'll allow.

15             MR. BUTLER:  I'm sorry, if there is a question

16   pending we may have forgotten what it was.

17             CHAIRMAN EDGAR:  Mr. Armstrong, we are waiting on you

18   to you repeat the question, please.

19   BY MR. ARMSTRONG:

20        Q    Mr. Harris?

21        A    Yes.

22        Q    Looking at that Exhibit 9, 171 lateral miles within

23   the City of North Miami, a proposed six-year cycle means

24   Florida Power and Light would have to do on average 28-1/2

25   miles of lateral miles a year in order to meet that six-year

FLORIDA PUBLIC SERVICE COMMISSION

152

1   cycle, correct?

2        A    That is not actually correct.

3        Q    171 divided by 6?

4        A    Your math is correct.  But because of the different

5   tree conditions, species of trees, as Mr. Slaymaker has

6   previously stated, but I can elaborate, there are certain

7   species of trees that after they have been pruned for any

8   clearance district they are not likely or physically,

9   biologically they do not regrow those branches or even

10   reactionary growth along the trunk or along those major leaders

11   to then become again problems for the lines.

12             So there are the possibilities that there are certain

13   lateral lines or sections of lateral lines or even feeder lines

14   that once they have been pruned once may not need pruning again

15   unless other species of trees are planted in that area, along

16   with the fact that there are tree removals that are done, not

17   just pruning, along lateral lines and feeder lines that I know

18   of.  And if those trees are removed, again, there won't be a

19   necessity in six years or another time frame to be pruning that

20   same area or that same location.  So that's my opinion from my

21   experiences.  I'm not answering as FPL itself.

22        Q    Well, the first item, though, is 171 divided by six

23   equals 28-1/2.  You would agree with that, wouldn't you?

24        A    Yes.

25        Q    Okay.  Now, if I look at Exhibit 2 which you have in

FLORIDA PUBLIC SERVICE COMMISSION

153

1   front of you there, I don't want to look at that section that

2   we referred to with Mr. Slaymaker, the fourth heading.  Do you

3   see that, the fourth heading?  It says lateral circuit areas,

4   parentheses, since last trimmed?

5        A    Yes.

6        Q    Florida Power was able to present this evidence to

7   the Commission to show what it believes its trimming cycle has

8   been for these areas, these lines, correct?

9        A    Correct.

10        Q    Okay.  So Florida Power is able to give this kind of

11   information to the Commission on an annual basis, isn't that

12   correct?

13        A    Based on a review of their records and doing

14   statistics or averages, yes.

15        Q    And Florida Power is proposing an average six-year

16   cycle in this docket for laterals, correct?

17        A    Correct.

18        Q    And if the Florida Public Service Commission is going

19   to have any opportunity to determine whether or not it's

20   complying with that six-year cycle, Florida Power is going to

21   have to do what I have been suggesting, which is let the

22   Commission know each year how many lateral miles within the

23   City of North Miami they trimmed, correct?

24        A    My understanding from the actual order is that's

25   already included and was already agreed.  That it is part of

FLORIDA PUBLIC SERVICE COMMISSION

154

1   the staff's recommendations or requirements that they be

2   reporting and be reviewing on an annual basis with or without

3   this hearing.

4        Q    Uh-huh.  So when I asked you earlier and you went

5   through an elaborate explanation, all I said to you was the

6   City of North Miami consists of 171 lateral miles, Florida

7   Power and Light is proposing a six-year cycle for trimming

8   lateral miles, and that the average lateral miles that must be

9   trimmed per year would be 28.5 miles, that's correct?

10        A    But it is not correct, as I already explained,

11   because they wouldn't have to trim 28.5 miles if 28.5 miles or

12   171 miles didn't actually have just, hypothetically, a single

13   tree in the vicinity of or conflicting with any power lines.

14   If there were no trees conflicting with the power lines on

15   171 miles, they wouldn't have to prune a single mile, and

16   that's my answer.

17        Q    I mean, you are dealing with a hypothetical there in

18   your answer, correct?

19        A    I can actually show you, I brought additional

20   pictures and I had some additional pictures obviously in JAH-1

21   of what actually are feeder and/or lateral distances, blocks of

22   streets that don't have any tree/power line conflicts and

23   wouldn't require pruning.  Both of those in supplemental photos

24   I have, or the -- I think it is Photo 6, as I mentioned in my

25   summary, in Exhibit 1, don't have any trees, wouldn't require

FLORIDA PUBLIC SERVICE COMMISSION

155

1   pruning unless any new trees were planted and they grew up over

2   a number of years.

3        Q    You are aware that the City of North Miami is a more

4   urbanized area, correct?

5        A    I'm very aware of the trees in North Miami.

6        Q    Right.  And will you agree that in urban areas you

7   have greater tree densities than you do -- along lateral lines

8   than you do, say, along feeder lines?

9        A    Again, not necessarily.  It depends on where the

10   feeder is located or where the lateral is located.

11        Q    So as a general rule you wouldn't agree that along

12   feeders lines there are generally higher tree densities than

13   along laterals -- than along feeders?

14        A    That hasn't been my experience, no.

15        Q    Would it surprise you to know that one of the other

16   FPL witnesses testified that that was the case?

17        A    And they may be looking at their records and the

18   amount of work that they do which may or may not be comparative

19   to the actual physical numbers of trees.  Again, we can go

20   through the example I brought up before.  If I have 100 slash

21   pine trees on a feeder line and all of those slash pine trees

22   have been cut for the clearance, the pine is a species, the

23   actual pinus elliottii, which is a slash pine species, actually

24   does not regenerate when you cut those branches off.  So if

25   they cut it once for 100 trees, they wouldn't have to come back

FLORIDA PUBLIC SERVICE COMMISSION

156

1   in three years, or six years, or ten years, or 7.2 years.  That

2   is the actual average now.  But if they were Ficus trees that

3   may grow faster, they may have to come back even more often or

4   look to do a removal replacement program.  If those trees were

5   removed, again, on a mile of line, they again wouldn't have

6   been to come back on any cycle length because there aren't any

7   conflicts.

8        Q    Okay.  I'm going to present you another document

9   here --

10             MR. ARMSTRONG:  And, Madam Chair, I suppose this

11   would be Exhibit 10?

12             CHAIRMAN EDGAR:  Yes.

13             MR. ARMSTRONG:  And the title of this exhibit we

14   propose is lateral miles trimmed by FPL.  Just lateral miles

15   trimmed.

16             (Exhibit Number 10 marked for identification.)

17   BY MR. ARMSTRONG:

18        Q    Mr. Harris, have you reviewed that document?

19        A    Yes, I have seen it.

20        Q    If I look at Exhibit 2, which I previously handed to

21   you, the second heading, lateral trimming in North Miami,

22   parentheses, total 26 lateral circuits/171 lateral miles, close

23   parentheses, colon, do you see the information regarding the

24   years 2004 through 2006 and 2007 through 2009 indicated there?

25        A    Yes.

FLORIDA PUBLIC SERVICE COMMISSION

157

1        Q    If you review what I just provided to you that has

2   been identified as Exhibit 10, would you agree that those

3   numbers reflected on this exhibit for 2004, 2005, 2006, as well

4   as 2007 through 2009?

5        A    At this point they all seem correct.

6        Q    Okay.  So if I look at 2004, in particular, it

7   indicates that Florida Power and Light trimmed 15 miles, 15

8   lateral miles in 2004, correct?

9        A    Yes.

10        Q    And if I go down to 2009, it indicates that Florida

11   Power and Light would propose to trim 13 miles, is that

12   correct?

13        A    Correct.

14        Q    And, in fact, in 2006, Florida Power and Light didn't

15   trim any lateral miles within the City of North Miami, correct?

16        A    That's what it shows.  And, you know, as you had

17   explained before by Mr. Slaymaker, that doesn't mean that they

18   didn't trim any trees in any particular location on any

19   particular lateral or even feeder.

20        Q    Any dispute concerning the math indicated on that

21   exhibit, 20 lateral miles divided by the three years is

22   6.66 lateral miles trimmed per year?

23        A    No.  I trust how you put this together.

24        Q    Thanks.

25        A    I can redo it if you want, but I don't see the point.

FLORIDA PUBLIC SERVICE COMMISSION

158

1        Q    No, I just wanted to know if there is any dispute as

2   to the accuracy, that's all.  The same with 51 divided by 3, 17

3   lateral miles.

4        A    Okay.

5        Q    You agree with the math only.

6             Let's go to that bullet.  To meet a six-year trim

7   cycle, 28-1/2 miles of laterals a year must be trimmed.  Do you

8   dispute that?

9        A    I have the same disagreement with that as we had when

10   we looked at Exhibit 9, which references back to Exhibit 2, and

11   I don't think you want me to --

12        Q    No, I don't.

13        A    I don't think anybody wants me to go through it

14   again.

15        Q    I realize that you dispute it, correct, because I

16   know you dispute it.  But let me ask you, Mr. Harris, trees

17   within the City of North Miami do grow a certain amount of feet

18   a year, isn't that correct?

19        A    Only based on the species and the growth rate, and

20   the soil conditions, and the competition with other trees, and

21   other things.

22        Q    There are standard rates of growth that have been

23   indicated by professionals such as yourself as to different

24   species of trees, correct?

25        A    There are general or average rates of growth, but not

FLORIDA PUBLIC SERVICE COMMISSION

159

1   specific.

2        Q    Right, average.  No, you're right, average.  And

3   obviously if you have many types of the same species within the

4   City, averages is what you are going to apply, correct?

5        A    I agree.

6        Q    So if we have an average rate of growth of, say,

7   three feet for a typical species or a specific species then

8   over a six-year period we can anticipate that tree will grow 18

9   feet, correct?

10        A    Correct.

11        Q    And if we have a species that has a general rate of

12   growth of six feet a year, over a six-year period we can expect

13   36 feet of growth, correct?

14        A    Correct.

15        Q    Are you aware that Florida Power intends to implement

16   this full six-year average cycle, fully implement it by the

17   year 2013?

18        A    Right, based on the schedule.  Yes, I have seen that.

19             MR. ARMSTRONG:  Madam Chair, if I can take Exhibit

20   10, based upon the witnesses testimony I can strike that first

21   bullet.

22             MR. BUTLER:  I'm sorry, what did you just -- I didn't

23   hear.

24             MR. ARMSTRONG:  I will strike the first bullet.

25             THE WITNESS:  All right.

FLORIDA PUBLIC SERVICE COMMISSION

160

1   BY MR. ARMSTRONG:

2        Q    Mr. Harris, you are aware that in order for a tree to

3   be removed, a permit is required, correct?

4        A    Well, in North Miami, depending on the condition of

5   the tree, the location of it, it may only require a phone call

6   to certain supervisory or city manager's office.  And in an

7   emergency situations it can even be avoided, that that phone

8   call is necessary to remove a tree that is considered hazardous

9   or dangerous.  We can look at that in the code, if you want.

10        Q    You would agree that one of the reasons that trees

11   around laterals are trimmed is to minimize customer

12   interruptions or power outages, correct?

13        A    Correct.

14        Q    And another reason for tree trimming is for customer

15   satisfaction, to provide the customer top quality service,

16   would you agree with that?

17        A    No.

18        Q    No?  Would you agree that another reason for tree

19   trimming is for customer and employee safety?

20             MR. BUTLER:  I'm sorry, are you referring to tree

21   trimming by FPL with your questions, or just generally?

22             MR. ARMSTRONG:  Well, he is an expert generally.  I

23   would say generally.

24   BY MR. ARMSTRONG:

25        Q    Would you agree that generally one of the reasons for

FLORIDA PUBLIC SERVICE COMMISSION

161

1   tree trimming is for customer and employee safety?

2        A    Yes.

3        Q    And how about as to FPL, wouldn't they share that

4   reason for wanting to trim trees?

5        A    They have that in their documentation, yes.

6        Q    Sure.  All other things being equal, would you agree

7   that a three-year trimming cycle reduces the chances of public

8   hazards and power outages than a longer cycle?

9        A    It doesn't have to, no.  It is really more dependent

10   on individual tree species, and that is what FPL has done a lot

11   of research on, regrowth rates and growth rates of trees.  So

12   just having a shorter average cycle doesn't necessarily

13   translate into automatically less outages or less problems.

14   But you expect that they are going to prune more trees and

15   cover more as has been discussed, lateral miles, so there

16   should be in the statistics and the results much fewer outages

17   or interruptions due to vegetation.

18        Q    So you wouldn't agree that there is less risk, there

19   is less risk of power outages from trees coming in contact with

20   lines if you have a shorter trimming cycle, like three years as

21   opposed to something longer?  You wouldn't even agree that

22   there is less risk?

23        A    I agree that it would appear that there would be less

24   risk based on doing that.  I mean, that is the whole purpose

25   for this whole proceeding and the rulemaking by the PSC.  And I

FLORIDA PUBLIC SERVICE COMMISSION

162

1   don't disagree that that is a good idea.  But there are other,

2   you know, a lot more details into which tree needs to be pruned

3   and which one doesn't need to be pruned and where you need to

4   prune or don't need to prune, based on where there are trees or

5   where there are not trees.

6        Q    Now, in your testimony, you filed a number of

7   pictures which in your testimony you indicated were within the

8   City of North Miami.  You are now aware that five of those six

9   photos are trees that are really aren't located in the City of

10   North Miami, isn't that correct?

11        A    Right.  And, in those, in Exhibit 1, if you go to the

12   last page of Exhibit 1, the intention of those photos, as I

13   stated in Lines 4, 5, and 6, was to show trees in similar or

14   same conditions as being complained about by the City's --

15   excuse me, the City's witnesses.  And I still conclude that

16   those trees, whether they are just outside the south boundary

17   of the City or just inside the south boundary of the City,

18   represent those overpruned, or ugly, or tree conditions that

19   were complained about.

20             I mean, I have additional photos.  I went back out

21   after everybody brought that up, and I have other pictures,

22   other trees that are unequivocally within the City of North

23   Miami that we can look at if you want to do that, but those

24   pictures are still relevant.

25        Q    I don't see any pictures of trees that Florida Power

FLORIDA PUBLIC SERVICE COMMISSION

163

1   admits haven't been trimmed in more than ten years, though.

2   You don't have any of those pictures available for the

3   Commission, do you?

4        A    And that wasn't part of my study.  We are looking at

5   trees, you know, since the storms and the results of the storm

6   work, as well as I'm looking for trees that I can show in

7   pictures that to the layperson or the reasonable man or

8   reasonable person would be able to see the difference between

9   old cuts, new cuts, locations of cuts, and the types of

10   reactionary or regrowth.  So I confined myself to the last one

11   to three years.  I can go back out and look for older trees if

12   it's necessary.

13        Q    Okay.  And I'm going by your characterization of

14   North Miami's testimony was that they were attacking Florida

15   Power for, you know, bashing up trees, or whatever word you

16   used, I forget what it was.  But isn't it true that North

17   Miami -- and you heard the testimony this morning -- is

18   concerned about the length of the cycles between lateral mile

19   trimming?

20        A    They are concerned about how long the cycle length

21   has been versus how long it is going to be now, but I think

22   there is a lot of misunderstanding about how often particular

23   trees or particular segments of laterals or particular segments

24   of feeders actually are visited for pruning, and the different

25   types of pruning that is in FPL's vegetation management

FLORIDA PUBLIC SERVICE COMMISSION

164

1   program, whether it is preventative maintenance, strictly on

2   the cycle, or the mid-cycle pruning, or corrective maintenance

3   that are based on requests for pruning.  The City witnesses

4   have brought up numerous cases where they asked about trees,

5   and FPL came out, discussed them, and trees were additionally

6   pruned to meet that.  So the cycle length is not the only

7   determining factor for how often trees are pruned by FPL or

8   other utilities.

9        Q    You are aware that Tampa Electric has proposed a

10   three-year trimming cycle for its lateral miles?  Are you aware

11   of that?

12             MR. BUTLER:  I would object to the question.  I think

13   that if he's referring to something that has a specific

14   reference to that tree-trimming proposal, he should bring it to

15   Mr. Harris' attention.

16             MR. ARMSTRONG:  Madam Chair, I simply asked if he is

17   aware that Tampa Electric has agreed to a three-year lateral

18   tree-trimming cycle.

19             MR. BUTLER:  The objection is assuming facts not in

20   evidence.

21             MR. ARMSTRONG:  I asked him if he was aware.

22             CHAIRMAN EDGAR:  It seems to me that we are going a

23   bit far afield.

24             Mr. Armstrong, try to stay focused and try to help us

25   keep moving along, please.

FLORIDA PUBLIC SERVICE COMMISSION

165

1             MR. ARMSTRONG:  Well, Madam Chair, he is presented as

2   a witness who has generic experience and expertise throughout

3   the state, that is the only reason I figured he might know.

4   But we can move it along.

5   BY MR. ARMSTRONG:

6        Q    Mr. Harris, are you aware that a report from this

7   Commission staff dated December 20th, 2006, found that Florida

8   Power customers suffered the most frequent number of power

9   outages of any utility in 2006?

10        A    I'd have to look at that.

11        Q    In 2005.  I'm sorry, in 2005.

12        A    I would have to look at that.  I mean, I did read

13   through all of the documents that have been presented in this

14   whole proceeding.  But, you know, there is a much bigger binder

15   I brought to my deposition.  Nobody chose to enter any of that

16   into evidence or mark them as exhibits, so I'm not here to talk

17   about anything other than what is on the table.

18             MR. BUTLER:  Mr. Armstrong, are you referring to this

19   December 11, 2006, staff report that you had asked to be

20   officially recognized?

21             MR. ARMSTRONG:  No, I'm referring to the

22   December 20th, 2006, staff report that I asked to have

23   officially recognized.

24             Madam Chair, could this be identified as Exhibit 11?

25             MS. GERVASI:  Madam Chairman, there is really not a

FLORIDA PUBLIC SERVICE COMMISSION

166

1   need to identify it as an exhibit since it has been officially

2   recognized.

3             CHAIRMAN EDGAR:  As listed in Exhibit 1, and so for

4   simplicity and lack of duplication.  Mr. Butler, did you --

5             MR. BUTLER:  No, I'm sorry.

6             CHAIRMAN EDGAR:  So we will not mark it additionally.

7             MR. ARMSTRONG:  Okay.

8             MR. BUTLER:  But what I was wanting to ask

9   Mr. Armstrong to do, and I apologize for having the date

10   reference wrong, is if he is referring to particular figures

11   out of this report, which is pretty voluminous, ask him to

12   refer the witness to that page and specific number rather than

13   just generally referring to the report.

14             MR. ARMSTRONG:  That's what I intend to do.  Thank

15   you, Mr. Butler.

16             MR. BUTLER:  Sure.

17   BY MR. ARMSTRONG:

18        Q    Can you refer to Page 15 of this exhibit?

19        A    Okay.

20        Q    Do you see halfway down the page, the bullet FPL?

21        A    Yes.

22        Q    Could you read the first sentence?

23        A    FPL's reported SAIFI is 1.15 interruptions, the

24   highest among the five IOUs in 2005.  However, its CAIDI, of

25   60 minutes is the lowest among the five IOUs in 2005.

FLORIDA PUBLIC SERVICE COMMISSION

167

1        Q    Actually, if you don't mind, can you read the entire

2   paragraph into the record for us, please?

3        A    Okay.  Do you want me to start over with the first

4   sentence?

5        Q    No, we've got that.

6        A    Okay.  FPL's SAIDI shows a steady trend with the

7   reported SAIDI in the 68 to 70 range from 2000 through 2005.

8   Its CEMI5 data shows an improving (decreasing) trend in the

9   last three years from 3.3 percent of its customers experiencing

10   more than five interruptions in 2003, to 1.9 percent in 2005.

11   However, the 2005 CEMI5 level is still higher than that of PEF

12   and Gulf.  Based on FPL's relative underperformance in SAIFI

13   and CEMI5, the Commission should carefully monitor the

14   frequency of FPL's service interruptions.

15        Q    Thank you, Mr. Harris.

16        A    You're welcome.

17        Q    If I refer you to Page 6 of that report --

18        A    I would like to state that reading this doesn't

19   necessarily mean I fully am understanding or have all of my

20   questions answered about what it means.  So I don't want this

21   to be construed as testimony or something I am willing to

22   support or agree with, just for the record.  I don't mind --

23   you know, I read in church, I can read here.

24        Q    In other words, you aren't familiar with the facts

25   stated in that particular report that you just read, in other

FLORIDA PUBLIC SERVICE COMMISSION

168

1   words?  You weren't familiar with that before you read it,

2   correct?

3        A    No.

4        Q    Now, Page 6.

5        A    Page 6.  Okay, I'm on Page 6.

6        Q    The second to the last paragraph, full paragraph

7   there.

8        A    I see it.

9        Q    Can you please read that for us?

10             MR. BUTLER:  Madam Chairman, I'm going to object to

11   this.  This is clearly beyond Mr. Harris' Direct Testimony.  We

12   have a witness next who will be fully prepared to discuss this

13   to Mr. Armstrong's heart's content, and it just seems

14   inappropriate and pointless to keep having a witness who is not

15   familiar with this report, who was not here to get into the

16   details of reliability indices, but instead to present evidence

17   on FPL's trim practices, to be run through this report simply

18   reading sections he is not familiar with.

19             MR. ARMSTRONG:  Madam Chair --

20             CHAIRMAN EDGAR:  Although we generally are pleased

21   when we attain contentment, in this instance I agree with

22   Mr. Butler, and it goes further than the testimony that this

23   witness has presented.  So if you would like to make an effort

24   to go into this material with the next witness, as Mr. Butler

25   has directed, it may be more appropriate.  I agree with that,

FLORIDA PUBLIC SERVICE COMMISSION

169

1   so let's finish with this witness.

2             MR. ARMSTRONG:  Okay.  Thank you, Madam Chair.  Just

3   for the record, I simply was trying to show his familiarity

4   with FPL or lack thereof with regard to his testimony.  But I

5   have, I think, very little left.

6             MR. BUTLER:  I will object to the comments that were

7   just made.

8             MR. ARMSTRONG:  Actually, I'm through with my

9   cross-examination.  Thank you.

10             Thank you, Mr. Harris.

11             THE WITNESS:  You're welcome.

12             CHAIRMAN EDGAR:  Questions from staff.

13             MS. GERVASI:  Staff has no questions.

14             CHAIRMAN EDGAR:  Mr. Butler.

15             MR. BUTLER:  Let me look just to see.  I may not have

16   any redirect, but I want to see.

17                        REDIRECT EXAMINATION

18   BY MR. BUTLER:

19        Q    Mr. Harris, one brief redirect question to you.

20             You were discussing with Mr. Armstrong the choice of

21   circuits that you investigated and took pictures of that show

22   up in Exhibit JAH-1.  And would you explain, please, why you

23   particularly wanted to look at circuits that had a one to

24   three-year duration since they were last trimmed for the

25   purpose of taking these photos and doing an inspection?

FLORIDA PUBLIC SERVICE COMMISSION

170

1        A    Okay.  The use of those photos was to look at the

2   reactions to and the results of storm work from FPL, and so I

3   set my dates to the last one to three years based on picking up

4   those circuits that may show actual trim tree conditions that

5   result from storm pruning, not just regular preventative or

6   corrective maintenance pruning.  And, also, because I was

7   trying to identify trees that I would be able to visually

8   easily observe or identify with the types of trim conditions

9   that were complained about or were concerned by the City of

10   North Miami witnesses.  And, based on -- I mean, does that --

11             MR. BUTLER:  That's fine.  I just wanted to clarify

12   the purpose.  Thank you.

13             That's all the redirect that I have.

14             CHAIRMAN EDGAR:  Okay.  Let's take up the exhibits.

15             Mr. Butler.

16             MR. BUTLER:  I would move admission of Exhibits

17   4 through 8.

18             CHAIRMAN EDGAR:  Any objection?

19             MR. ARMSTRONG:  No objection.

20             CHAIRMAN EDGAR:  Seeing no objection, show Exhibits

21   4 through 8 entered into the record.

22             (Exhibit Numbers 4 through 8 admitted.)

23             CHAIRMAN EDGAR:  Mr. Armstrong.

24             MR. ARMSTRONG:  The City would move Exhibits 9 and

25   10.

FLORIDA PUBLIC SERVICE COMMISSION

171

1             CHAIRMAN EDGAR:  Mr. Butler.

2             MR. BUTLER:  Let's see, 9 and 10 are the ones that

3   have the calculations, right?

4             MR. ARMSTRONG:  Yes.

5             MR. BUTLER:  And you have deleted from 10 the first

6   bullet, the one that says to meet a six-year trim cycle,

7   28.5 miles of laterals?

8             MR. ARMSTRONG:  Yes.

9             MR. BUTLER:  I don't have a problem with their

10   admission.  I think clearly that Mr. Harris is not familiar

11   with the details of the Exhibit 2 from which these were taken,

12   but they are really just kind of the City's attempt to portray

13   that information for their purposes, and I don't object to it

14   for that limited purpose.

15             CHAIRMAN EDGAR:  Okay.  Then Exhibits 9 and 10 will

16   be entered into the record.  And the witness may be excused.

17   Thank you.

18             (Exhibit Numbers 9 and 10 admitted.)

19             CHAIRMAN EDGAR:  Okay.  We are going to take ten

20   minutes to allow everybody to stretch.  I suggest you have some

21   crackers or something, and then in about ten minutes we will

22   come back, and, Mr. Butler, you will call your next witness.

23             MR. BUTLER:  Very good.  Thank you.

24             (Recess.)

25             CHAIRMAN EDGAR:  Okay.  We are going to go back on

FLORIDA PUBLIC SERVICE COMMISSION

172

1   the record and see how far we can get.  Mr. Butler, your

2   witness.

3             MR. BUTLER:  Thank you.

4                          MANUEL B. MIRANDA

5   was called as a witness on behalf of Florida Power and Light

6   Company, and having been duly sworn, testified as follows:

7                         DIRECT EXAMINATION

8   BY MR. BUTLER:

9        Q    Mr. Miranda, you were previously sworn?

10        A    Yes, I was.

11        Q    Okay.  Thank you.  Would you please state your name

12   and business address for the record?

13        A    Yes.  My name is Manuel B. Miranda.  My address is

14   9250 West Flagler Street, Miami, Florida.

15        Q    And by whom are you employed and in what capacity?

16        A    I am employed by Florida Power and Light,

17   Vice-President of Distribution System Performance.

18        Q    Thank you.  Do you have before you prepared written

19   testimony consisting of 15 pages and attached Exhibits

20   MBM-1 and MBM-2?

21        A    Yes, I do.

22        Q    Was this testimony and exhibits prepared under your

23   direction, supervision, or control?

24        A    Yes, it was.

25        Q    Do you have any changes or corrections to your

FLORIDA PUBLIC SERVICE COMMISSION

173

1   testimony or exhibits?

2        A    No, I do not.

3        Q    Do you adopt this prepared written testimony as your

4   testimony in this proceeding?

5        A    Yes.

6             MR. BUTLER:  Madam Chairman, I would ask that Mr.

7   Miranda's Exhibits MBM-1 and MBM-2 be assigned, I think it is

8   11 and 12.

9             CHAIRMAN EDGAR:  Yes, 11 and 12.

10             MR. BUTLER:  Thank you.  And that his prepared

11   written testimony be inserted into the record as though read.

12             CHAIRMAN EDGAR:  The prefiled testimony will be

13   entered into the record as though read.

14             MR. BUTLER:  Thank you.

15             (Exhibit Numbers 11 and 12 identified for the

16   record.)

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

189

1   BY MR. BUTLER:

2        Q    Mr. Miranda, would you please summarize your

3   testimony?

4        A    Yes, thank you.

5             Good afternoon, Madam Chairman and Commissioners.

6   Our approach of balancing reliability performance and

7   vegetation clearing costs through our current vegetation

8   management program have delivered excellent results for our

9   customers, despite the difficult challenges of providing

10   service in Florida.  Today, FPL's main distribution lines,

11   referred to as feeders, are maintained on a three-year average

12   trim cycle and laterals based on reliability performance.

13   Additional trimming is also accomplished through mid-cycle

14   trimming and customer trim requests.

15             Our vegetation program also includes educating

16   customers on our trimming practices, safety issues, and

17   emphasizing the importance of placing trees on the proper

18   location known as our "Right Tree-Right Place" initiative.  As

19   part of the Commission's review of electric utilities on-going

20   storm preparedness initiatives in this docket, utilities were

21   required to assess the feasibility of a three-year vegetation

22   management cycle for all distribution circuits and to evaluate

23   whether there were more cost-effective viable alternatives.

24             In response, FPL proposed to continue its three-year

25   average trim cycle for feeders, mid-cycle, and customer

FLORIDA PUBLIC SERVICE COMMISSION

190

1   requested trimming, and proposed to initiate a new six-year

2   average trim cycle for laterals.  FPL's proposal is based on an

3   analysis that considered the costs and benefits associated with

4   the different trim cycles, implementation feasibility, and

5   potential savings with a reduction of customer interruptions.

6   FPL believes this proposal provides the best balance between

7   costs and benefits because, one, it promotes a gradual increase

8   in resources required to carry out the work avoiding execution

9   risk; two, reduces the impacts of overtime and contractor

10   premium start-up costs; three, promotes execution flexibility;

11   and, four, achieves a cost per avoided customer interruption

12   that is less than half the cost of a three-year option.

13             Over the first six years of implementing our

14   proposal, FPL expects to increase our annual average trimming

15   expenditures by more than 70 percent over the previous six-year

16   average.  Specifically looking at laterals, FPL will trend on

17   average over the next six years almost 2,800 miles per year, a

18   40 percent increase over the previous six-year annual average

19   of less than 2,000 miles per year.

20             In summary, FPL's current vegetation management

21   program has delivered excellent results.  Our proposal will

22   increase trimming activity measured both by expenditures and

23   number of miles trimmed, and it will provide the best balance

24   among cost, benefits, and feasibility.

25             This concludes my oral summary.

FLORIDA PUBLIC SERVICE COMMISSION

191

1             MR. BUTLER:  Thank you.  I tender the witness for

2   cross-examination.

3             CHAIRMAN EDGAR:  Thank you.  Mr. Armstrong.

4             MR. ARMSTRONG:  Thank you, Madam Chair.

5                          CROSS EXAMINATION

6   BY MR. ARMSTRONG:

7        Q    Good afternoon, Mr. Miranda.

8        A    Good afternoon.

9        Q    You're aware, Mr. Miranda, that the City of North

10   Miami spends between 1 and $2 million a year for its in-house

11   employees to conduct tree trimming, are you not?

12        A    Just from some of their testimony.  I do not have the

13   specifics about their budgets.

14        Q    Okay.  But you are just generally familiar with the

15   testimony you have heard?

16        A    Just generally.

17        Q    Are you also aware or familiar with the testimony

18   that they do hire some outside contracting to help them?

19        A    Just what I heard this morning, yes.

20        Q    Thank you.  How much does Florida Power spend on

21   in-house labor to do tree trimming?

22        A    All of our costs associated with trimming our

23   vegetation is done through outsourcing.  So we conduct it all

24   through Asplundh or Lewis Tree.

25        Q    Do you have a copy of the study that Florida Power

FLORIDA PUBLIC SERVICE COMMISSION

192

1   did to compare the cost if it were to do the tree trimming

2   in-house as opposed to continuing to do the tree trimming by

3   outside contractors?

4        A    No, I do not.

5        Q    So Florida Power didn't do a cost comparison to

6   determine whether it would be cheaper to do it with in-house

7   labor as opposed to outside contractors?

8             MR. BUTLER:  I'll object to the question.  It's

9   assuming facts not in evidence.  He simply asked him does he

10   have a copy of the study, and he said he didn't have a copy of

11   the study, so the next question is so FPL didn't do a study.

12             MR. ARMSTRONG:  I asked him if FPL did the study.

13             Madam Chair, we are here to look at the

14   cost-effectiveness of their programs.  They're saying that they

15   are going to spend tens of millions of dollars more.  And I

16   have been doing rate cases for a long time, and I don't know

17   how you can prove to you that it is reasonable cost to spend

18   that unless they have looked at the alternatives which would

19   be --

20             CHAIRMAN EDGAR:  Mr. Armstrong, can you rephrase the

21   question.

22             MR. ARMSTRONG:  Sure, Madam Chair.

23   BY MR. ARMSTRONG:

24        Q    Is it your testimony that Florida Power and Light

25   hasn't even looked at the costs it would incur if it moved the

FLORIDA PUBLIC SERVICE COMMISSION

193

1   tree trimming program in-house?

2        A    Over the years, we have looked at different cost

3   alternatives.  We have always found that outsourcing our

4   vegetation management program has been the most cost-effective

5   approach.  We do not have the skill sets or the equipment or

6   the training to perform that work in the short-term.

7        Q    Mr. Miranda, we are here because the Commission

8   wanted utilities to tighten up their systems and that includes

9   with respect to trimming laterals.  Now, Florida Power has

10   presented evidence that suggests that its cost of trimming

11   trees is going to go up from $40.4 million in 2003 to

12   73.6 million in 2012.  Given that, what, $33-plus million

13   increase, Florida Power didn't believe it was prudent, prudent

14   utility management to restudy that issue and determine whether

15   it would be more cost-effective to bring it in-house?

16             MR. BUTLER:  I'll object to the question again.

17   Again, assuming facts not in evidence.  Mr. Miranda said that

18   it has been studied on several occasions.

19             CHAIRMAN EDGAR:  Sustained.  Let's move along.

20   BY MR. ARMSTRONG:

21        Q    Mr. Miranda, have you participated on behalf of

22   Florida Power throughout this whole Commission investigation,

23   including the tree trimming investigation that we are here for

24   today?

25        A    Yes.

FLORIDA PUBLIC SERVICE COMMISSION

194

1        Q    Now, I've just handed you an exhibit that identifies

2   the five investor-owned utilities in Florida, the lateral trim

3   cycle, and then a third column transition period before a cycle

4   is fully implemented.  Are you familiar with the lateral trim

5   cycles which have been proposed by the other utilities in

6   Florida?

7        A    Yes.

8        Q    Does this exhibit accurately reflect the fact that

9   Tampa Electric and Florida Public Utilities have agreed to a

10   three-year cycle?

11        A    Yes.

12        Q    Florida Progress has agreed to a five-year cycle?

13        A    Yes.

14        Q    And Gulf Power and Florida Power and Light are the

15   only utilities that have asked for a six-year cycle, is that

16   correct?

17        A    An average six-year cycle.

18        Q    Okay.  And Tampa Electric has actually suggested to

19   the Commission they could implement their three-year cycle

20   within two or three years, isn't that correct?

21        A    Yes.

22        Q    And Florida Power and Light has suggested that it

23   will take until 2013, or six years to implement their six-year

24   cycle, correct?

25        A    That's correct.

FLORIDA PUBLIC SERVICE COMMISSION

195

1             MR. ARMSTRONG:  Madam Chair, could that be identified

2   with the next exhibit number.

3             CHAIRMAN EDGAR:   Thirteen.

4             MR. ARMSTRONG:  Thank you.

5             THE WITNESS:  Can I expand a little bit on our

6   proposal for that reason?

7             MR. ARMSTRONG:  You know how this works, Mr. Miranda.

8   Your counsel will be able to ask you questions on that, okay?

9             CHAIRMAN EDGAR:  What Mr. Armstrong means is that

10   there may be the opportunity to do that on redirect.

11             Mr. Armstrong.

12             MR. ARMSTRONG:  Sure.

13             (Exhibit Number 13 marked for identification.)

14   BY MR. ARMSTRONG:

15        Q    Mr. Miranda, are you familiar with Exhibit 2, which

16   was the FPL fact sheet that was distributed earlier today?

17        A    I'm familiar with it, but I did not get a copy of it.

18             MR. ARMSTRONG:  I'm going to get you one now.

19             Madam Chair, the exhibit identified as Exhibit 13,

20   can that be identified with the title "Other Utility Lateral

21   Trim Cycles"?

22             CHAIRMAN EDGAR:  Other utility lateral trim cycles?

23             MR. ARMSTRONG:  Right.

24             CHAIRMAN EDGAR:  So noted.

25             MR. ARMSTRONG:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

196

1             Madam Chair, if we could identify the exhibit I just

2   handed out as Exhibit 14.

3             CHAIRMAN EDGAR:  Yes.

4             MR. ARMSTRONG:  And we could title that as titled,

5   "Florida Power Lateral Trimming Per Year in North Miami"?

6             CHAIRMAN EDGAR:  Yes.

7             (Exhibit Number 14 marked for identification.)

8   BY MR. ARMSTRONG:

9        Q    Mr. Miranda, if I look at Exhibit 2, and specifically

10   at the second bold section, which indicates lateral trimming in

11   North Miami for the years 2004 through 2006, historic as well

12   as the projected 2007/2009, are those numbers accurately

13   reflected on this exhibit?

14        A    Yes.

15        Q    Now, Florida Power hasn't identified how many miles

16   of laterals will be trimmed in 2010 through 2012, correct?

17        A    Not at this time.

18        Q    But if I go to 2013, the suggestion is on an average

19   basis 28-1/2 miles will have been trimmed to fully implement

20   the six-year cycle, correct?

21        A    I'm sorry?

22        Q    If I look down to 2013, the next number that we

23   presume is based on the testimony that Florida Power and Light

24   can fully implement the six-year cycle by 2013, that on average

25   you will have 28.5 miles trimmed in 2013?

FLORIDA PUBLIC SERVICE COMMISSION

197

1        A    Our proposal is that by the year 2013 we will be in

2   an average six-year cycle during that period.

3        Q    Right.  Okay.  The first bullet, statement of fact,

4   Florida Power and Light proposed to trim less in 2009 than it

5   trimmed in 2004.  That is accurately reflected in these

6   numbers, isn't that correct?  Thirteen in 2009 versus 15 in

7   2004?

8        A    In absolute terms, yes.  The mile selections that we

9   perform in different years vary for different reasons.  For

10   2004 and 2006, I think you really have to step back and look at

11   why those miles were selected, because some of the previous

12   testimony was, you know, our reliability program for lateral

13   trimming up through 2004 and 2006 was reliability based.  So

14   what triggered which miles got trimmed was really based on the

15   performance of those individual circuits.  Going forward it's a

16   little bit of a combination of reliability performance as well

17   as trim age.

18        Q    Okay.  Thank you.  If I look at that second bullet,

19   I'm referring to Exhibit 13 that we identified just previously,

20   and I am looking at the five other utilities, and I see that

21   Florida Power and Light indeed has asked for the longest trim

22   cycle, as well as the longest period of years to any that have

23   identified such to implement it, isn't that correct?

24        A    When you look at the different trim cycles that have

25   been proposed, each utility was asked to go back and look at

FLORIDA PUBLIC SERVICE COMMISSION

198

1   their respective current situation, if you will, of where they

2   were with their vegetation program.  When you look at our

3   proposal, we have very specific data as it relates to Florida

4   Power and Light.  I really can't sit here and tell you what

5   Tampa Electric did and Progress did.  But I will tell that

6   after the '04 and '05 hurricane season, we, unfortunately, were

7   the ones that caught the brunt of these hurricanes, and we were

8   able to get some good data to really roll out a program that we

9   thought could meet the objectives of what was laid before us as

10   far as the staff request on viable alternatives.

11             CHAIRMAN EDGAR:  Mr. Armstrong, I'm on 15.

12             MR. ARMSTRONG:  Okay.  Madam Chair, Exhibit 15, if we

13   could title that "FPL Alleged Costs of Six-year Lateral

14   Trimming Cycle Program".

15             CHAIRMAN EDGAR:  So noted.

16             (Exhibit 15 marked for identification.)

17   BY MR. ARMSTRONG:

18        Q    Mr. Miranda, if we could turn to Page 12 of your

19   testimony.  And I must indicate one thing here, that 2005 on

20   the annual costs, that actually says 34.3, that should be 39.3,

21   shouldn't it?  If I refer to Page 12 of your testimony?

22        A    I think you've got the wrong page.

23        Q    Is that what it is?  Oh, is it wrong?

24        A    It should be Page 5.

25             MR. BUTLER:  Madam Chairman, I have a comment.

FLORIDA PUBLIC SERVICE COMMISSION

199

1             CHAIRMAN EDGAR:  Mr. Butler.

2             MR. BUTLER:  On the title of this that I suppose

3   might be an objection to it if it's not a similar understanding

4   between us.  This says it is the alleged cost of six-year

5   lateral trimming cycle program, and Mr. Armstrong is referring

6   to data that he has apparently summarized here which is data

7   showing the cost of the whole trimming program, not just for

8   the laterals.  And I think the title is misleading in that

9   context.

10             CHAIRMAN EDGAR:  Mr. Armstrong.

11             MR. ARMSTRONG:  Actually, I think he is correct.  If

12   we could strike six year, is that good?

13             MR. BUTLER:  It is the lateral that is the problem,

14   it is not just for laterals.

15             MR. ARMSTRONG:  Oh.  Trimming cycle.  So six year --

16   what is it here, it is not just the laterals?

17             MR. BUTLER:  Well, 2005 wouldn't be for six year, and

18   it is generally, not just for laterals.

19             MR. ARMSTRONG:  It is a three-year/six year --

20             MR. BUTLER:  The historic data is from FPL's existing

21   program.

22             MR. ARMSTRONG:  I see.  So it is FPL alleged cost of

23   trimming cycle program, right?

24             MR. BUTLER:  I think that would be fine.

25             CHAIRMAN EDGAR:  Okay.  So we will retitle, "FPL

FLORIDA PUBLIC SERVICE COMMISSION

200

1   Alleged Costs of Trimming Cycle Program"?

2             MR. BUTLER:  That's fine.

3             MR. ARMSTRONG:  And then Mr. Miranda is correct, this

4   information is derived from Page 5 and Page 12 of his

5   testimony.  And for 2005 that annual cost as indicated on Page

6   5 is actually 39.3 million, not 34.3 million, so if that could

7   be noted.

8   BY MR. ARMSTRONG:

9        Q    Mr. Miranda, with that change, you would agree that

10   this exhibit accurately reflects your testimony?

11        A    Yes.

12        Q    Okay.  And you will note that anticipating this issue

13   about 28-1/2 mile average in 2012, there is a question mark

14   there.  But the goal of FPL is 28-1/2 miles of laterals on

15   average, right?

16        A    Where we are heading to is to get our entire system

17   on a six-year average.  And I think several witnesses tried to

18   explain an average can mean that some will be done over a five

19   years, some over six years, some over seven years.  But when we

20   reach full implementation of our program, on average, I think

21   to your point, it will be 28.5 miles.  Our intent, though,

22   there is that we will look at the circuits individual

23   circuit-by-circuit and evaluate what the right cycle is for

24   those individual circuits for the City of North Miami.

25        Q    I have one additional exhibit here for you, Mr.

FLORIDA PUBLIC SERVICE COMMISSION

201

1   Miranda.  It is being distributed.

2             MR. ARMSTRONG:  This will be --

3             CHAIRMAN EDGAR:  Number 16.

4             MR. ARMSTRONG:  -- Number 16.

5             (Exhibit Number 16 marked for identification.)

6   BY MR. ARMSTRONG:

7        Q    I know it might take a minute, Mr. Miranda, but if

8   you look at your Page 5 and Page 12 of your testimony, what the

9   City has done here is basically put on one sheet in one place

10   for easy reference the information that you testified to in

11   terms of the year, the cost in millions of dollars, the miles

12   trimmed of lateral feeders, as well as on a mid-cycle basis,

13   and then actually adds a total miles trimmed column.  I want to

14   point out to you in the year 2003, if you could just look at

15   that one, in your testimony you indicate that that information

16   wasn't maintained, how many miles Florida Power and Light

17   trimmed on a mid-cycle basis, is that correct?

18        A    That is correct.

19        Q    So do you see what is done there is averaging 2004

20   and 2005 to give -- is that an accurate or a reasonable

21   assumption that it is somewhere in the average?

22        A    We didn't keep that data, but I imagine we did some

23   mid-cycle.  I don't know what the exact number is.

24        Q    Okay.  Well, that was just for purposes of making

25   it -- gives us a total miles trimmed information that we could,

FLORIDA PUBLIC SERVICE COMMISSION

202

1   you know, use for purposes of comparison.  Would you agree that

2   is a reasonable guesstimate?

3        A    Yes.

4        Q    The reason the City wanted to point this out, Mr.

5   Miranda, is if we look at, say, the year 2003 where it cost

6   $40.4 million to trim approximately 10,000 miles, but then you

7   go to 2004 and it actually cost less, almost $2 million less to

8   trim more miles.  Can you explain that?

9        A    Sure.  In 2004 we had a very active hurricane season.

10   We had Charley, Frances, and Jeanne that came through our

11   service territory, and what occurred there was after those

12   hurricanes came through, there was a lot of natural pruning

13   that occurred on those facilities.  And we made a decision in

14   2004, since the hurricane had cleared a good portion of those

15   laterals already, we tried to go in there immediately

16   afterwards and trim as much as possible on those laterals after

17   those storms.  So our cost pers were much less than in previous

18   years because of the natural pruning effect that occurred after

19   Charley, Frances and Jeanne.  And that is why you see the

20   lateral miles in 2004 be much, much higher than any of the

21   previous years.

22        Q    Okay.  Thank you for the explanation.  If I look at

23   2004 and 2005, I see the same kind of phenomena.  Between 2004

24   and 2005, the company spent $700,000 more, but actually trimmed

25   by almost 50 percent less.  Could you explain that?

FLORIDA PUBLIC SERVICE COMMISSION

203

1        A    I'm not following you.  Repeat that.

2        Q    If I look at 2004 and I compare it to 2005, the cost

3   that FPL incurred was about $700,000 more, but the total miles

4   trimmed was basically almost half, you know, in 2005 of what it

5   was in 2004.  Could you explain that?

6        A    Yes.  2004 and 2005 were a complete anomaly for a

7   variety of reasons.  If you recall all the hurricane activity

8   that we had during this period, we had crews ramping up, crews

9   ramping down.  I would suggest that '04 and '05 are really not

10   representative of any standard trim cycle for us because of the

11   activities.  If you recall, 2005 was another very active

12   hurricane season, and in our service territory we got impacted

13   by four storms.  So, again, you know, these cost pers are very

14   difficult to look at in those two years.  I wouldn't suggest we

15   arrive at any conclusion for '04 and '05.

16        Q    Basically, there is no direct correlation between

17   miles trimmed and cost is what that shows?

18        A    Again, '04 and '05 with the hurricane activity that

19   we had, it was just, there was multiple factors involved.

20        Q    If I could look at 2008 through 2012, the costs

21   basically go up each year.  And I note if I look at the total

22   miles trimmed, the miles trimmed go up each year.  That appears

23   that FPL is actually suggesting that there is a direct

24   correlation between miles trimmed and the cost, would you

25   agree?

FLORIDA PUBLIC SERVICE COMMISSION

204

1        A    Yes.  As we go forward, I think what you are seeing

2   there is the ramp-up effect of trimming more lateral miles and

3   the volume associated with those.

4        Q    I guess, again, if we look at 2003 where 40 million

5   was spent, and 2012 where $73.6 million is spent, that is about

6   a $33.6 million difference.  But Florida Power and Light didn't

7   do any cost alternative analysis for bringing this kind of work

8   in-house?

9             MR. BUTLER:  I'm going to object again.  That

10   question, one, has been asked and answered.  Two, I'm objecting

11   to it as assuming facts not in evidence.  Mr. Miranda testified

12   that there have been multiple reviews of that very subject

13   previously.

14             CHAIRMAN EDGAR:  I agree on both points.

15             MR. ARMSTRONG:  Madam Chair, if there was an analysis

16   performed with respect to this work --

17             CHAIRMAN EDGAR:  Mr. Armstrong, I've made my ruling.

18             MR. ARMSTRONG:  Excuse me?

19             CHAIRMAN EDGAR:  I have made my ruling.

20             Do you have further questions for this witness?

21             MR. ARMSTRONG:  Yes, I do, actually.

22   BY MR. ARMSTRONG:

23        Q    Mr. Miranda, you were indicated as a witness who

24   might be able to describe a little bit better the discussions

25   in this December 20th, 2006, report of the Public Service

FLORIDA PUBLIC SERVICE COMMISSION

205

1   Commission with respect to the utility's service reliability in

2   2005.  Do you have a copy of that?

3        A    I believe I do.  December 11th, 2006?

4        Q    No, no, December 20th, 2006, I believe.

5             MR. BUTLER:  It is the same report.  For some reason

6   the version we had printed out had this December 11 date on it,

7   but I don't think there is a problem with his referring to it.

8   Certainly he can look at one you provide him, if you would

9   rather.

10             CHAIRMAN EDGAR:  There, again, let's try to all be

11   looking at the same thing at the same time.  The version that

12   was passed out to us is dated December 20th.

13   BY MR. ARMSTRONG:

14        Q    Mr. Miranda, addressing Page 6, the second full

15   paragraph there?

16             CHAIRMAN EDGAR:  I'm sorry, Mr. Armstrong, did you

17   say a page number?

18             MR. ARMSTRONG:  Page 6.

19             CHAIRMAN EDGAR:  Thank you.

20             MR. ARMSTRONG:  Sure.

21   BY MR. ARMSTRONG:

22        Q    3.2 million customers were out of service for between

23   1 and 18 days in 2005, is that correct?

24        A    For Hurricane Wilma.

25        Q    For Hurricane Wilma.  That's pretty drastic.  I know

FLORIDA PUBLIC SERVICE COMMISSION

206

1   you felt the brunt of that at FPL.  Your customers did, as

2   well, correct?

3        A    I mean, the impact of the storm was very severe.  It

4   was a strong Category 3 that entered our territory, and, you

5   know, it impacted 3.2 million of our customers.  And so, yes,

6   we are taking many actions to improve on that.

7        Q    And one of the purposes you agree of this hearing

8   today is to try and get to a result so that we can kind of

9   minimize the number of outages going forward, correct?

10        A    That's correct, as it relates to the vegetation

11   portion.

12        Q    And if I refer to Page 15 of this study, under the

13   bullet FPL, it indicates that Florida Power and Light had the

14   highest of all the five utilities SAIFI index, correct?  Could

15   you describe what the SAIFI index is?

16        A    The SAIFI index is the EEI index that measures the

17   frequency of outages for our customer base.

18        Q    Okay.  Now, will you agree that if Florida Power were

19   to use a three-year trim cycle for laterals that there would be

20   a reduction in the frequency of outages?

21        A    When you look at our SAIFI index that you see here,

22   the 1.15 that you referred to, you have to really kind of step

23   back and look at the performance of all the utilities.  So in

24   your comments, yes, in absolute it is 1.15.  But I looked at

25   the rest of the report, you look Atlantic Gulf at 1.13,

FLORIDA PUBLIC SERVICE COMMISSION

207

1   Progress at 1.12.  We are all pretty bunched together in that

2   frequency component.  And since 1997 we have put a concerted

3   effort to improve our frequency component.

4             As the Commissioners may recall, the staff may

5   recall, we initiated a program call Reliability 2000 where we

6   have brought our frequency down from 1.54 to 1.15, which is the

7   best overall SAIFI we have ever achieved at Florida Power and

8   Light during this period.

9        Q    Okay.  And certainly reducing, achieving the best

10   level of safety is laudable, and I guess I just want to make

11   sure, though, looking at this logically, if Florida Power were

12   to reduce the cycle, the time between trimming its laterals,

13   logically, the number of outages will be reduced, correct?

14        A    And that is part of one of my exhibits.  If you go to

15   my Exhibit MBM-1, we highlight the frequency gain associated

16   with our vegetation program and the impact it has on overall

17   SAIFI.

18        Q    Right.  And if I go to that exhibit, can you show me

19   on this exhibit where the costs incurred by customers is

20   reflected?  The costs incurred by customers is not reflected in

21   this exhibit, correct?

22        A    This particular exhibit does not reflect the cost of

23   customers individually as a result of storms, but it does

24   include all the costs associated with Florida Power and Light.

25   As far as the cost per customer, you know, that is a figure

FLORIDA PUBLIC SERVICE COMMISSION

208

1   that really there is no industry practice, no industry number

2   for that.  You know, all customers value outages in a different

3   perspective, so our intent was to make sure that we had a

4   common platform by which to conduct this analysis to introduce

5   a factor that really there is no industry standard or really

6   anticipated approach on how to value that.  We just thought

7   that it was not representative in here.

8             The other thing, too, was we wanted to make sure

9   that, you know, at the end of the day this is measured across

10   all of our customer base, and we wanted to make sure that all

11   of our customers are represented in this complete analysis.

12        Q    Okay.  Now, also your exhibit doesn't reflect any

13   costs incurred by the City with respect to these outages,

14   correct?

15        A    Well, these costs are ultimately occurred by all of

16   us, so these costs to restore this after a storm, our

17   vegetation costs, are incurred as part of our storm recovery

18   costs.  So their direct costs are not embedded in here, but

19   FPL's costs as they relate to our entire service territory are

20   incorporated here.

21        Q    But obviously the City of North Miami, one of their

22   issues is when you have your outages, and they believe outages

23   occur more frequently as your testimony shows when you have

24   more lengthy trimming cycles.

25        A    Right.

FLORIDA PUBLIC SERVICE COMMISSION

209

1        Q    So the City incurs some costs associated with that,

2   correct?

3        A    I do not have a direct knowledge of all the costs

4   associated with the City and how they account for that.  I

5   imagine they have costs for all the trees that toppled over,

6   whether it is in right-of-way or out of right-of-way, trees

7   they maintain or we maintain.  Whether they keep that type of

8   accounting or measurements, I don't have any knowledge of that,

9   but this direct study does not implicitly include those types

10   of expenses.

11        Q    Here is a real easy one.  I'm referring to your

12   deposition exhibit.  Just a quick one for you.  You admit in

13   your deposition that tree densities are greater on laterals

14   than on feeders, and I refer to Page 27 of your deposition

15   testimony.  Is that correct?

16        A    The answer is yes, that's what I referred to.

17        Q    Earlier in your summary you referred to Page 4, Lines

18   4 to 5 of your testimony where you indicate that FPL refers to

19   reliability performance as the basis for deciding where FPL

20   would trim on an annual basis, is that correct?

21        A    Where are you referring to?

22        Q    Do you see it on Page 4?

23        A    Yes.

24        Q    And you would agree that the reliability of a lateral

25   is determined by the individual history of each lateral and how

FLORIDA PUBLIC SERVICE COMMISSION

210

1   many customer interruptions occur on each lateral?

2        A    We look at the entire circuit body of all the

3   laterals and accumulate how many customer interruptions, and

4   off that is our reliability approach to our lateral trimming on

5   a preventative maintenance program.

6        Q    Okay.  And I refer you specifically to Page 8 of your

7   testimony -- of your deposition, I'm sorry.  It actually begins

8   at Page 7 at Line 24.  And there you indicate that reliability

9   performance looks at the individual history of each lateral and

10   how many customer interruptions occur on each lateral.  How

11   many customers are served, and how many interruptions occur on

12   each individual lateral circuit, correct?

13        A    That's correct.

14        Q    So that accurately reflects your understanding of the

15   reliability criteria here?

16        A    Yes.

17        Q    Okay.  Here is, I guess, a fundamental issue that the

18   City has with this proposal.  Aren't you suggesting that

19   Florida Power then schedules its line trimming based upon

20   historical events when outages have already occurred?  It seems

21   to us that you are waiting until laterals have a problem before

22   you do scheduling tree trimming.

23             MR. BUTLER:  Mr. Armstrong, are you asking under

24   FPL's current program or under its three-year/six-year

25   proposal?

FLORIDA PUBLIC SERVICE COMMISSION

211

1             MR. ARMSTRONG:  Even in the summary, Mr. Miranda

2   referred to the fact that they did it before and they still

3   incorporate this reliability performance criteria into the

4   existing one, as well.  If that's not the case he can indicate

5   that now.

6   BY MR. ARMSTRONG:

7        Q    Did I accurately reflect it?

8        A    Our previous program was reliability based.  In other

9   words, we monitored the performance of those laterals, and, you

10   know, based on their interruption history will determine which

11   laterals go out on the preventative maintenance.  Going forward

12   that component still needs to reflect in our approach because

13   we want to make sure we have a lateral that is out there, or a

14   circuit body of laterals that is out there, we want to make

15   sure that that service doesn't deteriorate.

16             But, now, of course, we also want to introduce the

17   age of our trim and that is also a factor now in our selection

18   of which circuit bodies we will be trimming.  And as you have

19   noted earlier, that's why if you look at the City of North

20   Miami, the laterals that we are trimming are some that have not

21   been trimmed for over ten years, per se.  But what that is also

22   telling us is these laterals have not triggered our reliability

23   program.  So, in effect, they have outstanding performance.

24   And if you look at the overall reliability within the City of

25   North Miami, it really has been excellent reliability both from

FLORIDA PUBLIC SERVICE COMMISSION

212

1   overall SAIDI indicators all the way through the number of

2   vegetation outages associated within the City.  So what that is

3   telling us is our program has been very effective.

4             Now what we want to do is as we, you know, the

5   challenge of this or the request of the Commission was to look

6   at how to make the system more storm resilient.  From a

7   reliability perspective, the City of North Miami was getting

8   excellent reliability.  What we're trying to do is go and look

9   at the storm resiliency and that was the effort associated with

10   this study which was what do we need to do to improve during a

11   storm event.

12        Q    Thank you for that explanation, Mr. Miranda.  I

13   appreciate it.

14             Are you familiar with the concept of, and I think you

15   referred to it, preventative maintenance in your testimony?

16        A    Yes.

17        Q    Correct me if I'm wrong, I'm going to describe

18   preventative maintenance and you tell me if you agree with that

19   description.  Preventative maintenance means that before a

20   problem occurs, I know, I go out with my equipment, and I say

21   before a problem occurs I'm going to go and deal with that

22   equipment to keep it up to snuff so a problem won't occur.  Is

23   that a poor man's description of preventative maintenance?

24        A    Well, I think there are probably different ways of

25   describing preventative maintenance.  As far as Florida Power

FLORIDA PUBLIC SERVICE COMMISSION

213

1   and Light, the way we describe our preventative maintenance is

2   we are proactively going out and trimming a circuit based on

3   the reliability profile that that circuit has had, and then

4   trimming that on a complete circuit body basis.

5             Our corrective maintenance is really just triggered

6   off what we call immediate.  If we have a hot spot of concern,

7   a customer that calls up through a customer trim request, those

8   are done through corrective maintenance.  It is more the

9   immediate.  But our preventative is proactively trying to get

10   ahead of a circuit.  Even though it has had some interruptions,

11   you go out proactively to trim that circuit, the entire circuit

12   versus just the individual location where there might be a hot

13   spot.

14             So preventative means if we start seeing that we are

15   starting to see some activity, maybe some components within

16   that lateral, when we go out and do preventative maintenance,

17   we are doing the entire circuit body now because that is

18   starting to give us an indication that we are going to have

19   more reliability problems coming forward, and that is what our

20   preventative maintenance is trying to do.  Get ahead of future

21   interruptions that based on our past it's indicative of more

22   problems going forward.

23        Q    And would you agree that preventative maintenance is

24   actually more cost-effective, cost-efficient than, let's say,

25   hot spot maintenance or hot spot trimming?

FLORIDA PUBLIC SERVICE COMMISSION

214

1        A    Well, they serve different roles.  For example, in

2   our case, our mid-cycle trimming, in our minds it's very

3   effective because what it's trying to do is within a circuit

4   you may have only a series of trees, maybe one, two, or

5   three that require trimming and maintaining on a circuit.  So

6   in those particular cases, your mid-cycle trimming is much more

7   cost-effective than doing the entire circuit body, because the

8   entire circuit body may not need all the trimming to be

9   completed.

10             So depending on what your objective is and what you

11   are trying to accomplish with your cycle trimming, mid-cycle

12   trimming can also be very effective in maintaining the circuit,

13   you know, for the cycle period that you are trying to

14   accomplish.

15        Q    I have two questions as a follow-up there.  If I

16   schedule maintenance fees -- have a scheduled program for

17   trimming of these laterals, and I go out on a scheduled basis

18   on individual laterals and I don't see any trees that are in

19   need of trimming, I don't incur any additional cost, right?  It

20   doesn't take me any more time, I just drive down the road,

21   correct?

22        A    Well, you have incurred costs of patrolling those

23   facilities.

24        Q    There are no incremental costs.  I mean, I'm driving

25   down the road, I'm seeing that there isn't any need for

FLORIDA PUBLIC SERVICE COMMISSION

215

1   trimming.  Is that what Florida Power would do, or your

2   contractors would do?

3        A    I'm not following your question.

4        Q    Preventative maintenance, and the tree-trimming cycle

5   that we talk about, the miles of laterals that you are going to

6   trim under this proposal on an average of six-years cycle,

7   right?  Under that proposal, you are going to go out and look

8   at the laterals, and is it your testimony that when you drive

9   down the line, each mile, if it doesn't need to be trimmed

10   right away, you are going to drive by it, that tree, or are you

11   going to actually trim that tree back a little bit and make

12   sure you have some level of clearance?  Which do you do?

13        A    If it's under our preventative maintenance program,

14   we will trim those lines to the proper specifications that

15   Mr. Slaymaker shared with you earlier.  So there will be

16   trimming conducted on all of those circuits based on

17   preventative maintenance.  Mid-cycle will only come back, for

18   example, if there is one tree that is maybe a faster growing

19   tree within that circuit mile, will come in maybe at one-year

20   or two-year or three-year, whatever the required period is, to

21   trim just that individual tree.

22             Also, now, backing up on your preventative

23   maintenance example, if we ride that line and the trees are set

24   back or there are no trees that still require, you know, keep

25   the clearance requirements, then, yes, there wouldn't be any

FLORIDA PUBLIC SERVICE COMMISSION

216

1   trimming in that scenario.

2             MR. ARMSTRONG:  Madam Chair, I believe this is

3   identified as Exhibit 17.

4             CHAIRMAN EDGAR:  Yes, 17.

5             MR. ARMSTRONG:  And we could call it "Impacts of

6   Feeder Customer Interruptions".

7             CHAIRMAN EDGAR:  So noted.

8             (Exhibit Number 17 marked for identification.)

9   BY MR. ARMSTRONG:

10        Q    Mr. Miranda, do you recognize the information

11   provided on this exhibit?

12        A    Portions of it.  Some of them are --

13        Q    If I look at the feeder customer interruptions for

14   2001, 2003, and 2006, that information was provided by you,

15   isn't that correct?

16        A    Yes.

17        Q    And that's on Page 6 of your testimony?

18        A    That's correct.

19        Q    And the customers served per feeder at 1,500 per

20   customer, that is also your testimony?

21        A    That's correct.

22        Q    If I multiply the first line by the second line, I

23   come up with a third line, customers impacted on average, would

24   you agree?

25        A    Based on the formula, yes.

FLORIDA PUBLIC SERVICE COMMISSION

217

1        Q    And your customers of FPL, if we assume households,

2   we assume three people per household.  Is that a pretty

3   standard assumption?

4        A    I have no basis for that.

5        Q    Well, let me ask you to assume --

6        A    We measure everything with customer interruptions.

7        Q    Let me ask you to assume for purposes of this exhibit

8   the question -- I guess what the City is concerned with is that

9   in 2001 with the customer interruptions, there were over a

10   million people impacted, and this is just from the vegetation

11   management program and outages associated with vegetation.  And

12   in 2003 we had 1.4 million customers impacted.

13             MR. BUTLER:  I'm going to object to that question as

14   assuming facts not in evidence.  I think he is reading from

15   this line, people impacted, which he hasn't provided any basis,

16   and Mr. Miranda says he has no basis to know if that

17   three people per household figure is accurate or not.

18             CHAIRMAN EDGAR:  Mr. Armstrong.

19             MR. ARMSTRONG:  The DEP, that some you are familiar

20   with, uses 3.5 people per household when they do this kind of

21   an estimate to determine population.  I know you are familiar

22   with that.

23             MR. BUTLER:  I would object to Mr. Armstrong

24   testifying to that information.

25             CHAIRMAN EDGAR:  I don't know where the basis is in

FLORIDA PUBLIC SERVICE COMMISSION

218

1   the record.

2             MR. ARMSTRONG:  Again, what we are doing is just --

3   the witness has given us some hypotheticals that we have

4   allowed to come into evidence, and we are trying to just give

5   an assumption, give an assumed figure of three years which we

6   believe is rather reasonable, Madam Chair.

7             MR. BUTLER:  Again, I'm going to object to his

8   testifying about its reasonableness.  If he just wants to say

9   assume it is three people, if that were the case would this be

10   the number, I would not have an objection to that question.

11             CHAIRMAN EDGAR:  Mr. Armstrong.

12             MR. ARMSTRONG:  I accept Mr. Butler's suggestion.

13             CHAIRMAN EDGAR:  Okay.  Why don't you pose it to --

14   BY MR. ARMSTRONG:

15        Q    If we assume three people per household with this

16   number of people impacted, I could reflect the number of people

17   impacted by these customer interruptions from feeders?

18        A    Using that assumption, that would be correct.  Again,

19   I want to reiterate, our standard measurement and as measured

20   by EEI and what we filed within the Public Service Commission

21   is customers interrupted, and those are based on meter counts.

22   So the household is another -- it's a factor that is not used

23   because you want to keep -- when you measure across the

24   industry you want to make sure you are measuring consistently.

25   So the people impacted, in my opinion, is not the right

FLORIDA PUBLIC SERVICE COMMISSION

219

1   measurement to utilize.

2        Q    And customer impacted, that includes businesses as

3   well as households, too, correct?

4        A    Yes, it does.

5        Q    So it could be quite a few more people impacted, as

6   well?

7        A    It may; it may not.  That's what I'm saying, I don't

8   want to get into that speculation, because it could be on time

9   of day, commercial businesses are closed.  So you start a whole

10   series of assumptions that really can be very misleading.

11        Q    Mr. Miranda, I just asked you to look at the second

12   column, and that was the second bold, impacts of lateral

13   customer interruptions.  And, again, this information, lateral

14   customer interruptions as well as average customers served for

15   laterals, that was also part of your testimony, correct?

16        A    Correct.  And laterals as defined by my testimony

17   also included other components which were transformers, single

18   no currents, and other devices which was a compilation of

19   laterals, if you notice in my testimony.

20        Q    Okay.  And just for the record, Exhibit 2, which is

21   the FPL fact sheet, indicates that in the City of North Miami,

22   FPL has determined that there are actually 55 customers served

23   per lateral, correct?

24        A    On the circuits that serve the City of North Miami.

25   But if you limit it to just the customers within the City, it

FLORIDA PUBLIC SERVICE COMMISSION

220

1   is approximately 33 customers per lateral.  Remember, circuits

2   don't stop at geographical city lines, they cut across multiple

3   cities.

4        Q    So, really, the intent of this exhibit is to show

5   that the feeder customer interruptions, although they have been

6   focused on, FPL has agreed to do a three-year cycle for

7   feeders.  Actually more customers are impacted by laterals, and

8   the customer interruptions on laterals each year than customer

9   interruptions on feeders, isn't that correct?  Isn't that shown

10   here?

11        A    Using the map that you showed here, that would be

12   correct.  But let me kind of step back a little bit.  When you

13   look at our initiative of maintaining feeders on the three-year

14   cycle, this exactly supports why it is the prudent thing to do.

15   By keeping our feeder cycles down to the three-year average, it

16   has really avoided a significant amount of customer

17   interruptions.  So what you are seeing here is the direct

18   initiative.  If we just made everything on a level playing

19   field where an interruption was an interruption, for every

20   feeder outage that you have it equates to over 40 lateral

21   interruptions.  So you are trying to avoid on a per unit basis

22   and get the maximum benefit.

23             Also our trim cost to do lateral trim is

24   significantly greater than our cost to trim our feeders.  So on

25   maximizing our dollar and getting the most benefit, that is why

FLORIDA PUBLIC SERVICE COMMISSION

221

1   we target our feeders.  So what you are seeing here is the

2   direct results of our program to avoid a significant number of

3   customer interruptions.  So on an absolute basis, that premise

4   would be correct, but what we have avoided by doing our feeders

5   is the right solution, because if we had an equivalent 13,000

6   lateral outages it would be millions and millions and millions

7   of customers interrupted.

8        Q    Under the same logic, then, if FPL concentrated

9   further, just like you do with feeders, and implemented a

10   three-year cycle for laterals, you would be able to reduce the

11   number of customers impacted even lower than what we are

12   showing here, what you testified to, correct?

13        A    I think what we have shared with you is that the

14   basis for our initiative and this study was to increase the

15   storm resiliency of our infrastructure.  Again, if you go back

16   to MBM-1, there it shows that going to a three-year cycle you

17   would have more savings as far as, you know, avoiding the SAIFI

18   indicator.  But the cost to accomplish that saving is

19   significantly greater than, you know, what we are spending

20   today because of that three-year cycle in such a short time

21   frame.

22        Q    And along that line, you agree the City incurs costs

23   when there are these outages, when we have wind events, storm

24   events, trees are down, branches are down, the City incurs

25   costs for those outages, as well, correct?

FLORIDA PUBLIC SERVICE COMMISSION

222

1        A    Yes.

2        Q    And when you have more frequent events like that on

3   the laterals, the City has more costs?

4        A    But where we are analyzing, again, it comes back to,

5   you know, how to maximize the cost avoided with making the

6   system more storm resilient and balancing what it would cost to

7   achieve those goals versus the benefits associated with the

8   outcome after a storm.  So when you go to MBM-1, there it kind

9   of shares with you the number of customer interruptions that

10   are avoided during a hurricane event as well as the gains that

11   we will get during normal reliability in our SAIFI indicator.

12        Q    But if I look at your -- we have established before

13   you are ignoring the costs that the City incurs, which

14   ultimately customers have to pay for, as well.  You are

15   ignoring that.

16        A    We implicitly did not incorporate the City's costs or

17   the customer costs, because there really is no industry

18   practice to calculate what that value is that customers would

19   place on having, you know, uninterrupted service.  That value

20   can really vary by customer to customer and can vary by

21   community to community, and the costs within the City, you

22   know, probably reflect a series of other activities that are

23   not just a result of FPL trimming.

24             Trees topple over, and regardless of what kind of

25   trimming we do, right?  I mean, what we have seen during these

FLORIDA PUBLIC SERVICE COMMISSION

223

1   hurricanes is that trees will topple over.  And that is why you

2   have heard so much emphasis today on the "Right Tree-Right

3   Place" program, because we really want to work in partnership

4   in these communities and these laterals that are in very -- you

5   know, in people's backyards, we want to work and identify those

6   lines that have trees that maybe have a potential of toppling

7   over to work with the customers, work with the City, you know,

8   work with any agency to try to remove these trees from these

9   circuits so we can get the maximum benefit off our programs.

10   Trimming in and of itself will not stop trees from toppling

11   over.

12        Q    Would you agree -- I know you are saying it is not a

13   standard practice right now, but would you agree that since we

14   all admit the City incurs those costs that there should be some

15   mechanism that we can identify what those avoided costs are so

16   that we can have an accurate reflection, including the impact

17   on the City and its costs?

18        A    I don't believe it should be incorporated.  I think

19   that each city will have different parameters, different cost

20   structures, and that is where it could really make the playing

21   field very different.  What we want to do is make sure that our

22   analysis represented all of our customer base, and the City

23   expenses might vary from city to city, community to community

24   based on their individual contracts or individual needs, and

25   what we wanted to make sure was at the end that these costs are

FLORIDA PUBLIC SERVICE COMMISSION

224

1   shared equally across all of our customers.

2             MR. ARMSTRONG:  Thank you, Mr. Miranda.

3             Madam Chair, I just want to see if I missed anything

4   here.

5   BY MR. ARMSTRONG:

6        Q    Mr. Miranda, you refer to the fact that Florida Power

7   and Light is now proposing to trim approximately 4,000 miles of

8   feeders and laterals each year on the mid-cycle basis.  Are you

9   familiar with that?

10        A    Yes.

11        Q    Can you provide us with a cost analysis that Florida

12   Power performed to specifically compare the cost of doing that

13   on a mid-cycle basis as opposed to doing it on a scheduled

14   planned cycle basis?

15        A    I'm not sure I'm following you.

16        Q    Well, 4,000 miles on a mid-cycle basis is a lot of

17   miles, obviously.  If in lieu of this mid-cycle you actually

18   scheduled more miles of laterals to be done on a scheduled

19   basis on a scheduled cycle -- do you know how many lateral

20   circuits you have?

21        A    Right.

22        Q    You schedule them to be done on a cycle.  Have you

23   done a comparison to say how much would it cost FPL to do that

24   versus how much it is costing us now to do this on a mid-cycle

25   basis?

FLORIDA PUBLIC SERVICE COMMISSION

225

1        A    Sure.  Just remember the goal of the mid-cycle

2   program is not to do complete preventative maintenance.  The

3   goal of it is to identify targeted trees that may not allow us

4   to maintain the cycle period.  So when you look at mid-cycle

5   approach, it is probably around eight times less expensive to

6   do mid-cycle trimming than it is to do a complete preventative

7   maintenance on that entire circuit body.

8             And if you look at our mid-cycle in particular, this

9   in 2006 really concentrated on what we call critical

10   infrastructure facilities, those key facilities that serve the

11   community needs such as EOCs, water plants, and so forth within

12   communities.

13        Q    On a mid-cycle basis, though -- on mid-cycle you are

14   also referring to when customers call and ask for you to come

15   out because they think a tree is a problem, correct?

16        A    No, that is under our customer trim request under the

17   corrective maintenance.  So if a customer calls up and says,

18   "I've got a tree that I would like to have you trim," we would

19   go out there, evaluate that tree to make sure that there is not

20   a hazardous condition, or an immediate trimming required.  If

21   there is, we will schedule for it to get trimmed.  If it can be

22   rescheduled as part of the scheduled trimming cycle, then it

23   will be incorporated within that scheduled cycle.

24        Q    Why would you do that?  Why would you incorporate it

25   into the regularly scheduled cycle as opposed to doing it now?

FLORIDA PUBLIC SERVICE COMMISSION

226

1        A    Well, if we go out there and we see that the tree,

2   there is no hazard, it has enough clearance to meet the time

3   frame of when the regular schedule is coming to trim those

4   circuits, then we will just incorporate it.  That way you don't

5   have that hot spot trimming as you referred earlier that is

6   more loss costly to do on an individual customer request.

7        Q    Right.  Because it is more cost-effective is the

8   bottom line?

9        A    Sure.

10        Q    Do you agree with the testimony of the City witnesses

11   that trees in South Florida do have a higher growth rate, grow

12   faster than other areas, like northern areas of Florida?

13        A    I think there has been several rounds of testimony

14   about that.  There is a variety of components involved with

15   tree species, locations of trees.  There are so many components

16   as it relates to trees within our service territory.  They can

17   be faster growing and can be slower growing, both, within our

18   territory.

19        Q    Do you agree that in South Florida trees grow

20   365 days a year due to the climate as opposed to in North

21   Florida where you have some freezes and trees aren't growing?

22        A    I'm not sure all of North Florida agrees don't grow,

23   as well.

24        Q    But not all of them?

25        A    We have different tree species across our service

FLORIDA PUBLIC SERVICE COMMISSION

227

1   territory, and depending on the tree species, individual trim

2   cycles get prepared for the whole circuits.

3             MR. ARMSTRONG:  That's it, Madam Chair.

4             Thank you, Mr. Miranda.

5             CHAIRMAN EDGAR:  Questions from staff?

6             MS. GERVASI:  We do.  We have about maybe 15 or

7   20 minutes worth of questioning.

8             CHAIRMAN EDGAR:  Okay.  Hold on just a second.

9             Okay.  We are going to take a break and come back

10   about ten after 2:00 by the clock on the wall.  That's

11   approximately 35 minutes.  And when we come back we will start

12   with questions from staff for this witness.

13             We are on break.

14             (Lunch recess.)

15             CHAIRMAN EDGAR:  Okay.  We'll go back on the record

16   and we will start our deliberations with questions from staff.

17             MS. GERVASI:  Thank you.

18                          CROSS EXAMINATION

19   BY MS. GERVASI:

20        Q    Good afternoon, Mr. Miranda.

21        A    Good afternoon.

22        Q    Your testimony that you prefiled in this case

23   provides information concerning the frequency of FPL's

24   vegetation management program on a system-wide basis, is that

25   correct?

FLORIDA PUBLIC SERVICE COMMISSION

228

1        A    That's correct.

2        Q    Is it your understanding that FPL's system-wide

3   vegetation management program is what this proceeding is all

4   about?

5        A    That's correct.  It was part of the FPSC's overall

6   reliability on our vegetation program.

7        Q    Would you agree that the issue in this proceeding is

8   more specific to FPL's vegetation management policy regarding

9   lateral circuits within the City limits of North Miami on a

10   going-forward basis?

11        A    Yes.

12        Q    Do you provide any FPL data specific to the City of

13   North Miami for tree-related electric reliability?

14        A    Yes.  As part of my deposition, I provided a filing

15   that provided some reliability metrics as it relates to the

16   City of North Miami.

17        Q    In your late-filed deposition exhibit, is that

18   correct?

19        A    That's correct.

20             MS. GERVASI:  Before the break, the staff handed out

21   what we would like to go ahead and mark for identification with

22   the next available exhibit number.

23             CHAIRMAN EDGAR:  That would be 18.

24             MS. GERVASI:  Thank you.  And we will label that

25   "North Miami Vegetation-related Reliability Statistics".

FLORIDA PUBLIC SERVICE COMMISSION

229

1             (Exhibit Number 18 marked for identification.)

2   BY MS. GERVASI:

3        Q    Do you have a copy of that before you, Mr. Miranda?

4        A    Yes, I do.

5        Q    Now, prior to when you had your deposition taken and

6   when you prefiled your testimony in this case, was there any

7   FPL data specific to the City of North Miami for tree-related

8   electric reliability?

9        A    Not as part of my testimony.

10        Q    For storm restoration costs?

11        A    For the City of North Miami?

12        Q    For the City of North Miami.

13        A    No.

14        Q    And the same question with respect to vegetation

15   management costs?

16        A    That is correct.

17        Q    On Page 1 of your direct testimony, Lines 14 through

18   18, you state that you're responsible for executing and

19   overseeing improvements associated with FPL's storm hardening

20   activities, correct?

21        A    That is correct.

22        Q    How many years experience do you have in matters

23   pertaining to distribution reliability?

24        A    I started with Florida Power and Light as an engineer

25   back in 1982, and I began my engineering career, I think I

FLORIDA PUBLIC SERVICE COMMISSION

230

1   referred earlier, in the City of the North Miami, so I have

2   come full circle.  It is one of the first territories that I

3   handled.  But the last ten years of my career have really been

4   completely focused on overall reliability.  So I would say from

5   1997 I was brought into -- I was promoted to director of

6   distribution operations, and really outlined and supervised the

7   preparation of our Reliability 2000 initiative, which really

8   targeted our overall reliability program.  And I served in that

9   role for seven years, until 2003.

10             In 2003 I was promoted to Director of Distribution

11   Operations, which is responsible for the entire state of

12   Florida as far as maintenance, construction, and direct

13   oversight of all of our restoration activities, including all

14   the hurricanes in 2004 and 2005.  So I had direct

15   responsibilities for restoration and all the reliability, and

16   executing all the reliability initiatives during that period.

17             And then in January or February of this year, I was

18   promoted to lead FPL storm secure initiative, which is a very

19   comprehensive program that is looking at improving the

20   resiliency of our infrastructure against future hurricanes.

21   And it is really anchored on really four key points.  Five key

22   points.  One with all the follow-up work that came as a result

23   of all the hurricanes; the hardening of our infrastructure

24   which we have proposed to harden to extreme wind; our pole

25   inspection program; our underground conversions; our GAF

FLORIDA PUBLIC SERVICE COMMISSION

231

1   proposal that will be before the Commission shortly; and the

2   last component is the vegetation management.

3        Q    Thank you.  In the ten or so years that you have been

4   directly involved in the distribution reliability program at

5   FPL, to the best of your knowledge is this the first time in

6   that many years that the Commission has held a hearing to

7   address FPL's vegetation management plan within a specific

8   city's boundaries?

9        A    To the best of my knowledge, yes.

10        Q    Have you reviewed the prefiled testimony of the City

11   witnesses, Messrs. Lytle and Miller?

12        A    Yes, I have.

13        Q    Did you find any information contained in either of

14   their testimonies pertaining to FPL's vegetation-related

15   reliability statistics?

16        A    No, I did not.

17        Q    Would you agree with me that FPL is in the best

18   position to collect FPL's vegetation-related reliability data?

19        A    Yes.

20        Q    Would you also agree that it would not be reasonable

21   to expect other entities, such as the City of North Miami or

22   the Commission staff to be able to collect such data without

23   FPL's participation?

24        A    That would be correct.

25        Q    To the best of your knowledge, in advance of the City

FLORIDA PUBLIC SERVICE COMMISSION

232

1   filing its testimony in this case, did FPL provide the City

2   with any documents explaining how FPL's changes to its

3   vegetation management plan would impact the City?

4        A    Prior to it, no.

5        Q    Can you tell me why not?

6        A    We had just been working with the Public Service

7   Commission staff on developing the six-year proposal, and once

8   the analysis was completed and it was approved, then the next

9   sequence of events will be to communicate our trimming plans

10   throughout our entire service territory.  We are just beginning

11   our implementation of our six-year average vegetation program

12   on our laterals, so that plan will be communicated going

13   forward.

14             As far as our feeders, we typically will communicate

15   with all of our cities when we are coming and the amount of

16   trimming that we are doing, but specifically on the six-year

17   component of that, again, we have just begun implementation and

18   as those plans all get finalized throughout our service

19   territory we will communicate with our cities.

20        Q    Thank you.  I would like to refer you to what has

21   preliminarily been marked as Exhibit 18.  Do you recognize this

22   document?

23        A    Yes, I do.

24        Q    Did you prepare it?

25        A    It was prepared under my supervision.

FLORIDA PUBLIC SERVICE COMMISSION

233

1        Q    Does this document appear to accurately show FPL's

2   vegetation-related reliability statistics for the City of North

3   Miami?

4        A    Yes, it does.

5        Q    Can you please briefly describe what the information

6   on this exhibit means for the City of North Miami?

7        A    Let me start with overall reliability indicators.

8   EEI has three key reliability metrics that we monitor and

9   report on to the Public Service Commission on an annual basis.

10   The first one is SAIDI, which is the overall measurement of

11   total minutes that the customers will experience in a given

12   period of time.  Typically a one-year period.  SAIFI is the

13   frequency component.  In other words, how much customer

14   interruptions you will have over your total customers served,

15   again, that you would have over a period.  And then CAIDI is

16   the duration component.  In other words, if you have an

17   interruption how long on average does it take you to restore

18   that service.

19             SAIDI is probably the best composite overview of all

20   reliability metrics, and when you see, for example, Florida

21   Power and Light in 2006, 75.1 minutes, which is

22   approximately -- and you see the EEI number of 134.8 minutes,

23   so we are about 44 percent better than the national average.

24             North Miami has a SAIDI performance of 71.7 minutes,

25   which is, again, 47 percent better than the national average.

FLORIDA PUBLIC SERVICE COMMISSION

234

1   A SAIFI component of 1.07 versus our system average of 1.29.

2   Earlier I was questioned about the 2005, so SAIFI for North

3   Miami would be 1.07.  So, again, it's better than our system

4   performance.  And CAIDI would be at 66.9.  So overall they

5   receive excellent reliability as measured both within our

6   service territory, but even at the national level.

7             The next series of indicators beneath, we wanted to

8   understand how they were doing and relative to vegetation

9   outages, which is really the purpose of this hearing.  And when

10   you look at the indicators that we have put together is

11   vegetation outages versus total outages, in other words, how

12   many total outages have we had and then just take the

13   vegetation component of that.  Vegetation CIs versus total CIs,

14   and this is how many customer interruptions versus total

15   customer interruptions.  So the top number outages, we refer to

16   the number of outages.  That's what we called the end

17   component.  The customer interruptions is how many

18   interruptions within that interruption, how many customers were

19   interrupted.  And then the last one is the vegetation SAIFI,

20   which is the component of the SAIFI up above.

21             So when you look at those performance metrics, FPL on

22   the whole was at 9.3 percent on the number of outages versus

23   the total outages, and comparing that to the EEI of national

24   survey, this is for 2005, the average is 17 percent, so well

25   below that average.  And then the City of North Miami at

FLORIDA PUBLIC SERVICE COMMISSION

235

1   7 percent vegetation CI, in other words, how many customers

2   were interrupted due to vegetation versus the total number of

3   interruptions that they incur for all the other causes of

4   interruptions was at 2.4 percent.  And the SAIFI component was

5   .03, really well below even our program performance.  So what

6   this is telling us is North Miami has really outstanding

7   reliability, both measured from overall reliability metrics as

8   well as the vegetation caused outages on their circuits.

9        Q    Thank you.

10             Wouldn't it have been reasonably possible for FPL to

11   convey the information contained in this Exhibit 18 to the City

12   of North Miami soon after the City filed its objection in this

13   case?

14        A    We could have probably prepared it quicker, but the

15   reality was we were just trying to figure out how to implement

16   our six-year average program throughout our service territory.

17   So we had to go through the process of identifying the circuits

18   that we had both from the reliability perspective looking at

19   the trim profile of age of time since those laterals have been

20   trimmed, compiling that across our service territory, and then

21   extracting the North Miami component of that.  So that is the

22   exercise that we have been going through was how to execute

23   this plan that we have laid out before the Commission.

24        Q    During the course of your employment at FPL, have you

25   had occasion to become familiar with any initiatives the

FLORIDA PUBLIC SERVICE COMMISSION

236

1   Commission has issued regarding storm hardening?

2        A    Yes, quite a few.

3        Q    Are you aware that the Commission has issued an order

4   in this docket requiring the investor-owned electric utilities

5   to file plans and estimated implementation costs for ten storm

6   preparedness initiatives?

7        A    Yes.

8        Q    Are you aware that those ten storm preparedness

9   initiatives are discussed in Order Number PSC-06-0781-PAA-EI,

10   part of which order the City of North Miami protested in this

11   docket?

12        A    Yes.

13        Q    Do you happen to have a copy of that order available

14   to you?  And this, I should say, is one of the orders that has

15   been officially recognized for the purposes of this proceeding.

16             MR. BUTLER:  I can provide him one.

17             MS. GERVASI:  Thank you.

18             THE WITNESS:  I have a copy now.

19   BY MS. GERVASI:

20        Q    If you will please turn to Page 2 of that order, Mr.

21   Miranda.  And do you see that the ten storm preparedness

22   initiatives are listed on that page?

23        A    Yes.

24        Q    Can you please direct your attention to Initiative

25   6 on Page 2 of that order, post-storm data collection and

FLORIDA PUBLIC SERVICE COMMISSION

237

1   forensic analysis.  Do you see that?

2        A    Yes.

3        Q    Does FPL have a post-storm forensic review program to

4   identify, among other things, tree-caused electric service

5   outages?

6        A    Yes.  Following the 2004 hurricane season, one of the

7   areas for improvements that was identified was to enhance our

8   forensic capabilities following a hurricane.  So in the 2005

9   hurricane season, we deployed forensic teams to go out and

10   analyze what was the root cause of our outages following the

11   storm.  And off that came a series of studies, most notably the

12   KEMA study that was performed that looked at our forensics and

13   provided an overview as part of the storm securitization

14   hearings that came before you.

15             In addition to that, as part of this request we have

16   also been asked to enhance our forensics capability to expand

17   it to look at additional cost codes and also to look at our

18   overhead versus underground performance going forward.  So, on

19   March 1, we will be filing our proposed forensics initiatives

20   and how that will, you know, be implemented during any storm

21   that may occur in the 2007 season going forward.

22        Q    Thank you.  Could you please direct your attention to

23   Initiative 8 on that same order, Page 2 of that order.  And do

24   you see that by Initiative 8 the Commission promoted increased

25   utility coordination with local governments?

FLORIDA PUBLIC SERVICE COMMISSION

238

1        A    Yes.

2        Q    Are you also aware that the 2006 legislature

3   established a section of the law concerning electric

4   transmission and distribution line right-of-way maintenance?

5        A    Yes.

6        Q    Are you familiar with the language of that new

7   section of the statute?

8        A    Not entirely.  I am familiar that it gives us more

9   rights to trim trees that are within the right-of-way.

10        Q    Are you aware that there is language contained in

11   that legislation concerning the coordination of local

12   governments and electric utilities with respect to vegetation

13   maintenance?

14        A    Yes.  It requires that we notify them prior to

15   conducting our trimming.

16        Q    And to the best of your knowledge, was this

17   legislation something that FPL encouraged or at least did not

18   oppose?

19        A    Did not oppose and support it.

20        Q    Are you aware of any efforts by FPL to formally

21   establish coordinated vegetation management plans within the

22   City of North Miami?

23        A    We have very extensive relationships with the City of

24   North Miami, and maybe I can start at the multiple layers at

25   which we interface with the City of North Miami.  Maybe I will

FLORIDA PUBLIC SERVICE COMMISSION

239

1   start with our external affairs rep.  The role of our external

2   affairs rep is to be the liaison with the City as far as the

3   mayor and the commissioners within that city, and her role --

4   she has been the City of North Miami liaison for approximately

5   ten years -- is to make sure that we communicate and interface

6   any issues that may come up that require a response from

7   Florida Power and Light.

8             Typically, these are higher level issues, you know,

9   such as this issue with the vegetation trimming.  We also have

10   a group of folks that are called account managers.  We have an

11   account manager that is assigned to the City of North Miami and

12   her role is to be the daily interface with the City should

13   there be a tree issue, any kind of issue that pops up on the

14   individual customer level.  Her job will be to interface and

15   make sure that we reach resolution, follow up with the City,

16   handle day-in/day-out activities that are associated with the

17   City.  And then the third component of our relationship with

18   the City is during a storm event.  Typically, the cities will

19   open up their EOCs, and at those EOCs we will have a

20   representative on-site within the EOC to coordinate any

21   activities as it relates to the City.

22             As part of this ten-point plan, we are also enhancing

23   our processes as they relate to storm.  And some of the

24   enhancements that will be occurring will be we will actually

25   have during a hurricane event a government web page where each

FLORIDA PUBLIC SERVICE COMMISSION

240

1   city can come in and see the specific status of their customer

2   outages, what initiatives that are going on within that city,

3   and it gives them a forum to kind of get a quick status

4   overview of where they are at during a hurricane event.

5             We are also going to be expanding our community

6   outreach programs where we are going to be doing presentations

7   to all our communities to share with them "Right Tree-Right

8   Place", overhead/underground conversions, any process that is

9   important to that city we will communicate.

10             One of the things that we will need to do following

11   this will be obviously to communicate with our cities, here is

12   the vegetation plan, but not just limit it to vegetation.  It

13   is really to communicate our entire hardening portfolio.  Which

14   facilities are going to get trimmed, which facilities are going

15   have their poles inspected, which facilities are going to have

16   their infrastructure hardening.  So our goal will be to meet

17   with these city representatives and provide a composite

18   overview of all the hardening initiatives that we have going

19   forward with their representative cities.

20        Q    Do you agree that coordinated city/utility vegetation

21   management plans can result in lower storm restoration costs?

22        A    Yes.

23        Q    Is one of your current functions at FPL to implement

24   storm hardening for FPL?

25        A    Yes.

FLORIDA PUBLIC SERVICE COMMISSION

241

1        Q    Are FPL's proposed changes to its vegetation

2   management program included in FPL's storm hardening

3   activities?

4        A    Yes, it is one of the key points within our storm

5   secure initiative.

6        Q    And you are also responsible for the implementation

7   of FPL's proposed changes to its vegetation management program,

8   is that correct?

9        A    Yes, I am.

10        Q    Considering that Commission Initiative 8 promotes

11   utility coordination with local governments, wouldn't it be

12   reasonable to expect FPL to inform the Commission of FPL's

13   specific efforts to address the City's vegetation concerns?

14        A    Yes.

15        Q    Would it be fair to say that on a going-forward basis

16   FPL will improve its efforts to disclose how its vegetation

17   management program will impact the cities it currently serves?

18        A    We provide our full cooperation.  Before us, I know

19   the City is here, we want to fully cooperate, share with them

20   all of our plans, what we plan on trimming, what we plan on

21   inspecting, what we plan on hardening going forward.  So, yes,

22   we will be enhancing our communications with all of our cities

23   to make sure that our hardening initiatives are communicated

24   not only with our cities, but with our customers.  All of our

25   customers need to know what our hardening plans are.

FLORIDA PUBLIC SERVICE COMMISSION

242

1        Q    Thank you.  Is FPL's proposed vegetation management

2   program going to increase or decrease FPL's vegetation

3   management activities within the City of North Miami?

4        A    It will increase our vegetation trimming.

5        Q    Do you know of any documents or exhibits that you

6   have provided for the purposes of this hearing that show that

7   increased vegetation activity will occur within the City as a

8   result of FPL's six-year average trim cycle for lateral

9   circuits?

10             MR. BUTLER:  Excuse me, Ms. Gervasi.  Are you asking

11   about exhibits he prepared or exhibits that have been

12   identified for the record in the hearing?

13             MS. GERVASI:  That would be any exhibits at all.

14             THE WITNESS:  I have lost track of which exhibit

15   number it is.  It is the one that had the -- let me see.

16             John, can you help me out, which exhibit number it

17   is?

18             MR. BUTLER:  I'm suspecting that Mr. Miranda may be

19   referring to the FPL fact sheet that I think was marked as

20   Exhibit 2.

21             THE WITNESS:  Correct.

22   BY MS. GERVASI:

23        Q    Okay.  Thank you.  Are there others?

24        A    Yes, I have a copy.  In this fact sheet one of the

25   items that we show is the amount of trimming that we will be

FLORIDA PUBLIC SERVICE COMMISSION

243

1   conducting over the next three years within the City of North

2   Miami.  It will be 51 miles versus a previous of 20 miles for

3   the previous three years under laterals.  In this particular

4   case, it will be two and a half times the amount of trimming

5   that we have done.

6             The other component you see there is lateral average

7   age since last trim.  Currently, the City of North Miami sits

8   on an average cycle on their laterals of 7.6 years.  With the

9   trimming that we would be conducting over the next three years

10   there will be a 17 percent improvement in that cycle and will

11   put them at 6.3 years average lateral cycle trim.  So we will

12   be increasing the amount of trimming we will be conducting

13   within the City over the next three years while maintaining our

14   feeder trim cycle, any mid-cycle trimming that needs to occur,

15   and responding to any customer trim requests, as well.

16        Q    Is the six-year average trim cycle program that FPL

17   supports a hard cycle program that will cause FPL to stop doing

18   all mid-cycle activities that it's currently doing?

19        A    It is an average six-year cycle, so that means that

20   we will have some feeders that will be on five year -- I mean,

21   some laterals on five years, some on six, some on seven, but we

22   will continue our mid-cycle program as it is a very effective

23   tool as described earlier and maintaining that cycle trim

24   period.

25        Q    Is it correct that growth causes FPL to add more

FLORIDA PUBLIC SERVICE COMMISSION

244

1   lateral circuits?

2        A    Growth, yes.  We do add more circuits every year.

3        Q    Is FPL's increased vegetation management activities

4   due to growth?

5        A    Typically we will have some growth, but the increased

6   vegetation is really to address the existing lateral

7   population.  If you look at the laterals that we install today,

8   about 70 percent of our new laterals are underground

9   facilities.  The majority of what we install today are

10   underground facilities.  The overhead laterals is a relatively

11   small percentage of the overall population that we install new

12   going forward.

13             MS. GERVASI:  Thank you.  I don't have any further

14   questions.

15             CHAIRMAN EDGAR:  Mr. Butler.

16             MR. BUTLER:  Just a few redirect.

17                        REDIRECT EXAMINATION

18   BY MR. BUTLER:

19        Q    Mr. Miranda, do you have -- this may be hard, because

20   I bet you haven't been writing the exhibit numbers down.  Do

21   you have Exhibit 16, it is entitled "Florida Power Historical

22   and Suggested Cost of Tree Trimming" at the top of it.  It has

23   got statistics from 2005 through 2012.

24        A    I believe I do.

25        Q    It has columns for year, cost, miles trimmed, total

FLORIDA PUBLIC SERVICE COMMISSION

245

1   miles trimmed across the top?

2        A    Yes, I have that.

3        Q    Okay.  For the years -- well, in the cost column

4   generally, does that cost column include amounts that FPL would

5   have incurred for vegetation management in connection with

6   storm restoration activities?

7        A    No, it does not.

8        Q    Did FPL incur storm restoration related vegetation

9   management costs in the 2004 and 2005 storm seasons?

10        A    Yes, it did.

11        Q    Okay.  Then that would not be included in what is

12   shown there for 2004 and 2005?

13        A    That is correct.

14        Q    If you look in the column on this same Exhibit 16 for

15   miles trimmed of laterals, how would you characterize the

16   pattern of miles trimmed each year for the next several years

17   starting in 2007?

18        A    Going forward starting with this year, we will be

19   continuing to ramp up our lateral trim miles throughout the

20   next six years.

21        Q    The last figure that is shown here is 2012 of

22   3,700 miles, is that right?

23        A    That's correct.

24        Q    Approximately what percentage of FPL's total system

25   lateral miles does 3,700 represents?

FLORIDA PUBLIC SERVICE COMMISSION

246

1        A    It represents about 1/6th of our miles, on our

2   lateral miles.

3        Q    And how many miles on average a year would FPL need

4   to trim in order to be on a six-year average cycle?

5        A    It would be approximately 1/6th.

6        Q    Would you turn to what was identified as Exhibit 14.

7   This is the one that says Florida Power lateral trimming per

8   year in North Miami at the top of it.

9        A    Okay.

10        Q    Do you have that one?

11        A    Yes.  The one with just one column?

12        Q    One column, yes, of the numbers from 2004 through

13   2013.

14        A    Yes.

15        Q    The number for 2013 of 28.5, do you see that?

16        A    Yes.

17        Q    How many miles, approximately, of laterals in the

18   City of North Miami would FPL need to trim to be on a six-year

19   cycle for the City of North Miami?

20        A    It would be 28.5.

21        Q    Now, if you look at 2007 through 2009, those are

22   the -- are those the first three years of implementing the

23   six-year proposal?

24        A    That's correct.

25        Q    How would you characterize those numbers relative to

FLORIDA PUBLIC SERVICE COMMISSION

247

1   the 28.5, are they bigger or smaller?

2        A    Smaller.

3        Q    Can you explain why the numbers are smaller in those

4   years than the 28.5?

5        A    Since we are beginning implementation in 2007, you

6   can see that the total miles for 2007 as a composite of FPL is

7   1,900 miles.  The first couple of years of our vegetation

8   program will be targeting not only those feeders from a

9   reliability perspective, but also because of age.  And we

10   suspect that since some of these feeder's surface with their

11   laterals have not been trimmed in awhile, although from a

12   reliability perspective they have performed very well, we are

13   expecting that there will be quite a bit of tree density that

14   we will have to remove from those lines.  So the first few

15   years we will be tackling probably the more difficult miles as

16   it relates to the age of laterals since they have last been

17   trimmed.

18        Q    Would you turn to your Exhibit MBM-1, please.

19        A    Okay.

20        Q    This shows in the second column, tree SAIFI in ten

21   years, is that right?

22        A    That's correct.

23        Q    What is the difference in tree SAIFI shown here you

24   would project after ten years between the FPL current plan, if

25   you kept doing that, and the FPL three-year/six-year proposal?

FLORIDA PUBLIC SERVICE COMMISSION

248

1        A    The relative difference would be subtracting the

2   .16 from .14, so it would be a difference of .02.

3        Q    I'm sorry, I'm asking for the comparison between

4   FPL's current plan going forward and the three-year/six-year

5   proposal?

6        A    Oh.  It is .22 to .16.

7        Q    And so the difference would be what?

8        A    .06.

9        Q    Okay.  And, the third column from the right, ten-year

10   average annual incremental costs in millions, what does that

11   represent?

12        A    The third column from the right, those would be the

13   additional costs above our current vegetation program of

14   59 million.  So what this represents is looking at the ten-year

15   cost of a three-year/six-year lateral vegetation program, a

16   three-year/three-year lateral vegetation program, dividing that

17   total cost by ten and subtracting the incremental cost, the

18   costs from our current program.  So the 12.9 represents the

19   column before of 71.9 million, which is the ten-year average

20   annual cost, minus 59, which gives you $12.9 million of

21   incremental cost on an annual basis.

22        Q    And then what does the 43.5 million, the top box

23   there for the three-year/three-year program, what does that

24   represent?

25        A    That represents the incremental cost for implementing

FLORIDA PUBLIC SERVICE COMMISSION

249

1   the three-year/three-year lateral vegetation program of

2   43.5 million versus our proposal of 12.9 million.

3        Q    And what is the difference that FPL projects after

4   ten years in SAIFI for going from the three year/six year to

5   the three year/three year proposal?

6        A    On a relative basis it goes from .16 to .14, so it is

7   a .02 difference.

8        Q    And is that difference bigger or smaller than the

9   difference between FPL's current plan going forward and FPL's

10   three/six year proposal?

11        A    Smaller.

12             MR. BUTLER:  Thank you.

13             That is all that I have.  Thank you.

14             CHAIRMAN EDGAR:  Okay.  Let's take up the exhibits.

15             MR. BUTLER:  I would move the admission of Exhibits

16   11 and 12.

17             CHAIRMAN EDGAR:  No objection?  Show Exhibits 11 and

18   12 entered into the record.

19             (Exhibits 11 and 12 admitted into the record.)

20             MR. ARMSTRONG:  The City moves Exhibits 13 through

21   17.

22             MR. BUTLER:  Madam Chairman.

23             CHAIRMAN EDGAR:  Mr. Butler.

24             MR. BUTLER:  I object only to the two lines on

25   Exhibit 17 that talk about people impacted.  You may remember

FLORIDA PUBLIC SERVICE COMMISSION

250

1   the discussions we had about whether there is information

2   evidence in the record concerning those lines, and I would ask

3   that those be struck from the exhibit, or at least not admitted

4   with it.

5             CHAIRMAN EDGAR:  Mr. Armstrong, that is acceptable to

6   you?

7             MR. ARMSTRONG:  Yes, the City agrees.

8             CHAIRMAN EDGAR:  Okay.  So on Exhibit 17, the line

9   people impacted, the numbers across in the three columns, and

10   the language in the parens will be struck.  And with that

11   change, then Exhibit 17 is acceptable, Mr. Butler?

12             MR. BUTLER:  That's correct.

13             CHAIRMAN EDGAR:  Okay.  And Mr. Armstrong concurs

14   with that change.  So, with that so noted, we will enter

15   Exhibits 13, 14, 15, 16, into the record, 17 into the record as

16   amended.

17             And, Ms. Gervasi.

18             MS. GERVASI:  And Staff would move Exhibit 18.

19             CHAIRMAN EDGAR:  No objection?

20             MR. BUTLER:  No objection.

21             MR. ARMSTRONG:  No objection.

22             CHAIRMAN EDGAR:  Okay.  We will enter Exhibit 18 into

23   the record.

24             (Exhibit Number 13 through 18 admitted into the

25   record.)

FLORIDA PUBLIC SERVICE COMMISSION

251

1             CHAIRMAN EDGAR:  Okay.  That concludes, I believe,

2   the --

3             MR. BUTLER:  May Mr. Miranda be excused?

4             CHAIRMAN EDGAR:  I'm sorry.  Yes, absolutely.  My

5   apologies, Mr. Miranda.  Thank you for your patience.  You may

6   be excused.

7             And that concludes the direct testimony portion of

8   this proceeding.  We will move to the rebuttal witnesses.

9             Mr. Armstrong, it will be your witness to call.

10             MR. ARMSTRONG:  The City calls Terry Lytle.

11             CHAIRMAN EDGAR:  Okay.  Commissioner Carter is going

12   to preside from this point forward.  You are in good hands.

13             Commissioner Carter.

14             COMMISSIONER CARTER:  Thank you, Madam Chairman.  You

15   are recognized.

16             MR. ARMSTRONG:  Thank you, Commissioner Carter.

17                             TERRY LYTLE

18   was called as a rebuttal witness on behalf of City of North

19   Miami, and having been duly sworn, testified as follows:

20                         DIRECT EXAMINATION

21   BY MR. ARMSTRONG:

22        Q    Mr. Lytle, you testified earlier this morning, you

23   are under oath?

24        A    Yes.

25        Q    Do you have before you your rebuttal testimony that

FLORIDA PUBLIC SERVICE COMMISSION

252

1   you prefiled in this docket?

2        A    Yes, I do.

3        Q    If I were to ask you the questions contained in this

4   rebuttal testimony, would your answers be the same?

5        A    Yes, they would.

6        Q    Was this testimony prepared by you or under your

7   supervision?

8        A    Yes, it was.

9        Q    You actually have a couple of demonstrative exhibits,

10   as well, correct?

11        A    Yes, I do.

12        Q    Do you have a prepared summary of your testimony?

13        A    Yes, I do.

14        Q    Could you provide that for us now?

15        A    Yes, I will.  The USDA has divided the state into

16   zones called hardiness zones based on climate.  South Florida

17   is in a hardiness horizon where the trees are fast growing and

18   they grow all year.  FPL's proposed six-year trim cycle for

19   laterals is not appropriate for the trees in this hardiness

20   zone.

21             In John Harris' testimony he states that he observed

22   tree trimming along utility lines in the City.  He included

23   photos of six sites in his testimony.  Five of those six sites

24   were not within the City.  The trees he claims were improperly

25   trimmed were not in the City of North Miami and were not

FLORIDA PUBLIC SERVICE COMMISSION

253

1   maintained by the City.

2             If you need to remove a significant portion of a

3   tree, the accepted practice is to trim it over more than one

4   cycle.  If you remove too much of the tree it becomes unstable

5   and prone to decay and failure.  In addition, trees respond to

6   radical pruning by rapidly growing new leaves.  If this is --

7   I'm sorry, if this is a tall growing tree near a power line,

8   you just created the opportunity for unsecure large new limbs

9   to easily break off in a wind event and strike utility lines or

10   property.

11             The City has about 23 miles of tree-lined alleys, and

12   power lines run through those alleys.  The trees are not on

13   City property, so the City cannot maintain them.  If these

14   trees are trimmed responsibly they won't fail and damage

15   property or power lines and they will continue to provide shade

16   and maintain property values.  If the trees are trimmed to keep

17   their branches from interfering with the lines for six years,

18   large portions of the trees will be removed at one time leaving

19   them unstable and prone to decay and failure.  They will be

20   providing no shade and they will be eyesores in the

21   neighborhood.  FPL's proposal does not provide any assurance

22   that these trees will be trimmed properly.

23             And that concludes my statement.

24             MR. ARMSTRONG:  Thank you, Mr. Lytle.  The City

25   requests that the testimony be moved into the record as though

FLORIDA PUBLIC SERVICE COMMISSION

254

1   read.

2             COMMISSIONER CARTER:  The testimony of the witness

3   will be entered into the record as though read.

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

281

1             MR. ARMSTRONG:  Thank you.  Mr. Chairman, as to his

2   demonstrative exhibits, we discussed this at the prehearing

3   conference.  There are couple of demonstrative exhibits that he

4   can explain to the Commission now and the parties, if that is

5   okay.

6             MR. BUTLER:  I have no objection to it as long as it

7   stays within the explanation that appears in Mr. Lytle's

8   rebuttal testimony.

9             COMMISSIONER CARTER:  Staff, have you had an

10   opportunity to review this?

11             MS. GERVASI:  This was an item that we discussed

12   during the prehearing conference, the use of two demonstrative

13   exhibits, and we have no objection to it.

14             COMMISSIONER CARTER:  All right, then.  Let her rip.

15   BY MR. ARMSTRONG:

16        Q    Mr. Lytle.

17        A    Bring out the wood.  I have two pieces of evidence

18   here that show two things for tree maintenance.  This piece

19   here is a piece of tree that was removed that shows the branch

20   structure on a mature tree and the way that the branch is held

21   onto that tree.  So that if you trim a tree in a correct manner

22   you look for a piece to cut on a branch right outside -- this

23   is what they call a branch collar.  And if you can see, this

24   branch goes all the way down into the center of the tree so

25   that when the wind is blowing, or this tree is subjected to any

FLORIDA PUBLIC SERVICE COMMISSION

282

1   kind of stress on the outside, it has the whole trunk of that

2   tree holding onto that limb from the inside, right in through

3   here.

4             And, also, when you cut this tree at this branch

5   collar, if you are pruning the tree correctly, the tree has the

6   ability to try to compartmentalize or callous off the tree cut

7   to keep decay from entering into the tree.  It isn't always

8   successful, but that is what the tree attempts to do.  And a

9   lot of times you will see trees that have been trimmed and you

10   will see the rounding off of that callous, and that's the

11   tree's attempt to keep that decay from getting into the trunk

12   and rotting it out.

13             Now, when a tree is trimmed off outside this branch

14   collar, what happens is you get a fast flush growth of new

15   sprouts that come out on that cut.  And what happens is this is

16   what they typically call a witch's broom.  You will see a whole

17   mass of sprouts, and what will happen is very quickly in some

18   species of tree this was a sprout.

19             This sprout when it came down blew off in a breeze,

20   and what this shows is here is the old limb right here which

21   the base of it was cut off.  This sprout matured and became --

22   I think this thing was probably about eight or nine feet long.

23   It probably weighed about 15 or 20 pounds when it came down off

24   the top of the tree.  All that was holding it on that tree was

25   this little piece of growth right here.  So it is not like this

FLORIDA PUBLIC SERVICE COMMISSION

283

1   piece where it is held in in here.  The cut was incorrect.

2             And in a minimal windstorm this is what happens.

3   And, of course, my concern is, is when you get any kind of

4   breeze and you get this a year or two years after the tree has

5   been pruned, this is going to come down.  It is either going to

6   hit power lines, it's going to hit people, or it is going to

7   hit property.  So that is what this one shows right here.  And

8   this is just a piece of it.  This limb was probably about this

9   size when it was cut off.  This is what sprouted back in

10   probably three or four years, maybe less.

11             COMMISSIONER CARTER:  These two items, the one that,

12   I guess you say this was properly cut?

13             THE WITNESS:  That was properly trimmed, that's

14   correct.

15             COMMISSIONER CARTER:  What type of tree was this

16   from?

17             THE WITNESS:  That is a black olive.

18             COMMISSIONER CARTER:  Okay.  That would be

19   Demonstrative Exhibit A.  And what I'm holding in my hand, we

20   will call it Demonstrative Exhibit B, is from --

21             THE WITNESS:  That is from an Australian pine.

22             COMMISSIONER CARTER:  An Australian pine.  Now, which

23   one is the native species and which one is an invasive species?

24             THE WITNESS:  That is an invasive species right

25   there.

FLORIDA PUBLIC SERVICE COMMISSION

284

1             COMMISSIONER CARTER:  Demonstrative Exhibit B?

2             THE WITNESS:  Yes.

3             COMMISSIONER CARTER:  Okay.  Thank you.

4             MR. ARMSTRONG:  Thank you, Mr. Lytle.

5             The witness is available for cross now.  Thank you.

6             COMMISSIONER CARTER:  Mr. Butler, you may proceed.

7             MR. BUTLER:  Thank you, Commissioner Carter.

8             I'm going to have my assistant hand out copies of

9   Mr. Lytle's sworn statement, the January 11th one, which is his

10   rebuttal testimony.  The only difference between this and what

11   you have is that we have handwritten page numbers in the upper

12   right corner.  I think you may find if yours is like ours that

13   the pages are very hard to read there.

14             So, let me just ask, Commissioner McMurrian and

15   Commissioner Carter, do you have that problem that it is hard

16   to see a page number in the upper right corner of his -- excuse

17   me, his rebuttal testimony?  If it is not a problem, I don't

18   need to hand these out.

19             COMMISSIONER CARTER:  (Inaudible.  Microphone off.)

20             MR. BUTLER:  Okay.  Very good.

21                          CROSS EXAMINATION

22   BY MR. BUTLER:

23        Q    Mr. Lytle, can you tell us about the circumstances of

24   the two tree limbs that you have provided as demonstrative

25   exhibits?

FLORIDA PUBLIC SERVICE COMMISSION

285

1        A    The two pieces of limbs there, the one for the

2   Australian pine tree --

3        Q    Yes.

4        A    In my tours, this was during a wind event, not a

5   hurricane, and that came in off of one of our trucks.  It had

6   fallen into a street.

7        Q    It fell into the street and then it came in to you

8   off of one of your trucks, you say?

9        A    Yes, it did.  Well, I was in the field at the time,

10   but, you know, I know where the truck was when it picked it up.

11        Q    So you didn't see the tree that it was connected to

12   before it fell off, is that right?

13        A    No.  But one thing, there's only two Australian pines

14   close to it.

15        Q    Do you know what the trim history was of the tree

16   from which that demonstrative exhibit came?

17        A    No, I don't.  It was located in the proximity of

18   power lines.

19        Q    But you don't know how recently before this piece

20   fell off it would have been trimmed?

21        A    Well, by the growth rate, in my opinion it's two to

22   three years old.

23        Q    What about the piece from the black olive tree, where

24   did that come from?

25        A    That came off a tree that was removed.  I don't know

FLORIDA PUBLIC SERVICE COMMISSION

286

1   under what conditions it was removed, but at that point in time

2   I was looking for something, and that piece is fairly old.  We

3   train staff on how to cut trees, and I wanted to show them the

4   importance of what it is to have that branch collar and the

5   reason that you don't remove the limbs.

6        Q    Do you know what entity made the cut that resulted in

7   the branch collar that you were describing?

8        A    I did.

9        Q    You cut the --

10        A    I cut that piece.

11        Q    And do you know where this tree was located?

12        A    No, I don't know where it was actually located.

13        Q    Now, your rebuttal testimony says it is intended to

14   respond to the prefiled testimony of FPL Witnesses Miranda,

15   Harris, and Slaymaker, correct?

16        A    That's correct.

17        Q    Isn't it true that at the time of your deposition you

18   had only skimmed the testimonies of Mr. Slaymaker and Mr.

19   Miranda?

20        A    I had skimmed them, yes.

21        Q    Is it also true that as of the time of your

22   deposition, other than reading Mr. Harris' testimony and

23   skimming those of Mr. Slaymaker and Mr. Miranda, you had not

24   done anything else to prepare for the sworn statement that you

25   gave on January 11 in rebuttal to FPL's witnesses?

FLORIDA PUBLIC SERVICE COMMISSION

287

1        A    Yes, that's correct.

2        Q    And at the time of the deposition you had no reason

3   to dispute any of the data shown on Exhibit MBM-1 of

4   Mr. Miranda's testimony, is that right?

5        A    That's right.

6        Q    And at the time of the deposition, you had no reason

7   to dispute any of the dollar amounts that are shown as net

8   present value figures on Exhibit MBM-2, is that correct?

9        A    That's correct.

10        Q    Now, am I correct that you have performed no

11   independent analysis of the costs and benefits of vegetation

12   management alternatives to rebut the data and conclusions in

13   Exhibits MBM-1 and 2?

14        A    That's correct.

15        Q    And at the time of your deposition, you didn't know

16   whether FPL's three-year/six-year proposal would represent an

17   increase or a decrease in trimming activity compared to what it

18   was currently doing in the City, is that right?

19        A    That's correct.

20        Q    I would like you to turn to Page 7 of your rebuttal

21   testimony.  Do you have that?

22        A    Yes, I do.

23        Q    On Lines 12 through 20, you talk about some factors

24   you think should be considered in evaluating the costs or

25   benefits of tree-trimming alternatives, is that right?

FLORIDA PUBLIC SERVICE COMMISSION

288

1        A    Starting with the question on Line 7?

2        Q    No, on Line 12.  So would you venture to say that

3   there are some factors that need to be considered that are not

4   being considered?

5        A    Yes.

6        Q    Do you see that?

7        A    Yes.

8        Q    Isn't it true that as of the time of your deposition,

9   you didn't know whether FPL would be able to pass on the cost

10   to other customers of any additional costs that it incurred in

11   order to provide a higher level of tree trimming within the

12   City of North Miami?

13        A    No, I didn't know if they were going to pass that on

14   or -- I don't know, do they give rebates if they don't?

15        Q    Am I correct that you haven't investigated that

16   further since your deposition?

17        A    No, I have not.

18        Q    On Page 8 of your rebuttal testimony you refer to an

19   EEI report that Mr. Miranda mentioned in his testimony, do you

20   see that?

21        A    Line --

22        Q    I think the reference is on Lines 10 and 11.

23        A    Exhibit B is the question?

24        Q    No, I'm sorry.  This is in your --

25        A    Rebuttal testimony.

FLORIDA PUBLIC SERVICE COMMISSION

289

1        Q    Rebuttal testimony.

2        A    Page 8.

3        Q    Page 8, on Lines 8 through 11.  What is your opinion,

4   if any, of Miranda's conclusions as stated on Page 7 of his

5   prepared statement based on the Edison Electric Institute

6   Report.

7             COMMISSIONER CARTER:  Mr. Butler, I don't think we

8   are on the same page here.  I think that what you are referring

9   to seems to me, from the documents I have, is on -- it looks

10   like it is on Page 7, Line 15.  From the document we have, it

11   is on Page 7, Line 15.  You can verify that, if I'm on the

12   right page with you, Mr. Lytle.  It says at Line 15, "What is

13   your opinion, if any, of Miranda's conclusion as stated on Page

14   7 of his prepared statement based upon the Edison Electric

15   Institute report?"  Is that where you are, too?

16             MR. BUTLER:  That is what I am reading, but on what I

17   have --

18             COMMISSIONER CARTER:  This is on Page 7.  Mr. Lytle,

19   is that --

20             THE WITNESS:  I have Page 7.  That is mine, too.

21             COMMISSIONER CARTER:  We are on a different --

22             MR. BUTLER:  Unfortunately, staff has --

23             COMMISSIONER CARTER:  Just provide Mr. Butler with a

24   copy of this so we can all be on the same page here.  Give Mr.

25   Lytle a copy, as well.  Why don't you just give Mr. Butler a

FLORIDA PUBLIC SERVICE COMMISSION

290

1   copy of what we have, it will be easier since we are all on the

2   same page.

3             MR. BUTLER:  Except I'm not sure staff has a copy of

4   what you have.  They seem to have the same thing that I do.

5             COMMISSIONER CARTER:  All right.  Let's take a

6   five-second break here.

7             (Off the record.)

8             COMMISSIONER CARTER:  Back on the record.

9             MR. BUTLER:  Okay.  Let's try this again.

10   BY MR. BUTLER:

11        Q    Mr. Lytle, looking at what, I think, in the version

12   you have and I'm now looking at and the Commissioners have,

13   Page 7, Lines 15 to 17 is where the reference to the EEI report

14   appears, is that right?

15        A    Yes, it is.

16        Q    Isn't it true that at the time you gave your

17   January 11 sworn statement, which is your rebuttal testimony,

18   you had not read the EEI report on which you were commenting?

19        A    I had not read it, that's correct.

20        Q    If you turn the page to Page 8, you will see on Line

21   6 a question and then an answer, a series of answers about an

22   Exhibit B that had been prepared by Mickey Harrelson (phonetic)

23   of the Florida Telecommunications Association?

24        A    Yes.

25        Q    Do you see that?  Isn't it true that at the time you

FLORIDA PUBLIC SERVICE COMMISSION

291

1   prepared your January 11 sworn statement you had never met Mr.

2   Harrelson?

3        A    I have not met him.

4        Q    And at that time, at least, you had never spoken to

5   him?

6        A    That's correct.

7        Q    And that you had done no independent analysis of his

8   comments?

9        A    That is correct.

10        Q    And that you did not know what his comments were

11   based on?

12        A    No.

13        Q    Let's see, I have got to be sure I've got my

14   references right here now.  Hold on.  I'm sorry.  Okay.

15             On Page 28 of your rebuttal testimony, starting on

16   Line 9, you were asked to summarize your testimony.  Do you see

17   that?

18        A    Yes, I do.

19        Q    You make the statement there, starting on Line 14,

20   "FPL is proposing a six-year cycle on laterals, yet many people

21   experience power outages even though FPL is supposed to be

22   performing line clearance more frequently than every six years

23   now.  Do you see that?

24        A    Yes, I do.

25        Q    Other than what you may have heard here today, do you

FLORIDA PUBLIC SERVICE COMMISSION

292

1   have any information on how FPL's reliability statistics for

2   the City compare to the statistics for FPL's system as a whole?

3        A    I don't totally understand the question.

4        Q    Do you have any information available to you other

5   than what you may have heard here at the hearing today, about

6   how FPL's reliability statistics for the City compare to FPL's

7   reliability statistics for its system as a whole?

8        A    No, I don't.

9        Q    Do you have a copy of your deposition with you?

10        A    No, I don't.

11             MR. BUTLER:  Would counsel for the City be able to

12   provide a copy to him of that?  If not, I can provide him one.

13   BY MR. BUTLER:

14        Q    Mr. Lytle, isn't it true that at your deposition you

15   agreed that if FPL's six-year proposal actually represented

16   more pruning, not less pruning, that that would address your

17   concern about FPL's proposal?

18        A    If we have more pruning than we currently have, yes,

19   it starts addressing my concerns.

20             MR. BUTLER:  Thank you.  That's all the questions I

21   have.

22             Thank you, Mr. Lytle.

23             COMMISSIONER CARTER:  Staff.

24             MS. GERVASI:  Staff has no questions.

25             COMMISSIONER CARTER:  Redirect.

FLORIDA PUBLIC SERVICE COMMISSION

293

1             MR. ARMSTRONG:  No questions.  Thank you.

2             COMMISSIONER CARTER:  Thank you.  Okay, then.  Is

3   that it for the witness?  Mr. Lytle, you may be excused.

4             The next witness.

5             MR. ARMSTRONG:  The City calls Mr. Keith Miller for

6   his rebuttal.

7             Mr. Chairman, Mr. Miller was previously sworn this

8   morning.

9             COMMISSIONER CARTER:  Okay.

10                            KEITH MILLER

11   was called as a rebuttal witness on behalf of the City of North

12   Miami, and having been duly sworn, testified as follows:

13                         DIRECT EXAMINATION

14   BY MR. ARMSTRONG:

15        Q    Good afternoon, Mr. Miller.

16        A    Good afternoon.

17        Q    Do you have before you your prefiled testimony in

18   this docket, rebuttal testimony?

19        A    Yes, I do.

20        Q    If I were to ask you the questions contained in that

21   rebuttal testimony, would your answers be the same?

22        A    Yes, they would.

23        Q    Do you have any changes?

24        A    No, sir.

25        Q    Do you have any exhibits that you are proposing to

FLORIDA PUBLIC SERVICE COMMISSION

294

1   submit?

2        A    The USDA, yes.

3        Q    You have one exhibit, right?

4        A    That's correct.

5        Q    And it is identified as Rebuttal KM-1, correct?

6        A    Correct.

7        Q    And it is under the title "USDA Plant Hardiness

8   Horizons by Florida Counties," correct?

9        A    That's correct.

10        Q    Do you have a summary of your testimony?

11        A    I do.

12        Q    Would you please provide that?

13        A    Commissioners, counsel --

14             MR. ARMSTRONG:  Mr. Miller, if you can excuse me one

15   second.

16             Mr. Chairman, if we could have Mr. Miller's testimony

17   incorporated into the record as though read.

18             COMMISSIONER CARTER:  Mr. Miller's testimony will be

19   entered into the record as though read.

20             MR. ARMSTRONG:  Thank you very much.

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

317

1   BY MR. ARMSTRONG:

2        Q    Now, can you provide your summary, please?

3        A    In my rebuttal testimony I stress again the

4   importance of structural pruning to maintain the integrity of

5   trees.  If FPL trims laterals on a six-year cycle, they cannot

6   practice structural pruning when they have to remove more than

7   15 or 20 feet of the tree.  Just because a six-year cycle is

8   more frequent as identified today doesn't mean it is adequate.

9   This type of trimming creates serious stability problems in

10   trees.  It can kill trees or make them unstable and prone to

11   failure in winds, or it can cause the tree to react as if it is

12   dying so that it grows back with a vengeance sending out

13   numerous branches as identified in Mr. Lytle's exhibits that

14   become weakly attached.  These type of branches fly off in

15   winds and hit moving vehicles, homes, electric lines.

16             In addition, if a fast growing tree is only trimmed

17   once every six years such that a significant part of the tree

18   is removed, the root system does not anchor the tree in the

19   ground properly any longer as evidenced in the past hurricane

20   seasons.  Florida Power and Light does not account for the cost

21   created by the tree trimming practices it will have to employ

22   using a six-year cycle for trimming laterals.  FPL seems to

23   assume that trimming a tree every six years has the same effect

24   as trimming every three years, and this is not the case.

25   Clearly, the Public Service Commissioner has already recognized

FLORIDA PUBLIC SERVICE COMMISSION

318

1   this.

2             If FPL practices structural pruning, then it cannot

3   improperly remove large portions of a tree in a single

4   trimming.  If you trim more frequently, you can train trees to

5   grow around wires in a way that allows the trees to maintain

6   stability.  Once trees reach this point of stability they

7   require minimal pruning, so it is really more cost-effective in

8   the long run.

9             Florida Power and Light cites community barriers as

10   the reason for using the six-year cycle, and this was not

11   supported today.  North Miami will not object to --

12             MR. BUTLER:  Excuse me, I'm sorry.  I'm going to

13   object and move to strike the line about the community barriers

14   not being supported today.  I don't see how that could possibly

15   be a summary of Mr. Miller's prefiled testimony.

16             COMMISSIONER CARTER:  Mr. Armstrong.

17             MR. ARMSTRONG:  I wasn't listening to his summary.

18             COMMISSIONER CARTER:  Okay.  The objection is duly

19   noted.

20             You are about done, aren't you, Mr. Miller?

21   Mr. Miller, you are about done with your summary anyway, aren't

22   you?

23             THE WITNESS:  No, I have one more page.

24             COMMISSIONER CARTER:  Okay.  The objection --

25             MR. BUTLER:  It's really to a fairly narrow part.  He

FLORIDA PUBLIC SERVICE COMMISSION

319

1   made a comment about the barriers to implementation of FPL's

2   three-year/six-year proposal and added the comment that nothing

3   has been said here today to support it.  I'm moving to strike

4   that portion of it because that can't possibly be a summary of

5   prefiled testimony.  I mean, that is commenting on what he has

6   heard today which is not certainly part of his summary.

7             COMMISSIONER CARTER:  The objection is sustained.

8             THE WITNESS:  The residents of North Miami would not

9   object to a reasonable tree trimming, but they will object to

10   obsessive and unnecessary trimming and do often from my

11   nineteen years of experience.  For this reason, the six-year

12   cycle would create more community barriers than a three-year

13   cycle, and a six-year trim will require a large percentage of

14   canopy to be removed.  FPL estimated at two million people

15   losing power.  Under the six-year proposal, I feel that would

16   create more community barriers.

17             Furthermore, FPL claims that it is using a three-year

18   cycle -- that if it uses a three-year cycle the contractor

19   costs will be too high because the demand for contractors will

20   exceed the supply.  FPL's testimony does not explain how it

21   came up with the cost estimates for labor or for the limited

22   supply of crews.  There are numerous tree trimming companies

23   who live in other areas of the country where trimming is not

24   required year-round unlike it is in Zone 10B where we live.

25             These people would be available for work during off

FLORIDA PUBLIC SERVICE COMMISSION

320

1   season, and it is not clear from the testimony where FPL

2   considered seasonal labor, if it did, why FPL believes the

3   seasonal labor would come at a premium cost.  Tree trimmers in

4   the north don't trim trees in the winter and, therefore, it

5   creates a large supply to meet the demands of South Florida and

6   also gives FPL some bargaining power when it comes to paying

7   these people.

8             MR. BUTLER:  I'm going to have to object to this

9   again, going beyond the scope of his prefiled rebuttal

10   testimony.

11             COMMISSIONER CARTER:  Mr. Armstrong.

12             MR. ARMSTRONG:  I'm listening now, and I know he

13   talks about tree trimming in the north.

14             MR. BUTLER:  But he is elaborating on the theme, and

15   I wish he would stick to the testimony.  I also would

16   specifically object, while I'm at it, to a reference a moment

17   ago to two million customers being out of service during

18   storms.  I don't believe that is anywhere in his rebuttal

19   testimony.

20             COMMISSIONER CARTER:  Mr. Miller, would you just

21   confine your comments -- duly noted on the objection -- just

22   confine your statements to what you have put in your rebuttal

23   testimony, please, sir.

24             THE WITNESS:  I would like to emphasize that it is

25   more expensive to trim in perpetuity repaired down lines and

FLORIDA PUBLIC SERVICE COMMISSION

321

1   transformers caused by tree failures and to have longer

2   durations of power than it is to trim for structural integrity

3   and allow the tree to grow naturally around the wires.  And

4   where invasive species are a problem, to use the "Right

5   Tree-Right Place" program to eliminate the problem altogether

6   which would save huge sums of money for FPL and benefit all the

7   parties concerned.

8             In summary, for all the reasons I have explained here

9   today, the City of North Miami believes that the

10   three-year/six-year cycle is not appropriate and will not be

11   effective as FPL predicts, especially in densely populated

12   urban environments such as North Miami.

13             That concludes my summary.

14             MR. ARMSTRONG:  The witness is available for cross.

15             COMMISSIONER CARTER:  Mr. Butler, you're recognized.

16             MR. BUTLER:  Thank you, but I have no cross.  Thank

17   you.

18             COMMISSIONER CARTER:  Okay, then.  You have

19   identified -- I think it is KM-1, is that right?

20             MR. ARMSTRONG:  Yes, Mr. Chairman.  I don't know if

21   staff has any questions.

22             MS. GERVASI:  Staff has no questions, either.

23             MR. ARMSTRONG:  So we do have just the one exhibit,

24   KM-1.

25             COMMISSIONER CARTER:  I think we are on 19, is that

FLORIDA PUBLIC SERVICE COMMISSION

322

1   correct?

2             MR. BUTLER:  That's right.

3             COMMISSIONER CARTER:  And the title?

4             MR. ARMSTRONG:  Right.  The City would move Number

5   19, the title being "USDA Plant Hardiness Zones by Florida

6   Counties".

7             COMMISSIONER CARTER:  Okay, show it done.

8             (Exhibit Number 19 marked for identification and

9   admitted into the record.)

10             COMMISSIONER CARTER:  Mr. Miller, thank you so very

11   kindly.  You may be excused.

12             Staff, are there any further matters?

13             MS. GERVASI:  Staff is not aware of any other matters

14   that need to be addressed at this time.

15             COMMISSIONER CARTER:  Any comments from either of the

16   parties?

17             MR. BUTLER:  Are we going to be briefing this and

18   deciding based on the briefs?

19             MS. GERVASI:  Commissioner, the briefs are scheduled

20   to be due on March the 5th with a recommendation due on

21   April 26th for a post-hearing agenda decision to be made on May

22   the 8th.

23             COMMISSIONER CARTER:  Okay.  I hope the parties were

24   taking notes.

25             MR. BUTLER:  We were, thank you.

FLORIDA PUBLIC SERVICE COMMISSION

323

1             And since we are briefing it, I don't have anything

2   further that I need to say at this time.

3             COMMISSIONER CARTER:  Commissioner McMurrian, any

4   comments?

5             Okay.  It was a good day.  It was a great day.  Thank

6   you all for coming in and thank you for your time.  We are

7   adjourned.

8             MR. BUTLER:  Thank you, Commissioner.

9             (The hearing concluded at 3:30 p.m.)

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

324

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk and Administrative

Services, do hereby certify that the foregoing proceeding was

7   heard at the time and place herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 16th day of February, 2007.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk and

18                       Administrative Services

(850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION