## DED-8 Current to 2015 TYSP
Exhibit DED-8 Comparison of 2015 TYSP Summer Peak Demand to Current Filing | [10 empty] | Witness: Dismukes
Docket No. 160021-EI
Exhibit DED-8
|  |  | Summer Peak Demand |  |  |  | Net Energy for Load
|  |  | 2015 | Current |  |  | 2015 | Current
|  |  | TYSP | Filing | Difference |  | TYSP | Filing | Difference
|  |  | -- (MW) -- |  | -- (MW) -- | -- (%) -- | -- (GWh) -- |  | -- (GWh) -- | -- (%) --
|  | 2005 | 22361 | 22361 | 0 | - | 111301 | 111442.889 | 141.889 | 0.1275%
|  | 2006 | 21819 | 21819 | 0 | - | 113137 | 113405.9796 | 268.9796 | 0.2377%
|  | 2007 | 21962 | 21962 | 0 | - | 114315 | 114532.2145 | 217.2145 | 0.19%
|  | 2008 | 21060 | 21060 | 0 | - | 111004 | 111100.357 | 96.357 | 0.0868%
|  | 2009 | 22351 | 22351 | 0 | - | 111303 | 111237.416 | -65.584 | -0.05892%
|  | 2010 | 22256 | 22256 | 0 | - | 114475 | 114603.5325 | 128.5325 | 0.1123%
|  | 2011 | 21619 | 21619 | 0 | - | 112454 | 111542.2715 | -911.7285 | -0.8108%
|  | 2012 | 21440 | 21440 | 0 | - | 110866 | 110865.505 | -0.495 | -
|  | 2013 | 21576 | 21576 | 0 | - | 111655 | 111655.211 | 0.211 | -
|  | 2014 | 22935 | 22935 | 0 | - | 115968 | 115968 | 0 | -
|  | 2015 | 23286 | 22959 | -327 | -1.404% | 119713 | 119963.5127 | 250.5127 | 0.2093%
|  | 2016 | 23778 | 24169.6865 | 391.6865 | 1.647% | 122407 | 119624.7597 | -2782.2403 | -2.273%
|  | 2017 | 24252 | 24336.0406 | 84.0406 | 0.3465% | 123946 | 118831.9033 | -5114.0967 | -4.126%
|  | 2018 | 24648 | 24606.279 | -41.721 | -0.1693% | 125433 | 119562.9643 | -5870.0357 | -4.68%
|  | 2019 | 25045 | 24893.0945 | -151.9055 | -0.6065% | 127070 | 120277.084 | -6792.916 | -5.346%
|  | 2020 | 25369 | 25205.9285 | -163.0715 | -0.6428% | 128851 | 121585.1527 | -7265.8473 | -5.639%
|  | 2021 | 25497 | 25316.4163 | -180.5837 | -0.7083% | 129237 | 121781.9867 | -7455.0133 | -5.768%
|  | 2022 | 25833 | 25540.1892 | -292.8108 | -1.133% | 130077 | 121965.6961 | -8111.3039 | -6.236%
|  | 2023 | 26286 | 25832.9033 | -453.0967 | -1.724% | 131495 | 122767.6554 | -8727.3446 | -6.637%
|  | 2024 | 26771 | 26180.2785 | -590.7215 | -2.207% | 133276 | 123636.5644 | -9639.4356 | -7.233%
Source: FPL 2015 TYSP; and Company's Response to OPC First Request for Production of Documents, POD OPC-2.
Prepared By: MD 6/19/2016
Checked By: GO 6/30/2016

## Load Factor
2015 Ten-Year Site Plan |  |  |  | 2016 Rate Case
Year | Net Energy1 | Summer Peak Demand (MW) | Load Factor | Year | Net Energy | Summer Peak Demand | Load Factor
2005 | 111301 | 22361 | 56.82% | 2005 | 111442.889 | 22361 | 56.89%
2006 | 113137 | 21819 | 59.19% | 2006 | 113405.9796 | 21819 | 59.33%
2007 | 114315 | 21962 | 59.42% | 2007 | 114532.2145 | 21962 | 59.53%
2008 | 111004 | 21060 | 60.17% | 2008 | 111100.357 | 21060 | 60.22%
2009 | 111303 | 22351 | 56.85% | 2009 | 111237.416 | 22351 | 56.81%
2010 | 114475 | 22256 | 58.72% | 2010 | 114603.5325 | 22256 | 58.78%
2011 | 112454 | 21619 | 59.38% | 2011 | 111542.2715 | 21619 | 58.9%
2012 | 110866 | 21440 | 59.03% | 2012 | 110865.505 | 21440 | 59.03%
2013 | 111655 | 21576 | 59.07% | 2013 | 111655.211 | 21576 | 59.08%
2014 | 115968 | 22935 | 57.72% | 2014 | 115968 | 22935 | 57.72%
2015 | 119713 | 23286 | 58.69% | 2015 | 119963.5127 | 22959 | 59.65%
2016 | 122407 | 23778 | 58.77% | 2016 | 119624.7597 | 24169.6865 | 56.5%
2017 | 123946 | 24252 | 58.34% | 2017 | 118831.9033 | 24336.0406 | 55.74%
2018 | 125433 | 24648 | 58.09% | 2018 | 119562.9643 | 24606.279 | 55.47%
2019 | 127070 | 25045 | 57.92% | 2019 | 120277.084 | 24893.0945 | 55.16%
2020 | 128851 | 25369 | 57.98% | 2020 | 121585.1527 | 25205.9285 | 55.06%
2021 | 129237 | 25497 | 57.86% | 2021 | 121781.9867 | 25316.4163 | 54.91%
2022 | 130077 | 25833 | 57.48% | 2022 | 121965.6961 | 25540.1892 | 54.51%
2023 | 131495 | 26286 | 57.11% | 2023 | 122767.6554 | 25832.9033 | 54.25%
2024 | 133276 | 26771 | 56.83% | 2024 | 123636.5644 | 26180.2785 | 53.91%
1 2005-2014 Figures are Taken From Column 5, Actual Net Energy for Load. Figures for 2015-2024 are taken from Column 2, Forecasted Net Energy for Load without DSM
Source: FPL 2015 TYSP; and Company's Response to OPC First Request for Production of Documents, POD OPC-2.
Prepared by: GO 6/14/2016
Checked by: TEM 6/14/2016
Updated by: MD 6/28/2016
Checked by: GO 6/30/2016

## Table Summer Peak
OPC 010437
FPL RC-16
SUMMER PEAK LOAD (MW)
AVERAGE ANNUAL GROWTH
| HISTORY (1980 to 2015) |  |  |  | 381.0286 | 2.516%
| Based on 2015 TYSP (2016 to 2025) |  |  |  | 388.1475 | 1.535%
| Based on Current Forecast (2016 to 2025) |  |  |  | 266.9744 | 1.059%
HISTORY
Growth
[5 empty] | Absolute |  | %
| 1980 |  | 9623 |  | 973 |  | 11.25%
| 1981 |  | 9738 |  | 115 |  | 1.195%
| 1982 |  | 9862 |  | 124 |  | 1.273%
| 1983 |  | 10676 |  | 814 |  | 8.254%
| 1984 |  | 10270 |  | -406 |  | -3.803%
| 1985 |  | 10654 |  | 384 |  | 3.739%
| 1986 |  | 11022 |  | 368 |  | 3.454%
| 1987 |  | 12394 |  | 1372 |  | 12.45%
| 1988 |  | 12382 |  | -12 |  | -0.09682%
| 1989 |  | 13425 |  | 1043 |  | 8.424%
| 1990 |  | 13754 |  | 329 |  | 2.451%
| 1991 |  | 14123 |  | 369 |  | 2.683%
| 1992 |  | 14661 |  | 538 |  | 3.809%
| 1993 |  | 15266 |  | 605 |  | 4.127%
| 1994 |  | 15179 |  | -87 |  | -0.5699%
| 1995 |  | 15813 |  | 634 |  | 4.177%
| 1996 |  | 16064 |  | 251 |  | 1.587%
| 1997 |  | 16612.9865 |  | 548.9865 |  | 3.417%
| 1998 |  | 17897 |  | 1284.0135 |  | 7.729%
| 1999 |  | 17615 |  | -282 |  | -1.576%
| 2000 |  | 17808 |  | 193 |  | 1.096%
| 2001 |  | 18754 |  | 946 |  | 5.312%
| 2002 |  | 19219 |  | 465 |  | 2.479%
| 2003 |  | 19668 |  | 449 |  | 2.336%
| 2004 |  | 20545 |  | 877 |  | 4.459%
| 2005 |  | 22361 |  | 1816 |  | 8.839%
| 2006 |  | 21819 |  | -542 |  | -2.424%
| 2007 |  | 21962 |  | 143 |  | 0.6554%
| 2008 |  | 21060 |  | -902 |  | -4.107%
| 2009 |  | 22351 |  | 1291 |  | 6.13%
| 2010 |  | 22256 |  | -95 |  | -0.425%
| 2011 |  | 21619 |  | -637 |  | -2.862%
| 2012 |  | 21440 |  | -179 |  | -0.828%
| 2013 |  | 21576 |  | 136 |  | 0.6343%
| 2014 |  | 22935 |  | 1359 |  | 6.299%
| 2015 |  | 22959 |  | 24 |  | 0.1046%
FORECAST
| Based on 2015 TYSP | Growth |  | Current | Growth |  | Delta
| Forecast | Absolute | % | Forecast | Absolute | % | Absolute | %
2016 | 23778.411 | 819.411 | 3.569% | 24169.6865 | 1210.6865 | 5.273% | 391.2756 | 1.646%
2017 | 24252.2502 | 473.8392 | 1.993% | 24336.0406 | 166.3541 | 0.6883% | 83.7904 | 0.3455%
2018 | 24647.5478 | 395.2976 | 1.63% | 24606.279 | 270.2384 | 1.11% | -41.2689 | -0.1674%
2019 | 25044.7696 | 397.2218 | 1.612% | 24893.0945 | 286.8155 | 1.166% | -151.6752 | -0.6056%
2020 | 25369.1737 | 324.4041 | 1.295% | 25205.9285 | 312.8341 | 1.257% | -163.2452 | -0.6435%
2021 | 25497.0626 | 127.8889 | 0.5041% | 25316.4163 | 110.4877 | 0.4383% | -180.6464 | -0.7085%
2022 | 25832.7375 | 335.6748 | 1.317% | 25540.1892 | 223.773 | 0.8839% | -292.5482 | -1.132%
2023 | 26285.9554 | 453.218 | 1.754% | 25832.9033 | 292.714 | 1.146% | -453.0522 | -1.724%
2024 | 26770.5127 | 484.5573 | 1.843% | 26180.2785 | 347.3753 | 1.345% | -590.2342 | -2.205%
2025 | 27271.7386 | 501.2259 | 1.872% | 26572.456 | 392.1775 | 1.498% | -699.2826 | -2.564%
2026 | 27824.8302 | 553.0917 | 2.028% | 27067.6001 | 495.1441 | 1.863% | -757.2302 | -2.721%
2027 | 28451.4413 | 626.6111 | 2.252% | 27665.2192 | 597.6191 | 2.208% | -786.2221 | -2.763%
2028 | 29070.1062 | 618.6649 | 2.174% | 28224.7243 | 559.5051 | 2.022% | -845.3819 | -2.908%
2029 | 29695.2397 | 625.1335 | 2.15% | 28804.8144 | 580.0901 | 2.055% | -890.4253 | -2.999%
2030 | 30326.6037 | 631.364 | 2.126% | 29397.6618 | 592.8474 | 2.058% | -928.9419 | -3.063%
2031 | 30886.7999 | 560.1962 | 1.847% | 29916.486 | 518.8242 | 1.765% | -970.3139 | -3.142%
2032 | 31477.8231 | 591.0232 | 1.914% | 30478.7122 | 562.2262 | 1.879% | -999.1109 | -3.174%
2033 | 32023.74 | 545.9169 | 1.734% | 31014.602 | 535.8898 | 1.758% | -1009.138 | -3.151%
2034 | 32537.9287 | 514.1887 | 1.606% | 31496.9298 | 482.3278 | 1.555% | -1040.9989 | -3.199%
2035 | 33040.7352 | 502.8064 | 1.545% | 31985.1039 | 488.1741 | 1.55% | -1055.6313 | -3.195%
2036 | 33557.7886 | 517.0534 | 1.565% | 32468.0191 | 482.9152 | 1.51% | -1089.7695 | -3.247%
2037 | 34062.0251 | 504.2365 | 1.503% | 32926.0632 | 458.0441 | 1.411% | -1135.9619 | -3.335%
2038 | 34592.8623 | 530.8372 | 1.558% | 33401.2155 | 475.1523 | 1.443% | -1191.6467 | -3.445%
2039 | 35115.8767 | 523.0144 | 1.512% | 33877.6204 | 476.4048 | 1.426% | -1238.2563 | -3.526%
2040 | 35645.7254 | 529.8487 | 1.509% | 34362.1064 | 484.486 | 1.43% | -1283.619 | -3.601%
2041 | 36015.4224 | 369.697 | 1.037% | 34752.544 | 390.4377 | 1.136% | -1262.8784 | -3.506%
2042 | 36388.9863 | 373.5639 | 1.037% | 35143.6793 | 391.1352 | 1.125% | -1245.3071 | -3.422%
2043 | 36766.42 | 377.4336 | 1.037% | 35535.5131 | 391.8339 | 1.115% | -1230.9069 | -3.348%
2044 | 37147.7641 | 381.3442 | 1.037% | 35928.0467 | 392.5336 | 1.105% | -1219.7175 | -3.283%
2045 | 37533.0601 | 385.2959 | 1.037% | 36321.2811 | 393.2344 | 1.095% | -1211.779 | -3.229%
2046 | 37922.3494 | 389.2894 | 1.037% | 36715.2173 | 393.9363 | 1.085% | -1207.1321 | -3.183%
2047 | 38315.6744 | 393.3249 | 1.037% | 37109.8565 | 394.6392 | 1.075% | -1205.8178 | -3.147%
2048 | 38713.0774 | 397.403 | 1.037% | 37505.1998 | 395.3433 | 1.065% | -1207.8776 | -3.12%
2049 | 39114.6016 | 401.5242 | 1.037% | 37901.2482 | 396.0484 | 1.056% | -1213.3534 | -3.102%
2050 | 39520.2904 | 405.6888 | 1.037% | 38298.0028 | 396.7546 | 1.047% | -1222.2875 | -3.093%
2051 | 39930.1876 | 409.8973 | 1.037% | 38695.4648 | 397.462 | 1.038% | -1234.7228 | -3.092%
2052 | 40344.3378 | 414.1502 | 1.037% | 39093.6352 | 398.1704 | 1.029% | -1250.7026 | -3.1%
2053 | 40754.1041 | 409.7662 | 1.016% | 39487.0507 | 393.4155 | 1.006% | -1267.0533 | -3.109%
2054 | 41168.1404 | 414.0363 | 1.016% | 39881.1457 | 394.0949 | 0.998% | -1286.9947 | -3.126%
2055 | 41586.492 | 418.3516 | 1.016% | 40275.9209 | 394.7753 | 0.9899% | -1310.5711 | -3.151%
2056 | 42009.2046 | 422.7126 | 1.016% | 40671.3775 | 395.4565 | 0.9819% | -1337.8272 | -3.185%
2057 | 42436.3244 | 427.1198 | 1.017% | 41067.5161 | 396.1387 | 0.974% | -1368.8082 | -3.226%
2058 | 42867.8979 | 431.5735 | 1.017% | 41464.3379 | 396.8218 | 0.9663% | -1403.56 | -3.274%
2059 | 43303.9724 | 436.0745 | 1.017% | 41861.8437 | 397.5058 | 0.9587% | -1442.1286 | -3.33%
2060 | 43744.5954 | 440.623 | 1.018% | 42260.0345 | 398.1908 | 0.9512% | -1484.5609 | -3.394%
2061 | 44189.8151 | 445.2197 | 1.018% | 42658.9112 | 398.8767 | 0.9439% | -1530.9039 | -3.464%
2062 | 44639.6802 | 449.8651 | 1.018% | 43058.4746 | 399.5635 | 0.9366% | -1581.2055 | -3.542%
2063 | 45094.2398 | 454.5596 | 1.018% | 43458.7259 | 400.2512 | 0.9296% | -1635.5139 | -3.627%

## Table NEL
OPC 010392
FPL RC-16
CALENDAR NET ENERGY FOR LOAD (GWH)
AVERAGE ANNUAL GROWTH
| HISTORY (1980 to 2015) |  |  |  | 2044.6708 | 2.627%
| Based on 2015 TYSP (2016 to 2025) |  |  |  | 1288.1094 | 1.012%
| Based on Current Forecast (2016 to 2025) |  |  |  | 537.5828 | 0.4415%
HISTORY
Growth
[5 empty] | Absolute |  | %
| 1980 |  | 48400.033
| 1981 |  | 49997.084 |  | 1597.051 |  | 3.3%
| 1982 |  | 50375.165 |  | 378.081 |  | 0.7562%
| 1983 |  | 52599.883 |  | 2224.718 |  | 4.416%
| 1984 |  | 53032.936 |  | 433.053 |  | 0.8233%
| 1985 |  | 56235.609 |  | 3202.673 |  | 6.039%
| 1986 |  | 58453.212 |  | 2217.603 |  | 3.943%
| 1987 |  | 61996.769 |  | 3543.557 |  | 6.062%
| 1988 |  | 65135.637 |  | 3138.868 |  | 5.063%
| 1989 |  | 70298.943 |  | 5163.306 |  | 7.927%
| 1990 |  | 71528.278 |  | 1229.335 |  | 1.749%
| 1991 |  | 73425.659 |  | 1897.381 |  | 2.653%
| 1992 |  | 73321.114 |  | -104.545 |  | -0.1424%
| 1993 |  | 76074.236 |  | 2753.122 |  | 3.755%
| 1994 |  | 80673.307 |  | 4599.071 |  | 6.046%
| 1995 |  | 84546.115 |  | 3872.808 |  | 4.801%
| 1996 |  | 85028.049 |  | 481.934 |  | 0.57%
| 1997 |  | 87055.571 |  | 2027.522 |  | 2.385%
| 1998 |  | 92802.236 |  | 5746.665 |  | 6.601%
| 1999 |  | 91682.822 |  | -1119.414 |  | -1.206%
| 2000 |  | 96313.287 |  | 4630.465 |  | 5.051%
| 2001 |  | 98612.129 |  | 2298.842 |  | 2.387%
| 2002 |  | 104657.202 |  | 6045.073 |  | 6.13%
| 2003 |  | 108214.4605 |  | 3557.2585 |  | 3.399%
| 2004 |  | 108121.9295 |  | -92.531 |  | -0.08551%
| 2005 |  | 111442.889 |  | 3320.9595 |  | 3.071%
| 2006 |  | 113405.9796 |  | 1963.0906 |  | 1.762%
| 2007 |  | 114532.2145 |  | 1126.2349 |  | 0.9931%
| 2008 |  | 111100.357 |  | -3431.8575 |  | -2.996%
| 2009 |  | 111237.416 |  | 137.059 |  | 0.1234%
| 2010 |  | 114603.5325 |  | 3366.1165 |  | 3.026%
| 2011 |  | 111542.2715 |  | -3061.261 |  | -2.671%
| 2012 |  | 110865.505 |  | -676.7665 |  | -0.6067%
| 2013 |  | 111655.211 |  | 789.706 |  | 0.7123%
| 2014 |  | 115968 |  | 4312.789 |  | 3.863%
| 2015 |  | 119963.5127 |  | 3995.5127 |  | 3.445%
FORECAST
| Based on 2015 TYSP | Growth |  |  | Growth |  | Delta
| Forecast | Absolute | % | Forecast | Absolute | % | Absolute | % | Load Factor
2016 | 122220.7864 | 2257.2736 | 1.882% | 119624.7597 | -338.753 | -0.2824% | -2596.0267 | -2.124% | 56.35%
2017 | 123712.972 | 1492.1856 | 1.221% | 118831.9033 | -792.8564 | -0.6628% | -4881.0687 | -3.945% | 55.74%
2018 | 125151.3726 | 1438.4006 | 1.163% | 119562.9643 | 731.061 | 0.6152% | -5588.4083 | -4.465% | 55.47%
2019 | 126737.9925 | 1586.6199 | 1.268% | 120277.084 | 714.1197 | 0.5973% | -6460.9085 | -5.098% | 55.16%
2020 | 128467.1315 | 1729.1389 | 1.364% | 121585.1527 | 1308.0687 | 1.088% | -6881.9788 | -5.357% | 54.91%
2021 | 128798.4583 | 331.3268 | 0.2579% | 121781.9867 | 196.8341 | 0.1619% | -7016.4716 | -5.448% | 54.91%
2022 | 129580.7473 | 782.289 | 0.6074% | 121965.6961 | 183.7094 | 0.1509% | -7615.0512 | -5.877% | 54.51%
2023 | 130940.0841 | 1359.3369 | 1.049% | 122767.6554 | 801.9594 | 0.6575% | -8172.4287 | -6.241% | 54.25%
2024 | 132658.839 | 1718.7549 | 1.313% | 123636.5644 | 868.909 | 0.7078% | -9022.2746 | -6.801% | 53.76%
2025 | 133813.7708 | 1154.9318 | 0.8706% | 124463.0053 | 826.4409 | 0.6684% | -9350.7655 | -6.988% | 53.47%
2026 | 135522.4477 | 1708.6769 | 1.277% | 125830.8157 | 1367.8103 | 1.099% | -9691.6321 | -7.151% | 53.07%
2027 | 137653.4847 | 2131.037 | 1.572% | 127182.7844 | 1351.9687 | 1.074% | -10470.7003 | -7.607% | 52.48%
2028 | 140219.0459 | 2565.5612 | 1.864% | 128994.8337 | 1812.0493 | 1.425% | -11224.2122 | -8.005% | 52.03%
2029 | 142183.314 | 1964.2681 | 1.401% | 130940.1443 | 1945.3106 | 1.508% | -11243.1697 | -7.908% | 51.89%
2030 | 144640.7253 | 2457.4113 | 1.728% | 133247.2035 | 2307.0591 | 1.762% | -11393.5219 | -7.877% | 51.74%
2031 | 146779.2504 | 2138.5251 | 1.479% | 135111.3469 | 1864.1434 | 1.399% | -11667.9035 | -7.949% | 51.56%
2032 | 149381.3467 | 2602.0963 | 1.773% | 137076.151 | 1964.8042 | 1.454% | -12305.1957 | -8.237% | 51.2%
2033 | 150939.185 | 1557.8383 | 1.043% | 138119.8075 | 1043.6565 | 0.7614% | -12819.3774 | -8.493% | 50.84%
2034 | 152743.6205 | 1804.4356 | 1.195% | 139688.168 | 1568.3605 | 1.136% | -13055.4525 | -8.547% | 50.63%
2035 | 154563.8891 | 1820.2686 | 1.192% | 141446.6296 | 1758.4615 | 1.259% | -13117.2595 | -8.487% | 50.48%
2036 | 156852.5338 | 2288.6447 | 1.481% | 143024.9237 | 1578.2941 | 1.116% | -13827.6101 | -8.816% | 50.15%
2037 | 158321.9887 | 1469.455 | 0.9368% | 144233.5006 | 1208.5769 | 0.845% | -14088.4882 | -8.899% | 50.01%
2038 | 160223.435 | 1901.4463 | 1.201% | 145885.209 | 1651.7084 | 1.145% | -14338.2261 | -8.949% | 49.86%
2039 | 162120.0575 | 1896.6225 | 1.184% | 147619.5635 | 1734.3546 | 1.189% | -14500.4939 | -8.944% | 49.74%
2040 | 164470.599 | 2350.5415 | 1.45% | 149622.2017 | 2002.6382 | 1.357% | -14848.3972 | -9.028% | 49.57%
2041 | 166089.8579 | 1619.259 | 0.9845% | 151299.3805 | 1677.1788 | 1.121% | -14790.4774 | -8.905% | 49.7%
2042 | 167725.135 | 1635.2771 | 0.9846% | 152979.1645 | 1679.7841 | 1.11% | -14745.9704 | -8.792% | 49.69%
2043 | 169376.6183 | 1651.4833 | 0.9846% | 154661.5739 | 1682.4094 | 1.1% | -14715.0444 | -8.688% | 49.68%
2044 | 171044.4689 | 1667.8506 | 0.9847% | 156346.6289 | 1685.055 | 1.09% | -14697.8401 | -8.593% | 49.54%
2045 | 172728.8494 | 1684.3805 | 0.9848% | 158034.35 | 1687.7212 | 1.079% | -14694.4994 | -8.507% | 49.67%
2046 | 174429.924 | 1701.0746 | 0.9848% | 159724.7583 | 1690.4082 | 1.07% | -14705.1658 | -8.43% | 49.66%
2047 | 176147.8586 | 1717.9345 | 0.9849% | 161417.8748 | 1693.1165 | 1.06% | -14729.9838 | -8.362% | 49.65%
2048 | 177882.8206 | 1734.962 | 0.9849% | 163113.721 | 1695.8462 | 1.051% | -14769.0996 | -8.303% | 49.51%
2049 | 179634.9792 | 1752.1586 | 0.985% | 164812.3188 | 1698.5978 | 1.041% | -14822.6604 | -8.252% | 49.64%
2050 | 181404.5053 | 1769.5261 | 0.9851% | 166513.6903 | 1701.3715 | 1.032% | -14890.815 | -8.209% | 49.63%
2051 | 183191.5714 | 1787.0661 | 0.9851% | 168217.8578 | 1704.1676 | 1.023% | -14973.7135 | -8.174% | 49.63%
2052 | 184996.3517 | 1804.7804 | 0.9852% | 169924.8443 | 1706.9864 | 1.015% | -15071.5075 | -8.147% | 49.48%
2053 | 186705.3714 | 1709.0197 | 0.9238% | 171634.6726 | 1709.8284 | 1.006% | -15070.6988 | -8.072% | 49.62%
2054 | 188546.1101 | 1840.7387 | 0.9859% | 173347.3664 | 1712.6937 | 0.9979% | -15198.7437 | -8.061% | 49.62%
2055 | 190405.0963 | 1858.9862 | 0.986% | 175062.9493 | 1715.5829 | 0.9897% | -15342.147 | -8.058% | 49.62%
2056 | 192282.5113 | 1877.415 | 0.986% | 176781.4454 | 1718.4961 | 0.9816% | -15501.0659 | -8.062% | 49.48%
2057 | 194178.5382 | 1896.0269 | 0.9861% | 178502.8792 | 1721.4338 | 0.9738% | -15675.659 | -8.073% | 49.62%
2058 | 196093.362 | 1914.8238 | 0.9861% | 180227.2755 | 1724.3963 | 0.966% | -15866.0865 | -8.091% | 49.62%
2059 | 198027.1694 | 1933.8074 | 0.9862% | 181954.6595 | 1727.384 | 0.9584% | -16072.51 | -8.116% | 49.62%
2060 | 199980.1491 | 1952.9797 | 0.9862% | 183685.0566 | 1730.3972 | 0.951% | -16295.0925 | -8.148% | 49.48%
2061 | 201952.4915 | 1972.3424 | 0.9863% | 185418.4929 | 1733.4363 | 0.9437% | -16533.9986 | -8.187% | 49.62%
2062 | 203944.389 | 1991.8975 | 0.9863% | 187154.9946 | 1736.5017 | 0.9365% | -16789.3944 | -8.232% | 49.62%
2063 | 205956.0359 | 2011.6469 | 0.9864% | 188894.5883 | 1739.5937 | 0.9295% | -17061.4477 | -8.284% | 49.62%