## EGEAS RM
DRAFT Privileged & Confidential, Attorney-Client Work Product
Southeastern Florida Study
Reserve Margin Input into EGEAS for Southeastern Florida Only Run
-1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11
Total Reserve Margin
|  | Total |  | Firm | Total |  |  | Firm
|  | Firm |  | Need | Firm | Total |  | Summer
|  | Capacity | Tx | to back | Capacity | Peak |  | Peak
| Unit | Available | Assistance | solve RM | Available | Demand | DSM | Demand | Reserves
Year | Additions | MW | MW | MW | MW | MW | MW | MW | MW | % | 2016 | MW | 2017 | MW | 2018 | MW | 2019
2016 | PEEC | 6571.2 | 6400 | 0 | 12971.2 | 10803.99 | 823 | 9980.99 | 2990.21 | 29.9591 | TURKEY POINT 4 | 821 | TURKEY POINT 4 | 821 | TURKEY POINT 3 | 831.275 | TURKEY POINT 3 | 831.275
2017 | FL CTs | 6163.326 | 6400 | 0 | 12563.326 | 10878.192 | 865 | 10013.192 | 2550.134 | 25.4677 | TURKEY POINT 3 | 811 | TURKEY POINT 3 | 811 | TURKEY POINT 4 | 821 | TURKEY POINT 4 | 841.032
2018 |  | 6168.17 | 6400 | 0 | 12568.17 | 10998.882 | 892 | 10106.882 | 2461.288 | 24.3526 | PEEC | 1237 | PEEC | 1237 | PEEC | 1237 | PEEC | 1237
2019 |  | 6188.202 | 6400 | 0 | 12588.202 | 11103.033 | 912 | 10191.033 | 2397.169 | 23.5223 | TURKEY POINT 5 | 1187 | TURKEY POINT 5 | 1187 | TURKEY POINT 5 | 1171.569 | TURKEY POINT 5 | 1171.569
2020 |  | 6188.202 | 6400 | 0 | 12588.202 | 11267.082 | 934 | 10333.082 | 2255.12 | 21.8243 | DSM-CONS | 23 | DSM-CONS | 36 | DSM-CONS | 47 | DSM-CONS | 58
2021 |  | 6188.202 | 6400 | 0 | 12588.202 | 11316.252 | 955 | 10361.252 | 2226.95 | 21.4931 | LAUDERDALE 5 | 442 | LAUDERDALE 5 | 442 | LAUDERDALE 5 | 442 | LAUDERDALE 5 | 442
2022 |  | 6188.202 | 6400 | 0 | 12588.202 | 11416.38 | 976 | 10440.38 | 2147.822 | 20.5723 | LAUDERDALE 4 | 442 | PFL GT'S | 68.326 | PFL GT'S | 68.326 | LAUDERDALE 4 | 442
2023 |  | 6188.202 | 6400 | 0 | 12588.202 | 11547.351 | 999 | 10548.351 | 2039.851 | 19.3381 | TURKEY POINT 1 | 396 | LAUDERDALE 4 | 442 | LAUDERDALE 4 | 442 | PFL CT | 1155
2024 |  | 6188.202 | 6400 | 0 | 12588.202 | 11702.46 | 1021 | 10681.46 | 1906.742 | 17.8509 | PFL GT'S | 823.2 | PFL CT | 1155 | PFL CT | 1155 | PFL GT'S | 68.326
2025 |  | 6188.202 | 6400 | 200 | 12788.202 | 11877.684 | 1050 | 10827.684 | 1960.518 | 18.1065 | PPE GT'S | 412 | DSM-LC | 829 | DSM-LC | 845 | DSM-LC | 854
2026 |  | 6188.202 | 6400 | 400 | 12988.202 | 12099.396 | 1070 | 11029.396 | 1958.806 | 17.7599 | DSM-LC | 800
2027 |  | 6188.202 | 6400 | 600 | 13188.202 | 12366.255 | 1090 | 11276.255 | 1911.947 | 16.9555
2028 |  | 6188.202 | 6400 | 800 | 13388.202 | 12616.575 | 1110 | 11506.575 | 1881.627 | 16.3526 | Total | 7394.2 |  | 7028.326 |  | 7060.17 |  | 7100.202
2029 |  | 6188.202 | 6400 | 1000 | 13588.202 | 12875.835 | 1132 | 11743.835 | 1844.367 | 15.705 | DSM | 823 |  | 865 |  | 892 |  | 912
2030 |  | 6188.202 | 6400 | 1200 | 13788.202 | 13140.906 | 1154 | 11986.906 | 1801.296 | 15.0272 | Total w/o DSM | 6571.2 |  | 6163.326 |  | 6168.17 |  | 6188.202
Inputs into EGEAS