## Sheet5
DRAFT | [8 empty] | 2016-09-23
| August Peak Day Burn Vs Firm Contract | [5 empty] | August Average Daily Burn
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
|  |  | (2 - 1) |  | (4 - 1) | (3 - 5) |  |  | (7 - 8)
| Gas Firm Contract MMCF/Day | 2CC Plan Gas burn MMCF/Day | 2CC - Firm Con. MMCF/Day | 1 CC and CT's Plan MMCF/Day | 1 CC + CT's Plan - Firm Con. MMCF/Day | 2CC Plan - 1 CC + CT's Plan MMCF/Day | 2CC Plan Gas burn MMCF/Month AVG. | 1 CC and CT's Gas Burn MMCF/Month AVG. | 2CC Plan - 1 CC + CT's Plan MMCF/Month AVG.
2025 | 2569 | 2540.8282 | -28.1718 | 2540.8282 | -28.1718 | 0 | 2135 | 2135 | 0
2026 | 2569 | 2593.3976 | 24.3976 | 2593.3976 | 24.3976 | 0 | 2172 | 2172 | 0
2027 | 2569 | 2642.7255 | 73.7255 | 2642.7255 | 73.7255 | 0 | 2205 | 2205 | 0
2028 | 2569 | 2654.4084 | 85.4084 | 2706.4843 | 137.4843 | -52.0759 | 2209 | 2247 | -38
2029 | 2569 | 2727.1921 | 158.1921 | 2783.9444 | 214.9444 | -56.7524 | 2268 | 2306 | -38
2030 | 2569 | 2804.4607 | 235.4607 | 2857.8046 | 288.8046 | -53.3439 | 2322 | 2364 | -42
Note:
2 CC Plan has CC added in 2025 and 2028
1 CC = CT's Plan has a CC added in 2025 and CT's added from 2028-30

## 2 CC Plan
DRAFT
|  | August Peak Day Burn Vs Firm Contract |  |  | August Average Daily Burn
|  | 1 | 2 | 3 | 4
(2 - 1)
|  | Gas Firm Contract MMCF/Day | 2CC Plan Gas burn MMCF/Day | 2CC - Firm Contract MMCF/Day | 2CC Plan Gas burn MMCF/Month AVG.
12 | 2025 | 2569 | 2540.8282 | -28.1718 | 2135 | CC
11 | 2026 | 2569 | 2593.3976 | 24.3976 | 2172
10 | 2027 | 2569 | 2642.7255 | 73.7255 | 2205
8 | 2028 | 2569 | 2654.4084 | 85.4084 | 2209 | CC
14 | 2029 | 2569 | 2727.1921 | 158.1921 | 2268
13 | 2030 | 2569 | 2804.4607 | 235.4607 | 2322
Note:
2 CC Plan has CC added in 2025 and 2028

## Plan 1
| DRAFT | BATTERY & some SOLAR |  |  | 2 CCs
|  | August Peak Day Burn Vs Firm Contract |  |  | August Average Daily Burn
|  | 1 | 2 | 3 | 4 | 5 | 6
|  |  |  | (2 - 1) |  | (2 - 2 CC Plan) | (4 - 2 CC Plan)
|  | Gas Firm Contract MMCF/Day | Plan 1 Gas burn MMCF/Day | Plan 1 - Firm Contract MMCF/Day | Plan 1 Gas burn MMCF/Month AVG. | Plan 1 - 2 CC Plan MMCF / Peak Day | Plan 1 - 2 CC Plan MMCF / Month AVG | CC's in Resource Plan | CC's in Iteration 1 2-CC Plan
12 | 2025 | 2569 | 2586 | 17 | 2164 | 45.1718 | 29 |  | CC
11 | 2026 | 2569 | 2587 | 18 | 2166 | -6.3976 | -6 | CC
10 | 2027 | 2569 | 2632 | 63 | 2199 | -10.7255 | -6
8 | 2028 | 2569 | 2700 | 131 | 2241 | 45.5916 | 32 |  | CC
14 | 2029 | 2569 | 2764 | 195 | 2299 | 36.8079 | 31
13 | 2030 | 2569 | 2798 | 229 | 2314 | -6.4607 | -8 | CC
Note:
Plan 1
- 1175 MW's of large battery from 2025 - 2030
- 135 MW's nameplate of solar in 2025
- CC's added in 2026 and 2030 equaling 3502 MW's

## Plan 2
| DRAFT | BATTERY ONLY |  |  | 2 CCs
|  | August Peak Day Burn Vs Firm Contract |  |  | August Average Daily Burn
|  | 1 | 2 | 3 | 4 | 5 | 6
|  |  |  | (2 - 1) |  | (2 - 2 CC Plan) | (4 - 2 CC Plan)
|  | Gas Firm Contract MMCF/Day | Plan 2 Gas burn MMCF/Day | Plan 2 - Firm Contract MMCF/Day | Plan 2 Gas burn MMCF/Month AVG. | Plan 2 - 2 CC Plan MMCF / Peak Day | Plan 2 - 2 CC Plan MMCF / Month AVG
12 | 2025 | 2569 | 2594 | 25 | 2168 | 53.1718 | 33 |  | CC
11 | 2026 | 2569 | 2589 | 20 | 2171 | -4.3976 | -1 | CC
10 | 2027 | 2569 | 2636 | 67 | 2204 | -6.7255 | -1
8 | 2028 | 2569 | 2700 | 131 | 2246 | 45.5916 | 37 |  | CC
14 | 2029 | 2569 | 2770 | 201 | 2304 | 42.8079 | 36
13 | 2030 | 2569 | 2801 | 232 | 2320 | -3.4607 | -2 | CC
Note:
Plan 2
- 1200 MW's of small battery from 2025 - 2030
- CC's added in 2026 and 2030 equaling 3502 MW's

## Plan 3
| DRAFT | SOLAR
|  | August Peak Day Burn Vs Firm Contract |  |  | August Average Daily Burn
|  | 1 | 2 | 3 | 4 | 5 | 6
|  |  |  | (2 - 1) |  | (2 - 2 CC Plan) | (4 - 2 CC Plan)
|  | Gas Firm Contract MMCF/Day | Plan 3 Gas burn MMCF/Day | Plan 3 - Firm Contract MMCF/Day | Plan 3 Gas burn MMCF/Month AVG. | Plan 3 - 2 CC Plan MMCF / Peak Day | Plan 3 - 2 CC Plan MMCF / Month AVG
12 | 2025 | 2569 | 2553 | -16 | 2130 | 12.1718 | -5 |  | CC
11 | 2026 | 2569 | 2539 | -30 | 2124 | -54.3976 | -48 | CC
10 | 2027 | 2569 | 2585 | 16 | 2158 | -57.7255 | -47
8 | 2028 | 2569 | 2655 | 86 | 2201 | 0.5916 | -8 |  | CC
14 | 2029 | 2569 | 2679 | 110 | 2220 | -48.1921 | -48 | CC
13 | 2030 | 2569 | 2755 | 186 | 2274 | -49.4607 | -48
Note:
Plan3
- 983 MW's nameplate of large and small solar from 2020 - 2026
- CC's added in 2026 and 2029 equaling 3502 MW's

## Plan 4
| DRAFT | BATTERY & SOLAR EVERYTHING |  |  | NO CCs
|  | August Peak Day Burn Vs Firm Contract |  |  | August Average Daily Burn
|  | 1 | 2 | 3 | 4 | 5 | 6
|  |  |  | (2 - 1) |  | (2 - 2 CC Plan) | (4 - 2 CC Plan)
|  | Gas Firm Contract MMCF/Day | Plan 4 Gas burn MMCF/Day | Plan 4 - Firm Contract MMCF/Day | Plan 4 Gas burn MMCF/Month AVG. | Plan 4 - 2 CC Plan MMCF / Peak Day | Plan 4 - 2 CC Plan MMCF / Month AVG
12 | 2025 | 2569 | 2560 | -9 | 2136 | 19.1718 | 1 |  | CC
11 | 2026 | 2569 | 2604 | 35 | 2164 | 10.6024 | -8
10 | 2027 | 2569 | 2640 | 71 | 2201 | -2.7255 | -4 | CC
8 | 2028 | 2569 | 2683 | 114 | 2242 | 28.5916 | 33 |  | CC
14 | 2029 | 2569 | 2741 | 172 | 2300 | 13.8079 | 32
13 | 2030 | 2569 | 2809 | 240 | 2351 | 4.5393 | 29
Note:
Plan3
- 983 MW's nameplate of large and small solar from 2020 - 2030
- 2995 MW's of battery from 2026 - 2030

## Plan 5
| DRAFT | BATTERY & SOLAR |  |  | 1 CC
|  | August Peak Day Burn Vs Firm Contract |  |  | August Average Daily Burn
|  | 1 | 2 | 3 | 4 | 5 | 6
|  |  |  | (2 - 1) |  | (2 - 2 CC Plan) | (4 - 2 CC Plan)
|  | Gas Firm Contract MMCF/Day | Plan 5 Gas burn MMCF/Day | Plan 5 - Firm Contract MMCF/Day | Plan 5 Gas burn MMCF/Month AVG. | Plan 5 - 2 CC Plan MMCF / Peak Day | Plan 5 - 2 CC Plan MMCF / Month AVG
12 | 2025 | 2569 | 2587 | 18 | 2162 | 46.1718 | 27 | CC
11 | 2026 | 2569 | 2653 | 84 | 2199 | 59.6024 | 27
10 | 2027 | 2569 | 2617 | 48 | 2196 | -25.7255 | -9
8 | 2028 | 2569 | 2687 | 118 | 2239 | 32.5916 | 30 | CC
14 | 2029 | 2569 | 2763 | 194 | 2296 | 35.8079 | 28
13 | 2030 | 2569 | 2811 | 242 | 2339 | 6.5393 | 17
Note:
Plan 5
- 1495 MW's of battery added in 2025 - 26 - 29 and 2030
- 433 MW's nameplate of solar added (135 +298) in 2025 and 2030
- CC added in 2027 totalling 1751 MW's