## Interrogatory No. 37
Florida Power & Light Company Docket No. 20190001-EI Staff's 4th Set of Interrogatories Attachment 1, Interrogatory No. 37 Page 1 of 1
Assumptions
Energy Assumptions:
Capacity AC | 5 | (kW)
Annual energy year 1 | 1950 | (kWh per kW AC)
Annual energy Per 5 kW AC installation | 9750 | (kWh per 5 kW AC)
Firm capacity value summer | 47.92%
Firm capacity value summer per installation | 2.3958 | (kW AC)
Annual degradation | 0.3%
Capacity Factor | 22.26%
Reduction in T&D losses | 5% | (credited in values above)
Number of installations required:
| 2020 SoBRA Project |  | Distributed 5 kW systems
| Nameplate MW | SoBRA firm capacity MW | Installations required based on firm capacity | Equivalent nameplate capacity MWac
| 298 | 182.0869 | 72201.2288 | 361.0061
Capital cost assumptions:
Cost | 2800 | $/ kW AC
Cost per installation | 14000 | $
Cost for all installations | 1010.8172 | $ Millions
Depreciation Life | 30 | Years
Footnotes:
1. For this comparison, FPL determined the number of distributed 5 kW systems that provide the same firm capacity value as that provided by FPL's 2020 Solar Projects.
2. The starting point for the capital costs and energy performance assumptions for the 5 kW systems was based on the cost of residential system installed first quarter of 2019.
To give the 5 kW systems the benefit of the doubt, FPL reduced these actual capital costs and increased the performance to the numbers shown in this table.
3. Even though the depreciation life of distributed solar is expected to be shorter than that of universal life, a 30-year depreciation life was assumed for the 5 kW projects.
4. The O&M cost for the distributed 5 kW projects is expected to be significantly higher than the O&M costs for FPL's 2020 Solar Projects. However,
for this project FPL assumed that they would have the same O&M cost, per kW, as FPL's projects. These O&M costs do not include land costs or rooftop lease payments.
5. For this comparison, FPL assumed that the distributed solar projects reduce T&D losses, even though FPL has no actual data on reductions of losses from residential
distributed PV installations. A 5% T&D loss reduction factor was assumed for both energy and capacity.
6. The firm capacity value was based on the value of a universal solar energy center. This assumes optimal placement and location and does not reflect actual data.
Firm capacity value for actual 5 kW systems is expected to be lower.
7. For this analysis, it was assumed that the 5 kW systems do not result in incremental property tax and insurance costs.