BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In re: Petition for approval of a new depreciation class and for energy storage equipment, by Duke Energy Florida, LLC. | DOCKET NO. 20190183-EI ORDER NO. PSC-2020-0056-PAA-EI ISSUED: February 24, 2020 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

GARY F. CLARK, Chairman

ART GRAHAM

JULIE I. BROWN

DONALD J. POLMANN

ANDREW GILES FAY

NOTICE OF PROPOSED AGENCY ACTION ORDER

APPROVING DUKE ENERGY FLORIDA, LLC’S NEW  DEPRECIATION

CLASS AND RATE FOR ENERGY STORAGE EQUIPMENT

BY THE COMMISSION:

NOTICE is hereby given by the Florida Public Service Commission that the action discussed herein is preliminary in nature and will become final unless a person whose interests are substantially affected files a petition for a formal proceeding, pursuant to Rule 25-22.029, Florida Administrative Code (F.A.C.).

BACKGROUND

On September 18, 2019, Duke Energy Florida, LLC (DEF or Company) filed a request for approval of a new depreciation classification and depreciation rate for the accounting of its energy storage equipment (Petition).  The Company’s request is in accordance with Rule 25-6.0436(3)(b) F.A.C., which requires that: “[u]pon establishing a new account or subaccount classification, each utility shall request Commission approval of a depreciation rate for the new plant category.”

Pursuant to Rule 25-6.0436(3)(a), F.A.C., electric utilities are required to maintain depreciation rates and accumulated depreciation reserves in accounts or subaccounts in accordance with the Uniform System of Accounts for Public Utilities and Licensees, as found in the Code of Federal Regulations, which is incorporated by reference in Rule 25-6.014(1), F.A.C.

In November 2017, DEF received Commission authorization to implement a 50 megawatt (MW) battery storage pilot program (Battery Storage Pilot) pursuant to the terms of the Company’s 2017 Second Revised and Restated Settlement Agreement (2017 Settlement) which resolved all issues in DEF’s 2017 limited proceeding and associated dockets.

According to DEF, the Company has not begun to install any batteries and/or storage-associated equipment with regard to the 50 MW Battery Storage Pilot Program.  However, the Company indicated that it has tentatively scheduled four installations for 30.25 MW of the 50 MW Battery Storage Pilot Program.  These installations are scheduled to begin during the fourth quarter of 2020, subject to completing a competitive procurement process for the Engineering, Procurement and Construction (EPC) of each project and receiving final interconnection study results.  The Company also stated that the remaining 19.75 MW have not been scheduled at this time, but intends to have the full 50 MW Battery Storage Pilot implemented by December 31, 2021.

Currently, the Company reports that it does not specifically classify or have an authorized depreciation rate for the types of equipment required to implement its planned Battery Storage Pilot or any other energy storage endeavors.  Therefore, no accounting adjustments, such as transfers of plant investments and associated book reserves, shall be authorized as part of this docket.

In 2017, we approved a similar petition filed by Florida Power & Light Company (FPL) for approval of a new depreciation class and rate for energy storage equipment.   In that docket, we allowed a 10 percent depreciation rate and zero net salvage for similar equipment.  WE are unaware of any public comments or concerns on this matter.  We have jurisdiction in this matter pursuant to Sections 366.04, 366.05, and 366.06, Florida Statutes (F.S.).

DECISION

As outlined in its petition, DEF does not currently maintain a stand-alone classification, nor does it have a specifically-authorized depreciation rate, for investments related to energy storage.  The Company is requesting authorization to record and depreciate energy storage-related investments by plant function in Federal Energy Regulatory Commission (FERC) Accounts: 348 - Energy Storage Equipment – Production, 351 - Energy Storage Equipment – Transmission, and 363 - Energy Storage Equipment – Distribution.  These accounts were originally established by the FERC in 2013, by Order No. 784, with the primary purpose of accounting for energy storage investments based on how specific assets are used in providing electric service.

Requested Depreciation Parameters

The Company has requested approval of a 10-year average service life (ASL), and a zero percent net salvage level (NS), for depreciating its energy storage equipment.  An annual depreciation rate of 10 percent is computed by using these parameters.

Industry-wide depreciation data and regulatory guidance regarding energy storage equipment is limited.  However, through data request responses, DEF referenced the 2017 FPL petition for similar authority to establish an annual depreciation rate for energy storage equipment.  In that docket, FPL provided documentation detailing regulatory approvals of ASL and NS values similar to its proposals that are applicable to other electric utilities operating in the United States; namely, Consolidated Edison of New York (ConEd) and Pacific Gas & Electric (PG&E).  With respect to the ConEd decision, the New York Public Service Commission authorized an ASL of either 10 or 15 years (depending on the specific project), and a zero percent NS level.  The California Public Utility Commission authorized an ASL of 15 years, and a zero percent NS level applicable to PG&E’s energy storage equipment.

We approved FPL’s petition for approval of a new depreciation class and rate for energy storage equipment in 2017, allowing a 10 percent depreciation rate and zero net salvage for similar equipment.  Additionally, to support these proposed parameters, DEF explained in response to staff’s data request, that the Company held consultations with its engineering subject matter experts, as well as energy storage equipment manufacturers, and industry peers, including FPL, to arrive at the proposed 10-year ASL and zero percent NS level parameter.

Given the fact that utility-scale energy storage equipment/technology is a relatively new technology, we find an ASL at the bottom-end of a 10- to 15-year range represents a measured and reasonable approach in life estimation.  DEF makes clear in its Petition that its request is for accounting purposes only, and will have no impact on base rates during the term of the 2017 Settlement.  We agree.

Further, we will have future opportunities based on existing rules to evaluate DEF’s depreciation data associated with useful lives and net salvage levels and to order modifications as appropriate.  We also find that the Company’s account classifications outlined in its petition, to which any newly-established depreciation rate would apply, comport with recent accounting guidance from the FERC.

For the reasons outlined in this analysis, we hereby approve an annual depreciation rate of 10 percent, applicable to DEF’s newly-established Account 348 - Energy Storage Equipment – Production, Account 351 - Energy Storage Equipment – Transmission, and Account 363 - Energy Storage Equipment – Distribution.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that Duke Energy Florida, LLC’s Petition for Approval of New Depreciation Class and Rate for Energy Storage Equipment is granted and an annual depreciation rate applicable to energy storage equipment of 10 percent is hereby approved.  It is further

ORDERED that the newly-authorized depreciation rate for energy storage equipment applicable to Account 348 - Energy Storage Equipment – Production, Account 351 - Energy Storage Equipment – Transmission, and Account 363 - Energy Storage Equipment – Distribution, shall become effective upon the issuance of a final order in this docket.   It is further

ORDERED that the provisions of this Order, issued as proposed agency action, shall become final and effective upon the issuance of a Consummating Order unless an appropriate petition, in the form provided by Rule 28-106.201, F.A.C., is received by the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on the date set forth in the “Notice of Further Proceedings” attached hereto.  It is further

ORDERED that if no person whose substantial interests are affected by the proposed agency action files a protest within 21 days of the issuance of the order, this docket shall be closed upon the issuance of a Consummating Order.

By ORDER of the Florida Public Service Commission this 24th day of February, 2020.

|  | /s/ Adam J. Teitzman |
| --- | --- |
|  | ADAM J. TEITZMAN Commission Clerk |

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida 32399

(850) 413-6770

www.floridapsc.com

Copies furnished:  A copy of this document is provided to the parties of record at the time of issuance and, if applicable, interested persons.

SBr

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing that is available under Section 120.57, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis.  If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

The action proposed herein is preliminary in nature. Any person whose substantial interests are affected by the action proposed by this order may file a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code.  This petition must be received by the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on March 16, 2020.

In the absence of such a petition, this order shall become final and effective upon the issuance of a Consummating Order.

Any objection or protest filed in this/these docket(s) before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

Code of Federal Regulations, Title 18, Subchapter C, Part 101, for Major Utilities, as revised April 1, 2013.

Order No. PSC-2017-0451-AS-EI, issued November 20, 2017, in Docket No. 20170183-EI, In re: Application for limited proceeding to approve 2017 second revised and restated settlement agreement, including certain rate adjustments, by Duke Energy Florida, LLC.

Document No. 10655-2019, DEF’s Responses to Staff’s First Documents Request, No. 3.

Document No. 10655-2019, DEF’s Responses to Staff’s First Documents Request, Nos. 4 and 6.

Document No. 10655-2019, DEF’s Responses to Staff’s First Documents Request, No. 5.

Order No. PSC-16-0560-AS-EI, issued December 15, 2016, in Docket No. 160021-EI, In re: Petition for rate increase by Florida Power & Light Company; Docket No. 160061-EI, In re: Petition for approval of 2016-2018 storm hardening plan, by Florida Power & Light Company.

U.S. Federal Energy Regulatory Commission, Order No. 784, issued July 18, 2013, in Docket Nos. RM11-24-000 and AD10-13-000, In re: Third-Party Provision of Ancillary Services; Accounting and Financial Reporting for New Electric Storage Technologies.

Rules 25-6.0436(1)(e) and 25-6.0436(1)(m), F.A.C., specify the Commission’s depreciation rate formulae and methodologies.

Document No. 10655-2019, DEF’s Responses to Staff’s First Documents Request, No. 1.

Document No. 05395-2017, in Docket No. 20170097-EI, FPL's Responses to Staff’s First Data Request, No. 8.

State of New York Public Service Commission, Order Approving Electric and Gas Rate Plans, issued January 25, 2017, CASE 16-E-0060, In re: Proceeding on Motion of the Commission as to the Rates, Charges, Rules and Regulations of Consolidated Edison Company of New York, Inc. for Electric Service.

Public Utilities Commission of the State of California, Decision 17-05-013, issued May II, 2017, Application 15-

09-00 I, In re: Application of Pacific Gas and Electric Company for Authority, Among Other Things, to Increase

Rates and Charges for Electric and Gas Service Effective on January I, 2017 (U39M).

Paragraph 27, 2017 Settlement Agreement.

Rule 25-6.0436(4)(a), F.A.C., requires investor-owned electric companies to file a depreciation study for Commission review at least once every four years from submission of the previous study and/or pursuant to Commission order.