## Cross Creek
249/089 (674) Cross Creek - 2019
[7 empty] | Expires: | 2023-04-23
|  | Operating Permit No.: | FLA014505 | [7 empty] | From Historical Data |  |  | Hyperlinks!A1
|  | Plant Permitted Capacity: | 0.249 mdg MMADF | [7 empty] | From Daily Flow Worksheet
|  | Perc Ponds/Surf Discharge: | N/A | [7 empty] | Manual data entry from DMR
|  | Reuse/Public Access: | 0.249 mdg MMADF (R-001)
FLW-1
| Flow FLW-5 (Reuse) |  | CBOD5 |  |  | TSS | pH |  | Fecal Coliform | TRC | Turbidity | CBOD | TSS
| AnAvg. | Mo Avg | An Avg | Mo Avg | Max | Max | Min | Max | Max | Min | Max | INF-1 Mo Avg | INF-1 Mo Avg
| mgd | mgd | mg/L | mg/L | mg/L | mg/L | SU | SU | #/100ml | mg/L | NTU | mg/L | mg/L
Limit | 0.249 | Report | 20 | 30 | 60 | 5 | 6 | 8.5 | 25 | 1 | 2.4 | Report | Report
2019-01-01 | 0.093355 | 0.073129 | 0.16 | 0 | 0 | 0.342 | 7.17 | 7.75 | 0 | 2 | 2.4 | 132 | 248
February | 0.12821 | 0.081893 | 2 | 2 | 2 | 1.2 | 7.152 | 7.6 | 0 | 1.6 | 2.4 | 124 | 211
March | 0.11042 | 0.099097 | 0 | 0 | 0 | 3.3 | 7.28 | 7.71 | 0 | 1.6 | 2.4 | 163 | 239
April | 0.033767 | 0.10835 | 3 | 1.5 | 3 | 0.8 | 7.26 | 7.76 | 0 | 1.6 | 2.4 | 162 | 243
May | 0.024161 | 0.11406 | 2 | 1 | 2 | 1.2 | 7.37 | 7.91 | 0 | 1.6 | 2.4 | 150 | 130
June | 0.12235 | 0.091733 | 1.71 | 1.14 | 2.29 | 0 | 6.99 | 7.72 | 0 | 3.27 | 1.5 | 122 | 162
July | 0.095839 | 0.054452 | 0 | 0 | 0 | 5.5 | 6.52 | 7.1 | 0 | 1.6 | 2.4 | 142 | 61.6
August | 0.092387 | 0.045806 | 0 | 0 | 0 | 3.9 | 6.91 | 7.82 | 0 | 1.6 | 2.4 | 138 | 107
September | 0.077567 | 0.087167 | 0.666 | 4 | 5 | 1.3 | 7.32 | 7.8 | 0 | 1.6 | 2.4 | 82 | 153
October | 0.10119 | 0.166 | 0.232 | 1.66 | 3 | 0.8 | 7.3 | 7.91 | 0 | 1.6 | 2.4 | 187 | 246
November | 0.11127 | 0.1384 | 0.1 | 1 | 2 | 0 | 7.29 | 7.76 | 0 | 1.6 | 2.4 | 145 | 177
December | 0.088032 | 0.088935 | 0.01 | 2 | 1 | 1.9 | 7.91 | 7.1 | 0 | 1.6 | 2.4 | 122 | 183
YTD FlowTotal |  | 1.149
Average | 0.08988 | 0.095753 | 0.82317 | 1.1917 | 1.6908 | 1.6868 | 7.206 | 7.6617 | 0 | 1.7725 | 2.325 | 139.0833 | 180.05
Minimum | 0.024161 | 0.045806 | 0 | 0 | 0 | 0 | 6.52 | 7.1 | 0 | 1.6 | 1.5 | 82 | 61.6
Maximum | 0.12821 | 0.166 | 3 | 4 | 5 | 5.5 | 7.91 | 7.91 | 0 | 3.27 | 2.4 | 187 | 248
Historical Data
| Reuse MoAvg | Reuse 12 MoAvg | CBOD MoAvg | Reuse 3MRA
2018-01-01 | 0.093355 | 0.087562 | 0 | 0.10413
February | 0.12821 | 0.087462 | 3 | 0.11066 | 1 | Copy/Paste Value' the 2018 Historical Data from the 2018 DMR Summaries workbook.
March | 0.11042 | 0.090139 | 0 | 0.0908 | 2 | Enter in the formulas/links into the 2019 Table below and also the formulas in row 36
April | 0.033767 | 0.087445 | 0 | 0.056116
May | 0.024161 | 0.079976 | 1 | 0.056116
June | 0.12235 | 0.081739 | 1 | 0.060094
July | 0.095839 | 0.086736 | 2.5 | 0.080785
August | 0.092387 | 0.091419 | 1.3 | 0.10353
September | 0.077567 | 0.093874 | 2 | 0.088597
October | 0.10119 | 0.090378 | 2 | 0.090382
November | 0.11127 | 0.090048 | 0.66 | 0.096676
December | 0.088032 | 0.08988 | 3 | 0.10016
2019-01-01 | 0.073129 | 0.088194 | 0 | 0.090809
February | 0.081893 | 0.084334 | 2 | 0.084706
March | 0.099097 | 0.083391 | 0 | 0.096448
April | 0.10835 | 0.089606 | 1.5 | 0.10717
May | 0.11406 | 0.097098 | 1 | 0.10717
June | 0.091733 | 0.094546 | 1.14 | 0.10472
July | 0.054452 | 0.091097 | 0 | 0.08675
August | 0.045806 | 0.087216 | 0 | 0.063997
September | 0.087167 | 0.088016 | 4 | 0.062475
October | 0.166 | 0.093416 | 1.66 | 0.099658
November | 0.1384 | 0.095677 | 1 | 0.13052
December | 0.088935 | 0.095753 | 2 | 0.13111
Note on D9: From page 1 of the DMR 'BOD, Carbonaceous 5 day, 20C PARM Code 80082 EFA-1'
Note on G9: From page 1 of the DMR 'Solids, Total Suspended PARM Code 00530 EFB-1'
Note on H9: From page 1 of the DMR 'pH PARM Code 00400 EFA-1'
Note on J9: From page 1 of the DMR Coliform, Fecal PARM Code 74055 EFA-1'
Note on K9: From page 2 of the DMR 'Total Residual Chlorine (For disinfection) PARM Code 50060 EFA-1'
Note on L9: From page 2 of the DMR 'Turbidity PARM Code 00070 EFB-1
Note on M9: From page 3 of the DMR 'BOD, Carbonaceous 5 day, 20C PARM Code 80082 INF-1'
Note on N9: From page 3 of the DMR 'Solids, Total Suspended PARM Code 00530 INF-1'

## Cross Creek Flow Summary
2019 Cross Creek - DMR Flow Summary | [5 empty] | Hyperlinks!A1
FLW-5 (Golf Course Meter)
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0.072 | 0.043 | 0.112 | 0.024 | 0.066 | 0.128 | 0.041 | 0.137 | 0.023 | 0.088 | 0.101 | 0.063 | 0.121 | 0.059 | 0.073 | 0.081 | 0.063 | 0.107 | 0.059 | 0.043 | 0.112 | 0.189 | 0.042 | 0.112 | 0.038 | 0.14 | 0 | 0 | 0.036 | 0.018 | 0.076 | 2.267 | 0.073129 | 0.189
February | 0.14 | 0.104 | 0.087 | 0.016 | 0.216 | 0.089 | 0.047 | 0.122 | 0.029 | 0.131 | 0.079 | 0.087 | 0.069 | 0 | 0 | 0.049 | 0.123 | 0.196 | 0.057 | 0.02 | 0.118 | 0.149 | 0.033 | 0.088 | 0.116 | 0.128 | 0 | 0 |  |  |  | 2.293 | 0.081893 | 0.216
March | 0.163 | 0.108 | 0.047 | 0.063 | 0.102 | 0.088 | 0.171 | 0.043 | 0.01 | 0.067 | 0.128 | 0.153 | 0.161 | 0.097 | 0.022 | 0.159 | 0.123 | 0.074 | 0.062 | 0.193 | 0.187 | 0.057 | 0.013 | 0.022 | 0.096 | 0.108 | 0.163 | 0.124 | 0.118 | 0.097 | 0.053 | 3.072 | 0.099097 | 0.193
April | 0.126 | 0.141 | 0.038 | 0.01 | 0.196 | 0.184 | 0.027 | 0.094 | 0.163 | 0.079 | 0.122 | 0 | 0.018 | 0.127 | 0.159 | 0.088 | 0.131 | 0.178 | 0 | 0.121 | 0.163 | 0.107 | 0.043 | 0.129 | 0.188 | 0.042 | 0.193 | 0.114 | 0.157 | 0.168 | 0.053 | 3.359 | 0.10835 | 0.196
May | 0.143 | 0.206 | 0.178 | 0.064 | 0.112 | 0.039 | 0.074 | 0.129 | 0.174 | 0.055 | 0.118 | 0.131 | 0.179 | 0.041 | 0 | 0.111 | 0.227 | 0.116 | 0.143 | 0.012 | 0.108 | 0.144 | 0.193 | 0.077 | 0.064 | 0.127 | 0.183 | 0.141 | 0.029 | 0.077 | 0.141 | 3.536 | 0.11406 | 0.227
June | 0.047 | 0.078 | 0.189 | 0.216 | 0.018 | 0.041 | 0.136 | 0.158 | 0.207 | 0.01 | 0.017 | 0.038 | 0.111 | 0.017 | 0.055 | 0.122 | 0.193 | 0.063 | 0.014 | 0.029 | 0.01 | 0.027 | 0.116 | 0.183 | 0.191 | 0.206 | 0.014 | 0.01 | 0.218 | 0.018 |  | 2.752 | 0.091733 | 0.218
July | 0.048 | 0.039 | 0.106 | 0.01 | 0.031 | 0.042 | 0 | 0 | 0.134 | 0.112 | 0.118 | 0.019 | 0.063 | 0.011 | 0.041 | 0.102 | 0.073 | 0.099 | 0.014 | 0.027 | 0.081 | 0.077 | 0 | 0 | 0.01 | 0.036 | 0.039 | 0.087 | 0.141 | 0.118 | 0.01 | 1.688 | 0.054452 | 0.141
August | 0.041 | 0.136 | 0.081 | 0 | 0 | 0.014 | 0.031 | 0.128 | 0.141 | 0.161 | 0.088 | 0.01 | 0.038 | 0.104 | 0 | 0.01 | 0.01 | 0 | 0.024 | 0.131 | 0.108 | 0.087 | 0.053 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.014 | 0 | 1.42 | 0.045806 | 0.161
September | 0.053 | 0.01 | 0 | 0.054 | 0.138 | 0.075 | 0.082 | 0.101 | 0.098 | 0.105 | 0.087 | 0.14 | 0.11 | 0.125 | 0.091 | 0.125 | 0.11 | 0.066 | 0.102 | 0.115 | 0.097 | 0.088 | 0.105 | 0.088 | 0.12 | 0.11 | 0.121 | 0.099 | 0 | 0 |  | 2.615 | 0.087167 | 0.14
October | 0.028 | 0.107 | 0.11 | 0.114 | 0.125 | 0.096 | 0 | 1.347 | 0 | 0 | 0.359 | 0.27 | 0.228 | 0.102 | 0.109 | 0.242 | 0 | 0.412 | 0.145 | 0 | 0 | 0.084 | 0.155 | 0.089 | 0.298 | 0.054 | 0.09 | 0.115 | 0.15 | 0.148 | 0.169 | 5.146 | 0.166 | 1.347
November | 0.177 | 0.149 | 0.16 | 0.139 | 0.159 | 0.175 | 0.191 | 0.134 | 0.145 | 0.127 | 0.16 | 0.148 | 0.155 | 0.126 | 0.121 | 0 | 0.014 | 0.107 | 0 | 0.332 | 0 | 0.28 | 0 | 0.313 | 0.135 | 0.147 | 0 | 0 | 0.417 | 0.141 |  | 4.152 | 0.1384 | 0.417
December | 0.106 | 0.108 | 0.133 | 0 | 0.257 | 0.117 | 0.163 | 0.103 | 0.089 | 0 | 0.387 | 0 | 0 | 0.218 | 0.027 | 0.055 | 0 | 0.284 | 0 | 0.127 | 0 | 0.131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.452 | 2.757 | 0.088935 | 0.452
FLW-1 (Plant)
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0.071 | 0.068 | 0.069 | 0.071 | 0.075 | 0.077 | 0.059 | 0.085 | 0.074 | 0.078 | 0.077 | 0.083 | 0.082 | 0.081 | 0.079 | 0.079 | 0.079 | 0.083 | 0.064 | 0.09 | 0.093 | 0.078 | 0.089 | 0.082 | 0.08 | 0.091 | 0.091 | 0.092 | 0.092 | 0.09 | 0.082 | 2.484 | 0.080129 | 0.093
February | 0.085 | 0.077 | 0.094 | 0.095 | 0.092 | 0.09 | 0.085 | 0.09 | 0.087 | 0.081 | 0.052 | 0.133 | 0.076 | 0.09 | 0.089 | 0.096 | 0.097 | 0.1 | 0.092 | 0.103 | 0.105 | 0.077 | 0.078 | 0.091 | 0.086 | 0.072 | 0.084 | 0.104 |  |  |  | 2.501 | 0.089321 | 0.133
March | 0.121 | 0.093 | 0.093 | 0.086 | 0.085 | 0.083 | 0.08 | 0.086 | 0.089 | 0.088 | 0.078 | 0.122 | 0.119 | 0.131 | 0.098 | 0.091 | 0.086 | 0.155 | 0.098 | 0.079 | 0.085 | 0.084 | 0.085 | 0.103 | 0.089 | 0.083 | 0.084 | 0.078 | 0.079 | 0.084 | 0.081 | 2.896 | 0.093419 | 0.155
April | 0.083 | 0.075 | 0.076 | 0.062 | 0.071 | 0.073 | 0.068 | 0.059 | 0.06 | 0.07 | 0.052 | 0.061 | 0.069 | 0.068 | 0.062 | 0.061 | 0.061 | 0.072 | 0.053 | 0.06 | 0.063 | 0.064 | 0.064 | 0.061 | 0.06 | 0.051 | 0.057 | 0.054 | 0.058 | 0.052 | 0.081 | 1.981 | 0.063903 | 0.083
May | 0.05 | 0.044 | 0.049 | 0.045 | 0.05 | 0.044 | 0.042 | 0.046 | 0.049 | 0.054 | 0.047 | 0.044 | 0.048 | 0.045 | 0.044 | 0.038 | 0.041 | 0.043 | 0.044 | 0.039 | 0.037 | 0.036 | 0.033 | 0.032 | 0.036 | 0.034 | 0.035 | 0.035 | 0.037 | 0.035 | 0.037 | 1.293 | 0.04171 | 0.054
June | 0.033 | 0.037 | 0.036 | 0.032 | 0.035 | 0.03 | 0.032 | 0.032 | 0.041 | 0.031 | 0.033 | 0.033 | 0.11 | 0.027 | 0.035 | 0.037 | 0.044 | 0.037 | 0.032 | 0.029 | 0.032 | 0.035 | 0.036 | 0.031 | 0.061 | 0.04 | 0.033 | 0.038 | 0.016 | 0.075 |  | 1.153 | 0.038433 | 0.11
July | 0.108 | [28 empty] | 0.038 | 0.035 | 0.181 | 0.060333 | 0.108
August | 0.048 | 0.034 | 0.04 | 0.043 | 0.051 | 0.05 | 0.039 | 0.033 | 0.035 | 0.036 | 0.041 | 0.043 | 0.038 | 0.042 | 0.04 | 0.034 | 0.038 | 0.036 | 0.04 | 0.154 | 0.06 | 0.034 | 0.036 | 0.037 | 0.038 | 0.041 | 0.035 | 0.036 | 0.041 | 0.035 | 0.034 | 1.342 | 0.04329 | 0.154
September | 0.034 | 0.037 | 0.036 | 0.035 | 0.028 | 0.031 | 0.032 | 0.034 | 0.022 | 0.042 | 0.038 | 0.037 | 0.031 | 0.035 | 0.045 | 0.082 | 0.001 | 0.021 | 0.036 | 0.037 | 0.034 | 0.037 | 0.018 | 0.032 | 0.033 | 0.032 | 0.032 | 0.054 | 0.07 | 0.105 |  | 1.141 | 0.038033 | 0.105
October | 0.001 | 0 | 0.017 | 0.045 | 0.046 | 0.046 | 0.049 | 0.052 | 0.045 | 0.048 | 0.047 | 0.047 | 0.051 | 0.051 | 0.048 | 0.05 | 0.047 | 0.05 | 0.052 | 0.051 | 0.052 | 0.049 | 0.049 | 0.054 | 0.055 | 0.054 | 0.056 | 0.054 | 0.051 | 0.052 | 0.053 | 1.422 | 0.045871 | 0.056
November | 0.051 | 0.061 | 0.06 | 0.064 | 0.054 | 0.055 | 0.06 | 0.047 | 0.059 | 0.061 | 0.061 | 0.058 | 0.058 | 0.059 | 0.063 | 0.057 | 0.058 | 0.076 | 0.046 | 0.057 | 0.058 | 0.058 | 0.063 | 0.06 | 0.063 | 0.056 | 0.057 | 0.059 | 0.056 | 0.057 |  | 1.752 | 0.0584 | 0.076
December | 0.064 | 0.059 | 0.064 | 0.052 | 0.053 | 0.052 | 0.061 | 0.056 | 0.054 | 0.058 | 0.056 | 0.057 | 0.051 | 0.055 | 0.054 | 0.062 | 0.052 | 0.046 | 0.058 | 0.05 | 0.057 | 0.069 | 0.064 | 0.066 | 0.059 | 0.065 | 0.067 | 0.068 | 0.067 | 0.067 | 0.072 | 1.835 | 0.059194 | 0.072
FLW-2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0.071 | 0.068 | 0.069 | 0.071 | 0.075 | 0.077 | 0.059 | 0.085 | 0.074 | 0.078 | 0.077 | 0.083 | 0.082 | 0.081 | 0.079 | 0.079 | 0.079 | 0.083 | 0.064 | 0.09 | 0.093 | 0.078 | 0.089 | 0.082 | 0.08 | 0.091 | 0.091 | 0.092 | 0.092 | 0.09 | 0.082 | 2.484 | 0.080129 | 0.093
February | 0.085 | 0.077 | 0.084 | 0.085 | 0.082 | 0.09 | 0.085 | 0.09 | 0.087 | 0.081 | 0.052 | 0.133 | 0.076 | 0.09 | 0.089 | 0.096 | 0.097 | 0.1 | 0.08 | 0.103 | 0.095 | 0.077 | 0.078 | 0.091 | 0.086 | 0.072 | 0.084 | 0.104 |  |  |  | 2.449 | 0.087464 | 0.133
March | 0.121 | 0.093 | 0.093 | 0.086 | 0.085 | 0.083 | 0.08 | 0.086 | 0.089 | 0.088 | 0.078 | 0.122 | 0.119 | 0.131 | 0.098 | 0.091 | 0.086 | 0.155 | 0.098 | 0.079 | 0.085 | 0.084 | 0.085 | 0.103 | 0.089 | 0.083 | 0.084 | 0.078 | 0.079 | 0.084 | 0.081 | 2.896 | 0.093419 | 0.155
April | 0.083 | 0.075 | 0.076 | 0.062 | 0.071 | 0.073 | 0.068 | 0.059 | 0.06 | 0.07 | 0.052 | 0.061 | 0.069 | 0.068 | 0.062 | 0.061 | 0.061 | 0.072 | 0.053 | 0.06 | 0.063 | 0.064 | 0.064 | 0.061 | 0.06 | 0.051 | 0.057 | 0.054 | 0.058 | 0.052 | 0.081 | 1.981 | 0.063903 | 0.083
May | 0.05 | 0.044 | 0.049 | 0.045 | 0.05 | 0.044 | 0.042 | 0.046 | 0.049 | 0.054 | 0.047 | 0.044 | 0.048 | 0.045 | 0.044 | 0.038 | 0.041 | 0.043 | 0.044 | 0.039 | 0.037 | 0.036 | 0.033 | 0.032 | 0.036 | 0.034 | 0.035 | 0.035 | 0.037 | 0.035 | 0.037 | 1.293 | 0.04171 | 0.054
June | 0.033 | 0.037 | 0.036 | 0.032 | 0.035 | 0.03 | 0.032 | 0.032 | 0.041 | 0.031 | 0.033 | 0.033 | 0.11 | 0.027 | 0.035 | 0.037 | 0.044 | 0.037 | 0.032 | 0.029 | 0.032 | 0.035 | 0.036 | 0.031 | 0.061 | 0.04 | 0.033 | 0.038 | 0.016 | 0.075 |  | 1.153 | 0.038433 | 0.11
July | 0.108 | [28 empty] | 0 | 0 | 0.108 | 0.036 | 0.108
August | 0 | 0 | 0.04 | 0.043 | 0.051 | 0.05 | 0.039 | 0.033 | 0.035 | 0.036 | 0.041 | 0.043 | 0.038 | 0.042 | 0.04 | 0.034 | 0.038 | 0.036 | 0.03 | 0.154 | 0.055 | 0.029 | 0.036 | 0.037 | 0.038 | 0.041 | 0.035 | 0.035 | 0.041 | 0.034 | 0.034 | 1.238 | 0.039935 | 0.154
September | 0.034 | 0.037 | 0.036 | 0.035 | 0.028 | 0.031 | 0.032 | 0.034 | 0.022 | 0.042 | 0.038 | 0.037 | 0.031 | 0.035 | 0.045 | 0.082 | 0.001 | 0.021 | 0.036 | 0.037 | 0.034 | 0.037 | 0.018 | 0.032 | 0.033 | 0.032 | 0.032 | 0.054 | 0.07 | 0.105 |  | 1.141 | 0.038033 | 0.105
October | 0.001 | 0 | 0.017 | 0.045 | 0.046 | 0.046 | 0.049 | 0.052 | 0.045 | 0.048 | 0.047 | 0.047 | 0.051 | 0.051 | 0.048 | 0.05 | 0.047 | 0.05 | 0.052 | 0.051 | 0.052 | 0.049 | 0.049 | 0.054 | 0.055 | 0.054 | 0.056 | 0.054 | 0.051 | 0.052 | 0.053 | 1.422 | 0.045871 | 0.056
November | 0.051 | 0.061 | 0.06 | 0.064 | 0.054 | 0.055 | 0.06 | 0.047 | 0.059 | 0.061 | 0.061 | 0.058 | 0.058 | 0.059 | 0.063 | 0.057 | 0.058 | 0.076 | 0.046 | 0.057 | 0.058 | 0.058 | 0.063 | 0.06 | 0.063 | 0.056 | 0.057 | 0.059 | 0.056 | 0.057 |  | 1.752 | 0.0584 | 0.076
December | 0.064 | 0.059 | 0.064 | 0.052 | 0.053 | 0.052 | 0.061 | 0.056 | 0.054 | 0.058 | 0.056 | 0.057 | 0.051 | 0.055 | 0.054 | 0.062 | 0.052 | 0.046 | 0.058 | 0.05 | 0.057 | 0.069 | 0.064 | 0.066 | 0.059 | 0.065 | 0.067 | 0.068 | 0.067 | 0.067 | 0.072 | 1.835 | 0.059194 | 0.072
FLW-3
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0.071 | 0.068 | 0.069 | 0.071 | 0.075 | 0.077 | 0.059 | 0.085 | 0.074 | 0.078 | 0.077 | 0.083 | 0.082 | 0.081 | 0.079 | 0.079 | 0.079 | 0.083 | 0.064 | 0.09 | 0.093 | 0.078 | 0.089 | 0.082 | 0.08 | 0.091 | 0.091 | 0.092 | 0.092 | 0.09 | 0.082 | 2.484 | 0.080129 | 0.093
February | 0.085 | 0.077 | 0.084 | 0.085 | 0.082 | 0.09 | 0.085 | 0.09 | 0.087 | 0.081 | 0.052 | 0.133 | 0.076 | 0.09 | 0.089 | 0.096 | 0.097 | 0.1 | 0.08 | 0.103 | 0.095 | 0.077 | 0.078 | 0.091 | 0.086 | 0.072 | 0.084 | 0.104 |  |  |  | 2.449 | 0.087464 | 0.133
March | 0.121 | 0.093 | 0.093 | 0.086 | 0.085 | 0.083 | 0.08 | 0.086 | 0.089 | 0.088 | 0.078 | 0.122 | 0.119 | 0.131 | 0.098 | 0.091 | 0.086 | 0.155 | 0.098 | 0.079 | 0.085 | 0.084 | 0.085 | 0.103 | 0.089 | 0.083 | 0.084 | 0.078 | 0.079 | 0.084 | 0.081 | 2.896 | 0.093419 | 0.155
April | 0.083 | 0.075 | 0.076 | 0.062 | 0.071 | 0.073 | 0.068 | 0.059 | 0.06 | 0.07 | 0.052 | 0.061 | 0.069 | 68 | 0.062 | 0.061 | 0.061 | 0.072 | 0.053 | 0.06 | 0.063 | 0.064 | 0.064 | 0.061 | 0.06 | 0.051 | 0.057 | 0.054 | 0.058 | 0.052 | 0.081 | 69.913 | 2.2553 | 68
May | 0.05 | 0.044 | 0.049 | 0.045 | 0.05 | 0.044 | 0.042 | 0.046 | 0.049 | 0.054 | 0.047 | 0.044 | 0.048 | 0.045 | 0.044 | 0.038 | 0.041 | 0.043 | 0.044 | 0.039 | 0.037 | 0.036 | 0.033 | 0.032 | 0.036 | 0.034 | 0.035 | 0.035 | 0.037 | 0.035 | 0.037 | 1.293 | 0.04171 | 0.054
June | 0.033 | 0.037 | 0.036 | 0.032 | 0.035 | 0.03 | 0.032 | 0.032 | 0.041 | 0.031 | 0.033 | 0.033 | 0.11 | 0.027 | 0.035 | 0.037 | 0.044 | 0.037 | 0.032 | 0.029 | 0.032 | 0.035 | 0.036 | 0.031 | 0.061 | 0.04 | 0.033 | 0.038 | 0.016 | 0.075 |  | 1.153 | 0.038433 | 0.11
July | 0.108 | [28 empty] | 0 | 0 | 0.108 | 0.036 | 0.108
August | 0 | 0 | 0.04 | 0.043 | 0.051 | 0.05 | 0.039 | 0.033 | 0.035 | 0.036 | 0.041 | 0.043 | 0.038 | 0.042 | 0.04 | 0.034 | 0.038 | 0.036 | 0.03 | 0.154 | 0.055 | 0.029 | 0.036 | 0.037 | 0.038 | 0.041 | 0.035 | 0.035 | 0.041 | 0.034 | 0.034 | 1.238 | 0.039935 | 0.154
September | 0.034 | 0.037 | 0.035 | 0.032 | 0.027 | 0.031 | 0.032 | 0.034 | 0.022 | 0.042 | 0.038 | 0.037 | 0.031 | 0.035 | 0.045 | 0.082 | 0.001 | 0.021 | 0.036 | 0.037 | 0.034 | 0.037 | 0.018 | 0.032 | 0.033 | 0.032 | 0.032 | 0.054 | 0.07 | 0.105 |  | 1.136 | 0.037867 | 0.105
October | 0.001 | 0 | 0.017 | 0.045 | 0.046 | 0.046 | 0.049 | 0.052 | 0.045 | 0.048 | 0.047 | 0.047 | 0.051 | 0.051 | 0.048 | 0.05 | 0.047 | 0.05 | 0.052 | 0.051 | 0.052 | 0.049 | 0.049 | 0.054 | 0.055 | 0.054 | 0.056 | 0.054 | 0.051 | 0.052 | 0.053 | 1.422 | 0.045871 | 0.056
November | 0.051 | 0.061 | 0.06 | 0.064 | 0.054 | 0.055 | 0.06 | 0.047 | 0.059 | 0.061 | 0.061 | 0.058 | 0.058 | 0.059 | 0.063 | 0.057 | 0.058 | 0.076 | 0.046 | 0.057 | 0.058 | 0.058 | 0.063 | 0.06 | 0.063 | 0.056 | 0.057 | 0.059 | 0.056 | 0.057 |  | 1.752 | 0.0584 | 0.076
December | 0.064 | 0.059 | 0.064 | 0.052 | 0.053 | 0.052 | 0.061 | 0.056 | 0.054 | 0.058 | 0.056 | 0.057 | 0.051 | 0.055 | 0.046 | 0.062 | 0.052 | 0.046 | 0.058 | 0.05 | 0.057 | 0.069 | 0.064 | 0.066 | 0.049 | 0.065 | 0.067 | 0.068 | 0.067 | 0.067 | 0.072 | 1.817 | 0.058613 | 0.072
FLW-4
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.012 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0.052 | 0.0018571 | 0.012
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.003 | 0.047 | 0.038 | 0.035 | 0.123 | 0.0039677 | 0.047
August | 0.048 | 0.034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0.005 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0.001 | 0 | 0.104 | 0.0033548 | 0.048
September | 0 | 0 | 0.001 | 0.003 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.005 | 0.00016667 | 0.003
October | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.00064516 | 0.01
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.00064516 | 0.01
[13 empty] | 1 | 2 | 3 | 4 | 5
|  | FLW-1 |  | FLW-2 |  | FLW-3 |  | FLW-4 |  | FLW-5 |  |  | 0.064 | 0.064 | 0.064 | 0 | 0.106
1 | 51 | 0.051 | 51 | 0.051 | 51 | 0.051 | 0 | 0 | 177 | 0.177 |  |  | 0.059 | 0.059 | 0.059 | 0 | 0.108
2 | 61 | 0.061 | 61 | 0.061 | 61 | 0.061 | 0 | 0 | 149 | 0.149 |  |  | 0.064 | 0.064 | 0.064 | 0 | 0.133
3 | 60 | 0.06 | 60 | 0.06 | 60 | 0.06 | 0 | 0 | 160 | 0.16 |  |  | 0.052 | 0.052 | 0.052 | 0 | 0
4 | 64 | 0.064 | 64 | 0.064 | 64 | 0.064 | 0 | 0 | 139 | 0.139 |  |  | 0.053 | 0.053 | 0.053 | 0 | 0.257
5 | 54 | 0.054 | 54 | 0.054 | 54 | 0.054 | 0 | 0 | 159 | 0.159 |  |  | 0.052 | 0.052 | 0.052 | 0 | 0.117
6 | 55 | 0.055 | 55 | 0.055 | 55 | 0.055 | 0 | 0 | 175 | 0.175 |  |  | 0.061 | 0.061 | 0.061 | 0 | 0.163
7 | 60 | 0.06 | 60 | 0.06 | 60 | 0.06 | 0 | 0 | 191 | 0.191 |  |  | 0.056 | 0.056 | 0.056 | 0 | 0.103
8 | 47 | 0.047 | 47 | 0.047 | 47 | 0.047 | 0 | 0 | 134 | 0.134 |  |  | 0.054 | 0.054 | 0.054 | 0 | 0.089
9 | 59 | 0.059 | 59 | 0.059 | 59 | 0.059 | 0 | 0 | 145 | 0.145 |  |  | 0.058 | 0.058 | 0.058 | 0 | 0
10 | 61 | 0.061 | 61 | 0.061 | 61 | 0.061 | 0 | 0 | 127 | 0.127 |  |  | 0.056 | 0.056 | 0.056 | 0 | 0.387
11 | 61 | 0.061 | 61 | 0.061 | 61 | 0.061 | 0 | 0 | 160 | 0.16 |  |  | 0.057 | 0.057 | 0.057 | 0 | 0
12 | 58 | 0.058 | 58 | 0.058 | 58 | 0.058 | 0 | 0 | 148 | 0.148 |  |  | 0.051 | 0.051 | 0.051 | 0 | 0
13 | 58 | 0.058 | 58 | 0.058 | 58 | 0.058 | 0 | 0 | 155 | 0.155 |  |  | 0.055 | 0.055 | 0.055 | 0 | 0.218
14 | 59 | 0.059 | 59 | 0.059 | 59 | 0.059 | 0 | 0 | 126 | 0.126 |  |  | 0.054 | 0.054 | 0.046 | 0.01 | 0.027
15 | 63 | 0.063 | 63 | 0.063 | 63 | 0.063 | 0 | 0 | 121 | 0.121 |  |  | 0.062 | 0.062 | 0.062 | 0 | 0.055
16 | 57 | 0.057 | 57 | 0.057 | 57 | 0.057 | 0 | 0 | 0 | 0 |  |  | 0.052 | 0.052 | 0.052 | 0 | 0
17 | 58 | 0.058 | 58 | 0.058 | 58 | 0.058 | 0 | 0 | 14 | 0.014 |  |  | 0.046 | 0.046 | 0.046 | 0 | 0.284
18 | 76 | 0.076 | 76 | 0.076 | 76 | 0.076 | 0 | 0 | 107 | 0.107 |  |  | 0.058 | 0.058 | 0.058 | 0 | 0
19 | 46 | 0.046 | 46 | 0.046 | 46 | 0.046 | 0 | 0 | 0 | 0 |  |  | 0.05 | 0.05 | 0.05 | 0 | 0.127
20 | 57 | 0.057 | 57 | 0.057 | 57 | 0.057 | 0 | 0 | 332 | 0.332 |  |  | 0.057 | 0.057 | 0.057 | 0 | 0
21 | 58 | 0.058 | 58 | 0.058 | 58 | 0.058 | 0 | 0 | 0 | 0 |  |  | 0.069 | 0.069 | 0.069 | 0 | 0.131
22 | 58 | 0.058 | 58 | 0.058 | 58 | 0.058 | 0 | 0 | 280 | 0.28 |  |  | 0.064 | 0.064 | 0.064 | 0 | 0
23 | 63 | 0.063 | 63 | 0.063 | 63 | 0.063 | 0 | 0 | 0 | 0 |  |  | 0.066 | 0.066 | 0.066 | 0 | 0
24 | 60 | 0.06 | 60 | 0.06 | 60 | 0.06 | 0 | 0 | 313 | 0.313 |  |  | 0.059 | 0.059 | 0.049 | 0.01 | 0
25 | 63 | 0.063 | 63 | 0.063 | 63 | 0.063 | 0 | 0 | 135 | 0.135 |  |  | 0.065 | 0.065 | 0.065 | 0 | 0
26 | 56 | 0.056 | 56 | 0.056 | 56 | 0.056 | 0 | 0 | 147 | 0.147 |  |  | 0.067 | 0.067 | 0.067 | 0 | 0
27 | 57 | 0.057 | 57 | 0.057 | 57 | 0.057 | 0 | 0 | 0 | 0 |  |  | 0.068 | 0.068 | 0.068 | 0 | 0
28 | 59 | 0.059 | 59 | 0.059 | 59 | 0.059 | 0 | 0 | 0 | 0 |  |  | 0.067 | 0.067 | 0.067 | 0 | 0
29 | 56 | 0.056 | 56 | 0.056 | 56 | 0.056 | 0 | 0 | 417 | 0.417 |  |  | 0.067 | 0.067 | 0.067 | 0 | 0
30 | 57 | 0.057 | 57 | 0.057 | 57 | 0.057 | 0 | 0 | 141 | 0.141 |  |  | 0.072 | 0.072 | 0.072 | 0 | 0.452
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1.835 | 1.835 | 1.817 | 0.02 | 2.757
Totals |  | 1.752 |  | 1.752 |  | 1.752 |  | 0 |  | 4.152
|  | 0.004 |  |  |  | Totals shown on DMR Part B