## Lincoln Heights
252/344 (614) - Lincoln Heights - 2019
Hyperlinks!A1
Purchased Sewer
| Lincoln Heights Meter#1906-100/50879722 6" City of Sanford Utility Department - Acct # 331330-227425 | [6 empty] | UIF Meter Reads vs. City of Sanford Invoicing
| Previous Read Date | Current Read Date | Billing Days | Previous Meter Read | Current Meter Read | Consump-tion | Daily Avg. | Previous Read Date | Previous Meter Read | Current Read Date | Current Meter Read | UIF Total | UIF Cust. Billed | Flow - Billed (M) - (N) | I&I %
2018-12-01 |  | 2018-12-17 |  |  | 105879
2019-01-01 | 2018-12-17 | 2019-01-15 | 29 | 105879 | 109158 | 3.279 |  |  |  |  | 108589.2 | 2.861 | 2.4422 | 0.41873 | 14.64%
February | 2019-01-15 | 2019-02-14 | 30 | 109158 | 110487 | 1.329 |  |  |  |  | 110303.9 | 2.1212 | 1.1053 | 1.0158 | 47.89%
March | 2019-02-14 | 2019-03-13 | 27 | 110487 | 112545 | 2.058 |  |  |  |  | 112398.6 | 2.0904 | 1.2183 | 0.87206 | 41.72%
April | 2019-03-13 | 2019-04-15 | 33 | 112545 | 114607 | 2.062 |  |  |  |  | 114599.4 | 1.9299 | 1.2477 | 0.68214 | 35.35%
May | 2019-04-15 | 2019-05-14 | 29 | 114607 | 116387 | 1.78 |  |  |  |  | 116763.9 | 1.8631 | 1.2154 | 0.64774 | 34.77%
June | 2019-05-14 | 2019-06-17 | 34 | 116387 | 118337 | 1.95 |  |  |  |  | 118346.9 | 1.7828 | 1.2807 | 0.50207 | 28.16%
July | 2019-06-17 | 2019-07-16 | 29 | 118337 | 119924 | 1.587 |  |  |  |  | 1183469 | 1.0413 | 1.1343 | -0.09301 | -8.933%
August | 2019-07-16 | 2019-08-20 | 35 | 119924 | 121810 | 1.886 |  |  |  |  | Estimated | 1.364 | 1.2704 | 0.0936 | 6.862%
September | 2019-08-20 | 2019-09-16 | 27 | 121810 | 123486 | 1.676 |  |  |  |  | Estimated | 2.5556 | 1.3744 | 1.1812 | 46.22%
October | 2019-09-16 | 2019-10-18 | 32 | 123486 | 124453 | 0.967 |  |  |  |  | Estimated | 1.3494 | 1.1674 | 0.18206 | 13.49%
November | 2019-10-18 | 2019-11-14 | 27 | 124453 | 125420 | 0.967 |  |  |  |  | New Meter | 0.83672 | 1.2034 | -0.36666 | -43.82%
December | 2019-11-14 | 2019-12-12 | 28 | 125420 | 326 | 0.326 |  |  |  |  | New read 165 | 0.39173 | 1.2403 | -0.84854 | -216.6%
[5 empty] | YTD Total | 19.867 | YTD |  |  |  | YTD Total | 20.187 | 15.8998
(Billing cycle for sewer purchased is the 4th - 6th of the month following the read date)
Formulas:
Previous Read Date = [Current Read Date, row above]
Note on A9: Jacquee Chandler: Dec, and Jan need to be reread by City. Waiting on reply from Sanford. 03/08/2018
Note on A19: Jacquee Chandler: CORRECTED BILL
Note on A20: Jacquee Chandler: CORRECTED BILL
Note on F8: Meter resets at 10000
Note on G10: Jacquee Chandler: adjustment to flow per City 2.271 gallons.
Note on O17: Jacquee Chandler: Meter was broken, new read after replaced broken parts was obtain 09-13-19 at 1221472
Note on O18: Jacquee Chandler: Meter out of service 10-11-19 tested at 68.47% OVER actual. New meter on order. City notified.

## Lcln Hghts Flow Summary
2019 Lincoln Heights Flow Summary | [5 empty] | Hyperlinks!A1
Lincoln Heights Flow Meter Reads |  |  |  | Prev Dec Read | 1065384
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
2019-01-01 | [21 empty] | 1085892 |  |  |  | 1090280
February |  |  |  | 1096664 | [7 empty] | 1103039 | [6 empty] | 1108915 | [7 empty] | 1114078
March |  |  |  | 1118900 | [6 empty] | 1123986 | [14 empty] | 1132598
April | [14 empty] | 1145994 | [6 empty] | 1150439
May | 1155845 |  |  |  |  | 1158739 | [14 empty] | 1167639 | [9 empty] | 1173879
June |  |  | 1175437 |  | 1176432 |  |  |  |  | 1178978 | [6 empty] | 1183469 |  | 1184511 |  | 1185906
July |  |  | 1193630 | [8 empty] | 1193759
August
September | [12 empty] | 1221472 | [6 empty] | 1231221
October | [10 empty] | 1252400
November | [19 empty] | 165000 | 559836
December | [18 empty] | 652286 | [10 empty] | 955344
Lincoln Heights Flows
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg | Max
2019-01-01 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.093227 | 0.10975 | 0.10975 | 0.10975 | 0.10975 | 0.10975 | 0.070889 | 0.070889 | 0.070889 | 0.070889 | 0.070889 | 2.861 | 0.092289 | 0.10975
February | 0.070889 | 0.070889 | 0.070889 | 0.070889 | 0.079625 | 0.079625 | 0.079625 | 0.079625 | 0.079625 | 0.079625 | 0.079625 | 0.079625 | 0.084 | 0.084 | 0.084 | 0.084 | 0.084 | 0.084 | 0.084 | 0.0645 | 0.0645 | 0.0645 | 0.0645 | 0.0645 | 0.0645 | 0.0645 | 0.0645 | 0.0966 |  |  |  | 2.1212 | 0.075756 | 0.0966
March | 0.0966 | 0.0966 | 0.0966 | 0.0966 | 0.072571 | 0.072571 | 0.072571 | 0.072571 | 0.072571 | 0.072571 | 0.072571 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.0574 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 2.0904 | 0.067432 | 0.0966
April | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.067 | 0.063429 | 0.063429 | 0.063429 | 0.063429 | 0.063429 | 0.063429 | 0.063429 | 0.060111 | 0.060111 | 0.060111 | 0.060111 | 0.060111 | 0.060111 | 0.060111 | 0.060111 |  | 1.9299 | 0.06433 | 0.067
May | 0.060111 | 0.0578 | 0.0578 | 0.0578 | 0.0578 | 0.0578 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.059333 | 0.0624 | 0.0624 | 0.0624 | 0.0624 | 0.0624 | 0.0624 | 0.0624 | 0.0624 | 0.0624 | 0.0624 | 1.8631 | 0.0601 | 0.0624
June | 0.052 | 0.052 | 0.052 | 0.05 | 0.05 | 0.0508 | 0.0508 | 0.0508 | 0.0508 | 0.0508 | 0.064143 | 0.064143 | 0.064143 | 0.064143 | 0.064143 | 0.064143 | 0.064143 | 0.0525 | 0.0525 | 0.0695 | 0.0695 | 0.064417 | 0.064417 | 0.064417 | 0.064417 | 0.064417 | 0.064417 | 0.064417 | 0.064417 | 0.064417 |  | 1.7828 | 0.059425 | 0.0695
July | 0.064417 | 0.064417 | 0.064417 | 0.0013333 | 0.0013333 | 0.0013333 | 0.0013333 | 0.0013333 | 0.0013333 | 0.0013333 | 0.0013333 | 0.0013333 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 1.0413 | 0.033589 | 0.064417
August | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 1.364 | 0.044 | 0.044
September | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.13929 | 0.13929 | 0.13929 | 0.13929 | 0.13929 | 0.13929 | 0.13929 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 |  | 2.5556 | 0.085186 | 0.13929
October | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.10086 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 1.3494 | 0.04353 | 0.10086
November | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.197 | 0.197 | 0.197 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 |  | 0.83672 | 0.027891 | 0.197
December | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.0033018 | 0.027545 | 0.027545 | 0.027545 | 0.027545 | 0.027545 | 0.027545 | 0.027545 | 0.027545 | 0.027545 | 0.027545 | 0.027545 | 0.026 | 0.39173 | 0.012637 | 0.027545
20.187
[9 empty] | Date | Actual | Billed | Use | # of Days | GPD | MGD
[9 empty] | 2018-12-31 | 1065384 | 106538
[9 empty] | 2019-01-22 | 1085892 | 108589 | 2051000 | 22 | 93227.2727 | 0.093227
[9 empty] | 2019-01-26 | 1090280 | 109028 | 439000 | 4 | 109750 | 0.10975
[9 empty] | 2019-02-04 | 1096664 | 109666 | 638000 | 9 | 70888.8889 | 0.070889
[9 empty] | 2019-02-12 | 1103039 | 110303 | 637000 | 8 | 79625 | 0.079625
[9 empty] | 2019-02-19 | 1108915 | 110891 | 588000 | 7 | 84000 | 0.084
[9 empty] | 2019-02-27 | 1114078 | 111407 | 516000 | 8 | 64500 | 0.0645
[9 empty] | 2019-03-04 | 1118900 | 111890 | 483000 | 5 | 96600 | 0.0966
[9 empty] | 2019-03-11 | 1123986 | 112398 | 508000 | 7 | 72571.4286 | 0.072571
[9 empty] | 2019-03-26 | 1132598 | 113259 | 861000 | 15 | 57400 | 0.0574
[9 empty] | 2019-04-15 | 1145994 | 114599 | 1340000 | 20 | 67000 | 0.067
[9 empty] | 2019-04-22 | 1150439 | 115043 | 444000 | 7 | 63428.5714 | 0.063429
[9 empty] | 2019-05-01 | 1155845 | 115584 | 541000 | 9 | 60111.1111 | 0.060111
[9 empty] | 2019-05-06 | 1158739 | 115873 | 289000 | 5 | 57800 | 0.0578
[9 empty] | 2019-05-21 | 1167639 | 116763 | 890000 | 15 | 59333.3333 | 0.059333
[9 empty] | 2019-05-31 | 1173879 | 117387 | 624000 | 10 | 62400 | 0.0624
[9 empty] | 2019-06-03 | 1175437 | 117543 | 156000 | 3 | 52000 | 0.052
[9 empty] | 2019-06-05 | 1176432 | 117643 | 100000 | 2 | 50000 | 0.05
[9 empty] | 2019-06-10 | 1178978 | 117897 | 254000 | 5 | 50800 | 0.0508
[9 empty] | 2019-06-17 | 1183469 | 118346 | 449000 | 7 | 64142.8571 | 0.064143
[9 empty] | 2019-06-19 | 1184511 | 118451 | 105000 | 2 | 52500 | 0.0525
[9 empty] | 2019-06-21 | 1185906 | 118590 | 139000 | 2 | 69500 | 0.0695
[9 empty] | 2019-07-03 | 1193630 | 119363 | 773000 | 12 | 64416.6667 | 0.064417
[9 empty] | 2019-07-12 | 1193759 | 119375 | 12000 | 9 | 1333.3333 | 0.0013333
[9 empty] | 2019-09-13 | 1221472 | 122147 | 2772000 | 63 | 44000 | 0.044
[9 empty] | 2019-09-20 | 1231221 | 123122 | 975000 | 7 | 139285.7143 | 0.13929
[9 empty] | 2019-10-11 | 1252400 | 125240 | 2118000 | 21 | 100857.1429 | 0.10086
[9 empty] | 2019-11-19 | 165000 | 165 | 0 | 0 | New Meter | -
[9 empty] | 2019-11-21 | 559836.9 | 559 | 394000 | 2 | 197000 | 0.197
[9 empty] | 2019-12-19 | 652286.8 | 652 | 93000 | 28 | 3321.4286 | 0.0033214
[9 empty] | 2019-12-30 | 955344.8 | 955 | 303000 | 11 | 27545.4545 | 0.027545
[9 empty] | 2020-01-03 | 1059526 | 1059 | 104000 | 4 | 26000 | 0.026