## WisBar-BV Manor
252/497 Wis-Bar (Buena Vista Manor) 2019
(Sewer Treatment by Pasco County)
Hyperlinks!A1
Sewer Treatment
Service Address: Prestige Dr.
Pasco County Utilities Services Branch
Acct: 0080975
| Master L/S Totalizer Reads | [5 empty] | Service Dates |  |  | Meter Readings
| Start Read | End Read | Total | Avg. Daily Flow | CAP 8K |  | From | To | No. Days | Previous | Current | Gallons Sent
December 2016 |  |  |  |  | Billed | Total RF
2019-01-01 | 30436924 | 30857969 | 0.42105 | 0.013582 | 0.35357 | 9 | 2018-12-28 | 2019-01-29 | 32 | 30436000 | 30862000 | 0.426
February | 30857969 | 31263918 | 0.40595 | 0.013095 | 0.33352 | 1.9 | 2019-01-29 | 2019-02-28 | 30 | 30862000 | 31267000 | 0.405
March | 31263918 | 31628956 | 0.36504 | 0.011775 | 0.384 | 2.3 | 2019-02-28 | 2019-03-29 | 29 | 31267000 | 31620000 | 0.353
April | 31628956 | 31969313 | 0.34036 | 0.010979 | 0.32722 | 4.6 | 2019-03-29 | 2019-04-29 | 31 | 31620000 | 31968000 | 0.348
May | 31969313 | 32281117 | 0.3118 | 0.010058 | 0.31365 | 3.5 | 2019-04-29 | 2019-05-31 | 32 | 31968000 | 32283000 | 0.315
June | 32281117 | 32624072 | 0.34296 | 0.011063 | 0.27691 | 14.5 | 2019-05-31 | 2019-06-28 | 28 | 32283000 | 32627000 | 0.344
July | 32624072 | 33124117 | 0.50004 | 0.01613 | 0.26516 | 12.4 | 2019-06-28 | 2019-07-30 | 32 | 32627000 | 33129000 | 0.502
August | 33124117 | 33861589 | 0.73747 | 0.023789 | 0.25541 | 17.1 | 2019-07-30 | 2019-08-30 | 31 | 33129000 | 33927000 | 0.798
September* | 33861589 | 34614317 | 0.75273 | 0.024282 | 0.25597 | 4 | 2019-08-30 | 2019-09-30 | 31 | 33927000 | 34617000 | 0.69
October | 34614317 | 34980688 | 0.36637 | 0.011818 | 0.29566 | 7.2 | 2019-09-30 | 2019-10-30 | 30 | 34617000 | 34969000 | 0.352
November | 34980688 | 35327773 | 0.34708 | 0.011196 | 0.29742 | 2 | 2019-10-30 | 2019-11-27 | 28 | 34969000 | 35291000 | 0.322
December | 35327773 | 35693148 | 0.36538 | 0.011786 | 0.32493 | 4.6 | 2019-11-27 | 2019-12-27 | 30 | 35291000 | 35646000 | 0.355
|  | YTD | 5.2562 | 0.01413 | 3.6834 | 83.1 | [5 empty] | 5.21
Back Up Info:
Tierra Verde is outside the city limits; the county apparently ran water mains years ago to that part of the county.
The county has always been the water provider.
St. Pete’s wastewater system extends beyond its limits, probably because it was cost effective to do so way back
when and the county had no sewer facilities anywhere nearby.
Pinellas bills sewer for us in MC and TV so that we are able to bill a volumetric rate in MC and for TV general service accounts
We, in turn, bill our Lake Tarpon customers sewer for the benefit of Pinellas.
Formulas:
Service Dates = [To, row above]

## WisBar-BV Manor Flow Summary
Wis-Bar 2019 (Buena Vista Manor) Totalizer Reads/Flow
System List'!A1
Meter Reads |  | Prev. | 30478380
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
2019-01-01 |  | 30504816 | 30518417 | 30532770 | 30550591 |  | 30580078 | 30597513 | 30601379 | 30612497 | 30623946 | 30640390 |  | 30671253 | 30678476 | 30689691 | 30702929 | 30716919 | 30727199 |  | 30750798 | 30762891 | 30774530 | 30788697 | 30802236 | 30815912 |  | 30843412 | 30857969 | 30872763 | 30887200
February | 30899490 | 30914682 |  | 30940971 | 30952783 | 30965023 | 30977366 | 30991283 | 31009736 |  | 31031012 | 31045582 | 31065071 | 31072076 | 31084389 | 31100043 |  | 31129924 | 31139849 | 31154426 | 31162291 | 31175726 | 31191288 |  | 31219682 | 31235207 | 31252676 | 31263918
March | 31274953 | 31289689 |  | 31319233 | 31329427 | 31344930 | 31355080 | 31371372 | 31392204 |  | 31416719 | 31428111 | 31440235 | 31450124 | 31467432 | 31478004 |  | 31500561 | 31514326 | 31522523 | 31533778 | 31549952 | 31558948 |  | 31584512 | 31593798 | 31606163 | 31616569 | 31628956 | 31644081
April | 31661939 | 31674472 | 31684417 | 31695482 | 31708358 | 31721791 |  | 31740385 | 31753690 | 31761925 | 31772867 | 31781752 | 31795517 |  | 31817325 | 31826186 | 31835847 | 31846825 | 31859364 | 31872293 |  | 31893733 | 31906212 | 31917778 | 31929351 | 31936355 | 31949220 |  | 31969313 | 31975246
May | 31984273 | 31999130 | 32011829 | 32024824 |  | 32045830 | 32054767 | 32066340 | 32078982 | 32086884 | 32096558 |  | 32117588 | 32127706 | 32140995 | 32147038 | 32158296 | 32166898 |  | 32187261 | 32195959 | 32203826 | 32211729 | 32220697 | 32231805 |  | 32246125 | 32254572 | 32262732 | 32272436 | 32281117
June | 32290862 |  | 32308840 | 32314961 | 32324815 | 32332935 | 32342713 | 32354985 |  | 32374466 | 32388600 | 32402022 | 32414257 | 32429913 | 32441554 |  | 32464127 | 32479788 | 32499325 | 32511330 | 32528594 | 32542758 |  | 32573800 | 32587591 | 32599395 | 32615882 | 32624072 | 32641098
July | 32661245 | 32673404 | 32685543 | 32697164 | 32709628 | 32719914 |  | 32742579 | 32756438 | 32773579 | 32788727 | 32799874 | 32826271 |  | 32852711 | 32866480 | 32879386 | 32894491 | 32907331 | 32926425 |  | 32957840 | 32971519 | 32992137 | 33006373 | 33029140 | 33058981 |  | 33103125 | 33124117 | 33145526
August | 33163265 | 33178816 | 33197053 |  | 33223934 | 33233180 | 33247841 | 33258840 | 33274047 | 33280555 |  | 33306733 | 33316118 | 33330282 | 33346871 | 33371692 | 33399873 |  | 33507410 | 33538041 | 33581419 | 33626819 | 33671864 | 33703500 |  | 33755750 | 33779350 | 33801912 | 33826649 | 33861589 | 33897975
September |  | 33977876 | 34025984 |  | 34119165 | 34153444 | 34192658 |  | 34244635 | 34271543 | 34294796 | 34316817 | 34337475 | 34362247 |  | 34404536 | 34422461 | 34441858 | 34460885 | 34478458 | 34497527 |  | 34528724 | 34539274 | 34552216 | 34564844 | 34572468 | 34592566 |  | 34614317
October | 34626217 | 34637547 | 34648576 | 34658907 | 34672562 |  | 34691938 | 34701338 | 34710936 | 34722510 | 34733080 | 34744523 |  | 34766726 | 34775674 | 34786620 | 34796624 | 34807069 | 34820317 |  | 34852431 | 34867902 | 34880979 | 34893200 | 34905743 | 34922002 |  | 34946279 | 34953019 | 34967393 | 34980688
November | 34992647 | 35008188 |  | 35030650 | 35039117 | 35050817 | 35061997 | 35073714 | 35087857 |  | 35106753 | 35116564 | 35127350 | 35137745 | 35149789 | 35164640 |  | 35189131 | 35201417 | 35211196 | 35223125 | 35230504 | 35240202 |  | 35269403 | 35280233 | 35288066 | 35302699 | 35315109 | 35327773
December |  | 35349971 | 35360570 | 35370933 | 35387220 | 35400514 | 35412429 |  | 35432866 | 35447761 |  | 35469418 | 35475627 | 35492084 |  | 35509694 | 35520238 | 35531201 | 35543006 | 35554466 | 35566116 |  | 35590959 | 35607962 | 35622850 | 35631477 | 35644532 | 35659903 |  | 35684367 | 35693148
Flow
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total
2019-01-01 | 0.013218 | 0.013218 | 0.013601 | 0.014353 | 0.017821 | 0.014743 | 0.014743 | 0.017435 | 0.003866 | 0.011118 | 0.011449 | 0.016444 | 0.015432 | 0.015432 | 0.007223 | 0.011215 | 0.013238 | 0.01399 | 0.01028 | 0.011799 | 0.011799 | 0.012093 | 0.011639 | 0.014167 | 0.013539 | 0.013676 | 0.01375 | 0.01375 | 0.014557 | 0.014794 | 0.014437 | 0.40882
February | 0.01229 | 0.015192 | 0.013144 | 0.013144 | 0.011812 | 0.01224 | 0.012343 | 0.013917 | 0.018453 | 0.010638 | 0.010638 | 0.01457 | 0.019489 | 0.007005 | 0.012313 | 0.015654 | 0.014941 | 0.014941 | 0.009925 | 0.014577 | 0.007865 | 0.013435 | 0.015562 | 0.014197 | 0.014197 | 0.015525 | 0.017469 | 0.011242 |  |  |  | 0.37672
March | 0.011035 | 0.014736 | 0.014772 | 0.014772 | 0.010194 | 0.015503 | 0.01015 | 0.016292 | 0.020832 | 0.012257 | 0.012257 | 0.011392 | 0.012124 | 0.009889 | 0.017308 | 0.010572 | 0.011279 | 0.011279 | 0.013765 | 0.008197 | 0.011255 | 0.016174 | 0.008996 | 0.012782 | 0.012782 | 0.009286 | 0.012365 | 0.010406 | 0.012387 | 0.015125 | 0.008929 | 0.38909
April | 0.008929 | 0.012533 | 0.009945 | 0.011065 | 0.012876 | 0.013433 | 0.009297 | 0.009297 | 0.013305 | 0.008235 | 0.010942 | 0.008885 | 0.013765 | 0.010904 | 0.010904 | 0.008861 | 0.009661 | 0.010978 | 0.012539 | 0.012929 | 0.01072 | 0.01072 | 0.012479 | 0.011566 | 0.011573 | 0.007004 | 0.012865 | 0.010046 | 0.010046 | 0.005933 |  | 0.32224
May | 0.009027 | 0.014857 | 0.012699 | 0.012995 | 0.010503 | 0.010503 | 0.008937 | 0.011573 | 0.012642 | 0.007902 | 0.009674 | 0.010515 | 0.010515 | 0.010118 | 0.013289 | 0.006043 | 0.011258 | 0.008602 | 0.010181 | 0.010181 | 0.008698 | 0.007867 | 0.007903 | 0.008968 | 0.011108 | 0.00716 | 0.00716 | 0.008447 | 0.00816 | 0.009704 | 0.008681 | 0.30587
June | 0.009745 | 0.008989 | 0.008989 | 0.006121 | 0.009854 | 0.00812 | 0.009778 | 0.012272 | 0.0097405 | 0.0097405 | 0.014134 | 0.013422 | 0.012235 | 0.015656 | 0.011641 | 0.011286 | 0.011286 | 0.015661 | 0.019537 | 0.012005 | 0.017264 | 0.014164 | 0.015521 | 0.015521 | 0.013791 | 0.011804 | 0.016487 | 0.00819 | 0.017026 | 0.010074 |  | 0.37005
July | 0.010074 | 0.012159 | 0.012139 | 0.011621 | 0.012464 | 0.010286 | 0.011333 | 0.011333 | 0.013859 | 0.017141 | 0.015148 | 0.011147 | 0.026397 | 0.01322 | 0.01322 | 0.013769 | 0.012906 | 0.015105 | 0.01284 | 0.019094 | 0.015707 | 0.015707 | 0.013679 | 0.020618 | 0.014236 | 0.022767 | 0.029841 | 0.022072 | 0.022072 | 0.020992 | 0.021409 | 0.49435
August | 0.016739 | 0.015551 | 0.018237 | 0.01344 | 0.01344 | 0.009246 | 0.014661 | 0.010999 | 0.015207 | 0.006508 | 0.013089 | 0.013089 | 0.009385 | 0.014164 | 0.016589 | 0.024821 | 0.028181 | 0.053768 | 0.053768 | 0.030631 | 0.043378 | 0.0454 | 0.045045 | 0.031636 | 0.026125 | 0.026125 | 0.0236 | 0.022562 | 0.024737 | 0.03494 | 0.036386 | 0.75145
September | 0.03995 | 0.03995 | 0.048108 | 0.04659 | 0.04659 | 0.034279 | 0.039214 | 0.025989 | 0.025989 | 0.026908 | 0.023253 | 0.022021 | 0.020658 | 0.024772 | 0.021145 | 0.021145 | 0.017925 | 0.019397 | 0.019027 | 0.017573 | 0.019069 | 0.015598 | 0.015598 | 0.01055 | 0.012942 | 0.012628 | 0.007624 | 0.020098 | 0.010875 | 0.010875 |  | 0.71634
October | 0.0119 | 0.01133 | 0.011029 | 0.010331 | 0.013655 | 0.009688 | 0.009688 | 0.0094 | 0.009598 | 0.011574 | 0.01057 | 0.011443 | 0.011102 | 0.011102 | 0.008948 | 0.010946 | 0.010004 | 0.010445 | 0.013248 | 0.016057 | 0.016057 | 0.015471 | 0.013077 | 0.012221 | 0.012543 | 0.016259 | 0.012138 | 0.012138 | 0.00674 | 0.013834 | 0.013834 | 0.36637
November | 0.011959 | 0.015541 | 0.011231 | 0.011231 | 0.008467 | 0.0117 | 0.01118 | 0.011717 | 0.014143 | 0.009448 | 0.009448 | 0.009811 | 0.010786 | 0.010395 | 0.012044 | 0.014851 | 0.012245 | 0.012245 | 0.012286 | 0.009779 | 0.011929 | 0.007379 | 0.009698 | 0.014601 | 0.014601 | 0.01083 | 0.007833 | 0.014633 | 0.01241 | 0.012664 |  | 0.34708
December | 0.011099 | 0.011099 | 0.010599 | 0.010363 | 0.016287 | 0.013294 | 0.011915 | 0.010219 | 0.010219 | 0.014895 | 0.010828 | 0.010828 | 0.006209 | 0.016457 | 0.008805 | 0.008805 | 0.010544 | 0.010963 | 0.011805 | 0.01146 | 0.01165 | 0.012422 | 0.012422 | 0.017003 | 0.014888 | 0.008627 | 0.013055 | 0.015371 | 0.012232 | 0.012232 | 0.008781 | 0.36538
| Date | Read | Usage | Formated
| 30 | 35327773
| 1 |  | 11099 | 0.011099
| 2 | 35349971 | 11099 | 0.011099
| 3 | 35360570 | 10599 | 0.010599
| 4 | 35370933 | 10363 | 0.010363
| 5 | 35387220 | 16287 | 0.016287
| 6 | 35400514 | 13294 | 0.013294
| 7 | 35412429 | 11915 | 0.011915
| 8 |  | 10218.5 | 0.010219
| 9 | 35432866 | 10218.5 | 0.010219
| 10 | 35447761 | 14895 | 0.014895
| 11 |  | 10828.5 | 0.010828
| 12 | 35469418 | 10828.5 | 0.010828
| 13 | 35475627 | 6209 | 0.006209
| 14 | 35492084 | 16457 | 0.016457
| 15 |  | 8805 | 0.008805
| 16 | 35509694 | 8805 | 0.008805
| 17 | 35520238 | 10544 | 0.010544
| 18 | 35531201 | 10963 | 0.010963
| 19 | 35543006 | 11805 | 0.011805
| 20 | 35554466 | 11460 | 0.01146
| 21 | 35566116 | 11650 | 0.01165
| 22 |  | 12421.5 | 0.012422
| 23 | 35590959 | 12421.5 | 0.012422
| 24 | 35607962 | 17003 | 0.017003
| 25 | 35622850 | 14888 | 0.014888
| 26 | 35631477 | 8627 | 0.008627
| 27 | 35644532 | 13055 | 0.013055
| 28 | 35659903 | 15371 | 0.015371
| 29 |  | 12232 | 0.012232
| 30 | 35684367 | 12232 | 0.012232
| 31 | 35693148 | 8781 | 0.008781
|  | 365375 | 365375 | 0.36538