## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
ACME | 0.00025 | 0 | 0 | 0 | 0.00035 | 0 | 0.0064 | 0 | 0 | 0 | 5e-05 | 0 | 0.0001 | 0 | 0 | 0 | 0.000175 | 0 | 0.00441 | 0 | 0 | 0 | 0 | 0 | 0.011735
Total | 0.00025 |  | 0 |  | 0.00035 |  | 0.0064 |  | 0 |  | 5e-05 |  | 0.0001 |  | 0 |  | 0.000175 |  | 0.00441 |  | 0 |  | 0

## ACME Lake Co.
254/192 ACME - Lake County
[13 empty] | Plant Permitted Capacity | 335.26 (mgy) .918 (mgd) from groundwater
Hyper Links'!A1 | [12 empty] | SJRWMD CUP: | 64455 | Expires: 11/12/18
Water Loss-Use'!A1
| Well 1-IR1 (Legends) |  |  | Well 2-IR2 (Legends) |  |  |  | Total Water Used/Loss | [5 empty] | SW1 Golf Course |  |  | SW2 Residential | [8 empty] | IR1 & IR2 Source Meter Error Adj. (03/06/17 -1.00% & -0.90%) (03/07/18 +2.44%& +2.56%) |  |  |  |  | SW1 & SW2 Source MeterError Adj. (03/07/18 -0.43% & +0.50%) SW1 -3.50% 01-25-19
| Well 1-IR1 Total Flow | IR1 Daily Avg. | IR1 Daily Peak | IR2 Total Flow | IR2 Daily Avg | IR2 Daily Peak | IR1 & IR2 Total Flow | Gallons Used | Gallons Loss | Total Used/ Loss | Total Pumped Meter Error | IR1 & IR2 Total Flow (+) Source Mtr Error) | Holding Pond | SW1 Flow | SW1 Daily Avg. | SW1 Daily Max. | SW2 Flow | SW2 Daily Avg. | SW2 Daily Max. | Total Pumped Meter Error | SW1 & SW2 Total Flow (+) Source Mtr Error) | Billed Consumption | Total AFW(Total Used/Loss + Billed) | AFW % plus source mtr. error | 2018 AFW % | Well 1 (IR1) Meter Adj. % | Well 1 (IR1) Pumped Meter Adj. | Well 2 (IR2) Meter Adj. % | Well 2 (IR2) Pumped Meter Adj. | Total Pumped Meter Adj. | SW1 Meter Adj. % | SW1 Pumped Meter Adj. | SW2 Meter Adj. % | SW2 Pumped Meter Adj. | Total Pumped Meter Adj.
2019-01-01 | 0.187 | 0.0060323 | 0.133 | 8.273 | 0.26687 | 0.934 | 8.46 | 0.00025 | 0 | 0.00025 | 0.21635 | 8.6764 |  | 0.030873 | 0.0009959 | 0.030184 | 7.959 | 0.25674 | 0.739 | 0.038736 | 8.0286 | 7.6388 | 7.639 | 95.15% | 101.6% | 2.44% | 0.0045628 | 2.56% | 0.21179 | 0.21635 | -0.43 & -3.50 | -0.0010594 | 0.5% | 0.039795 | 0.038736
February | 0 | 0 | 0 | 8.186 | 0.29236 | 0.666 | 8.186 | 0 | 0 | 0 | 0.20956 | 8.3956 |  | 8e-06 | 2.8571e-07 | 8e-06 | 7.841 | 0.28004 | 0.674 | 0.039205 | 7.8802 | 7.4022 | 7.4022 | 93.93% | 92.8% | 2.44% | 0 | 2.56% | 0.20956 | 0.20956 | -3.5% | -2.8e-07 | 0.5% | 0.039205 | 0.039205
March | 0 | 0 | 0 | 12.54 | 0.40452 | 0.678 | 12.54 | 0.00035 | 0 | 0.00035 | 0.32102 | 12.861 |  | 0 | 0 | 0 | 11.999 | 0.38706 | 0.757 | 0.059995 | 12.059 | 10.733 | 10.7333 | 89.01% | 94.33% | 2.44% | 0 | 2.56% | 0.32102 | 0.32102 | -3.5% | 0 | 0.5% | 0.059995 | 0.059995
April | 0.463 | 0.015433 | 0.463 | 10.613 | 0.35377 | 0.636 | 11.076 | 0.0064 | 0 | 0.0064 | 0.28299 | 11.359 |  | 0 | 0 | 0 | 11.612 | 0.38707 | 1.141 | 0.05806 | 11.6701 | 11.1536 | 11.16 | 95.63% | 92.55% | 2.44% | 0.011297 | 2.56% | 0.27169 | 0.28299 | -3.5% | 0 | 0.5% | 0.05806 | 0.05806
May | 0.3226 | 0.010406 | 0.2378 | 14.38 | 0.46387 | 1.048 | 14.7026 | 0 | 0 | 0 | 0.376 | 15.0786 |  | 0 | 0 | 0 | 15.859 | 0.51158 | 1.08 | 0.079295 | 15.9383 | 14.6786 | 14.6786 | 92.1% | 86.03% | 2.44% | 0.0078714 | 2.56% | 0.36813 | 0.376 | -3.5% | 0 | 0.5% | 0.079295 | 0.079295
June | 2.268 | 0.0756 | 0.524 | 12.672 | 0.4224 | 1.372 | 14.94 | 5e-05 | 0 | 5e-05 | 0.37974 | 15.3197 |  | 1e-06 | 3.3333e-08 | 1e-06 | 14.6415 | 0.48805 | 1.475 | 0.073207 | 14.7147 | 12.4919 | 12.492 | 84.89% | 97.22% | 2.44% | 0.055339 | 2.56% | 0.3244 | 0.37974 | -3.5% | -3.5e-08 | 0.5% | 0.073208 | 0.073207
July | 0 | 0 | 0 | 11.698 | 0.37735 | 1.164 | 11.698 | 0.0001 | 0 | 0.0001 | 0.29947 | 11.9975 |  | 0 | 0 | 0 | 12.1095 | 0.39063 | 1.407 | 0.060547 | 12.17 | 10.7402 | 10.7403 | 88.25% | 95.28% | 2.44% | 0 | 2.56% | 0.29947 | 0.29947 | -3.5% | 0 | 0.5% | 0.060547 | 0.060547
August | 0 | 0 | 0 | 11.118 | 0.35865 | 0.658 | 11.118 | 0 | 0 | 0 | 0.28462 | 11.4026 |  | 0 | 0 | 0 | 10.933 | 0.35268 | 0.625 | 0.054665 | 10.9877 | 10.1919 | 10.1919 | 92.76% | 94.05% | 2.44% | 0 | 2.56% | 0.28462 | 0.28462 | -3.5% | 0 | 0.5% | 0.054665 | 0.054665
September | 0.216 | 0.0072 | 0.216 | 12.84 | 0.428 | 1.941 | 13.056 | 0.000175 | 0 | 0.000175 | 0.33397 | 13.39 |  | 0 | 0 | 0 | 13.638 | 0.4546 | 0.946 | 0.06819 | 13.7062 | 12.102 | 12.1022 | 88.3% | 91.93% | 2.44% | 0.0052704 | 2.56% | 0.3287 | 0.33397 | -3.5% | 0 | 0.5% | 0.06819 | 0.06819
October | 1.641 | 0.052935 | 0.609 | 12.986 | 0.4189 | 0.769 | 14.627 | 0.00441 | 0 | 0.00441 | 0.37248 | 14.9995 |  | 0 | 0 | 0 | 13.309 | 0.42932 | 0.807 | 0.066545 | 13.3755 | 11.9505 | 11.955 | 89.38% | 79.9% | 2.44% | 0.04004 | 2.56% | 0.33244 | 0.37248 | -3.5% | 0 | 0.5% | 0.066545 | 0.066545
November | 0 | 0 | 0 | 9.74 | 0.32467 | 0.931 | 9.74 | 0 | 0 | 0 | 0.24934 | 9.9893 |  | 0 | 0 | 0 | 9.18 | 0.306 | 1.071 | 0.0459 | 9.2259 | 8.5817 | 8.5817 | 93.02% |  | 2.44% | 0 | 2.56% | 0.24934 | 0.24934 | -3.5% | 0 | 0.5% | 0.0459 | 0.0459
December | 0 | 0 | 0 | 7.835 | 0.25274 | 1.386 | 7.835 | 0 | 0 | 0 | 0.20058 | 8.0356 |  | 0 | 0 | 0 | 7.566 | 0.24406 | 0.641 | 0.03783 | 7.6038 | 6.4529 | 6.4529 | 84.86% |  | 2.44% | 0 | 2.56% | 0.20058 | 0.20058 | -3.5% | 0 | 0.5% | 0.03783 | 0.03783
Total | 5.0976 |  |  | 132.881 |  |  | 137.9786 | 0.011735 | 0 | 0.011735 | 3.5261 | 141.5047 |  | 0.030882 |  |  | 136.647 |  |  | 0.68218 | 137.3601 | 124.1175 | 124.1292 | [5 empty] | Grand Total | 3.5261 |  |  |  | Grand Total | 0.68218
Average |  | 0.013967 | 0.1819 |  | 0.36367 | 1.0152 | 11.4982 |  |  |  |  | 11.7921 | Average |  | 8.3019e-05 | 0.0025161 |  | 0.37399 | 0.94692 |  | 11.4467
Minimum |  | 0 | 0 |  | 0.25274 | 0.636 | 7.835 |  |  |  |  | 8.0356 | Minimum |  | 0 | 0 |  | 0.24406 | 0.625 |  | 7.6038 |  |  |  |  | IR1 & IR2 |  |  |  |  | SW1 & SW2
Maximum |  | 0.0756 | 0.609 |  | 0.46387 | 1.941 | 14.94 |  |  |  |  | 15.3197 | Maximum |  | 0.0009959 | 0.030184 |  | 0.51158 | 1.475 |  | 15.9383 |  |  |  |  | Well 1 (IR1) Meter Adj. % | Well 1 (IR1) Pumped Meter Adj. | Well 2 (IR2) Meter Adj. % | Well 2 (IR2) Pumped Meter Adj. |  | SW1 Meter Adj. % | SW1 Pumped Meter Adj. | SW2 Meter Adj. % | SW2 Pumped Meter Adj.
Water Loss-Use'!A1 | [7 empty] | Water Loss/Use Proof | 0 | [10 empty] | YTD AFW% Jan-Dec | 137.3601 | 124.1292 | 90.37%
[21 empty] | Proof to Total Billed | 0 |  |  |  | IR1 & IR2 |  |  |  |  | SW1 & SW2
[26 empty] | Well 1 (IR1) Meter Adj. % | Well 1 (IR1) Pumped Meter Adj. | Well 2 (IR2) Meter Adj. % | Well 2 (IR2) Pumped Meter Adj. |  | SW1 Meter Adj. % | SW1 Pumped Meter Adj. | SW2 Meter Adj. % | SW2 Pumped Meter Adj.
[25 empty] | 01/01-01/25/19 | [5 empty] | -0.43% | -2.9627e-06
[25 empty] | 01/26-01/31/19 | [5 empty] | -3.5% | -0.0010564
-0.0010594
Note on H9: Pumped into holding pond
Note on I9: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the used detail.
Note on J9: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the loss detail.
Note on AG9: pjhanks: 07/30/14 & 05/20/15

## Daily Flow-192
254/192 ACME - Lake County | [5 empty] | MWAF - link to AH(x) |  |  |  | Hyper Links'!A1
Well 1 (IR1 Primary Auto Well) - Pumped To Pond | [33 empty] | IR1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.054 | 0.133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.187 | 0.0060323 | 0.133 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.463 | 0 | 0 | 0 | 0 | 0 |  | 0.463 | 0.015433 | 0.463 | 0
May | 0 | 0 | 0 | 0.0451 | 0 | 0.2378 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0397 | 0.3226 | 0.010406 | 0.2378 | 0
June | 0.425 | 0.413 | 0.436 | 0.147 | 0.323 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.524 | 0 | 0 | 0 |  | 2.268 | 0.0756 | 0.524 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.216 | 0.0072 | 0.216 | 0
October | 1.032 | 0 | 0.609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.641 | 0.052935 | 0.609 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[32 empty] | 5.0976 | Grand Total
Well 2 (IR2 Supply Well) - Pumped To Pond | [33 empty] | IR2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.048 | 0.129 | 0.331 | 0.13 | 0.227 | 0.504 | 0.247 | 0.175 | 0.155 | 0.358 | 0.146 | 0.386 | 0.727 | 0.283 | 0.123 | 0.265 | 0.322 | 0.164 | 0 | 0.934 | 0.216 | 0.135 | 0.244 | 0.269 | 0.111 | 0.241 | 0.631 | 0.156 | 0.186 | 0.206 | 0.224 | 8.273 | 0.26687 | 0.934 | 0
February | 0 | 0.373 | 0.479 | 0.321 | 0.101 | 0.278 | 0.32 | 0.203 | 0.393 | 0.536 | 0.112 | 0.075 | 0.182 | 0.237 | 0.162 | 0.358 | 0.566 | 0.413 | 0.164 | 0.241 | 0.35 | 0.209 | 0.329 | 0.666 | 0.453 | 0.151 | 0.254 | 0.26 |  |  |  | 8.186 | 0.29236 | 0.666 | 0
March | 0.225 | 0.36 | 0.606 | 0.371 | 0.197 | 0.265 | 0.346 | 0.204 | 0.417 | 0.631 | 0.579 | 0.214 | 0.4 | 0.649 | 0.365 | 0.383 | 0.536 | 0.283 | 0.151 | 0.384 | 0.551 | 0.281 | 0.351 | 0.455 | 0.5235 | 0.5235 | 0.382 | 0.499 | 0.364 | 0.366 | 0.678 | 12.54 | 0.40452 | 0.678 | 0
April | 0.486 | 0.16 | 0.416 | 0.547 | 0.429 | 0.335 | 0.377 | 0.165 | 0.199 | 0.334 | 0.563 | 0.294 | 0.514 | 0.522 | 0.336 | 0.219 | 0.386 | 0.636 | 0.434 | 0.356 | 0.356 | 0.426 | 0.244 | 0.178 | 0.521 | 0.207 | 0.274 | 0.372 | 0.187 | 0.14 |  | 10.613 | 0.35377 | 0.636 | 0
May | 0.258 | 0.359 | 0.106 | 0.025 | 0.507 | 0.082 | 0.174 | 0.336 | 0.774 | 0.583 | 0.5655 | 0.5655 | 0.606 | 0.527 | 0.037 | 0.038 | 0.572 | 0.575 | 0.547 | 0.712 | 0.188 | 0.423 | 0.755 | 0.644 | 0.673 | 0.826 | 0.592 | 0.416 | 0.495 | 1.048 | 0.371 | 14.38 | 0.46387 | 1.048 | 0
June | 0.371 | 0.368 | 0.383 | 0.133 | 0.288 | 0.932 | 0.41 | 0.444 | 0.39 | 0.277 | 0.212 | 0.063 | 0.509 | 0.257 | 0.399 | 0.474 | 0.345 | 0.228 | 0.306 | 0.374 | 0.311 | 0 | 1.372 | 0.689 | 0.309 | 0.598 | 0.458 | 0.589 | 0.672 | 0.511 |  | 12.672 | 0.4224 | 1.372 | 0
July | 0.54 | 0.316 | 0.578 | 0.201 | 0.684 | 0.494 | 0.292 | 0.299 | 0.07 | 0.275 | 0.541 | 0.507 | 0 | 0.738 | 0.512 | 0.201 | 0.349 | 0.461 | 0.288 | 0 | 1.164 | 0.459 | 0.223 | 0.425 | 0.347 | 0.14 | 0.485 | 0.178 | 0.467 | 0.128 | 0.336 | 11.698 | 0.37735 | 1.164 | 0
August | 0.449 | 0.321 | 0.257 | 0.363 | 0.439 | 0.179 | 0.254 | 0.556 | 0.33 | 0.658 | 0.193 | 0.425 | 0.169 | 0.506 | 0.51 | 0.179 | 0.418 | 0.467 | 0.491 | 0.048 | 0.403 | 0.479 | 0.426 | 0.419 | 0.489 | 0.574 | 0.147 | 0.249 | 0.451 | 0.269 | 0 | 11.118 | 0.35865 | 0.658 | 0
September | 0.78 | 0.109 | 0.202 | 0.16 | 0.326 | 0.248 | 0.481 | 0.486 | 0.654 | 0.102 | 0.429 | 0.41 | 0.257 | 0.442 | 0.367 | 0.434 | 0.22 | 0.471 | 0.574 | 0 | 0.871 | 0.523 | 0.651 | 0.297 | 0.509 | 0.465 | 0.431 | 1.941 | 0 | 0 |  | 12.84 | 0.428 | 1.941 | 0
October | 0.366 | 0.321 | 0.5 | 0.533 | 0.583 | 0.511 | 0.671 | 0.152 | 0.363 | 0.486 | 0.472 | 0.632 | 0.406 | 0.734 | 0.192 | 0.611 | 0.769 | 0.427 | 0.232 | 0.178 | 0.445 | 0.17 | 0.207 | 0.61 | 0.55 | 0.214 | 0.324 | 0.301 | 0.08 | 0.468 | 0.478 | 12.986 | 0.4189 | 0.769 | 0
November | 0.373 | 0.931 | 0 | 0.54 | 0.113 | 0.438 | 0.213 | 0.197 | 0.571 | 0.364 | 0.458 | 0.186 | 0.225 | 0.526 | 0.12 | 0.319 | 0.375 | 0.433 | 0.078 | 0.394 | 0.407 | 0.347 | 0.273 | 0.347 | 0.235 | 0.081 | 0.311 | 0.351 | 0.151 | 0.383 |  | 9.74 | 0.32467 | 0.931 | 0
December | 0.477 | 0.37 | 0.245 | 0.298 | 0.247 | 0.225 | 0.47 | 0 | 0 | 0 | 1.386 | 0.462 | 0.083 | 0.576 | 0.078 | 0.178 | 0.13 | 0.121 | 0.153 | 0.151 | 0.442 | 0.285 | 0.128 | 0.035 | 0.108 | 0.376 | 0.096 | 0.295 | 0.244 | 0.108 | 0.068 | 7.835 | 0.25274 | 1.386 | 0
[32 empty] | 132.881 | Grand Total
IR1 & IR2 Combined | [33 empty] | IR1 & IR2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max
2019-01-01 | 0.102 | 0.262 | 0.331 | 0.13 | 0.227 | 0.504 | 0.247 | 0.175 | 0.155 | 0.358 | 0.146 | 0.386 | 0.727 | 0.283 | 0.123 | 0.265 | 0.322 | 0.164 | 0 | 0.934 | 0.216 | 0.135 | 0.244 | 0.269 | 0.111 | 0.241 | 0.631 | 0.156 | 0.186 | 0.206 | 0.224 | 8.46 | 0.2729 | 0.934
February | 0 | 0.373 | 0.479 | 0.321 | 0.101 | 0.278 | 0.32 | 0.203 | 0.393 | 0.536 | 0.112 | 0.075 | 0.182 | 0.237 | 0.162 | 0.358 | 0.566 | 0.413 | 0.164 | 0.241 | 0.35 | 0.209 | 0.329 | 0.666 | 0.453 | 0.151 | 0.254 | 0.26 |  |  |  | 8.186 | 0.29236 | 0.666
March | 0.225 | 0.36 | 0.606 | 0.371 | 0.197 | 0.265 | 0.346 | 0.204 | 0.417 | 0.631 | 0.579 | 0.214 | 0.4 | 0.649 | 0.365 | 0.383 | 0.536 | 0.283 | 0.151 | 0.384 | 0.551 | 0.281 | 0.351 | 0.455 | 0.5235 | 0.5235 | 0.382 | 0.499 | 0.364 | 0.366 | 0.678 | 12.54 | 0.40452 | 0.678
April | 0.486 | 0.16 | 0.416 | 0.547 | 0.429 | 0.335 | 0.377 | 0.165 | 0.199 | 0.334 | 0.563 | 0.294 | 0.514 | 0.522 | 0.336 | 0.219 | 0.386 | 0.636 | 0.434 | 0.356 | 0.356 | 0.426 | 0.244 | 0.178 | 0.984 | 0.207 | 0.274 | 0.372 | 0.187 | 0.14 |  | 11.076 | 0.3692 | 0.984
May | 0.258 | 0.359 | 0.106 | 0.0701 | 0.507 | 0.3198 | 0.174 | 0.336 | 0.774 | 0.583 | 0.5655 | 0.5655 | 0.606 | 0.527 | 0.037 | 0.038 | 0.572 | 0.575 | 0.547 | 0.712 | 0.188 | 0.423 | 0.755 | 0.644 | 0.673 | 0.826 | 0.592 | 0.416 | 0.495 | 1.048 | 0.4107 | 14.7026 | 0.47428 | 1.048
June | 0.796 | 0.781 | 0.819 | 0.28 | 0.611 | 0.932 | 0.41 | 0.444 | 0.39 | 0.277 | 0.212 | 0.063 | 0.509 | 0.257 | 0.399 | 0.474 | 0.345 | 0.228 | 0.306 | 0.374 | 0.311 | 0 | 1.372 | 0.689 | 0.309 | 0.598 | 0.982 | 0.589 | 0.672 | 0.511 |  | 14.94 | 0.498 | 1.372
July | 0.54 | 0.316 | 0.578 | 0.201 | 0.684 | 0.494 | 0.292 | 0.299 | 0.07 | 0.275 | 0.541 | 0.507 | 0 | 0.738 | 0.512 | 0.201 | 0.349 | 0.461 | 0.288 | 0 | 1.164 | 0.459 | 0.223 | 0.425 | 0.347 | 0.14 | 0.485 | 0.178 | 0.467 | 0.128 | 0.336 | 11.698 | 0.37735 | 1.164
August | 0.449 | 0.321 | 0.257 | 0.363 | 0.439 | 0.179 | 0.254 | 0.556 | 0.33 | 0.658 | 0.193 | 0.425 | 0.169 | 0.506 | 0.51 | 0.179 | 0.418 | 0.467 | 0.491 | 0.048 | 0.403 | 0.479 | 0.426 | 0.419 | 0.489 | 0.574 | 0.147 | 0.249 | 0.451 | 0.269 | 0 | 11.118 | 0.35865 | 0.658
September | 0.78 | 0.109 | 0.202 | 0.16 | 0.326 | 0.248 | 0.481 | 0.486 | 0.654 | 0.102 | 0.429 | 0.41 | 0.473 | 0.442 | 0.367 | 0.434 | 0.22 | 0.471 | 0.574 | 0 | 0.871 | 0.523 | 0.651 | 0.297 | 0.509 | 0.465 | 0.431 | 1.941 | 0 | 0 |  | 13.056 | 0.4352 | 1.941
October | 1.398 | 0.321 | 1.109 | 0.533 | 0.583 | 0.511 | 0.671 | 0.152 | 0.363 | 0.486 | 0.472 | 0.632 | 0.406 | 0.734 | 0.192 | 0.611 | 0.769 | 0.427 | 0.232 | 0.178 | 0.445 | 0.17 | 0.207 | 0.61 | 0.55 | 0.214 | 0.324 | 0.301 | 0.08 | 0.468 | 0.478 | 14.627 | 0.47184 | 1.109
November | 0.373 | 0.931 | 0 | 0.54 | 0.113 | 0.438 | 0.213 | 0.197 | 0.571 | 0.364 | 0.458 | 0.186 | 0.225 | 0.526 | 0.12 | 0.319 | 0.375 | 0.433 | 0.078 | 0.394 | 0.407 | 0.347 | 0.273 | 0.347 | 0.235 | 0.081 | 0.311 | 0.351 | 0.151 | 0.383 |  | 9.74 | 0.32467 | 0.931
December | 0.477 | 0.37 | 0.245 | 0.298 | 0.247 | 0.225 | 0.47 | 0 | 0 | 0 | 1.386 | 0.462 | 0.083 | 0.576 | 0.078 | 0.178 | 0.13 | 0.121 | 0.153 | 0.151 | 0.442 | 0.285 | 0.128 | 0.035 | 0.108 | 0.376 | 0.096 | 0.295 | 0.244 | 0.108 | 0.068 | 7.835 | 0.25274 | 1.386
[32 empty] | 137.9786 | Grand Total
SW1 Golf Course Flow (SW1 Golf Course # 1 HSP ETM) | [33 empty] | SW1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.000689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.030184 | 0.030873 | 0.0009959 | 0.030184 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8e-06 | 0 | 0 |  |  |  | 8e-06 | 2.8571e-07 | 8e-06 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1e-06 | 3.3333e-08 | 1e-06 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[32 empty] | 0.030882 | Grand Total
SW2 Residential Flow | [33 empty] | SW2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.074 | 0.229 | 0.316 | 0.105 | 0.215 | 0.545 | 0.205 | 0.075 | 0.182 | 0.314 | 0.153 | 0.358 | 0.739 | 0.212 | 0.106 | 0.224 | 0.295 | 0.186 | 0.464 | 0.464 | 0.175 | 0.109 | 0.195 | 0.269 | 0.127 | 0.307 | 0.498 | 0.316 | 0.099 | 0.203 | 0.2 | 7.959 | 0.25674 | 0.739 | 0
February | 0.142 | 0.311 | 0.549 | 0.178 | 0.182 | 0.228 | 0.343 | 0.184 | 0.349 | 0.516 | 0.107 | 0.097 | 0.172 | 0.19 | 0.139 | 0.335 | 0.615 | 0.322 | 0.13 | 0.252 | 0.303 | 0.193 | 0.39 | 0.674 | 0.34 | 0.136 | 0.239 | 0.225 |  |  |  | 7.841 | 0.28004 | 0.674 | 0
March | 0.183 | 0.382 | 0.664 | 0.308 | 0.151 | 0.219 | 0.279 | 0.212 | 0.435 | 0.664 | 0.467 | 0.2 | 0.361 | 0.647 | 0.301 | 0.434 | 0.528 | 0.269 | 0.121 | 0.306 | 0.565 | 0.24 | 0.357 | 0.375 | 0.5015 | 0.5015 | 0.398 | 0.488 | 0.299 | 0.386 | 0.757 | 11.999 | 0.38706 | 0.757 | 0
April | 0.384 | 0.122 | 0.335 | 0.607 | 0.36 | 0.316 | 0.485 | 0.2 | 0.116 | 0.301 | 0.562 | 0.266 | 1.141 | 0.1465 | 0.0865 | 0.15 | 0.412 | 0.651 | 0.323 | 0.05 | 0.767 | 0.336 | 0.155 | 0.379 | 0.718 | 0.446 | 0.328 | 0.843 | 0.398 | 0.228 |  | 11.612 | 0.38707 | 1.141 | 0
May | 0.471 | 0.662 | 0.275 | 0.503 | 0.462 | 0.218 | 0.202 | 0.464 | 0.798 | 0.427 | 0.21 | 1.06 | 0.421 | 0.113 | 0.235 | 0.535 | 1.035 | 0.0012 | 0.6988 | 0.446 | 0.183 | 0.52 | 0.784 | 0.493 | 0.664 | 0.998 | 0.375 | 0.4 | 0.587 | 1.08 | 0.538 | 15.859 | 0.51158 | 1.08 | 0
June | 0.769 | 0.652 | 0.815 | 0.263 | 0.496 | 0.972 | 0.373 | 0.444 | 0.503 | 0.247 | 0.19 | 0.041 | 0.558 | 0.252 | 0.368 | 0.561 | 0.324 | 0.535 | 0.371 | 0 | 0.305 | 0 | 1.475 | 0.515 | 0.287 | 0.641 | 0.79 | 0.626 | 0.637 | 0.6315 |  | 14.6415 | 0.48805 | 1.475 | 0
July | 0.4495 | 0.267 | 0.561 | 1.407 | 0 | 0.478 | 0.397 | 0.263 | 0.191 | 0.334 | 0.594 | 0.302 | 0 | 0.945 | 0.402 | 0.182 | 0.303 | 0.521 | 0.268 | 0.538 | 0.65 | 0.325 | 0.211 | 0.405 | 0.398 | 0.153 | 0.504 | 0.237 | 0.353 | 0.154 | 0.317 | 12.1095 | 0.39063 | 1.407 | 0
August | 0.473 | 0.27 | 0.251 | 0.469 | 0.368 | 0.118 | 0.313 | 0.546 | 0.248 | 0.513 | 0.429 | 0.324 | 0.168 | 0.407 | 0.579 | 0.153 | 0.415 | 0.501 | 0.382 | 0.093 | 0.405 | 0.618 | 0.333 | 0.381 | 0.625 | 0.442 | 0.108 | 0.295 | 0.471 | 0.235 | 0 | 10.933 | 0.35268 | 0.625 | 0
September | 0.774 | 0 | 0 | 0.479 | 0.357 | 0.237 | 0.454 | 0.609 | 0.513 | 0.133 | 0.432 | 0.578 | 0.338 | 0.403 | 0.502 | 0.354 | 0.186 | 0.512 | 0.615 | 0.502 | 0.502 | 0.654 | 0.49 | 0.272 | 0.57 | 0.812 | 0.468 | 0.946 | 0.473 | 0.473 |  | 13.638 | 0.4546 | 0.946 | 0
October | 0.295 | 0.519 | 0.769 | 0.533 | 0.617 | 0.692 | 0.463 | 0.167 | 0.361 | 0.613 | 0.284 | 0.52 | 0.631 | 0.461 | 0.246 | 0.538 | 0.5575 | 0.5575 | 0.296 | 0.439 | 0.3 | 0.236 | 0.3 | 0.601 | 0.367 | 0.253 | 0.372 | 0.259 | 0.046 | 0.209 | 0.807 | 13.309 | 0.42932 | 0.807 | 0
November | 0.252 | 1.071 | 0 | 0.313 | 0.164 | 0.354 | 0.26 | 0.107 | 0.585 | 0.507 | 0.264 | 0.171 | 0.268 | 0.435 | 0.109 | 0.31 | 0.495 | 0.265 | 0.146 | 0.284 | 0.398 | 0.314 | 0.263 | 0.432 | 0.182 | 0.118 | 0.269 | 0.337 | 0.108 | 0.399 |  | 9.18 | 0.306 | 1.071 | 0
December | 0.555 | 0.258 | 0.145 | 0.269 | 0.306 | 0.049 | 0.545 | 0.622 | 0.25367 | 0.25367 | 0.25367 | 0.371 | 0.116 | 0.641 | 0.1015 | 0.1015 | 0.1325 | 0.1325 | 0.05001 | 0.27499 | 0.361 | 0.349 | 0.092 | 0.068 | 0.134 | 0.261 | 0.118 | 0.292 | 0.319 | 0.095 | 0.046 | 7.566 | 0.24406 | 0.641 | 0
[32 empty] | 136.647 | Grand Total
Combined SW1 & SW2 (Golf and Residential) | [33 empty] | SW1 & SW2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max
2019-01-01 | 0.074 | 0.229 | 0.316 | 0.105 | 0.215 | 0.545 | 0.205 | 0.075 | 0.182 | 0.314 | 0.153 | 0.358 | 0.739 | 0.212 | 0.106 | 0.224 | 0.295 | 0.186 | 0.464 | 0.464 | 0.175 | 0.10969 | 0.195 | 0.269 | 0.127 | 0.307 | 0.498 | 0.316 | 0.099 | 0.203 | 0.23018 | 7.9899 | 0.25774 | 0.739
February | 0.142 | 0.311 | 0.549 | 0.178 | 0.182 | 0.228 | 0.343 | 0.184 | 0.349 | 0.516 | 0.107 | 0.097 | 0.172 | 0.19 | 0.139 | 0.335 | 0.615 | 0.322 | 0.13 | 0.252 | 0.303 | 0.193 | 0.39 | 0.674 | 0.34 | 0.13601 | 0.239 | 0.225 |  |  |  | 7.841 | 0.28004 | 0.674
March | 0.183 | 0.382 | 0.664 | 0.308 | 0.151 | 0.219 | 0.279 | 0.212 | 0.435 | 0.664 | 0.467 | 0.2 | 0.361 | 0.647 | 0.301 | 0.434 | 0.528 | 0.269 | 0.121 | 0.306 | 0.565 | 0.24 | 0.357 | 0.375 | 0.5015 | 0.5015 | 0.398 | 0.488 | 0.299 | 0.386 | 0.757 | 11.999 | 0.38706 | 0.757
April | 0.384 | 0.122 | 0.335 | 0.607 | 0.36 | 0.316 | 0.485 | 0.2 | 0.116 | 0.301 | 0.562 | 0.266 | 1.141 | 0.1465 | 0.0865 | 0.15 | 0.412 | 0.651 | 0.323 | 0.05 | 0.767 | 0.336 | 0.155 | 0.379 | 0.718 | 0.446 | 0.328 | 0.843 | 0.398 | 0.228 |  | 11.612 | 0.38707 | 1.141
May | 0.471 | 0.662 | 0.275 | 0.503 | 0.462 | 0.218 | 0.202 | 0.464 | 0.798 | 0.427 | 0.21 | 1.06 | 0.421 | 0.113 | 0.235 | 0.535 | 1.035 | 0.0012 | 0.6988 | 0.446 | 0.183 | 0.52 | 0.784 | 0.493 | 0.664 | 0.998 | 0.375 | 0.4 | 0.587 | 1.08 | 0.538 | 15.859 | 0.51158 | 1.08
June | 0.769 | 0.652 | 0.815 | 0.263 | 0.496 | 0.972 | 0.373 | 0.444 | 0.503 | 0.247 | 0.19 | 0.041 | 0.558 | 0.252 | 0.368 | 0.561 | 0.324 | 0.535 | 0.371 | 0 | 0.305 | 0 | 1.475 | 0.515 | 0.287 | 0.641 | 0.79 | 0.626 | 0.637 | 0.6315 |  | 14.6415 | 0.48805 | 1.475
July | 0.4495 | 0.267 | 0.561 | 1.407 | 0 | 0.478 | 0.397 | 0.263 | 0.191 | 0.334 | 0.594 | 0.302 | 0 | 0.945 | 0.402 | 0.182 | 0.303 | 0.521 | 0.268 | 0.538 | 0.65 | 0.325 | 0.211 | 0.405 | 0.398 | 0.153 | 0.504 | 0.237 | 0.353 | 0.154 | 0.317 | 12.1095 | 0.39063 | 1.407
August | 0.473 | 0.27 | 0.251 | 0.469 | 0.368 | 0.118 | 0.313 | 0.546 | 0.248 | 0.513 | 0.429 | 0.324 | 0.168 | 0.407 | 0.579 | 0.153 | 0.415 | 0.501 | 0.382 | 0.093 | 0.405 | 0.618 | 0.333 | 0.381 | 0.625 | 0.442 | 0.108 | 0.295 | 0.471 | 0.235 | 0 | 10.933 | 0.35268 | 0.625
September | 0.774 | 0 | 0 | 0.479 | 0.357 | 0.237 | 0.454 | 0.609 | 0.513 | 0.133 | 0.432 | 0.578 | 0.338 | 0.403 | 0.502 | 0.354 | 0.186 | 0.512 | 0.615 | 0.502 | 0.502 | 0.654 | 0.49 | 0.272 | 0.57 | 0.812 | 0.468 | 0.946 | 0.473 | 0.473 |  | 13.638 | 0.4546 | 0.946
October | 0.295 | 0.519 | 0.769 | 0.533 | 0.617 | 0.692 | 0.463 | 0.167 | 0.361 | 0.613 | 0.284 | 0.52 | 0.631 | 0.461 | 0.246 | 0.538 | 0.5575 | 0.5575 | 0.296 | 0.439 | 0.3 | 0.236 | 0.3 | 0.601 | 0.367 | 0.253 | 0.372 | 0.259 | 0.046 | 0.209 | 0.807 | 13.309 | 0.42932 | 0.807
November | 0.252 | 1.071 | 0 | 0.313 | 0.164 | 0.354 | 0.26 | 0.107 | 0.585 | 0.507 | 0.264 | 0.171 | 0.268 | 0.435 | 0.109 | 0.31 | 0.495 | 0.265 | 0.146 | 0.284 | 0.398 | 0.314 | 0.263 | 0.432 | 0.182 | 0.118 | 0.269 | 0.337 | 0.108 | 0.399 |  | 9.18 | 0.306 | 1.071
December | 0.555 | 0.258 | 0.145 | 0.269 | 0.306 | 0.049 | 0.545 | 0.622 | 0.25367 | 0.25367 | 0.25367 | 0.371 | 0.116 | 0.641 | 0.1015 | 0.1015 | 0.1325 | 0.1325 | 0.05001 | 0.27499 | 0.361 | 0.349 | 0.092 | 0.068 | 0.134 | 0.261 | 0.118 | 0.292 | 0.319 | 0.095 | 0.046 | 7.566 | 0.24406 | 0.641
[32 empty] | 136.6779 | Grand Total
[32 empty] | 16.4499 | Jan Grand Total
[32 empty] | 16.027 | Feb Grand Total
[32 empty] | 24.539 | March Grand Total
[32 empty] | 22.688 | April Grand Total
[32 empty] | 30.5616 | May Grand Total
[32 empty] | 29.5815 | June Grand Total
[32 empty] | 23.8075 | July Grand Total
[32 empty] | 22.051 | Aug Grand Total
[32 empty] | 26.694 | Sept Grand Total
[32 empty] | 27.936 | Oct Grand Total
[32 empty] | 18.92 | Nov Grand Total
[32 empty] | 15.401 | Dec Grand Total

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
ACME Water (Lake County) | 7989873 | 7841008 | 11999000 | 11612000 | 15859000 | 14641501 | 12109500 | 10933000 | 13638000 | 13309000 | 9180000 | 7566000