## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Bear Lake | 0.017956 | 0 | 0.020028 | 0 | 0.018056 | 0 | 0.01738 | 0 | 0.018356 | 0 | 0.01798 | 0 | 0.018056 | 0.002 | 0.018056 | 0 | 0.01732 | 0 | 0.018356 | 0 | 0.01778 | 0 | 0.018356 | 0 | 0.21968
Total | 0.017956 |  | 0.020028 |  | 0.018056 |  | 0.01738 |  | 0.018356 |  | 0.01798 |  | 0.020056 |  | 0.018056 |  | 0.01732 |  | 0.018356 |  | 0.01778 |  | 0.018356

## Bear Lake
252/015 - Bear Lake
PWS ID No. 3590069
CUP No. 20-117-8348-3 |  | Exp. 11/15/20
FDEP Permitted Max Day Capacity of Plant - .259 mgd
Hyper Links'!A1
[5 empty] | I/C Source Meter Error 04/19/18 -2.04% 02/21/19 +1.23% |  |  |  | Total Water Used/Loss |  |  |  |  | Source Mtr Error Adj. 02/21/19 0.99% 05/22/19 0.74% | [6 empty] | Seminole County Water & Sewer Utility 52611-620356 (Emerg. I/C) | [6 empty] | UIF Flow
| Pumped | Pumped Daily Avg. | Pumped Daily Max. | Inter-Connect | Meter Error % | Pumped Meter Error | Adjusted Purch (Emerg. I/C) | Total Gallons Pumped + Adj. Purch | Gallons Used | Gallons Loss | Total Used/ Loss | Pumped +Purch, Less Gallons Loss/ Used | Billed Consumption | Meter Adj. % | Pumped Meter Adj. | Pumped + Purch, + Source Mtr Error, - Gals Loss/Use | Total AFW(Total Used/Loss + Billed) | AFW % plus source mtr. error | 2018 AFW % |  | Start Meter Read Date | End Meter Read Date | No. of Days in Billing Cycle | Begin Mtr Count | End Mtr Count | Total I/C Usage | Daily Avg. | Start Meter Read Date | End Meter Read Date | Begin Mtr Count | End Mtr Count | Total I/C Usage
January 2019 | 0.8982 | 0.028974 | 0.0512 | 0.357 | -2.04% | -0.0072828 | 0.34972 | 1.2479 | 0.017956 | 0 | 0.017956 | 1.23 | 1.1912 | 0.99% | 0.0088922 | 1.2389 | 1.2092 | 96.21% | 96.43% | December 2018 |  | 2018-12-18 |  |  | 177046 |  |  |  | 2018-12-18
February | 1.122 | 0.040071 | 0.0566 | 0.0941 | -2.04% & 1.23% | 0.0011562 | 0.095256 | 1.2173 | 0.020028 | 0 | 0.020028 | 1.1972 | 1.1254 | 0.99% | 0.011108 | 1.2083 | 1.1454 | 93.25% | 82.53% | 2019-01-01 | 2018-12-18 | 2019-01-17 | 30 | 177046 | 180918 | 0.3872 | 0.012907 | 2018-12-18 | 2019-01-17 | 177046 | 180918 | 0.3872
March | 1.5263 | 0.049236 | 0.061824 | 0 | 1.23% | 0 | 0 | 1.5263 | 0.018056 | 0 | 0.018056 | 1.5082 | 1.3575 | 0.99% | 0.01511 | 1.5234 | 1.3756 | 89.24% | 95.48% | February | 2019-01-17 | 2019-02-18 | 32 | 180918 | 180936 | 0.0018 | 5.625e-05 | 2019-01-17 | 2019-02-18 | 180918 | 180936 | 0.0018
April | 1.4898 | 0.04966 | 0.075 | 0 | 1.23% | 0 | 0 | 1.4898 | 0.01738 | 0 | 0.01738 | 1.4724 | 1.357 | 0.99% | 0.014749 | 1.4872 | 1.3744 | 91.35% | 90.83% | March | 2019-02-18 | 2019-03-19 | 29 | 180936 | 181877 | 0.0941 | 0.0032448 | 2019-02-18 | 2019-03-19 | 180936 | 181877 | 0.0941
May | 1.6865 | 0.054403 | 0.0839 | 0 | 1.23% | 0 | 0 | 1.6865 | 0.018356 | 0 | 0.018356 | 1.6681 | 1.4356 | 0.99% & 0.74% | 0.015185 | 1.6833 | 1.454 | 85.44% | 92.09% | April | 2019-03-19 | 2019-04-18 | 30 | 181877 | 181877 | 0 | 0 | 2019-03-19 | 2019-04-18 | 181877 | 181877 | 0
June | 1.3641 | 0.04547 | 0.0759 | 0.0568 | 1.23% | 0.00069864 | 0.057499 | 1.4216 | 0.01798 | 0 | 0.01798 | 1.4036 | 1.3515 | 0.74% | 0.010094 | 1.4137 | 1.3695 | 95.66% | 88.24% | May | 2019-04-18 | 2019-05-20 | 32 | 181877 | 181877 | 0 | 0 | 2019-04-18 | 2019-05-20 | 181877 | 181877 | 0
July | 1.3502 | 0.043555 | 0.058 | 0.0377 | 1.23% | 0.00046371 | 0.038164 | 1.3884 | 0.018056 | 0.002 | 0.020056 | 1.3683 | 1.2772 | 0.74% | 0.0099915 | 1.3783 | 1.2973 | 92.77% | 105.5% | June | 2019-05-20 | 2019-06-18 | 29 | 181877 | 181877 | 0 | 0 | 2019-05-20 | 2019-06-18 | 181877 | 181877 | 0
August | 1.3631 | 0.043971 | 0.0644 | 0.0148 | 1.23% | 0.00018204 | 0.014982 | 1.3781 | 0.018056 | 0 | 0.018056 | 1.36 | 1.2704 | 0.74% | 0.010087 | 1.3701 | 1.2885 | 92.82% | 90.01% | July | 2019-06-18 | 2019-07-18 | 30 | 181877 | 182821 | 0.0944 | 0.0031467 | 2019-06-18 | 2019-07-18 | 181877 | 182821 | 0.0944
September | 1.5315 | 0.05105 | 0.0681 | 0 | 1.23% | 0 | 0 | 1.5315 | 0.01732 | 0 | 0.01732 | 1.5142 | 1.343 | 0.74% | 0.011333 | 1.5255 | 1.3603 | 88.17% | 94.3% | August | 2019-07-18 | 2019-08-19 | 32 | 182821 | 182970 | 0.0149 | 0.00046563 | 2019-07-18 | 2019-08-19 | 182821 | 182970 | 0.0149
October | 1.4965 | 0.048274 | 0.0683 | 0 | 1.23% | 0 | 0 | 1.4965 | 0.018356 | 0 | 0.018356 | 1.4781 | 1.4141 | 0.74% | 0.011074 | 1.4892 | 1.4325 | 95.02% | 88.5% | September | 2019-08-19 | 2019-09-18 | 30 | 182970 | 182970 | 0 | 0 | 2019-08-19 | 2019-09-18 | 182970 | 182970 | 0
November | 1.4562 | 0.04854 | 0.0711 | 0 | 1.23% | 0 | 0 | 1.4562 | 0.01778 | 0 | 0.01778 | 1.4384 | 1.2643 | 0.74% | 0.010776 | 1.4492 | 1.2821 | 87.4% | 92.19% | October | 2019-09-18 | 2019-10-18 | 30 | 182970 | 182970 | 0 | 0 | 2019-09-18 | 2019-10-18 | 182970 | 182970 | 0
December | 1.183 | 0.038161 | 0.061 | 0.2632 | 1.23% | 0.0032374 | 0.26644 | 1.4494 | 0.018356 | 0 | 0.018356 | 1.4311 | 1.3095 | 0.74% | 0.0087542 | 1.4398 | 1.3279 | 91.06% | 98.73% | November | 2019-10-18 | 2019-11-18 | 31 | 182970 | 182971 | 0.0001 | 3.2258e-06 | 2019-10-18 | 2019-11-18 | 182970 | 182970 | 0
YTDTotal/Avg/Max | 16.4674 | 0.045746 | 0.0839 | 0.8236 |  | -0.0015449 | 0.82206 | 17.291 | 0.21768 | 0.002 | 0.21968 | 17.0698 | 15.6969 |  | 0.13715 | 17.2069 | 15.9166 |  |  | December | 2019-11-18 | 2019-12-17 | 29 | 182971 | 185423 | 0.2452 | 0.0084552 | 2019-11-18 | 2019-12-17 | 182970 | 185423 | 0.2453
| 17.291 | [15 empty] | 15.9166 | [8 empty] | 0.8377 | [5 empty] | 0.8377
| 0 | Proof to Daily Flow |  | 0 | [7 empty] | Proof to Total Billed | 0 |  |  |  | YTD AFW% Jan-Dec | 92.05%
Water Loss-Use'!A1 | [9 empty] | Water Loss/Use Proof | 0
Verif W/UIWtrMn WLU wrksht & WAF Input
I/C Source Meter Error 04/19/18 -2.04% 02/21/19 +1.23%
[9 empty] | Dates | Meter Adj. % | Pumped | Adjusted
[9 empty] | 02/01-02/21 | -2.04% | 0 | 0
[9 empty] | 02/22-02/28 | 1.23% | 0.094 | 0.0011562
0.0011562
Well 1Source Meter Error
[9 empty] | Dates | Meter Adj. % | Pumped | Adjusted
[9 empty] | 05/01-05/21 | 0.99% | 1.0818 | 0.01071
[9 empty] | 05/22-05/31 | 0.74% | 0.6047 | 0.0044748
0.015185
Note on B9: Picked up from Daily Flow. Total daily flow, Column AH
Note on C9: Picked up from Daily Flow AVG, Column AI
Note on D9: Picked up from Daily Flow MAX, Column AJ
Note on J9: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the used detail.
Note on K9: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the loss detail.

## Daily Flow-015
252/015 - Bear Lake |  |  |  |  | MWAF - link to AH(x) |  |  |  |  | Hyper Links'!A1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total | Avg. | Max | Proof
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0364 | 0.0356 | 0.0355 | 0.0512 | 0.0408 | 0.0352 | 0.0432 | 0.036 | 0.0399 | 0.0402 | 0.0489 | 0.0349 | 0.0471 | 0.0445 | 0.0396 | 0.0386 | 0.0344 | 0.0481 | 0.0464 | 0.0429 | 0.0322 | 0.0466 |  | 0.8982 | 0.028974 | 0.0512 | 0
February | 0.0424 | 0.0371 | 0.0561 | 0.0396 | 0.0403 | 0.0518 | 0.0521 | 0.0361 | 0.0354 | 0.0466 | 0.0366 | 0.0458 | 0.0371 | 0.0356 | 0.0396 | 0.0361 | 0.0566 | 0.0415 | 0.0443 | 0.0468 | 0.047 | 0.0445 | 0.0438 | 0 | 0 | 0.0518 | 0.0376 | 0.0398 |  |  |  |  | 1.122 | 0.040071 | 0.0566 | 0
March | 0.0521 | 0.044 | 0.052 | 0.0426 | 0.0566 | 0.0393 | 0.0464 | 0.0508 | 0.0451 | 0.0418 | 0.05376 | 0.04704 | 0.052416 | 0.048384 | 0.051072 | 0.061824 | 0.059136 | 0.034944 | 0.057792 | 0.04704 | 0.04032 | 0.044352 | 0.05376 | 0.059136 | 0.049728 | 0.0472 | 0.0543 | 0.0357 | 0.0565 | 0.0411 | 0.0601 |  | 1.5263 | 0.049236 | 0.061824 | 0
April | 0.049 | 0.0475 | 0.0414 | 0.0478 | 0.0575 | 0.0361 | 0.0614 | 0.0514 | 0.0515 | 0.0474 | 0.0406 | 0.0568 | 0.0411 | 0.0695 | 0.0524 | 0.0523 | 0.0422 | 0.0443 | 0.0504 | 0.0347 | 0.0567 | 0.0377 | 0.0487 | 0.0528 | 0.0423 | 0.0443 | 0.0411 | 0.075 | 0.0588 | 0.0571 |  |  | 1.4898 | 0.04966 | 0.075 | 0
May | 0.0492 | 0.0666 | 0.0405 | 0.045 | 0.0582 | 0.0414 | 0.0439 | 0.0534 | 0.0514 | 0.0518 | 0.0566 | 0.0612 | 0.0444 | 0.0381 | 0.0495 | 0.0475 | 0.0502 | 0.0399 | 0.0839 | 0.0542 | 0.0549 | 0.0701 | 0.0565 | 0.047 | 0.0456 | 0.0833 | 0.0487 | 0.0805 | 0.055 | 0.0599 | 0.0581 |  | 1.6865 | 0.054403 | 0.0839 | 0
June | 0.0759 | 0.0501 | 0.0487 | 0.061 | 0.0747 | 0.0441 | 0.0434 | 0.0368 | 0.0516 | 0.0373 | 0.0416 | 0.0394 | 0.0439 | 0.0353 | 0.0317 | 0.0479 | 0.049 | 0.0371 | 0.0376 | 0.0351 | 0.0309 | 0.0456 | 0.0645 | 0.0526 | 0.0583 | 0.0448 | 0.048 | 0.0501 | 0.0471 | 0 |  |  | 1.3641 | 0.04547 | 0.0759 | 0
July | 0 | 0.0465 | 0.0517 | 0.0392 | 0.0447 | 0.0398 | 0.0472 | 0.0393 | 0.0398 | 0.0499 | 0.0439 | 0.0494 | 0.0362 | 0.0566 | 0.0501 | 0.0486 | 0.058 | 0.0438 | 0.0363 | 0.0359 | 0.0576 | 0.0397 | 0.0469 | 0.0488 | 0.04 | 0.0395 | 0.036 | 0.0553 | 0.0418 | 0.0442 | 0.0435 |  | 1.3502 | 0.043555 | 0.058 | 0
August | 0.0436 | 0.0398 | 0.0397 | 0.0539 | 0.0367 | 0.0483 | 0.0372 | 0.0448 | 0.0337 | 0.0408 | 0.0573 | 0.0492 | 0.0253 | 0.0401 | 0.0393 | 0.0386 | 0.0445 | 0.0419 | 0.0508 | 0.0583 | 0.0297 | 0.0577 | 0.0416 | 0.042 | 0.0644 | 0.0557 | 0.0509 | 0.0357 | 0.0398 | 0.0443 | 0.0375 |  | 1.3631 | 0.043971 | 0.0644 | 0
September | 0.0629 | 0.04 | 0.0449 | 0.0558 | 0.041 | 0.0476 | 0.0481 | 0.062 | 0.0562 | 0.0564 | 0.0434 | 0.0469 | 0.0409 | 0.0402 | 0.051 | 0.0404 | 0.0681 | 0.0447 | 0.0491 | 0.0473 | 0.0347 | 0.0643 | 0.0519 | 0.061 | 0.0463 | 0.0581 | 0.0596 | 0.0444 | 0.0603 | 0.064 |  |  | 1.5315 | 0.05105 | 0.0681 | 0
October | 0.0576 | 0.0597 | 0.0632 | 0.0605 | 0.0505 | 0.0676 | 0.0511 | 0.0473 | 0.0376 | 0.0489 | 0.0444 | 0.0398 | 0.057 | 0.0474 | 0.0532 | 0.0446 | 0.0534 | 0.0529 | 0.0402 | 0.0683 | 0.0289 | 0.0338 | 0.0516 | 0.0475 | 0.0362 | 0.0357 | 0.0464 | 0.0416 | 0.0407 | 0.0442 | 0.0447 |  | 1.4965 | 0.048274 | 0.0683 | 0
November | 0.0459 | 0.0373 | 0.0614 | 0.048 | 0.0404 | 0.049 | 0.0517 | 0.0518 | 0.0373 | 0.0509 | 0.0414 | 0.0586 | 0.0455 | 0.0387 | 0.0441 | 0.0356 | 0.0525 | 0.0485 | 0.0561 | 0.0496 | 0.0571 | 0.0568 | 0.042 | 0.0711 | 0.0427 | 0.0512 | 0.0484 | 0.0579 | 0.043 | 0.0417 |  |  | 1.4562 | 0.04854 | 0.0711 | 0
December | 0.053 | 0.0507 | 0.0342 | 0.0442 | 0.0452 | 0.052 | 0.0361 | 0.061 | 0.0378 | 0.0482 | 0.0523 | 0 | 0 | 0 | 0 | 0 | 0.0515 | 0.0432 | 0.0473 | 0.0468 | 0.0404 | 0.0552 | 0.0409 | 0.0524 | 0.0418 | 0.0493 | 0.0381 | 0.0322 | 0.0408 | 0.0435 | 0.0449 |  | 1.183 | 0.038161 | 0.061 | 0
[32 empty] | Grand Total | 16.4674
Interconnect Flow
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total | Avg. | Max | Proof
2019-01-01 | 0.0433 | 0.0408 | 0.0436 | 0.0458 | 0.0381 | 0.0382 | 0.0311 | 0.037 | 0.0373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0018 |  | 0.357 | 0.011516 | 0.0458 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 0 | 0 | 0 | 0.0581 | 0.0359 | 0 | 0 | 0 |  |  |  |  | 0.0941 | 0.0033607 | 0.0581 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0568 |  |  | 0.0568 | 0.0018933 | 0.0568 | 0
July | 0.0376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 |  | 0.0377 | 0.0012161 | 0.0376 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0148 | 0.00047742 | 0.0148 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.0617 | 0.0483 | 0.0395 | 0.0465 | 0.0472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.2632 | 0.0084903 | 0.0617 | 0
[32 empty] | Grand Total | 0.8236
I/C Meter Reads
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
2019-01-01 | 177799 | 178207 | 178643 | 179101 | 179482 | 179864 | 180175 | 180545 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180918 | 180936
February | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180936 | 180937 | 180937 | 180937 | 180937 | 181518 | 181877 | 181877 | 181877 | 181877
March | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877
April | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877
May | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877
June | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 181877 | 182445
July | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182821 | 182822
August | 182822 | 182822 | 182822 | 182822 | 182822 | 182822 | 182822 | 182822 | 182822 | 182822 | 182822 | 182822 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970
September | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970
October | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970
November | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182970 | 182791
December | 182791 | 182791 | 182791 | 182791 | 182791 | 182791 | 182791 | 182791 | 182791 | 182791 | 182991 | 183608 | 184091 | 184486 | 184951 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423 | 185423

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Bear Lake | 898200 | 1122000 | 1526304 | 1489800 | 1686500 | 1364100 | 1350200 | 1363100 | 1531500 | 1496500 | 1456200 | 1183000