## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Jansen | 0.017912 | 0 | 0.01206 | 0 | 0.02101 | 0.0987 | 0.017722 | 0 | 0.02557 | 0 | 0.03366 | 0.0025 | 0.04129 | 0 | 0.02037 | 0 | 0.03848 | 0.0471 | 0.01657 | 0.0662 | 0.02557 | 0.01 | 0.01657 | 0 | 0.51128
Total | 0.017912 |  | 0.01206 |  | 0.11971 |  | 0.017722 |  | 0.02557 |  | 0.03616 |  | 0.04129 |  | 0.02037 |  | 0.08558 |  | 0.08277 |  | 0.03557 |  | 0.01657

## Jansen
252/204 - Jansen
PWS ID No. 3590615
CUP No. 20-117-8347-4 |  | Exp. 05/27/36
FDEP Permitted Max Day Capacity of Plant - .309 mgd
Hyper Links'!A1 |  |  |  | Total Water Used/Loss |  |  |  |  | Source Mtr. Error Adj. 04/19/18 3.23% 02/21/19 Well O/S |  | Source Mtr. Error Adj. 04/19/18 2.44% 02/21/19 -1.01%
| Pumped (Wells 1 & 2) | Pumped Daily Avg. | Pumped Daily Max. | Gallons Used | Gallons Loss | Total Used/ Loss | Pumped, Less Gallons Loss/ Used | Billed Consumption | Well 1 Meter Adj. % | Well 1 Pumped Meter Adj. | Well 2 Meter Adj. % | Well 2 Pumped Meter Adj. | Total Pumped Meter Adj. | Pumped + Source Mtr Error, Less Gals Loss/Use | Total AFW (Total Used/Loss + Billed) | AFW % plus source mtr. error | 2018 AFW %
January 2019 | 1.585 | 0.051129 | 0.11 | 0.017912 | 0 | 0.017912 | 1.5671 | 1.564 | 3.23% | 0 | 2.44% | 0.038674 | 0.038674 | 1.6058 | 1.5819 | 97.43% | 95.69%
February | 1.4156 | 0.050557 | 0.071 | 0.01206 | 0 | 0.01206 | 1.4035 | 1.3569 | 3.23% | 0.0017636 | 2.44% & -1.01% | 0.021754 | 0.023518 | 1.4271 | 1.3689 | 95.12% | 89.66%
March | 1.8386 | 0.05931 | 0.0775 | 0.02101 | 0.0987 | 0.11971 | 1.7189 | 1.6991 | 3.23% | 0.029865 | -1.01% | -0.0092314 | 0.020633 | 1.7395 | 1.8188 | 97.83% | 87.57%
April | 1.6685 | 0.055617 | 0.0785 | 0.017722 | 0 | 0.017722 | 1.6508 | 1.6273 | 3.23% | 0.024532 | -1.01% | -0.0091809 | 0.015351 | 1.6661 | 1.6451 | 97.7% | 95.38%
May | 2.1356 | 0.06889 | 0.1061 | 0.02557 | 0 | 0.02557 | 2.11 | 1.879 | 3.23% | 0.034806 | -1.01% | -0.010686 | 0.024121 | 2.1342 | 1.9046 | 88.19% | 98.41%
June | 1.8306 | 0.06102 | 0.0959 | 0.03366 | 0.0025 | 0.03616 | 1.7944 | 1.9346 | 3.23% | 0.029961 | -1.01% | -0.0091203 | 0.020841 | 1.8153 | 1.9708 | 106.4% | 87.92%
July | 1.8171 | 0.058616 | 0.0837 | 0.04129 | 0 | 0.04129 | 1.7758 | 1.7165 | 3.23% | 0.029687 | -1.01% | -0.0090698 | 0.020617 | 1.7964 | 1.7578 | 95.65% | 88.38%
August | 1.7293 | 0.055784 | 0.0812 | 0.02037 | 0 | 0.02037 | 1.7089 | 1.5968 | 3.23% | 0.02824 | -1.01% | -0.0086355 | 0.019604 | 1.7285 | 1.6171 | 92.46% | 91.78%
September | 2.3334 | 0.07778 | 0.1003 | 0.03848 | 0.0471 | 0.08558 | 2.2478 | 1.6891 | 3.23% | 0.070815 | -1.01% | -0.0014241 | 0.06939 | 2.3172 | 1.7747 | 73.86% | 87.8%
October | 2.2119 | 0.071352 | 0.0922 | 0.01657 | 0.0662 | 0.08277 | 2.1291 | 1.7852 | 3.23% | 0.07138 | -1.01% | -2.02e-05 | 0.07136 | 2.2005 | 1.8679 | 81.81% | 94.59%
November | 1.7214 | 0.05738 | 0.0727 | 0.02557 | 0.01 | 0.03557 | 1.6858 | 1.5735 | 3.23% | 0.034865 | -1.01% | -0.0064842 | 0.02838 | 1.7142 | 1.6091 | 91.96% | 90.92%
December | 1.7094 | 0.055142 | 0.0669 | 0.01657 | 0 | 0.01657 | 1.6928 | 1.6411 | 3.23% | 0.029761 | -1.01% | -0.0079588 | 0.021802 | 1.7146 | 1.6577 | 95.75% | 99.04%
YTDTotal/Avg/Max | 21.9964 | 0.060215 | 0.11 | 0.28678 | 0.2245 | 0.51128 | 21.4851 | 20.063 |  | 0.38567 |  | -0.011383 | 0.37429 | 21.8594 | 20.5743
| 21.9964 | [11 empty] | 0.37429 |  | 20.5743
| 0 | Proof to Daily Flow |  |  |  |  | Proof to Total Billed | 0 | [6 empty] | YTD AFW% Jan-Dec | 91.97%
| Verif W/UIWtrMn WLU wrksht & WAF Input |  |  |  | Water Loss/Use Proof | 0
Water Loss-Use'!A1
[9 empty] | Well 1 | Source Mtr. Error Adj. 04/19/18 3.23% 02/21/19 Well O/S
[9 empty] | Dates | Meter Adj. % | Pumped | Adjusted
[9 empty] | Well 2 | Source Mtr. Error Adj. 04/19/18 2.44% 02/21/19 -1.01%
[9 empty] | Dates | Meter Adj. % | Pumped | Adjusted
[9 empty] | 02/01-02/21 | 2.44% | 1.029 | 0.025108
[9 empty] | 02/22-02/28 | -1.01% | 0.332 | -0.0033532
0.021754
Note on B7: Picked up from Daily Flow. Total daily flow, Column AH
Note on C7: Picked up from Daily Flow AVG, Column AI
Note on D7: Picked up from Daily Flow MAX, Column AJ
Note on E7: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the used detail.
Note on F7: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the loss detail.

## Daily Flow-204
252/204 - Jansen |  |  |  |  | MWAF - link to AH(x) |  |  |  |  | Hyper Links'!A1
Well 1 | SN: 20161846 | [33 empty] | Well 1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0013 | 0.0005 | 0 | 0 | 0 | 0 | 0.0224 | 0.0304 |  |  |  | 0.0546 | 0.00195 | 0.0304 | 0
March | 0.0255 | 0.0285 | 0.0345 | 0.0345 | 0.0237 | 0.0272 | 0.0261 | 0.0267 | 0.0279 | 0.0368 | 0.0369 | 0.0233 | 0.0336 | 0.0267 | 0.0306 | 0.0319 | 0.0364 | 0.0364 | 0.026 | 0.0229 | 0.0272 | 0.0288 | 0.036 | 0.0329 | 0.0329 | 0.0232 | 0.0289 | 0.0253 | 0.0306 | 0.0242 | 0.0385 | 0.9246 | 0.029826 | 0.0385 | 0
April | 0.0385 | 0.0224 | 0.0276 | 0.0238 | 0.0283 | 0.021 | 0.0307 | 0.0307 | 0.023 | 0.024 | 0.0207 | 0.0245 | 0.0034 | 0 | 0 | 0.0273 | 0.0306 | 0.0342 | 0.0255 | 0.0205 | 0.0295 | 0.0296 | 0.0224 | 0.0344 | 0.0311 | 0.0262 | 0.029 | 0.0352 | 0.0352 | 0.0302 |  | 0.7595 | 0.025317 | 0.0385 | 0
May | 0.0327 | 0.033 | 0.0229 | 0.0272 | 0.0334 | 0.0333 | 0.0252 | 0.0346 | 0.0285 | 0.0274 | 0.0309 | 0.033 | 0.0331 | 0.0172 | 0.0361 | 0.0331 | 0.0249 | 0.0263 | 0.0381 | 0.038 | 0.0354 | 0.041 | 0.0395 | 0.0276 | 0.0335 | 0.051 | 0.051 | 0.0531 | 0.0444 | 0.0479 | 0.0443 | 1.0776 | 0.034761 | 0.0531 | 0
June | 0.0489 | 0.0394 | 0.0394 | 0.0399 | 0.0449 | 0.0288 | 0.0239 | 0.0197 | 0.034 | 0.0301 | 0.0237 | 0.0265 | 0.0286 | 0.0235 | 0.0248 | 0.0326 | 0.0326 | 0.0229 | 0.0245 | 0.0225 | 0.0209 | 0.0249 | 0.0375 | 0.0376 | 0.033 | 0.0286 | 0.038 | 0.0237 | 0.0337 | 0.0385 |  | 0.9276 | 0.03092 | 0.0489 | 0
July | 0.0385 | 0.0333 | 0.0417 | 0.0297 | 0.0306 | 0.0269 | 0.0198 | 0.0438 | 0.0223 | 0.0326 | 0.0221 | 0.0387 | 0.0227 | 0.0348 | 0.0349 | 0.0318 | 0.0389 | 0.028 | 0.0205 | 0.0237 | 0.0334 | 0.0335 | 0.024 | 0.0318 | 0.0271 | 0.0189 | 0.019 | 0.0314 | 0.0314 | 0.0222 | 0.0311 | 0.9191 | 0.029648 | 0.0438 | 0
August | 0.0253 | 0.0231 | 0.0194 | 0.0294 | 0.0295 | 0.0258 | 0.0235 | 0.0293 | 0.0243 | 0.0278 | 0.0318 | 0.0318 | 0.0236 | 0.0282 | 0.0236 | 0.0212 | 0.021 | 0.0324 | 0.0324 | 0.024 | 0.0295 | 0.0322 | 0.0278 | 0.0242 | 0.0377 | 0.0377 | 0.0321 | 0.0402 | 0.0302 | 0.0313 | 0.024 | 0.8743 | 0.028203 | 0.0402 | 0
September | 0.0336 | 0.0336 | 0.0303 | 0.0487 | 0.076 | 0.0637 | 0.0629 | 0.0957 | 0.0956 | 0.0835 | 0.0882 | 0.072 | 0.0559 | 0.0668 | 0.0761 | 0.076 | 0.0781 | 0.0675 | 0.0803 | 0.0608 | 0.067 | 0.0922 | 0.0922 | 0.075 | 0.0868 | 0.0894 | 0.0681 | 0.0759 | 0.1003 | 0.1002 |  | 2.1924 | 0.07308 | 0.1003 | 0
October | 0.0819 | 0.0836 | 0.0827 | 0.0724 | 0.0821 | 0.0848 | 0.0847 | 0.0636 | 0.0595 | 0.0646 | 0.0647 | 0.0635 | 0.0922 | 0.0922 | 0.0881 | 0.0817 | 0.0686 | 0.0591 | 0.0658 | 0.0698 | 0.0697 | 0.0636 | 0.0767 | 0.0599 | 0.0588 | 0.051 | 0.0681 | 0.0681 | 0.0605 | 0.0723 | 0.0556 | 2.2099 | 0.071287 | 0.0922 | 0
November | 0.0501 | 0.0609 | 0.0727 | 0.0667 | 0.0498 | 0.0671 | 0.0521 | 0.0304 | 0.0208 | 0.0268 | 0.0267 | 0.0356 | 0.0305 | 0.0235 | 0.0243 | 0.0208 | 0.0295 | 0.0296 | 0.0296 | 0.0309 | 0.0308 | 0.0277 | 0.0246 | 0.0328 | 0.0329 | 0.0292 | 0.0321 | 0.0282 | 0.0298 | 0.0329 |  | 1.0794 | 0.03598 | 0.0727 | 0
December | 0.0333 | 0.0339 | 0.0221 | 0.0289 | 0.0535 | 0.0501 | 0.0275 | 0.0337 | 0.0338 | 0.0289 | 0.0308 | 0.0296 | 0.0223 | 0.022 | 0.0301 | 0.03 | 0.0225 | 0.0302 | 0.0242 | 0.0221 | 0.0247 | 0.032 | 0.0319 | 0.0248 | 0.0278 | 0.0335 | 0.0266 | 0.024 | 0.0301 | 0.03 | 0.0265 | 0.9214 | 0.029723 | 0.0535 | 0 | 11.9404 | Grand Total
Well 2 | [34 empty] | Well 2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.058 | 0.063 | 0.05 | 0.048 | 0.06 | 0.061 | 0.031 | 0.03 | 0.11 | 0.055 | 0.058 | 0.05 | 0.069 | 0.069 | 0.048 | 0.063 | 0.053 | 0.04 | 0.045 | 0.051 | 0.05 | 0.04 | 0.048 | 0.044 | 0.025 | 0.032 | 0.054 | 0.055 | 0.04 | 0.04 | 0.045 | 1.585 | 0.051129 | 0.11 | 0
February | 0.045 | 0.032 | 0.058 | 0.058 | 0.035 | 0.053 | 0.048 | 0.052 | 0.045 | 0.051 | 0.052 | 0.046 | 0.025 | 0.053 | 0.041 | 0.043 | 0.056 | 0.056 | 0.057 | 0.06 | 0.063 | 0.051 | 0.036 | 0.071 | 0.071 | 0.048 | 0.024 | 0.031 |  |  |  | 1.361 | 0.048607 | 0.071 | 0
March | 0.024 | 0.028 | 0.034 | 0.034 | 0.024 | 0.027 | 0.026 | 0.026 | 0.024 | 0.038 | 0.039 | 0.023 | 0.034 | 0.027 | 0.03 | 0.03 | 0.036 | 0.037 | 0.028 | 0.02 | 0.028 | 0.028 | 0.032 | 0.035 | 0.036 | 0.022 | 0.025 | 0.028 | 0.03 | 0.022 | 0.039 | 0.914 | 0.029484 | 0.039 | 0
April | 0.04 | 0.022 | 0.027 | 0.024 | 0.027 | 0.02 | 0.03 | 0.031 | 0.022 | 0.023 | 0.021 | 0.023 | 0.033 | 0.067 | 0.068 | 0.027 | 0.03 | 0.033 | 0.025 | 0.02 | 0.029 | 0.029 | 0.022 | 0.033 | 0.031 | 0.025 | 0.028 | 0.035 | 0.035 | 0.029 |  | 0.909 | 0.0303 | 0.068 | 0
May | 0.032 | 0.032 | 0.022 | 0.026 | 0.033 | 0.033 | 0.025 | 0.034 | 0.028 | 0.027 | 0.03 | 0.032 | 0.032 | 0.016 | 0.036 | 0.032 | 0.024 | 0.025 | 0.038 | 0.037 | 0.035 | 0.039 | 0.039 | 0.027 | 0.033 | 0.05 | 0.051 | 0.053 | 0.044 | 0.049 | 0.044 | 1.058 | 0.034129 | 0.053 | 0
June | 0.047 | 0.04 | 0.04 | 0.038 | 0.044 | 0.029 | 0.023 | 0.019 | 0.031 | 0.031 | 0.023 | 0.025 | 0.028 | 0.022 | 0.024 | 0.032 | 0.032 | 0.022 | 0.024 | 0.022 | 0.02 | 0.024 | 0.036 | 0.037 | 0.032 | 0.028 | 0.037 | 0.023 | 0.033 | 0.037 |  | 0.903 | 0.0301 | 0.047 | 0
July | 0.038 | 0.033 | 0.042 | 0.03 | 0.029 | 0.026 | 0.031 | 0.032 | 0.021 | 0.033 | 0.033 | 0.026 | 0.022 | 0.034 | 0.034 | 0.031 | 0.039 | 0.027 | 0.02 | 0.023 | 0.032 | 0.032 | 0.023 | 0.031 | 0.027 | 0.017 | 0.018 | 0.031 | 0.031 | 0.022 | 0.03 | 0.898 | 0.028968 | 0.042 | 0
August | 0.025 | 0.022 | 0.029 | 0.023 | 0.024 | 0.025 | 0.023 | 0.029 | 0.024 | 0.027 | 0.031 | 0.031 | 0.022 | 0.028 | 0.023 | 0.02 | 0.02 | 0.032 | 0.031 | 0.029 | 0.024 | 0.03 | 0.029 | 0.024 | 0.037 | 0.036 | 0.033 | 0.041 | 0.029 | 0.031 | 0.023 | 0.855 | 0.027581 | 0.041 | 0
September | 0.034 | 0.034 | 0.031 | 0.027 | 0.014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 |  | 0.141 | 0.0047 | 0.034 | 0
October | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 | 6.4516e-05 | 0.001 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.028 | 0.02 | 0.026 | 0.026 | 0.035 | 0.03 | 0.023 | 0.023 | 0.02 | 0.029 | 0.029 | 0.028 | 0.031 | 0.03 | 0.027 | 0.024 | 0.032 | 0.032 | 0.028 | 0.033 | 0.027 | 0.029 | 0.032 |  | 0.642 | 0.0214 | 0.035 | 0
December | 0.033 | 0.033 | 0.021 | 0.028 | 0 | 0 | 0.027 | 0.033 | 0.033 | 0.028 | 0.03 | 0.027 | 0.024 | 0.021 | 0.03 | 0.029 | 0.022 | 0.019 | 0.023 | 0.022 | 0.024 | 0.031 | 0.031 | 0.025 | 0.026 | 0.033 | 0.026 | 0.024 | 0.029 | 0.029 | 0.027 | 0.788 | 0.025419 | 0.033 | 0 | 10.056 | Grand Total
Combined Wells 1 & 2 | [33 empty] | Combined Wells 1 & 2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max
2019-01-01 | 0.058 | 0.063 | 0.05 | 0.048 | 0.06 | 0.061 | 0.031 | 0.03 | 0.11 | 0.055 | 0.058 | 0.05 | 0.069 | 0.069 | 0.048 | 0.063 | 0.053 | 0.04 | 0.045 | 0.051 | 0.05 | 0.04 | 0.048 | 0.044 | 0.025 | 0.032 | 0.054 | 0.055 | 0.04 | 0.04 | 0.045 | 1.585 | 0.051129 | 0.11
February | 0.045 | 0.032 | 0.058 | 0.058 | 0.035 | 0.053 | 0.048 | 0.052 | 0.045 | 0.051 | 0.052 | 0.046 | 0.025 | 0.053 | 0.041 | 0.043 | 0.056 | 0.056 | 0.057 | 0.06 | 0.0643 | 0.0515 | 0.036 | 0.071 | 0.071 | 0.048 | 0.0464 | 0.0614 |  |  |  | 1.4156 | 0.050557 | 0.071
March | 0.0495 | 0.0565 | 0.0685 | 0.0685 | 0.0477 | 0.0542 | 0.0521 | 0.0527 | 0.0519 | 0.0748 | 0.0759 | 0.0463 | 0.0676 | 0.0537 | 0.0606 | 0.0619 | 0.0724 | 0.0734 | 0.054 | 0.0429 | 0.0552 | 0.0568 | 0.068 | 0.0679 | 0.0689 | 0.0452 | 0.0539 | 0.0533 | 0.0606 | 0.0462 | 0.0775 | 1.8386 | 0.05931 | 0.0775
April | 0.0785 | 0.0444 | 0.0546 | 0.0478 | 0.0553 | 0.041 | 0.0607 | 0.0617 | 0.045 | 0.047 | 0.0417 | 0.0475 | 0.0364 | 0.067 | 0.068 | 0.0543 | 0.0606 | 0.0672 | 0.0505 | 0.0405 | 0.0585 | 0.0586 | 0.0444 | 0.0674 | 0.0621 | 0.0512 | 0.057 | 0.0702 | 0.0702 | 0.0592 |  | 1.6685 | 0.055617 | 0.0785
May | 0.0647 | 0.065 | 0.0449 | 0.0532 | 0.0664 | 0.0663 | 0.0502 | 0.0686 | 0.0565 | 0.0544 | 0.0609 | 0.065 | 0.0651 | 0.0332 | 0.0721 | 0.0651 | 0.0489 | 0.0513 | 0.0761 | 0.075 | 0.0704 | 0.08 | 0.0785 | 0.0546 | 0.0665 | 0.101 | 0.102 | 0.1061 | 0.0884 | 0.0969 | 0.0883 | 2.1356 | 0.06889 | 0.1061
June | 0.0959 | 0.0794 | 0.0794 | 0.0779 | 0.0889 | 0.0578 | 0.0469 | 0.0387 | 0.065 | 0.0611 | 0.0467 | 0.0515 | 0.0566 | 0.0455 | 0.0488 | 0.0646 | 0.0646 | 0.0449 | 0.0485 | 0.0445 | 0.0409 | 0.0489 | 0.0735 | 0.0746 | 0.065 | 0.0566 | 0.075 | 0.0467 | 0.0667 | 0.0755 |  | 1.8306 | 0.06102 | 0.0959
July | 0.0765 | 0.0663 | 0.0837 | 0.0597 | 0.0596 | 0.0529 | 0.0508 | 0.0758 | 0.0433 | 0.0656 | 0.0551 | 0.0647 | 0.0447 | 0.0688 | 0.0689 | 0.0628 | 0.0779 | 0.055 | 0.0405 | 0.0467 | 0.0654 | 0.0655 | 0.047 | 0.0628 | 0.0541 | 0.0359 | 0.037 | 0.0624 | 0.0624 | 0.0442 | 0.0611 | 1.8171 | 0.058616 | 0.0837
August | 0.0503 | 0.0451 | 0.0484 | 0.0524 | 0.0535 | 0.0508 | 0.0465 | 0.0583 | 0.0483 | 0.0548 | 0.0628 | 0.0628 | 0.0456 | 0.0562 | 0.0466 | 0.0412 | 0.041 | 0.0644 | 0.0634 | 0.053 | 0.0535 | 0.0622 | 0.0568 | 0.0482 | 0.0747 | 0.0737 | 0.0651 | 0.0812 | 0.0592 | 0.0623 | 0.047 | 1.7293 | 0.055784 | 0.0812
September | 0.0676 | 0.0676 | 0.0613 | 0.0757 | 0.09 | 0.0637 | 0.0629 | 0.0957 | 0.0956 | 0.0835 | 0.0882 | 0.072 | 0.0559 | 0.0668 | 0.0761 | 0.076 | 0.0781 | 0.0675 | 0.0803 | 0.0608 | 0.067 | 0.0922 | 0.0922 | 0.075 | 0.0878 | 0.0894 | 0.0681 | 0.0759 | 0.1003 | 0.1002 |  | 2.3334 | 0.07778 | 0.1003
October | 0.0819 | 0.0836 | 0.0827 | 0.0734 | 0.0821 | 0.0848 | 0.0847 | 0.0636 | 0.0595 | 0.0646 | 0.0647 | 0.0635 | 0.0922 | 0.0922 | 0.0891 | 0.0817 | 0.0686 | 0.0591 | 0.0658 | 0.0698 | 0.0697 | 0.0636 | 0.0767 | 0.0599 | 0.0588 | 0.051 | 0.0681 | 0.0681 | 0.0605 | 0.0723 | 0.0556 | 2.2119 | 0.071352 | 0.0922
November | 0.0501 | 0.0609 | 0.0727 | 0.0667 | 0.0498 | 0.0671 | 0.0521 | 0.0584 | 0.0408 | 0.0528 | 0.0527 | 0.0706 | 0.0605 | 0.0465 | 0.0473 | 0.0408 | 0.0585 | 0.0586 | 0.0576 | 0.0619 | 0.0608 | 0.0547 | 0.0486 | 0.0648 | 0.0649 | 0.0572 | 0.0651 | 0.0552 | 0.0588 | 0.0649 |  | 1.7214 | 0.05738 | 0.0727
December | 0.0663 | 0.0669 | 0.0431 | 0.0569 | 0.0535 | 0.0501 | 0.0545 | 0.0667 | 0.0668 | 0.0569 | 0.0608 | 0.0566 | 0.0463 | 0.043 | 0.0601 | 0.059 | 0.0445 | 0.0492 | 0.0472 | 0.0441 | 0.0487 | 0.063 | 0.0629 | 0.0498 | 0.0538 | 0.0665 | 0.0526 | 0.048 | 0.0591 | 0.059 | 0.0535 | 1.7094 | 0.055142 | 0.0669 | 21.9964 | Grand Total

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Jansen | 1585000 | 1415600 | 1838600 | 1668500 | 2135600 | 1830600 | 1817100 | 1729300 | 2333400 | 2211900 | 1721400 | 1709400