## WLU
2019 | Jan Used | Jan Loss | Feb Used | Feb Loss | March Used | March Loss | April Used | April Loss | May Used | May Loss | June Used | June Loss | July Used | July Loss | Aug Used | Aug Loss | Sept Used | Sept Loss | Oct Used | Oct Loss | Nov Used | Nov Loss | Dec Used | Dec Loss | YTD Total
Pennbrooke | 0.0024 | 0 | 0.021517 | 0 | 0.023538 | 0 | 0.022884 | 0 | 0.010554 | 0.05 | 0.007871 | 0 | 0.001231 | 0 | 0.003356 | 0.001 | 0.006308 | 0 | 0.005497 | 0 | 0.00015 | 0 | 0.00303 | 0 | 0.15934
Total | 0.0024 |  | 0.021517 |  | 0.023538 |  | 0.022884 |  | 0.060554 |  | 0.007871 |  | 0.001231 |  | 0.004356 |  | 0.006308 |  | 0.005497 |  | 0.00015 |  | 0.00303

## Monthly
System | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-17 | 2019-10-17 | 2019-11-17 | 2019-12-17
Pennbrooke | 9551000 | 9481000 | 12070000 | 11593000 | 13545000 | 11871000 | 11045000 | 8975000 | 11677000 | 13138000 | 11482000 | 10097000

## Pennbrooke
260/451 - Pennbrooke
PWS ID No. 3354653
CUP No. 2717 |  | Expires: 09/14/25
FDEP Permitted Max Day Capacity of Plant - 1.296 MGD
Water Loss-Use'!A1
Hyper Links'!A1 |  |  |  | Total Water Used/Loss |  |  |  |  | Well 1 Meter Adj. 02/06/18 -3.15% 03/05/19 -2.90% |  | Well 2 Meter Adj. 02/06/18 -2.13% 03/05/19 -2.70%
| Pumped | Pumped Daily Avg. | Pumped Daily Max | Gallons Used | Gallons Loss | Total Used/ Loss | Pumped, Less Gallons Loss/ Used | Billed Consumption | % Error Adj. | Pumped Error Adj. | % Error Adj. | Pumped Error Adj. | Total Pumped Meter Adj. | Pumped + Source Mtr Error, Less Gals Loss/Use (+SME) | Total AFW(Total Used/Loss + Billed) | AFW % plus source mtr. error | 2018 AFW %
January 2019 | 9.551 | 0.3081 | 0.423 | 0.0024 | 0 | 0.0024 |  | 8.7874 | -3.15% | 0 | -2.13% | -0.20344 | -0.20344 | 9.3452 | 8.7898 | 94.03% | 103.3%
February | 9.481 | 0.33861 | 0.833 | 0.021517 | 0 | 0.021517 |  | 8.199 | -3.15% | -0.008505 | -2.13% | -0.19619 | -0.2047 | 9.2548 | 8.2205 | 88.62% | 89.53%
March | 12.07 | 0.38935 | 0.575 | 0.023538 | 0 | 0.023538 |  | 10.6222 | -3.15% & -2.90% | -0.02668 | -2.13% & -2.7% | -0.29168 | -0.31836 | 11.7281 | 10.6457 | 90.59% | 92.42%
April | 11.593 | 0.38643 | 0.569 | 0.022884 | 0 | 0.022884 |  | 10.9277 | -2.9% | -0.000377 | -2.7% | -0.31266 | -0.31304 | 11.2571 | 10.9506 | 97.08% | 98.58%
May | 13.545 | 0.43694 | 0.716 | 0.010554 | 0.05 | 0.060554 |  | 11.9884 | -2.9% | -0.001334 | -2.7% | -0.36447 | -0.36581 | 13.1186 | 12.049 | 91.42% | 104.8%
June | 11.871 | 0.3957 | 0.585 | 0.007871 | 0 | 0.007871 |  | 11.515 | -2.9% | -0.000551 | -2.7% | -0.32 | -0.32055 | 11.5426 | 11.5229 | 99.76% | 82.76%
July | 11.045 | 0.35629 | 0.581 | 0.001231 | 0 | 0.001231 |  | 10.3167 | -2.9% | -2.9e-05 | -2.7% | -0.29819 | -0.29822 | 10.7456 | 10.3179 | 96.01% | 105.7%
August | 8.975 | 0.28952 | 0.405 | 0.003356 | 0.001 | 0.004356 |  | 8.5186 | -2.9% | -2.9e-05 | -2.7% | -0.2423 | -0.24233 | 8.7283 | 8.523 | 97.6% | 89.55%
September | 11.677 | 0.38923 | 0.532 | 0.006308 | 0 | 0.006308 |  | 10.4885 | -2.9% | -0.000116 | -2.7% | -0.31517 | -0.31529 | 11.3554 | 10.4948 | 92.37% | 89.77%
October | 13.138 | 0.42381 | 0.585 | 0.005497 | 0 | 0.005497 |  | 12.6355 | -2.9% | -0.000174 | -2.7% | -0.35456 | -0.35474 | 12.7778 | 12.641 | 98.89% | 94.9%
November | 11.482 | 0.38273 | 0.494 | 0.00015 | 0 | 0.00015 |  | 10.3483 | -2.9% | -5.8e-05 | -2.7% | -0.30996 | -0.31002 | 11.1718 | 10.3485 | 92.63% | 95.28%
December | 10.097 | 0.32571 | 0.489 | 0.00303 | 0 | 0.00303 |  | 9.514 | -2.9% | 0 | -2.7% | -0.27262 | -0.27262 | 9.8214 | 9.5171 | 96.87% | 81.02%
YTD Total/Avg/Max | 134.525 | 0.36853 | 0.833 | 0.10834 | 0.051 | 0.15934 |  | 123.8613 |  | -0.037853 |  | -3.4813 | -3.5191 | 130.8466 | 124.0207
| 134.525 | [11 empty] | -3.5191 |  | 124.0207
| 0 | Proof to Daily Flow |  |  |  | Proof to Total Billed |  | 0 | [6 empty] | YTD AFW% Jan-Dec | 94.67%
|  |  |  | WLU Proof | 0
|  |  |  | Verif. W/UIWtrMn WLU wrksht & WAF Input | [5 empty] | Well 1 | Percent | Pumped | Adjusted |  | Well 2 | Percent | Pumped | Adjusted
[10 empty] | 03/01-03/05 | -3.15% | 0 | 0 |  | 03/01-03/05 | -2.13% | 1.643 | -0.034996
[10 empty] | 03/06-03/31 | -2.9% | 0.92 | -0.02668 |  | 03/06-03/31 | -2.7% | 9.507 | -0.25669
[13 empty] | -0.02668 |  |  |  |  | -0.29168
Note on B9: Picked up from Daily Flow. Total daily flow, Column AH
Note on C9: Picked up from Daily Flow AVG, Column AI
Note on D9: Picked up from Daily Flow MAX, Column AJ
Note on E9: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the used detail.
Note on F9: Click on the hyperlink at the top of this worksheet to access the Water Accountability Data Input Form for the loss detail.

## Daily Flow-451
260/451 - Pennbrooke |  |  |  |  | MWAF - link to AH(x) |  |  |  |  | Hyper Links'!A1
Combined Wells 1 & 2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max
2019-01-01 | 0.262 | 0.314 | 0.313 | 0.354 | 0.266 | 0.325 | 0.2 | 0.275 | 0.3 | 0.32 | 0.344 | 0.423 | 0.42 | 0.227 | 0.314 | 0.312 | 0.3 | 0.394 | 0.408 | 0.353 | 0.233 | 0.28 | 0.306 | 0.28 | 0.335 | 0.35 | 0.315 | 0.164 | 0.263 | 0.267 | 0.334 | 9.551 | 0.3081 | 0.423
February | 0.347 | 0.373 | 0.401 | 0.229 | 0.261 | 0.314 | 0.3 | 0.388 | 0.45 | 0.315 | 0.309 | 0.255 | 0.264 | 0.268 | 0.342 | 0.423 | 0.4 | 0.296 | 0.307 | 0.247 | 0.328 | 0.833 | 0.457 | 0.264 | 0.318 | 0.251 | 0.249 | 0.292 |  |  |  | 9.481 | 0.33861 | 0.833
March | 0.292 | 0.434 | 0.38 | 0.253 | 0.284 | 0.284 | 0.298 | 0.337 | 0.455 | 0.437 | 0.324 | 0.338 | 0.373 | 0.384 | 0.414 | 0.531 | 0.437 | 0.291 | 0.365 | 0.365 | 0.435 | 0.404 | 0.538 | 0.567 | 0.347 | 0.246 | 0.575 | 0.318 | 0.404 | 0.51 | 0.45 | 12.07 | 0.38935 | 0.575
April | 0.337 | 0.297 | 0.36 | 0.252 | 0.477 | 0.457 | 0.407 | 0.204 | 0.333 | 0.408 | 0.207 | 0.554 | 0.569 | 0.497 | 0.264 | 0.383 | 0.41 | 0.385 | 0.291 | 0.41 | 0.382 | 0.25 | 0.365 | 0.501 | 0.433 | 0.414 | 0.477 | 0.445 | 0.36 | 0.464 |  | 11.593 | 0.38643 | 0.569
May | 0.518 | 0.448 | 0.366 | 0.51 | 0.438 | 0.276 | 0.334 | 0.466 | 0.424 | 0.367 | 0.454 | 0.467 | 0.257 | 0.273 | 0.42 | 0.397 | 0.413 | 0.51 | 0.501 | 0.297 | 0.436 | 0.542 | 0.262 | 0.528 | 0.543 | 0.53 | 0.367 | 0.473 | 0.605 | 0.407 | 0.716 | 13.545 | 0.43694 | 0.716
June | 0.578 | 0.535 | 0.325 | 0.482 | 0.565 | 0.499 | 0.463 | 0.396 | 0.363 | 0.217 | 0.308 | 0.333 | 0.28 | 0.297 | 0.349 | 0.363 | 0.209 | 0.313 | 0.29 | 0.286 | 0.315 | 0.472 | 0.396 | 0.323 | 0.388 | 0.585 | 0.464 | 0.47 | 0.551 | 0.456 |  | 11.871 | 0.3957 | 0.585
July | 0.342 | 0.448 | 0.551 | 0.406 | 0.299 | 0.581 | 0.323 | 0.23 | 0.341 | 0.467 | 0.381 | 0.307 | 0.345 | 0.376 | 0.295 | 0.349 | 0.38 | 0.174 | 0.494 | 0.476 | 0.351 | 0.185 | 0.337 | 0.357 | 0.233 | 0.285 | 0.374 | 0.367 | 0.267 | 0.368 | 0.356 | 11.045 | 0.35629 | 0.581
August | 0.237 | 0.245 | 0.306 | 0.365 | 0.211 | 0.245 | 0.342 | 0.244 | 0.274 | 0.372 | 0.335 | 0.173 | 0.23 | 0.271 | 0.139 | 0.337 | 0.256 | 0.267 | 0.197 | 0.258 | 0.353 | 0.321 | 0.372 | 0.405 | 0.33 | 0.32 | 0.276 | 0.328 | 0.325 | 0.343 | 0.298 | 8.975 | 0.28952 | 0.405
September | 0.302 | 0.19 | 0.218 | 0.271 | 0.276 | 0.301 | 0.431 | 0.444 | 0.25 | 0.372 | 0.465 | 0.418 | 0.39 | 0.496 | 0.335 | 0.225 | 0.405 | 0.493 | 0.367 | 0.412 | 0.529 | 0.501 | 0.239 | 0.457 | 0.53 | 0.508 | 0.528 | 0.527 | 0.532 | 0.265 |  | 11.677 | 0.38923 | 0.532
October | 0.483 | 0.585 | 0.502 | 0.487 | 0.548 | 0.535 | 0.297 | 0.371 | 0.457 | 0.417 | 0.443 | 0.548 | 0.532 | 0.287 | 0.441 | 0.532 | 0.38 | 0.448 | 0.365 | 0.332 | 0.221 | 0.316 | 0.411 | 0.445 | 0.399 | 0.359 | 0.355 | 0.259 | 0.416 | 0.561 | 0.406 | 13.138 | 0.42381 | 0.585
November | 0.428 | 0.483 | 0.494 | 0.267 | 0.366 | 0.489 | 0.413 | 0.418 | 0.383 | 0.406 | 0.262 | 0.372 | 0.399 | 0.347 | 0.342 | 0.355 | 0.374 | 0.226 | 0.345 | 0.4 | 0.368 | 0.388 | 0.486 | 0.38 | 0.251 | 0.369 | 0.405 | 0.372 | 0.403 | 0.491 |  | 11.482 | 0.38273 | 0.494
December | 0.489 | 0.285 | 0.395 | 0.426 | 0.365 | 0.369 | 0.441 | 0.436 | 0.256 | 0.373 | 0.335 | 0.356 | 0.344 | 0.327 | 0.336 | 0.225 | 0.309 | 0.277 | 0.279 | 0.328 | 0.376 | 0.3 | 0.202 | 0.236 | 0.309 | 0.255 | 0.323 | 0.365 | 0.278 | 0.219 | 0.283 | 10.097 | 0.32571 | 0.489
[32 empty] | 134.525 | Grand Total
Well 1
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0.27 | 0.0096429 | 0.27 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.29 | 0 | 0 | 0.004 | 0 | 0 | 0.433 | 0.063 | 0.07 | 0 | 0 | 0 | 0 | 0.06 | 0.92 | 0.029677 | 0.433 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.013 | 0.00043333 | 0.013 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0 | 0 | 0 | 0.003 | 0.029 | 0.003 | 0.003 | 0 | 0 | 0 | 0.003 | 0 | 0 | 0.046 | 0.0014839 | 0.029 | 0
June | 0.007 | 0.004 | 0 | 0 | 0.004 | 0.001 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.019 | 0.00063333 | 0.007 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 3.2258e-05 | 0.001 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 3.2258e-05 | 0.001 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0.003 | 0 | 0 |  | 0.004 | 0.00013333 | 0.003 | 0
October | 0 | 0 | 0 | 0 | 0.004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006 | 0.00019355 | 0.004 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.002 | 6.6667e-05 | 0.002 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[32 empty] | 1.282 | Grand Total
Well 2
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0.262 | 0.314 | 0.313 | 0.354 | 0.266 | 0.325 | 0.2 | 0.275 | 0.3 | 0.32 | 0.344 | 0.423 | 0.42 | 0.227 | 0.314 | 0.312 | 0.3 | 0.394 | 0.408 | 0.353 | 0.233 | 0.28 | 0.306 | 0.28 | 0.335 | 0.35 | 0.315 | 0.164 | 0.263 | 0.267 | 0.334 | 9.551 | 0.3081 | 0.423 | 0
February | 0.347 | 0.373 | 0.401 | 0.229 | 0.261 | 0.314 | 0.3 | 0.388 | 0.45 | 0.315 | 0.039 | 0.255 | 0.264 | 0.268 | 0.342 | 0.423 | 0.4 | 0.296 | 0.307 | 0.247 | 0.328 | 0.833 | 0.457 | 0.264 | 0.318 | 0.251 | 0.249 | 0.292 |  |  |  | 9.211 | 0.32896 | 0.833 | 0
March | 0.292 | 0.434 | 0.38 | 0.253 | 0.284 | 0.284 | 0.298 | 0.337 | 0.455 | 0.437 | 0.324 | 0.338 | 0.373 | 0.384 | 0.414 | 0.531 | 0.437 | 0.001 | 0.365 | 0.365 | 0.431 | 0.404 | 0.538 | 0.134 | 0.284 | 0.176 | 0.575 | 0.318 | 0.404 | 0.51 | 0.39 | 11.15 | 0.35968 | 0.575 | 0
April | 0.337 | 0.297 | 0.36 | 0.252 | 0.477 | 0.457 | 0.407 | 0.204 | 0.333 | 0.408 | 0.207 | 0.554 | 0.569 | 0.497 | 0.264 | 0.383 | 0.397 | 0.385 | 0.291 | 0.41 | 0.382 | 0.25 | 0.365 | 0.501 | 0.433 | 0.414 | 0.477 | 0.445 | 0.36 | 0.464 |  | 11.58 | 0.386 | 0.569 | 0
May | 0.518 | 0.448 | 0.366 | 0.51 | 0.438 | 0.276 | 0.334 | 0.466 | 0.424 | 0.367 | 0.451 | 0.467 | 0.257 | 0.273 | 0.42 | 0.397 | 0.413 | 0.508 | 0.501 | 0.297 | 0.436 | 0.539 | 0.233 | 0.525 | 0.54 | 0.53 | 0.367 | 0.473 | 0.602 | 0.407 | 0.716 | 13.499 | 0.43545 | 0.716 | 0
June | 0.571 | 0.531 | 0.325 | 0.482 | 0.561 | 0.498 | 0.46 | 0.396 | 0.363 | 0.217 | 0.308 | 0.333 | 0.28 | 0.297 | 0.349 | 0.363 | 0.209 | 0.313 | 0.29 | 0.286 | 0.315 | 0.472 | 0.396 | 0.323 | 0.388 | 0.585 | 0.464 | 0.47 | 0.551 | 0.456 |  | 11.852 | 0.39507 | 0.585 | 0
July | 0.342 | 0.448 | 0.551 | 0.406 | 0.299 | 0.581 | 0.323 | 0.23 | 0.341 | 0.467 | 0.381 | 0.307 | 0.345 | 0.376 | 0.295 | 0.349 | 0.379 | 0.174 | 0.494 | 0.476 | 0.351 | 0.185 | 0.337 | 0.357 | 0.233 | 0.285 | 0.374 | 0.367 | 0.267 | 0.368 | 0.356 | 11.044 | 0.35626 | 0.581 | 0
August | 0.237 | 0.245 | 0.306 | 0.365 | 0.211 | 0.245 | 0.341 | 0.244 | 0.274 | 0.372 | 0.335 | 0.173 | 0.23 | 0.271 | 0.139 | 0.337 | 0.256 | 0.267 | 0.197 | 0.258 | 0.353 | 0.321 | 0.372 | 0.405 | 0.33 | 0.32 | 0.276 | 0.328 | 0.325 | 0.343 | 0.298 | 8.974 | 0.28948 | 0.405 | 0
September | 0.302 | 0.19 | 0.218 | 0.271 | 0.276 | 0.301 | 0.431 | 0.444 | 0.25 | 0.372 | 0.465 | 0.418 | 0.39 | 0.496 | 0.335 | 0.225 | 0.405 | 0.493 | 0.367 | 0.412 | 0.529 | 0.501 | 0.239 | 0.456 | 0.53 | 0.508 | 0.528 | 0.524 | 0.532 | 0.265 |  | 11.673 | 0.3891 | 0.532 | 0
October | 0.483 | 0.585 | 0.502 | 0.487 | 0.544 | 0.535 | 0.297 | 0.371 | 0.457 | 0.417 | 0.443 | 0.548 | 0.532 | 0.287 | 0.439 | 0.532 | 0.38 | 0.448 | 0.365 | 0.332 | 0.221 | 0.316 | 0.411 | 0.445 | 0.399 | 0.359 | 0.355 | 0.259 | 0.416 | 0.561 | 0.406 | 13.132 | 0.42361 | 0.585 | 0
November | 0.428 | 0.483 | 0.494 | 0.267 | 0.366 | 0.489 | 0.413 | 0.418 | 0.383 | 0.406 | 0.262 | 0.372 | 0.397 | 0.347 | 0.342 | 0.355 | 0.374 | 0.226 | 0.345 | 0.4 | 0.368 | 0.388 | 0.486 | 0.38 | 0.251 | 0.369 | 0.405 | 0.372 | 0.403 | 0.491 |  | 11.48 | 0.38267 | 0.494 | 0
December | 0.489 | 0.285 | 0.395 | 0.426 | 0.365 | 0.369 | 0.441 | 0.436 | 0.256 | 0.373 | 0.335 | 0.356 | 0.344 | 0.327 | 0.336 | 0.225 | 0.309 | 0.277 | 0.279 | 0.328 | 0.376 | 0.3 | 0.202 | 0.236 | 0.309 | 0.255 | 0.323 | 0.365 | 0.278 | 0.219 | 0.283 | 10.097 | 0.32571 | 0.489 | 0
[32 empty] | 133.243 | Grand Total
PLC
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total | Avg. | Max | Proof
2019-01-01 | 0 | 0.314 | 0.313 | 0.35 | 0.272 | 0.31 | 0.216 | 0.271 | 0.297 | 0.309 | 0.348 | 0.4 | 0.421 | 0.25 | 0.284 | 0.305 | 0.298 | 0.369 | 0.403 | 0.352 | 0.234 | 0.264 | 0.315 | 0.273 | 0.52 | 0.131 | 0.303 | 0.176 | 0.529 | 0.335 | 0 | 9.162 | 0.29555 | 0.529 | 0
February | 0.325 | 0.365 | 0.39 | 0.24 | 0.258 | 0.296 | 0.316 | 0.383 | 0.432 | 0.322 | 0.301 | 0.259 | 0.277 | 0.257 | 0.333 | 0.407 | 0.365 | 0.345 | 0.305 | 0.259 | 0.33 | 0.368 | 0.454 | 0.454 | 0.27 | 0.32 | 0.261 | 0.252 |  |  |  | 9.144 | 0.32657 | 0.454 | 0
March | 0.301 | 0.419 | 0.368 | 0.272 | 0.288 | 0.29 | 0.288 | 0.339 | 0.443 | 0.414 | 0.33 | 0.337 | 0.377 | 0.386 | 0.387 | 0.461 | 0.431 | 0.287 | 0.357 | 0.354 | 0.415 | 0.4 | 0.511 | 0.442 | 0.315 | 0.211 | 0.515 | 0.319 | 0.382 | 0.47 | 0.379 | 11.488 | 0.37058 | 0.515 | 0
April | 0.292 | 0.289 | 0.354 | 0.245 | 0.452 | 0.438 | 0.395 | 0.203 | 0.331 | 0.387 | 0.199 | 0.459 | 0.433 | 0.384 | 0.213 | 0.298 | 0.394 | 0.298 | 0.228 | 0.313 | 0.297 | 0.202 | 0.285 | 0.386 | 0.329 | 0.311 | 0.368 | 0.358 | 0.271 | 0.351 |  | 9.763 | 0.32543 | 0.459 | 0
May | 0.396 | 0.347 | 0.277 | 0.389 | 0.341 | 0.213 | 0.261 | 0.356 | 0.324 | 0.269 | 0.355 | 0.338 | 0.204 | 0.201 | 0.308 | 0.294 | 0.299 | 0.392 | 0.372 | 0.23 | 0.319 | 0.407 | 0.379 | 0.384 | 0.414 | 0.403 | 0.272 | 0.353 | 0.454 | 0.313 | 0 | 9.864 | 0.31819 | 0.454 | 0
June | 0.457 | 0.408 | 0.247 | 0.353 | 0.435 | 0.379 | 0.367 | 0.303 | 0.276 | 0.174 | 0.235 | 0.258 | 0.218 | 0.23 | 0.27 | 0.275 | 0.187 | 0.222 | 0.22 | 0.221 | 0.241 | 0.355 | 0.298 | 0.254 | 0.289 | 0.441 | 0.351 | 0.353 | 0.415 | 0.339 |  | 9.071 | 0.30237 | 0.457 | 0
July | 0.266 | 0.341 | 0.415 | 0.305 | 0.233 | 0.43 | 0.248 | 0.183 | 0.259 | 0.351 | 0.298 | 0.242 | 0.274 | 0.294 | 0.223 | 0.29 | 0.293 | 0.145 | 0.387 | 0.366 | 0.279 | 0.15 | 0.265 | 0.281 | 0.192 | 0.221 | 0.289 | 0.285 | 0.221 | 0.291 | 0 | 8.317 | 0.26829 | 0.43 | 0
August | 0.189 | 0.201 | 0.241 | 0.284 | 0.18 | 0.192 | 0.271 | 0.199 | 0.248 | 0.262 | 0.258 | 0.148 | 0.185 | 0.214 | 0.114 | 0.275 | 0.204 | 0.213 | 0.157 | 0.214 | 0.272 | 0.258 | 0.287 | 0.321 | 0.247 | 0.266 | 0.232 | 0.25 | 0.262 | 0.268 | 0 | 6.912 | 0.22297 | 0.321 | 0
September | 0.154 | 0.176 | 0.217 | 0.219 | 0.241 | 0.335 | 0.345 | 0.206 | 0.29 | 0.357 | 0.321 | 0.311 | 0.379 | 0.264 | 0.19 | 0.31 | 0.39 | 0.289 | 0.317 | 0.413 | 0.395 | 0.196 | 0.365 | 0.407 | 0.39 | 0.412 | 0.418 | 0.414 | 0.221 | 0 |  | 8.942 | 0.29807 | 0.418 | 0
October | 0.441 | 0.391 | 0.377 | 0.44 | 0.416 | 0.241 | 0.293 | 0.352 | 0.331 | 0.337 | 0.414 | 0.417 | 0.238 | 0.356 | 0.406 | 0.299 | 0.348 | 0.287 | 0.258 | 0.185 | 0.258 | 0.313 | 0.237 | 0.424 | 0.284 | 0.282 | 0.203 | 0.327 | 0.432 | 0.311 | 0 | 9.898 | 0.31929 | 0.441 | 0
November | 0.38 | 0.393 | 0.22 | 0.295 | 0.371 | 0.328 | 0.328 | 0.307 | 0.32 | 0.229 | 0.304 | 0.338 | 0.308 | 0.27 | 0.304 | 0.332 | 0.221 | 0.302 | 0.33 | 0.308 | 0.319 | 0.381 | 0.31 | 0.236 | 0.339 | 0.319 | 0.308 | 0.334 | 0.392 | 0 |  | 9.126 | 0.3042 | 0.393 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[32 empty] | 101.687 | Grand Total