## Current Index
Geographic Region | Line | NARUC Description | NARUC Code | Year | Index Value
W1 | 2 | Collecting & Impounding Res | 305 | 2020 | 575
W1 | 8 | Structures & Improvements | 304 | 2020 | 713
W1 | 9 | Electric Pumping Equipment | 311 | 2020 | 1346
W1 | 15 | Structures & Improvements | 304 | 2020 | 713
W1 | 16 | Large Treatment Plant Equip | 320 | 2020 | 842
W1 | 17 | Small Treatment Plant Equip | 320 | 2020 | 975
W1 | 23 | Steel Reservoirs | 330 | 2020 | 832
W1 | 24 | Elevated Steel Tanks | 330 | 2020 | 1244
W1 | 27 | Cast Iron Mains | 331 | 2020 | 858
W1 | 28 | Steel Mains | 331 | 2020 | 785
W1 | 29 | Concrete Cylinder Mains | 331 | 2020 | 641
W1 | 34 | Mains-Average All Types | 331 | 2020 | 826
W1 | 35 | Cast Iron Mains | 331 | 2020 | 894
W1 | 36 | Cement-Asbestos Mains | 331 | 2020 | 793
W1 | 37 | Steel Mains | 331 | 2020 | 736
W1 | 38 | PVC Mains | 331 | 2020 | 401
W1 | 39 | Services Installed | 333 | 2020 | 684
W1 | 40 | Meters | 334 | 2020 | 443
W1 | 41 | Meter Installations | 334 | 2020 | 772
W1 | 42 | Hydrants Installed | 335 | 2020 | 1063
W1 | 46 | Flocculating Equipment-Inst |  | 2020 | 2360
W1 | 47 | Clarifier Equipment-Install |  | 2020 | 1462
W1 | 48 | Filter Gallery Piping-Insta |  | 2020 | 834
W2 | 2 | Collecting & Impounding Res | 305 | 2020 | 486
W2 | 8 | Structures & Improvements | 304 | 2020 | 599
W2 | 9 | Electric Pumping Equipment | 311 | 2020 | 1346
W2 | 15 | Structures & Improvements | 304 | 2020 | 599
W2 | 16 | Large Treatment Plant Equip | 320 | 2020 | 752
W2 | 17 | Small Treatment Plant Equip | 320 | 2020 | 904
W2 | 23 | Steel Reservoirs | 330 | 2020 | 832
W2 | 24 | Elevated Steel Tanks | 330 | 2020 | 1244
W2 | 27 | Cast Iron Mains | 331 | 2020 | 818
W2 | 28 | Steel Mains | 331 | 2020 | 714
W2 | 29 | Concrete Cylinder Mains | 331 | 2020 | 579
W2 | 34 | Mains-Average All Types | 331 | 2020 | 762
W2 | 35 | Cast Iron Mains | 331 | 2020 | 873
W2 | 36 | Cement-Asbestos Mains | 331 | 2020 | 643
W2 | 37 | Steel Mains | 331 | 2020 | 633
W2 | 38 | PVC Mains | 331 | 2020 | 347
W2 | 39 | Services Installed | 333 | 2020 | 534
W2 | 40 | Meters | 334 | 2020 | 443
W2 | 41 | Meter Installations | 334 | 2020 | 641
W2 | 42 | Hydrants Installed | 335 | 2020 | 999
W2 | 46 | Flocculating Equipment-Inst |  | 2020 | 2340
W2 | 47 | Clarifier Equipment-Install |  | 2020 | 1356
W2 | 48 | Filter Gallery Piping-Insta |  | 2020 | 679
W3 | 2 | Collecting & Impounding Res | 305 | 2020 | 554
W3 | 8 | Structures & Improvements | 304 | 2020 | 679
W3 | 9 | Electric Pumping Equipment | 311 | 2020 | 1346
W3 | 15 | Structures & Improvements | 304 | 2020 | 679
W3 | 16 | Large Treatment Plant Equip | 320 | 2020 | 804
W3 | 17 | Small Treatment Plant Equip | 320 | 2020 | 947
W3 | 23 | Steel Reservoirs | 330 | 2020 | 832
W3 | 24 | Elevated Steel Tanks | 330 | 2020 | 1244
W3 | 27 | Cast Iron Mains | 331 | 2020 | 840
W3 | 28 | Steel Mains | 331 | 2020 | 751
W3 | 29 | Concrete Cylinder Mains | 331 | 2020 | 617
W3 | 34 | Mains-Average All Types | 331 | 2020 | 793
W3 | 35 | Cast Iron Mains | 331 | 2020 | 894
W3 | 36 | Cement-Asbestos Mains | 331 | 2020 | 700
W3 | 37 | Steel Mains | 331 | 2020 | 686
W3 | 38 | PVC Mains | 331 | 2020 | 379
W3 | 39 | Services Installed | 333 | 2020 | 619
W3 | 40 | Meters | 334 | 2020 | 443
W3 | 41 | Meter Installations | 334 | 2020 | 711
W3 | 42 | Hydrants Installed | 335 | 2020 | 1020
W3 | 46 | Flocculating Equipment-Inst |  | 2020 | 2355
W3 | 47 | Clarifier Equipment-Install |  | 2020 | 1447
W3 | 48 | Filter Gallery Piping-Insta |  | 2020 | 781
W4 | 2 | Collecting & Impounding Res | 305 | 2020 | 475
W4 | 8 | Structures & Improvements | 304 | 2020 | 583
W4 | 9 | Electric Pumping Equipment | 311 | 2020 | 1346
W4 | 15 | Structures & Improvements | 304 | 2020 | 583
W4 | 16 | Large Treatment Plant Equip | 320 | 2020 | 752
W4 | 17 | Small Treatment Plant Equip | 320 | 2020 | 908
W4 | 23 | Steel Reservoirs | 330 | 2020 | 832
W4 | 24 | Elevated Steel Tanks | 330 | 2020 | 1244
W4 | 27 | Cast Iron Mains | 331 | 2020 | 827
W4 | 28 | Steel Mains | 331 | 2020 | 739
W4 | 29 | Concrete Cylinder Mains | 331 | 2020 | 580
W4 | 34 | Mains-Average All Types | 331 | 2020 | 736
W4 | 35 | Cast Iron Mains | 331 | 2020 | 845
W4 | 36 | Cement-Asbestos Mains | 331 | 2020 | 623
W4 | 37 | Steel Mains | 331 | 2020 | 622
W4 | 38 | PVC Mains | 331 | 2020 | 343
W4 | 39 | Services Installed | 333 | 2020 | 536
W4 | 40 | Meters | 334 | 2020 | 443
W4 | 41 | Meter Installations | 334 | 2020 | 648
W4 | 42 | Hydrants Installed | 335 | 2020 | 1002
W4 | 46 | Flocculating Equipment-Inst |  | 2020 | 2381
W4 | 47 | Clarifier Equipment-Install |  | 2020 | 1374
W4 | 48 | Filter Gallery Piping-Insta |  | 2020 | 711
W5 | 2 | Collecting & Impounding Res | 305 | 2020 | 517
W5 | 8 | Structures & Improvements | 304 | 2020 | 662
W5 | 9 | Electric Pumping Equipment | 311 | 2020 | 1346
W5 | 15 | Structures & Improvements | 304 | 2020 | 662
W5 | 16 | Large Treatment Plant Equip | 320 | 2020 | 763
W5 | 17 | Small Treatment Plant Equip | 320 | 2020 | 919
W5 | 23 | Steel Reservoirs | 330 | 2020 | 832
W5 | 24 | Elevated Steel Tanks | 330 | 2020 | 1244
W5 | 27 | Cast Iron Mains | 331 | 2020 | 725
W5 | 28 | Steel Mains | 331 | 2020 | 836
W5 | 29 | Concrete Cylinder Mains | 331 | 2020 | 589
W5 | 34 | Mains-Average All Types | 331 | 2020 | 753
W5 | 35 | Cast Iron Mains | 331 | 2020 | 862
W5 | 36 | Cement-Asbestos Mains | 331 | 2020 | 651
W5 | 37 | Steel Mains | 331 | 2020 | 636
W5 | 38 | PVC Mains | 331 | 2020 | 349
W5 | 39 | Services Installed | 333 | 2020 | 535
W5 | 40 | Meters | 334 | 2020 | 443
W5 | 41 | Meter Installations | 334 | 2020 | 653
W5 | 42 | Hydrants Installed | 335 | 2020 | 1002
W5 | 46 | Flocculating Equipment-Inst |  | 2020 | 2358
W5 | 47 | Clarifier Equipment-Install |  | 2020 | 1417
W5 | 48 | Filter Gallery Piping-Insta |  | 2020 | 757
W6 | 2 | Collecting & Impounding Res | 305 | 2020 | 561
W6 | 8 | Structures & Improvements | 304 | 2020 | 716
W6 | 9 | Electric Pumping Equipment | 311 | 2020 | 1346
W6 | 15 | Structures & Improvements | 304 | 2020 | 716
W6 | 16 | Large Treatment Plant Equip | 320 | 2020 | 863
W6 | 17 | Small Treatment Plant Equip | 320 | 2020 | 1003
W6 | 23 | Steel Reservoirs | 330 | 2020 | 832
W6 | 24 | Elevated Steel Tanks | 330 | 2020 | 1244
W6 | 27 | Cast Iron Mains | 331 | 2020 | 882
W6 | 28 | Steel Mains | 331 | 2020 | 787
W6 | 29 | Concrete Cylinder Mains | 331 | 2020 | 645
W6 | 34 | Mains-Average All Types | 331 | 2020 | 819
W6 | 35 | Cast Iron Mains | 331 | 2020 | 904
W6 | 36 | Cement-Asbestos Mains | 331 | 2020 | 681
W6 | 37 | Steel Mains | 331 | 2020 | 738
W6 | 38 | PVC Mains | 331 | 2020 | 389
W6 | 39 | Services Installed | 333 | 2020 | 661
W6 | 40 | Meters | 334 | 2020 | 443
W6 | 41 | Meter Installations | 334 | 2020 | 767
W6 | 42 | Hydrants Installed | 335 | 2020 | 1084
W6 | 46 | Flocculating Equipment-Inst |  | 2020 | 2425
W6 | 47 | Clarifier Equipment-Install |  | 2020 | 1487
W6 | 48 | Filter Gallery Piping-Insta |  | 2020 | 878

## Historical Index
| W-2 |  | COST TRENDS OF WATER UTILITY CONSTRUCTION | [13 empty] | COST TRENDS OF WATER UTILITY CONSTRUCTION | [13 empty] | COST TRENDS OF WATER UTILITY CONSTRUCTION | [13 empty] | COST TRENDS OF WATER UTILITY CONSTRUCTION | [13 empty] | COST TRENDS OF WATER UTILITY CONSTRUCTION | [13 empty] | COST TRENDS OF WATER UTILITY CONSTRUCTION | [17 empty] | COST TRENDS OF WATER UTILITY CONSTRUCTION | [13 empty] | COST TRENDS OF WATER UTILITY CONSTRUCTION | [24 empty] | COST TRENDS OF WATER UTILITY CONSTRUCTION | [17 empty] | COST TRENDS OF WATER UTILITY CONSTRUCTION | [20 empty] | COST TRENDS OF WATER UTILITY CONSTRUCTION
|  |  | SOUTH ATLANTIC REGION (1973=100) | [13 empty] | SOUTH ATLANTIC REGION (1973=100) | [13 empty] | SOUTH ATLANTIC REGION (1973=100) | [13 empty] | SOUTH ATLANTIC REGION (1973=100) | [13 empty] | SOUTH ATLANTIC REGION (1973=100) | [13 empty] | SOUTH ATLANTIC REGION (1973=100) | [17 empty] | SOUTH ATLANTIC REGION (1973=100) | [13 empty] | SOUTH ATLANTIC REGION (1973=100) | [24 empty] | SOUTH ATLANTIC REGION (1973=100) | [17 empty] | SOUTH ATLANTIC REGION (1973=100) | [20 empty] | SOUTH ATLANTIC REGION (1973=100)
|  |  | COST INDEX NUMBERS | [13 empty] | COST INDEX NUMBERS | [13 empty] | COST INDEX NUMBERS | [13 empty] | COST INDEX NUMBERS | [13 empty] | COST INDEX NUMBERS | [13 empty] | COST INDEX NUMBERS | [17 empty] | COST INDEX NUMBERS | [13 empty] | COST INDEX NUMBERS | [24 empty] | COST INDEX NUMBERS | [17 empty] | COST INDEX NUMBERS | [20 empty] | COST INDEX NUMBERS
[79 empty] | 1988 |  |  | 1989 |  |  | 1990 |  |  | 1991 |  |  | 1992 |  |  | 1993 |  |  | 1994 |  |  | 1995 |  |  | 1996 |  |  | 1997 |  |  | 1998 |  |  | 1999 |  |  | 2000 |  |  | 2001 |  |  | 2002 |  |  | 2003 |  |  | 2004 |  |  | 2005 |  |  | 2006 |  |  | 2007 |  |  | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  |  | 2012 |  |  | 2013 |  |  | 2014 |  |  | 2015 |  |  | 2016 |  |  | 2017 |  |  | 2018 |  |  | 2019 |  |  | 2020 |  |  | 2021 |  |  | 2022 |  |  | 2023 |  |  | 2024
Line | CONSTRUCTION AND EQUIPMENT | NARUC | 1912 | 1913 | 1914 | 1915 | 1916 | 1917 | 1918 | 1919 | 1920 | 1921 | 1922 | 1923 | 1924 | 1925 | 1926 | 1927 | 1928 | 1929 | 1930 | 1931 | 1932 | 1933 | 1934 | 1935 | 1936 | 1937 | 1938 | 1939 | 1940 | 1941 | 1942 | 1943 | 1944 | 1945 | 1946 | 1947 | 1948 | 1949 | 1950 | 1951 | 1952 | 1953 | 1954 | 1955 | 1956 | 1957 | 1958 | 1959 | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | Jan. 1 | Jul. 1 | 1988 | Jan. 1 | Jul. 1 | 1989 | Jan. 1 | Jul. 1 | 1990 | Jan. 1 | Jul. 1 | 1991 | Jan. 1 | Jul. 1 | 1992 | Jan. 1 | Jul. 1 | 1993 | Jan. 1 | Jul. 1 | 1994 | Jan. 1 | Jul. 1 | 1995 | Jan. 1 | Jul. 1 | 1996 | Jan. 1 | Jul. 1 | 1997 | Jan. 1 | Jul. 1 | 1998 | Jan. 1 | Jul. 1 | 1999 | Jan. 1 | Jul. 1 | 2000 | Jan. 1 | Jul. 1 | 2001 | Jan. 1 | Jul. 1 | 2002 | Jan. 1 | Jul. 1 | 2003 | Jan. 1 | Jul. 1 | 2004 | Jan. 1 | Jul. 1 | 2005 | Jan. 1 | Jul. 1 | 2006 | Jan. 1 | Jul. 1 | 2007 | Jan. 1 | Jul. 1 | 2008 | Jan. 1 | Jul. 1 | 2009 | Jan. 1 | Jul. 1 | 2010 | Jan. 1 | Jul. 1 | 2011 | Jan. 1 | Jul. 1 | 2012 | Jan. 1 | Jul. 1 | 2013 | Jan. 1 | Jul. 1 | 2014 | Jan. 1 | Jul. 1 | 2015 | Jan. 1 | Jul. 1 | 2016 | Jan. 1 | Jul. 1 | 2017 | Jan. 1 | Jul. 1 | 2018 | Jan. 1 | Jul. 1 | 2019 | Jan. 1 | Jul. 1 | 2020 | Jan. 1 | Jul. 1 | 2021 | Jan. 1 | Jul. 1 | 2022 | Jan. 1 | Jul. 1 | 2023 | Jan. 1 | Jul. 1
1 | Source of Supply Plant
2 | Collecting & Impounding Res. | 305 | 7 | 7 | 7 | 8 | 9 | 12 | 15 | 16 | 17 | 15 | 15 | 15 | 16 | 16 | 16 | 15 | 15 | 15 | 15 | 14 | 13 | 13 | 15 | 15 | 14 | 15 | 15 | 16 | 16 | 17 | 19 | 20 | 20 | 21 | 24 | 28 | 31 | 32 | 33 | 35 | 37 | 39 | 40 | 42 | 45 | 48 | 49 | 52 | 53 | 54 | 56 | 58 | 59 | 60 | 63 | 65 | 68 | 72 | 76 | 83 | 92 | 100 | 116 | 129 | 132 | 141 | 152 | 167 | 182 | 198 | 205 | 208 | 213 | 220 | 222 | 222 | 225 | 235 | 232.75 | 236 | 234 | 236.25 | 241 | 238 | 238.5 | 237 | 227 | 229 | 225 | 232 | 231.25 | 236 | 240 | 240.25 | 245 | 250 | 250.75 | 258 | 258 | 258.25 | 259 | 268 | 267 | 273 | 274 | 274.25 | 276 | 276 | 276.5 | 278 | 280 | 281.5 | 288 | 289 | 289.25 | 291 | 295 | 294.25 | 296 | 298 | 296.75 | 295 | 298 | 301.75 | 316 | 322 | 322.5 | 330 | 338 | 337.75 | 345 | 353 | 354.75 | 368 | 381.37 | 378.935 | 385 | 394 | 391.75 | 394 | 387 | 391 | 396 | 400 | 400.75 | 407 | 409 | 409.5 | 413 | 417 | 418 | 425 | 425 | 426.75 | 432 | 437 | 436.25 | 439 | 437 | 437.75 | 438 | 440 | 441.5 | 448 | 454 | 455.75 | 467 | 475 | 354.25 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
3
4
5
6
7 | Pumping Plant
8 | Structures & Improvements | 304 | 8 | 8 | 8 | 9 | 11 | 15 | 16 | 17 | 19 | 17 | 16 | 17 | 17 | 17 | 17 | 17 | 16 | 16 | 15 | 14 | 13 | 13 | 15 | 15 | 15 | 16 | 16 | 16 | 16 | 18 | 20 | 20 | 20 | 21 | 24 | 28 | 32 | 33 | 34 | 36 | 37 | 39 | 41 | 42 | 46 | 48 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 59 | 60 | 64 | 70 | 73 | 81 | 93 | 100 | 115 | 127 | 131 | 139 | 152 | 164 | 179 | 191 | 195 | 201 | 208 | 214 | 217 | 219 | 221 | 227 | 225.5 | 227 | 237 | 234.5 | 237 | 235 | 234.75 | 232 | 232 | 231.5 | 230 | 236 | 236.25 | 243 | 247 | 247.5 | 253 | 259 | 259 | 265 | 264 | 265.5 | 269 | 270 | 271.25 | 276 | 277 | 277.75 | 281 | 280 | 282.5 | 289 | 288 | 290 | 295 | 309 | 306.5 | 313 | 319 | 317.5 | 319 | 326 | 324.25 | 326 | 324 | 328.25 | 339 | 355 | 354.75 | 370 | 375 | 375.5 | 382 | 393 | 393.75 | 407 | 417.4598 | 417.2299 | 427 | 456 | 449.75 | 460 | 444 | 450 | 452 | 460 | 459.5 | 466 | 483 | 481 | 492 | 496 | 499.5 | 514 | 503 | 508 | 512 | 524 | 522.75 | 531 | 536 | 536 | 541 | 544 | 546.5 | 557 | 556 | 559.75 | 570 | 587 | 436 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
9 | Electric Pumping Equipment | 311 | - | - | 15 | 15 | 17 | 20 | 22 | 24 | 24 | 23 | 21 | 22 | 23 | 23 | 23 | 23 | 23 | 22 | 22 | 22 | 22 | 23 | 24 | 24 | 25 | 26 | 26 | 26 | 26 | 27 | 27 | 27 | 27 | 27 | 31 | 39 | 43 | 45 | 49 | 55 | 55 | 55 | 55 | 56 | 63 | 69 | 73 | 74 | 74 | 71 | 71 | 71 | 73 | 74 | 78 | 81 | 81 | 84 | 89 | 93 | 96 | 100 | 122 | 155 | 174 | 184 | 192 | 205 | 222 | 245 | 260 | 271 | 277 | 282 | 284 | 299 | 330 | 303 | 311.25 | 309 | 336 | 330.25 | 340 | 349 | 348.75 | 357 | 350 | 355 | 363 | 370 | 368 | 369 | 378 | 386.25 | 420 | 426 | 427.5 | 438 | 437 | 441.5 | 454 | 446 | 450 | 454 | 476 | 472.75 | 485 | 486 | 489 | 499 | 499 | 505 | 523 | 532 | 529.5 | 531 | 531 | 527.25 | 516 | 533 | 529 | 534 | 546 | 543.25 | 547 | 569 | 572.25 | 604 | 611 | 611.5 | 620 | 619 | 624.25 | 639 | 628.0372 | 633.7686 | 640 | 666 | 662.75 | 679 | 688 | 690.5 | 707 | 701 | 704.25 | 708 | 760 | 752 | 780 | 785 | 787.5 | 800 | 844 | 836 | 856 | 900 | 896 | 928 | 931 | 945 | 990 | 1013 | 1017 | 1052 | 1135 | 1117 | 1146 | 1216 | 894.5 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
10
11
12
13
14 | Water Treatment Plant
15 | Structures & Improvements | 304 | 8 | 8 | 8 | 9 | 11 | 15 | 16 | 17 | 19 | 17 | 16 | 17 | 17 | 17 | 17 | 17 | 16 | 16 | 15 | 14 | 13 | 13 | 15 | 15 | 15 | 16 | 16 | 16 | 16 | 18 | 20 | 20 | 20 | 21 | 24 | 28 | 32 | 33 | 34 | 36 | 37 | 39 | 41 | 42 | 46 | 48 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 59 | 60 | 64 | 70 | 73 | 81 | 93 | 100 | 115 | 127 | 131 | 139 | 152 | 164 | 179 | 191 | 195 | 201 | 208 | 214 | 217 | 219 | 221 | 227 | 225.5 | 227 | 237 | 234.5 | 237 | 235 | 234.75 | 232 | 232 | 231.5 | 230 | 236 | 236.25 | 243 | 247 | 247.5 | 253 | 259 | 259 | 265 | 264 | 265.5 | 269 | 270 | 271.25 | 276 | 277 | 277.75 | 281 | 280 | 282.5 | 289 | 288 | 290 | 295 | 309 | 306.5 | 313 | 319 | 317.5 | 319 | 326 | 324.25 | 326 | 324 | 328.25 | 339 | 355 | 354.75 | 370 | 375 | 375.5 | 382 | 393 | 393.75 | 407 | 417.4598 | 417.2299 | 427 | 456 | 449.75 | 460 | 444 | 450 | 452 | 460 | 459.5 | 466 | 483 | 481 | 492 | 496 | 499.5 | 514 | 503 | 508 | 512 | 524 | 522.75 | 531 | 536 | 536 | 541 | 544 | 546.5 | 557 | 556 | 559.75 | 570 | 587 | 436 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
16 | Large Treatment Plant Equip. | 320 | 8 | 8 | 8 | 8 | 10 | 12 | 14 | 16 | 18 | 16 | 15 | 16 | 17 | 17 | 17 | 16 | 16 | 17 | 16 | 15 | 14 | 14 | 15 | 15 | 15 | 17 | 17 | 17 | 18 | 20 | 21 | 21 | 22 | 23 | 26 | 32 | 35 | 35 | 36 | 39 | 40 | 42 | 43 | 45 | 47 | 49 | 51 | 53 | 55 | 56 | 58 | 60 | 61 | 63 | 65 | 67 | 69 | 74 | 80 | 88 | 95 | 100 | 119 | 138 | 149 | 157 | 168 | 181 | 198 | 217 | 232 | 244 | 248 | 255 | 258 | 263 | 266 | 271 | 270.75 | 275 | 285 | 283.5 | 289 | 288 | 288.25 | 288 | 290 | 290.25 | 293 | 298 | 297 | 299 | 304 | 302.5 | 303 | 303 | 304.5 | 309 | 310 | 311 | 315 | 318 | 318.75 | 324 | 333 | 332 | 338 | 339 | 342.25 | 353 | 353 | 354.75 | 360 | 361 | 363 | 370 | 375 | 374.75 | 379 | 387 | 384.75 | 386 | 388 | 391.25 | 403 | 406 | 407.75 | 416 | 417 | 420.75 | 433 | 434 | 437.25 | 448 | 464.3281 | 465.914 | 487 | 504 | 507 | 533 | 535 | 537.5 | 547 | 554 | 551.5 | 551 | 563 | 564.5 | 581 | 595 | 593 | 601 | 610 | 612 | 627 | 640 | 637.75 | 644 | 648 | 650.25 | 661 | 664 | 667.75 | 682 | 694 | 692.75 | 701 | 717 | 533.75 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
17 | Small Treatment Plant Equip. | 320 | 9 | 10 | 9 | 10 | 12 | 16 | 17 | 18 | 20 | 18 | 17 | 18 | 19 | 19 | 18 | 17 | 17 | 17 | 17 | 15 | 14 | 15 | 16 | 16 | 16 | 18 | 18 | 18 | 18 | 20 | 22 | 22 | 22 | 23 | 27 | 33 | 37 | 37 | 38 | 41 | 42 | 43 | 45 | 46 | 49 | 51 | 52 | 54 | 56 | 58 | 60 | 61 | 62 | 64 | 66 | 69 | 71 | 75 | 80 | 89 | 95 | 100 | 121 | 142 | 154 | 164 | 177 | 191 | 211 | 232 | 248 | 261 | 265 | 273 | 276 | 281 | 284 | 290 | 289.5 | 294 | 303 | 301.5 | 306 | 306 | 305.25 | 303 | 304 | 304.5 | 307 | 312 | 311.25 | 314 | 318 | 317 | 318 | 319 | 319.75 | 323 | 322 | 323.5 | 327 | 330 | 330.75 | 336 | 344 | 344.25 | 353 | 353 | 356 | 365 | 365 | 366.75 | 372 | 376 | 377.25 | 385 | 390 | 389.25 | 392 | 400 | 397.75 | 399 | 400 | 404 | 417 | 424 | 426.25 | 440 | 443 | 446.5 | 460 | 458 | 463.5 | 478 | 497.8764 | 501.1882 | 531 | 555 | 559.25 | 596 | 599 | 601.5 | 612 | 620 | 619.5 | 626 | 634 | 639.5 | 664 | 681 | 678.75 | 689 | 706 | 707.25 | 728 | 744 | 742.75 | 755 | 766 | 767.25 | 782 | 786 | 789.75 | 805 | 823 | 820.75 | 832 | 857 | 636.5 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
18
19
20
21
22 | Transmission Plant
23 | Steel Reservoirs | 330 | 4 | 4 | 4 | 12 | 15 | 17 | 19 | 20 | 15 | 13 | 12 | 13 | 13 | 13 | 12 | 12 | 12 | 12 | 11 | 10 | 9 | 9 | 12 | 11 | 12 | 14 | 14 | 14 | 14 | 16 | 16 | 13 | 14 | 16 | 20 | 26 | 29 | 27 | 28 | 30 | 31 | 32 | 32 | 33 | 38 | 42 | 37 | 36 | 35 | 35 | 35 | 41 | 44 | 45 | 46 | 47 | 49 | 53 | 75 | 82 | 85 | 100 | 140 | 159 | 171 | 172 | 173 | 178 | 191 | 208 | 210 | 182 | 184 | 181 | 184 | 196 | 215 | 221 | 220 | 223 | 209 | 215.5 | 221 | 232 | 229.25 | 232 | 259 | 253 | 262 | 264 | 261 | 254 | 246 | 248 | 246 | 246 | 246 | 246 | 250 | 249.25 | 251 | 251 | 251 | 251 | 251 | 255.25 | 268 | 268 | 268 | 268 | 268 | 268 | 268 | 270 | 269.5 | 270 | 275 | 273.75 | 275 | 275 | 275 | 275 | 275 | 275.75 | 278 | 313 | 308.25 | 329 | 338 | 338.25 | 348 | 375 | 398 | 494 | 537.0975 | 526.2987 | 537 | 722 | 675.75 | 722 | 722 | 722 | 722 | 722 | 734.25 | 771 | 771 | 777 | 795 | 810 | 798.25 | 778 | 780 | 763.25 | 715 | 742 | 735.25 | 742 | 742 | 742 | 742 | 774 | 768.5 | 784 | 784 | 788.25 | 801 | 820 | 610.25 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
24 | Elevated Steel Tanks | 330 | 4 | 4 | 4 | 11 | 14 | 16 | 18 | 19 | 16 | 13 | 11 | 12 | 11 | 10 | 11 | 10 | 10 | 10 | 10 | 9 | 8 | 8 | 10 | 10 | 11 | 12 | 13 | 13 | 12 | 15 | 15 | 14 | 15 | 14 | 17 | 23 | 26 | 25 | 26 | 28 | 29 | 31 | 31 | 33 | 35 | 38 | 38 | 38 | 38 | 37 | 36 | 37 | 38 | 38 | 41 | 44 | 48 | 55 | 71 | 80 | 86 | 100 | 152 | 183 | 182 | 183 | 195 | 206 | 228 | 250 | 244 | 197 | 200 | 198 | 207 | 219 | 252 | 261 | 260.25 | 267 | 267 | 267.5 | 269 | 281 | 278 | 281 | 286 | 284.75 | 286 | 284 | 277 | 254 | 249 | 248.5 | 242 | 242 | 242.25 | 243 | 251 | 252.5 | 265 | 269 | 268 | 269 | 271 | 272.5 | 279 | 283 | 282.5 | 285 | 288 | 288.25 | 292 | 300 | 299.25 | 305 | 314 | 340.5 | 429 | 429 | 429 | 429 | 429 | 431.25 | 438 | 481 | 481 | 524 | 524 | 524 | 524 | 596 | 593.25 | 657 | 656.7356 | 662.6178 | 680 | 866 | 819.5 | 866 | 866 | 866 | 866 | 867 | 919.75 | 1079 | 1079 | 1074 | 1059 | 1082 | 1078 | 1089 | 1099 | 1104.5 | 1131 | 1131 | 1131 | 1131 | 1131 | 1131 | 1131 | 1143 | 1144.5 | 1161 | 1161 | 1166 | 1181 | 1200 | 895.25 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
25 | Concrete Reservoirs | 330 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
26
27 | Cast Iron Mains | 331 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 44 | 45 | 46 | 49 | 52 | 55 | 58 | 60 | 62 | 64 | 66 | 67 | 67 | 68 | 69 | 71 | 73 | 74 | 79 | 84 | 91 | 94 | 100 | 132 | 140 | 144 | 150 | 159 | 167 | 184 | 202 | 214 | 225 | 224 | 231 | 227 | 232 | 235 | 242 | 241.5 | 247 | 253 | 252.25 | 256 | 254 | 255 | 256 | 255 | 255.5 | 256 | 257 | 258 | 262 | 268 | 267.5 | 272 | 276 | 276.25 | 281 | 270 | 274 | 275 | 277 | 278.75 | 286 | 286 | 286.75 | 289 | 288 | 289.5 | 293 | 293 | 294.5 | 299 | 314 | 311 | 317 | 323 | 322.25 | 326 | 347 | 341.5 | 346 | 340 | 343.5 | 348 | 347 | 352.5 | 368 | 372 | 378.25 | 401 | 412 | 416.75 | 442 | 446.0626 | 449.5313 | 464 | 491 | 494.75 | 533 | 531 | 537 | 553 | 556 | 554 | 551 | 563 | 566.5 | 589 | 627 | 623.75 | 652 | 644 | 653.25 | 673 | 709 | 695.25 | 690 | 702 | 700.75 | 709 | 713 | 721.75 | 752 | 743 | 750.25 | 763 | 779 | 580.25 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
28 | Steel Mains | 331 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 40 | 41 | 44 | 46 | 48 | 50 | 54 | 56 | 58 | 59 | 59 | 60 | 60 | 61 | 62 | 65 | 67 | 68 | 74 | 79 | 87 | 93 | 100 | 114 | 125 | 132 | 138 | 150 | 164 | 181 | 201 | 218 | 222 | 225 | 224 | 219 | 226 | 230 | 237 | 236.75 | 243 | 251 | 249.5 | 253 | 254 | 254.25 | 256 | 259 | 257.75 | 257 | 261 | 261.5 | 267 | 266 | 270.25 | 282 | 281 | 283.5 | 290 | 290 | 289.75 | 289 | 294 | 294 | 299 | 300 | 301 | 305 | 304 | 305 | 307 | 311 | 312.75 | 322 | 338 | 334.75 | 341 | 345 | 344.5 | 347 | 357 | 354.25 | 356 | 351 | 358.75 | 377 | 393 | 406 | 461 | 460 | 466 | 483 | 493 | 488.25 | 484 | 481.7725 | 483.6363 | 487 | 550 | 533 | 545 | 526 | 532 | 531 | 549 | 551.5 | 577 | 597 | 605 | 649 | 645 | 650.75 | 664 | 643 | 644.5 | 628 | 643 | 639 | 642 | 646 | 639.75 | 625 | 632 | 635.5 | 653 | 654 | 654.75 | 658 | 695 | 512 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
29 | Concrete Cylinder Mains | 331 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 46 | 47 | 49 | 51 | 52 | 55 | 57 | 59 | 61 | 62 | 63 | 63 | 63 | 63 | 65 | 67 | 71 | 72 | 78 | 79 | 87 | 93 | 100 | 114 | 135 | 138 | 137 | 146 | 162 | 178 | 194 | 208 | 214 | 215 | 224 | 230 | 231 | 241 | 243 | 243.5 | 247 | 253 | 252 | 255 | 256 | 256.5 | 259 | 265 | 264 | 267 | 268 | 269 | 273 | 276 | 276.25 | 280 | 282 | 282.5 | 286 | 286 | 287.5 | 292 | 293 | 293.5 | 296 | 298 | 299 | 304 | 305 | 305.5 | 308 | 312 | 312.25 | 317 | 332 | 334.75 | 358 | 364 | 363.5 | 368 | 380 | 376.5 | 378 | 372 | 375.75 | 381 | 389 | 389 | 397 | 402 | 404.75 | 418 | 423 | 421.75 | 423 | 422.9587 | 421.9794 | 419 | 426 | 430.25 | 450 | 450 | 446.5 | 436 | 439 | 441 | 450 | 462 | 460.25 | 467 | 470 | 475 | 493 | 479 | 482 | 477 | 490 | 489.25 | 500 | 515 | 514.25 | 527 | 529 | 531.25 | 540 | 529 | 538 | 554 | 561 | 419 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
30
31
32
33 | Distribution Plant
34 | Mains-Average All Types | 331 | 9 | 10 | 9 | 10 | 11 | 16 | 19 | 20 | 23 | 20 | 18 | 19 | 20 | 20 | 20 | 18 | 17 | 17 | 17 | 17 | 15 | 16 | 18 | 18 | 17 | 19 | 20 | 20 | 20 | 22 | 24 | 24 | 25 | 26 | 30 | 35 | 41 | 43 | 43 | 46 | 47 | 49 | 52 | 54 | 58 | 60 | 63 | 66 | 68 | 70 | 72 | 74 | 75 | 75 | 76 | 76 | 78 | 81 | 85 | 94 | 98 | 100 | 132 | 150 | 157 | 164 | 177 | 189 | 206 | 223 | 230 | 236 | 236 | 241 | 237 | 244 | 250 | 260 | 259.5 | 268 | 272 | 271.75 | 275 | 272 | 273 | 273 | 274 | 272.5 | 269 | 272 | 272 | 275 | 280 | 279 | 281 | 283 | 283.5 | 287 | 282 | 284.25 | 286 | 288 | 289.25 | 295 | 295 | 296.25 | 300 | 299 | 302.5 | 312 | 304 | 307 | 308 | 318 | 316.75 | 323 | 326 | 326.5 | 331 | 343 | 339.25 | 340 | 338 | 341.5 | 350 | 361 | 366.25 | 393 | 395 | 400.25 | 418 | 428 | 433.75 | 461 | 460.2066 | 464.1033 | 475 | 519 | 516.75 | 554 | 538 | 544.25 | 547 | 553 | 551.25 | 552 | 565 | 568.75 | 593 | 622 | 616.75 | 630 | 627 | 635.5 | 658 | 675 | 668 | 664 | 667 | 666.75 | 669 | 672 | 679.5 | 705 | 703 | 707.5 | 719 | 732 | 545.75 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
35 | Cast Iron Mains | 331 | 9 | 10 | 10 | 10 | 12 | 18 | 20 | 22 | 25 | 21 | 19 | 21 | 22 | 22 | 22 | 19 | 18 | 18 | 18 | 17 | 15 | 16 | 19 | 19 | 19 | 20 | 21 | 21 | 21 | 23 | 25 | 26 | 27 | 28 | 32 | 40 | 46 | 46 | 46 | 50 | 51 | 53 | 56 | 59 | 63 | 66 | 69 | 71 | 73 | 76 | 78 | 80 | 80 | 81 | 81 | 82 | 83 | 84 | 88 | 97 | 99 | 100 | 144 | 161 | 165 | 169 | 180 | 187 | 204 | 222 | 225 | 244 | 246 | 254 | 247 | 253 | 255 | 265 | 264.25 | 272 | 278 | 277.5 | 282 | 278 | 279.5 | 280 | 280 | 280.25 | 281 | 282 | 282.5 | 285 | 290 | 289.5 | 293 | 298 | 297.75 | 302 | 290 | 294.25 | 295 | 297 | 298.75 | 306 | 306 | 307 | 310 | 310 | 311.25 | 315 | 315 | 316.25 | 320 | 330 | 328.25 | 333 | 338 | 338 | 343 | 362 | 356.5 | 359 | 356 | 359.75 | 368 | 364 | 372 | 392 | 395 | 401.25 | 423 | 432 | 439.25 | 470 | 472.9008 | 476.7004 | 491 | 522 | 526.25 | 570 | 569 | 575.25 | 593 | 595 | 592.75 | 588 | 596 | 600.5 | 622 | 673 | 664.5 | 690 | 690 | 699.75 | 729 | 759 | 746.5 | 739 | 745 | 744.25 | 748 | 752 | 763 | 800 | 795 | 802.75 | 821 | 835 | 622.75 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
36 | Cement-Asbestos Mains | 331 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 26 | 28 | 29 | 29 | 29 | 32 | 34 | 35 | 35 | 36 | 44 | 49 | 57 | 60 | 60 | 62 | 64 | 67 | 68 | 70 | 74 | 78 | 81 | 85 | 87 | 88 | 90 | 92 | 91 | 84 | 85 | 84 | 85 | 88 | 89 | 97 | 98 | 100 | 129 | 151 | 162 | 171 | 180 | 206 | 217 | 228 | 226 | 217 | 220 | 219 | 213 | 233 | 258 | 267 | 271.75 | 295 | 291 | 292.5 | 293 | 286 | 286.75 | 282 | 280 | 274.75 | 257 | 257 | 258.5 | 263 | 276 | 271.25 | 270 | 268 | 271.75 | 281 | 283 | 284.75 | 292 | 292 | 293 | 296 | 299 | 298.75 | 301 | 300 | 300.5 | 301 | 303 | 305 | 313 | 321 | 322.5 | 335 | 334 | 336.25 | 342 | 362 | 355.75 | 357 | 350 | 355.25 | 364 | 367 | 371.5 | 388 | 391 | 403.5 | 444 | 451 | 462 | 502 | 499.6245 | 503.3123 | 512 | 523 | 532.5 | 572 | 560 | 552.25 | 517 | 528 | 525.75 | 530 | 556 | 557.25 | 587 | 593 | 589.25 | 584 | 579 | 579 | 574 | 591 | 585.5 | 586 | 593 | 592.5 | 598 | 600 | 601.75 | 609 | 604 | 607.25 | 612 | 620 | 463 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
37 | Steel Mains | 331 | 6 | 7 | 7 | 8 | 8 | 11 | 13 | 14 | 14 | 14 | 12 | 13 | 13 | 14 | 15 | 13 | 13 | 13 | 13 | 13 | 13 | 12 | 13 | 13 | 12 | 13 | 14 | 14 | 14 | 15 | 17 | 17 | 18 | 19 | 21 | 24 | 28 | 31 | 30 | 32 | 34 | 37 | 39 | 41 | 44 | 47 | 49 | 52 | 53 | 56 | 58 | 60 | 61 | 63 | 64 | 66 | 68 | 73 | 79 | 88 | 96 | 100 | 116 | 132 | 144 | 155 | 170 | 186 | 205 | 223 | 241 | 230 | 227 | 229 | 230 | 233 | 240 | 248 | 246.75 | 251 | 255 | 254.5 | 257 | 256 | 256.75 | 258 | 261 | 258.5 | 254 | 261 | 260 | 264 | 266 | 265.5 | 266 | 267 | 266.5 | 266 | 270 | 269.25 | 271 | 273 | 273.75 | 278 | 275 | 277.75 | 283 | 281 | 289 | 311 | 287 | 293 | 287 | 298 | 296.25 | 302 | 304 | 304.5 | 308 | 306 | 306.25 | 305 | 305 | 307.5 | 315 | 354 | 354.5 | 395 | 396 | 397.25 | 402 | 413 | 415.5 | 434 | 426.2879 | 430.894 | 437 | 512 | 496 | 523 | 482 | 493.25 | 486 | 498 | 496.5 | 504 | 519 | 522.75 | 549 | 553 | 552 | 553 | 545 | 554.75 | 576 | 576 | 575.5 | 574 | 571 | 571.5 | 570 | 574 | 577.5 | 592 | 596 | 595.25 | 597 | 611 | 454.75 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
38 | PVC Mains | 331 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 25 | 100 | 104 | 107 | 112 | 122 | 131 | 138 | 134 | 147 | 144 | 144 | 142 | 150 | 174 | 183 | 188.5 | 214 | 206 | 207.5 | 204 | 198 | 197.75 | 191 | 189 | 182.75 | 162 | 163 | 163.5 | 166 | 177 | 172.25 | 169 | 164 | 168.25 | 176 | 181 | 181.25 | 187 | 187 | 187.5 | 189 | 192 | 190.75 | 190 | 191 | 191 | 192 | 192 | 194.25 | 201 | 201 | 204.5 | 215 | 213 | 214.75 | 218 | 227 | 224.25 | 225 | 220 | 223.75 | 230 | 232 | 235.5 | 248 | 249 | 259.25 | 291 | 292 | 302.75 | 336 | 330.7407 | 333.6203 | 337 | 339 | 349 | 381 | 369 | 357.5 | 311 | 321 | 319.25 | 324 | 345 | 345.5 | 368 | 369 | 363.25 | 347 | 347 | 344.5 | 337 | 338 | 337.75 | 338 | 339 | 338.5 | 338 | 338 | 337.75 | 337 | 337 | 338.5 | 343 | 343 | 257.25 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
39 | Services Installed | 333 | 5 | 6 | 6 | 6 | 6 | 8 | 10 | 11 | 11 | 11 | 10 | 10 | 10 | 11 | 12 | 10 | 10 | 11 | 10 | 11 | 10 | 9 | 10 | 11 | 10 | 11 | 11 | 11 | 11 | 13 | 14 | 15 | 15 | 16 | 18 | 21 | 24 | 25 | 26 | 27 | 29 | 31 | 33 | 34 | 37 | 39 | 41 | 43 | 45 | 47 | 49 | 51 | 53 | 54 | 56 | 59 | 65 | 70 | 76 | 83 | 92 | 100 | 113 | 123 | 132 | 143 | 148 | 156 | 176 | 193 | 200 | 204 | 207 | 206 | 206 | 212 | 215 | 220 | 217.5 | 215 | 223 | 223.75 | 234 | 226 | 226.5 | 220 | 224 | 223.75 | 227 | 229 | 229.5 | 233 | 234 | 236.5 | 245 | 244 | 245.25 | 248 | 260 | 258.5 | 266 | 271 | 270.75 | 275 | 274 | 276.25 | 282 | 282 | 283 | 286 | 263 | 270.25 | 269 | 271 | 271.5 | 275 | 278 | 278 | 281 | 298 | 290.75 | 286 | 289 | 294.75 | 315 | 319 | 322.75 | 338 | 342 | 351.5 | 384 | 397 | 397.75 | 413 | 414.825 | 414.6625 | 416 | 426 | 426.75 | 439 | 437 | 439.25 | 444 | 450 | 449.25 | 453 | 459 | 464.25 | 486 | 491 | 490.5 | 494 | 491 | 492 | 492 | 479 | 483 | 482 | 483 | 482.75 | 483 | 484 | 486.25 | 494 | 500 | 499.5 | 504 | 509 | 380.5 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
40 | Meters | 334 | 23 | 23 | 23 | 23 | 26 | 29 | 35 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 35 | 26 | 26 | 26 | 31 | 32 | 32 | 33 | 35 | 37 | 37 | 37 | 37 | 40 | 42 | 48 | 52 | 59 | 61 | 61 | 65 | 67 | 70 | 77 | 78 | 78 | 78 | 78 | 78 | 84 | 87 | 87 | 93 | 101 | 101 | 101 | 106 | 108 | 108 | 106 | 100 | 93 | 93 | 98 | 101 | 105 | 108 | 122 | 127 | 128 | 141 | 148 | 135 | 135 | 137 | 142 | 142 | 140.25 | 135 | 143 | 149.75 | 178 | 150 | 158.5 | 156 | 164 | 162 | 164 | 207 | 196.25 | 207 | 201 | 195 | 171 | 171 | 175.25 | 188 | 201 | 200 | 210 | 210 | 206.75 | 197 | 197 | 197 | 197 | 197 | 197 | 197 | 197 | 197.75 | 200 | 206 | 204.5 | 206 | 206 | 206.25 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 214 | 235 | 248 | 247.75 | 260 | 262.1491 | 289.3245 | 373 | 373 | 373 | 373 | 373 | 373.25 | 374 | 376 | 376.25 | 379 | 379 | 379 | 379 | 379 | 379.25 | 380 | 380.5 | 380.5 | 381 | 381 | 385.75 | 400 | 400 | 400.75 | 403 | 403 | 403.25 | 404 | 418 | 418.5 | 434 | 434 | 325.5 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
41 | Meter Installations | 334 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 33 | 34 | 37 | 38 | 40 | 41 | 43 | 46 | 48 | 49 | 51 | 53 | 50 | 54 | 55 | 55 | 59 | 63 | 65 | 68 | 74 | 80 | 87 | 94 | 100 | 115 | 126 | 134 | 144 | 151 | 162 | 180 | 196 | 208 | 222 | 229 | 230 | 234 | 238 | 243 | 246 | 245.5 | 247 | 252 | 250.75 | 252 | 255 | 255.5 | 260 | 263 | 263 | 266 | 269 | 269.5 | 274 | 277 | 277 | 280 | 283 | 283.25 | 287 | 290 | 291.75 | 300 | 302 | 302 | 304 | 306 | 307 | 312 | 312 | 314.25 | 321 | 312 | 316.25 | 320 | 322 | 323.5 | 330 | 331 | 331.5 | 334 | 342 | 339.5 | 340 | 343 | 346.75 | 361 | 367 | 367 | 373 | 383 | 385 | 401 | 419 | 417.75 | 432 | 450.6594 | 446.5797 | 453 | 455 | 460 | 477 | 478 | 479.25 | 484 | 487 | 486.5 | 488 | 490 | 499.5 | 530 | 559 | 552.5 | 562 | 561 | 563.5 | 570 | 567 | 568.25 | 569 | 570 | 570.5 | 573 | 573 | 575.75 | 584 | 599 | 596.25 | 603 | 602 | 451.75 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
42 | Hydrants Installed | 335 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 36 | 38 | 42 | 43 | 44 | 45 | 45 | 49 | 50 | 52 | 54 | 55 | 56 | 56 | 57 | 57 | 58 | 61 | 64 | 68 | 73 | 80 | 89 | 95 | 100 | 125 | 147 | 162 | 172 | 188 | 199 | 214 | 232 | 252 | 270 | 271 | 281 | 290 | 299 | 307 | 310 | 312 | 322 | 332 | 332 | 341 | 346 | 346 | 349 | 350 | 350 | 351 | 352 | 352 | 354 | 356 | 355 | 355 | 354 | 356 | 362 | 361 | 362 | 365 | 365 | 381 | 430 | 440 | 442 | 456 | 456 | 460.75 | 475 | 473 | 477.25 | 488 | 489 | 492.75 | 505 | 517 | 514.75 | 520 | 530 | 526.5 | 526 | 526 | 530 | 542 | 550 | 550.25 | 559 | 560 | 562.75 | 572 | 609 | 603.25 | 623 | 629.2352 | 630.8676 | 642 | 648 | 652.5 | 672 | 671 | 672.75 | 677 | 656 | 661.5 | 657 | 658 | 665 | 687 | 689 | 692.5 | 705 | 715 | 718.25 | 738 | 785 | 779 | 808 | 866 | 862 | 908 | 909 | 911.25 | 919 | 920 | 925.5 | 943 | 956 | 713.75 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
43
44
45 | Miscellaneous Items
46 | Flocculating Equipment-Installed |  | 14 | 16 | 12 | 14 | 25 | 36 | 30 | 27 | 27 | 22 | 24 | 24 | 23 | 22 | 21 | 21 | 21 | 21 | 19 | 18 | 18 | 18 | 20 | 20 | 21 | 24 | 24 | 23 | 24 | 25 | 26 | 26 | 26 | 29 | 32 | 37 | 42 | 43 | 43 | 46 | 47 | 49 | 50 | 51 | 55 | 56 | 57 | 58 | 58 | 59 | 60 | 61 | 63 | 64 | 65 | 66 | 67 | 72 | 79 | 90 | 97 | 100 | 139 | 173 | 194 | 216 | 244 | 289 | 353 | 413 | 464 | 500 | 507 | 538 | 555 | 569 | 570 | 570 | 569.75 | 569 | 571 | 567.75 | 560 | 561 | 548.5 | 512 | 501 | 504 | 502 | 516 | 512.75 | 517 | 531 | 527.5 | 531 | 532 | 532 | 533 | 531 | 534.75 | 544 | 547 | 546.5 | 548 | 570 | 567.5 | 582 | 581 | 586.75 | 603 | 604 | 604.5 | 607 | 607 | 611.75 | 626 | 627 | 628.25 | 633 | 646 | 641.75 | 642 | 642 | 652.75 | 685 | 717 | 720.25 | 762 | 762 | 775.25 | 815 | 815 | 819.25 | 832 | 951.3186 | 971.4093 | 1151 | 1345 | 1365 | 1619 | 1619 | 1632.25 | 1672 | 1720 | 1726.75 | 1795 | 1821 | 1828.25 | 1876 | 1949 | 1932 | 1954 | 1992 | 1988.25 | 2015 | 2054 | 2066.5 | 2143 | 2153 | 2153.75 | 2166 | 2166 | 2167.75 | 2173 | 2188 | 2185.5 | 2193 | 2235 | 1665.75 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
47 | Clarifier Equipment-Installed |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 16 | 22 | 22 | 23 | 25 | 26 | 26 | 26 | 28 | 31 | 36 | 41 | 42 | 42 | 45 | 45 | 47 | 48 | 48 | 52 | 53 | 55 | 56 | 57 | 57 | 58 | 59 | 61 | 62 | 63 | 64 | 65 | 70 | 79 | 91 | 97 | 100 | 139 | 166 | 180 | 197 | 208 | 229 | 270 | 311 | 354 | 382 | 387 | 415 | 421 | 425 | 427 | 428 | 427.25 | 426 | 429 | 427.75 | 427 | 415 | 412 | 391 | 380 | 383 | 381 | 405 | 399 | 405 | 423 | 419.25 | 426 | 456 | 450.75 | 465 | 462 | 470.25 | 492 | 494 | 494 | 496 | 516 | 512.75 | 523 | 522 | 522.5 | 523 | 524 | 526.75 | 536 | 537 | 538.5 | 544 | 545 | 546.5 | 552 | 567 | 562.5 | 564 | 566 | 573 | 596 | 599 | 612 | 654 | 654 | 659.25 | 675 | 675 | 683.25 | 708 | 835.7976 | 807.3988 | 850 | 873 | 878.25 | 917 | 917 | 915.25 | 910 | 920 | 929.25 | 967 | 971 | 973.25 | 984 | 1008 | 1003.25 | 1013 | 1042 | 1038.25 | 1056 | 1064 | 1066.75 | 1083 | 1087 | 1095.75 | 1126 | 1168 | 1167.75 | 1209 | 1212 | 1223.25 | 1260 | 1292 | 961 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
48 | Filter Gallery Piping-Installed |  | 8 | 9 | 8 | 9 | 10 | 13 | 17 | 19 | 21 | 19 | 17 | 19 | 20 | 19 | 20 | 18 | 17 | 17 | 17 | 16 | 15 | 16 | 17 | 17 | 17 | 19 | 19 | 19 | 19 | 20 | 22 | 22 | 22 | 23 | 26 | 30 | 36 | 37 | 37 | 40 | 41 | 42 | 45 | 46 | 48 | 51 | 53 | 55 | 56 | 57 | 58 | 59 | 59 | 61 | 63 | 65 | 67 | 73 | 79 | 88 | 96 | 100 | 121 | 134 | 139 | 146 | 155 | 162 | 175 | 194 | 204 | 216 | 215 | 220 | 217 | 220 | 222 | 228 | 227.25 | 231 | 237 | 235.25 | 236 | 238 | 237.5 | 238 | 239 | 239.5 | 242 | 242 | 242.5 | 244 | 247 | 246.75 | 249 | 252 | 251.75 | 254 | 246 | 249.5 | 252 | 253 | 254 | 258 | 261 | 261 | 264 | 264 | 267.5 | 278 | 274 | 277.5 | 284 | 283 | 285.5 | 292 | 294 | 295 | 300 | 315 | 310.25 | 311 | 310 | 316.75 | 336 | 333 | 337.25 | 347 | 347 | 353 | 371 | 373 | 379.75 | 402 | 403.5626 | 406.0313 | 415 | 430 | 434.5 | 463 | 464 | 468.5 | 483 | 484 | 482.5 | 479 | 479 | 485.75 | 506 | 532 | 527.25 | 539 | 542 | 550 | 577 | 592 | 585.5 | 581 | 582 | 582.75 | 586 | 589 | 598 | 628 | 628 | 632.25 | 645 | 651 | 486.75 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
49
50
51
52
53
54
55
56

## MFR Retirements
| FLORIDA REGION PROFORMA CAPITAL PROJECTS |  |  |  | Docket# 20200139-WS
[13 empty] | Service Life |  | Accumulated | Depreciation Exp |  | Income Tax | Deferred Tax
| CP# | Job Description | Co | County | System | Retirement? | CIAC? | Forecast (000's) | System | Base Project Cost | Retirement | NARUC | Book | Tax | Depreciation | Book | Tax | Rate | Adjustment | Obj | 2020 Index | Past Index | Retirement
WATER PROFORMA CAPITAL PROJECTS
21 | 1 | Well Panel Replacements | 255 | Seminole | Sanlando | Yes | No | 175 | Water | 74500 | 36560.1852 | 307.2 | 30 | 25 | 1218.67 | 1218.67 | 1462.41 | 25.35% | 243.74 | 1080 | 486 | 238.5 | 36560.1852
38 | 2020041 | BV Wells 2 & 3 Improvements | 252 | Pasco | UIF - BuenaVista | Yes | No | 73.568 | Water | 94568 | 46408.3704 | 307.2 | 30 | 25 | 1546.95 | 1546.95 | 1856.33 | 25.35% | 309.38 | 1080 | 486 | 238.5 | 46408.3704
| 2020004 | OW Well 1 Hydrotank Genset- Well | 252 | Pasco | UIF - OW | Yes | No | 154.571 | Water | 47700 | 23408.3333 | 307.2 | 30 | 25 | 780.28 | 780.28 | 936.33 | 25.35% | 156.05 | 1080 | 486 | 238.5 | 23408.3333
20 | 2020004 | OW Well 1 Hydrotank Genset- Generator | 252 | Pasco | UIF - OW | Yes | No | 154.571 | Water | 47349 | 18626.5197 | 310.2 | 20 | 25 | 931.33 | 931.33 | 745.06 | 25.35% | -186.27 | 1095 | 1346 | 529.5 | 18626.5197
| 2020029 | LG Sulfuric Acid Tank & Pipe Replacement | 251 | Lake | LUSI | Yes | No | 60 | Water | 60000 | 27307.1809 | 320.3 | 22 | 25 | 1241.24 | 1241.24 | 1092.29 | 25.35% | -148.95 | 1115 | 752 | 342.25 | 27307.1809
54 | 2020004 | OW Well 1 Hydrotank Genset- Hydro tank | 252 | Pasco | UIF - OW | Yes | No | 154.571 | Water | 68965 | 21359.2388 | 330.4 | 37 | 25 | 577.28 | 577.28 | 854.37 | 25.35% | 277.09 | 1120 | 762 | 236 | 21359.2388
| 2019146 | GH WM Relocation | 252 | Marion | UIF - Golden Hills | Yes | No | 154.7637 | Water | 154763.73 | 33308.7293 | 331.4 | 43 | 25 | 774.62 | 774.62 | 1332.35 | 25.35% | 557.73 | 1125 | 762 | 164 | 33308.7293
| 1 | GH Galvanized WM Replacement | 252 | Marion | UIF - Golden Hills | Yes | Yes | 75 | Water | 75000 | 16141.7323 | 331.4 | 43 | 25 | 375.39 | 375.39 | 645.67 | 25.35% | 270.28 | 1125 | 762 | 164 | 16141.7323
| 1 | Eng Northwestern Bridge WM Replacement | 252 | Marion | UIF - Golden Hills | Yes | No | 22 | Water | 22000 | 4734.9081 | 331.4 | 43 | 25 | 110.11 | 110.11 | 189.4 | 25.35% | 79.29 | 1125 | 762 | 164 | 4734.9081
45 | 1 | Const - Powerline 16" FM & WM | 255 | Seminole | Sanlando | Yes | No | 3500 | Water | 1644960 | 354033.3858 | 331.4 | 43 | 25 | 8233.33 | 8233.33 | 14161.34 | 25.35% |  | 1125 | 762 | 164 | 354033.3858
14 | 2019109 | Wekiva WWTF Improvements | 255 | Seminole | Sanlando | Yes | No | 6112.201 | Water | 101202.0166 | 21781.0114 | 331.4 | 42.9167 | 25 | 507.52 | 507.52 | 4048.08 | 25.35% | 3540.56 | 1125 | 762 | 164 | 21781.0114
28 | 1 | E.E. Williamson Utility Relocations | 255 | Seminole | Sanlando | Yes | Yes | 220 | Water | 333075 | 71685.4331 | 331.4 | 43 | 25 | 1667.1 | 1667.1 | 2867.42 | 25.35% |  | 1125 | 762 | 164 | 71685.4331
|  | TOTAL WATER PROFORMA CAPITAL PROJECTS | [7 empty] | 2724082.7466 | 675355.0283 |  |  |  | 17963.82 | 17963.82 | 30191.05 |  | 5098.9 |  |  |  | 675355.0283
WASTEWATER PROFORMA CAPITAL PROJECTS
10 | 2019175 | WWTP Tree Removal / Fencing | 249 | Lee | Eagle Ridge | Yes | No | 637 | Sewer | 657175 | 247400.6052 | 354.4 | 32 | 25 | 7731.27 | 7731.27 | 9896.02 | 25.35% | 2164.75 | 1300 | 599 | 225.5 | 247400.6052
27 | 1 | Eng Relocate LS 10 FM | 250 | Pinellas | Mid-County | Yes | No | 56 | Sewer | 56000 | 20062.9921 | 360.2 | 30 | 25 | 668.77 | 668.77 | 802.52 | 25.35% | 133.75 | 1345 | 762 | 273 | 20062.9921
5 | 2019145 | PDR & Master Lift Station | 250 | Pinellas | Mid-County | Yes | No | 1766.115 | Sewer | 84000 | 30094.4882 | 360.2 | 30 | 25 | 1003.15 | 1003.15 | 3360 | 25.35% | 2356.85 | 1345 | 762 | 273 | 30094.4882
| 1 | Const - Powerline 16" FM & WM | 255 | Seminole | Sanlando | Yes |  |  | Sewer | 1931040 | 691829.2913 | 360.2 | 30 | 25 | 23060.98 | 23060.98 | 27673.17 | 25.35% |  | 1345 | 762 | 273 | 691829.2913
| 1 | E.E. Williamson Utility Relocations | 255 | Seminole | Sanlando | Yes | Yes |  | Sewer | 111025 | 39776.6732 | 360.2 | 30 | 25 | 1325.89 | 1325.89 | 1591.07 | 25.35% |  | 1345 | 762 | 273 | 39776.6732
8 | 2019173 | Liftstation #4 Replacement | 241 | Pinellas | Tierra Verde | Yes | Yes | 828.922 | Sewer | 6350 | 2275 | 360.2 | 30 | 25 | 75.83 | 75.83 | 254 | 25.35% | 178.17 | 1345 | 762 | 273 | 2275
| 2019087 | FM / GSM Relocation | 241 | Pinellas | Tierra Verde | Yes | Yes | 531.2666 | Sewer | 338864.8979 | 121404.3532 | 360.2 | 30 | 25 | 4046.81 | 4046.81 | 4856.17 | 25.35% | 809.36 | 1345 | 762 | 273 | 121404.3532
| 2019145 | PDR & Master Lift Station | 250 | Pinellas | Mid-County | Yes | No |  | Sewer | 360000 | 70866.1417 | 361.2 | 45 | 25 | 1574.8 | 1574.8 | 14400 | 25.35% | 12825.2 | 1350 | 762 | 150 | 70866.1417
| 2019173 | Liftstation #4 Replacement | 241 | Pinellas | Tierra Verde | Yes | Yes |  | Sewer | 92205 | 18150.5906 | 361.2 | 45 | 25 | 403.35 | 403.35 | 3688.2 | 25.35% | 3284.85 | 1350 | 762 | 150 | 18150.5906
18 | 2019087 | FM / GSM Relocation | 241 | Pinellas | Tierra Verde | Yes |  |  | Sewer | 172219.4076 | 33901.4582 | 361.2 | 45 | 25 | 753.37 | 753.37 | 1356.06 | 25.35% | 602.69 | 1350 | 762 | 150 | 33901.4582
| 2019145 | PDR & Master Lift Station | 250 | Pinellas | Mid-County | Yes | No |  | Sewer | 183600 | 58781.4433 | 361.2 MH | 30 | 25 | 1959.38 | 1959.38 | 7344 | 25.35% | 5384.62 | 1353 | 873 | 279.5 | 58781.4433
| 2019173 | Liftstation #4 Replacement | 241 | Pinellas | Tierra Verde | Yes | Yes |  | Sewer | 72250 | 23131.5865 | 361.2 MH | 30 | 25 | 771.05 | 771.05 | 2890 | 25.35% | 2118.95 | 1353 | 873 | 279.5 | 23131.5865
18 | 2019087 | FM / GSM Relocation | 241 | Pinellas | Tierra Verde | Yes |  |  | Sewer | 40182 | 12864.6838 | 361.2 MH | 30 | 25 | 428.82 | 428.82 | 514.59 | 25.35% | 85.77 | 1353 | 873 | 279.5 | 12864.6838
30 | 1 | L/S ER 3 & 8 Rehab | 249 | Lee | Eagle Ridge | Yes | Yes | 100 | Sewer | 100000 | 39190.3172 | 370.3 | 30 | 25 | 1306.34 | 1306.34 | 1567.61 | 25.35% | 261.27 | 1375 | 599 | 234.75 | 39190.3172
| 2019145 | PDR & Master Lift Station | 250 | Pinellas | Mid-County | Yes | No |  | Sewer | 512515 | 200856.2542 | 370.3 | 30 | 25 | 6695.21 | 6695.21 | 20500.6 | 25.35% | 13805.39 | 1375 | 599 | 234.75 | 200856.2542
12 | 1 | Lift Station Mechanical Rehab | 255 | Seminole | Sanlando | Yes | Yes | 340 | Sewer | 540000 | 211627.7129 | 370.3 | 30 | 25 | 7054.26 | 7054.26 | 8465.11 | 25.35% | 1410.85 | 1375 | 599 | 234.75 | 211627.7129
| 2019173 | Liftstation #4 Replacement | 241 | Pinellas | Tierra Verde | Yes | Yes |  | Sewer | 589117 | 230876.821 | 370.3 | 30 | 25 | 7695.89 | 7695.89 | 23564.68 | 25.35% | 15868.79 | 1375 | 599 | 234.75 | 230876.821
| 2019145 | PDR & Master Lift Station | 250 | Pinellas | Mid-County | Yes | No |  | Sewer | 626000 | 246028.2318 | 371.3 | 18 | 25 | 13668.24 | 13668.24 | 25040 | 25.35% | 11371.76 | 1380 | 1346 | 529 | 246028.2318
| 2019173 | Liftstation #4 Replacement | 241 | Pinellas | Tierra Verde | Yes | Yes |  | Sewer | 69000 | 27118.1278 | 371.3 | 18 | 25 | 1506.56 | 1506.56 | 2760 | 25.35% | 1253.44 | 1380 | 1346 | 529 | 27118.1278
15 | 1 | LG RAS Pump Replacement | 251 | Lake | LUSI | Yes | No | 45 | Sewer | 45000 | 23023.6037 | 380.4 | 18 | 25 | 1279.09 | 1279.09 | 920.94 | 25.35% | -358.15 | 1400 | 752 | 384.75 | 23023.6037
6 | 2020080 | MC Headworks Improvements | 250 | Pinellas | Mid-County | Yes | No | 1145.5 | Sewer | 3045500 | 1558186.3364 | 380.4 | 18 | 25 | 86565.91 | 86565.91 | 62327.45 | 25.35% | -24238.46 | 1400 | 752 | 384.75 | 1558186.3364
13 | 1 | WWTP Diffuser Replacement | 260 | Lake | Pennbroke | Yes | No | 34 | Sewer | 34000 | 17395.6117 | 380.4 | 18 | 25 | 966.42 | 966.42 | 695.82 | 25.35% | -270.6 | 1400 | 752 | 384.75 | 17395.6117
44 | 2019109 | Wekiva WWTF Improvements | 255 | Seminole | Sanlando | Yes | No |  | Sewer | 4722426.7726 | 2416161.8361 | 380.4 | 18 | 25 | 134231.21 | 134231.21 | 188897.07 | 25.35% | 54665.86 | 1400 | 752 | 384.75 | 2416161.8361
4 | 1 | Const - Wekiva WWTF Headworks | 255 | Seminole | Sanlando | Yes | No | 2000 | Sewer | 2750000 | 1406998.0053 | 380.4 | 18 | 25 | 78166.56 | 78166.56 | 56279.92 | 25.35% | -21886.64 | 1400 | 752 | 384.75 | 1406998.0053
16 | 2019109 | Wekiva WWTF Improvements | 255 | Seminole | Sanlando | Yes | No |  | Sewer | 1288572.2108 | 460358.0186 | 381.4 | 35 | 25 | 13153.09 | 13153.09 | 51542.89 | 25.35% | 38389.8 | 1410 | 599 | 214 | 460358.0186
19
25 |  | TOTAL WASTEWATER PROFORMA CAPITAL PROJECTS | [7 empty] | 18427042.289 | 8208360.184 |  |  |  | 396092.25 | 396092.25 | 521187.89 |  | 120218.27 |  |  |  | 8208360.184
26
29 |  | Truck 1508 replacement (accident) | [7 empty] | 28076 | 22529 |  | 6 |  |  | 3754.83 | [6 empty] | 22529
40 | NEED ALLOCATION BETWEEN WATER / SEWER
| Total | [6 empty] | 18340.0493 |  | 21151125.0355 | 8906244.2123 |  |  |  |  | 417810.9 | 551378.94 | [5 empty] | 8792316.6133
This will be D&A but the construction portion will not be receovered in this rate filing (add to studies?)
53 | 1 | ST PW - Smoke Testing/I&I Investigation | 252 | Pasco | UIF - Summertree | No |  | 27.481 | Sewer | 27481.05 | 27481.05 | 183
|  | TOTAL UIF PROFORMA CAPITAL PROJECTS | [7 empty] | 42329731.121 | 17817440.4746
[13 empty] | Service |  | Accum | Amort
| CP# | Job Description | Co |  | System | Retirement? | CIAC? | Forecast (000's) | System | Project Cost |  | NARUC | Life |  | Amortization | Exp
WATER PROFORMA PROJECTS WITH CIAC RETIREMENTS
34 | 1 | GH Galvanized WM Replacement | 252 | Marion | UIF - Golden Hills | Yes | Yes | 75 | Water | 75000 | 75000 | 331 | 43 |  | -56250 | 1744.19
|  | TOTAL WATER PROFORMA PROJECTS WITH CIAC | [7 empty] | 75000
WASTEWATER PROFORMA PROJECTS WITH CIAC RETIREMENTS
8 | 2019173 | Liftstation #4 Replacement | 241 | Pinellas | Tierra Verde | Yes | Yes | 828.922 | Sewer | 828922 | 828922 | 354/370/371 | 32 |  | -12951.905 | 25903.81
12 | 1 | Lift Station Mechanical Rehab | 255 | Seminole | Sanlando | Yes | Yes | 340 | Sewer | 340000 | 340000 | 354/370/371 | 32 |  | -5312.5 | 10625
30 | 1 | L/S ER 3 & 8 Rehab | 249 | Lee | Eagle Ridge | Yes | Yes | 100 | Sewer | 100000 | 100000 | 354/370/371 | 32 |  | -1562.5 | 3125
|  | WASTEWATER PROFORMA PROJECTS WITH CIAC | [5 empty] | 1268.922 |  | 1268922 | 1268922 |  |  |  | -19826.905 | 39653.81
18 | 1 | E.E. Williamson Utility Relocations | 255 | Seminole | Sanlando | Yes | Yes | 220 |  | 220000 | 220000 | 331 / 360/361 |  |  | -165000
11 | 2019087 | FM / GSM Relocation | 241 | Pinellas | Tierra Verde | Yes | Yes | 516.2886 | Sewer | 516288.55 | 516288.55 | 360/361 |  |  | -387216.4125
[13 empty] | Retirement | Service | Depreciation
| CP# | Job Description | Co |  | System | Retirement? | CIAC? | Forecast (000's) | System | Project Cost |  | NARUC | Amount | Life | Exp
WATER PROFORMA CAPITAL PROJECTS WITH RETIREMENTS
21 | 1 | Well Panel Replacements | 255 | Seminole | Sanlando | Yes | No | 175 | Water | 175000 | 175000 | 307 | -36560.1852 | 30 | -5833.33
38 | 2020041 | BV Wells 2 & 3 Improvements | 252 | Pasco | UIF - BuenaVista | Yes | No | 73.568 | Water | 73568 | 73568 | 307 | -46408.3704 | 30 | -2452.27
22 | 2020004 | OW Well 1 Hydrotank Genset- Generator | 252 | Pasco | UIF - OW | Yes | No | 154.571 | Water | 47349 | 47349 | 310.4 | -18626.5197 | 20 | -2367.45
22 | 2020004 | OW Well 1 Hydrotank Genset- Well | 252 | Pasco | UIF - OW | Yes | No | 154.571 | Water | 47700 | 47700 | 307 | -23408.3333 | 30 | -1590
22 | 2020004 | OW Well 1 Hydrotank Genset- Hydro tank | 252 | Pasco | UIF - OW | Yes | No | 154.571 | Water | 68965 | 68965 | 330 | -21359.2388 | 37 | -1863.92
43 | 2020029 | LG Sulfuric Acid Tank & Pipe Replacement | 251 | Lake | LUSI | Yes | No | 60 | Water | 60000 | 60000 | 320.3 | -27307.1809 | 22 | -2727.27
23 | 2019146 | GH WM Relocation | 252 | Marion | UIF - Golden Hills | Yes | No | 144 | Water | 144000 | 144000 | 331 | -33308.7293 | 43 | -3348.84
34 | 1 | GH Galvanized WM Replacement | 252 | Marion | UIF - Golden Hills | Yes | Yes | 95 | Water | 95000 | 95000 | 331 | -16141.7323 | 43 | -2209.3
54 | 1 | Eng Northwestern Bridge WM Replacement | 252 | Seminole | UIF - Wekiva? | Yes | No | 22 | Water | 22000 | 22000 | 331 | -4734.9081 | 43 | -511.63
|  | TOTAL WATER PROFORMA RETIREMENTS | [7 empty] | 733582 | 733582 |  | -227855.198 |  | -22904.01
WASTEWATER PROFORMA CAPITAL PROJECTS WITH RETIREMENTS
5 | 2019145 | PDR & Master Lift Station | 250 | Pinellas | Mid-County | Yes | No | 1196.399 | Sewer | 1196399 | 1196399 | 354/370/371 | -1758208.8497 | 32 | -37387.47
8 | 2019173 | Liftstation #4 Replacement | 241 | Pinellas | Tierra Verde | Yes | Yes | 828.922 | Sewer | 828922 | 828922 | 354/370/371 | -420342.2477 | 32 | -25903.81
10 | 2019175 | WWTP Tree Removal / Fencing | 249 | Lee | Eagle Ridge | Yes | No | 637 | Sewer | 637000 | 637000 | 354.4 | -200856.2542 | 32 | -19906.25
12 | 1 | Lift Station Mechanical Rehab | 255 | Seminole | Sanlando | Yes | Yes | 340 | Sewer | 340000 | 340000 | 370.3 | -211627.7129 | 30 | -11333.33
30 | 1 | L/S ER 3 & 8 Rehab | 249 | Lee | Eagle Ridge | Yes | Yes | 100 | Sewer | 100000 | 100000 | 370.3 | -230876.821 | 30 | -3333.33
1 | 2019109 | Wekiva WWTF Improvements | 255 | Seminole | Sanlando | Yes | No | 6112.201 | Sewer | 6112201 | 6112201 | 354.4/380 ? | -1608328.0679 | 18 | -339566.72
44 | 1 | Eng Relocate LS 10 FM | 250 | Pinellas | Mid-County | Yes | No | 56 | Sewer | 56000 | 56000 | 360 | -246028.2318 | 30 | -1866.67
4 | 1 | Const - Wekiva WWTF Headworks | 255 | Seminole | Sanlando | Yes | No | 2000 | Sewer | 2000000 | 2000000 | 380 | -17395.6117 | 18 | -111111.11
6 | 2020080 | MC Headworks Improvements | 250 | Pinellas | Mid-County | Yes | No | 1145.5 | Sewer | 1145500 | 1145500 | 380 | -2416161.8361 | 18 | -63638.89
48 | 1 | LG RAS Pump Replacement | 251 | Lake | LUSI | Yes | No | 45 |  | 45000 | 45000 | 380.4 | -70866.1417 | 18 | -2500
51 | 1 | WWTP Diffuser Replacement | 260 |  | Pennbroke | Yes | No | 34 | Sewer | 34000 | 34000 | 380 | -121404.3532 | 18 | -1888.89
|  | TOTAL WASTEWATER PROFORMA RETIREMENTS | [7 empty] | 12495022 | 12495022 |  | -7302096.1278 |  | -618436.47
2 | 1 | Const - Powerline 16" FM & WM | 255 | Seminole | Sanlando | Yes | No | 3500 |  | 3500000 | 3500000 | 331 / 360 | -8870857.0241
18 | 1 | E.E. Williamson Utility Relocations | 255 | Seminole | Sanlando | Yes | Yes | 220 |  | 220000 | 220000 | 331 / 360/361 | -8955400.6454
42 | 1 | Dump Truck | 855 |  | Cost Center | Yes | No | 60 |  |  | 0 | 341 / 391 | 0 | 5 | 0
11 | 2019087 | FM / GSM Relocation | 241 | Pinellas | Tierra Verde | Yes | Yes | 531.2666 | Sewer | 531266.55 | 531266.55 | 360/361 | -94777.7136
-25223131.5109
[12 empty] | check | -8222454.7136
I have some questions on some of them:
| 2018116 | TV Redzone & I&I Investigation | Construction? If not, s/b acct 183 Tierra Verde - a portion is manholes and a portion is gravity main work. Mike will quantify the breakdown between accounts.
| 1 | I&I Project | Construction? If not, s/b acct 183 Cypress Lakes – should be D&A over 10 years.
| 1 | Chlorine Dioxide Pilot Study | Construction? If not, s/b acct 183 Cypress – to be booked to the water treatment account. This is a planning activity.
| 1 | Smoke Testing/I&I Investigation | Construction? If not, s/b acct 183 Cypress - this should be D&A over 10 years in the gravity main account.
| 2019024 | Lift Station RTU Improvements | Construction? If not, s/b acct 183 Eagle Ridge/Cross Creek – most is to be booked to LS/s, some to the Cross Creek plant. Mike will provide the breakdown.
| 1 | ST PW - Smoke Testing/I&I Investigation | Construction? If not, s/b acct 183 D&A over 10 years. When we quantify the cost to remedy the deficiencies that are found, we will expand the scope of the project. This will not be a proforma as we don’t have the details in time for the RC.
| 2019174 | ENG - ST Chlorine Dioxide Pilot Study | Construction? If not, s/b acct 183 Summertree – book to water main account. We have no plant accounts there.
| 1 | Smoke Testing/I&I Investigation | Construction? If not, s/b acct 183 Eagle Ridge – D&A over 10 years. Same for Sandalhaven I&I work.
| 1 | Engineering WWTP Master Plan | Construction? If not, s/b acct 183 Labrador WWTP – engineering analysis, cost booked to plant account.
| 2019154 | LS #4 / #7 Gensets | Gensets = generator? Yes, all generator capex.
| 2020004 | OW Well 1 Hydrotank Genset | Gensets = generator? Construction under way. Includes replacing the well pump assembly (exact date in service unknown), 1989 generator and 1998 hydro tank. Mike will provide a breakdown between accounts.
| 2020030 | GST Deficiency Corrections | What is GST? Ground storage tank, contains finished water
| 2019088 | UIF CIP Analysis/Modeling | What is this project studying? The force mains in Sanlando primarily.
Mike, can you break down for Debbie how much of the project costs will be posted to each of the three object accounts? If you expect any additional costs beyond the $154,572, let us know. Divvy up the engineering and restoration costs between the three accounts the best you can.
|  | OW Well 1 Hydrotank Genset- Hydro tank Account Allocation | [5 empty] | Captime | IDC | 3896.4278
|  | 1095 | Generator and ATS |  | 47349 |  |  | 733.9095 | 1124.855
|  | 1100 | Well pump equipment |  | 47700 |  |  | 739.35 | 1133.1936
|  | 1120 | Hydro tank and appurtenances |  | 68965 |  |  | 1068.9575 | 1638.3793
164014
[8 empty] | 9000 | Engineering
155014
Note on C7: Deborah Swain: Genset is a generator, I believe VARIOUS: WELL PUMP, TANK, GENERATOR
Note on C8: Deborah Swain: Genset is a generator, I believe VARIOUS: WELL PUMP, TANK, GENERATOR
Note on J9: Deborah Swain: According to 2015 chemical schedule, sulfuric acid is used for water in LUSI
Note on C10: Deborah Swain: Genset is a generator, I believe VARIOUS: WELL PUMP, TANK, GENERATOR
Note on C40: Deborah Swain: RAS is sludge, sounds like sewer
Note on C66: Deborah Swain: Need to find out what is being impacted. Pumps? Structure? Wet well?
Note on C83: Deborah Swain: Genset is a generator, I believe VARIOUS: WELL PUMP, TANK, GENERATOR
Note on C84: Deborah Swain: Genset is a generator, I believe VARIOUS: WELL PUMP, TANK, GENERATOR
Note on C85: Deborah Swain: Genset is a generator, I believe VARIOUS: WELL PUMP, TANK, GENERATOR
Note on J86: Deborah Swain: According to 2015 chemical schedule, sulfuric acid is used for water in LUSI
Note on C93: Deborah Swain: What part? Just the structure?
Note on M99: Deborah Swain: May be multiple accounts
Note on C100: Deborah Swain: Sewer Force Main
Note on C103: Deborah Swain: RAS is reactivated sludge which is a WWTP process. Check w Patrick
Note on C136: Deborah Swain: Genset is a generator, I believe VARIOUS: WELL PUMP, TANK, GENERATOR

## Obj to Line
Row Labels | Average of HW Ln No | NARUC | Years | Rate | 2020 Index | Line Row | Past Year | Yr Column | Past Index | %
1030 | 8 | 304
1050 | 8 | 304 | 31.9167 | 3.133% | 599 | 15 | 1988 | 82 | 225.5 | 37.65%
1055 | 15 | 304 | 31.9167 | 3.133% | 599 | 22 | 1988 | 82 | 225.5 | 37.65%
1060 | 8 | 304 | 31.9167 | 3.133% | 599 | 15 | 1988 | 82 | 225.5 | 37.65%
1065 | 15 | 304 | 31.9167 | 3.133% | 599 | 22 | 1988 | 82 | 225.5 | 37.65%
1080 | 2 | 305 | 30 | 3.333% | 486 | 9 | 1990 | 88 | 238.5 | 49.07%
1090 | 29 |  | 35 | 2.857% | 579 | 36 | 1985 | 77 | 224 | 38.69%
1095 | 9 |  | 20 | 5% | 1346 | 16 | 2000 | 118 | 529.5 | 39.34%
1100 | 9 | 311 | 20 | 5% | 1346 | 16 | 2000 | 118 | 529.5 | 39.34%
1105 | 9 | 311 | 20 | 5% | 1346 | 16 | 2000 | 118 | 529.5 | 39.34%
1110 | 9 | 311 | 20 | 5% | 1346 | 16 | 2000 | 118 | 529.5 | 39.34%
1115 | 16 | 320 | 22 | 4.545% | 752 | 23 | 1998 | 112 | 342.25 | 45.51%
1120 | 34 | 331 | 37 | 2.703% | 762 | 41 | 1983 | 75 | 236 | 30.97%
1125 | 34 | 331 | 42.9167 | 2.33% | 762 | 41 | 1977 | 69 | 164 | 21.52%
1130 | 39 | 333 | 40 | 2.5% | 534 | 46 | 1980 | 72 | 176 | 32.96%
1135 | 40 | 334 | 20 | 5% | 443 | 47 | 2000 | 118 | 204.5 | 46.16%
1145 | 42 | 335 | 45.0833 | 2.218% | 999 | 49 | 1975 | 67 | 147 | 14.71%
1150 | 34 | 331 | 15 | 6.667% | 762 | 41 | 2005 | 133 | 400.25 | 52.53%
1185 | 42 | 335 | 18 | 5.556% | 999 | 49 | 2002 | 124 | 526.5 | 52.7%
1190 | 42 | 335 | 16 | 6.25% | 999 | 49 | 2004 | 130 | 550.25 | 55.08%
1195 | 42 | 335 | 15 | 6.667% | 999 | 49 | 2005 | 133 | 562.75 | 56.33%
1200 | 9 | 311 | 12 | 8.333% | 1346 | 16 | 2008 | 142 | 662.75 | 49.24%
1205 | 9 | 311 | 10 | 10% | 1346 | 16 | 2010 | 148 | 704.25 | 52.32%
1210 | 9 | 311 | 15 | 6.667% | 1346 | 16 | 2005 | 133 | 611.5 | 45.43%
1260
1290 | 8 | 304 | 31.9167 | 3.133% | 599 | 15 | 1988 | 82 | 225.5 | 37.65%
1295 | 15 | 304 | 25 | 4% | 599 | 22 | 1995 | 103 | 265.5 | 44.32%
1300 | 15 | 304 | 31.9167 | 3.133% | 599 | 22 | 1988 | 82 | 225.5 | 37.65%
1325 | 9 |  | 20 | 5% | 1346 | 16 | 2000 | 118 | 529.5 | 39.34%
1345 | 34 | 331 | 30 | 3.333% | 762 | 41 | 1990 | 88 | 273 | 35.83%
1350 | 34 | 331 | 45.0833 | 2.218% | 762 | 41 | 1975 | 67 | 150 | 19.69%
1353 | 35 | 331 | 30 | 3.333% | 873 | 42 | 1990 | 88 | 279.5 | 32.02%
1360 |  | #N/A | 38 | 2.632% | #N/A | #N/A | 1982 | 74 | #N/A | #N/A
1365 |  | #N/A | 5 | 20% | #N/A | #N/A | 2015 | 163 | #N/A | #N/A
1375 | 8 | 370.3 | 30 | 3.333% | 599 | 15 | 1990 | 88 | 234.75 | 39.19%
1380 | 9 | 371.3 | 18 | 5.556% | 1346 | 16 | 2002 | 124 | 529 | 39.3%
1385 |  | #N/A | 18 | 5.556% | #N/A | #N/A | 2002 | 124 | #N/A | #N/A
1390 |  | #N/A | 18 | 5.556% | #N/A | #N/A | 2002 | 124 | #N/A | #N/A
1395 | 16 | 320 | 18 | 5.556% | 752 | 23 | 2002 | 124 | 384.75 | 51.16%
1400 | 16 | 320 | 18 | 5.556% | 752 | 23 | 2002 | 124 | 384.75 | 51.16%
1405 | 16 | 320 | 18 | 5.556% | 752 | 23 | 2002 | 124 | 384.75 | 51.16%
1410 | 15 | 304 | 35 | 2.857% | 599 | 22 | 1985 | 77 | 214 | 35.73%
1415 |  | #N/A | 35 | 2.857% | #N/A | #N/A | 1985 | 77 | #N/A | #N/A
1420 |  | #N/A | 30 | 3.333% | #N/A | #N/A | 1990 | 88 | #N/A | #N/A
1465 |  | #N/A | 18 | 5.556% | #N/A | #N/A | 2002 | 124 | #N/A | #N/A
1470 |  | #N/A | 16 | 6.25% | #N/A | #N/A | 2004 | 130 | #N/A | #N/A
1475 |  | #N/A | 15 | 6.667% | #N/A | #N/A | 2005 | 133 | #N/A | #N/A
1480 | 9 | 311 | 12 | 8.333% | 1346 | 16 | 2008 | 142 | 662.75 | 49.24%
1485 | 9 |  | 10 | 10% | 1346 | 16 | 2010 | 148 | 704.25 | 52.32%
1490 |  | #N/A | 15 | 6.667% | #N/A | #N/A | 2005 | 133 | #N/A | #N/A
1525 |  | #N/A | 40 | 2.5% | #N/A | #N/A | 1980 | 72 | #N/A | #N/A
1530 |  | #N/A | 20 | 5% | #N/A | #N/A | 2000 | 118 | #N/A | #N/A
1540 |  | #N/A | 42.9167 | 2.33% | #N/A | #N/A | 1977 | 69 | #N/A | #N/A