## TEC Plant In-Service
TAMPA ELECTRIC COMPANY
ENERGY SUPPLY - GENERATING UNIT
CAPITAL RECOVERY DATES
DR #5
[11 empty] | Year End | 2022
|  | Gen. Max. | 10-year | 10-year |  |  | In-svc | In-svc | Year of | Maximum | Current | Remaining
Plant | Station | Nameplate | Summer | Winter | Unit | Fuel | Date | Date | Shutdown | Lifespan | Age | Life
Name | Unit No. | KW | MW | MW | Type | Type | Month | Year | Dismantlement | in Years | in Years | in Years
Big Bend Station
31X | Common | - | - | - | - | - | 10 | 1970 | 2045 | 75 | 52.5 | 22.5
31X | Boiler 1 | 445500 | 385 | 395 | ST | NG | 10 | 1970 | 2021 | 51 | 52.5 | 0
31X | Boiler 2 | 445500 | 385 | 395 | ST | NG | 4 | 1973 | 2021 | 48 | 49.5 | 0
31X | Boiler 3 | 445500 | 395 | 400 | ST | BIT/NG | 5 | 1976 | 2021 | 45 | 46.5 | 0
31X | Boiler 4 | 486000 | 437 | 442 | ST | BIT/NG | 2 | 1985 | 2045 | 60 | 37.5 | 22.5
31X | FGD 1&2 | - | - | - | - | - | 12 | 1999 | 2038 | 39 | 23.5 | 15.5
31X | FGD 3&4 | - | - | - | - | - | 2 | 1985 | 2045 | 60 | 37.5 | 22.5
31X | SCR 1 | - | - | - | - | - | 5 | 2010 | 2021 | 11 | 12.5 | 0
31X | SCR 2 | - | - | - | - | - | 5 | 2009 | 2021 | 12 | 13.5 | 0
31X | SCR 3 | - | - | - | - | - | 5 | 2008 | 2021 | 13 | 14.5 | 0
31X | SCR 4 | - | - | - | - | - | 5 | 2007 | 2045 | 38 | 15.5 | 22.5
34X | CT 4 | 69900 | 56 | 61 | GT | NG/DFO | 8 | 2009 | 2049 | 40 | 13.5 | 26.5
34X | BB Mod CT 5 | 397800 | 360 | 392 | GT | NG | 12 | 2021 | 2061 | 40 | 1.5 | 38.5
34X | BB Mod CT 6 | 397800 | 360 | 392 | GT | NG | 12 | 2021 | 2061 | 40 | 1.5 | 38.5
34X | BB Mod CCST 5-6 | - | - | - | ST | NGCC | 12 | 2022 | 2062 | 40 | 0.5 | 39.5
|  | 2688000 | 2378 | 2477
Bayside Station
34X | Common | 0 | 0 | 0 | 0 | 0 | 4 | 2003 | 2049 | 46 | 19.5 | 26.5
34X | Unit 1 (3xCT + CCST) | 809060 | 701 | 792 | CC | NG | 4 | 2003 | 2038 | 35 | 19.5 | 15.5
34X | Unit 2 (4xCT + CCST) | 1205100 | 929 | 1047 | CC | NG | 1 | 2004 | 2038 | 34 | 18.5 | 15.5
34X | CT 3 | 69900 | 56 | 61 | GT | NG | 7 | 2009 | 2049 | 40 | 13.5 | 26.5
34X | CT 4 | 69900 | 56 | 61 | GT | NG | 7 | 2009 | 2049 | 40 | 13.5 | 26.5
34X | CT 5 | 69900 | 56 | 61 | GT | NG | 4 | 2009 | 2049 | 40 | 13.5 | 26.5
34X | CT 6 | 69900 | 56 | 61 | GT | NG | 4 | 2009 | 2049 | 40 | 13.5 | 26.5
|  | 2293760 | 1854 | 2083
Polk Station
34X | Common | 0 | 0 | 0 | 0 | 0 | 9 | 1996 | 2047 | 51 | 26.5 | 24.5
34X | Unit 1 (Gasifier + CCST) | 326299 | 220 | 220 | IGCC | PC/BIT/NG | 9 | 1996 | 2036 | 40 | 26.5 | 13.5
34X | CT 2 | 175770 | 151 | 183 | CC | NG/DFO | 7 | 2000 | 2040 | 40 | 22.5 | 17.5
34X | CT 3 | 175770 | 151 | 183 | CC | NG/DFO | 5 | 2002 | 2042 | 40 | 20.5 | 19.5
34X | CT 4 | 175770 | 151 | 183 | CC | NG | 3 | 2007 | 2047 | 40 | 15.5 | 24.5
34X | CT 5 | 175770 | 151 | 183 | CC | NG | 4 | 2007 | 2047 | 40 | 15.5 | 24.5
34X | CCST 2-5 | 513000 | 457 | 468 | ST |  |  | 2017 | 2057 | 40 | 5.5 | 34.5
|  | 1542379 | 1281 | 1420
Solar Sites
34X | TIA Solar | 1600 | 1.6 | 1.6 | PV | Solar | 12 | 2015 | 2045 | 30 | 7.5 | 22.5
34X | Legoland Solar | 1400 | 1.4 | 1.4 | PV | Solar | 12 | 2016 | 2046 | 30 | 6.5 | 23.5
34X | Big Bend Solar + Battery | 19800 | 19.8 | 19.8 | PV | Solar | 2 | 2017 | 2047 | 30 | 5.5 | 24.5
34X | Payne Creek Solar | 70300 | 70.3 | 70.3 | PV | Solar | 9 | 2018 | 2048 | 30 | 4.5 | 25.5
34X | Balm Solar | 74400 | 74.4 | 74.4 | PV | Solar | 9 | 2018 | 2048 | 30 | 4.5 | 25.5
34X | Lithia Solar | 74400 | 74.4 | 74.4 | PV | Solar | 1 | 2019 | 2049 | 30 | 3.5 | 26.5
34X | Grange Hall Solar | 61100 | 61.1 | 61.1 | PV | Solar | 1 | 2019 | 2049 | 30 | 3.5 | 26.5
34X | Bonnie Mine Solar | 37500 | 37.5 | 37.5 | PV | Solar | 1 | 2019 | 2049 | 30 | 3.5 | 26.5
34X | Peace Creek Solar | 55400 | 55.4 | 55.4 | PV | Solar | 3 | 2019 | 2049 | 30 | 3.5 | 26.5
34X | Lake Hancock Solar | 49500 | 49.5 | 49.5 | PV | Solar | 4 | 2019 | 2049 | 30 | 3.5 | 26.5
34X | Little Manatee River Solar | 74500 | 74.5 | 74.5 | PV | Solar | 2 | 2020 | 2050 | 30 | 2.5 | 27.5
34X | Wimauma Solar | 74500 | 74.8 | 74.8 | PV | Solar | 2 | 2020 | 2050 | 30 | 2.5 | 27.5
34X | Durance Solar | 60000 | 60 | 60 | PV | Solar | 1 | 2021 | 2051 | 30 | 1.5 | 28.5
34X | Mountain View Solar | 52500 | 52.5 | 52.5 | PV | Solar | 1 | 2021 | 2051 | 30 | 1.5 | 28.5
34X | Future Solar 1 | 25000 | 25 | 25 | PV | Solar | 12 | 2021 | 2051 | 30 | 1.5 | 28.5
34X | Future Solar 2 | 70000 | 72 | 72 | PV | Solar | 12 | 2021 | 2051 | 30 | 1.5 | 28.5
34X | Future Solar 3 | 74500 | 74.5 | 74.5 | PV | Solar | 12 | 2022 | 2052 | 30 | 0.5 | 29.5
34X | Future Solar 4 | 74500 | 74.5 | 74.5 | PV | Solar | 12 | 2022 | 2052 | 30 | 0.5 | 29.5
34X | Future Solar 5 | 74500 | 74.5 | 74.5 | PV | Solar | 12 | 2022 | 2052 | 30 | 0.5 | 29.5
|  | 1025400 | 1027.7 | 1027.7
Other Future Generation
34X | Reciprocating Engine x 5 | 92500 | 92.5 | 92.5 | IC | NG | 12 | 2021 | 2051 | 30 | 1.5 | 28.5
34X | Battery Storage x 3 | 30000 | 30 | 30 | BA | N/A | 1 | 2022 | 2032 | 10 | 0.5 | 9.5
|  | 122500 | 122.5 | 122.5
|  | Total KW Capacity | MW | MW
| In-service | 5282939 | 4468.4 | 4851.4
| Retiring BB1 BB2 | 891000 | 770 | 790
| Future Gen | 1498100 | 1424.8 | 1488.8
*On standby
|  | 7672039 | 6663.2 | 7130.2
|  | 0 | 0 | 0
Unit Type: |  |  |  | Fuel Type:
BA = Battery Storage |  |  |  | BIT = Bituminous Coal
CC = Combined Cycle |  |  |  | DFO = Distillate Fuel Oil
GT = GasTurbine |  |  |  | NG = Natural Gas
IC = Internal Combustion |  |  |  | PC = Petroleum Coke
PV = Photovoltaic |  |  |  | SOLAR = Solar Energy
ST = Steam Turbine
IGCC = Integrated Gasification CC